## Prostheses List
Billing Code | Product Category | Product Name | DESCRIPTION | Size | Sponsor | CHANGE
AA017 | General Miscellaneous | 4D - SEMI ABSORBABLE HERNIA MESH | 4DMESH semi absorbable bio mesh for abdominal reinforcement inguinal, femoral and incisional hernias | 6 x 13.5 cm 10.5 x 14 cm 12 x 15 cm | Alliance Surgical | Changed Size.
AL002 | Ophthalmic | Model CZ70BD | Other:PMMA | Range of Powers: +4D to +34 D | Alcon Laboratories (Aust.) Pty Ltd | Changed Product Name, Size, Product Sub Group.
AL015 | Ophthalmic | Cellugel viscoelastic fluid | Hypromellose 2% | 1ml | Alcon Laboratories (Aust.) Pty Ltd | Changed Size, Product Sub Group.
AL033 | Ophthalmic | AcrySof IQ ReSTOR multifocal toric IOL (SND1T2-T6; SV25T2-T6) | Posterior chamber UV absorbing foldable, acrylic, aspheric, toric single piece lens with apodised diffractive optic and blue light protection. | +6 to +34 D spherical; 1.00 to 3.75 D cylinder | Alcon Laboratories (Aust.) Pty Ltd | Changed Product Name, Size.
AO038 | Ophthalmic | TECNIS Symfony Toric Extended Range of Vision (ZXT00) | Extended Range of Vision Toric Multifocal Posterior Chamber IOL | +6 to +30 in 0.5d steps Available Cyl powers +1.0d, 1.5d, 2.25d, 3.00d, 3.75d, 4.5d, 5.25d, 6.00d | AMO Australia Pty Ltd | Changed Size, Benefit.
AS189 | Vascular | Protege GPS Peripheral and Carotid Stents | Protege RX Peripheral Stent Protege RX Carotid Stent | Diameter 6-10mm Length 20mm - <150mm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Size.
BA183 | Vascular | Peripherally Inserted Central Catheter | Power Injectable PICC, Multiple Lumen | 4Fr - 6Fr | Bard Australia Pty Ltd | Changed Product Sub Group, Suffix.
BA184 | Vascular | Peripherally Inserted Central Catheter | Power Injectable PICC, Single Lumen | 3Fr - 6Fr | Bard Australia Pty Ltd | Changed Size, Product Sub Group, Suffix.
BB002 | Spinal | Aesculap Hook System | Pedicle, Lamina, Thoracic and Offset Hooks | All Sizes | B Braun Australia Pty Ltd | Changed Description, Size, Product Sub Group.
BB069 | Spinal | Aesculap Bone Screws | Titanium alloy | All sizes | B Braun Australia Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
BB140 | Spinal | Aesculap Cervical System | Titanium Alloy | All Sizes >55mm | B Braun Australia Pty Ltd | Changed Description, Size.
BB228 | Spinal | Aesculap Spinal System | Cross Connector | All Sizes | B Braun Australia Pty Ltd | Changed Product Name, Description, Size, Benefit.
BB229 | Spinal | Aesculap Spinal System | Cross, Domino, Axial, Lateral Connector | All Sizes | B Braun Australia Pty Ltd | Changed Product Name, Description, Size.
BB278 | Spinal | Aesculap Interbody Cage | ACDF Interbody cage | All sizes | B Braun Australia Pty Ltd | Changed Description.
BB315 | Plastic and Reconstructive | Aesculap CranioPlate System/Plate Neuro | Cranial fixation system, internal fracture, non biodegradable. | Plate Neuro, 65 x 90 mm and 68 x 91mm 0.3mm & 0.6mm Mesh | B Braun Australia Pty Ltd | Changed Product Name, Description, Size.
BF013 | Spinal | Redmond Lumbar Cage System - Fusion Cage | PEEK titanium ALIF | Height: 12, 14, 16, 18, 20mm Width: 28, 34, 36, 39, 43mm Length: 24, 27, 30, 32mm Angle: 6º, 12º, 18º | Matrix Medical Innovations | Changed Size.
BF017 | Spinal | Redmond Lumbar Cage System - Locking Cap | Titanium locking cap | Diameter: 3mm; Length: 4mm or 6mm | Matrix Medical Innovations | Changed Size.
BH132 | Hip | ARCOS Modular Revision Hip System Short Distal Stems | Distal Stem bullet or slottedtip, porous plasma spray | <200mm | Zimmer Biomet Pty Ltd | Changed Size.
BH133 | Hip | ARCOS Modular Revision Hip System Distal Stems | Distal Stems | Stems ≥200mm | Zimmer Biomet Pty Ltd | Changed Description, Size.
BH158 | Specialist Orthopaedic | EBI XFIX Dynafix System | Distal Radius Fixator, Wristfix, Stainless Steel, Aluminium | One Size Only | Zimmer Biomet Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
BI777 | Specialist Orthopaedic | EBI XFIX DynaFix System | Mini fixator/lengthener with comp/dist | Small, Medium, Long, 100mm, 150mm | Zimmer Biomet Pty Ltd | Changed Suffix, Benefit.
BI898 | Knee | Vanguard Total Knee System | Femoral Component, CR, Cemented, anatomic, CoCr. | 55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left and Right | Zimmer Biomet Pty Ltd | Changed Suffix, Benefit.
BS120 | Neurosurgical | Clik Anchor Kit | Clik, Clik X, Clik X MRI Anchors | Two anchors | Boston Scientific Australia Pty Ltd | Changed Description, Size.
BU013 | Specialist Orthopaedic | Lync Intramedullary Implant | Lync is a titanium intramedullary implant | 12mm to 20mm Length, Angled 0 degrees and 10 degrees | CAB MEDICAL PTY LTD | Changed Size.
BU016 | Specialist Orthopaedic | MAGNEZIX Pin and Screw | Bioabsorbable bone pin and screw. | Diameter 1.5, 2.0, 2.7 and 3.2mm Length 8 - 50mm Diameter 2.0, 2.7 and 3.5mm Length 6 - 40mm | CAB MEDICAL PTY LTD | Changed Product Name, Description, Size.
BX261 | General Miscellaneous | Tisseel Duplospray MIS WITH SNAPLOCK Applicator 20cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 20cm long dual lumen metal cannula | Baxter Healthcare Pty Ltd | Changed Product Name.
BX264 | General Miscellaneous | TISSEEL DUPLOTIP WITH SNAPLOCK 20g x 26.4cm | Two component Fibrin Sealant containing derived fibrinogen and thrombin. | A 26.4cm long dual umen applicator | Baxter Healthcare Pty Ltd | Changed Product Name.
BX265 | General Miscellaneous | TISSEEL DUPLOTIP WITH SNAPLOCK 5mm x 31.8 cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin "Black Beauty". | A 31.8cm long dual lumen applicator | Baxter Healthcare Pty Ltd | Changed Product Name, Description.
BX267 | General Miscellaneous | TISSEEL DUPLOSPRAY MIS WITH SNAPLOCK APPLICATOR 40 cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin, with or without a malleable tip. | A 40 cm long dual lumen metal cannula | Baxter Healthcare Pty Ltd | Changed Product Name.
BX271 | General Miscellaneous | TISSEEL DUPLOTIP with SNAPLOCK 20g x 10.4cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | 10.4cm long dual lumen applicator | Baxter Healthcare Pty Ltd | Changed Product Name.
BX277 | General Miscellaneous | TISSEEL DUPLOSPRAY MIS SNAPLOCK APPLICATOR 30 cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 30 cm long dual lumen metal cannula | Baxter Healthcare Pty Ltd | Changed Product Name.
DD005 | Specialist Orthopaedic | Turon Shoulder System - Humeral Stems | Turon Humeral Stem, Primary and Revision | 6-16mm x 115mm and 6-16mm x 200mm | DJO Australasia Pty Ltd | Changed Benefit.
DD058 | Specialist Orthopaedic | Reverse Shoulder – Glenosphere Head | Glenosphere | 32mm to 40mm, neutral or -4mm offset | DJO Australasia Pty Ltd | Changed Size.
DE214 | Specialist Orthopaedic | Cortical Screw | Screw for Bone fixation | 2.01-2.7mm | Device Technologies Australia Pty Ltd | Changed Description, Size.
DE304 | Specialist Orthopaedic | BioComposite SutureTak Suture Anchor | Absorbable suture anchor with a molded-in suture eyelet. The unique suture eyelet maintains its strength throughtout most of the degradation cycle and eliminates suture abrasion during knot tying. The flexible eyelet eliminates the need to orientate the eyelet during insertion to optimize suture sliding | 2mm-3mm | Device Technologies Australia Pty Ltd | Changed Size.
DP546 | Hip | C- Stem & C- Stem AMT Femoral Stems | Stainless steel Ortron 90, highly polished, triple taper | Size 1-8 standard, Size 1-8 High Offset, CDH and 0A to 3A sizes | Johnson & Johnson Medical Pty Ltd | Changed Suffix, Benefit.
DP550 | Hip | C- Stem & C- Stem AMT Femoral Stem | Stainless steel Ortron 90, highly polished, triple taper, long stem | Size 3-8 x 200-240mm length | Johnson & Johnson Medical Pty Ltd | Changed Suffix, Benefit.
DV009 | Ophthalmic | Morcher Capsular Tension Ring | PMMA Implant | sizes 8 -12mm | Designs for Vision Pty Ltd | Changed Size, Product Sub Group.
DV010 | Ophthalmic | Morcher Complex Capsular Tension Ring | PMMA Implant | 9.5mm, 10mm, 11mm, 12.5mm, 13mm | Designs for Vision Pty Ltd | Changed Product Name, Size, Product Sub Group.
DV029 | Ophthalmic | Eyejet CTR | Capsular tension ring made of PMMA per-load on disposable injector | 10mm, 11mm, 12mm | Designs for Vision Pty Ltd | Changed Product Name, Size, Product Sub Group.
DV230 | Ophthalmic | Molteno 3 | Drainage implant for glaucoma, made of silicon | Small & Large size | Designs for Vision Pty Ltd | Changed Size, Product Sub Group.
DV243 | Ophthalmic | D.O.R.C. Silicon Oil | D.O.R.C. Silicon Oil 1000/2000/5000CS | 10ml | Designs for Vision Pty Ltd | Changed Description, Product Sub Group.
DV244 | Ophthalmic | D.O.R.C. Eftiar | Eftiar Decaline and Octane 5ml | 5ml, 7ml | Designs for Vision Pty Ltd | Changed Size, Product Sub Group.
DV257 | Ophthalmic | Lacricath Lachrymal Duct Balloon Catheter | Bilateral Lachrymal Duct Balloon Catheter System including inflation device. | 2mm, 3mm, 5mm and 9mm | Designs for Vision Pty Ltd | Changed Size, Product Sub Group.
DV258 | Ophthalmic | Lacricath Unilateral Lachrymal Duct Balloon Catheter | Unilateral Lachrymal Duct Balloon Catheter system including inflation device | 2mm, 3mm, 5mm and 9mm | Designs for Vision Pty Ltd | Changed Product Name, Size, Product Sub Group.
DV259 | Ophthalmic | Meddev Eyelid Weight, Implantable | Contour eyelid implants for patients with facial palsy. | Contour Gold 1.8, 2.0, 2.2, 2.4, 2.6, 2.8g | Designs for Vision Pty Ltd | Changed Description, Size.
DV261 | Ophthalmic | Meddev Eyelid Weight, Implantable Platinum | Platinum Contour and Thin Profile eyelid implants for patients with facial palsy | Platinum Thin 0.6, 0.8, 1.0, 1.2, 1.4, 1.6, 1.8g Contour Platinum 1.8, 2.0, 2.2, 2.4, 2.6, 2.8g | Designs for Vision Pty Ltd | Changed Description, Size.
DZ010 | Specialist Orthopaedic | VRP Distal Radius Fixation System | VRP Distal Radius Fixation System, Variable Angle, Threaded, non-threaded, partially threaded locking, non-locking screw, peg, titanium | 2.0, 2.5, 2.6mm diameter, 14mm-30mm lengths | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Changed Size.
DZ022 | Specialist Orthopaedic | VRP Distal Radius Fixation System | Volar Distal Radius Plate | Standard, wide, narrow, long, short - left, right and universal | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Changed Size.
EF006 | Specialist Orthopaedic | Merete - MetaFix LS - Locking Screws | Bone screws, Titanium, Locking | 2.71mm - 4.49mm diameter, lengths 12 - 48mm | Extend Medical | Changed Product Name, Size.
EJ003 | Ophthalmic | Staar foldable silicone IOLs: Models AQ2010V, AQ2017V and AO2003V | Plate haptics 6.0mm; Polymide haptics 5.5 or 6.3mm optic; | 10.8mm to 13.5mm length | ELLEX MEDICAL PTY LTD | Changed Size.
EL033 | Cardiothoracic | Baxter Augmentation / Substitution Material, Human or Animal Origin, Sterile Pericardial Patch. | Edwards Pericardial Patch. Bovine Pericardium. | 10cm x 15cm | Edwards Lifesciences Pty Ltd | Changed Product Name, Size.
EO077 | Specialist Orthopaedic | APTUS Screws | Cortical Screws | 2.71mm – 4.49mm | Medartis | Changed Size.
EO089 | Specialist Orthopaedic | Aptus K-wires | K-wires | 0.8mm - 2.2mm Diameter, various lengths | Medartis | Changed Size.
ER049 | Spinal | Everest Spinal System -Pedicle Screw | Polyaxial Pedicle Screw, Ti | Diameter: 4.5mm-10.5mm, Length: 25mm - 110mm (open or closed) | Emergo Asia Pacific Pty Ltd | Changed Size.
ER200 | Spinal | K2M Spinal Systems-Fixed Cross Connector | Fixed Cross Connector | 14-43mm | Emergo Asia Pacific Pty Ltd | Changed Size.
ER214 | Spinal | Everest Spinal System -Cannulated Screw | Polyaxial Screw, Cannulated | (4.5 -10.5)mm diam x (20-110)mm | Emergo Asia Pacific Pty Ltd | Changed Product Name, Size.
ER215 | Spinal | Everest Spinal System-Fenestrated Screw | Polyaxial Screw, Fenestrated | (4.5 -9.5)mm diam x (20-110)mm | Emergo Asia Pacific Pty Ltd | Changed Product Name, Size.
ER233 | Spinal | Spineway Mont Blanc Pedicle Screw System-Rod | Spineway Mont Blanc Pedicle Screw System-Rod | dia (4.0-5.5 mm) x length (40-500 mm) | Emergo Asia Pacific Pty Ltd | Changed Size.
ER272 | Spinal | iFuse Implant System-Implant | iFuse Implant System-Implant | 4-10.75 mm; length 30-90 mm | Emergo Asia Pacific Pty Ltd | Changed Size, Suffix.
ER282 | Spinal | Cascadia Lateral | Interbody spacer, Porous Ti | 45-60mm length, 8-16mm high | Emergo Asia Pacific Pty Ltd | Changed Size.
ER283 | General Miscellaneous | AnastoClip GC | AnastoClip GC | Medium Large Extra Large Medium, with long applier Large, with long applier Extra Large, with long applier | Emergo Asia Pacific Pty Ltd | Changed Size.
ER375 | Cardiac | CRE8 Coronary Stent | Coronary Artery Drug Eluting Stent | The stent is available in 7 diameters: 2.25mm; 2.5mm; 2.75mm; 3.0mm; 3.5mm; 4.0mm; 4.5mm and 8 lengths: 8mm; 12mm; 16mm; 20mm; 25mm; 31mm; 38 mm and 46 mm. | Emergo Asia Pacific Pty Ltd | Changed Size.
ET057 | Urogenital | VICTO Artificial Urinary Sphincter | VICTO Artificial Urinary Sphincter with conditional occlusion, inflatable hydraulic device. | Four cuff sizes: 3.7cm, 4.0cm, 4.5cm, and 5.0cm. | Endotherapeutics Pty Ltd | Changed Product Name, Description, Size.
ET072 | Ear, Nose & Throat | Eclipse Piston | Stapes: Nitinol, Fluroplastic | Diameter 0.5mm: 3.75mm - 6.00mm Diameter 0.6mm: 3.75mm - 6.00mm | Endotherapeutics Pty Ltd | Changed Size.
EV003 | Spinal | Katana Connector | The Katana Pedicle Screw System is intended to provide immobilization and stabilisation of spinal segments in skeletally mature patients, as an adjunct to fusion in the thoracic, lumbar and sacral spine. | Extra Small (19-27mm), Small (28-36mm), Medium (36-45mm) Large (45-60mm) | Evolution Surgical | Changed Size.
EV004 | Spinal | Katana Monoaxial Screw | The Katana Pedicle Screw System is intended to provide immobilization and stabilisation of spinal segments in skeletally mature patients, as an adjunct to fusion in the thoracic, lumbar and sacral spine. | 4.5-7.5mm diameter, 30-55mm length | Evolution Surgical | Changed Size.
EV006 | Spinal | Katana Polyaxial Screw | The Katana Pedicle Screw System is intended to provide immobilization and stabilisation of spinal segments in skeletally mature patients, as an adjunct to fusion in the thoracic, lumbar and sacral spine. | 4.5 – 9.5mm diameter, 30-100mm length | Evolution Surgical | Changed Size.
EV013 | Spinal | Evolution ACDF Standalone Cage | Interbody Fusion Cages are used to restore disc height and support loading during intervertebral body fusion. | Standard – 6 and 9 degrees, height 4-10mm | Evolution Surgical | Changed Size.
EV026 | Spinal | Revolution Standalone ACDF cage | Interbody Fusion Cages are used to restore disc height and support loading during intervertebral body fusion. | Standard – 6 and 9 degrees, height 4-10mm | Evolution Surgical | Changed Size.
EV029 | Spinal | Katana Curved Rod | The Katana Pedicle Screw System is intended to provide immobilization and stabilisation of spinal segments in skeletally mature patients, as an adjunct to fusion in the thoracic, lumbar and sacral spine. The Katana curved rod is used as part of the Katana Pedicle Screw System. | 25 - 500mm | Evolution Surgical | Changed Size.
GI003 | Specialist Orthopaedic | Bio-Oss Bone Natural Bone Mineral | Derived from bovine bone | Granule size 0.25 - 1mm, 1.0gm (2cc) Granule size 1 - 2mm, 1.0gm (3cc) Granule size 0.25 - 1mm, 2.0gm (4cc) | Geistlich Pharma Australia Pty Ltd | Changed Size.
HW006 | Specialist Orthopaedic | Stryker Intramedullary/Bone Plugs | Bone Plugs | 6 - 24mm small,medium,large | Stryker Australia Pty Ltd | Changed Product Name, Description, Size.
HW459 | Specialist Orthopaedic | Variax 2 Foot Plates | Polyaxial Locking plates with compressions holes | Broad Straight – 2-7 Hole Slim Straight – 2-7 Hole Broad Y-Plate – 2-7 Shaft Holes Slim Y-Plate – 2-7 Holes | Stryker Australia Pty Ltd | Changed Product Name, Description, Size.
HW537 | Specialist Orthopaedic | Stryker Intramedullary Nailing System | Tibial nails | 8-15mm Diameter, 240- 420mm lengths | Stryker Australia Pty Ltd | Changed Product Name, Size.
IG142 | Neurosurgical | DuraSeal Xact Spinal Dural Sealant | Xact Dural Sealant for spine. Packaged in sterile single use disposable tray. | 3ml | Integra Neurosciences Pty Ltd | Changed Description, Size.
IL004 | Ophthalmic | B+L FINEVISION HP (POD F GF) | POD F GF test intraocular lens (IOL) is a foldable IOL with a quadripode “POD” open-loop design intended for capsular bag implantation. The IOL is made of the proprietary hydrophobic glistening-free (GFree®) material containing a UV-blocker and additional blue blocker. The material is a hydrophobic acrylic copolymer of medical quality which includes a UV (wavelength < 400 nm) absorbing filter and a blue light-filtering chromophore which is covalently bounded to the hydrophobic material. The optical part of the test POD F GF lens is biconvex and aspherical partially compensating the positive spherical aberration of the cornea. The optic bears a diffractive TRIFOCAL element on its anterior side (toward patient pupil), allowing for presbyopia correction and spectacle independence for near and intermediate visions. The add-power at the IOL plane for the near vision is + 3.5 diopters and for the intermediate vision + 1.75 diopters. POD F GF is intended for implantation in the capsular bag after human lens extraction after cataract. The IOL material is capable of being folded prior to insertion, allowing placement through an incision (2.0-2.2 mm) smaller than the optic diameter of the lens. After surgical insertion into the eye, the lens unfolds to ReSTOR the optical performance. The supporting haptics provide for proper positioning and fixation of the IOL optic within the eye. | Optic diameter: 6.00mm Total diameter: 11.40mm From Ø to +35 Diopters, with 0.5 Diopter increments | iNova Pharmaceuticals Australia Pty Ltd | Changed Description.
JJ903 | General Miscellaneous | Echelon | Disposable stapling device | 45-60mm | Johnson & Johnson Medical Pty Ltd | Changed Product Name, Description, Size.
JJ904 | General Miscellaneous | Echelon | Stapler | 45 - 60mm | Johnson & Johnson Medical Pty Ltd | Changed Product Name, Description, Size.
JJ948 | Specialist Orthopaedic | Healix Anchor System | PEEK anchor with suture | 2.9 - 3.9mm anchor diameter | Johnson & Johnson Medical Pty Ltd | Changed Description.
KA012 | Vascular | Mahurkar Subclavian Catheter Kit | Acute haemodialysus, short term vascular access. Catheters constructed of radiopaque polyurethane. Tips are made of polyvinyl chloride and are more radiopaque than the rest of the catheter. | 10 Fr-12Fr, 13cm-30 cm, Straight/Curved/PreCurved Exten. | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
KA018 | Vascular | Palindrome | Haemodialysis catheter | 14.5Fr, 15 Fr, 16Fr; 19, 23, 28, 33, 55cm Insertion Lengths, with 36, 40, 45, 50, 72cm Overall length, with side slots, symmetric tip | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group, Suffix.
KA019 | Vascular | Mahurkar Triple Lumen Catheter | Mahurkar Triple Lumen Catheter Curved/Straight/Pre-Curved Extension Kit | 12Fr, 12.5 Fr; 13cm-30cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
KA020 | Vascular | Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter | Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter Kit | 13.5 Fr, 13cm-30cm, Straight/Curved/PreCurved Exten. | Medtronic Australasia Pty Ltd | Changed Description, Size, Product Sub Group.
LB001 | Spinal | Independence Spacer | Spacer with integral plate | small (24 X30mm), medium (26 X 34mm), large (29mm X 39mm) 8,15, 20, 25 and 30 deg 11mm – 25mm height | Globus Medical Australia | Changed Size.
LB005 | Spinal | TransContinental M Spacer | PEEK Interbody cages | 0 degree, 6 degree, 20 degree and 25 degree, Height: 8mm - 21mm . Length: 35mm-60mm, Width: 20mm | Globus Medical Australia | Changed Size.
LB087 | Spinal | CREO Stabilization System Rod | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.75 and 5.5 diameter 15mm - 600mm length | Globus Medical Australia | Changed Size.
LB090 | Spinal | CREO Stabilization System Preassembled Polyaxial Screw | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.0mm diameter to 10.5mm diameter 20mm to 120mm length | Globus Medical Australia | Changed Size.
LC023 | Hip | DELTA Coupling / Spacer / Liner | DELTA Coupling / Spacer / Adaptor / Liner CoCrMo | Size Small to Extra Large Angle (In degrees) 0 to 20 Offset +5 | Lima Orthopaedics Australia Pty Ltd | Changed Size, Product Sub Group.
LH527 | General Miscellaneous | MIDCAL Ring | Adjustable Gastric Ring | 65-80 mm circumference | Lifehealthcare Pty Ltd | Changed Size, Benefit.
LM118 | Specialist Orthopaedic | TriMed Radial Column Plates | Radial Column Plate | 7 hole | LMT Surgical Pty Ltd | Changed Product Sub Group, Benefit.
LM122 | Specialist Orthopaedic | TriMed Periarticular Plate | Periarticular Plates | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
LM123 | Specialist Orthopaedic | TriMed Periarticular Plate | Periarticular Plates | ≥ 7 to ≤ 15 holes | LMT Surgical Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
LM124 | Specialist Orthopaedic | TriMed Periarticular Plate | Periarticular Plates | ≥ 16 holes | LMT Surgical Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
LM125 | Specialist Orthopaedic | TriMed Sidewinder | Ankle Fixation Plate | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Size, Suffix, Benefit.
LM126 | Specialist Orthopaedic | TriMed Sidewinder | Ankle Fixation Plate | 7 hole sidewinder plate | LMT Surgical Pty Ltd | Changed Suffix, Benefit.
LM135 | Specialist Orthopaedic | TriMed Hook Plate | Hook Plate | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Description, Size, Suffix, Benefit.
LM136 | Specialist Orthopaedic | TriMed Hook Plate | Hook Plate | ≥ 7 to ≤ 15 holes | LMT Surgical Pty Ltd | Changed Description, Size, Suffix, Benefit.
LM144 | Specialist Orthopaedic | TriMed Bone Screw | Non-Locking Cortical Bone Screws | 2.3mm x 7mm - 32mm 2.7mm x 8mm - 28mm | LMT Surgical Pty Ltd | Changed Size.
LM209 | Specialist Orthopaedic | Jones Fracture Plate | Fracture Fixation Systems | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Size, Suffix, Benefit.
LM210 | Specialist Orthopaedic | Jones Fracture Plate | Fracture Fixation Systems | ≥ 7 to ≤ 15 holes | LMT Surgical Pty Ltd | Changed Size, Suffix, Benefit.
LM211 | Specialist Orthopaedic | Trimed Volar & Dorsal Hook Plate | Wrist Fixation System - Volar & Dorsal Hook Plates | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Size.
LM212 | Specialist Orthopaedic | Trimed Volar & Dorsal Hook Plate | Wrist Fixation System - Volar & Dorsal Hook Plate | ≥ 7 to ≤ 15 holes | LMT Surgical Pty Ltd | Changed Size.
LM256 | Specialist Orthopaedic | Osteomed Screws | Bone Screws - threaded/lag | 1.2/1.6/2.0mm x 4-36mm | LMT Surgical Pty Ltd | Changed Product Name.
LM258 | Specialist Orthopaedic | Bone Screws- cannulated | Screws - cannulated | 2.0mm x 6.0-36mm | LMT Surgical Pty Ltd | Changed Product Name, Description, Size.
LM262 | Specialist Orthopaedic | Osteomed Plates | Low Profile plates | 1.2/1.6/2.0/2.4mm 4-12 hole; straight, L, T | LMT Surgical Pty Ltd | Changed Product Name, Description.
LM291 | Specialist Orthopaedic | Forearm Locking Plate | Forearm plates | ≤ 6 holes | LMT Surgical Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
LM310 | Specialist Orthopaedic | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 3.0m and 3.5mm | LMT Surgical Pty Ltd | Changed Size.
LM313 | Specialist Orthopaedic | Volar Bearing Plate Screws | Volar Bearing Plate Screws | 2.5mm x 10mm-30mm | LMT Surgical Pty Ltd | Changed Product Name, Size, Suffix, Benefit.
LM317 | Specialist Orthopaedic | Skeletal Dynamics Bone Screw Non-Locking | Non-Locking Cortical Bone Screws | 3.0mm, 3.5mm | LMT Surgical Pty Ltd | Changed Product Name, Size.
LM319 | Specialist Orthopaedic | Screws | Non Locking | 2.01 - 2.7mm x 12mm - 40mm | LMT Surgical Pty Ltd | Changed Size.
LM322 | Specialist Orthopaedic | GEMINUS Volar Plating System | Plates | 7 hole, Long (207mm) and Short (160mm) | LMT Surgical Pty Ltd | Changed Product Name, Description, Size.
LM328 | Ear, Nose & Throat | Total Ossicle Replacement | a) TTP Tuebingen Type Aerial Type b) TTB-Vario Aerial c) TTP Variac System Total d) Malleus Notch Prosthesis e) Regensburg Type Total Prosthesis f) Malleus Replacement g) Duesseldorf Type Total h) Omega Connector | a) Length - 3 to to 7mm b) one size only c) one size only d) Length - 3 to 7mm e) Length - 4 to 5mm f) one size only g) lengths - 3 to 7mm h) length - 0.5mm | LMT Surgical Pty Ltd | Changed Description, Size.
LM329 | Ear, Nose & Throat | Partial Ossicle Replacement | a) TTP Tuebingen Type bell b) CliP Dresden Type c) Malleus d) Angular Plester e) Angular CliP f) TTP - Vario Bell TTP - Variac System, Partial g) CliP Partial FlexBAL h) Duesseldorf Type Partial | a) length 1.75 to 3.5mm b) length 1.75 to 3.5mm c) length 1.75 to 3.5mm d) length 2.25 or 3.25mm e) length 2.25 or 3.25mm f) one size g) length 1.75 to 3.5mm h) length 1.75 to 4.5mm | LMT Surgical Pty Ltd | Changed Size.
MA482 | Hip | Ceramys Ceramic Femoral Head | Ceramic, zirconia alumina combination | 28 L, 28 M, 28 S, 32 XL, 32 L, 32 M, 32 S | Mathys Orthopaedics Pty Ltd | Changed Description, Size.
MA483 | Hip | Ceramys Large Ceramic Femoral Head | Ceramic, zirconia alumina combination, large diameters | 36 XL, 36 L, 36 M, 36 S | Mathys Orthopaedics Pty Ltd | Changed Description, Size.
MC208 | Cardiac | Medtronic Sprint Quattro Secure Lead Model 6947 (MRI SureScan) | Leads, Defibrillator, Implantable, Silicone, polyurethane, platinized tantalum coils, steroid eluting tip, including MRI compatible versions | 58-100cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Product Sub Group.
MC396 | Spinal | TSRH Spinal Implant System | 3D - Rod | Length 20-120mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC404 | Spinal | CD HORIZON Spinal System - Rod | Rod | 20mm - 600mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC587 | Spinal | CD Horizon Spinal System | Percutaneous Rod | 20mm to 600mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC590 | Spinal | Vertex Reconstruction System | Crosslink/Bar | Extra small to large | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Size.
MC609 | Spinal | CD Horizon Spinal System | Percutaneous Set Screw | 4.5 to 6.35mm dia | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC611 | Spinal | Vantage | Vantage Plates and Screws; Thoracic Screw | 5.5-10.5 x 15-100mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC668 | Spinal | CD HORIZON Spinal System - Lateral Connector | Lateral Connector | 10mm - 100mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC675 | Spinal | CD Horizon | Legacy Screw | Diameter 3.5 - 10.5mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC811 | Cardiac | Attain Ability 4196 LV Lead/ Attain Ability SureScan 4196 MRI LV Lead | Over the wire dual electrode left ventricular lead | 78, 88, and 103 cm | Medtronic Australasia Pty Ltd | Changed Product Name, Product Sub Group.
MC822 | Spinal | CD Horizon | Legacy Multiaxial Iliac Screw | Dia 5.5 to 10.5mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC831 | Cardiac | Medtronic Lead Extender Kits | 6984M: IS-1 BI Lead to IS-1 BI IPG; 6981M: IS-1 UNI Lead to IS-1 UNI IPG; 6986M: 3.2mm BI Lead to IS-1 BI IPG; 6985M: IS-1 UNI Lead to EPG; OSCOR Lead Extender BIS-BIS-40 | 37 - 50cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Product Sub Group.
MC833 | Cardiac | CapSureFix Novus Model 4076 Pacing Lead (MRI SureScan) | Active fixation pacemaker lead, including MRI compatible models | 35 - 85cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
MC834 | Cardiac | Sprint Quattro Secure S (MRI SureScan) | Model 6935, Active Fixation Single Coil Defibrillation Lead, including MRI models | 52 - 100cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Product Sub Group.
MC941 | Neurosurgical | Pocket Adaptors for Spinal Cord Stimulation | Pocket Adaptors for Spinal Cord Stimulation (Single and Dual Channel) | 12.9cm, 25.5cm and 27.4cm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MC969 | Spinal | CD HORIZON Spinal System - Multi-Axial Screw | CD HORIZON SOLERA Multi-Axial Screw, HA coated Multi-Axial Screw | Diameter: 4.0mm - 10.5mm | Medtronic Australasia Pty Ltd | Changed Description, Size, Product Sub Group.
MI013 | Cardiac | Attain Ability Plus 4296/ Attain Ability Plus SureScan MRI 4296 | Over the wire electrode left ventricular lead | 78cm, 88cm | Medtronic Australasia Pty Ltd | Changed Product Name, Product Sub Group.
MI014 | Cardiac | Attain Ability Straight 4396/ Attain Ability Straight 4396 SureScan MRI | Over the wire dual left ventricular lead | 78cm, 88cm | Medtronic Australasia Pty Ltd | Changed Product Name, Product Sub Group.
MI045 | Cardiac | Adaptor Kits | Bipolar lead adaptors | 14cm, 15cm, 17cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
MI065 | Spinal | Clydesdale Spinal System | Lateral vertebral body spacer (PEEK & PTC) | Length: 40mm - 60mm | Medtronic Australasia Pty Ltd | Changed Description.
MI112 | Cardiac | Evera XT VR DF1/ Evera MRI XT VR SureScan DF1 | Single Chamber Implantable Cardioverter Defibrillator with PhysionCurve Design, Optimised Battery Chemistry, SmartShock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management. DF1 | 33cm³ 77g | Medtronic Australasia Pty Ltd | Changed Product Name.
MI114 | Cardiac | Evera S VR DF1 / Evera MRI S VR SureScan DF1 | Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF1 | 33cm³ 77g | Medtronic Australasia Pty Ltd | Changed Product Name.
MI116 | Cardiac | Evera XT DR IS1/DF1 / Evera MRI XT DR SureScan IS1/DF1 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. DF1 | 34cm³ 78g | Medtronic Australasia Pty Ltd | Changed Product Name, Product Sub Group.
MI118 | Cardiac | Evera S DR IS1/DF1 / Evera MRI S DR SureScan IS1/DF1 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF1 | 34cm³ 78g | Medtronic Australasia Pty Ltd | Changed Product Name, Product Sub Group.
MI129 | Cardiac | Attain Performa Leads/ Attain Performa SureScan MRI Leads | LV lead family with four electrodes and an IS4 connector for LV pacing w/premium and standard IS4 CRT-D devices. The Attain Perfoma™ Lead provides LV pacing options to avoid the following: phrenic nerve stimulation, high pacing thresholds, and ischemic tissue (including MRI versions) | 78, 88cm | Medtronic Australasia Pty Ltd | Changed Product Name, Description.
MI195 | Cardiac | TYRX Absorbable Antibacterial Envelope | Antibacterial surgically implanted mesh envelope which stablises EID placement and prevents infection | 6.3 x 6.9cm, 7.4 x 8.5cm | Medtronic Australasia Pty Ltd | Changed Description.
MU021 | Hip | Medacta Bipolar Head | Stainless Steel, with UHMWPE insert | Ball head diameter 22.2mm, sizes: from 39 to 52mm. Ball head diameter 28mm, sizes: from 42 to 60mm. | Medacta Australia Pty Ltd | Changed Size.
MU106 | Spinal | M.U.S.T Polyaxial Pedicle Screws Cannulated | Polyaxial Cannulated Screws | 4.5-7mm; Length 25 -90mm | Medacta Australia Pty Ltd | Changed Size.
MU109 | Spinal | M.U.S.T. Polyaxial Pedicle Screws | Polyaxial Screws | 4.0 -10mm; length 20 -100mm | Medacta Australia Pty Ltd | Changed Size.
MU112 | Knee | GMK Cemented Standard Femur - TiNbN coated | Cemented standard femoral component, with TiNbN surface coating | sizes 0 to 7, left to right | Medacta Australia Pty Ltd | Changed Size.
MU113 | Knee | GMK Posterior Stabilised Cemented Femur -TiNbN coated | Cemented posterior stabilised femoral component, with TiNbN surface coating | sizes 0 to 7, left and right | Medacta Australia Pty Ltd | Changed Size.
MU124 | Spinal | M.U.S.T LINK - Cross Connector | Cross Connector | 20-100mm | Medacta Australia Pty Ltd | Changed Size.
MU127 | Hip | Medacta Cortical Bone Screws | Titanium cortical bone screws | 25 - 70 mm | Medacta Australia Pty Ltd | Changed Product Name, Size.
MU139 | Hip | Reinforcement Cages | Acetabular Reinforcement Cage | Internal diameter from 40 to 62 mm | Medacta Australia Pty Ltd | Changed Size.
NR001 | Plastic and Reconstructive | Nobel Biocare Abutments | Final Abutments (Multi-Units) | NP, RP, WP | Nobel Biocare Australia Pty Ltd | Changed Description, Size.
NR003 | Plastic and Reconstructive | Branemark System | Dental Implants, endosseous | Diameter: 3.3mm - 5.0mm Length: 10mm - 15mm | Nobel Biocare Australia Pty Ltd | Changed Product Name, Description, Size.
NR007 | Plastic and Reconstructive | Branemark Titanium Fixture | Zygomaticus Fixture | 30, 35, 37.5, 40, 42.5, 45, 47.5, 50, 52.5mm Length | Nobel Biocare Australia Pty Ltd | Changed Size, Product Sub Group.
NR010 | Plastic and Reconstructive | Replace Implant (NobelReplace Conical Connection, NobelReplace Conical Connection PMC) | Dental Implant Endosseous, Titanium | Diameter: 3.5mm- 5.0mm Length : 8.0mm - 16.00mm | Nobel Biocare Australia Pty Ltd | Changed Product Name, Size.
NR012 | Plastic and Reconstructive | Groovy Implants (NobelReplace Tapered Groovy, Branemark System Mk III Groovy, NobelSpeedy Groovy) | Dental Implants, endosseous | Diameter 3.3 - 6.0mm; Length 7.0 - 25.0mm | Nobel Biocare Australia Pty Ltd | Changed Product Name, Size.
NR013 | Plastic and Reconstructive | NobelActive implants | Dental implants, endosseous | Diameter 3.5 - 5.5mm; Length 7.0 - 18.0mm | Nobel Biocare Australia Pty Ltd | Changed Size.
NV020 | Spinal | VuePoint Fixed Cross Connector | Fixed cross connector | 26mm-50mm | Nuvasive Australia and NZ Pty Ltd | Changed Benefit.
NV022 | Spinal | VuePoint screw (inner set) | Screw | Tulip & Laminar Hook; Offset & Occipital Connector; Parallel Rod Connector; Inline Rod Connector; Cross Connector | Nuvasive Australia and NZ Pty Ltd | Changed Description, Size, Product Sub Group.
NV023 | Spinal | VuePoint Screw (occipital bone) | Bone Screw | 4.5-5.0mm diameter, 6-14mm length | Nuvasive Australia and NZ Pty Ltd | Changed Description, Size, Product Sub Group.
NV024 | Spinal | VuePoint screw (multi axial) | Screw (mulit-axial) | 3.5-4.5mm diameter, 10-40mm length | Nuvasive Australia and NZ Pty Ltd | Changed Size, Product Sub Group.
NV028 | Spinal | VuePoint rod (pre-bent) | Pre-bent rod | 80-240mm | Nuvasive Australia and NZ Pty Ltd | Changed Size, Product Sub Group.
NV029 | Spinal | VuePoint offset connector | Offset connector | 11mm, 25mm, 30mm, 45° Acute Angle - Offset Lateral Connector, 3.5mm x (3.5/4.5/5.5/6.25mm) - Offset Rod-to-Rod connector, Eyelet Connector (Occipital) - One Size | Nuvasive Australia and NZ Pty Ltd | Changed Size, Product Sub Group.
NV030 | Spinal | VuePoint hook (laminar) | Hook (laminar) | 5.0mm, 6.0mm, 7.0mm, 8.0mm | Nuvasive Australia and NZ Pty Ltd | Changed Size, Product Sub Group.
NV103 | Spinal | CoRoent Small Interlock (cage) | The CoRoent Small Interlock System is a stand-alone anterior cervical interbody fusion system indicated for use in skeletally mature patients with degenerative disc disease (DDD) at one level from C2-T1. | Width 14-18mm x length 10-14mm x Height 5-16mm x Lordosis 0-20˚ | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV106 | Spinal | Decade Lateral Plate System (screw) | The Nuvasive Decade Lateral Plate System is indicated for use in the treatment of lumbar and lumbosacral (L1-S1) spine instability. | 5.0/6.5mm diameter, length 15-75mm | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV110 | Spinal | Reline (Hook) | Hook | 4-12mm Lamina Narrorw, Lamina Wide, Lamina Down Narrow, Lamina Down Wide, Trans Process Narrow, Trans Process Wide, Lamina Up Narrow, Lamina Up Wide, Lamina Tall Narrow, Pedicle, Thoracic, Offset Left, Offset Right, Angle Left, Angle Right, Offset Angle Left, Offset Angle Right, Sidewinder Left, Sidewinder Right | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV111 | Spinal | Reline (Fixed Cross Connector) | Fixed Cross Connector | 11-80mm length; to fit 4.5-6.5 mm rod diameter | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV112 | Spinal | Reline (Monoaxial Screw) | Fixed Screw | 4.0mm-12.5mm in diameter; 15-120mm in length | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV114 | Spinal | Reline (Offset Connector) | Offset Connector | 10-60mm length for 4.5-6.5 mm diameter rod, Ti and CoCr | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV115 | Spinal | Reline (Polyaxial Screw) | Polyaxial Screw | 4.0-12.5mm diameter, 15-120mm length | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV116 | Spinal | Reline (Rod) | Rod | 4.5-6mm diameter, and 15-600mm length, Ti and CoCr | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV117 | Spinal | Reline (Reduction Screw) | Reduction Screw | 4.0-12.5mm in diameter; 15-120mm in length | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV118 | Spinal | Reline (Adjustable Cross Connector) | Adjustable Cross Connector | 20-100mm length; to fit 4.5-6mm rod diameter | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV133 | Spinal | Reline System (cannulated polyaxial screw) | When used as a pedicle screw fixation system, the NuVasive Reline System is intended to provide immobilization and stabilization of spinal segments in skeletally mature patients as an adjunct to fusion in the treatment of the following acute and chronic instabilities or deformities of the posterior thoracic, lumbar, and sacral spine: 1. Degenerative disc disease (as defined by back pain of discogenic origin with degeneration of the disc confirmed by patient history and radiographic studies) 2. Degenerative spondylolisthesis with objective evidence of neurologic impairment 3. Fracture 4. Dislocation 5. Scoliosis 6. Kyphosis 7. Spinal tumor and/or 8. Failed previous fusion (pseudoarthrosis) The NuVasive GSB Global Spinal Balance System is also indicated for the treatment of severe spondylolisthesis (Grades 3 and 4) of the L5-S1 vertebral joint in skeletally mature patients receiving fusion by autogenous bone graft, having the device fixed or attached to the lumbar and sacral spine (L3 to sacrum), with removal of the implants after attainment of a solid fusion. | 4.5-8.5mm diameter, 25-100mm length | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NV135 | Spinal | Reline (Rod to Rod Connector) | Rod-to-Rod Connector | To fit 4.5 - 6.5 mm rod diameter | Nuvasive Australia and NZ Pty Ltd | Changed Size.
NZ001 | Urogenital | UroLift® System | Prostatic urethral tissue-retaining retractor with adjustable retraction. | One system | Neotract Australia Pty Ltd | Changed Size, Product Sub Group, Benefit.
OF001 | Spinal | Construx Mini PTC | Anterior cervical cage | 12x12mm, 15x12mm, 15x15mm, 5-14mm height, parallel or 5 degree lordotic | Orthofix Australia Pty Limited | Changed Size.
OF014 | Spinal | Pillar SA | Bone Screws | 5.0 - 5.5mm X 20-35mm | Orthofix Australia Pty Limited | Changed Description, Size, Product Sub Group.
OF022 | Spinal | Firebird Phoenix screw heads | Modular screw heads; various sizes including reduction heads | Body Top Loading, NXG Body Top Loading, Body Closed, Body Reduction - All one size only Body Offset - 8mm, 11mm, 14mm Short, standard and tall (open and closed) | Orthofix Australia Pty Limited | Changed Size.
OF025 | Spinal | Spinal Fixation System | Multi Axial Cross Connector Assembly – Titanium/Lateral Offset | 5.5mm-80mm | Orthofix Australia Pty Limited | Changed Size.
OF029 | Spinal | Blackstone Medical ACP - Level 1 & 2 | Titanium Alloy ACP L1-L2 | 20mm - 54mm | Orthofix Australia Pty Limited | Changed Size.
OF047 | Spinal | FORZA TLIF | PEEK TLIF cages in various sizes | Width - 9mm to 11mm Length - 27mm to 33mm Height - 6mm to 16mm 0 - 8 degree | Orthofix Australia Pty Limited | Changed Size.
OH414 | Knee | Trekking Knee System - TCK Femoral and Tibial Offsets | TCK Femoral, Tibial Offset Adaptors | Size (mm): 2, 4, 6 Offsets: Straight, Posterior, Lateral, Medial | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH416 | Knee | Trekking Knee System - TCK Revision Tibial and Femoral Augments | TCK Revision Tibial and Femoral Augments (Knee Wedge) | Size: T1 - T5 Size: 5mm - 10mm | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH417 | Knee | Trekking Knee System - TCK Tibial Component Revision | Revision Tibial Component | Size: T1-T5 Width (mm) Depth: 42 - 57 Width (mm) 64 - 86 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group, Suffix, Benefit.
OH418 | Knee | Trekking Knee System - TCK Femoral and Tibial Stems | TCK Femoral and Tibial Stems | Size (mm): 10 - 23 Size (mm): 40 - 120 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH419 | Knee | Trekking Knee System: TCK Revision Femoral Component PS | Femoral Component Revision - PS | Size: T1R - T5R Size: T1L - T5L Shape: Left and Right Width (mm): 59 - 79 Width (mm): Depth 53-73 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group, Suffix, Benefit.
OH420 | Knee | Trekking Knee System, Tibial Insert | Tibial Insert | Size: T1 - T5 Thickness: +0 - +7 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH421 | Knee | Trekking Knee System, Mobile Bearing Tibial Component | Mobile Bearing Tibial Component | Size: T1 - T5 Width (mm) Depth: 42-57 Width (mm): 64 - 86 | Orthotech Pty Ltd | Changed Product Name, Description, Size.
OH422 | Knee | Trekking Knee System, Tibial Component MB Cemented | Tibial Component MB Cemented | Size: T1 - T5 Width (mm): 64 - 86 Width (mm): Depth 42 - 57 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH423 | Knee | Trekking Knee System, Patella Component | Patella Component | Size: 1, 2, 3 Diam (mm): 30, 35, 40 | Orthotech Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
OH425 | Knee | Trekking Knee System, Tibial Component | Tibial Component Cemented | Size: T1 - T5 Width (mm): Depth 42-57 Width (mm): 64 - 86 | Orthotech Pty Ltd | Changed Size, Product Sub Group.
OH475 | Specialist Orthopaedic | DynafitSystem | Self-compressive screws | 2.6mm x 10-40mm | Orthotech Pty Ltd | Changed Size.
OH476 | Specialist Orthopaedic | DynafitSystem | Compressive Screws | 2.4/2.6mm - 10x40mm | Orthotech Pty Ltd | Changed Description, Size.
OH477 | Specialist Orthopaedic | DynafitSystem | Self-compressive screws | 3.2 x 10-40mm | Orthotech Pty Ltd | Changed Size, Suffix, Benefit.
OO016 | Knee | ACS Knee System - ACS SC Revision Femoral component, Cemented | Cemented femoral component, Cemented | Left/Right Sizes 2/2.5/3/4/5/6 | Oceania Orthopaedics | Changed Product Group, Product Sub Group, Benefit.
OO032 | Hip | IC- Head Biolox delta | Biolox delta ceramic head | 28 and 32mm. Small, medium and large. | Oceania Orthopaedics | Changed Product Name, Description.
OO033 | Hip | IC-Head Biolox delta | Biolox delta ceramic head | 36mm. S, M, L and XL. | Oceania Orthopaedics | Changed Product Name, Description, Size.
OO035 | Hip | Bi-polar head | Bipolar head | 38mm - 62mm | Oceania Orthopaedics | Changed Size.
OO041 | Hip | Mutars RS revision system - cementless stem HA | RS Cementless stem HA | 12/14/16/18/20mm dia stems, 150 - 190mm length | Oceania Orthopaedics | Changed Size.
OO042 | Hip | Mutars RS revision system - cementless stem HA long | RS Cementless stem HA long | 12/14/16/18/20mm dia stems, 200 to 250mm length | Oceania Orthopaedics | Changed Size.
OO043 | Hip | IC bone screw | Cancellous bone screw | 6.5mm x 15/20/25/30/35/40/45/50/55/60/65/70/75/80/85mm length. | Oceania Orthopaedics | Changed Size, Product Sub Group.
OO048 | Knee | MUTARS Stems | MUTARS Stems | 120/130/160/200/240 lengths, 11/12/13/14/15/16/17/18/19/20/21/22/23 diameters | Oceania Orthopaedics | Changed Size.
OO099 | Hip | Mutars RS revision system- Metaphyseal component | RS metaphyseal component | 25mm | Oceania Orthopaedics | Changed Description, Size.
OO101 | Specialist Orthopaedic | Mutars Attachment Tube | Mutars attachment tube | 35/55mm | Oceania Orthopaedics | Changed Size.
OO108 | Knee | Mutars Tumour System | Mutars diaphyseal implant | 100mm length x 11-19mm | Oceania Orthopaedics | Changed Size, Product Sub Group.
OO109 | Knee | Mutars – tibial plateau | Tibial plateau for hinged knee | X small, small, standard, large | Oceania Orthopaedics | Changed Product Name.
OO112 | Knee | Mutars – Metaphyseal component | Mutars – Genux metaphyseal tibial spacer | Right/Left 25mm, 35mm, 45mm, 50mm | Oceania Orthopaedics | Changed Product Group, Product Sub Group, Benefit.
OO114 | Knee | Mutars – reducer | Mutars – reducer | 20mm/30mm | Oceania Orthopaedics | Changed Size.
OO120 | Specialist Orthopaedic | MUTARS - Arthrodesis femoral component | MUTARS - Arthrodesis femoral component | 45mm left and right | Oceania Orthopaedics | Changed Product Name, Description.
OO121 | Specialist Orthopaedic | MUTARS - Arthrodesis body | Arthrodesis Body | 120mm | Oceania Orthopaedics | Changed Product Name, Description.
OO122 | Knee | ACS Knee system, ACS stems, straight and offset | ACS tibial and femoral stems | 12/14/16/18/20/22mm dia stems, 25/50/75/100/150/200mm length | Oceania Orthopaedics | Changed Size, Product Sub Group.
OO123 | Specialist Orthopaedic | MUTARS Distal Humerus | MUTARS Distal Humerus | 50mm, 30mm | Oceania Orthopaedics | Changed Product Group, Product Sub Group, Benefit.
OO126 | Specialist Orthopaedic | MUTARS Humerus Head | MUTARS Humerus Head | 50mm | Oceania Orthopaedics | Changed Product Name, Description.
OO127 | Specialist Orthopaedic | MUTARS Humerus cap | MUTARS Humerus cap | Small, medium and large. +5 and +10mm offset Standard / Inverse | Oceania Orthopaedics | Changed Size.
OO130 | Specialist Orthopaedic | MUTARS humerus reducer | MUTARS humerus reducer | 10/100mm | Oceania Orthopaedics | Changed Size.
OO133 | Specialist Orthopaedic | MUTARS humeral stem | MUTARS humeral stems | 7-16mm diameter 75mm length | Oceania Orthopaedics | Changed Size.
OO134 | Specialist Orthopaedic | MUTARS ulna anchorage | MUTARS ulna anchorage | left/right 70mm | Oceania Orthopaedics | Changed Size.
OO139 | Hip | Implantcast delta ceramic liner | Biolox delta cup liner | 32/39, 32/44,36/44, 32/48,36/48,32/52, 36/52, 40/48, 40/52 | Oceania Orthopaedics | Changed Description, Size.
OO142 | Hip | MUTARS RS screw for coupling device | RS coupling device screw | 60-140mm length M8 | Oceania Orthopaedics | Changed Size.
OO160 | Knee | MUTARS GenuX MK Augments | MUTARS GenuX MK Augments | 1-6 Femoral distal, Femoral posterior and 2- 6 Tibial spacers. 5-20mm | Oceania Orthopaedics | Changed Size, Product Sub Group.
OO173 | Hip | MUTARS Femoral Stem Cemented with TiN and HA Collar | MUTARS Femoral Stem Cemented with TiN and HA Collar | 11/13/15/17 120/160/200/240mm | Oceania Orthopaedics | Changed Size.
OO174 | Knee | EPORE Cones/Components | Femoral/Tibial metaphyseal Cones and Components, 3D Printed titanium | Sizes 2-6 for Femur and Tibia, Left and Right | Oceania Orthopaedics | Changed Product Name, Description, Size.
PB019 | Specialist Orthopaedic | Calcaneal Locking Plate - Locking Plates | Calcaneal Locking Plate I, Calcaneal Locking Plate II, Compound Calcaneal Locking Plate II, Anterior Process Calcaneal Locking Plate II, Anatomical Calcaneal Locking Plate II, Anterior Process and Posterior Tuberosity Calcaneal Locking Plate | ≥ 7 to ≤ 15 holes, Large, medium and small | Australian Pacific Medical Pty Ltd | Changed Product Name, Size.
PY011 | Urogenital | Optimed Opti-J Stents | Dual Use directional Double J stent and delivery system. Can also be used as urinary diversion stent. | 4.5Fr to 8Fr Length: 22cm to 36cm | Pyramed Pty Limited | Changed Size.
RH001 | Cardiothoracic | On-X Prosthetic Heart Valve | Bileaflet Mechanical Heart Valve | 19-33mm | Reid Healthcare | Changed Product Name, Size, Product Sub Group.
SB004 | Plastic and Reconstructive | Straumann Bone Level Implant Healing Abutment | Straumann Healing Abutment NC/RC | Heights 0.5mm – 6.5mm | Straumann Pty Ltd | Changed Size.
SB009 | Plastic and Reconstructive | Straumann SLActive | Straumann Bone Level Implants with SLActive Hydrophillic Surface | 2.9mm-4.8mm diameter, 4mm-16mm height | Straumann Pty Ltd | Changed Size.
SF029 | Hip | Origin™ Stem | Cementless Stems are inteded for press-fit fixation and manufactured from titanium 6AI-4V and are fully HA coated | collarless: standard offset, 12/14, sizes 8-18 Extended offset 12/14, sizes 8-18, collared: standard offset 12/14, sizes 8-18, sizes 8-18 Extended offset, collared coxa vera 125 degree | Signature Orthopaedics | Changed Size.
SF104 | Spinal | Alias Cage | PEEK Fusion Cage with Plasma coating | 5-9mm, 4, 8 and 12 degree, Flat and countoured options | Signature Orthopaedics | Changed Size.
SF144 | Hip | Logical G Shell | titanium Cup with sintered titanium coating | 44 - 68mm | Signature Orthopaedics | Changed Product Name, Size.
SI024 | General Miscellaneous | CADD Medication Cassettes | Medication Cassettes for use with CADD pumps | 50 mL, 100mL, 250mL | Smiths Medical Australasia Pty Ltd | Changed Product Name, Description, Size.
SI028 | General Miscellaneous | CADD Extention Set | CADD Extension set for use with CADD Pumps | Various | Smiths Medical Australasia Pty Ltd | Changed Product Name, Description, Size.
SI034 | General Miscellaneous | CADD-Solis VIP Ambulatory Infusion Pump | Ambulatory Infusion Pump | One size only | Smiths Medical Australasia Pty Ltd | Changed Product Name.
SI040 | General Miscellaneous | Administration Set | Administration Set for use with CADD pump | Various configurations | Smiths Medical Australasia Pty Ltd | Changed Description, Size.
SI045 | General Miscellaneous | CADD®- Solis Pain Management System | Ambulatory Infusion Pump, Battery Powered | 680g excluding accessories | Smiths Medical Australasia Pty Ltd | Changed Description, Size.
SK202 | Specialist Orthopaedic | Stryker Trauma Locking Nail System | SCN | Diameter 8mm - 15mm, Length 170mm - 480mm | Stryker Australia Pty Ltd | Changed Size.
SK214 | Specialist Orthopaedic | Stryker Trauma Locking Nail System | Reconstruction Nail | Recon Nail Left/RightDiameter 9-15mm, Length 240-480mm | Stryker Australia Pty Ltd | Changed Size.
SK245 | Specialist Orthopaedic | Stryker Intramedullary Nailing System | Locking Screw - Titanium | 25mm - 120mm | Stryker Australia Pty Ltd | Changed Product Name, Size.
SK364 | Specialist Orthopaedic | Hoffman II External Fixation System | Hoffman II Sterile Pre-pack kit, RL | Standard Tibia | Stryker Australia Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
SK365 | Specialist Orthopaedic | Hoffman II External Fixation System | Hoffmann II Ankle Sterile Pre-Pack kit, RL | Standard Large Ankle Kit | Stryker Australia Pty Ltd | Changed Size, Product Sub Group, Suffix, Benefit.
SK378 | Specialist Orthopaedic | Hoffman II External Fixation System | Hoffman Pre-pack Pelvic kit | Sterile Pelvic Kit | Stryker Australia Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
SK396 | Specialist Orthopaedic | Hoffmann II Compact Wrist Sterile Pre-Packs, RL | Bridging & Non-bridging | Sterile Wrist Kit | Stryker Australia Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
SK527 | Specialist Orthopaedic | Stryker Locking Plate System | Locking Screws | 2.3-2.7mm | Stryker Australia Pty Ltd | Changed Suffix, Benefit.
SL043 | Specialist Orthopaedic | VLP EVOS | Cortical Screws | Micro (Screw size ≤ 2.0mm) | Smith & Nephew Pty Ltd | Changed Size, Product Group, Product Sub Group, Benefit.
SN286 | Hip | Reflection | Acetabular Cup HA Coated Titanium Alloy, beaded | 42 - 80mm | Smith & Nephew Pty Ltd | Changed Suffix, Benefit.
SN473 | Specialist Orthopaedic | Compression Hip Screw System | Classic Standard Barrel Plates | ≤ 6 holes | Smith & Nephew Pty Ltd | Changed Size.
SN475 | Specialist Orthopaedic | Compression Hip Screw System | Classic Standard Barrel Plates | ≥ 7 to ≤ 15 holes | Smith & Nephew Pty Ltd | Changed Size.
SN497 | Specialist Orthopaedic | Intramedullary Nailing System | Knee Fusion Nail | Diameter 11- 13 mm | Smith & Nephew Pty Ltd | Changed Description, Size.
SN522 | Specialist Orthopaedic | TriGen | Femoral nail | 8.5-13mm x 15-50mm | Smith & Nephew Pty Ltd | Changed Product Name, Description, Size.
SN834 | Knee | Journey Knee System Patella Femoral Replacement Trochlear Component | Trochlear Component,cemented, Oxinium | Sm, Med Lg, XLg | Smith & Nephew Pty Ltd | Changed Product Name, Description, Product Sub Group.
SN914 | Specialist Orthopaedic | Peri-Loc | Clavicle plates | ≤6 holes | Smith & Nephew Pty Ltd | Changed Product Sub Group, Benefit.
SN946 | Specialist Orthopaedic | Jet X Bar Ankle spanning kit | Complete Frames, 3 Dimensional & Compression/Distraction | Standard | Smith & Nephew Pty Ltd | Changed Product Name, Product Sub Group, Suffix, Benefit.
SN965 | Specialist Orthopaedic | Jet X Distal Radius Kit | Complete Frame, 3 Dimensional & Compression/Distraction Device | Small | Smith & Nephew Pty Ltd | Changed Product Name, Product Sub Group, Suffix, Benefit.
SN970 | Specialist Orthopaedic | Cannulated Screw | Stainless Steel | 2.01mm - 2.7mm | Smith & Nephew Pty Ltd | Changed Size.
SQ035 | General Miscellaneous | Painbuster | Kit includes catheter, introducer needle, flow restrictor, filter, 1 - 14ml/hour, dual | 270ml - 400ml | Surgical Specialties | Changed Description.
SQ076 | Specialist Orthopaedic | K wires | K wire threaded | 1.25mm - 4.5mm | Surgical Specialties | Changed Size.
SQ086 | Specialist Orthopaedic | Pedinail - Cannulated, intramedullary nail, left and right | IM Femoral Nail (Right/Left) | Right: 7mm x 20cm-38cm, 8mm x 24cm-42cm, 9mm x 28cm-42cm, 10mm x 30cm-42cm in 2cm increments Left: 7mm x 20cm-38cm, 8mm x 24cm-42cm, 9mm x 28cm-42cm, 10mm x 30cm-42cm in 2cm increments | Surgical Specialties | Changed Size, Benefit.
SQ124 | General Miscellaneous | INDERMIL Flexifuze | Topical Tissue Adhesive with Applicator | 0.75g per ampoule | Surgical Specialties | Changed Benefit.
ST035 | Specialist Orthopaedic | Stryker Intramedullary Nailing System | Compression Screw -Titanium | 0 – 35mm | Stryker Australia Pty Ltd | Changed Product Name, Description, Size, Suffix.
ST043 | Specialist Orthopaedic | Stryker Intramedullary Nailing System | Locking Screw - Titanium | 20-120mm | Stryker Australia Pty Ltd | Changed Product Name, Description.
ST045 | Specialist Orthopaedic | Stryker Intramedullary Nailing System | End Caps - Titanium | Standard to +35mm | Stryker Australia Pty Ltd | Changed Product Name, Description, Size.
ST945 | Specialist Orthopaedic | Monotube External Fixation System | Anodized metal alloy, dynamic tube assembly yellow | 15mm | Stryker Australia Pty Ltd | Changed Suffix, Benefit.
ST946 | Specialist Orthopaedic | Monotube External Fixation System | Anodized metal alloy, dynamic tube assembly blue | 20mm | Stryker Australia Pty Ltd | Changed Suffix, Benefit.
ST947 | Specialist Orthopaedic | Monotube External Fixation System | Anodized metal alloy, dynamic tube assembly rod | 25mm | Stryker Australia Pty Ltd | Changed Suffix.
SV037 | Specialist Orthopaedic | Parcus Series 3 Peek CF Suture Anchor | Knotless push in Anchor with 2 sutures and suture passer. | 3.5mm diameter | Signature Spine and Joint Pty Ltd | Changed Description.
SY037 | Specialist Orthopaedic | AO/ASIF Plates | Specialty Plate | 7-15 hole | Johnson & Johnson Medical Pty Ltd | Changed Description, Size, Suffix.
SY420 | Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Wire Post MRI Safe | Short, Tall, Long and 1 to 5 holes | Johnson & Johnson Medical Pty Ltd | Changed Product Name, Size, Suffix.
SY703 | Specialist Orthopaedic | AO/ASIF Plates | Specialty Locking Plate | ≤ 6 holes | Johnson & Johnson Medical Pty Ltd | Changed Description, Suffix.
SY704 | Specialist Orthopaedic | AO/ASIF Plates | Specialty Plate | ≤ 6 holes | Johnson & Johnson Medical Pty Ltd | Changed Description, Suffix.
SY787 | Specialist Orthopaedic | AO/ASIF K-Wires | K-Wires | 0.25 - 3.2mm | Johnson & Johnson Medical Pty Ltd | Changed Size.
SY798 | Specialist Orthopaedic | AO/ASIF Plates | Variable Angle Locking Specialty Plate | 7-15 Holes | Johnson & Johnson Medical Pty Ltd | Changed Description, Size.
TN006 | Specialist Orthopaedic | Newclip Activ Ankle Plate | Variable Angle Locking Fibular Plate | 7 to 15 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
TN007 | Specialist Orthopaedic | Newclip Locking Bone Screws | Locking Bone Screws | Diam >4.5mm, length 15 - 110mm | Newclip Technics Australia Pty Ltd | Changed Description, Size.
TN008 | Specialist Orthopaedic | Newclip Activmotion HTO Plate | Fixation plates for high tibial osteotomy (HTO) | ≤ 6 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
TN010 | Specialist Orthopaedic | Newclip Plating System | Plates for fixation of fractures of the elbow and/or ulna | 7 -15 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Product Sub Group, Benefit.
TN016 | Specialist Orthopaedic | Newclip Compression Screws | Self-compressive cannulated screw | 2.71-4.49mm diameter, length 10-70mm | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN017 | Specialist Orthopaedic | Newclip Compression Screws | Self-Compressive Screws | 2.71-4.49mm diameter, Length 10-30mm | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN018 | Specialist Orthopaedic | Newclip Compression Screws | Self-Compressive Cannulated Screws | 2.01mm - 2.7mm diameter, length 10 - 34mm | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN019 | Specialist Orthopaedic | NewClip Clavicle Plate | Locking Clavicle plates | 7 to 15 holes | Newclip Technics Australia Pty Ltd | Changed Description, Size.
TN021 | Specialist Orthopaedic | NewClip Radius Plate | Radius Plates | ≤ 6 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN022 | Specialist Orthopaedic | Newclip Bone Screws | Non-Locking Bone Screws | 2.71 - 4.49mm diameter, length 10-80mm | Newclip Technics Australia Pty Ltd | Changed Description, Size.
TN023 | Specialist Orthopaedic | Newclip Locking Bone Screws | Locking Bone Screws | 2.71 - 4.49mm diameter, length 10-70mm | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN025 | Specialist Orthopaedic | Newclip Cannulated Screws | Cannulated Screws | 2.71 - 4.49mm diameter, lengths 10 - 70mm | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size, Suffix, Benefit.
TN026 | Specialist Orthopaedic | Newclip Plating System | Locking Bone Plates | ≤ 6 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN027 | Specialist Orthopaedic | Newclip Plating System | Locking Bone Plates | 7 to 15 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN028 | Specialist Orthopaedic | Newclip Plating System | Locking Bone Plates | ≤ 6 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN029 | Specialist Orthopaedic | Newclip Plating System | Locking bone plates | 7 to 15 holes | Newclip Technics Australia Pty Ltd | Changed Product Name, Description, Size.
TN030 | Specialist Orthopaedic | Newclip Non Locking Bone Screw | Non Locking Bone Screw | >4.5mm diameter, Length 20 - 110mm | Newclip Technics Australia Pty Ltd | Changed Description.
TO144 | Specialist Orthopaedic | 611 Ankle Fusion Nail - Component: PLUGS | The 611 ankle arthrodesis nail, 2mm & 7mm plugs are made out of titanium alloy (Ti6AI4V). They are delivered non-sterile | 0mm - 7.5mm | Tornier Pty Ltd | Changed Size, Benefit.
TU037 | Cardiothoracic | Gelweave Plexus Graft | Multi Branched, for Aortic Arch reconstruction, Polyester, Woven, gelatin sealed | 20 - 34 mm x 60 cm | Terumo Australia | Changed Size, Product Sub Group.
TU038 | Cardiothoracic | Gelweave Graft | Straight Thoracic Graft, with antiflo side branch, Polyester, woven, gelatin sealed | 20 -34 mm x 20-50 cm | Terumo Australia | Changed Size, Product Sub Group.
TU047 | Vascular | Gelweave Graft | Straight Polyester Woven | 6-38mm x 25-40cm | Terumo Australia | Changed Description.
VK006 | Specialist Orthopaedic | Orthopaedic External Fixation System - Radiolucent Wrist Fixator | Complete System Sterile | One size only | Akva Surgical Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
VK010 | Specialist Orthopaedic | Orthopaedic External Fixation System - Xcaliber External Fixator | Articulated Ankle Fixator | One size only | Akva Surgical Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
VK012 | Specialist Orthopaedic | Orthofix Limb Reconstruction System | Orthofix Limb Reconstruction System | Adult and paediatric - Short, Standard and Long | Akva Surgical Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
VK013 | Specialist Orthopaedic | Orthofix External Fixation Systems | MiniRail System | Short, Standard, Long and Articulated Horizontal and Vertical Axis | Akva Surgical Pty Ltd | Changed Suffix, Benefit.
VK014 | Specialist Orthopaedic | Orthofix External Fixation Systems | Pennig Minifixator | Short, Standard, Long | Akva Surgical Pty Ltd | Changed Product Sub Group, Suffix, Benefit.
WR002 | Specialist Orthopaedic | ProDense / Osteoset XR | Composite Injectable Bone Void Filler | 2cc-5cc | Wright Medical Australia | Changed Size.
WR072 | Specialist Orthopaedic | Ortholoc Fracture System Screws | Titanium, variable angle locking screws | 2.7, 3.5 & 4.0mm diameter, 8-100mm length | Wright Medical Australia | Changed Size.
WR082 | Specialist Orthopaedic | Ortholoc 3Di Plates | Osteosynthesis Bone Plate System | 2-7 holes | Wright Medical Australia | Changed Product Name, Description, Size.
WR264 | Specialist Orthopaedic | MICA Compression Screw | Compression Screw for Minimally Invasive Surgery | Sizes: 3mm - 4mm diameter, 14mm - 70mm length | Wright Medical Australia | Changed Size.
WR304 | Specialist Orthopaedic | SALVATION Limb Salvage Pre-Assembled Frame Assemblies | Pre - Assembled Frame | 120mm - 180mm | Wright Medical Australia | Changed Product Sub Group, Suffix, Benefit.
WR305 | Specialist Orthopaedic | SALVATION Limb Salvage Frame Assemblies | Frame Assemblies | 160mm - 200mm | Wright Medical Australia | Changed Product Sub Group, Suffix, Benefit.
ZI934 | Knee | Persona Knee System | Persona PS Articular Surface | 10-20 mm | Zimmer Biomet Pty Ltd | Changed Size.
ZZ028 | Vascular | Endologix AFX Endovascular AAA Stent Graft System-Aortic extensions | Endologix AFX Endovascular AAA Stent Graft System-Aortic extensions | Diameter (22-34 mm) x covered length (55-100 mm) | AA-Med Pty Ltd | Changed Size.
ZZ030 | Vascular | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Aortic main body diameter (22-28 mm) x length (60-100 mm); iliac limb diameter (13-16 mm)x length (30-55 mm) | AA-Med Pty Ltd | Changed Product Name, Description, Size.