## Prostheses List
Product Category | Assessment Body | Product Group | Product Sub-Group | Suffix | Billing Code | Min Benefit | Max Benefit | Sponsor | Product Name | Description | Size | ARTG | Last Updated | Condition | Change1
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | AN011 | 8502 |  | Australasian Medical & Scientific Ltd | Animas Vibe/One Touch Vibe Plus Insulin Pump | Ambulatory insulin infusion pump with real-time continuous glucose monitoring (CGM) capability | 8.26 x 5.08 x 2.18cm | 96120 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | AN014 | 8502 |  | Australasian Medical & Scientific Ltd | t:slim X2 Insulin Pump | Ambulatory insulin infusion pump with real-time continuous glucose monitoring (CGM) capability | One size only. | 304861 | August 2018 |  | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | DF002 | 8502 |  | Managing Diabetes Pty Ltd | DANAR Insulin Pump | The DANAR Insulin Pump is a small device about the size of a pager. It holds up to 300 units of insulin, which is delivered continuously through a small tube to the patient. The DANAR Insulin Pump also has an integrated blood glucose meter and remote control via bluetooth communication. | 75 x 45 x 19mm, 60grams | 146421 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | DF003 | 8502 |  | Managing Diabetes Pty Ltd | DANA RS Diabecare insulin pump | DANA RS insulin pump is a BLE (bluetooth low energy) insulin pump which can be connected to and controlled from a BLE Smart Phone. Smart Phone connection is via a secure (alpha-numeric) pairing code, creating a large easy to read display for set-up and control of the DANA RS insulin pump. | 75mm x 45mm x 19mm (63grams) | 252214 | August 2018 |  | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | MS066 | 8502 |  | Medical Specialties Australasia Pty Ltd | Cellnovo Insulin Infusion System | Continuous Subcutaneous Insulin Infusion Pump | The Cellnovo Insulin Infusion System is only available in one size. | 277804 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | RB001 | 8502 |  | ROCHE DIABETES CARE AUSTRALIA PTY LIMITED | Accu-Chek Combo System | Insulin delivery device capable of remotely receiving and acting on information about blood glucose levels, performing bolus calculation and bolus advice on additional parameters than what is normally provided. | The Accu-Chek Combo System is only available in one size. | 214240 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | DE, SS | RB002 | 8502 |  | ROCHE DIABETES CARE AUSTRALIA PTY LIMITED | ACCU-CHEK Insight System | Insulin delivery device capable of remotely receiving and acting on information about blood glucose levels, performing bolus calculation and bolus advice on additional parameters than what is normally provided. | No variable sizes offered. Only one system provided. | 234075 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.02 - Insulin infusion pump (as 3.2.3.1) with integral calculator to determine boluses and active insulin | SS | YA001 | 7362 |  | YPSOMED AUSTRALIA PTY LIMITED | mylife™ YpsoPump Insulin Pump System | Battery-operated, programmable ambulatory insulin infusion pump system | One size only | 298274 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS | MC839 | 9025 |  | Medtronic Australasia Pty Ltd | Medtronic MiniMed Insulin Infusion Pump | Paradigm Veo Model MMT-554. 'Smart' Insulin Pump with REAL-Time continuous glucose monitoring capability, incorporating a low glucose suspend and with remote control. | 5.1 x 7.6 x 2.0cm | 95763 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS | MC840 | 9025 |  | Medtronic Australasia Pty Ltd | Medtronic MiniMed Insulin Infusion Pump | Paradigm Veo Model MMT-754. 'Smart' Insulin Pump with REAL-Time continuous glucose monitoring capability, incorporating a low glucose suspend and with remote control. | 5.1 x 9.4 x 2.0cm | 95763 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS | MI150 | 9025 |  | Medtronic Australasia Pty Ltd | MiniMed 640G Insulin Pump | MiniMed 640G Insulin Pump with SmartGuard Technology and continuous glucose monitoring capability, designed to automatically suspend insulin delivery before dangerous lows occur, and automatically resume after levels recover. | 1.8ml and 3.0ml | 95763 | May 2018 |  | Changed Benefit.
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.03 - Device has capability to automatically adjust the insulin delivery based on continuous glucose monitoring data | DE, SS, ABD | MI290 | 9025 |  | Medtronic Australasia Pty Ltd | Medtronic MiniMed 670G Insulin Pump | MiniMed 670G Insulin Pump with SmartGuard Hybrid Closed Loop (HCL) technology and continuous glucose monitoring (CGM) capability which can be programmed to automatically adjust delivery of basal insulin based on CGM, and can suspend delivery of insulin when the sensor glucose value falls below or is predicted to fall below predefined threshold values. | One size only | 308140 | August 2018 |  | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.05 - Infusion Pump Accessories | 03.02.05.04 - Administration Set |  | AN015 | 7 |  | Australasian Medical & Scientific Ltd | Autosoft, Varisoft, TruSteel Infusion Set | For use with insulin infusion pump | 6 - 17mm | 304861 | August 2018 |  | New Listing
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  |  | MC763 | 3120 |  | Medtronic Australasia Pty Ltd | Reveal XT | Reveal XT Insertable Cardiac Monitor | 61 x 19 x 8 mm with a volume of 9cc | 149903 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  |  | SJ152 | 3120 |  | ABBOTT MEDICAL AUSTRALIA PTY LTD. | SJM Confirm Model DM2102 | Implantable cardiac monitor with atrial fibrillation monitoring. | 6.5cc, 12g | 160466, 160756 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | BT186 | 3120 |  | Biotronik Australia Pty Ltd | BioMonitor 2-AF Implantable Cardiac Monitor | Implantable cardiac monitor for continuous remote monitoring of patients with Atrial Fibrillation (AF) or unexplained syncope | 88.4 mm x 15.2 mm x 6.2 mm , 10.1g , 5cm3 | 278935 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | MI141 | 3120 |  | Medtronic Australasia Pty Ltd | Reveal LINQ | Insertable Cardiac Monitor | 45 x 7 x 3.5mm, 1.18cc | 218791 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | SJ390 | 3120 |  | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Confirm RX | Insertable Cardiac Monitor | 5cm X 0.95cm X 0.33cm | 292930 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | BS294 | 1568 |  | Boston Scientific Australia Pty Ltd | Latitude Communicator | Remote patient management system for implanted cardiac devices | One size only | 201875, 230414 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | BT179 | 1568 |  | Biotronik Australia Pty Ltd | Cardio Messenger II-S 3G | Bedside/Remote transmitter w/ ICD device life network access to Biotronik standard home monitoring data management service. | Bedside Device - 203 x 136mm x 80mm, 450 grams | 201691 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | BT187 | 1568 |  | Biotronik Australia Pty Ltd | CardioMessenger Smart 3G | Bedside/Remote transmitter w/ pacemaker/ICD device life network access to Biotronik standard home monitoring data management service. | Length - 130mm, Width - 65mm, Height - 13mm Weight - 75g | 273716 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI180 | 1568 |  | Medtronic Australasia Pty Ltd | MyCareLink Patient Monitor | Electronic cellular patient monitor which gathers and transmits cardiac information from an implanted cardiac device (CIED) to your health care professional for assessment. | One size | 297224 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | MI196 | 1568 |  | Medtronic Australasia Pty Ltd | MyCareLink Smart Patient Reader | Electronic cellular patient reader which gathers and transmits cardiac information from an implanted cardiac device (CIED) to your health care professional for assessment. | One size only | 235570 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | SA173 | 1568 |  | Livanova Australia Pty Limited | Smartview Remote Monitoring Solution | The Smartview PSTN monitor and Smartview Monitor GPRS - Pacemaker programmer is designed to allow physicians and nurses following patients with a Sorin PARADYMTM RF or INTENSIA family of ICD and CRT-D devices to access valuable cardiac data and alert messages from the device while the patient is at home. | Single Device Product | 217759, 217760 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | SJ369 | 1568 |  | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Merlin@Home wireless | Home cardiac monitor (RF) with landline, cellular and broadband connectivity | one size | 161670 | May 2018 |  | Changed Product Sub Group, Benefit.
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | SJ370 | 1568 |  | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Merlin@Home Inductive | Home cardiac monitor (inductive) with landline, cellular and broadband connectivity | one size | 163472 | May 2018 |  | Changed Product Sub Group, Benefit.