## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
AL059 | 01 - Ophthalmic | Clareon Vivity Toric Extended Vision Hydrophobic IOL (Models CNWET2 - CNWET6) | Presbyopia correcting, ultraviolet and blue light filtering, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances, and also compensates for corneal astigmatism | +10.0 to +30.0 diopters; Cylinder:1.00 to 3.75 diopters | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Product name, ARTG, Description, Size
CO046 | 02 - Ear, Nose & Throat | Cochlear™ Nucleus® CI512 Cochlear Implants with Contour Advance Electrode | Model CI512, 5th generation cochlear implant with perimodiloar electrode array. Titanium casing, removable magnet, 22 half-banded platinum electrodes, moulded in a durable silicone seal. | One Size | COCHLEAR LIMITED |  | Change to ARTG
BS371 | 03 - General Miscellaneous | DC Bead | Drug delivery embolisation system | 100-500 (microns) | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Size
BS373 | 03 - General Miscellaneous | DC Bead LUMI | Drug delivery embolisation system | 70-150 microns (black) | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Size
BS227 | 03 - General Miscellaneous | Flexima All-Purpose Drainage Catheter | All-purpose drainage catheters for abscesses and fluid collections. | Length up to 25cm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Benefit
CB016 | 03 - General Miscellaneous | Skater All-Purpose Drainage Catheter | Locking and non-locking catheter sets with removable pigtail straightener, metal stiffening cannula, flexible stiffening Cannula (not available on 6F and 7F) and locking system with snap-off tab (not available on non-locking pigtail catheters) | Catheter french size 6-16F by 15-60cm length | Culpan Medical Pty Ltd |  | Change to ARTG, Description, Size
WC315 | 03 - General Miscellaneous | Multipurpose Drainage Catheter | Catheter used in a variety of drainage applications | 8.5-14 Fr, Length: 15-60cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to ARTG
BS299 | 03 - General Miscellaneous | Resolution 360 | Radiopaque, single-use clip pre-loaded on a flexible, rotatable delivery system | 11mm jaw opening | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name, ARTG, Size
BA070 | 03 - General Miscellaneous | Bard Mesh and Bard Soft Mesh | Bard Mesh - monofilament polypropylene for the reconstruction of tissue defects Bard Soft Mesh - large pore monofilament polypropylene for the reconstruction of tissue defects | 2.5x10cm, 4.5x10cm, 5x10cm, 6x13.7cm, 7.5x15cm, 10x15cm, 5x30.5cm | BARD AUSTRALIA PTY. LIMITED |  | Change to Product name, ARTG, Description
AS174 | 03 - General Miscellaneous | Parietene™ Flat Sheet Mesh; Parietene™ Lightweight Mesh | Parietene™ flat sheet mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. Parietene™ lightweight mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. | 6 cm x 11 cm, 15 cm x 10 cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
BA223 | 03 - General Miscellaneous | Bard 3DMAX Mesh and Bard 3DMAX Light Mesh | 3DMAX Mesh and 3DMAX Light Mesh for XL size for both right and left side options. 0115312 - 3DMAX 12.4cm x 17.3cm XLG Left 0115322 - 3DMAX 12.4cm x 17.3cm XLG Right 0117312 - 3DMAX Light 12.2cm x 17.0cm XLG Left 0117322 - 3DMAX Light 12.2cm x 17.0cm XLG Right | Extra Large Left, Extra Large Right | BARD AUSTRALIA PTY. LIMITED |  | Change to Product name, ARTG, Description
AS122 | 03 - General Miscellaneous | Parietene™ Flat Sheet Mesh; Parietene™ Lightweight Mesh | Parietene™ flat sheet mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. Parietene™ lightweight mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. | 20 cm x 20 cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
AS176 | 03 - General Miscellaneous | Parietene™ Flat Sheet Mesh; Parietene™ Lightweight Mesh | Parietene™ flat sheet mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. Parietene™ lightweight mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. | 15 cm x 15 cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
JJ176 | 03 - General Miscellaneous | Prolene Mesh | Large polypropylene monofilament non absorbable mesh | 30cm x 30cm, quantity/box 3 | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
AS123 | 03 - General Miscellaneous | Parietene™ Flat Sheet Mesh; Parietene™ Lightweight Mesh | Parietene™ flat sheet mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. Parietene™ lightweight mesh is made of non-absorbable monofilament polypropylene 2-dimensional textile. | 30 cm x 30 cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
QQ166 | 04 - Neurosurgical | Neodura Dural Repair Patch | absorbable dural repair patch made of degradable PLLA & Gelatin | 10 to 50cm2 | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG
QQ168 | 04 - Neurosurgical | Neodura Dural Repair Patch | Absorbable dural repair patch made of degradable PLLA & Gelatin | 50 to 100cm2 | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG
QQ167 | 04 - Neurosurgical | Neodura Dural Repair Patch | Absorbable dural repair patch made of degradable PLLA & Gelatin | Greater than 100cm2 | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG
MI445 | 04 - Neurosurgical | Neurostimulation System - Extensions | 1 x 8 Extension Kit Model 37081 | 20, 40 & 60cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
BS363 | 05 - Urogenital | Tria Ureteral Stent | Tria Firm or Tria Soft ureteral stent. Tria Firm or Tria Soft ureteral stent kit with Sensor or ZIPwire Guidewire | Diameters up to 8Fr & lengths up to 30cm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Description
MU193 | 06 - Specialist Orthopaedic | MSS - Medacta Shoulder System Reverse Metaphysis | Humeral Reverse and Eccentric Reverse Metaphysis | +0mm, +3mm, +9mm 0°, +/-20°, L and R | MEDACTA AUSTRALIA PTY. LTD. |  | Change to ARTG, Description, Size
JJ965 | 06 - Specialist Orthopaedic | Global Shoulder System | Humeral heads | 40–56mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
PF022 | 06 - Specialist Orthopaedic | Calcanail | Subtalar fusion and fracture nail | 10-12mm Diameter, 45-85mm length | Perios Pty Ltd |  | Change to Group benefit
SY690 | 06 - Specialist Orthopaedic | MultiLoc Screw | Conical, Locking "Screw-in-Screw" | 4.5mm; 20mm - 60mm Length | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
LM542 | 06 - Specialist Orthopaedic | Omni Stable AF Plating System | Fibula Plates | 9 - 15 holes | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
SY726 | 06 - Specialist Orthopaedic | AO/ASIF Plates | Non-Locking Fragment Plates | ≤6 Holes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
LM540 | 06 - Specialist Orthopaedic | Omni Stable AF Plating System | Simple Plates, Straight, L and T plates | 7 to 14 holes | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
LM537 | 06 - Specialist Orthopaedic | Omni Stable AF Plating System | Tibia Plates | 7 to 15 holes | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
PB037 | 06 - Specialist Orthopaedic | Headless Compression Screw System | Headless Compression Screw | ≥4.5mm | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to ARTG
LM134 | 06 - Specialist Orthopaedic | TriMed Compression Screws | Compression Screws | 4.5-7.5mm | LMT SURGICAL PTY LTD |  | Change to Group benefit
HW877 | 06 - Specialist Orthopaedic | Aequalis Humeral Nail Screws | Screws for Aequalis Humeral Nail. Cannulated Proximal screws: 5mm Diameter cannulated Ti, PE insert with thread inside. Distal screws 4.5mm Diameter, Ti. Sterile and non sterile. | Proximal Screws length: From 36 to 60 every 4mm Distal Screws length: From 20 to 32 every 2mm | STRYKER AUSTRALIA PTY LTD |  | Change to Group benefit
PB021 | 06 - Specialist Orthopaedic | Cortex, Cancellous and Non Locking Screw | Cortex, Cancellous, Non locking Screws | 2.71mm - 4.49mm | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to Product name, ARTG
ER381 | 06 - Specialist Orthopaedic | Paragon 28 Phantom Lapidus Nail-Screws, small (2.71mm – 4.49mm), dual thread, locking | Paragon 28 Phantom Lapidus Nail-Screws, small (2.71mm – 4.49mm), dual thread, locking | dia 3.5 mm x length (10-26 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Group benefit
LH675 | 06 - Specialist Orthopaedic | MUTARS Cancellous Screws | MUTARS Cancellous Screws | 10-40mm | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG, Size
LM520 | 06 - Specialist Orthopaedic | OMNI Plating System | Non-Locking Screws | 2.8-3.5mm x 8-70mm | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
LM521 | 06 - Specialist Orthopaedic | OMNI Plating System | Locking Screws | 2.8mm & 3.5mm diameter; 8-70 length | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
LM523 | 06 - Specialist Orthopaedic | OMNI Plating System | Cannulated Screws | 3.5mm diameter; 20-70mm length | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
LM536 | 06 - Specialist Orthopaedic | Omni Stable AF Plating System | Cannulated Screws | 4.0 x 20-70mm | LMT SURGICAL PTY LTD |  | Change to ARTG, Description, Size
EO074 | 06 - Specialist Orthopaedic | APTUS Screws | Aptus Locking Screws | 2.8mm - 3.5mm Diameter | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Group benefit
EO092 | 06 - Specialist Orthopaedic | APTUS SpeedTip C System | APTUS SpeedTip C Screws | 2.8mm diameter | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Group benefit
PB033 | 06 - Specialist Orthopaedic | Mini Locking System - Cortex Screw | Non locking screw | 2.01mm - 2.7mm | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
PB042 | 06 - Specialist Orthopaedic | Compression Screws | Headless Compression Screws | less than 2.4mm | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to ARTG, Size
ER547 | 06 - Specialist Orthopaedic | Osteomed ExtremiLock Screw, Mini (2.01 – 2.7 mm), variable angle locking, cannulated, dual thread | variable angle locking screw, cannulated, dual thread | dia 2.4 mm x lenght (12-40 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Group benefit
KT080 | 06 - Specialist Orthopaedic | KLS Martin Hand fracture system - multidirectional screw | Multidirectional screw | 2.3mm | KLS MARTIN AUSTRALIA PTY LIMITED |  | Change to Group benefit
LM144 | 06 - Specialist Orthopaedic | TriMed Bone Screw | Non-Locking Cortical Bone Screws | 2.3mm - 2.7mm x 7mm - 32mm | LMT SURGICAL PTY LTD |  | Change to ARTG, Size
EO073 | 06 - Specialist Orthopaedic | APTUS Screws | Aptus Locking Screws | 2.5mm Diameter | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Group benefit
SK620 | 06 - Specialist Orthopaedic | AutoFIX | The SBi AutoFIX Twin Pitch Cannulated Compression Screw System implants are indicated in the treatment of fractures, nonunions, pseudarthrosis and degenerative changes, as well as corrective osteotomies geared towards a functionally stable osteosynthesis | 2.0mm and 2.5mm Cannulated Compression Screw | STRYKER AUSTRALIA PTY LTD |  | Change to Group benefit
PB032 | 06 - Specialist Orthopaedic | Mini Locking System - Cortex Screw | Cortex Screws | ≤ 2.0mm | AUSTRALIAN PACIFIC MEDICAL PTY LTD |  | Change to ARTG
ER427 | 06 - Specialist Orthopaedic | Paragon 28 Gorilla Plating System-Screws, micro | Paragon 28 Gorilla Plating System-Screws, locking, baby | dia 2.0 mm x length (8-40 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Product name, ARTG, Description
KT079 | 06 - Specialist Orthopaedic | KLS Martin Hand fracture system - multidirectional locking screw | Multidirectional locking screw | 1.2 – 2.0mm | KLS MARTIN AUSTRALIA PTY LIMITED |  | Change to Group benefit
EO072 | 06 - Specialist Orthopaedic | APTUS Screws | Aptus Locking Screws | 1.5mm - 2.0mm Diameter | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Group benefit
EO090 | 06 - Specialist Orthopaedic | APTUS SpeedTip C-Snap System | APTUS SpeedTip C-Snap Screws | 2.0mm diameter | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Group benefit
TN015 | 06 - Specialist Orthopaedic | Foot and Hand Motion S | 1.7mm - 2.0mm cannulated self-drilling, self-tapping and compressive screws | 1.7 & 2.0mm diameter, length 8mm - 40mm | NEWCLIP TECHNICS AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
SL259 | 06 - Specialist Orthopaedic | Q-Fix All Suture Anchor | Soft suture anchor, with MINITAPE and/or with Needle | 1.8mm | SMITH & NEPHEW PTY LIMITED |  | Change to ARTG, Description
SL258 | 06 - Specialist Orthopaedic | HEALICOIL | HEALICOIL PEEK Suture Anchor with and without needles | 4.5mm; 5.0mm and 5.5mm | SMITH & NEPHEW PTY LIMITED |  | Change to ARTG, Description, Size
MN258 | 06 - Specialist Orthopaedic | RIGIDLOOP Clip Cortical Button | Clip Cortical Button | Standard; XL | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
SB010 | 07 - Plastic and Reconstructive | Neodent GM Abutment | Neodent GM Abutment Titanium (Mini Conical, Exact Mini Conical) | Height: 0.8mm to 5.5mm. Angle: 0, 17, 30, 45 and 60 degrees | STRAUMANN PTY LTD |  | Change to ARTG, Size
SB013 | 07 - Plastic and Reconstructive | Neodent GM Healing Abutment | Titanium healing abutment | Diameter: 3.3mm, 4.5mm Profile: 0.8mm - 5.5mm | STRAUMANN PTY LTD |  | Change to ARTG
SB017 | 07 - Plastic and Reconstructive | BLX/BLC Healing Abutment | Titanium healing abutment | Diameter: 4mm, 5mm, 6mm, 6.5mm, 7.5mm Abutment height: 2mm, 4mm | STRAUMANN PTY LTD |  | Change to Product name, ARTG
GZ002 | 07 - Plastic and Reconstructive | JD Evolution Dental Implants | Titanium Dental Implants | 2.75mm to 6.0mm (diameter), 6mm to 26mm (height) | AUSTRALIAN CRANIOFACIAL IMPLANTS PTY LTD |  | Change to ARTG, Size
SB012 | 07 - Plastic and Reconstructive | Neodent Helix GM Implant | Neodent Helix GM Titanium Implant (NeoPoros) | Diameter: 3.5mm - 7mm Length: 8.0mm - 18.0mm | STRAUMANN PTY LTD |  | Change to ARTG
SB035 | 07 - Plastic and Reconstructive | Straumann SLActive BLC and TLC Implants | Straumann Titanium Dental Implants with SLActive hydrophilic surface | Diameter 3.3mm - 6.5mm Length 6mm - 18mm | STRAUMANN PTY LTD |  | Change to ARTG, Size
QQ134 | 08 - Cardiac | Amvia Sky SR-T | Single Chamber Pacemaker, ventricular capture control, physiological rate adaption, Quick/Early Check, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI Guard 24/7, Closed Loop Stimulation, IS-1 connector | 48 x 40 x 6.5 mm, 10 cm3 , 20.8 grams | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
QQ139 | 08 - Cardiac | Solvia Rise SR-T | Single Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI Guard 24/7, Closed Loop Stimulation, IS-1 connector | 48 x 40 x 6.5 mm, 10cm3 20.8g | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
MC728 | 08 - Cardiac | Adapta Pacemaker | SR Pacemaker Models ADSR01, ADSR06, ADSR03 | 9.7 - 11.0cc 21.5 - 22.5g | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
QQ135 | 08 - Cardiac | Solvia Rise DR-T | Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption, EarlyCheck, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI Guard 24/7, Closed Loop Stimulation, IS-1 connector | 48 x 44 x 6.5 mm, 11cm3 23.2g | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
QQ151 | 08 - Cardiac | Amvia Sky DR-T | Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption, atrial anti-tachycardia pacing, Quick/Early Check, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI Guard 24/7, Closed Loop Stimulation, IS-1 connector | 48 x 44 x 6.5 mm, 11 cm3, 23.2 grams | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
MC726 | 08 - Cardiac | Adapta Pacemaker | DR Pacemaker Models ADDR01, ADDRS1, ADDR03 | 11.1 - 13cc 23.6g - 28.1g | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
MC933 | 08 - Cardiac | Advisa DR MRI SureScan | Advisa DR MRI SureScan A3DR01 - Dual-chamber pacemaker | 12.7cc, 22g | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
QQ133 | 08 - Cardiac | Amvia Sky HF-T | Triple Chamber CRT Pacemaker, capture management all chambers, physiological rate adaption, atrial overdrive pacing, Quick/Early Check, event triggered IEMG transmission, Wandless telemetry, Home Monitoring, MRI Guard 24/7, MRI AutoDetect, MRI conditional, IS-1 connector | 53 x 52 x 6.5 mm, 14 cm3, 26.9 grams | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
QQ143 | 08 - Cardiac | Amvia Sky HF-T QP | Triple Chamber CRT Pacemaker, capture management all chambers, physiological rate adaption, quadripolar LV pacing, atrial overdrive pacing, Quick/Early Checks, event triggered IEMG transmission, Wandless telemetry, Home Monitoring, MRI Guard 24/7, MRI AutoDetect, MRI conditional, IS-1 IS4 connectors | 53 x 53 x 6.5 mm, 15cm3, 31.2 grams | BIOTRONIK AUSTRALIA PTY LIMITED |  | Change to ARTG
MI195 | 08 - Cardiac | TYRX Absorbable Antibacterial Envelope | Antibacterial surgically implanted mesh envelope which stablises EID placement and prevents infection | 6.3 x 6.9cm, 7.4 x 8.5cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
SJ036 | 09 - Cardiothoracic | Coated Aortic Valved Graft | Coated Aortic Valved Graft | 19mm - 33mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Size
SJ104 | 09 - Cardiothoracic | Masters Series Aortic Valved Prosthesis - VAVGJ | Mechanical Heart Valve sewn into the base of a woven polyester fibre graft which has been impregnated with bovine-derived gelatin | Annulus Diameter 19-29mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Description
BA271 | 10 - Vascular | Bard Venous Stent | Self Expanding Venous Stent | Length: <150mm | BARD AUSTRALIA PTY. LIMITED |  | Change to ARTG
BA270 | 10 - Vascular | Bard Venous Stent | Self Expanding Venous Stent | Length ≥150mm | BARD AUSTRALIA PTY. LIMITED |  | Change to ARTG
AS195 | 10 - Vascular | EverFlex Peripheral Stent | EverFlex is a self expanding Nitinol stent premounted on an OTW delivery system. | Diameter 5-8mm, Length 150mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Size
MI285 | 10 - Vascular | VenaSeal™ Closure System | A system including the cyanoacrylate liquid embolic material and accessories (delivery catheter, dispensing gun, adhesive (bottle), syringe, dispenser tip, introducer, dilator, straight tip guide) | One system | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
DP546 | 11 - Hip | C-Stem AMT Femoral Stem | Stainless steel Ortron 90, highly polished, triple taper | Size 1-8 standard Offset, Size 1-8 High Offset, Long Size 2-3, Standard Offset; Long Size 2-3 High Offset; CDH and 1A to 3A sizes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Size
DP550 | 11 - Hip | C-Stem AMT Femoral Stem | Stainless steel Ortron 90, highly polished, triple taper, long stem | Size 3 x 205; 240mm; Standard Offset | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Size
MU201 | 11 - Hip | Quadra-P collarless | Titanium stem proximally coated with plasma spray and HA - collarless version | Std 00 to 10 Lat 0 to 10 | MEDACTA AUSTRALIA PTY. LTD. |  | Change to ARTG
BI889 | 11 - Hip | Orthopaedic Salvage System | Proximal Femoral Component, Letson or Finn, Elliptical, Low Profile, Anatomic, Ti | 7cm Left or Right | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Description
BV041 | 11 - Hip | Profemur Modular Neck | CoCr Femoral Necks | Straight Short & Long, Ante/Retro Varus/ Valgus 1,2 Short & Long, Ante/Retro Short & Long - 8 & 15 degrees | MICROPORT ORTHOPEDICS PTY LIMITED |  | Change to ARTG, Description, Size
SM165 | 11 - Hip | Biolox Option Femoral Head | Biolox Option Ceramic Femoral Head | 28mm and 32mm | SMITH & NEPHEW PTY LIMITED |  | Change to Product name, ARTG, Description, Size
SM167 | 11 - Hip | Biolox Option Femoral Head | Biolox Option Ceramic Femoral Head | 36mm and 40mm | SMITH & NEPHEW PTY LIMITED |  | Change to Product name, ARTG, Description, Size
ZI957 | 11 - Hip | Exceed ABT Cemented Cup | Polyethylene - E1 Non-Flanged Cup | 46-60 outer diameter | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Description
LI125 | 11 - Hip | Austral Acetabular Shell | Titanium Cup with sintered titanium coating | 44 - 68mm | AMPLITUDE AUSTRALIA PTY LTD |  | Change to ARTG, Size
ZI035 | 11 - Hip | Trilogy Acetabular Cup | Titanium mesh (fibre metal) with HA for UHMPE insert | 36 - 80 | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
LI126 | 11 - Hip | Austral XL Polyethylene Liner | XL Polyethylene Liner | Neutral and Hooded 44/28mm - 52/28mm; 48/32mm - 64/32mm; 52/36mm - 68/36mm | AMPLITUDE AUSTRALIA PTY LTD |  | Change to ARTG, Size
SM166 | 11 - Hip | Biolox Option Sleeves | Biolox Option Titianium Sleeves | S to XL - 12/14 | SMITH & NEPHEW PTY LIMITED |  | Change to Product name, ARTG, Description, Size
OH419 | 12 - Knee | Trekking Knee System: TCK Revision Femoral Component PS | Femoral Component Revision - PS | Size: T1R - T5R Size: T1L - T5L Shape: Left and Right Width (mm): 59 - 79 Width (mm): Depth 53-73 | Orthotech Pty Ltd |  | Change to Group benefit
LH612 | 12 - Knee | ACS Knee System | Revision base plate, cemented, for use with augments and straight or offset stems | Left and Right, Sizes 2-6 | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, ARTG, Size
LI068 | 12 - Knee | Score Knee System Tibial Baseplate | Tibial Baseplate, Cemented, CoCr, polished insert surface for mobile insert | 9 Sizes | AMPLITUDE AUSTRALIA PTY LTD |  | Change to Group benefit
LH613 | 12 - Knee | ACS Knee System | Revision tibial component, cementless porous coated, for use with augments and straight or offset stems. | Left and Right, Sizes 2- 6 | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, ARTG, Size
MU040 | 12 - Knee | Evolis Knee System Tibial baseplate | Tibial baseplate, uncemented, titanium with titanium plasma spray, for fixed insert | 1 -6 | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Group benefit
LH645 | 12 - Knee | ACS Knee System | ACS Posterior Stabilised Tibial PE Insert | Sizes 2-6 x 10-20mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, ARTG, Size
BI904 | 12 - Knee | Vanguard Total Knee System | Vanguard SSK 360 Tibial Bearing | 59mm width x (10 to 24)mm thickness | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Description, Size
BI939 | 12 - Knee | Vanguard SSK Knee System | Tibial Bearing Insert, PSC, UHMWPE | 10-24mm x 59-91mm | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
MA111 | 12 - Knee | Balansys Patella Component | All Polyethylene, UHMWPE, cemented | Dia 25, 26, 28, 31, 34, 37mm | Mathys Orthopaedics Pty Limited |  | Change to ARTG, Size
BI866 | 12 - Knee | Orthopaedic Salvage System | Femoral or Tibial Augment, Ti | Femoral Sleeve - One Size; or Femoral Flange - One Size; or Tibial Block Augment 10-20mm; or Tibial Augment Sleeve - Small/Large or Tibial Sleeve 3-7cm | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
BI864 | 12 - Knee | Orthopaedic Salvage System | Stem, Cemented or Porous, Ti | (9-22.5)mm diameter x (80-300)mm length | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
ZI583 | 12 - Knee | Zimmer segmental system - TM stem collar | Segmental TM stem collar | 9-16mm, 25mm: 9-16mm, 30mm: 9-16mm, 35mm; 17-19mm, 30mm; 17-19mm, 35mm | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
BH136 | 12 - Knee | Orthopaedic Salvage System | OSS connector accessories - Polyethylenefemoral and tibial bushings, Polyethylene Lock Pin, CoCrMo standard axle, CoCrMo reinforced yoke | One size only | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Description, Size
ZI146 | 12 - Knee | NexGen Femoral and Tibial Stems | Femoral and Tibial Stems, straight and offset, cemented | Length - 35 - 245mm, Diameters - 10 - 24 mm | ZIMMER BIOMET PTY LTD |  | Change to Product name, ARTG, Size
QQ220 | 13 - Spinal | CD HORIZON Spinal System - Uniaxial Screws and Sagittal Adjusting Screws | CD HORIZON SOLERA Uniaxial Screws and Sagittal Adjusting Screws | Diameter: 4.0mm - 8.5mm Length: 20mm - 55mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Change to Group benefit
QQ146 | 13 - Spinal | Evolution Spine Whistler Modular Pedicle Screw System-Pedicle Screw | Evolution Spine Whistler Modular Pedicle Screw System-Pedicle Screw Shank, solid or cannulated, sterile or non-sterile, HA coated or uncoated. | Diameter: 4.75-10.50 mm Length: 25-120 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Change to Group benefit
MC968 | 13 - Spinal | CD HORIZON Spinal System - Cannulated Multi-Axial Screw | CD HORIZON Cannulated Multi-Axial Screw | Diameter: 4.0mm - 10mm Length: 20mm - 110mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
MI462 | 13 - Spinal | PASS LP System Screws | Sacral Screws, Iliosacral Screws | Diameter: 6.5mm - 8MM Length: 25mm - 95mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
MI522 | 13 - Spinal | CD Horizon™ ModuLeX™ 5.5 Spinal System - Set Screw | Set Screw | One size only | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
IY057 | 13 - Spinal | Tesera Locking Devices | Locking Cap/Locking Plate for Tesera Cage Systems | Single size per locking mechanism | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
MI521 | 13 - Spinal | CD Horizon™ ModuLeX™ 5.5 Spinal System - Tulip Head | Tulip Head | One size only | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
MI479 | 13 - Spinal | LigaPASS Spinal System - Sublaminar cables and connectors | The connectors and cables/bands work together as a bone anchor to provide stabilisation during the development of solid bony fusion and aid repair of bone fractures. | Connector: 20.8mm to 23mm; Band: 970mm to 1060mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
ER660 | 13 - Spinal | LnK AccelFix Spnal Fixation System-connector-in line | LnK AccelFix Spnal Fixation System-connector-axial straight or domino | Diameter 1&2, 5.2-6.5mm, Length 16-40mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Size
JQ047 | 13 - Spinal | Invictus Spinal Fixation System - Connectors | Open/Open , Open/Closed, Open/Side, Closed/Side, Closed/Closed, Domino Revision, Modular Satellite Axial Revision, Tulip. Ti Alloy | 11-18mm, 30-60mm | LE CHEMINANT, DAVID E |  | Change to Product name, ARTG, Description, Size
MI461 | 13 - Spinal | PASS LP System - Connectors | Connectors | 5.5 & 6.0 mm rods | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description
MI458 | 13 - Spinal | PASS LP System - Crosslinks | Crosslinks | Diameter: 5.5mm - 6.0mm Length: 10mm - 72mm; small and medium | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
HW783 | 13 - Spinal | Yukon Head to Head Connectors | Head to Head transverse connector | Small, Medium, Large and Extra Large | STRYKER AUSTRALIA PTY LTD |  | Change to ARTG, Size
MI464 | 13 - Spinal | PASS LP System - Hooks | Pedicle Hook, Counter-Hooks, Hook Claws | One size | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
MI460 | 13 - Spinal | PASS LP System - Rod | Pre-bent rods and straight rods | Diameter: 5.5mm - 6.0mm Length: 30mm - 400mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
NW039 | 13 - Spinal | ROI-C Cervical Cage | A cervical cage for anterior approaches to cervical spine | Footprints 12x14, 12x15.5, 14x14, 14x15.5; 14x17mm; Heights 4.5mm to 10mm; Anchors: Short, Long | BIOMET 3I AUSTRALIA PTY LIMITED |  | Change to ARTG, Size
JP006 | 13 - Spinal | Stalif C cage with the required screws | Interbody Fusion Cage - Domed and screws | 5.5 - 9.5 | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to Product name, Product Group, ARTG, Description
JP009 | 13 - Spinal | Stalif C cage with the required screws | Interbody Fusion Cage - Tapered and screws | 5.5 – 9.5 | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to Product name, Product Group, ARTG, Description
JP010 | 13 - Spinal | Stalif cage with the required screws | Cervical Interbody Fusion Cage - Lordotic(Tapered)/Anatomic(Domed) and screws | Depth 12 - 16mm, Height 5.5 - 11.5mm | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to Product name, Product Group, ARTG, Description
ER595 | 13 - Spinal | Lonestar Cervical Stand Alone System Cage | The Lonestar Cervical Stand Alone device is a stand-alone cervical cage system consisting of cages, screws and a anti-backout cover plate. The Lonestar is manufactured from PEEK and Titanium with Titanium Bone Screws. | Cage: 15-17mm x 13-15mmx6-9 mm; 7 degrees; Cover Plate: 9.9x5.1 mm; Bone Screw: dia 3.6-4.0mmx Length 12-16 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Size
IY028 | 13 - Spinal | Revolution Standalone ACDF cage with screws | Interbody Fusion Cages are used to restore disc height and support loading during intervertebral body fusion. | Standard – 6 and 9 degrees, height 4-10mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG
IY063 | 13 - Spinal | Hygro-C Integrated ACDF with screws | Integrated ACDF Cage with screws for Integral Fixation | 14mm-16mm x 16mm-19mm x 4mm-9mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG
IY110 | 13 - Spinal | Cato ACDF Standalone Cage with screws | Interbody Fusion Cages are used to restore disc height and support loading during intervertebral body fusion. | Medium, Large – 6°, 9° and 12°, height 4-10mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG
LH587 | 13 - Spinal | Cervical Spine Truss System - Stand Alone Cage and screw | Stand alone Cervical Interbody Fusion Device | 12-14 x 15-17 x 5-12mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, ARTG, Description, Size
NV103 | 13 - Spinal | CoRoent Small Interlock Cage with screws | The CoRoent Small Interlock System is a stand-alone anterior cervical interbody fusion system indicated for use in skeletally mature patients with degenerative disc disease (DDD) at one level from C2-T1. | Width 14-18mm x length 10-14mm x Height 5-16mm x Lordosis 0-20˚ | NUVASIVE (AUST/NZ) PTY LTD |  | Change to Product name, ARTG
PC005 | 13 - Spinal | Alias Cage with screws | PEEK Fusion Cage with Plasma coating with screws | 5-9mm, 4, 8 and 12 degree, Flat and contoured options | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC013 | 13 - Spinal | Redmond Cervical Cage with screws | Stand-alone cervical interbody fusion cage with locking screws | 14mm L x 15mm W; 5mm - 12mm H 15mm L x 15mm W; 5mm - 12mm H 15mm L x 17mm W; 5mm - 12mm H | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC020 | 13 - Spinal | Stalif C cage with the required screws | Interbody Fusion Cage - Domed and screws | 5.5 - 9.5 | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC021 | 13 - Spinal | Stalif C cage with the required screws | Interbody Fusion Cage - Tapered and screws | 5.5 – 9.5 | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC022 | 13 - Spinal | Stalif with required screws | Cervical Interbody Fusion Cage - Lordotic(Tapered)/Anatomic(Domed) and screws | Depth 12 - 16mm, Height 5.5 - 11.5mm | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PZ046 | 13 - Spinal | Borealis Spine System | Anterior Cervical Inerbody Fusion Cage and Screws | Medium - Large | Prism Surgical Designs Pty Ltd |  | Change to ARTG, Description, Size
UT003 | 13 - Spinal | SPICCA-S2 Anterior Cervical Fusion Cage and bone fixation screws | Anterior cervical fusion cage; PEEK, Titanium coated PEEK, or 3D printed Titanium including bone fixation screws. | Cage: Footprints: 15mm x 14mm, 17.5mm x 15mm, 19.5mm x 17mm; Height: 4mm - 10mm; Lordosis: 7 or 12 degrees. Screws: Diameter: 3.3 & 3.7mm; Length: 13mm - 21mm. | SOUTHERN CROSS SURGICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
HW518 | 13 - Spinal | AVS Anchor C Cervical Cage System | Cervical Cage with integrated screws | Cages: 12 x 14mm, 14 x 16mm, height range ; 6mm-12 mm.) 0, 4 and 8 degree angulation, Screws: Diameter 3.5-4mm Length 8-14mm | STRYKER AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
HW747 | 13 - Spinal | Chesapeake Cervical | Cage Ti with integral fixation with screws | Cages: Height: 5mm - 10mm, Screws: Diameter: 3.5mm - 3.85mm. Lengths: 12mm to 18mm | STRYKER AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
JP007 | 13 - Spinal | Stalif cage with the required screws | Lumbar/Thoracolumbar Interbody Fusion Cage and screws | W: 30-42mm H: 11-21mm Lordosis: 8-20° | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to Product name, Product Group, ARTG, Description
JP008 | 13 - Spinal | Stalif Midline II Ti cage with the required screws | Interbody Fusion Cage and screws | 30-42 | CENTINEL SPINE AUSTRALIA PTY LTD |  | Change to Product name, Product Group, ARTG, Description
ER596 | 13 - Spinal | PILLAR SA PTC | ALIF Cage constructed of PEEK Titanium composite (PTC) with cover plate and bone screws. | Width - 33mm to 43mm Depth/Length - 28mm Height - 12mm to 18 mm, Lordosis - 7 to 12 degrees; Cover Plate - 33mm to 43mm; Bone Screw: dia 5-5.5 mm x length 20-35 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description, Size
ER597 | 13 - Spinal | PILLAR SA | ALIF Cage constructed of PEEK with titanium cover plate and bone screws | Cage: 33-43mm x 28-32mm x 12.5-18mm, Lordosis - 7 -12 degrees; Cover plate - 33mm-43mm; Bone screw; dia 5-5.5 mm x length 20-35mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description, Size
IY030 | 13 - Spinal | Evolution ALIF Cage with screws | ThoracoLumbar ALIF Cage with screws | Small (34x25mm) 8 - 18 degrees, 10 - 18mm Medium (38x29mm) 8 - 18 degrees, 10 - 18mm Medium Long (38x34mm) 8 - 18 degrees, 10 - 18mm Large (42x30mm) 8 - 18 degrees, 10 - 18mm X Large (42x34mm) 8 - 18 degrees, 10 - 22mm XX Large (42x38mm) 13 degrees, 12 - 18mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
IY032 | 13 - Spinal | Evolution Altus ALIF Cage with screws | ThoracoLumbar ALIF Cage with screws | Small (34x25mm) 8 - 18 degrees, 10 - 18mm Medium (38x30mm) 8 - 18 degrees, 10 - 18mm Medium Long (38x34mm) 8 - 18 degrees, 10 - 18mm Large (42x30mm) 8 - 18 degrees, 10 - 18mm X Large (42x34mm) 8 - 18 degrees, 10 - 22mm XX Large (42x38mm) 13 degrees, 12 - 18mm | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
IY062 | 13 - Spinal | Hygro-L Stand-alone ALIF with screws | Integrated Titanium ALIF cage with Screws for Integral Fixation | Length (32-38mm) x width (24.5-29mm); heights (12-24mm); lordotic angle (9-27) degrees | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG
IY109 | 13 - Spinal | Tora Cage and screw | Anterior Lumbar Cage with integral fixation (PEEK, HA PEEK, Titanium, Porous Titanium) and screws | Angle 0 - 12 degrees, Length 40 - 60mm, Height 8 - 16mm | EVOLUTION SURGICAL PTY LTD |  | Change to ARTG
LH715 | 13 - Spinal | Integrated Anterior Lumbar Spine Truss Cage | Integral fixation ALIF cage with screws | 8-20mm heights | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG, Description
NV071 | 13 - Spinal | Brigade (implant) | Interbody fusion implant with screws | Cage: 4-20mm x 34-42mm x 24-32mm, 0-30 degrees. Screws: 4.5-5.5 x 20-35mm | NUVASIVE (AUST/NZ) PTY LTD |  | Change to ARTG, Description, Size
PC004 | 13 - Spinal | Advantage Cage with screws | Plasma Coated PEEK Cage with screws | Small, medium, Medium Wide, Large, Extra Large | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC015 | 13 - Spinal | Redmond Lumbar Cage System - Fusion Cage with screws | PEEK titanium ALIF with screws | Height: 12, 14, 16, 18, 20mm Width: 28, 34, 36, 39, 43mm Length: 24, 27, 30, 32mm Angle: 6º, 12º, 18º | PRECISION SURGICAL PTY LTD |  | Change to Product name, Product Group, ARTG, Description
PC023 | 13 - Spinal | Stalif cage with the required screws | Lumbar/Thoracolumbar Interbody Fusion Cage and screws | W: 30-42mm H: 11-21mm Lordosis: 8-20° | PRECISION SURGICAL PTY LTD |  | Change to Product name, ARTG, Description
PC024 | 13 - Spinal | Stalif Midline II Ti cage with the required screws | Interbody Fusion Cage | 30-42 | PRECISION SURGICAL PTY LTD |  | Change to Product name, ARTG
UT005 | 13 - Spinal | SASCA-2 ALIF Cage and bone fixation screws | Anterior lumber interbody fusion screw cage and screws; PEEK, Titanium coated PEEK, or 3D printed Titanium | Cage: Footprint: 37mm x 27mm, 41mm x 28mm; Height: 8mm - 18mm; Lordosis: 8, 15 or 20 degrees. Screws: Diameter: 5.5 & 6.5mm; Length: 25mm - 40mm | SOUTHERN CROSS SURGICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
HW678 | 13 - Spinal | Monterey AL, Cage with integral fixation | ALIF cage with screws for integral fixation | Cage: 10-24mm, Screws: 17.5-30mm Length, 5-6mm Diameter | STRYKER AUSTRALIA PTY LTD | This billing code is for Monterey AL Cage but only when it is used with screws to achieve integral fixation.’ It was noted that when the cage is used without screws it should be listed on PL in the grouping 13.10.02.02 Spinal, Fusion cage, interbody, no integral fixation, ThoracoLumbar/Lumbar. | Change to ARTG, Description, Size
HW743 | 13 - Spinal | Chesapeake Thoracolumbar Spinal System | Thoracolumbar Peek Cage with Ti Screws | Cages: Footprint: 24mm - 30mm x 30mm - 40mm Height: 11mm - 21mm, Screws: Diameter 5.5mm Lengths: 20-30mm | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
SF104 | 13 - Spinal | Alias Cage | Titanium or PEEK Fusion Cage with Plasma coating | 5-9mm, 4, 8 and 12 degree, Flat and countoured options | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Group benefit
BF013 | 13 - Spinal | Redmond Lumbar Cage System - Fusion Cage | PEEK titanium ALIF | Height: 12, 14, 16, 18, 20mm Width: 28, 34, 36, 39, 43mm Length: 24, 27, 30, 32mm Angle: 6º, 12º, 18º | MATRIX MEDICAL INNOVATIONS PTY LTD |  | Change to Group benefit
SF098 | 13 - Spinal | Advantage Cage | PEEK Cage | Small, medium, Medium Wide, Large, Extra Large | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Group benefit
SF157 | 13 - Spinal | Nik-Alias Cage | Anterior Lumbar Cage with integral fixation (PEEK, HA PEEK, Titanium, Porous Titanium) | Angle 0 - 12 degrees, Length 40 - 60mm, Height 8 - 16mm | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Group benefit
NV171 | 13 - Spinal | Nuvasive Simplify Cervical Artificial Disc | Cervical disc prosthesis | Footprints: 12mm x 15mm, 14mm x 16mm, 16mm x 18mm Heights: 4mm, 5mm, 6mm Lordosis: 0, 5 degrees | NUVASIVE (AUST/NZ) PTY LTD |  | Change to ARTG