## Prostheses List
Press TAB to move to input areas. press Up or DOWN arrow in column A to read through the document
Sponsor | Product Category | Billing Code | Product Name | Description | Size | ENDCYCLE | DeleteComment
CK Surgitech Pty Ltd | General Miscellaneous | AK002 | Stent, oesophageal, dudodenal, rectal, biliary | self expandable nitinol stent with introducer system | 20,30,40,50,60,70,80,90,100,110,120mm | 2017-02-01 | Expanded into AK009, AK010
Medtronic Australasia Pty Ltd | General Miscellaneous | AS006 | Ligation Clips - Disposable clip applier and ligating clips | Surgiclip | Small | 2017-02-01 | Compressed into MI217
Medtronic Australasia Pty Ltd | General Miscellaneous | AS011 | GIA*, ILA* Staplers | Titanium | 75mm (3.8mm, 4.8mm) | 2017-02-01 | Compressed into MI214
Medtronic Australasia Pty Ltd | General Miscellaneous | AS013 | ILA* 52 Reloading Unit | Titanium. Multifire 60 Cartridge 90 Premium Disposable Loading Unit with Titanium Staples, 50 Premium Disposable Loading Unit with Titanium Staple, Inverted Linear Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945, 3976, 3977 | 50 - 60mm (2.5mm, 3.8mm) | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS016 | GIA*, ILA* Reloading Unit | Titanium. Multifire 60 Cartridge, Inverted Linear Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945, 3976, 3977 | 90mm (3.8, 4.8mm) | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS017 | GIA*, ILA* Reloading Unit | Titanium. Multifire 60 Cartridge, Inverted Linear Anastomosis Cartridges 3944, 3943, 3978, 3946, 3945, 3976, 3977 | 100mm (3.8,4.8mm) | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS018 | TA* Stapler; DST Series* Linear Staplers | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit; Titanium staples used for hemostatic closure of specific organs and blood vessels (ex bowel, stomach and lung). | DST TA60-3.5; DST TA60-4.8 | 2017-02-01 | Compressed into MI212
Medtronic Australasia Pty Ltd | General Miscellaneous | AS019 | PI*, Stapler | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit | 30mm (2.5, 3.5, 4.8mm) | 2017-02-01 | Compressed into MI212
Medtronic Australasia Pty Ltd | General Miscellaneous | AS025 | TA* Reloading Units; DST Series* Linear Stapler Disposable Loading Units | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit; Titanium staples used for hemostatic closure of specific organs and blood vessels (ex bowel, stomach and lung) | 30mm (2.5, 3.5, 4.8mm); DST TA90-3.5 DLU; DST TA90-4.8 DLU; DST TA45-3.5 DLU; DST TA45-4.8 DLU; DST TA60-3.5 DLU; DST TA60-4.8 DLU; DST TA30-3.5 DLU; DST TA30-4.8 DLU; DST TA30V3 DLU. | 2017-02-01 | Compressed into MI215
Medtronic Australasia Pty Ltd | General Miscellaneous | AS026 | PI*, Reloading Unit | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit | 30mm (2.5, 3.5, 4.8mm) | 2017-02-01 | Compressed into MI215
Medtronic Australasia Pty Ltd | General Miscellaneous | AS030 | TA* Reloading Units | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit | 90mm (3.5mm, 4.8mm) | 2017-02-01 | Compressed into MI215
Medtronic Australasia Pty Ltd | General Miscellaneous | AS035 | Roticulator* | Roticulator 30 | 30mm (3.5, 4.8mm) | 2017-02-01 | Compressed into MI218
Medtronic Australasia Pty Ltd | General Miscellaneous | AS036 | Roticulator* | Roticulator 55 | 55mm (3.5, 4.8mm) | 2017-02-01 | Compressed into MI218
Medtronic Australasia Pty Ltd | General Miscellaneous | AS037 | ROTICULATOR* | Polysorb 55 Disposable Loading Unit | 55mm (3.5, 4.8mm) | 2017-02-01 | Compressed into MI218
Medtronic Australasia Pty Ltd | General Miscellaneous | AS072 | Staples and Disposable Stapler Applier and staples; PPCEEA*. | Titanium, curved, PPCEEA*; Titanium Surgical Stapler. | 21-34mm; 21, 25, 28, 31, 34mm. | 2017-02-01 | Compressed into MI219
Medtronic Australasia Pty Ltd | General Miscellaneous | AS073 | ENDOCLIP*; Acuclip Single use Endoscopic Multiple Clip Applier. | Titanium Surgical Stapler | 5mm (12 clips); One size only. | 2017-02-01 | Compressed into MI213
Medtronic Australasia Pty Ltd | General Miscellaneous | AS102 | DST Series* Linear Staplers | Titanium staples used for hemostatic closure of specific organs and blod vessels (ex bowel, stomach and lung) | DST TA90-3.5; DST TA90-4.8 | 2017-02-01 | Compressed into MI212
Medtronic Australasia Pty Ltd | General Miscellaneous | AS113 | DST Series* GIA* Linear Cutter Stapler and single use loading units | single use, reloadable stapler | 60mm length: sizes 2.5mm, 3.8mm, 4.8mm | 2017-02-01 | Compressed into MI214
Medtronic Australasia Pty Ltd | General Miscellaneous | AS114 | DST Series* GIA* Linear Cutter Stapler and single use loading units | Single Use Loading Units | 60mm length: Sizes 2.5mm, 3.8mm, 4.8mm | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS115 | DST Series* GIA* Linear Cutter Stapler and single use loading units | Single use, reloadable stapler | 80mm length; Sizes 3.8 and 4.8mm | 2017-02-01 | Compressed into MI214
Medtronic Australasia Pty Ltd | General Miscellaneous | AS116 | DST Series* GIA* Linear Cutter Stapler and single use loading units | Single Use Loading Units | 80mm length: Sizes 3.8 and 4.8mm | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS117 | DST Series* GIA* Linear Cutter Stapler and single use loading units | Single use, reloadable stapler | 100mm length: Sizes 3.8 and 4.8mm | 2017-02-01 | Compressed into MI214
Medtronic Australasia Pty Ltd | General Miscellaneous | AS118 | DST Series* GIA* Linear Cutter Stapler and single use loading units | Single use loading units | 100mm length: Size 3.8 and 4.8mm | 2017-02-01 | Compressed into MI216
Medtronic Australasia Pty Ltd | General Miscellaneous | AS119 | DST Series* EEA* Circular Stapler | Circular staplers | 21mm to 33mm | 2017-02-01 | Compressed into MI219
Medtronic Australasia Pty Ltd | General Miscellaneous | AS131 | Ligation Clips - Disposable clip applier and ligating clips | Surgiclip | Medium | 2017-02-01 | Compressed into MI217
Medtronic Australasia Pty Ltd | General Miscellaneous | AS132 | Ligation Clips - Disposable clip applier and ligating clips | Surgiclip | Large | 2017-02-01 | Compressed into MI217
Medtronic Australasia Pty Ltd | General Miscellaneous | AS133 | TA* Stapler; DST Series* Linear Staplers | Premium Multifire TA* Disposable Surgical Stapler and Loading Unit; Titanium staples used for hemostatic closure of specific organs and blood vessels (ex bowel, stomach and lung). | 30mm (2.5, 3.5, 4.8mm); DST TA45-3.5; DST TA45-4.8; DST TA30-3.5; DST TA30-4.8; DST TA30V3. | 2017-02-01 | Compressed into MI212
Medtronic Australasia Pty Ltd | General Miscellaneous | AS135 | DST™ Series EEA™ XL | Circular Stapler | 5 sizes | 2017-02-01 | Compressed into MI219
Medtronic Australasia Pty Ltd | General Miscellaneous | AS137 | Endo Clip III | Laparoscopic 5mm Clip Applier | 5mm | 2017-02-01 | Compressed into MI213
Medtronic Australasia Pty Ltd | General Miscellaneous | AS175 | Parietene-Monofiliment Polypropylene Mesh | Parietene-Monofiliment Polypropylene standard mesh/light mesh | 15 x 10cm | 2017-02-01 | Deleted
Austofix | Specialist Orthopaedic | AX003 | Austofix Intramedullary Screws | Humeral Head Screw, stainless steel | 4.3mm | 2017-02-01 | Transferred to DZ008
Austofix | Specialist Orthopaedic | AX013 | Proximal Humeral Nail | Stainless Steel | Diameter 8 mm, Length 170 mm | 2017-02-01 | Transferred to DZ016
Austofix | Specialist Orthopaedic | AX022 | Austofix Femoral and Tibial Nailing System | Universal Tibial Nail (UTN) 4.0/4.8, stainless steel or titanium | Diameter 8 – 11mm, Lengths 260mm – 420mm | 2017-02-01 | Transferred to DZ012
Austofix | Specialist Orthopaedic | AX023 | Austofix Femoral and Tibial Nailing System | 4.0/4.8 Screws, Locking, stainless steel or titanium | Diameter 4.0-4.8mm, Lengths 20-90mm | 2017-02-01 | Transferred to DZ024
Austofix | Specialist Orthopaedic | AX024 | Austofix Femoral & Tibial Nailing System | F2 Femoral Nail 4.8/6.2; s-s | Dia 9 - 12mm; Lengths 320 - 460mm | 2017-02-01 | Transferred to DZ018
Austofix | Specialist Orthopaedic | AX025 | Austofix Femoral and Tibial Nailing System | 6.2/6.5 Hip Screw, stainless steel or titanium | Diameter 6.2-6.5mm, Lengths 70-120mm | 2017-02-01 | Transferred to DZ011
Austofix | Specialist Orthopaedic | AX026 | Austofix Femoral and Tibial Nailing System | H2 Hip Nail 4.8/6.5, stainless steel or titanium | Dia 11mm, Lengths 170mm – 240mm | 2017-02-01 | Transferred to DZ019
Austofix | Specialist Orthopaedic | AX027 | Austofix Femoral & Tibial Nailing System | Washer for screws; s-s | Dia 11mm & 13mm | 2017-02-01 | Transferred to DZ023
Austofix | Specialist Orthopaedic | AX029 | Austofix Femoral and Tibial Nailing System | M8 End Cap, Intramedullary Nails, stainless steel or titanium | 1mm-20mm | 2017-02-01 | Transferred to DZ021
Austofix | Specialist Orthopaedic | AX040 | VRP Distal Radius Fixation System | Volar Distal Radius Plate | Standard, 3, 4, 7 and 12 hole, left and right Wide, narrow, long, short, universal | 2017-02-01 | Transferred to DZ022
Austofix | Specialist Orthopaedic | AX041 | VRP Distal Radius Fixation System Volar Distal Radius Plate - Standard | Volar Distal Radius Plate - Standard | Standard, 3 and 4 hole, left and right | 2017-02-01 | Transferred to DZ009
Austofix | Specialist Orthopaedic | AX042 | VRP Distal Radius Fixation System, 3.5mm Cortical Screw, Titanium | 3.5mm Cortical Screw, Titanium | 3.5mm diameter, 10mm-20mm lengths | 2017-02-01 | Transferred to DZ020
Austofix | Specialist Orthopaedic | AX043 | VRP Distal Radius Fixation System | VRP Distal Radius Fixation System, Variable Angle, Threaded, non-threaded, partially threaded locking, non-locking screw, peg, titanium | Standard, 3, 4, 7 and 12 hole, left and right Wide, narrow, long, short, universal | 2017-02-01 | Transferred to DZ010
Austofix | Specialist Orthopaedic | AX083 | VRP Distal Radius Fixation System - VRP VA locking Screw | Variable Angle Locking Screw, Cobalt Chrome | 2.5mm, 10-30mm | 2017-02-01 | Transferred to DZ026
Austofix | Specialist Orthopaedic | AX086 | Austofix Proximal Humeral Plating System - Austofix PHP Locking Screw | Locking Screw Titanium | 3.5mm, 20-100mm | 2017-02-01 | Transferred to DZ014
Austofix | Specialist Orthopaedic | AX087 | Austofix Proximal Humeral Plating System - Austofix Cortical Screw | Cortical Screw, Titanium | 3.5mm, 20-40mm | 2017-02-01 | Transferred to DZ015
Austofix | Specialist Orthopaedic | AX088 | Austofix Proximal Humeral Plating System - Austofix Proximal Humeral Plate | Anatomic Periarticular Humeral Variable Angle Locking Plate, Titanium | 3-15 Hole | 2017-02-01 | Transferred to DZ025
Austofix | Specialist Orthopaedic | AX089 | Austofix Proximal Humeral Plating System - Austofix VA Locking Screw | Variable Angle Locking Screw, Cobalt Chrome | 3.5mm 20-100mm | 2017-02-01 | Transferred to DZ017
Austofix | Specialist Orthopaedic | AX090 | Austofix Proximal Humeral Plating System - Austofix PHP Cancellous Screw | Cancellous Screw, Titanium | 4mm 20-40mm | 2017-02-01 | Transferred to DZ013
Austofix | Specialist Orthopaedic | AX107 | F3 Femoral Nail | F3 Femoral Nail Titanium | Length 320mm to 440mm, left and right | 2017-02-01 | Transferred to DZ007
Bard Australia Pty Ltd | Urogenital | BA041 | Contigen Cross Linked Collagen | Contigen Bard Collagen Implant for Stress Urinary Incontinence | 2.5cc per syringe | 2017-02-01 | Deleted
Bard Australia Pty Ltd | Urogenital | BA042 | Memotherm Prostatic Stents | Memotherm Prostatic Urethral wall Stent | 36Fr, 20mm to 60mm in 5mm increments; 42Fr, 20mm to 60mm in 5mm increments | 2017-02-01 | Deleted
Bard Australia Pty Ltd | General Miscellaneous | BA088 | Memotherm Stents | Colorectal, Nitinol, Self-expanding | 25-30mm D, 60-100mm Length | 2017-02-01 | Deleted
Bard Australia Pty Ltd | General Miscellaneous | BA124 | Memotherm Biliary Stent | Nitinol. Includes deployment system | Sizes - Diameter 8 - 10mm, Length 40 - 100mm | 2017-02-01 | Deleted
Bard Australia Pty Ltd | Vascular | BA199 | Lifestent | Laser cut nitinol self expanding stent, used to treat peripheral disease | Diameter: 6-8mm, Length: 120mm | 2017-02-01 | Deleted
B Braun Australia Pty Ltd | Neurosurgical | BB114 | Neuropatch Dura Substitute | Polyurethane | 6 x 8cm | 2017-02-01 | Compressed into BB363
B Braun Australia Pty Ltd | Neurosurgical | BB115 | Neuropatch Dura Substitute | Polyurethane | 4 x 10cm | 2017-02-01 | Compressed into BB363
B Braun Australia Pty Ltd | Neurosurgical | BB116 | Neuropatch Dura Substitute | Polyurethane | 4 x 5cm | 2017-02-01 | Compressed into BB363
B Braun Australia Pty Ltd | Neurosurgical | BB117 | Neuropatch Dura Substitute | Polyurethane | 2 x 10cm | 2017-02-01 | Compressed into BB363
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BH002 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Lactosorb Plates, 2mm System, All shapes PGA/PLA | 8 - 15 hole | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BH027 | Mandibular Fracture System | Plates, Angled or Curved, 2.0 Mandibular System, Titanium | 8 hole | 2017-02-01 | Compressed into ZI970
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BH029 | Mandibular Fracture System | Plates, matrix shape, 2.0 mandibular system. Titanium | 8 to 16 hole | 2017-02-01 | Compressed into ZI970
Zimmer Biomet Pty Ltd | Hip | BH032 | ARCOS Revision Hip System - Broached proximal body | Broached proximal body porous plasma spray | Standard or High Offset A B C D E and F | 2017-02-01 | Compressed into ZI971
Zimmer Biomet Pty Ltd | Hip | BH034 | ARCOS Calcar Proximal Body | Calcar Proximal Body porous plasma spray | Calcar body 50mm Std +10 +20 bodies, Std or high offset Body A To E | 2017-02-01 | Compressed into ZI971
Zimmer Biomet Pty Ltd | Hip | BH038 | Bi Metric Hip | Femoral Stem, HA coated, porous plasma spray, titanium | (7 to 21) mm diameter, Standard or lateralised | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BH043 | Exception Femoral Stem | Standard or Varised, Left or Right Titanium Alloy, HA coated | Sizes 1-9 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BH121 | RHK Knee - Patella | Patella | Small (31mm), Medium (34mm), Large (37mm) | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BH130 | ARCOS Revision Hip System Cone Proximal Body | Cone Proximal Body Porous plasma sprayed coated | 50mm body | 2017-02-01 | Compressed into ZI971
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH149 | EBI XFIX Dynafix System | Distraction mechanism | Male female | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH164 | EBI XFIX Dynafix System | Fixator Body | Small, Extra Small | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH200 | Small / Large Fragment Set | Bone Screw | 4.5-6.5mm diameter | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH201 | Ace External Fixator | Olive wire bayonet point - stainless steel, packet of 3 | 1.5 or 1.8mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH333 | Small / Large Fragment Set | Cannulated Bone Screw | 4.5 to 8.0mm diameter | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH334 | Small / Large Fragment Set S/S | CHS Compression Screw - Stainless Steel | Neutral to +2 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH336 | Small / Large Fragment Set S/S | CHS Lag Screw Stainless Steel | Length 50-145mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH353 | TEMPFIX External Fixation System -transfixing pin sterile kit | Sterile pack for external fixation of lower extremity periarticular fractures | Sterile transfixing pin lower leg frame kits | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BH354 | TEMPFIX External Fixation System - half pin sterile kit | Sterile pack for external fixation of lower extremity periarticular fractures | Sterile half pin lower leg frame kits | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI015 | Reach Revision Hip System | Modular Reach Proximal Body - Collared/Collarless; Titanium, Chrome Cobalt | Proximal Body #1-6 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI051 | Bi-Metric Hip System | Head Neck calcar Femoral Stem, Chrome Cobalt, Cemented, unpolished 200 and 250 lengths | 9-15mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI052 | Bi-Metric Hip System | Revision 200 Stem, Titanium, plasma non HA | 9-17mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI057 | M2A taper | Metal Acetabular Insert, Chrome Cobalt | Standard | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI060 | Austin Moore Self Locking Hip Prosthesis System | Straight Standard Femoral Prostheses, Titanium | 38-55mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI066 | Stanmore Total Hip System | Polished Femoral Stem - Standard and Straight, Chrome Cobalt | Size 1-5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI067 | Stanmore Total Hip System | Acetabular Cup, unmodified UHMWPE | 25-32mm x size 40-53mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI069 | Biomet Taperloc Hip System | Titanium unpolished | 7.5mm to 20mm diameter | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI127 | Modular Calcar Mallory Head Revision Hip System | Femoral Component, Distal. Titanium | 170-300mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI159 | AGC System femoral component | Femoral Component, uncemented, CoCr with titanium plasma sprayed surface (Porous plasma spray PPS) left and right sided (anatomic), | 55-80mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI172 | Maxim Complete Knee System Tibial Insert | Tibial Insert, UHMWPE, fixed with locking pin | 59-91mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI195 | Vanguard Rotating Platform Femoral Component | Femoral Component, Cemented, CoCr, Posterior Stabilised | 60-75mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI218 | Bio-Modular Shoulder System | Modular Head, Chrome Cobalt | Std, +2, +4mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI222 | Bio-Modular Shoulder System | Shoulder Offset Head, Chrome Cobalt | 40-54mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI256 | BMP Cable System | Cable, Stainless Steel | 1.6mm or 2.0mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI343 | Copeland Shoulder System | Humeral Resurfacing head, macrobond coated | small, med large, xlarge 1-8 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI427 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Mesh, Mandibular Lactosorb 2.5mm System. PGA/PLA | 1.42mm x 42x42mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI692 | Reach Revision Hip System | Titanium plasma no HA | Sizes 13 - 19 (L&R) by 200 - 250mm) | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI704 | Par 5 Protrusio Acetabular System | Acetabular reconstruction Shells - Titanium Metal, no HA | 56 - 72mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI767 | Mandibular Fracture System | Plates, Straight, 2.0 Mandibular Fracture System, Titanium | 8-15 hole | 2017-02-01 | Compressed into ZI970
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI774 | W Lorenz Osteosynthesis System | Lefort plate, 1.5mm system, 0.6mm thickness, titanium | Flat, 2-11mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI778 | PLR Splined Revision Stem | Splined Straight Stem, Ti, grit blast, non HA | 14-24mm x 270mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI810 | Vanguard Complete Knee System | Tibial bearing & tray, ' Mono Lok' Cruciate Retaining or Posterior Stabilised, CoCr UHMWPE | 59 -91mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI823 | Alveolar Ridge Distraction System - titanium | distraction device, single tooth | 10-20mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI825 | Alveolar Ridge Distraction System - titanium | Shim plate, titanium | 1-3mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI837 | Reach Revision Hip System | Modular Reach Proximal Body - Collared/Collarless, Ti, HA Coated | Proximal Body #1 - 6 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI842 | Resurfacing Hip System | Acetabular Shell CoCr, Ti, HA Coated | 44 - 66mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI850 | EBI XFIX DynaFix System | Hip Distractor Aluminium, Stainless Steel, Titanium | One Size Only | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI863 | AGC Knee System Tibial Baseplate | Tibial baseplate, titanium, Moulded, V2 (version 2), uncemented with titanium plasma sprayed surface (Porous plasma spray PPS) | (63-91) x (8-22)mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI905 | AGC Total Knee System Tibial Insert | Tibial Insert 'Tradition', Posterior Stabilised with peg, UHMWPE with locking pin | 59-91mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI910 | Vanguard Rotating Platform Femoral Component | Femoral Component, uncemented, CoCr, Titanium plasma sprayed surface (Porous plasma spray PPS), Posterior Stabilised | 60 - 75mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI911 | Vanguard Rotating Platform Femoral Component | Femoral Component, uncemented, CoCr, Titanium plasma sprayed surface (Porous plasma spray PPS) with HA, Posterior Stabilised | 60 -75mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI936 | GPS Bone Biologics | TCP Granules/GPS, TCP | 10ml | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI944 | M2a 38 Femoral Head | Metal on Metal Femoral Head, Cobalt Chrome | 38mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | BI948 | Calcibon | Granules or paste, TCP | 50ml | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | BI958 | Vanguard Total Knee System | Femoral Component, Posterior Stabilised, Anatomic, HA, Plasma Porous Coated, CoCr & Ti Alloy | 55-80 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI960 | Regenerex revision cup | acetabular augment, Porous Ti Alloy | 48 to 58mm, small medium or large version | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI970 | Regenerex Revision Shell | Acetabular support component Porous Ti Alloy | 54 to 76mm OD, 44 to 66 ID | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI980 | Echo Hip System | Press Fit Femoral Component, titanium | 7 - 17mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | BI982 | Mainstream Burch/Schneider Reinforcement Ring | Burch/Schneider Reinforcement Ring Cemented | 44/50 Left and Right, 50-56 Left and Right | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI987 | Lorenz 2.4mm Locking Reconstruction System | Plates Plate, Angled 2.4mm System, Ti | 5 x 11 hole | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI988 | W Lorenz Osteosynthesis System | Plate Straight 2mm System | 4 - 7 hole | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI990 | Lactosorb Resorbable CMF System | Lactosorb Plates, 1.5mm System | 4 - 7 hole | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI991 | Lactosorb Resorbable CMF System | Lactosorb Plates, 1.5mm System | 8 - 15 hole | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI993 | Lactosorb Resorbable CMF System | Lactosorb Plates, 1.5mm System | 32+ holes- | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI997 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA | 2.8mm dia | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI998 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Panel or Sheet, Solid or Holed, PGA/PLA | 0.25mmx100x100mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Plastic and Reconstructive | BI999 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Panel or Sheet, Solid or Holed, PGA/PLA | (0.5 or 0.8)mm 100x100mm | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT108 | Entovis SR-T | Fully automatic, single chamber pacemaker with Closed Loop Stimulation, Home Monitoring and extended longevity | Size: 53mm x 39mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 24g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT115 | Entovis DR-T | Fully automatic, dual chamber pacemaker with Closed Loop Stimulation, Home Monitoring, Vp suppression and extended longevity | Size: 53mm x 43mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 26g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT143 | Ilesto 7 VR-T | Single Chamber ICD, rate adaptive pacing, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT144 | Ilesto 7 VR-T DX | Single Chamber ICD, rate adaptive, additional atrial detection, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT145 | Ilesto 7 DR-T | Dual Chamber ICD, rate adaptive, Max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT146 | Ilesto 7 HF-T | Triple Chamber CRT-D device, rate adaptive, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector | W x H x D (mm) 65 x 58.5 x 11, Volume: 33 cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT150 | Ilesto 7 VR-T DF-4 | Single Chamber ICD, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, IS-1/DF4 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT151 | Ilesto 7 DR-T DF-4 | Dual chamber ICD, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, IS-1/DF4 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31 cc, Mass: 80g | 2017-02-01 | Deleted
Biotronik Australia Pty Ltd | Cardiac | BT152 | Ilesto 7 HF-T DF-4 | Triple Chamber CRT-D device, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, lS-1/DF4 connector. | W x H x D (mm) 65 x 56 x 11, Volume: 33 cc, Mass: 80g | 2017-02-01 | Deleted
Cochlear Limited | Ear, Nose & Throat | CO056 | Cochlear™ Baha® BP110 sound processor | Fully programmable head worn sound processor for the Baha implantable bone conduction hearing system | One size | 2017-02-01 | Deleted
Carl Zeiss Pty Ltd | Ophthalmic | CZ029 | CT 53N | Foldable, 3-piece, monofocal, square-edged, hydrophilic acrylic (with hydrophobic surface properties) intraocular lens for capsular bag or sulcus fixation. | Diopter range: 0.0 to 40.0, Optic size: 6.0mm, Overall length: 13.0mm | 2017-02-01 | Deleted
Carl Zeiss Pty Ltd | Ophthalmic | CZ032 | AT TORBI 709MP (high cyl) | Bitoric, preloaded, micro incision, aspheric (aberration neutral), foldable, square-edged, single-piece IOL for capsular bag fixation | Diopter range: Sph -10.0 to 32.0, Cyl +7.0 to 12.0, Optic size: 6.0mm. Overall Length 11.0mm | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE316 | Calf Implants | Asymmetrical shape, silicone gel smooth surface | 85-180cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE320 | Facial Implant Chin | Anotomical chin | Small, medium, large/left, right | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE321 | Facial Implant Chin | Chin | Small, medium, large/left, right | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE322 | Facial Implant Nasal | Zygomatic | Right, left | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE325 | Calf Implants | Symmetrical shape, silicone gel | 12-140cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE327 | Gluteal Implants filled with Gel | Oval Shape, Silicone Gel, Textured Surface | 200-400cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE328 | Gluteal Implants filled with Gel | Round Shape, Silicone Gel, Smooth Surface | 200-300cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE333 | Facial Implant Malar | Malar Anatomical | Small, medium, large/left or right | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE334 | Pectoral Implants | Gel - Smooth surface | 190cc - 300cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE335 | Silimed Tissue Expander | Double chamber, textured, magnetic, with suture tabs. Catalogue number: 20799 | 470mm-780mm | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE336 | Silimed Tissue Expander | various shapes, textured, magnetic port | 150ml-1000ml | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE337 | Silimed Tissue Expander | Anatomical superior-pole/inferior-pole shape, textured, magnetic | 200ml-840ml | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE338 | Silimed Anatomical Textured Mammary Implant | Anatomical shape, textured surface, silicone gel filled mammary implant | 115cc to 600cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE340 | Silimed Polyurethane Breast Implant | Polyurethane coated silicone gel breast implant | 40cc to 695cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE341 | Silimed Anatomical Polyurethane Breast Implant | Polyurethane coated silicone gel breast implant | 115cc to 640cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE362 | Silimed Textured Mammary Implant | Silimed Textured Mammary Implant | 40cc - 499cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Plastic and Reconstructive | DE363 | Silimed Textured Mammary Implant | Silimed Textured Mammary Implant | 500cc - 695cc | 2017-02-01 | Deleted
Device Technologies Australia Pty Ltd | Ophthalmic | DE389 | Oculentis LENTIS Mplus LU-313MFT | Patient specific one-piece multifocal-toric acrylic plate haptic IOL | Overall Length 11.0mm and Optic size 6.0mm +-0.0D to +36.0D inclusive in 0.01D increments. Cyl +6.99D to +12.0D inclusive in 0.01D increments | 2017-02-01 | Expanded into DE521, DE522
Device Technologies Australia Pty Ltd | Ophthalmic | DE390 | Oculentis LENTIS Tplus LU-313T | Patient Specific: Foldable one-piece monofocal toric acrylic IOL | Optic Size 6.0mm, overall length 11.0mm. Sph +/-10.0D to +35.0D (in 0.01D increments) Cyl +0.25 to +6.99D cyl (in 0.01D increments) | 2017-02-01 | Expanded into DE515, DE516
Device Technologies Australia Pty Ltd | Ophthalmic | DE391 | Oculentis LENTIS Tplus LU-313T | Patient Specific: Foldable one-piece monofocal toric acrylic IOL | Optic Size: 6.0mm, overall length 11.00mm. Sph +/-10.0D to +35.0D (in 0.01D increments) Cyl +6.99D to +12.0D cyl (in 0.01D increments) | 2017-02-01 | Expanded into DE519, DE520
Device Technologies Australia Pty Ltd | Ophthalmic | DE393 | Oculentis LENTIS T plus LU-313-TY | Patient Specific: Foldable one-piece monofocal toric acrylic IOL. Violet Light Filter. | Optic Size: 6.0mm, overall length 11.00mm. -10.0D to +35.0D (0.01D increments) Available diopters: Cyl +7.00D to +12.0D inclusive in 0.01D increments. | 2017-02-01 | Expanded into DE511, DE512
Device Technologies Australia Pty Ltd | Ophthalmic | DE394 | Oculentis LENTIS Mplus Toric LU-313 MF30TY | Patient specific one-piece multifocal-toric plate haptic acrylic IOL. | Overall Length 11.0mm and Optic Size 6.0mm, +-0.0D to +36.0D inclusive in 0.01D increments. Cyl +0.25D to +6.99D inclusive in 0.01D increments. | 2017-02-01 | Expanded into DE523, DE524
Device Technologies Australia Pty Ltd | Ophthalmic | DE395 | Oculentis LENTIS Mplus LU-313 MFTY | Patient specific one-piece multifocal toric plate haptic acrylic IOL. Violet Light Filter | Overall Length 11.00mm and Optic Size 6.0mm +-0.0D to +36.0D inclusive in 0.01D increments. Cyl +7.00D to +12.0D inclusive in 0.01D increments. | 2017-02-01 | Expanded into DE513, DE514
Device Technologies Australia Pty Ltd | Ophthalmic | DE397 | Oculentis LENTIS Tplus LS-313 T1-T6 | Foldable one-piece monofocal toric acrylic IOL. | Optic Size 6.0mm, Overall Length 11.00mm. Available diopters: +10.0D to +30.0D (0.5D). Cyl: (T1 +1.5D) (T2 +2.25D) (T3 +3.0D) (T4 +3.75D) (T5 +4.5D) (T6 +5.25D) | 2017-02-01 | Expanded into DE517, DE518
Designs for Vision Pty Ltd | Ophthalmic | DV247 | HOYA AF-1 iMics1 NY-60 | Mini Incision, Aspheric, Blue-blocker, Single-piece, Hydrophobic | +6.0D to 30.0D (0.5 steps) | 2017-02-01 | Deleted
Designs for Vision Pty Ltd | Ophthalmic | DV251 | HOYA AF - 1 311 Toric T3/T4/T5 | Correct Corneal Astigmatism, Micro-incision,Aspheric, Blue-Blocker, Single Piece, Hydrophobic | lOL Power: 6.0D to 30.0D (0.5 steps) lOL Cylinder Power: 1.50D (311T3), 2.25D (311T4), 3.00D (311T5) | 2017-02-01 | Deleted
EIT Emerging Implant Technologies Pty Ltd | Spinal | EQ001 | EIT TLIF Cage | Titanium Lumbar Cage | Length: 28, 32mm Width: 10, 12mm Height: 7, 9, 11, 13, 15mm Lordosis Angle: 0, 8 degrees | 2017-02-01 | Transferred to LH573
EIT Emerging Implant Technologies Pty Ltd | Spinal | EQ002 | EIT PLIF Cage | Lumbar Cage with Titanium | Length: 22, 26, 30mm Width: 9, 11mm Height: 7, 9, 11, 13, 15mm Lordosis Angle: 4, 8 degrees | 2017-02-01 | Transferred to LH571
EIT Emerging Implant Technologies Pty Ltd | Spinal | EQ003 | EIT Cervical Cage | Cervical cage with medical grade biocompatible titanium | 4, 5, 6, 7, 8mm Small 4, 5, 6, 7, 8mm Large | 2017-02-01 | Transferred to LH575
Emergo Asia Pacific Pty Ltd | General Miscellaneous | ER145 | TheraStrand Rx with AgX100 Brachytherapy Kit | The TheraStrand RX brachytherapy kit is prescription-loaded and supplied sterile. The prescription generally comprises 25 needles containing the brachytherapy I-125 sources (80-100 seeds) sequenced per the physician's treatment plan. All sources are of the same activity/strength. | The seed includes a silver rod with I 125 contained in a sealed titanium capsule of 4.5 mm length and 0.8 mm in diameter. | 2017-02-01 | Transferred to RQ078
Emergo Asia Pacific Pty Ltd | General Miscellaneous | ER146 | I-Seed AgX100 Cartridge Brachytherapy Kit | The I-Seed AgX100 Cartridge brachytherapy kit comprises 8 or fewer cartridges (max. 20 seed) in a vertical seed magazine, VSM20. The kit is supplied sterile and is compatible with the Mick applicator. | The I-Seed AgX100 Cartridge Brachytherapy Kit generally contains 8 or fewer cartridges, each a max. 20 seeds, a total of 80-100 seeds. Each seed comprises a silver rod with the source within 4.5 x 0.8mm sealed titanium capsule. | 2017-02-01 | Transferred to RQ079
Emergo Asia Pacific Pty Ltd | Vascular | ER203 | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Aortic main body diameter (22-28 mm) x length (60-120 mm); iliac limb diameter (13-20 mm)x length (30-55 mm) | 2017-02-01 | Transferred to ZZ030
Emergo Asia Pacific Pty Ltd | Vascular | ER204 | Endologix AFX Endovascular AAA Stent Graft System-Aortic extensions | Endologix AFX Endovascular AAA Stent Graft System-Aortic extensions | Covered diameter (22-28 mm) x length (55-100 mm); open length 20 mm. | 2017-02-01 | Transferred to ZZ028
Emergo Asia Pacific Pty Ltd | Vascular | ER205 | Endologix AFX Endovascular AAA Stent Graft System-Iliac limb extensions | Endologix AFX Endovascular AAA Stent Graft System-Iliac limb extensions | Covered diameter straight or flared or stepped (16-25 mm) x length (55-88 mm) | 2017-02-01 | Transferred to ZZ029
Endotherapeutics Pty Ltd | Ear, Nose & Throat | ET032 | Serenocem Granules | Reaction bonded polymer composite formed by the neutralisation gelletation of a basic inorganic ionomer | 0.5 - 1mm granules, 1gm or 5gm; 2 - 3mm granules, 1gm or 5gm - 3 pouches | 2017-02-01 | Deleted
Endotherapeutics Pty Ltd | Urogenital | ET078 | RocaJJ Silicone Stent | A 100% silicone Ureteral Double J Stent, Radiopaque, which provides an excellent patient tolerance and a high encrustation resistance. | Fr 4.8 - 8, Lengths from 24cm to 30cm. | 2017-02-01 | Deleted
Endotherapeutics Pty Ltd | Urogenital | ET079 | RocaJJ Soft Stent | A 100% thermo sensitive, radiopaque polyurethane urethral double J stent which provides an excellent patient tolerance and a high resistance to encrustation | Fr 4.8-8, lengths from 24 - 30 cm | 2017-02-01 | Deleted
Endotherapeutics Pty Ltd | Urogenital | ET080 | RocaJJ Soft Hydrophilic Multi Length Stent | A hydro-coated 100% thermo senstive radiopaque polyurethane urethral multi Length Double J stent which provides an excellent patient tolerance and a high resistance to encrustation. | Fr6-7, Length 21-30cm | 2017-02-01 | Deleted
Fresenius Kabi Australia Pty Ltd | General Miscellaneous | FK004 | Accumate 1100 Infusion Pump | Ambulatory infusion pump | One size only | 2017-02-01 | Deleted
Fresenius Kabi Australia Pty Ltd | General Miscellaneous | FK005 | Accumate 1100 Tubing Set | A-type (Luer type) tubing set, B-type (spike type) tubing set | 160.5 cm, 174cm | 2017-02-01 | Deleted
Fresenius Kabi Australia Pty Ltd | General Miscellaneous | FK006 | Accumate 1100 Reservoir Bag | Reservoir bag | 150ml, 250ml, 500ml | 2017-02-01 | Deleted
GE Healthcare | General Miscellaneous | GC001 | Iodine 125 - 'Rapid Strand' Brachytherapy Implant, Iodine 125 - 'OncoSeeds' Brachytherapy Implant | Rapid Strand consists of 10 welded titanium capsules containing iodine-125 absorbed onto a silver rod. OncoSeeds consists of the loose seeds only. Per Patient up to 120 seeds. | One size each | 2017-02-01 | Deleted
GE Healthcare | General Miscellaneous | GC002 | Iodine 125 - Rapid Strand Brachytherapy Implant; OncoSeeds Brachytherapy Implant | I-125 Rapid Strand, code IMC 7000, consists of 10 welded titanium capsules containing iodine 125. This assembly is sterile, the activity of the capsules "seeds" is available from 0.18mCi to 0.70mCi. Individual I-125 capsules (seeds) are also available as OncoSeeds IMC6711. To be used only if more than 120 seeds are used per patient. | One size only | 2017-02-01 | Deleted
GE Healthcare | General Miscellaneous | GC003 | RAPID Strand Rx Seeds | I-125 RAPID Strand Rx, pre-loaded titanium capsules containing iodine 125. To be used only if more than 100 seeds are used per patient. Benefit is per seed. | Custom | 2017-02-01 | Deleted
GE Healthcare | General Miscellaneous | GC004 | RAPID Strand Rx™ | Pre-loaded, variable per patient prescription version of RAPID Strand. Price as shown is for up to 100 seeds. | The number of seeds per needle, the spacing between seeds (suture length) and number of needles required is customised per patient. Seed size is standard as is the needle gauge | 2017-02-01 | Deleted
Global Manufacturing Technology Pty Ltd | Hip | GM108 | BioBall Delta Femoral Head | Femoral Head Biolox Delta | 36mm, 38mm, 40mm, 44mm, 48mm | 2017-02-01 | Expanded into GM165, GM166
Gallay Medical & Scientific | General Miscellaneous | GR001 | EndoChoice Autoband Ligator | Endoscopic band ligation device including seven pre-loaded bands to fit gastroscopes with an outer diameter of 8.6-11.5mm | One size (7 bands) to fit gastroscopes with an outer diameter of 8.6-11.5mm | 2017-02-01 | Deleted
W L Gore & Associates | Vascular | GT272 | Gore-Tex Vascular Grafts | Vascular Grafts - Aorto-Pulmonary & Synthetic-Pulmonary Shunts (ePTFE) Stretch & Non Stretch Standard wall & Thin Wall | Diameter 3.5 - 5mm, Length 5-10cm | 2017-02-01 | Compressed into GT287
W L Gore & Associates | Vascular | GT279 | Gore-Tex Vascular Grafts | Standard Wall, Thin Wall and Stretch Technology (ePTFE) | Diameters: 3-12mm Lengths: ≥ 50cm | 2017-02-01 | Compressed into GT288
W L Gore & Associates | Vascular | GT280 | Gore-Tex Vascular Grafts | Standard Wall, Thin Wall and Stretch Technology (ePTFE) | Diameters: 4-12mm Lengths: ≥ 50cm | 2017-02-01 | Compressed into GT288
W L Gore & Associates | Vascular | GT284 | Gore-Tex Vascular Grafts | Vascular Grafts - Aorto - Pulmonary and Systemic Pulmonary Shunts (ePTFE) Stretch & Non Stretch Standard Wall & Thin Wall. | Diameter 3 - 12mm, Length 10cm | 2017-02-01 | Compressed into GT287
HELEX-A PTY. LTD. | Cardiac | HE001 | BioMatrix Flex Drug Eluting Coronary Stent System | Coronary Artery Stent, Drug Eluting | (8 - 38)mm length x (2.25 - 4.0)mm diameter | 2017-02-01 | Transferred to DO005
Johnson & Johnson Medical Pty Ltd | Vascular | JJ305 | Palmaz Genesis Peripheral Stent on Opta Pro (Medium) | Stainless steel balloon expandable stent mounted on an Opta Pro Balloon | Diameter 4-8mm, length 12-39mm | 2017-02-01 | Transferred to DO016
Johnson & Johnson Medical Pty Ltd | Vascular | JJ306 | Palmaz Genesis Peripheral Stent on Opta Pro (Large) | Stainless steel balloon expandable stent mounted on an Opta Pro Balloon. | Diameter 4-12mm, length 11-79mm | 2017-02-01 | Transferred to DO007
Johnson & Johnson Medical Pty Ltd | Vascular | JJ419 | SMART Control Peripheral Stent System | SMART Control is a laser cut nitinol self expanding stent, used to treat peripheral vessel disease. | Dia 6 – 14mm; Length 20 – 100mm | 2017-02-01 | Transferred to DO011
Johnson & Johnson Medical Pty Ltd | Vascular | JJ423 | OPTEASE retrievable vena cava filter | OPTEASE is a laser cut nitinol vena cava filter, used to treat patients at high risk of pulmonary embolisation | Suitable for vessels up to 30mm | 2017-02-01 | Transferred to DO017
Johnson & Johnson Medical Pty Ltd | Vascular | JJ480 | Angioguard RX Emboli Capture Guidewire System | Distal protection device and delivery system | Length 180cm, Diameter 0.014"; basket sizes 4mm, 5mm, 6mm, 7mm and 8mm | 2017-02-01 | Transferred to DO008
Johnson & Johnson Medical Pty Ltd | Vascular | JJ567 | PALMAZ® BLUE™ .018 Peripheral Stent System | L605 Cobalt Chromium Alloy Balloon Expandable Stent | 12, 15, 18, 24mm length 4, 5, 6, 7mm diameter | 2017-02-01 | Transferred to DO003
Johnson & Johnson Medical Pty Ltd | General Miscellaneous | JJ576 | Ethicon Omnex Surgical Sealant | Omnex Surgical Sealant | 0.5 ml | 2017-02-01 | Deleted
Johnson & Johnson Medical Pty Ltd | Vascular | JJ592 | SMART Nitinol Stent System | Long 120mm Stent, 6F compatible | 6-8mm diameter, 120mm stent length, 120cm delivery system | 2017-02-01 | Transferred to DO015
Johnson & Johnson Medical Pty Ltd | Vascular | JJ617 | SMART Nitinol Stent System | Long 150mm stent, 6F compatible | 6-8mm diameter, 150mm length, 120cm delivery system | 2017-02-01 | Transferred to DO013
Johnson & Johnson Medical Pty Ltd | Vascular | JJ646 | Precise Pro Rx Nitinol Stent System | Nitinol self expanding stent | Diameter: 5, 6, 7, 8, 9, 10mm; Length: 20, 30, 40mm | 2017-02-01 | Transferred to DO010
Johnson & Johnson Medical Pty Ltd | Vascular | JJ688 | Palmaz Blue .014 Renal Stent System (on Aviator Plus) | CoCr balloon expandable stent | 12, 15, 18, 24mm Lengths 40, 50, 60, 70mm diameters 80, 142cm shaft lengths | 2017-02-01 | Transferred to DO018
Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Specialist Orthopaedic | JJ805 | Global CAP CTA | Global CAP CTA Head | 40 - 56 x 15 - 21mm | 2017-02-01 | Deleted
Johnson & Johnson Medical Pty Ltd | Vascular | JJ823 | EXOSEAL (TM) Vascular Closure Device | Vascular Closure Device | 5 - 7F | 2017-02-01 | Transferred to DO012
Johnson & Johnson Medical Pty Ltd | General Miscellaneous | JJ892 | Endopath Linear Cutter | Metal/plastic cutter-stapler with titanium staples | 45mm; short shaft | 2017-02-01 | Compressed into MN206
Johnson & Johnson Medical Pty Ltd | General Miscellaneous | JJ894 | Endopath Linear Cutter | Metal/plastic cutter-stapler with titanium staples | 45mm; long shaft | 2017-02-01 | Compressed into MN206
Joint Research Australia | Hip | JR001 | DC2 System: DC2 Head 36mm | Femoral head, Biolox Delta, >32mm | -4mm, +0mm, +4mm, +8mm | 2017-02-01 | Deleted
Joint Research Australia | Hip | JR002 | DC2 System: DC2 Head 32mm | Femoral head, Biolox Delta, ≤32mm | -4mm, +0mm, +4mm, +8mm | 2017-02-01 | Deleted
Lima Orthopaedics Australia Pty Ltd | Specialist Orthopaedic | LC040 | Randelli/SMR Total Shoulder | Randelli/SMR Neutral Taper | 0 - 6mm | 2017-02-01 | Deleted
Lima Orthopaedics Australia Pty Ltd | Hip | LC194 | BioBall Femoral Head | Femoral Head Vivium < 32mm | 28mm, 32mm | 2017-02-01 | Expanded into LC195, LC196
Lifehealthcare Pty Ltd | Specialist Orthopaedic | LH323 | ITS Cancellous Screws | Cancellous Screws | D=3.5mm & 4.2mm, Length = 14mm - 60mm (with incremental of 2) | 2017-02-01 | Deleted
Lifehealthcare Pty Ltd | Specialist Orthopaedic | LH324 | ITS Cortical Screws | Cortical Screws | D=3.5mm & 4.2, 4.5mm, Length =14mm - 60 mm (with incremental of 2) | 2017-02-01 | Deleted
Lifehealthcare Pty Ltd | Specialist Orthopaedic | LH443 | I.T.S. Distal Humeral Locking Plates | Humeral Plates, Distal | 4-7 holes, dorsolateral, left and right; 8-10 holes, medial, left and right (Screw diameter 3.5mm) | 2017-02-01 | Deleted
Lifehealthcare Pty Ltd | Specialist Orthopaedic | LH458 | I.T.S. Pilon Plate | Locking Pilon Plates | 4.6 and 8-holes (Screw diameter: Cancellous 4.2mm; Cortical 4.5mm) | 2017-02-01 | Deleted
Lifehealthcare Pty Ltd | Specialist Orthopaedic | LH459 | I.T.S. Olecranon Plate | Locking Olecranon Plates | 6, 8, 10 and 12-holes (Screw diameter: Cancellous 4.2mm; Cortical 3.5mm) | 2017-02-01 | Deleted
Lifehealthcare Pty Ltd | Spinal | LH532 | MAGEC Spinal Bracing and Distraction System | Magnetically controlled growing rods | Actuator length: 70-90.mm | 2017-02-01 | Transferred to NV147
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM075 | Screws | Screws | 2.7mm diameter/8-12mm | 2017-02-01 | Compressed into LM326
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM226 | Bioplate Plating System | Plates of various shape | Less than 4 holes | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM227 | BIOPLATE Plating System | Titanium cranial compression plate | 2 holes | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM228 | Bioplate Plating System | Plates of various shape | 4 to 7 holes | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM229 | Bioplate Plating System | Titanium Burr Hole Covers | 4 to 7 holes | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM230 | Bioplate Plating System | Plates of various shape | 8 to 32 holes | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Plastic and Reconstructive | LM233 | Bioplate ZIP | Titanium Clamp | 11 to 20 mm | 2017-02-01 | Deleted
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM249 | OsteoMed FPS | Bone screw - std | 2/2.7mm x 8-22mm | 2017-02-01 | Compressed into LM325
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM250 | OsteoMed FPS | Bone Screws - Locking | 2/2.7m x 8-22mm | 2017-02-01 | Compressed into LM324
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM251 | OsteoMed FPS | Bone screws | 3.5/4mm x 10-60mm | 2017-02-01 | Compressed into LM326
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM259 | OsteoMed HPS | Bone screws - cannulated headless | 2.4mm x 10-36mm | 2017-02-01 | Compressed into LM327
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM260 | OsteoMed HPS | Bone screws - angled locking | 2.4mm x 6-36mm | 2017-02-01 | Compressed into LM324
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM261 | OsteoMed HPS | Bone screws - threaded/lag | 2.4mm x 4-36mm | 2017-02-01 | Compressed into LM325
LMT Surgical Pty Ltd | Specialist Orthopaedic | LM269 | ExtremiFix Screws | Headless Cannulated Compression Screw | Diameter 2.0mm, 2.4mm. Length 10mm to 52mm; Diameter 2.01mm - 2.7mm | 2017-02-01 | Compressed into LM327
Mathys Orthopaedics Pty Ltd | Hip | MA427 | CBH Non Cemented Femoral Stem | Titanium, grit blast, non HA, | 00-12 | 2017-02-01 | Deleted
MD Solutions Australasia Pty Ltd | General Miscellaneous | MB001 | Vari-Strand | Vari-Strand consists of variable stranded seed configurations in pre-loaded needles for the purpose of delivering radioactive seeds for the treatment of prostate cancer. Varistrand Multiple is delivered in a sterilized tray opened in the operating theatre | Variable (individually prescribed) stranded seed configurations in pre-loaded needles delivered in a sterilized tray. | 2017-02-01 | Deleted
MD Solutions Australasia Pty Ltd | General Miscellaneous | MB002 | Vari-Strand | Vari-Strand consists of a single stranded seed in a pre-loaded needle for the purpose of delivering a radioactive seed for the treatment of prostate cancer. Varistrand Single is delivered in a sterilized tray. | Single (individually prescribed) seed in a pre-loaded needle delivered in a sterilized tray. | 2017-02-01 | Deleted
MD Solutions Australasia Pty Ltd | Vascular | MB008 | Mynx Vascular Closure Device | Water-soluble synthetic sealant made of a polyethylene glycol (PEG) The sealant is resorbed by the body within 30 days | 5F, 6/7F | 2017-02-01 | Transferred to DO009
Johnson & Johnson Medical Pty Ltd | Vascular | MN173 | S.M.A.R.T. Flex Vascular Stent System | A fully connected, laser cut nitinol stent | 5-8mm diameter, 30-120mm length | 2017-02-01 | Transferred to DO002
Johnson & Johnson Medical Pty Ltd | Vascular | MN174 | S.M.A.R.T. Flex Vascular Stent System | A fully connected, laser cut nitinol stent | 5-8mm diameter, 150-200mm length | 2017-02-01 | Transferred to DO004
Johnson & Johnson Medical Pty Ltd | Vascular | MN178 | InCraft AAA Stent-Graft System - Aortic Bifurcate | Bifurcated main body | 22-34mm diameter, 86-94mm length | 2017-02-01 | Transferred to DO006
Johnson & Johnson Medical Pty Ltd | Vascular | MN179 | InCraft AAA Stent-Graft System - Iliac Limb/Extension | Contralateral/Ipsilateral lliac limbs and extensions | 10-24mm diameter, 80-140mm length | 2017-02-01 | Transferred to DO014
Medical Vision Australia Cardiology Thoracic Pty Ltd | Ear, Nose & Throat | MY001 | Endoxane | Silicone tracheal and bronchial stents - Dumon | 10 - 20mm diameter, 20 - 60mm length | 2017-02-01 | Transferred to LH574
Medical Vision Australia Cardiology Thoracic Pty Ltd | Ear, Nose & Throat | MY002 | Tracheobronxane Silmet | Nitinol wire - tracheal and bronchial stents - Dumon | 12 - 20mm diameter, 20 - 90mm length | 2017-02-01 | Transferred to LH576
Medical Vision Australia Cardiology Thoracic Pty Ltd | General Miscellaneous | MY003 | Steritalc | Sterile granules of talc implanted in pleural space to act as permanent adhesive | 3 grams & 4 grams | 2017-02-01 | Transferred to LH572
Orthofix Australia Pty Limited | Spinal | OF034 | Firebird Phoenix Rods | Titanium Rods, straight and lordotic with hex end. CoCr 450mm | 35-600mm | 2017-02-01 | Compressed into OF073
Orthofix Australia Pty Limited | Spinal | OF035 | Spinal Fixation System | Rod - Titanium | 40mm to 100mm in 10mm increments | 2017-02-01 | Compressed into OF073
Orthofix Australia Pty Limited | Spinal | OF036 | Spinal Fixation System | Rod - Titanium | 110 to 450mm (110, 120, 140, 160, 180, 200, 450mm) | 2017-02-01 | Compressed into OF073
Orthofix Australia Pty Limited | Spinal | OF039 | Spinal Fixation System | Pre Lordosed Rods | 40mm to 100mm in 10mm increments | 2017-02-01 | Compressed into OF073
Orthofix Australia Pty Limited | Spinal | OF041 | Blackstone - Washer | Titanium | 2/4/6mm | 2017-02-01 | Compressed into OF072
Orthofix Australia Pty Limited | Spinal | OF042 | Blackstone - Spacer | Titanium | 3/5mm | 2017-02-01 | Compressed into OF072
Orthotech Pty Ltd | Specialist Orthopaedic | OH166 | Mendec Spine | Bone Cement | 20g sterile powder / 9.4g sterile liquid | 2017-02-01 | Deleted
Orthotech Pty Ltd | Specialist Orthopaedic | OH171 | Mendec Spine | Bone Cement | 20g powder / 9.4g sterile liquid | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH254 | Intext Cervical Plate/Intext Screws | Intext cervical plate, including (2-part) fixation screws | Screws/Revision Screws - dia 4.4mm, length 11 - 18mm - Pack of 3 | 2017-02-01 | Deleted
Orthotech Pty Ltd | Specialist Orthopaedic | OH258 | Songer cable system | Double loop titanium spinal cable plus crimps | One size only | 2017-02-01 | Deleted
Orthotech Pty Ltd | Specialist Orthopaedic | OH259 | Songer Cable System - 2 Crimps | Titanium | One size only | 2017-02-01 | Deleted
Orthotech Pty Ltd | Specialist Orthopaedic | OH260 | Hartshill | Wire (packet 10) stainless steel | 1.2mm diam & 0.9mm dia | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH263 | Intext Cervical Plate/Intext Screws | Intext cervical plate, including (2 - part) fixation screws | Plates - width 13mm, Height 4mm - 9mm, width 17mm, height 4mm - 9mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH264 | Hartshill: Ransford | Occipito-cervical - Titanium loop | 100 degree 9mm - 20mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH265 | Hartshill: Ransford | Extra long cross linked - titanium loop | 100 degree 45cm x 15mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH266 | Hartshill Rectangle | Stainless steel posterior lumbar fusion system | 5mm diam 3-5cm length | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH270 | Hartshill Rectangle | Stainless steel posterior thoracic/thoracolumbar fusion system | 6mm diam 15 - 19cm length | 2017-02-01 | Deleted
Orthotech Pty Ltd | Hip | OH291 | JRI Reconstruction Ring | Acetabular reconstruction cage | 44mm, 47mm, 50mm, 54mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Hip | OH299 | JRI Total Hip System | JRI Austin Moore Standard Stems Hemiarthroplasty. These prusct has an all-in-one head and stem | Head Sizes range from 39mm - 56mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH316 | Impix-C+ - Cervical Cage | Impix-C+ Pre-filled Cervical Cage | 12.5mm x 14mm x 5mm, 12.5mm x 14mm x 6mm, 12.5mm x 14mm x 7mm, 14.5mm x 16mm x5mm, 14.5mm x 16mm x 6mm, 14.5mm x 16mm x 7mm, 14.5mm x 16mm x 8mm, 14.5mm x 16mm x 9mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH317 | IMPIX-LR | IMPIX - lr Lumbar Ramp | 8x20x0DEG, 13X20X0DEG, 14X20X0DEG, 9X20X4DEG, 10X20X4DEG, 11X20X4DEG, 12X20X4DEG, 13X20X4DEG, 14X20X4DEG, 10X20X8DEG, 11X20X8DEG, 12X20X8DEG, 13X20X8DEG, 14X20X8DEG, 12X20X12DEG, 13X20X12DEG, 14X20X12DEG, 8X25X0DEG, 9X25X0DEG, 10X25X0DEG, 11X25X0DEG, 12X2 | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH365 | AxiaLIF Facet Screw | Percutaneous 360 degree fusion at L5 - S1 | 4/5mm x 25-40mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH408 | C Jaws | Cervical compressive staple | 12-17mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Spinal | OH441 | AxiaLif Rod | Integral fixated spacer for lumbar spine. | 25-65mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Hip | OH512 | Furlong Hemi range, cement plug | Cement Plug | 10-20mm | 2017-02-01 | Deleted
Orthotech Pty Ltd | Specialist Orthopaedic | OH516 | KLS Martin Hand fracture system - periarticular plate | Various size and shaped hand plates | 08-12mm depth x 10.5-45mm length | 2017-02-01 | Expanded into OH531, OH532, OH533, OH534
Oceania Orthopaedics | Hip | OO164 | Omnia Tipor Revision Acetabular Cup | Omnia Tipor Cup is a press fit acetabular shell with screw holes, augments and stems. | 50-66mm diameter | 2017-02-01 | Deleted
Oceania Orthopaedics | Hip | OO165 | Omnia Tipor Revision Acetabular Cup - Augments | Omnia revision cup bone reconstruction augments | Mini, Small, Medium, Large, X-Large | 2017-02-01 | Deleted
Oceania Orthopaedics | Hip | OO167 | Omnia Tipor Revision Acetabular Cup- Wings | Omnia Revision cup bone reconstruction - wings | Small, Medium, Large | 2017-02-01 | Deleted
Oceania Orthopaedics | Hip | OO172 | MUTARS RS Cup - Apical Hole Plug | Acetabulum reconstruction cup, flange multiple screw holes - Apical hole plug | One Size | 2017-02-01 | Deleted
Pyramed Pty Limited | Vascular | PY028 | Sinus-XL Stent | Self-expanding Nitinol stent | Diameter 14mm - 24mm, Length 30-100mm nominal; 32-100mm expanded. | 2017-02-01 | Expanded into PY041, PY042, PY043, PY044
Reid Healthcare | Cardiac | RH010 | Avantgarde Chrono Carbostent | The Avantgarde Chrono Carbostent device consists of a coronary stent firmly held on the distal end of a semi compliant balloon catheter. The coronary stent is a flexible implantable deivce that can be expanded using a PTCA catheter. The stent is made of cobalt chronmium alloy coated with Carbofilm. Two radio-opaque platinum markers are located at either end of the stent. | Lengths: from 7mm to 31 mm; Sizes: from 2.25mm to 4.5mm | 2017-02-01 | Deleted
Reid Healthcare | Cardiac | RH015 | CRE8 Coronary Stent | Coronary Artery Drug Eluting Stent | The stent is available in 6 diameters: 2.5mm; 2.75mm; 3.0mm; 3.5mm; 4.0mm; 4.5mm and 5 lengths: 12mm; 16mm; 20mm; 25mm and 31mm. | 2017-02-01 | Deleted
Smiths Medical Australasia Pty Ltd | General Miscellaneous | SI029 | Extension Set (30" & 60") | Pump | 152 cm | 2017-02-01 | Expanded into SI047, SI048
St Jude Medical Australia Pty Ltd | Vascular | SJ014 | Angio-Seal Vascular Closure Device - STS Platform and STS Plus | Angio-Seal Haemostatic Puncture Closure Device, Models 6F-STS Platform and 6F STS Plus | 6F | 2017-02-01 | Transferred to TU058
St Jude Medical Australia Pty Ltd | Vascular | SJ015 | Angio-Seal Vascular Closure Device - STS Platform and STS Plus | Angio-Seal Haemostatic Puncture Closure Device, Models 8F-STS Platform and 8F STS Plus | 8F | 2017-02-01 | Transferred to TU060
St Jude Medical Australia Pty Ltd | Vascular | SJ094 | Angio-Seal VIP | Angio-Seal Haemostatic Puncture Closure Device Models 6F STS Platform, 6F STS Plus and 7F VIP | 6F | 2017-02-01 | Transferred to TU059
St Jude Medical Australia Pty Ltd | Vascular | SJ095 | Angio-Seal VIP | Angio-Seal Haemostatic Puncture Closure Device Models 8F STS Platform, 8F STS Plus and 8F VIP | 8F | 2017-02-01 | Transferred to TU062
St Jude Medical Australia Pty Ltd | Vascular | SJ155 | Angio-Seal Evolution | Haemostatic Puncture Closure Device 6F-8F | 6F and 8F | 2017-02-01 | Transferred to TU063
St Jude Medical Australia Pty Ltd | Neurosurgical | SJ171 | ANS Spinal Cord Stimulation System (SCS) GENESIS | Implantable Pulse Generator - Genesis Model 3608 | One size only | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Neurosurgical | SJ172 | ANS Spinal Cord Stimulation System (SCS) GENESIS | Patient Programmer Model 3850 | One size only | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Vascular | SJ218 | FemoSeal Vascular Closure System | Haemostatic Puncture Closure Device | One Size | 2017-02-01 | Transferred to TU061
St Jude Medical Australia Pty Ltd | Cardiac | SJ254 | Accent ST RF PM2222 | Dual Chamber Pacemeker with ST Segment Monitoring and RF Telemetry | 23g, 12.9cc | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ255 | Accent ST PM1122 | Single Chamber Pacemaker with ST segment monitoring | 21g, 9.5cc | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ256 | Accent ST PM2122 | Dual Chamber Pacemaker with ST segment monitoring | 10.5cc, 19g | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ257 | Accent ST RF PM1222 | Single Chamber Pacemaker with ST Segment Monitoring and RF Telemetry | 12.8g, 23g | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ296 | Ellipse VR CD1277-36 | Single chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring | 66g, 31cc | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ297 | Fortify Assura DR CD2259-40 | Dual chamber cardioverter defibrillator with 40J delivered energy and ST segment monitoring | 35cc, 76g | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ299 | Fortify Assura VR CD1259-40 | Single chamber cardioverter defribrillator with 40J delivered energy and ST segment monitoring | 76g, 35cc | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ300 | Ellipse DR CD2277-36 | Dual chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring | 66g, 31cc | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Neurosurgical | SJ303 | Dual Quad Trial Adaptor | A tool used to connect two four-contact leads to a single port of a non-sterile external power source. | One size | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ309 | Fortify Assura VR CD1259-40Q | Single chamber cardioverter defribrillator with 40J delivered energy and ST segment monitoring and DF4 connector | 35cc, 75g | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ310 | Fortify Assura DR CD2259-40Q | Dual Chamber cardioverter defrillator with 40J delivered energy and ST segment monitoring with DF4 connector | 35cc, 75g | 2017-02-01 | Deleted
St Jude Medical Australia Pty Ltd | Cardiac | SJ313 | Ellipse DR CD2277-36Q | Dual chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring with DF4 connector | 68g, 31cc | 2017-02-01 | Deleted
Smith & Nephew Pty Ltd | Knee | SM092 | RT (Rotating Hinge) PLUS Knee System Tibial Baseplate | Tibial Baseplate, CoCr, cemented, for fixed insert | 0-10 | 2017-02-01 | Deleted
Spectrum Surgical | Ophthalmic | SO061 | HumanOptics Torica Add-On IOL | Toric Add-On IOL for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection, safety profile technology and undulated haptics | Sphere: -4.0 to +1.5 in 0.5D steps, Cylinder < 7D | 2017-02-01 | Expanded into SO078, SO079
Surgical Specialties | Specialist Orthopaedic | SQ044 | BME Nitininol Osteosynthesis Staple | Dynamic Compression Implants OSS Staple - Biocompatible Nitonol | Large wire 2.0-3.0 - Sizes 20x20x20, 22x25x22, 30x30x30, 12x15x12 | 2017-02-01 | Deleted
Surgical Specialties | Specialist Orthopaedic | SQ045 | BME Nitinol Osteosynthesis staple | Dynamic Compression Implants OSS Staple - Biocompatible Nitono | Small Wires | 2017-02-01 | Deleted
Surgical Specialties | Specialist Orthopaedic | SQ046 | OSSStaple Osteosynthesis Staple | Dynamic Compression Implants OSS Staple - Asymmetric Staples - Biocompatible Nitonol Construction | Asymmetric - 11x15x13, 11x17x15, 11x17x19 & 18x18x15 | 2017-02-01 | Deleted
Surgical Specialties | Specialist Orthopaedic | SQ047 | BME Nitinol Osteosynthesis Staple | Dynamic Compression Implants OSS Plate Staple - Biocompatible Nitonol Construction | Plate Staple - 15x6, 15x8, 15x10 | 2017-02-01 | Deleted
Surgical Specialties | Specialist Orthopaedic | SQ048 | Step/Barb OSStaple | Dynamic Compression Implant, Calcaneal Step OSStaple, Nitinol Memory Alloy | 2mm, 4mm, 6mm 9mm & 12mm offsets | 2017-02-01 | Deleted
Surgical Specialties | Specialist Orthopaedic | SQ068 | Hammerlock | Nitinol Intramedullary Fixation System - Straight and Angled | 16, 19 and 22mm | 2017-02-01 | Deleted
Surgical Specialties | General Miscellaneous | SQ072 | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 2gms | 2017-02-01 | Transferred to RH026
Surgical Specialties | General Miscellaneous | SQ073 | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 5gms | 2017-02-01 | Transferred to RH027
Surgical Specialties | Specialist Orthopaedic | SQ108 | Aperfix Tibial Fixation System | Aperfix Tibial Fixation System | 9x24mm,10x24mm,9x29mm,10x29mm,11x29mm,8x30mm,9x30mm,10x30mm11x30mm,7x20mm,7x25mm,8x20mm,8x25mm,8x30mm,9x20mm,9x25mm,9x30mm,10x25mm,10x30mm,11x30mm,12x30mm | 2017-02-01 | Transferred to ZI972
Surgical Specialties | Specialist Orthopaedic | SQ109 | Aperfix Femoral Fixation System | Aperfix Femoral Fixation System | 9x24mm,10x24mm,9x29mm,10x29mm,11x29mm | 2017-02-01 | Transferred to ZI973
Surgical Specialties | Specialist Orthopaedic | SQ110 | Soft Tissue Anchor | All-Suture, UHMWPE | 1.4-2.2mm, Single & Double Loaded | 2017-02-01 | Transferred to ZI974
Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Spinal | SY306 | Pangea Spinal System | Pedicle and Lamina Hooks | Extra small to Extra Large | 2017-02-01 | Deleted
Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Spinal | SY461 | Pangea Spinal System | Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar and Sacral Spine, Cannulated | Diameter, 4.0mm to 10mm. Length, 20mm to 120mm | 2017-02-01 | Deleted
Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Spinal | SY548 | Pangea Spinal System | Preassembled Polyaxial Pedicle Screw - Thoracic, Lumbar and Sacral Spine | Diameter, 4.0mm to 10mm, Length, 20mm to 120mm | 2017-02-01 | Deleted
Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Spinal | SY549 | Pangea Spinal System | Preassembled Monoaxial Pedicle Screw - Thoracic, Lumbar and Sacral Spine | Diameter, 4.0mm to 10mm, Length, 20mm to 120mm | 2017-02-01 | Deleted
Newclip Technics Australia Pty Ltd | Specialist Orthopaedic | TN024 | NewClip Distal Radius Screws | Cortical Bone Screw | 2.0mm x 14-28mm | 2017-02-01 | Deleted
Tornier Pty Ltd | Knee | TO009 | HLS Noetos System patella | Patella, cemented, UHMWPE | small, medium, large | 2017-02-01 | Transferred to CR248
Tornier Pty Ltd | Knee | TO021 | HLS Noetos Revision Femoral Component | Femoral Component, cemented, CoCr, posterior stabilised using midline condyle | 1 to 6 right and left | 2017-02-01 | Transferred to CR238
Tornier Pty Ltd | Knee | TO024 | HLS Noetos Revision Stem Extender, Sleeve and other Couplings | Stem Adaptor (Femoral Sledge) CoCr | 5, 7 and 9 degrees | 2017-02-01 | Transferred to CR237
Tornier Pty Ltd | Knee | TO025 | HLS Hoetos Revision Knee | Sleeve stem adaptor (flange piece) CoCr | 5, 7 and 9 degrees, right and left | 2017-02-01 | Transferred to CR239
Tornier Pty Ltd | Knee | TO026 | HLS Noetos Revision Tibial Baseplate | Tibial Tray, CoCr, cemented, | 1 to 6 | 2017-02-01 | Transferred to CR235
Tornier Pty Ltd | Knee | TO028 | HLS Noetos Revision Stems | Femoral and Tibial extension stems CoCr | 1 to 6 Length 75 and 150mm | 2017-02-01 | Transferred to CR247
Tornier Pty Ltd | Knee | TO060 | HLS Kneetec - Femoral Implant | Femoral implant of the HLS Kneetec System, cemented, CoCr, Posterior Stabilised | Left and Right, 10 sizes each: 7 standard (1 to 7) and 3 "narrow" (3 to 5) | 2017-02-01 | Transferred to CR227
Tornier Pty Ltd | Knee | TO061 | HLS Kneetec - Mobile Tibial Tray | Mobile Tibial Tray for HLS Kneetec System, CoCr, Cemented | Sizes 1 to 8 | 2017-02-01 | Transferred to CR241
Tornier Pty Ltd | Knee | TO062 | HLS Kneetec - Fixed Tibial Tray | Fixed Tibial Tray for HLS Kneetec System, CoCr, Cemented | Sizes 1 to 8 | 2017-02-01 | Transferred to CR243
Tornier Pty Ltd | Knee | TO063 | HLS Kneetec - Mobile Tibial Insert | Mobile Tibial Insert for HLS Kneetec System, UHMWPE, posterior stabilised | 4 thicknesses: 9, 11, 13 and 15 mm. 7 sizes for each thickness: from 1 to 7/8 | 2017-02-01 | Transferred to CR244
Tornier Pty Ltd | Knee | TO064 | HLS Kneetec - Fixed Tibial Insert | Fixed Tibial part of the HLS Kneetec system, UHMWPE, posterior stabilised | 6 thicknesses: 9, 11, 13, 15, 18 and 21 mm. 7 sizes for each thickness: from 1 to 7/8 | 2017-02-01 | Transferred to CR240
Tornier Pty Ltd | Knee | TO065 | HLS Kneetec - Patella | Patellar implant of the HLS Kneetec system, UHMWPE, Cemented dome design and anchoring pegs | Extra-small, Small, Medium, Long | 2017-02-01 | Transferred to CR231
Tornier Pty Ltd | Hip | TO082 | Dynacup Insert Ceramic | Hip Acetabular Insert, Biolox Delta Ceramic | 32mm or36mm Head | 2017-02-01 | Transferred to CR233
Tornier Pty Ltd | Hip | TO083 | Meije Duo Femoral Heads Delta Ceramic >32 | Femoral Head Delta Ceramic >32 | short, med, long, extra long, 36mm | 2017-02-01 | Transferred to CR234
Tornier Pty Ltd | Hip | TO085 | Dual Mobility Cup, shell uncemented | Acetabular shell titanium Plasma spray + HA, flanges and/or hook. | 42 to 68mm | 2017-02-01 | Transferred to CR242
Tornier Pty Ltd | Hip | TO086 | Dual Mobility Cup, Shell Cemented | Acetabular Shell, Cemented stainless steel with groove, internal mirror polished | 42mm to 60mm | 2017-02-01 | Transferred to CR232
Tornier Pty Ltd | Hip | TO087 | Dual Mobility Cup, Liner | Acetabular Liner UHMWPE | Head 22.2mm or 28mm, Diameter 42 mm to 68mm | 2017-02-01 | Transferred to CR228
Tornier Pty Ltd | Hip | TO088 | Dynacup Hole Oturator | Hole plug for dynacup shell, Ti, HA coated | One size only | 2017-02-01 | Transferred to CR229
Tornier Pty Ltd | Hip | TO152 | Meije Duo – Cementless Femoral Stem | Titanium Alloy Femoral Stem, Grit-blasted, fully HA coated, with or without collar | Standard 130° neck option without collar – sizes 1 to 9 Standard 130° neck option with collar – sizes 1 to 10 Lateralized 123° neck option without collar – sizes 1 to 9 Lateralized 123° neck option with collar – sizes 1 to 10 | 2017-02-01 | Transferred to CR236
Tornier Pty Ltd | Hip | TO153 | Dynacup – Shell | Titanium acetabular shell, with or without holes, coated with titanium plasma spray and HA | Shell without holes: Ø42mm to Ø52mm (2mm increments) Shell with holes: Ø42mm to Ø68mm (2mm increments) | 2017-02-01 | Transferred to CR230
Tornier Pty Ltd | Hip | TO154 | Tornier CoCr Femoral Head – Femoral Head ≤32mm | CoCr Femoral Head | Dia 22.2mm, 28mm and 32mm, Short, Medium, Long and Extra-Long Necks | 2017-02-01 | Transferred to CR245
Tornier Pty Ltd | Hip | TO155 | Tornier CoCr Femoral Head – Femoral Head >32mm | CoCr Femoral Head | Dia 36mm, Short, Medium, Long and Extra-Long Necks | 2017-02-01 | Transferred to CR246
Terumo Australia | Vascular | TU040 | Rapidax™ Rapid Access Haemodialysis Graft | Triple layered self sealing haemodialysis Access Graft. ePTFE internal and external layer with proprietary elastomer inner layer - Straight and Per-curved | 6mm x 45-50cm | 2017-02-01 | Deleted
Teleflex Medical Australia | Ear, Nose & Throat | TX001 | MatriX | Stapes Prosthesis | Diameters: 4mm, 5mm, 6mm Lengths: 3.50mm, 3.75mm, 4.00mm, 4.25mm, 4.50mm, 4.75mm, 5.00mm, 5.25mm, 5.50mm. | 2017-02-01 | Transferred to LM331
Teleflex Medical Australia | Ear, Nose & Throat | TX002 | NitiFlex | Stapes Prosthesis | Diameters: 4mm, 6mm Lengths: 3.50mm, 3.75mm, 4.00mm, 4.25mm, 4.50mm, 4.75mm, 5.00mm, 5.50mm. | 2017-02-01 | Transferred to LM330
Teleflex Medical Australia | Ear, Nose & Throat | TX045 | Stapes | a) NiTiBOND b) Soft CliP c) K-Piston d) Angular Piston e) CliP Piston aWengen f) CliP Piston MVP g) Lenticle Cup | a) Diameter - 0.4 or 0.6mm in lengths - 3.5 to 5.5mm b) Diameter - 0.4 or 0.6mm in lengths 3.5 to 5.5mm c) Diameter - 0.4 or 0.6mm in lengths 3.5 to 10mm d) Diameter 0.4 or 0.6mm in lengths 4.25, 4.5, 4.75mm e) Diameter - 0.4mm or 0.6mm in lengths 3.5 to 5.5mm f) Diameter 0.4 or 0.6mm in lengths - 5 to 6.25mm g) lengths - 3 to 4.5mm | 2017-02-01 | Transferred to LM332
Teleflex Medical Australia | Ear, Nose & Throat | TX046 | Partial Ossicle Replacement | a) TTP Tuebingen Type bell b) CliP Dresden Type c) Malleus d) Angular Plester e) Angular CliP f) TTP - Vario Bell TTP - Variac System, Partial g) CliP Partial FlexBAL h) Duesseldorf Type Partial | a) length - 1.75 to 3.5mm b) Length 1.75 to 3.5mm c) 1075 to 3.5mm d) length 2.25 or 3.25mm e) length 2.25 or 3.25mm f) one size g) lengths - 1.75 to 3.5mm h) lengths - 1.75 to 4.5mm | 2017-02-01 | Transferred to LM329
Teleflex Medical Australia | Ear, Nose & Throat | TX047 | Total Ossicle Replacement | a) TTP Tuebingen Type Aerial Type b) TTB-Vario Aerial c) TTP Variac System Total d) Malleus Notch Prosthesis e) Regensburg Type Titanium Prosthesis f) Malleus Replacement g) Regensburg Type Total h) Duesseldorf Type Total | a) Length - 3 to to 7mm b) one size only d) Length - 3 to 7mm e) Length - 4 to 5mm f) one size only g) lengths - 4 to 5mm h) lengths - 3 to 7mm | 2017-02-01 | Transferred to LM328
Ellex Australia Pty Ltd | Ophthalmic | XE002 | Staar foldable silicone intraocular lens: Model AQ 5010V | Polyimide haptics 6.3mm optic - low diopters | 14.0mm length | 2017-02-01 | Transferred to EJ001
Ellex Australia Pty Ltd | Ophthalmic | XE003 | Staar foldable silicone IOLs: Models AQ2010V, AQ2017V and AO2003V | Plate haptics 6.0mm; Polymide haptics 5.5 or 6.3mm optic; | 10.8mm 0 13.5mm length | 2017-02-01 | Transferred to EJ003
Ellex Australia Pty Ltd | Ophthalmic | XE004 | Preloaded Aspheric Intraocular Lens | Silicone intraocular lens | 6.0mm | 2017-02-01 | Transferred to EJ002
Zimmer Biomet Pty Ltd | Hip | ZI042 | Trilogy Acetabular Cup | Titanium mesh (fibre metal) non HA for ceramic insert | 48 - 70 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI139 | NexGen Tibial Insert | Tibial Insert, UHMWPE, 'anatomically rotated' | 9 - 23mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI328 | Coonrad/Morrey Elbow Cement Restrictor | PMMA/Plastic Cement Restrictor | Extra Small, Small, Regular | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI329 | CPT Impaction Grafting Mesh | Titanium Femoral or acetabular mesh | 6 sizes acetabular rim (small and large), medial wall (small and large), flat and femoral meshes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI390 | Acetabular Reinforcement | Roof Ring - Ti alloy | 44 to 58mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI404 | Natural Knee Tibial Augments | Tibial hemi blocks, titanium, lug fixation | 4 to 8mm Size 00 to 5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI408 | Natural Knee Tibial Insert | Tibial Insert, UHMWPE, mobile insert | 00 to 5, 9 to 22mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI417 | Natural Knee Tibial Stem | Tibial Stem, Titanium, cemented including locking bolt | 60 to 215mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI418 | Natural Knee Femoral Component CSTi | Femoral Component, uncemented, CoCr, with Cancellous Structured Titanium ingrowth surface | Size 00 to 5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI420 | Natural Knee Femoral Component | Femoral Component, Cemented, CoCr | Size 00 to 5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI432 | Natural Knee Patella | All poly patella, cemented, UHMWPE | Size 0/7mm to 3/10 mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI448 | Cannulated Screw | Ti alloy | One size only | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI476 | Silhouette Spinal System Implants | Fixed Screw with Tab Extensions | 5.5 x 25mm to 8.5 x 60mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI491 | Trabecular Metal Acetabular Revision System Liner | Highly cross-linked (Longevity) PE Liners (various) | 28mm x 48mm-80mm - 0deg & 10deg; 32mm x 54-80mm - 0deg & 10 deg; 36mm x 58mm-80mm - 0deg & 10deg; 40mm x 62-80mm - 0deg & 10 deg | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI495 | Zimmer Anatomic II | Titanium, plasma spray with HA | Sizes 1 - 12, left and right | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI500 | Femoral Head | Head - Metal (Zweymuller Allopro) - CoCr | 36mm, 38mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI502 | Natural Knee | Primary Tibial Baseplate - Mobile Bearing Non Porous - CoCr alloy | Size 00 to 5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI520 | Alloclassic Zweymuller Hip Stem HA Coated | Titanium, grit blast, with HA | 1 - 12 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI521 | NexGen LPS Prolong Tibial Insert | Tibial Insert, Highly Crosslinked - UHMWPE (prolong), fixed posterior stabilised | Sizes A - G, 9mm to 20mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI557 | Fitmore Stem | Curved uncemented MIS Stem with TiVPS coating | A 140° size 1-14 ; B137° size 1-14 ; B extended offset 129° size 1-14 ; C127° size 1-14 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI560 | Nexgen complete knee solution | Rotating hinge knee cement shield servicing kit | B, C, D, E & F | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI585 | NexGen Prolong Flex Articulating Surface | Highly Crosslinked - Ultra High Molecular Weight Polyethylene - Mobile Bearing - CR | Sizes 1 to 10, 9mm to 23mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI596 | NCB System | NCB Screw Self Tapping | 5.00mm x 14-85; 4.00mm x 14-48, | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI598 | NCB System | NCB Cancellous Screws | 4.5mm x 30-65, 5.0mm x 32-90, 4.5mm x 30-65 C/FT | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI600 | NCB System | NCB Cannulated Screws | 14mm to 65mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI601 | NCBSystem | NCB Cannulated Cancellous Screws | 4.5mm x 30-90mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Hip | ZI618 | Trilogy IT HA/TCP Acetabular System | Titanium mesh (fibre metal) with HA | 40CC; 42DD; 44EE; 46FF,; 48GG; 50HH; 52II; 54JJ; 56KK' 58LL' 60MM' 62NN; 64OO; 66PP; 68QU; 70RR; 72SS; 74TT | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI659 | Nex-Link | Spinal Fixation System, Closed Screw Set Screw | 4.0mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI668 | Incompass | Thoracolumbar Fixation System, Polyaxial Screw Open | 5.5 - 7.5 | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI678 | InFix Interbody Fusion System | Endplate | Small - Large | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI679 | InFix Interbody Fusion System | Strut | Small - Large | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI680 | InFix Interbody Fusion System | Endcap | 8-10mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI683 | NexLink | Occipital Cervical Plating System | Occipital Plate | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI684 | NexLink | Occipital Cervical Plating System | Closed Screw 4mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI686 | NexLink | Occipital Cervical Plating System | Primary Bone Screw 3.5mm and 4mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI687 | NexLink | Occipital Cervical Plating System | Bone Screw 3.5 - 4.0mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI689 | Cadence Peek - Optima (sterile) | Vue Radiolucent Implant | 9-13mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI691 | Fortitude Peek-Optima (sterile) | Vue Radiolucent Implant | 12mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI693 | InFix Interbody Fusion System | Strut | Small - Large | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI709 | Zimmer Natural Nail System | Cortical Nuts and Washers | Cortical Nut for the 6mm Cancellous Screw | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI712 | Zimmer Natural Nail System | Humeral Nail Caps (Titanium) Antegrade & Retrograde | Height: 0mm, 5mm, 10mm & 15mm (Antegrade), 0mm, 5mm, 10mm (Retrograde) | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI714 | Zimmer Natural Nail System | Cortical Screws (Partially Threaded) Titanium | 4.0mm & 530mm x 20mm to 60mm (2.5mm increments); 4.0mm & 5.0mm x 65 to 100 mm (5mm increments) | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI716 | Zimmer Natural Nail System | Antegrade Humeral Nail - Titanium | 7, 8, 9 & 10mm x 15, 18, 19.5, 21, 22.5, 24, 25.5, 27, 28.5 & 30cm. Left & Right. | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI730 | Zimmer Segmental System, Variable Stiffness Stems | Variable Stiffness Stem Extensions - Straight/Bowed and Precoat for Segmental System in various sizes. | 9 to 19mm diameter, 130mm and 190mm length | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Knee | ZI732 | Zimmer Segmental System, Intercalary Segments | Trabecular Metal Intercalary Segments for various lengths | 45mm, 55mm, 65 mm length | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI757 | Zimmer Pty Ltd | 3.5 & 4.5mm Periarticular Plates - Humerus | Over 16 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI796 | ZPS-Zimmer Plate and Screw System | 4.5mm Broad Compression Plate | 2-6 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI807 | ZPS-Zimmer Plate and Screw System | Standard DC Plate | 7-15 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI812 | Zimmer Universal Locking System | 2.7mm Universal Locking System Reconstruction Plates, Straight - Sterile & Non Sterile | 2 holes - 6 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI813 | Zimmer Universal Locking System | 2.7mm Universal Locking System Reconstruction Plates, Straight - Sterile & Non Sterile | 7 holes - 15 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI814 | Zimmer Universal Locking System | 2.7mm Universal Locking System Reconstruction Plates, Straight - Sterile & Non Sterile | Over 16 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI815 | Zimmer Universal Locking System | 2.7mm Locking One-Quarter Tubular Plate-Sterile and Non-Sterile | 2 holes - 6 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI816 | Zimmer Universal Locking System | 2.7mm Locking One-Quarter Tubular Plate-Sterile and Non-Sterile | 7 holes - 15 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI817 | Zimmer Universal Locking System | 2.7mm Locking Dual Compression Plate Sterile and Non Sterile | 2 holes - 6 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI818 | Zimmer Universal Locking System | 2.7mm Locking Dual Compression Plate Sterile and Non Sterile | 7 holes - 15 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI819 | Zimmer Universal Locking System | 2.7mm Locking Dual Compression Plate Sterile and Non Sterile | 16 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI820 | Periarticular Plates | Periarticular Femoral Condylar Plates - Stainless Steel | 2-6 Holes Left and Right | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI821 | Periarticular Plates | Periarticular Femoral Condylar Plates - Stainless Steel | 7 - 15 holes | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI822 | Periarticular Plates | Periarticular Femoral Condylar Plates - Stainless Steel | Over 16 holes Left and Right | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI834 | NCB Polyaxial Locking System | NCB Variable Angle Locking Spacer Pegs | 1 - 3mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Spinal | ZI893 | APEX Spine System - Rod Connectors (offset) | Tandem rod connectors | 5.5mm to 6mm diameter | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI894 | Zimmer Pins | Stainless steel, unthreaded | Length 230mm, Diameter 2.0mm - 4.8mm | 2017-02-01 | Deleted
Zimmer Biomet Pty Ltd | Specialist Orthopaedic | ZI899 | Zimmer® Distal Radius Plating System | Distal Radius Plates | 8-13 holes | 2017-02-01 | Deleted
End of Worksheet