13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | ER471 | 4171 |  | Emergo Asia Pacific Pty Ltd | CAPRI Small Expandable Corpectomy Cage System | Vertebral Body Replacement | (13-16) x (16-20) mm – height 18-74mm | 291618 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | HW515 | 4171 |  | Stryker Australia Pty Ltd | GIZA vertebral Body Replacement System | A Titanium expandable Vertebral Body Replacement System with integral variable angled endplates | 14mm diameter, 18mm -54mm length, 2 deg to 10deg angulation. | 207282 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | JJ782 | 4171 |  | Johnson & Johnson Medical Pty Ltd | X-MESH - Expandable Cage System | Telescoping, vertebral body replacement device | Footprint/diameter 10-40mm, variable height range | 149723 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | LB055 | 4171 |  | Globus Medical Australia | Xpand Corpectomy Spacer System | Expandable corpectomy spacer | small, Medium, Large. 15-120mm in varying lordotic/kyphotic angles | 190055 | October 2017 |  | Change1: Changed Suffix, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | LB093 | 4171 |  | Globus Medical Australia | FORTIFY Ti Corpectomy Spacer Core | Expandable corpectomy spacer | 12mm and 20mm x 15mm-120mm | 190055 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | LB097 | 4171 |  | Globus Medical Australia | FORTIFY R Corpectomy Spacer Core | Expandable corpectomy spacer | 14mm 15mm-88mm | 190055 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | MC507 | 4171 |  | Medtronic Australasia Pty Ltd | LIFT/VERTE-SPAN | Vertebral Body Cages | Short - Extra Long | 169501 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | MC820 | 4171 |  | Medtronic Australasia Pty Ltd | T2 | Expandable vertebral body replacement cage | Diameters: 13 - 31mm | 169501 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | MI278 | 4171 |  | Medtronic Australasia Pty Ltd | AsterX Expandable Cage | Expandable Cage - Base, Post, Locking Screws, End Cap Set Screw | Base diameter: 12mm Post diameter: 12mm Screws: Locking Screw, Low Profile Locking Screw, End Cap Set Screw | 290495 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | NK051 | 4171 |  | National Surgical Pty Ltd | GIZA vertebral Body Replacement System | A Titanium expandable Vertebral Body Replacement System with integral variable angled endplates | 14mm diameter, 18mm -54mm length, 2 deg to 10deg angulation. | 286771 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | NV078 | 4171 |  | Nuvasive Australia and NZ Pty Ltd | X-CORE (Expandable cage) | Expandable VBR Cage | Diameter: 12-22mm Height: 15-121mm | 132498 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | OH301 | 4171 |  | Orthotech Pty Ltd | Obelisc vertebral body replacement | Centre Piece Made from titanium. | Diam. 20mm Height 17 - 132mm | 130922 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | OH576 | 4171 |  | Orthotech Pty Ltd | SAMSON - Expandable Vertebral Body Replacement - Center Piece | Center Piece | Height 20mm - 120mm Diam 20mm | 291718 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | PZ042 | 4171 |  | Prism Surgical Designs Pty Ltd | VerteLoc Expandable System | Expandable Cage | 20-100mm | 217031 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SK448 | 4171 |  | Stryker Australia Pty Ltd | VLIFT | Vertebral Body Replacement System, DIS Implant | Diameters 12 to 22mm | 130216 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SX036 | 4171 |  | Scientx Australia | TeCorp Vertebral Body Replacement System | TeCorp Thoracic | All sizes | 164923 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SX037 | 4171 |  | Scientx Australia | TeCorp Vertebral Body Replacement System | TeCorp Lumbar | All sizes | 164923 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SY341 | 4171 |  | Johnson & Johnson Medical Pty Ltd | Expandable Cage Titanium | Synex II, Titanium | Height 14mm-123mm | 133398 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SY343 | 4171 |  | Johnson & Johnson Medical Pty Ltd | Expandable Cage Titanium | Synex, Titanium, with endplates | Height 14mm - 93mm, Angle 0 - 40 degree | 133398 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.02 - No Integral Fixation | ThoracoLumbar | SY794 | 4171 |  | Johnson & Johnson Medical Pty Ltd | XRL | Expandable Vertebral Body | 22 - 121mm Height | 133398 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | ER185 | 1164 |  | Emergo Asia Pacific Pty Ltd | Signus Poseidon Vertebral Body Replacement System-End Plate | Signus Poseidon End Plate | (23-26mm)x(25-43mm); 0-15 degrees | 216750 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | ER355 | 1164 |  | Emergo Asia Pacific Pty Ltd | Ulrich thoracolumbar body replacement system (ObeliscPRO)-End plates | Ulrich thoracolumbar body replacement system (ObeliscPRO)-End plates, various shapes | dia (20-32 mm) x angle (0-15°); oval (32x26 mm) x angle (0-15°); lateral length (35-55 mm) x angle (0-15°) | 279702 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | LB096 | 1164 |  | Globus Medical Australia | FORTIFY Ti Corpectomy Spacer Endplate | Expandable corpectomy spacer endplate | 12 and 20mm x 12-50mm 0-12deg | 190055 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | LB098 | 1164 |  | Globus Medical Australia | FORTIFY R Corpectomy Spacer Endplate | Expandable corpectomy spacer endplate | 14-30mm X 14-25mm | 190055 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | LB138 | 1164 |  | Globus Medical Australia | Fortify I Integrated Corpectomy Spacer System - Endplates | PEEK and Titanium endplates | Lateral – 22mm X 40-50mm, 14mm X 14-16mm, 12-14mmX 14-16mm, 21x23mm and 25 X 30mm | 190055 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | MI279 | 1164 |  | Medtronic Australasia Pty Ltd | AsterX | End Cap | Standard, Pre-Angulated | 290495 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | NV079 | 1164 |  | Nuvasive Australia and NZ Pty Ltd | X-CORE (End Cap) | End plate | Round 12-30mm x -8° to 16°; Rectangular 12-22mm x 15-60mm x -8° to 16° | 132498 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | OH302 | 1164 |  | Orthotech Pty Ltd | Obelisc vertebral body replacement | End Piece Made from titanium. | diameter - 20 - 32mm angle - 0° - 20° length - 35 - 55mm | 130922 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | OH575 | 1164 |  | Orthotech Pty Ltd | SAMSON - Expandable Vertebral Body Replacement - End Plates | End Plates | L: 20mm W: 25-55mm A: 0-8° | 291718 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | SK339 | 1164 |  | Stryker Australia Pty Ltd | VLIFT | End cap | Diameters 12 to 22mm | 94643 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | SY342 | 1164 |  | Johnson & Johnson Medical Pty Ltd | Expandable Cage Titanium | Synex II, Titanium endplate | Angle 0 - 40 degree. Endplate Size 19x20, 22x25, 26x30 | 133398 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.01 - Telescoping Cage | 13.12.01.03 - End Plate |  | SY795 | 1164 |  | Johnson & Johnson Medical Pty Ltd | XRL | Endplate | -10˚/+15˚ Degrees | 133398 | October 2017 |  | Change1: Changed Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | DP513 | 4268 |  | Johnson & Johnson Medical Pty Ltd | Stackable Corpectomy CFRP Cage System | Stackable Cage | Xsmall-Xlarge | 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | DY322 | 4268 |  | Johnson & Johnson Medical Pty Ltd | Carbon Fibre Interbody Fusion Device | Stackable C/F Cage System Wedges | 11 Degree Small-Large | 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | ER164 | 4268 |  | Emergo Asia Pacific Pty Ltd | Signus Athlet VBR System - Main Body | Peek Vertebral Body Replacement System (Main body) | 12, 18, 24, 30, 36 and 42mm lengths | 129772 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | ER165 | 4268 |  | Emergo Asia Pacific Pty Ltd | Signus Athlet VBR System - End Body | Peek Vertebral Body Replacement System (End body) | 4, 6, 8mm heights | 129772 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | ER175 | 4268 |  | Emergo Asia Pacific Pty Ltd | Santorini Stackable Corpectomy Cage-Small | Corpectomy Cage, Peek | (12x17)mm footprint x (2-62)mm height | 198786 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | ER176 | 4268 |  | Emergo Asia Pacific Pty Ltd | Santorini Stackable Corpectomy Cage-Medium/Large | Corpectomy Cage, Peek | (16x20) or (21x25)mm footprint x (2-98)mm height | 198786 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | MC603 | 4268 |  | Medtronic Australasia Pty Ltd | Union | Verte-Stack | 8 - 20mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | MC606 | 4268 |  | Medtronic Australasia Pty Ltd | Union | Verte-Stack | Centre Piece 5-40mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | MC632 | 4268 |  | Medtronic Australasia Pty Ltd | Verte-Stack | XS Centre Piece. Stackable Corpectomy Device. | Height 5-50mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | NV145 | 4268 |  | Nuvasive Australia and NZ Pty Ltd | Monolith Corpectomy System | Vertebral Body Replacement System | Diameter 12-14mm | 209197 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | PZ021 | 4268 |  | Prism Surgical Designs Pty Ltd | VerteLoc Spine System | Locking Screw | 20mm - 150mm | 217033 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | PZ022 | 4268 |  | Prism Surgical Designs Pty Ltd | VerteLoc Spine System | Stackable Cage | Extra Small- Extra large | 217031 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.02 - Stackable Cage |  |  | PZ023 | 4268 |  | Prism Surgical Designs Pty Ltd | VerteLoc Spine System | Locking Nut | one size only | 217033 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | BF002 | 3497 |  | Matrix Medical Innovations | A-Mesh Spinal Titanium Mesh Spacer | A-Mesh® Spinal Titanium Mesh is designed to restore biomechanical integrity throughout the thoracic and lumbar spine following vertebrectomy or corpectomy for patients with spine tumors or fractures. | Diameter: 10mm, Length: 20mm, 50mm 70mm Diameter: 12mm, Length: 20mm, 50mm, 70mm Diameter: 14mm, Length: 20mm, 50mm, 70mm Diameter: 16mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 20mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 25mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 30mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 35mm, Length: 20mm, 50mm, 70mm, 90mm | 187179 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | DP427 | 3497 |  | Johnson & Johnson Medical Pty Ltd | Surgical Titanium Mesh System | Various shapes | 10- 26 x 15 -150mm | 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | DP438 | 3497 |  | Johnson & Johnson Medical Pty Ltd | Surgical Titanium Mesh System | Mesh - Oblong | 12 - 13 x 15 -17mm x 10 - 20mm | 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | MC378 | 3497 |  | Medtronic Australasia Pty Ltd | Pyramesh | Titanium Surgical Mesh | 51 - 500mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | MC379 | 3497 |  | Medtronic Australasia Pty Ltd | Pyramesh | Titanium Surgical Mesh | 5 - 50mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | MC449 | 3497 |  | Medtronic Australasia Pty Ltd | Pyramesh | Angled | 25 - 150mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | MC450 | 3497 |  | Medtronic Australasia Pty Ltd | Pyramesh | Curved / Round | 20 - 150mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | MC451 | 3497 |  | Medtronic Australasia Pty Ltd | Pyramesh | Ovoid | 8 - 130mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | NV015 | 3497 |  | Nuvasive Australia and NZ Pty Ltd | Titanium Mesh | Oval/Flat/Long/Round | 10mm - 16mm Diameter, 6mm - 14mm Length | 132467 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | NV016 | 3497 |  | Nuvasive Australia and NZ Pty Ltd | Titanium Mesh | Oval/Flat/Long/Round | 10mm - 16mm Diameter, 15mm - 90mm Length | 132467 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | NV017 | 3497 |  | Nuvasive Australia and NZ Pty Ltd | Titanium Mesh | Oval/Flat/Long/Round | 20mm + Diameter, 30mm - 90mm Length | 132467 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | OF051 | 3497 |  | Orthofix Australia Pty Limited | Blackstone - Surgical Mesh | 4 lobe, 6 lobe | 4 lobe: 12 x 15mm, 8mm - 17 x 22, 15mm, 6 lobe: (diameter x height) 10 - 16 x 10 - 16mm (2mm increments), 7 - 70mm | 185173 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | SK338 | 3497 |  | Stryker Australia Pty Ltd | VBOSS/VLIFT | Titanium | Available from 10 to 25mm in Diameter and from 8 to 120mm in Length | 94643 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | SX057 | 3497 |  | Scientx Australia | Novel CP Corpectomy Spinal Spacer System | PEEK vertebral body replacement, thoracolumbar | Small: 14mm width x 12mm depth; height: 10mm - 50mm (2mm increments) Medium: 17mm width x 15mm depth; height: 10mm - 50mm (2mm increments) | 178148 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | SY293 | 3497 |  | Johnson & Johnson Medical Pty Ltd | Synmesh | Mesh, Oblong | 6mm - 88mm | 133398 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.03 - Mesh |  |  | SY294 | 3497 |  | Johnson & Johnson Medical Pty Ltd | Synmesh | Mesh, Round | 6mm - 88mm | 133398 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | BF020 | 1285 |  | Matrix Medical Innovations | A-Mesh Spinal Titanium Mesh Plate and Set Screw | A-Mesh Spinal Titanium Mesh is designed to restore biomechanical integrity throughout the thoracic and lumbar spine following vertebrectomy or corpectomy for patients with spine tumors or fractures | Diameter 10m 12, 14, 16, 20, 15, 30 or 35mm | 187179 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | DY087 | 1285 |  | Johnson & Johnson Medical Pty Ltd | Surgical Titanium Mesh System | End Plate or Screws or End Cap (Round / Oblong / Trapezoidal) | 10-33mm | 128257, 97391, 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | DY088 | 1285 |  | Johnson & Johnson Medical Pty Ltd | Surgical Titanium Mesh System | Rings (Standard and Angled) | 17-26mm x 22-33mm | 98094 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | MC539 | 1285 |  | Medtronic Australasia Pty Ltd | Pyramesh | End ring/cap | 10 - 25mm | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | MC821 | 1285 |  | Medtronic Australasia Pty Ltd | T2 | End Cap | 13-31 mm, 0, 4, 8, 15 degree lordosis | 169501 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | OF052 | 1285 |  | Orthofix Australia Pty Limited | Blackstone - End Ring | Surgical Mesh | [Surgical mesh X Angle] 10-16mm (2mm increments) X 0-2.5 degrees | 185173 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | SK424 | 1285 |  | Stryker Australia Pty Ltd | VBOSS | End cap | Sizes 10 to 25mm | 94643 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.04 - Mesh, End Plate |  |  | SY295 | 1285 |  | Johnson & Johnson Medical Pty Ltd | Synmesh | End rings | round/oblong | 133398 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.05 - Non Stackable Cage, other |  |  | ER138 | 3497 |  | Emergo Asia Pacific Pty Ltd | Santorini Solid Corpectomy Cage System | Cage, fixed height, Peek | (12x14) or (16x20) mm footprint x (18-62) mm height | 198786 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.05 - Non Stackable Cage, other |  |  | ER262 | 3497 |  | Emergo Asia Pacific Pty Ltd | Amendia Samson Corpectomy Vertebral Body Replacement System | Amendia Samson Corpectomy Vertebral Body Replacement System | dia 13.5x height (14-48 mm) | 233540 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.05 - Non Stackable Cage, other |  |  | ER409 | 3497 |  | Emergo Asia Pacific Pty Ltd | Capri Small Solid Corpectomy Cage System | Non Stackable vertebral body replacement | (12 x14)mm or (13x16)mm footprint | 204117 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.05 - Non Stackable Cage, other |  |  | LB131 | 3497 |  | Globus Medical Australia | Niko Corpectomy Spacer | PEEK Thoracolumbar pre-assembled corpectomy cage | Width 12 and 14mm, Length 14mm and 16mm, Height 15-33mm in 2mm increments | 190055 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.12 - Vertebral Body Replacement | 13.12.05 - Non Stackable Cage, other |  |  | LB140 | 3497 |  | Globus Medical Australia | Fortify® I-R Static Corpectomy Spacer System -Spacer | PEEK spacer with integrated titanium plates | Footprint - 12 X14mm Heights 15-33mm (2mm increments) | 190055 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | DU032 | 1382 |  | SPINEART AUSTRALIA PTY. LTD. | Romeo 2 PAD System | Interspinous fusion device | 8mm to 18mm | 198720 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | LB113 | 1382 |  | Globus Medical Australia | SP-Fix™ Spinous Process Fixation | Posterior non-pedicle supplemental fixation device | 35-55mm | 237299 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | LH483 | 1382 |  | Lifehealthcare Pty Ltd | Coflex-F | Interspinous fusion device | 8, 10, 12, 14, 16mm | 151022 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | MC637 | 1382 |  | Medtronic Australasia Pty Ltd | CD Horizon | Spire Plate | 35-41mm | 169514 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | NK027 | 1382 |  | National Surgical Pty Ltd | Axle Interspinous fusion System | Interspinous fusion plate system | Plates: 28mm to 55mm Inserts: 8-18mm | 160750 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | NV064 | 1382 |  | Nuvasive Australia and NZ Pty Ltd | Affix Plate | Spinous process plate with an integrated canted-coil locking mechanism. | 25mm - 55mm | 132466 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | SX091 | 1382 |  | Scientx Australia | Bridgepoint Spinous Process Fixation System | Spinous process fixation system with intergrated set screws | Small 35-40mm, Medium 40-45mm, Large 45-50mm | 178208 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.13 - Interspinous Fixation | 13.13.01 - Interspinous Fixation Device |  |  | ZI986 | 1382 |  | Zimmer Biomet Pty Ltd | Alpine XC Adjustable Fusion System | Adjustable Fusion System | 6-18mm | 287242 | February 2018 |  | Change1: New Listing
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | DE608 | 1940 |  | Device Technologies Australia Pty Ltd | iFuse Implant System-Implant | iFuse Implant System-Implant | 4-10.75 mm; length 30-90 mm | 212886 | February 2018 |  | Change1: Transferred from ER272
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | ER345 | 1940 |  | Emergo Asia Pacific Pty Ltd | Signus Diana SI Joint Fusion Device | The DIANA® sacroiliac fusion device is a titanium alloy, tapered hollow cylindrical implant with radial fenestrations to encourage bony in-growth and a threaded outer surface for fixation and stabilisation of the sacroiliac joint. | Tapered design: dia at wide point (13-21 mm) x dia at narrow point (12-20mm) x length 30mm | 216752 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | LB062 | 1940 |  | Globus Medical Australia | SI-LOK Stabilization System | Fusion Screw | 8.0-12.0mm diameter x 25-60mm length | 199414 | October 2017 |  | Change1: Changed Product Sub Group, Suffix, Benefit.
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | MI197 | 1940 |  | Medtronic Australasia Pty Ltd | Rialto | SI Fusion System | 12mm Dia. 40mm to 60mm Length | 218942 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | NK045 | 1940 |  | National Surgical Pty Ltd | Silex Joint Fixation Device | Single-Thread Sacroiliac Anchor Implant or Dual-Thread Sacroiliac Anchor Implant | 12.5mm x 30-70mm | 228758 | October 2017 |  | Change1: Changed Product Sub Group, Suffix, Benefit.
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | ZI918 | 1940 |  | Zimmer Biomet Pty Ltd | TriCor Sacroiliac Joint Fusion System, Anchor Implant | Anchor Implant | 12.5mm diameter, 30-70mm | 268152 | October 2017 |  | Change1: Changed Product Sub Group, Suffix, Benefit.
13 - Spinal | 13.15 - Annular closure/reconstruction | 13.15.01 - Annular closure/reconstruction device |  |  | ER305 | 5723 |  | Emergo Asia Pacific Pty Ltd | Barricaid | Annular replacement prosthesis | Height: 14mm; Width 8mm, 10mm, 12mm | 273822 | October 2017 |  | Change1: Changed Product Sub Group, Benefit.