## Prostheses List Deletions
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ001 | Staar foldable silicone intraocular lens: Model AQ 5010V | Polyimide haptics 6.3mm optic - low diopters | 14.0mm length | 2019-07-01 | DELETE
IQ Medical | 01 - Ophthalmic | IQ017 | PreciSAL Toric T302AC | Acrylic single piece, foldable intraocular lens with anterior and posterior optic-haptic square edge, 360 degree optic square edge design, precision power calculation, aberration technology, toric correction on anterior surface with cylinder marks to indicate flat meridian plus the cylinder axis to allow alignment for astigmatic correction, and UV filter. | Available in spherical dioptric powers from 0.0 to +30.0. 1D steps: 0.0 to +10.0; 0.5D steps: +10.5 to +17.5 and +28.5 to +30.0; 0.25D steps: +18.0 to +28.0; Cylinder powers from 1.0D to 6.0D | 2019-07-01 | DELETE
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ003 | Staar foldable silicone IOLs: Models AQ2010V, AQ2017V and AO2003V | Plate haptics 6.0mm; Polymide haptics 5.5 or 6.3mm optic; | 10.8mm to 13.5mm length | 2019-07-01 | DELETE
IQ Medical | 01 - Ophthalmic | IQ003 | Tetraflex | Acrylic single piece, foldable accommodating intraocular lens with sqare edge design, custom control precision and closed loop haptic design | Available in dioptric powers from +5.0 to +36.0, 1D steps: +31.0 to +36.0; 0.5D steps: +5.0 to +18.0 and +25.0 to +30.0; 0.2D steps; +18.0 to +25.0 | 2019-07-01 | DELETE
IQ Medical | 01 - Ophthalmic | IQ026 | Inside CTR | Preloaded PMMA capsular tension ring | Type 14 (12.3mm open, 10.0mm compressed), Type 14C (13.0mm open, 11.0mm compressed), Type 14A ( 14.5mm open, 12.0mm compressed), Type 13 ( 12.3mm open, 10.0mm compressed), Type 13A ( 13.0mm open, 11.0mm compressed), Type 13B ( 14.5mm open, 12.0mm compressed), Type 19D (11.6 mm open, 10.0/9.5/9.0/8.5mm compressed), Type 10C ( 12.1mm open, 11.0mm compressed)Type 15A ( 13.0mm open, 11.0mm compressed), Type 15B ( 14.5mm open, 12.0mm compressed). | 2019-07-01 | DELETE
Med-El Implant Systems Australasia Pty Ltd | 02 - Ear, Nose & Throat | US002 | Bonebridge - Amadé BB audio processor | The Amadé audio processor is an external part of the Bonebridge and connects to the implant through magnetic attraction. Fitting the Amadé audio processor activates the Bonebridge | 29.1 mm (d), 8.8 mm (h), weight ≤ 8 grams | 2019-07-01 | DELETE
LMT Surgical Pty Ltd | 02 - Ear, Nose & Throat | LM332 | Stapes | a) NiTiBOND b) Soft CliP c) K-Piston d) Angular Piston e) CliP Piston aWengen f) CliP Piston MVP g) Lenticle Cup | a) Diameter - 0.4 or 0.6mm in lengths - 3.5 to 5.5mm b) Diameter - 0.4 or 0.6mm in lengths 3.5 to 5.5mm c) Diameter - 0.4 or 0.6mm in lengths 3.5 to 10mm d) Diameter 0.4 or 0.6mm in lengths 4.25, 4.5, 4.75mm e) Diameter - 0.4mm or 0.6mm in lengths 3.5 to 5.5mm f) Diameter 0.4 or 0.6mm in lengths - 5 to 6.25mm g) lengths - 3 to 4.5mm | 2019-07-01 | DELETE
LMT Surgical Pty Ltd | 02 - Ear, Nose & Throat | LM329 | Partial Ossicle Replacement | a) TTP Tuebingen Type bell b) CliP Dresden Type c) Malleus d) Angular Plester e) Angular CliP f) TTP - Vario Bell TTP - Variac System, Partial g) CliP Partial FlexBAL h) Duesseldorf Type Partial | a) length 1.75 to 3.5mm b) length 1.75 to 3.5mm c) length 1.75 to 3.5mm d) length 2.25 or 3.25mm e) length 2.25 or 3.25mm f) one size g) length 1.75 to 3.5mm h) length 1.75 to 4.5mm | 2019-07-01 | DELETE
LMT Surgical Pty Ltd | 02 - Ear, Nose & Throat | LM338 | Stapes | Stapes Prosthesis | Ø 0.4mm, Ø 0.5mm & Ø 0.6mm Lengths 3.50mm - 5.50mm | 2019-07-01 | DELETE
LMT Surgical Pty Ltd | 02 - Ear, Nose & Throat | LM328 | Total Ossicle Replacement | a) TTP Tuebingen Type Aerial Type b) TTB-Vario Aerial c) TTP Variac System Total d) Malleus Notch Prosthesis e) Regensburg Type Total Prosthesis f) Malleus Replacement g) Duesseldorf Type Total h) Omega Connector | a) Length - 3 to to 7mm b) one size only c) one size only d) Length - 3 to 7mm e) Length - 4 to 5mm f) one size only g) lengths - 3 to 7mm h) length - 0.5mm | 2019-07-01 | DELETE
Admedus (Australia) Pty Ltd | 03 - General Miscellaneous | AH004 | ambIT Infusion Pump | The ambIT Reusable Infusion Pump is an external programmable electronic ambulatory infusion pump used for the delivery of fluid and medications via intravenous, epidural, subcutaneous or regional routes. It can be programmed with different delivery profiles which include basal rate/continuous only, basal rate with PCA (Patient Controlled Analgesia), PCA Bolus Only or Intermittent Bolus Dose (PIB). It is operated in conjunction with a ambIT disposable administration cassette | AmbIT Single use Pump - 55mm x 36mm x 175mm AmbIT Single use administration cassette - 20mm x 10mm x 15mm | 2019-07-01 | DELETE
Admedus (Australia) Pty Ltd | 03 - General Miscellaneous | AH008 | ambIT Single Use Regional Kit | The ambIT Single Use Regional Kit contains: a single use ambIT pump, single use administration cassette with male luer lock fitting, 420ml Medibag, the choice of 75mm, 127mm or 154mm fenestrated nerve/wound catheter, a peel away introducer sheath, button guard and patient carry bag. | ambIT Single Use Pump - 55mm x 36mm x 175mm Ambit Single use administration cassette - 20mm x 10mm x 15mm | 2019-07-01 | DELETE
Admedus (Australia) Pty Ltd | 03 - General Miscellaneous | AH013 | ambIT Single Use | Kit contains: a single use ambIT infusion pump, single use administration cassette with spike fitting, Button Guard, 2 x AA batteries, and patient carry bag | AmbIT Single use Pump - 55mm X 36mm X 175mm AmbIT Single use administration cassette - 20mm X 10mm X 15mm | 2019-07-01 | DELETE
Admedus (Australia) Pty Ltd | 03 - General Miscellaneous | AH005 | ambIT Infusion Pump Cassette | Single use sterile disposable administration set for use with the ambIT Infusion Pump. The cassette contains a rotary mechanism that pumps the infusion solution at an accurate and controlled rate. The cassette includes an administration line with either a spike fitting or a luer lock fitting depending on the solution bag used. The line has an inline air filter. | 20mm x 10mm x 15mm | 2019-07-01 | DELETE
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS205 | Kangaroo Skin Level Cage Gastrostomy Kit | Skin level non-balloon internal retention bolster gastrostomy kit, including gastrostomy tube, accessory bolus and continuous feeding tubes syringes for inflation and flushing. Patient handbook | 12fg x 1.2cm, 12fg x 1.5cm, 12fg x 2.0cm, 12fg x 2.5cm, 12fg x 3.0cm, 12fg x 3.5cm, 12fg x 4.0cm, 12fg x 4.5cm, 12fg x 5.0cm, 16fg x 1.5cm, 16fg x 1.7cm, 16fg x 2.0cm, 16fg x 2.4cm, 16fg x 2.7cm, 16fg x 3.0cm, 16fg x 3.5cm, 20fg x 1.5cm, 20fg x 2.0cm, 20fg x 2.5cm, 20fg x 3.0cm, 20fg x 3.5cm, 20fg x 4.0cm, 20fg x 4.5cm | 2019-07-01 | DELETE
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS207 | Kangaroo Skin Level Balloon Gastrostomy Kit | Skin level silicone balloon gastrostomy kit, including gastronomy tube accessory bolus and continuous feeding tubes, syringes for inflation and flushing, Patient Handbook | 12-24 Fr., 0.8-5 cm, 3-8ml. | 2019-07-01 | DELETE
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS210 | Kangaroo Single Pass PEG | Single Pass PEG | 16fg, 20fg | 2019-07-01 | DELETE
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS206 | Kangaroo Gastrostomy Feeding Tubes | 100% silicone gastrostomy with internal retention balloon | 12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 24fg | 2019-07-01 | DELETE
Halyard Australia Pty Ltd | 03 - General Miscellaneous | KI003 | HALYARD* MIC* Percutaneous Endoscopic Gastrostomy Feeding Tube Accessories | Sterile Accesory | 14 Fr, 20 Fr, 24 Fr | 2019-07-01 | DELETE
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | MI288 | Kangaroo™ Percutaneous Endoscopic Gastrostomy Feeding Tube Accessories | Feeding Adaptors | 16Fr/Ch, 20Fr/Ch - PEG Adaptors | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY023 | Niti-S Colorectal D-Type Stent | Niti-S Colorectal D-Type self-expanding Stent | Diameters: 18 to 30mm Lengths: 60 to 150mm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY024 | Niti-S Colorectal Stent | Niti-S Colorectal self-expanding metal stent made from Nitinol. Stent PTFE covered and uncovered OTW or TTS with string for ease of removal. | Diameter: 18mm to 30mm Length: 30mm to 160mm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY021 | Niti-S Oesophageal Fully Covered Stent | Niti-S Oesophageal fully covered self expanding nitinol stent with covering of PTFE, silicone, a polyurethane layer. Nylon drawstring for removal or repositiong | Diameter: 10mm to 36mm Length: 60mm to 230mm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY022 | Niti-S Oesophageal Double Stent & Beta Double & D-Double Stent | Niti-S Oesophageal covered Double Stent & Beta Double and D-Double self-expanding metal stent made from Nitinol, with an anti-migration outer uncovered wire construction to allow the mesh to embed in the oesophageal wall. Also with anti reflux valve inner polyurethane layer, PTFE & silicone covering to prevent tumor ingrowth. String for retrieval or re-positioning. | Diameter: 10mm to 28mm Length: 40mm to 200mm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY040 | Niti-S Nagi and Spaxus Pancreatic, Pseudocyst and Gall Bladder Drainage Stent | Fully Covered, self-expanding metal pancreatic pseudocyst intra-luminal drainage stent | Diameter: 8, 10,12,14,16mm Length: 1,2,3cm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY017 | Niti-S Pyloric/Duodenal Stent | Niti-S Pyloric self-expanding stent, covered and uncovered, OTW or TTS | Diameter: 16 to 28mm Length: 40 to 160mm | 2019-07-01 | DELETE
Pyramed Pty Limited | 03 - General Miscellaneous | PY048 | Niti-S Tracheal and Bronchial Stents | Niti-S Tracheal and Bronchial Stents | Diameter: 10mm to 24mm Length: 30mm to 100mm | 2019-07-01 | DELETE
LMT Surgical Pty Ltd | 03 - General Miscellaneous | LM196 | Dynavisc | Absorbable adhesion barrier gel | 1 ml | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | HW562 | Uni-Elbow (Radio-Capitellar Replacement) | Uni-Compartmental Arthroplasty of the lateral radial humeral joint: Radio Capitellum Implant | Radio Capitellum Implant: Size S & L for Left; and S & L for Right | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK608 | Radial Head Implants | Radial Stem | 2,3,4,4N | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK607 | Radial Head Implants | Radial Head | 2,3,4,4N | 2019-07-01 | DELETE
Link Orthopaedics Australia | 06 - Specialist Orthopaedic | LO101 | LINK Arthrodesis Pin | Tilastan | 90mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH179 | Nancy Nail System | Pediatric Flexible Nail | 2.5 or 3.0 mm x 190 -290mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH180 | Nancy Nail System | Pediatric Flexible Nail | 3.5 mm x 270-350mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH181 | Nancy Nail System | Pediatric Flexible Nail | 4.0 mm x 330-450mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH183 | Nancy Nail System | Pediatric Flexible Nail | 2.0 - 4.0 mm x 130 - 450mm | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK611 | Metaflex | Low compression screw | Diameter: 1.2, 1.4, 1.6, 2.0 - 2.5mm, Length: 10mm - 30mm | 2019-07-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK017 | Sonoma CRx Clavicle | The Sonoma CRx is a stainless steel implant designed to treat clavicle fractures, mal unions and non-unions. Using minimally invasive technique, the implant is locked to length by patented grippers. The rotation and migration is prevented by use of a locking screw. The implant preserves periosteum | 90mm, 100mm, 110mm, 120mm of length | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI710 | Zimmer Natural Nail System | Cephalomedullary Nail Caps - Titanium (Neutral, Sliding & Locking) | Height: 0mm, 5mm, 10mm & 15mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI711 | Zimmer Natural Nail System | Femoral Nail Caps (Titanium) | Height: 0mm, 5mm, 10mm & 15mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI720 | Zimmer Natural Nail System | Tibial Nail Caps (Titanium) | Height: 0mm, 5mm, 10mm & 15mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI843 | EBI XFIX DynaFix System | Plate, VS Osteotomy Ti | 4 hole, 6 hole | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK609 | rHead Plating System | Comprehensive plating system: four plate designs; locking & non-locking screw options | Neck Plate: neck width - 15 or 18mm, plate width - 6mm, length - 23 or 29mm. Rim Plate: neck width 13.6 or 16.8mm, plate width 6mm, length 29.75 or 35.75mm. Bone Screws: diameter - 2.4 or 2.7mm; length - 8mm - 28mm. | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | HW450 | Fixos Screws, Snap-off, 2.7mm | Bone Fixation Screws, Snap-off, 2.7mm | 2.7mm diameter, 14 to 22mm (each 2mm) | 2019-07-01 | DELETE
Link Orthopaedics Australia | 06 - Specialist Orthopaedic | LO147 | Bone Cerclage Wire | Cerclage Wire | Length 470mm, Diameter sizes of 0.4mm, 0.5mm, 0.6mm, 0.7mm, 0.8mm. Packet size of 10 | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | HW526 | Memometal Anchor Fixation System | Anchors | 1-2mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV060 | Draw Tight Suture Anchors | Suture Anchor | 1.8mm | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | HW527 | Memometal Anchor Fixation System | Anchors | 3.6mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV037 | Parcus Series 3 Peek CF Suture Anchor | Knotless push in Anchor with 2 sutures and suture passer. | 3.5mm diameter | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV056 | Draw Tight Suture Anchors | Suture Anchor | 3.2mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV057 | Knotless PEEK CF Suture Anchors | Suture Anchor, PEEK CF | 2.8mm 3.5mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH117 | Allthread Knotless Suture Anchor | Knotless peek suture anchor, polymer | 4.5, 5.5 & 6.8mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH118 | Allthread Titanium Suture Anchor | Suture anchor, titanium with Maxbraid suture with and without needles. | 5.0 & 6.5mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH119 | Allthread Peek Suture Anchor | Suture anchor, peek polymer, with maxbraid suture and without needles | 5.5 &6.8mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV058 | Knotless PEEK CF Suture Anchors | Suture Anchor, PEEK CF | 4.5mm 5.5mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV074 | Parcus SLiK Knotless Suture Anchor | Knotless PEEK or PEEK CF screw in anchor | Diameter: 4.75mm; 5.5mm; 6.25mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV065 | Parcus GFS Ultimate | Suspension fixation device | Button width: 3.9mm Button length: 12mm – 16.5mm | 2019-07-01 | DELETE
RQSolutions Medical Devices Distribution Support | 06 - Specialist Orthopaedic | RQ080 | BAILOUT | A ligament anchor extender | One size | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV039 | Parcus PEEK CF Interface Screw | PEEK CF Interface Screw | 7,8,9mm x 20-35mm 10,11,12mm x 25-35mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV051 | GelOS™ | Gel based Synthetic bone substitute | 1cc, 2.5cc, 5cc | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZA056 | CelgenTek iN3 Bone Graft Substitute/Cement | CelgenTek iN3 Calcium Phosphate Bone Graft Substitute | 10 cc | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV052 | GelOS™ | Gel based Synthetic bone substitute | 10cc | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 06 - Specialist Orthopaedic | SV059 | GelOS | Gel based synthetic bone substitute | 15cc | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK468 | VITOSS Foam - Compression Resistant Synthetic Cancellous Bone Void Filler | Highly porous bone graft material made from beta-tricalcium phosphate (β-TCP) and Type I bovine collagen. | 10cc Foam strip (25x50x8) | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK470 | VITOSS Foam - Compression Resistant Synthetic Cancellous Bone Void Filler | Highly porous bone graft material made from beta-tricalcium phosphate (β-TCP) and Type I bovine collagen. | Small Cup 52mm Diameter | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 06 - Specialist Orthopaedic | SK471 | VITOSS Foam - Compression Resistant Synthetic Cancellous Bone Void Filler | Highly porous bone graft material made from beta-tricalcium phosphate (β-TCP) and Type I bovine collagen. | Large Cup 56mm Diameter | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 07 - Plastic and Reconstructive | HW428 | Sheet - Multi Channel, Barrier Channel. | Porus Polyethylene. Miniplate channel sheet, model 9529. Microplate channel sheet, model 9530. Barrier Miniplate and Microplate Channel Sheets, Models 9531 and 9532. | Miniplate channel: 40 x 52 x 2.3mm. Mircoplate channel: 40 x 52 x 2.3mm. Barier Miniplate and Microplate Channel Sheets: 40 x 52 x 2.3mm, 40 x 52 x 2.3mm | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 07 - Plastic and Reconstructive | HW509 | Stryker Leibinger Plating System | Universal Mandibular Locking Screws | 2.0 - 2.7mm diameter, 3 - 24mm length | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI415 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screw, 2 Pack, Endobrow, Lactosorb. PGA/PLA | 2 x 5mm | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI994 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA | 1.5mm dia | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI995 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA | 2.0mm dia | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI996 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screw Lactosorb,single screw (multiple screws per pack) PGA/PLA | 2.5mm dia | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 07 - Plastic and Reconstructive | HW439 | E-POR Biomaterial/ Burr Hole Cover, Porous Polyethylene | Burr Hole Cover, Porous Polyethylene | 15mm x 3mm x 5mm; 29mm x 7mm x 14mm | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ007 | HND Screws for OBL PSI System | Osteosynthesis screws for cranio-maxillo-facial patient specific implants | Width – 1.5mm-3mm Length 3.5mm-18mm | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ001 | OBL PorousiTi® Patient Specific Implant - Cranium | Patient specific implant for the cranium constructed of PourousTi® | The implant is custom made so the size is variable | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ002 | OBL PorousiTi® Cranial Patient Specific Implant – Two piece | Patient specific two piece implant for the cranium constructed of PourousTi® | The implant is custom made so the size is variable | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ004 | Surgical Guide for OBL PSI System - Cranium | Patient specific surgical guide for cranial implant | The device is custom made so sizes will vary | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 07 - Plastic and Reconstructive | HW413 | Genioplasty Wedge | Porus Polyethylene. Genioplasty wedges, models 8340 - 8343 | Small 60 x 25 x 5mm, medium 60 x 25 x 7.5mm, large 60 x 25 x 10mm | 2019-07-01 | DELETE
Stryker Australia Pty Ltd | 07 - Plastic and Reconstructive | HW414 | Prejowl Shape | Porus Polyethylene. Model 8319 | 45 x 41 x 4mm | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ025 | OBL PorousiTi Patient Specific Implant - Mandible | Patient specific implant for mandible constructed of PourousiTi | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ009 | Custom made plates (including Megaplates) | Patient specific plates for the mandible and maxilla | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ011 | SynpliciTi System - Plates | Patient specific plates for the mandible, maxilla and TMJ | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ005 | Surgical Guide for OBL PorousiTi® PSI System – Mandible & Maxilla | Patient specific surgical guide for mandible and maxilla | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ010 | Custom made plates (including Megaplates) – Surgical Guides | Surgical Guides for patient specific plates for the mandible and maxilla | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ012 | SynpliciTi System – Surgical Guides | Patient specific surgical guides for the mandible, maxilla and TMJ | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ026 | OBL PorousiTi Patient Specific Implant - Maxilla | Patient specific implant for maxilla constructed of PorousiTi | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ013 | SynpliciTi System – Surgical Guides | Surgical Guide for the zygoma | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ027 | SynpliciTi System - Plates | Patient specific plates for zygoma | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ003 | OBL PorousiTi® Patient Specific Implant – Orbital Floor | Patient specific implant for the orbital floor constructed of PourousTi® | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ006 | Surgical Guide for OBL PorousiTi® PSI System – Orbital Floor | Patient specific surgical guide for orbital floor implant | The model is custom made so size will vary | 2019-07-01 | DELETE
AA-Med Pty Ltd | 07 - Plastic and Reconstructive | ZZ008 | Anatomical Model for OBL PSI System | 3D anatomical biomodel | The model is custom made so size will vary | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH007 | Ankylos Permanent Abutments | Permanent Abutments | Diameter range: 3.3mm - 5.7mm, height range: 7.5mm - 11.1mm | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH003 | Astra Tech Implant System Healing Abutments | Healing Abutments | Implant Diameter: Range 3.0 - 5.4mm Healing Abutment Diameter Range from 3.5 - 6.5 | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH004 | Astra Tech Implant System Abutments | Temporary Abutment | Diameter range: 3.3 - 7.0mm | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH006 | Ankylos Temporary Abutments | Temporary and healing abutments | Diameter 3.3mm - 7mm | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH008 | XiVE and Friadent Abutments, Locators | Permanent Abutments | Diameter (mm): 3.0 – 5.5 Gingiva height (mm): 1 - 5 Angulation: 0 - 15 degrees | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH001 | Astra Tech Implant System Cover Screws | Cover Screw | Diameter range 3.0 - 5.4 | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH010 | XiVE, Friadent, Healing, Gingiva cover screws | Cover Screws | Diameter (mm): 3.0 - 6.5 Gingiva height (mm): 1 - 6 | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH002 | Astra Tech Implant System Fixtures Tx/EV | Titanium fixture with microthreaded cervical neck | Diameter 3.0 - 5.7mm, Length 6-17mm | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH005 | Ankylos C/X Implants | Screw implant with cover screw (included) and pre-mounted placement head | Diameter range 3.5 - 7.0 mm, Length 8-17mm | 2019-07-01 | DELETE
DENTSPLY IH Pty Ltd | 07 - Plastic and Reconstructive | DH009 | XiVE Implants | Dental implants, Endosseous | Diameter (mm): 3.0 - 5.5 Length (mm): 8 - 18 | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT154 | Volta 1 CT | Singe-shock coil ICD lead with passive fixation, and SilGlide technology | 65cm length | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT155 | VOLTA 2 CR | Fractal coated and steroid electrode, active fixation quadrapolar | 60, 65, 75cm length, 16, 18mm electrode spacing | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT157 | Volta 1CR | Single shock coil ICD lead with active fixation, fractal coating and steroid elution. Coated in SilGlide silicone based coating for improved gliding | Lengths: 60, 65 and 75 cm | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT158 | Volta 2 CT | Fractal coated and steriod electrode, active fixation, quadrapolar | Lengths: 65, 75 cm, Diameter: 7.8Fr | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT138 | TILDA T | Bipolar, passive fixation, steroid eluting pacing lead with fractal coating | 53, 60cm length | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT141 | TILDA JT | Bipolar, passive fixation, steroid eluting pacing lead with fractal coating and J-shape | Length 45, 53cm | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT139 | TILDA R | Bipolar active fixation lead with fractal coated and steroid eluting electrode | length 45, 53, 60cm | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT135 | CELERITY PILOT | Bipolar, steroid eluting coronary sinus pacing lead with fractal coating | Lengths: 77, 87cm (in model number as 75 and 85 for simplicity) | 2019-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT136 | CELERITY 2D, CELERITY 3D | Bipolar, steroid eluting coronary sinus pacing lead with fractal coating. 2D preshaped curved distal end; 3D - preshaped helix distal end | Lengths: 77, 87cm (model shows 75 and 85 for simplicity) | 2019-07-01 | DELETE
Boston Scientific Australia Pty Ltd | 08 - Cardiac | BS069 | Liberte Coronary Stent System | Consists of a balloon expandable stent, pre-mounted on a Maverick 2 Monorail delivery catheter. | Stent lengths: 8,12,16,20,24,28 & 32 mm Stent diameters: 2.25, 2.5, 2.75, 3.0, 3.5, 4.0, 4.5 & 5.0 mm | 2019-07-01 | DELETE
Boston Scientific Australia Pty Ltd | 08 - Cardiac | BS211 | OMEGA Bare Metal Stent | Platinum Chromium Bare Metal Stent | 2.25mm to 4.50mm Diameter. 8mm to 38mm Length. | 2019-07-01 | DELETE
Getz Healthcare Pty Ltd | 08 - Cardiac | ME196 | Figulla Flex II ASD Occluder | Occlutech Flexx II ASD Occlusion device | Figulla Flex II ASD Waist Ø (mm): Size 4,5,6,7.5,9,10.5,12,13.5,15,16.5,18,21,24,27,30,33,36,39,40 | 2019-07-01 | DELETE
Getz Healthcare Pty Ltd | 08 - Cardiac | ME197 | Figulla Flex II PFO Occluder | The Figulla® Flex II PFO is an implant for closure of a patent foramen ovale (PFO) defect in the heart and is deployed via a minimally invasive catheter delivery system. The Figulla® Flex PFO is intended for patients with substantiated Right-Left-Shunt in the contrast agent echocardiography under Valsalva maneuver and presence of a "cryptogenic", paradoxical thromboembolism. | Figulla Flex II PFO Disc Ø (mm): 23/25, 16/18, 27/30, 31/35 | 2019-07-01 | DELETE
Getz Healthcare Pty Ltd | 08 - Cardiac | ME228 | Patent Ductus Arteriosus | The Occlutech® PDA Occluder is an occlusion system, which is percutaneously implanted through a catheter intervention technique and intended for the non-surgical occlusion of Patent Ductus Arteriosus (PDA) | (PDA) with Standard Shank, D2 Ø 3.5mm, D3 Ø 5mm, D1 Ø 9mm, Length 4.25mm, Introducing System size 6FR; (PDA) with Standard Shank, D2 Ø 4mm, D3 Ø 6mm, D1 Ø 10mm, Length 5mm, Introducing system size 6FR; (PDA) with Standard Shank, D2 Ø 5mm, D3 Ø 7mm, D1 Ø 11mm, Length 6.05mm, Introducing system size 6FR; (PDA) with Standard Shank, D2 Ø 6mm, D3 Ø 8mm, D1 Ø 13mm, Length 6.30mm, Introducing system size 6FR; (PDA) with Standard Shank, D2 Ø 8mm, D3 Ø 10mm, D1 Ø 16mm, Length 7mm, Introducing system size 7FR; (PDA) with Standard Shank, D2 Ø 10mm, D3 Ø 12mm, D1 Ø 18mm, Length 12mm, Introducing system size 7FR; (PDA) with Standard Shank, D2 Ø 12mm, D3 Ø 15mm, D1 Ø 20mm, Length 14mm, Introducing system size 8FR; (PDA) with Standard Shank, D2 Ø 14mm, D3 Ø 18mm, D1 Ø 24mm, Length 16mm, Introducing system size 9FR; (PDA) with Long Shank, D2 Ø 3.5mm, D3 Ø 5mm, D1 Ø 9mm, Length 7mm, Introducing system size 6FR; (PDA) with Long Shank, D2 Ø 4mm, D3 Ø 6mm, D1 Ø 10mm, Length 7.5mm, Introducing system size 6FR; (PDA) with Long Shank, D2 Ø 5mm, D3 Ø 7mm, D1 Ø 11mm, Length 8.5mm, Introducing system size 6FR; (PDA) with Long Shank, D2 Ø 6mm, D3 Ø 8mm, D1 Ø 13mm, Length 9mm, Introducing system size 6FR; (PDA) with Long Shank, D2 Ø 8mm, D3 Ø 10mm, D1 Ø 16mm, Length 10.5mm, Introducing system size 7FR. | 2019-07-01 | DELETE
Advanced Biomedical Pty Ltd | 09 - Cardiothoracic | AB074 | FLEXIGRIP (Various Sizes) | Nitinol Sternal Closure Clips - various sizes | 20mm - 40mm | 2019-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC300 | Vital-Port | Standard, power-injectable single chamber titanium Port which may include micropuncture or standard introducer set | 7.5-9.5Fr pre-attached or detached catheter or valve system | 2019-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC093 | Cook Implantable Injection/Infusion Ports | Petite or Standard, single or multiple chamber Polysulfone Port which may include micropuncture or standard introducer set | 3 - 12 Fr pre-attached or detached catheter or valve system | 2019-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC115 | Cook Implantable Injection/Infusion Port | Mini, single or multiple chamber titanium Port which may include micropuncture introducer set | 3 - 12 Fr pre-attached or detached catheter or valve system | 2019-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC299 | Vital-Port | Mini, petite or standard, single chamber Titanium port which may include micropuncture or standard introducer set | 5-6.5Fr pre-attached catheter or valve system | 2019-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC164 | Cook Implantable Injection/Infusion Ports | Dual or Multiple Chamber Titanium Port which may include micropuncture or standard introducer set | 3 - 12 Fr pre-attached or detached catheter or valve system | 2019-07-01 | DELETE
Smith & Nephew Pty Ltd | 11 - Hip | SN010 | Basis Femoral Component | Hip stem, Cobalt Chromium Grit Blast | Length 115 - 135mm | 2019-07-01 | DELETE
Smith & Nephew Pty Ltd | 11 - Hip | SM037 | Fracture Head Unipolar Femoral Head | Stainless Steel or CoCr | 38-60 S/M | 2019-07-01 | DELETE
Smith & Nephew Pty Ltd | 11 - Hip | SM129 | POLAR CUP ACETABULAR Cementless Shell | Stainless steel with titanium plasma spray coating and pegs & flanges, that has polished inner surface for dual mobility with constrained UHMWPE liner/head | 43-67MM | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 11 - Hip | ZI045 | Longevity XLPE Acetabular liner | UHMPE modified | 46 - 70 | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 11 - Hip | ZI046 | Acetabular Cup | Longevity XLPE Polyethylene Liner 20 Degree | 38 - 80 | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 11 - Hip | ZI047 | Acetabular Cup | Longevity XLPE Polyethylene Liner 10 Degree | 36 - 80 | 2019-07-01 | DELETE
Zimmer Biomet Pty Ltd | 11 - Hip | ZI048 | Acetabular Cup | Longevity XLPE Polyethylene Liner 0 Degree | 36 - 80 | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO185 | Genus Uni Cemented Femoral Component | Genus Uni - unicompartmental Knee Femoral Component - Cemented | RM/LL and LM/RL Sizes 1-6 | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO180 | Genus Uni Cementless Co-Por Femoral Component | Genus Uni Cementless Femoral Component manufactured using CoPor - (CoCr powder manaufacturing) to provide a monolithic structure with three dimensional porous matrix at the bone interface which is then HA coated. | Sizes 1-6 RM/LL and LM/RL | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO183 | Genus Uni All Poly tibial Component | Genus Uni All Poly cemented Tibial Component | Sizes 1-6, RM/LL and LM/RL Heights 9-14mm | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO186 | Genus Uni Tibial Tray Cemented | Genus Uni Tibial Component Cemented is part of the Genus Uni Unicompartmental system. | Sizes 1-6 RM/LL and LM/RL | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO181 | Genus Uni Tibial Tray Cementless | Genus Uni Tibial Tray for cementless fixation using Ti-Por powder printed monolithic construct with HA Coating. | Sizes 1-6 RM/LL and LM/RL | 2019-07-01 | DELETE
Link Orthopaedics Australia | 12 - Knee | LO155 | LINK Endo Model M Modular knee Prosthesis System | Insert | Extra Small - Extra Large | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO182 | Genus Uni Tibial Insert | Genus Uni Tibial Insert for use with Genus Uni Tibial Tray | Heights 9-14, Size 1-6, RM/LL, LM/RL | 2019-07-01 | DELETE
Link Orthopaedics Australia | 12 - Knee | LO165 | LINK Endo Model M Modular Knee Prostheses System | Adaptor Coupling | Short, Long | 2019-07-01 | DELETE
Link Orthopaedics Australia | 12 - Knee | LO174 | Link Endo Rotational and Hinge Knee Prostheses | Hinge Component | Extra small - Extra large | 2019-07-01 | DELETE
Oceania Orthopaedics | 12 - Knee | OO184 | Genus Uni Tibial Screw | Bone Screws for use with the Genus Uni Tibia | 6.5mm 20-50mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER247 | Amendia Savannah-T Pedicle Screw System-Pedicle Screw, Monoaxial, Cannulated | Savannah-T Pedicle Screw System-Pedicle Screw, Monoaxial, Cannulated | dia (6.5-8.5mm) x length (30-65mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER250 | Amendia Savannah T Pedicle Screw System-Pedicle Screw, Monoaxial | Pedicle Screw System-Pedicle Screw, Monoaxial | dia (5.5-7.5 mm) x length (40-65 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER359 | Amendia ISSYS LP Spinal Fixation System-Pedicle Screw, Monoaxial | Amendia ISSYS LP Spinal Fixation System-Pedicle Screw, Monoaxial | dia (4.5-10 mm) x length (25-100 mm) | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV019 | AnyPlus Pedicle Screw System - Monoaxial Screws | The screws are not cannulated and are part of the AnyPlus Pedicle Screw System. A posterior pedicle screw fixation system intended to provide immobilization and stabilization of spinal vertebrae in the thoracic, lumbar and sacral regions. | Diameters 4.5mm to 8.5mm with length from 25mm to 70mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER249 | Amendia Savannah-T Pedicle Screw System-Polyaxial Pedicle Screw-Cannulated | Pedicle Screw System-Polyaxial Pedicle Screw-Cannulated, Low, Mid, High Top standard and Grip Quick Threads | dia (5.5-7.5 mm) x length (30-65 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER368 | Amendia Securis Screw System-Pedicle Screw | Amendia Securis Screw System-Pedicle Screw (Polyaxial, cannulated) | dia (5.5-8.5 mm) x length (30-80 mm) | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV018 | MIS Percutaneous Pedicle Screw System-Screws | The MIS Screw System-Screw is part of the MIS Percutaneous Pedicle Screw System, intended to provide immobilization and stabilization of spinal vertebrae in the thoracic, lumbar and sacral regions. The poly axial capability provides 20 degrees of freedom in any direction. | 5.0x2.5mm to 8.5 X100 mm and 10.6 x4.7 for the Set Screw | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER248 | Amendia Savannah-T Pedicle Screw System-Polyaxial Pedicle Screw | Savannah-T Pedicle Screw System-Polyaxial Pedicle Screw-Low, Medium, Hip Top with standard and Grip Quick Threads | dia (5.5-7.5 mm) x length (30-65 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER360 | Amendia ISSYS LP Spinal Fixation System-Pedicle Screw, Polyaxial | Amendia ISSYS LP Spinal Fixation System-Pedicle Screw, Polyaxial | dia (4.5-8.5 mm) x length (25-100 mm) | 2019-07-01 | DELETE
Health Care Surgical Pty Ltd | 13 - Spinal | HC008 | S14 Biospine Screw | Polyaxial Screw | 3.5-7mm, 25-50mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV017 | Sky Spinal Fixation System-Polyaxial Screw | The Poly axial screw is part of the Sky Spinal Fixation System, indicated for intrumentation of the occipital, posterior cervical and upper thoracic spine. | 3.5 x 8mm to 4.0 x 40mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV025 | AnyPlus Pedicle Screw System-Polyaxial Screws | The screws are not cannulated and are part of the AnyPlus Pedicle Screw Systems. A posterior pedicle screw fixation system intended to provide immobilization and stabilization of spinal vertebrae in the thoracic, lumbar and sacral regions. | Diameters 4.5mm to 7.5mm with length from 25mm to 70mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER261 | Amendia Spartan Transfacet Pedicle Screw System-Monoaxial Screw, Cannulated | Amendia Spartan Transfacet Pedicle Screw System-Monoaxial Screw, Cannulated | dia 4.3mm x length (20-35mm); dia 5.0 mm x length (20-55mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER265 | Amendia Diamond Anterior Cervical Plate System- Screws | Diamond Anterior Cervical Plate System- Screws (hex drive fixed or variable with Grip QuickTM Threads | dia 4.0/4.3 mm x length (12-20 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER373 | Amendia Regent Anterior Cervical Plate System-Screw | Amendia Regent Anterior Cervical Plate System-Screw (self tapping; fixed or variable) | dia (4-4.5 mm) x length (10-20 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER252 | Amendia Savannah T Pedicle Screw System-Set Screws | Pedicle Screw System-Set Screws | one size | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER367 | Amendia ISSYS LP Spinal Fixation System-Locking Screw | Amendia ISSYS LP Spinal Fixation System-Locking Screw (Blocker) | N/A | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER370 | Amendia Securis Screw System-Set Screw | Amendia Securis Screw System-Set Screw (Blocker) | One size | 2019-07-01 | DELETE
Health Care Surgical Pty Ltd | 13 - Spinal | HC009 | S14 Biospine Nut | Nut | One Size Only | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV031 | Set Screws | Set Screws form part of the following screw systems - MIS Screw System, Sky Screw, Sky Screw System and the AnyPlus Screw System | 2 item numbers - 1/ 10.6 mm x 4.7 mm, 2/ 7mm x 3.7 mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER362 | Amendia ISSYS LP Spinal Fixation System-Connector (axial) | Amendia ISSYS LP Spinal Fixation System-Connector (axial) | accommodates dia (5.5-6.35 mm) x length 35 mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV022 | Sky Spinal Fixation System-Connectors | The connectors are part of the Sky Spinal Fixation System, indicated for posterior intrumentation of the occipital, posterior cervical and upper thoracic spine. | 3.5 x 35mm to 3.5 x 63mm for the Axial connectors and 10 to 50 mm for the Lateral connectors | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV026 | AnyPlus Pedicle Screw System- Connectors | The connectors are part of the AnyPlus Screw Systems, intended to provide immobilzation and stabilization of spinal vertebrae in the thoracic, lumbar and sacral regions. | 16-29mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER253 | Amendia Savannah-T Pedicle Screw System-Connector (offset) | Savannah-T Pedicle Screw System-Connector (offset) | 44 x 6 x 16.7mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER363 | Amendia ISSYS LP Spinal Fixation System-Connector (offset) | Amendia ISSYS LP Spinal Fixation System-Connector, offset (short, long, "S" rod compatible) | accommodates dia (6; 6.35 mm) x length (20 mm; 35 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER364 | Amendia ISSYS LP Spinal Fixation System-Connector (transverse; rod to rod) | Amendia ISSYS LP Spinal Fixation System-Cross Connector (mono and polyaxial) | 17-26 mm (mono) 6mm;6.35 x (45-85 mm) (poly) | 2019-07-01 | DELETE
Health Care Surgical Pty Ltd | 13 - Spinal | HC010 | S14 Biospine Connector | Transverse Telescopic Connector | 30 - 75mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER254 | Amendia Savannah-T Pedicle Screw System-Connector Transverse (rod to rod), adjustable | Pedicle Screw System-Connector Transverse (rod to rod) | 65-70 mm;70-75 mm; 75-80 mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV023 | Sky Spinal Fixation System -Crosslink | Crosslink is part of the Sky Spinal Fixation System, indicated for posterior intrumetation of the occipital, posterior cervical and upper thoracic spine. | 3.5 x 30mm to 3.5 x70mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER264 | Amendia Diamond Anterior Cervical Plate System- Plate (large, greater than 55mm) | Diamond Anterior Cervical Plate System- Plate (large, greater than 55mm) | 56-92 mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER263 | Amendia Diamond Anterior Cervical Plate System- Plate | Amendia Diamond Anterior Cervical Plate System- Plate | 22-54 mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER372 | Amendia Regent Anterior Cervical Plate System-Plate (> 55 mm) | Amendia Regent Anterior Cervical Plate System-Plate (> 55 mm) | 58-84 mm, thickness 1.95 mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER371 | Amendia Regent Anterior Cervical Plate System-Plate | Amendia Regent Anterior Cervical Plate System-Plate | 12-55 mm; thickness 1.95 mm | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER251 | Amendia Savannah-T Pedicle Screw System-Rods | Pedicle Screw System-Rods, Straight and curved | dia 5.5 mm x length (30-500 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER361 | Amendia ISSYS LP Spinal Fixation System-Rods | Amendia ISSYS LP Spinal Fixation System-Rods (straight or pre-bent) | dia (5.5-6.35 mm) x length (40-600 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER369 | Amendia Securis Screw System-Rods | Amendia Securis Screw System-Rods (CoCr, straight or pre-bent) | dia 5.0 mm x length (35-240 mm) | 2019-07-01 | DELETE
Health Care Surgical Pty Ltd | 13 - Spinal | HC007 | S14 Biospine Rod | Rod | 40 - 150mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV020 | Sky Spinal Fixation System-Rod | The rod is part of the Sky Spinal System, indicated for posterior intrumentation of the occipital, posterior cervical and upper thoracic spine. | 3.3 x 40mm to 3.5 x 250mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV032 | MIS Percutaneous Pedicle Screw System - Rods | MIS Percutaneous Pedicle Screw System - Straight Rod | 5.5 x 100mm to 5.5 x 300mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV033 | MIS Percutaneous Pedicle Screw System - Rods | MIS Percutaneous Pedicle Screw System - Pre-bent Rods | 5.5 x 40mm to 5.5 x 300mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV034 | AnyPlus Pedicle Screw System - Straight Rods | AnyPlus Pedicle Screw System - Straight Rods | 40mm to 600mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV035 | AnyPlus Pedicle Screw System - Pre-bent Rods | AnyPlus Pedicle Screw System - Pre-bent Rods | 30mm to 200mm for the pre-bent rods | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER365 | Amendia ISSYS LP Spinal Fixation System-Washer | Amendia ISSYS LP Spinal Fixation System-Washer | one size | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER366 | Amendia ISSYS LP Spinal Fixation System-Staple | Amendia ISSYS LP Spinal Fixation System-Staple (rostral or caudal) | Small;medium;large | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER259 | Amendia Zeus Fusion Cages-Cervical | Zeus Fusion Cages-Cervical | width 14 mm x height (5-12 mmm) X lordosis (0-5 degrees) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER260 | Amendia Phenix Fusion Cages-Cervical | Amendia Phenix Fusion Cages-Cervical (straight and lordotic), PEEK | width (12-17 mm) x length (12-14 mm) x height (5-36 mm) x lordosis (0-10 degrees) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER308 | Amendia Pathway ACIF Fusion Cage | Amendia Pathway ACIF Fusion Cage | (5-12) mm, 0-7° | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV027 | AnyPlus ACIF PEEK Cage | The AnyPlus PEEK Cage System are designed for implantation between the endplates of adjacent vertebral bodies. It is intended to help fue segments of the spine to treat anatomical abnormalities of the vertebra. Their size and shape have been adapted to the intervertebral spaces and to the specified surgical techniques. They comprise one or more cavitites for bone grafts, as well as superior, inferior and lateral openings. The cages are available in different shapes and sizes. | Size (mm) - 12x14x5, 12x14x6,12x14x7, 12x14x8,12x14x9,14x14x5,14x14x6,14x14x7,14x14x8,14x14x9,13x15x5,13x15x6,13x15x7,13x15x8,13x15x9,12x17x5,12x17x6,12x17x6,12x17x7,12x17x8,12x17x9,13x17x5,13x17x6,13x17x7,13x17x8,13x17x9,14x17x5,14x17x6,14x17x7,14x17x8,14x17x9,15x17x5,15x17x6,15x17x7,15x17x7,15x17x8,15x17x9,14x19x5,14x19x6,14x19x7,14x19x8,14x19x9 | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER257 | Amendia Zeus Fusion Cages-PLIF | Amendia Zeus Fusion Cages-PLIF (paired), PEEK | width (9-13 mm) x length (22-30 mm) x height (7-18 mm) x lordosis (0-8 degrees) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER307 | Amendia Pathway PLIF Fusion Cage | Amendia Pathway PLIF Fusion Cage (paired) | 23mm x 10mm x (7-14) mm, 0-6° | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV029 | AnyPlus PLIF PEEK Cage | The AnyPlus PEEK Cage system are designed for implantation between the endplates of adjacent vertebral bodies. It is intended to help fuse segments of the spine to treat anatomical abnormalities of the vertebrate. Their size and shape have been adapted to the intervertebral space and to the specified surgical techniques. They comprise one or more cavities for bone grafts, as well as superior, inferior and lateral openings. The cages are available in different shapes and sizes | Size mm 25x11x8-0,25x11x9-0,25x11x10-0,25x11x11-0,25x11x12-0,25x11x13-0,25x11x14-0,25x11x15-0,25x11x9-4,25x11x10-4,25x11x11-4,25x11x12-4,25x11x13-4,25x11x14-4,24x11x15-4,25x11x16-4,25x11x10-8,25x11x11-8,25x11x12-8,25x11x13-8,25x11x13-8,25x11x14-8,25x11x15-8,25x11x16-8,28x11x8-0,28x11x9-0,28x11x10-0,28x11x11-0,28x11x12-0,28x11x13-0,28x11x14-0,28x11x14-0,28x11x15-0,28x11x9-4,28x11x10-4,28x11x11-4,28x11x12-4,28x11x13-4,28x11x14-4,28x11x15-4,28x11x16-4,28x11x10-8,28x11x11-8,28x11x12-8,28x11x13-8,28x11x14-8,28x11x15-8,28x11x16-8 | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER255 | Amendia Zeus Fusion Cages-TLIF | Zeus Fusion Cages-TLIF, PEEK (straight-versatile/curved/bullet nosed) | width (9-13 mm) x length (20-36 mm) x height (7-16 mm) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER256 | Amendia Zeus Fusion Cages-ALIF | Amendia Zeus Fusion Cages-ALIF, PEEK | width (34-42 mm) x length (24-27 mm) x height (8-22 mm) x lordosis (0-13 degrees) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER258 | Amendia Zeus Fusion Cages-Lateral (LLIF) | Zeus Fusion Cages-Lateral (LLIF)-straight/lordotic/oblique | width (9-25 mm) x length (24-60 mm) x height (8-18 mm) x lordosis (0-28 degrees) | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER306 | Amendia Pathway TLIF Fusion Cage | Pathway TLIF | 28mm x 10 mm x (7-14) mm | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV028 | AnyPlus ALIF PEEK Cage | The AnyPlus PEEK Cage System are designed for implantation between the endplates of adjacent vertebral bodies. It is intended to help fuse segments of the spine to treat anatomical abnormalities of the vertebrate. Their size and shape have been adapted to the invertebral spaces and to the specified surgical techniques. They comprise one or more cavities for bone grafts, as well as superior, inferior and lateral openings. The cages are available in different shapes and sizes | Size in mm 23x31x10-4, 23x31x11-4,23x31x12-4,23x31x13-4,23x31x14-4,23x31x15-4,23x31x16-4,23x31x10-8,23x31x11-8,23x31x12-8,23x31x13-8,23x31x14-8,23x31x15-8,23x31x16-8,27x31x10-4,27x31x11-4,27x31x12-4,27x31x13-4,27x31x14-4,27x31x15-4,27x31x16-4,27x31x10-8,27x31x11-8,27x31x12-8,27x31x13-8,27x31x14-8,27x31x15-8,27x31x16-8 | 2019-07-01 | DELETE
Signature Spine and Joint Pty Ltd | 13 - Spinal | SV030 | AnyPlus TLIF PEEK Cage | The AnyPlus PEEK Cage system are designed for implantation between the endplates of adjacent vertebral bodies. It is intended to help fuse segments of the spine to treat anatomical abnormalities of the vertebrate. Their size and shape have been adapted to the intervertebral space and to the specified surgical techniques. They comprise one or more cavities for bone grafts, as well as superior, inferior and lateral openings. The cages are available in different shapes and sizes | Size mm 9x28x7,9x28x8,9x28x9,9x28x10,9x28x11,9x28x12,9x28x13,9x28x14,9x28x15,9x28x15,9x28x16 | 2019-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER262 | Amendia Samson Corpectomy Vertebral Body Replacement System | Amendia Samson Corpectomy Vertebral Body Replacement System | dia 13.5x height (14-48 mm) | 2019-07-01 | DELETE
Johnson & Johnson Medical Pty Ltd | 07 - Plastic and Reconstructive | MN028 | Mentor Spectra Adjustable Gel Breast Implants | Smooth Round Spectra Adjustable Gel Implant | 190cc-760cc | 2019-07-01 | DELETE
Johnson & Johnson Medical Pty Ltd | 07 - Plastic and Reconstructive | MN029 | Mentor Spectra Adjustable Gel Breast Implants | Textured Round Spectra Adjustable Gel Implant | 190cc - 760cc | 2019-07-01 | DELETE
Johnson & Johnson Medical Pty Ltd | 07 - Plastic and Reconstructive | MN128 | Mentor Perthese Sensitive Gel Breast Implants | Perthese Sensitive Textured, Round Implants | <500cc | 2019-07-01 | DELETE
Johnson & Johnson Medical Pty Ltd | 07 - Plastic and Reconstructive | MN129 | Mentor Perthese Sensitive Gel Breast Implants | Perthese Sensitive Textured, Round Implants | ≥500cc | 2019-07-01 | DELETE