## Prostheses List Deletions
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ006 | EVO Visian ICL VTICMO | Posterior chamber Intraocular lens Phakic, Model V4c (VTICMO) | Length(mm)12.1 to 13.7. Dioptre -0.25 to -18.0D , 0 to 6D astigmatism | 2021-07-01 | DELETE
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ007 | EVO Visian ICL VICMO | Posterior chamber Intraocular lens Phakic, Model V4c (VICMO) | Length (mm) 12.1 to 13.7. Dioptre -0.25 to -18.0D | 2021-07-01 | DELETE
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ002 | Preloaded Aspheric Intraocular Lens | Silicone intraocular lens | 6.0mm | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS036 | BiFlex 877PA Preloaded Hydrophobic Acrylic Foldable Aspheric Monofocal Lens without Blue Light Filter | Posterior Chamber IOL, special 360° sharp edge, Aspheric Aberration Balanced | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: -0.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS043 | Basis Z Preloaded Hydrophylic IOL | Hydrophylic preloaded IOL | 6mm Optic Diameter and 13mm Length | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS034 | BiFlex Preloaded 877PAY Hydrophobic Acrylic Foldable Aspheric Monofocal Lens with Blue light Filter | Posterior Chamber IOL, special 360° sharp edge, Aspheric - Aberration Balanced | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: -0.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 -+25.0 D ±0.25 D increment: 0.5 D +25.5- +30.0 D ±0.5 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1 | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS044 | Basis Z Preloaded Hydrophobic IOL | Hydrophobic preloaded IOLs | 6mm Optic Diameter and 13mm Length | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS024 | Medicontur BiFlex 677TA Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +1.5 D - +7.0 D increment: 0.75 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS022 | Medicontur BiFlex 677TAY Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +1.5 D - +7.0 D increment: 0.75 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS048 | Basis Z Hydrophilic Toric | Foldable hydrophilic toric intraocular lens | Available in spherical diopter powers from -10.0D to +35.0D in 0.5D steps from +10.0D to +30.0D and then 1.0D steps in the ranges of -10.0D to 9.0D and +31.0D to +35.0D. Cylinder Power range is 1.5-6.0D in 0.75D steps. | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS025 | Medicontur BiFlex 677TA Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +7.0 D - +9.0 D increment: 0.75 D +9.0 D - +10.0 D increment: 1.0 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS023 | Medicontur BiFlex 677TAY Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D +31.0 - +35.0 D ±0.5 D increment: 1.0 D Cylinders available: +7.0 D - +9.0 D increment: 0.75 D +9.0 D - +10.0 D increment: 1.0 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS030 | Medicontur BiFlex 677TBY Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: +5.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D Cylinders available: +10.0 D - +24.0 D ±0.5 D increment: 1.0 D | 2021-07-01 | DELETE
Alcon Laboratories (Aust.) Pty Ltd | 01 - Ophthalmic | AL048 | AcrySof IQ Vivity Extended Vision Intraocular Lens | Vivity Model DAT015 is an extended vision, non-diffractive, UV-absorbing, single-piece, foldable, hydrophobic, posterior chamber intraocular lens | +15.0 to +25.0 diopters | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS045 | Basis Z Progressive IOL | Progressive Hydrophilic IOL | Optic Diameter: 6mm Length: 13mm | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS020 | Medicontur BiFlex Preloaded 677PMY Hydrophilic Acrylic Foldable Multifocal Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: -10.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D +31.0- +45.0 D ±0. D increment: 1.0 D | 2021-07-01 | DELETE
Alcon Laboratories (Aust.) Pty Ltd | 01 - Ophthalmic | AL047 | AcrySof IQ Vivity Toric Extended Vision Intraocular Lens | Vivity Toric Models DAT215, DAT315, DAT415, DAT515 and DAT615 are an extended vision, non-diffractive, UV-absorbing, single-piece, foldable, hydrophobic, posterior chamber intraocular lens | +10.0 to +30.0 diopters; Cylinder:1.00 to 3.75 diopters | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS037 | 677MTY | BiFlex Single-Piece Aspheric Hydrophilic Progressive Diffractive Toric IOL with Blue filter and 360' Special Square Edge for implantation into capsular bag | Optic diameter: 6.0 mm ±0.05 mm, Overall diameter: 13.0 mm ±0.10 mm Powers available: -10.0 - +30.0 D ±0.25 D increment: 0.5 D Cylinders available: +1.0 D - +4.5 D increment: 0.5 D +5.25D - +6.0 D increment: 0.75 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS047 | Basis Z Hydrophilic Toric Progressive IOL | One piece foldable hydrophilic progressive toric intraoccular lens | Available in spherical diopter powers from +10D to 35D in 0.5 steps Cylindrical powers range from 1.0-6.0D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS019 | Medicontur BiFlex 677MY Hydrophilic Acrylic Foldable Multifocal Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: -10.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D +31.0- +45.0 D ±0. D increment: 1.0 D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS046 | AddOn SML | Add-on hydrophilic lens for macular degeneration | Central Optic Diameter - 1.5mm Optic Diameter - 6mm Length - 13mm | 2021-07-01 | DELETE
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ004 | EVO Visian ICL VTICMO | Posterior chamber Intraocular lens Pseudophakic, Model V4c (VTICMO) | Length(mm)12.1 to 13.7. Dioptre -0.25—18.0D, 0—6D astigmatism | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS041 | AddOn Toric | Add on hydrophilic toric lens | Optic Diameter: 6mm Length:13mm | 2021-07-01 | DELETE
ELLEX MEDICAL PTY LTD | 01 - Ophthalmic | EJ005 | EVO Visian ICL VICMO | Posterior chamber Intraocular lens Pseudophakic, Model V4c (VICMO) | Length(mm)12.1 to 13.7. Dioptre -0.25—18.0D | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS039 | AddOn Spherical | Add on hydrophilic spherical intraocular lens | Optic Diameter: 6mm Length: 13mm | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS049 | 1stQ addon progressive toric lens | One piece, foldable intraocular lens (IOL), biocompatible hydrophilic acrylic (25% water content), as additional IOL in combination with a Basis IOL. Fixation is in the sulcus. | -3.0D to +3.0D spherical equivalent in 0.5D steps and +1.0D to +4.5D cylindrical in 0.5D steps and +3.0D add | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS038 | Scharioth Macula Lens | Add-on hydrophilic lens for maculopathies such as macula degeneration | Central Optic Diameter - 1.5mm Optic Diameter - 6mm Length - 13mm | 2021-07-01 | DELETE
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS040 | AddOn Progressive | Add on hydrophillic progressive lens | Optic Diameter: 6mm Length 13mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE183 | Lid Load Gold Eyelid Weights; | Gold | 0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE182 | Lid Load Gold Eyelid Weights; | Gold | 1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams | 2021-07-01 | DELETE
Advanced Bionics Australia Pty Ltd | 02 - Ear, Nose & Throat | BD024 | HiRes Ultra Cochlear Implant with the HiFocus Mid-Scala Electrode | The HiRes Ultra Cochlear Implant with HiFocus Mid-Scala Electrode is the implanted component of the HiResolution Bionic Ear System. It receives information through an RF transmission coil, processes the information and then sends the resulting signal to an electrode array implanted in the cochlear. It consists of receiving/transmitting coil, Stimulator electrodes and HiFocus Mid-Scala Electrode array | 56.2 x 28.5 x 4.5 | 2021-07-01 | DELETE
Advanced Bionics Australia Pty Ltd | 02 - Ear, Nose & Throat | BD026 | HiRes Ultra Cochlear Implant with HiFocus Slim-J Electrode | The HiRes Ultra Cochlear Implant with HiFocus Slim-J Electrode is the implanted component of the HiResolution Bionic Ear System. It receives information through an RF transmission coil, processes the information and then sends the resulting signal to an electrode array implanted in the cochlear. It consists of receiving/transmitting coil, Stimulator electrodes and HiFocus Slim-J Electrode array | 56.2 x 28.5 x 4.5 | 2021-07-01 | DELETE
Med-El Implant Systems Australasia Pty Ltd | 02 - Ear, Nose & Throat | US008 | Mi1000 CONCERTO/ Mi1000 CONCERTO PIN | Ultra small minimally invasive titanium cochlear implant with six atraumatic electrode options. Includes sequential and parallel stimulation, comprehensive diagnostic toolkit and safety features such as unique implant ID and output capacitors for each channel | Stimulator Housing: L 17.3 mm, W 25.4 mm, Thin 4.5 mm (Weight 7.6g) Electrode: Standard (26.4 mm), FLEXsoft (26.4 mm), FLEX28 (23.1mm), FLEX26 (20.9mm), FLEX24 (20.9mm), Medium (20.9mm), FLEX20 (15.4mm), Compressed (12.1mm), FORM24 (18.7mm), FORM19 (14.3mm) | 2021-07-01 | DELETE
Med-El Implant Systems Australasia Pty Ltd | 02 - Ear, Nose & Throat | US001 | Bonebridge- Bone Conduction Implant Kit | Active bone conduction implant consisting of magnet, receiver coil, electronics package (demodulator), bendable transition to FMT, floating mass transducer | 28.6 (w) x 69 (l) x 8.7 (h) mm | 2021-07-01 | DELETE
Med-El Implant Systems Australasia Pty Ltd | 02 - Ear, Nose & Throat | US011 | Bonebridge BCI Lifts | Implanted together with the Bonebridge BCI, the BCI Lifts attach to the wings of the Bonebridge BCI to elevate the transducer | 1mm, 2mm, 3mm, 4mm | 2021-07-01 | DELETE
Med-El Implant Systems Australasia Pty Ltd | 02 - Ear, Nose & Throat | US003 | Bonebridge - Cortical screws (Bonebridge Surgical Tool Kit) | Titanium cortex screws have a length of 6mm and are self-tapping, providing fixation of the BCI implant to the bone through osseo-integration | 6mm (length) x 2 - 2.4mm (outer edge) | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM029 | Reach Endo III Linear Cutter Stapler Reloads | Endoscopic Linear Cutter Reload Unit, Single Use | 2mm, 2.5mm, 3.5mm, 3.8mm, 4.1mm, 4.4mm (45mm, 60mm) | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM031 | Reach Linear Cutter Stapler Reloads | Linear Cutter Stapler Reloads, Single Use | 60-2.5mm, 60-3.8mm, 60-4.8mm, 80-3.8mm, 80-4.8mm | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM030 | Reach Endo III Linear Cutter Stapler | Endoscopic Linear Cutter Stapler, Articulating or Roticulating, Reloadable, Single Use | 45m, 60mm | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM026 | Reach Prolapse & Haemorrhoid Stapler | Prolapse & Haemorrhoid Stapler | Anvil 33mm, Shaft 63mm | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM027 | Reach Circular Stapler | Intraluminal Circular Stapler | 25mm, 28mm, 31mm, 34mm | 2021-07-01 | DELETE
EMT Healthcare Pty Ltd | 03 - General Miscellaneous | EM028 | Reach Linear Cutter Stapler | Linear Cutter Stapler, Single Use, Reloadable | 60-2.5mm, 60-3.8mm, 60-4.8mm, 80-3.8mm, 80-4.8mm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WA010 | Biodesign Rectopexy Graft | The Biodesign Rectopexy Graft is a dried multi-layered small intestinal submucosa (SIS) sheet. The graft is used to reinforce soft tissue for the repair of rectal prolapse and rectal intussusception. | 7cm x 20cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC177 | Biodesign Tissue Graft | Surgical Mesh composed of Sub-Intestinal Submucosa (SIS) | Length - 10cm, Width - 7cm; Length - 7cm, Width - 4cm; Length - 3cm, Width - 2cm. | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC242 | Biodesign Surgisis Hernia Graft | Biodesign Hernia Graft is 8-layer perforated and quilted porcine sis collagen matrix, non cross-linked, remodelable and resorbable tissue graft | 13cm x 15cm, 10cm x 10cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC255 | Surgisis Biodesign 4-layer Tissue Graft | Surgisis Soft Tissue Graft | Length 20cm, Width 7cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC284 | Surgisis Biodesign Hiatal Hernia Graft | Surgisis Biodesign Hiatal Hernia Graft is an extracellular collagen matrix, non cross-linked sterile graft material, that provides support for damaged tissues and assists in host tissue regeneration and remodelling of the diaphragmatic wall following surgical repair for paraoesophageal and hiatal hernia. | 7 x 10cm rectangular and U-shaped | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC336 | Biodesign ENT Surgical Reinforcement Graft | Surgical reinforcement graft that is intended for implantation to reinforce soft tissue in the head and neck. | 2 x 3cm 4 x 7cm 7 x 10cm 7 x 20cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC247 | Biodesign Surgisis 8-Layer Tissue Graft | Biodesign Surgisis 8-layer Tissue Graft is 8 layers of compressed and perforated porcine sis collagen matrix, non cross-linked, remodelable and resorbable tissue graft | 13cm x 22cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC249 | Biodesign Surgisis Hernia Graft | Biodesign Hernia Graft is 8-layer perforated and quilted porcine sis collagen matrix, non cross-linked, remodelable and resorbable tissue graft | 13cm x 22cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC250 | Biodesign Surgisis Hernia Graft | Biodesign Hernia Graft is 8-layer perforated and quilted porcine sis collagen matrix, non cross-linked, remodelable and resorbable tissue graft | 20cm x 20cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC251 | Biodesign Surgisis Hernia Graft | Biodesign Hernia Graft is 8-layer perforated and quilted porcine sis collagen matrix, non cross-linked, remodelable and resorbable tissue graft | 20cm x 30cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC243 | Surgisis Biodesign Anal Fistula Plug | Surgisis Biodesign Anal Fistula Plug is a small intestine submucosal porcine derived, rolled and shaped collagen matrix, non cross-linked, that signals the body and provides support for native tissue remodeling, healing and closure of anal fistulas | 0.6cm Width Tapering to 0.2cm Width x 9.5cm Length. Conical Shape | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC245 | Surgisis Biodesign Recto-Vaginal Fistula Plug | Small intestine submucous porcine collagen matrix, non-crosslinked, supports native tissue remodelling, healing and closure of recto-vaginal fistulas. Conical shape with attached button. | 2mm width x 5.5cm length; 4mm wide tapering to 2mm wide x 5.5cm length; 7mm wide tapering to 2mm wide x 5.5 length. | 2021-07-01 | DELETE
Lifehealthcare Pty Ltd | 04 - Neurosurgical | LH499 | Sequent VIA Microcatheter | A sterile single lumen device with one distal tip marker | Lengths: 133-161cm Diameters: 0.53-0.84mm; 0.91-1.27mm; 0.84-1.14mm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 05 - Urogenital | WC169 | Universa Firm | Universa Firm Multi-length stent set | Multiple French Sizes and Lengths | 2021-07-01 | DELETE
MatOrtho Australia Pty Ltd | 06 - Specialist Orthopaedic | MJ016 | Box Ankle | Meniscal Insert, UHMWPE | Small 5-8mm, Medium 5-8mm and Large 5-8mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR260 | CCI Evolution | CCI Evolution Bearing Component | Std/Std+/Large, 4-10mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR001 | BioArch Subtalar Arthroereisis Implant | Conical, tapered, titanium implant with blunt thread design. | 8, 9, 10, 11, 12mm | 2021-07-01 | DELETE
MatOrtho Australia Pty Ltd | 06 - Specialist Orthopaedic | MJ017 | Box Ankle | Talar Component CoChr. Cementless | Small, Medium and Large | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR259 | CCI Evolution | CCI Evolution Talar Component | Std/Std+/Large | 2021-07-01 | DELETE
MatOrtho Australia Pty Ltd | 06 - Specialist Orthopaedic | MJ018 | Box Ankle | Tibial Component CoChr. Cementless | Small, Medium and Large | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR261 | CCI Evolution | CCI Evolution Tibial Component | Std/Std+/Lge/Lge+ | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR045 | Wright Titanium Great Toe | Great toe titanium | 0,1, 2, 3, 4 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR047 | LPT Great Toe Implant | Titanium LPT Metatarsal Component available in Regular and Angled Toe | Sizes 1, 2 & 3 Regular Great Toe Implants. Sizes 1 & 2 Angled Great Toe Implants | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR044 | WMT Orthopaedics Implants Hinge Toe and Hammertoe Implant | Silastic flexible hinge toe with/without grommets | 0, 1, 2, 3, 4, 5, 6, 7 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR390 | Stayfuse | Titanium inter-digital fusion device | Prox 2.8mm Blue; Mid 3.8mm x 6mm Blue; Mid 4.3mm x 6mm Blue; Prox 3.3mm Grey; Prox 3.8mm Grey; Mid 3.8 x 6mm Grey; Mid 4.3 x 6mm Grey; Mid 5.0 x 5mm Grey; Mid 5.0 x 6mm Grey; Prox 6.5mm Gold; Distal 5.5 x 10mm Gold; Distal 6.5 x 10mm Gold | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR041 | Orthosphere | The Orthosphere is a spherical interpositional implant that may be used in both the carpometacarpal joint and tarsometatarsal joint as a spherical interpositional device. It is used to replace the sympotmatic joint - either between the trapezium and firs | 9mm - 14mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR027 | E-Centrix Ulnar Head Replacement | Ulnar Stem | 5.5 STD, 6.5 STD, 7.5 STD, 8.5 STD | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR028 | E-Centrix Ulnar Head Replacement | Ulnar Stem Extender | 20mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR026 | E-Centrix Ulnar Head Replacement | Ulnar Head | 16 x 1.5mm Offset, 16 x 3.0mm Offset, 18 x 1.5mm Offset, 20 x 1.5Offset, 20 x 3.0mm Offset | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR053 | WMT Orthopaedic Implants Hand | Silastic tendon spacer | 24in long, 3, 4, 5, 6mm wide | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR043 | Wright Swanson Titanium Carpal Scaphoid, Carpal Lunate, Basal Thumb Implant | The Swanson Basal Thumb implant is a one-piece intramedullary-stemmed implant designed to be used as an adjunct to resection arthroplasty of the trapeziometacarpal joint. It acts as a spacer to preserve joint relationship and allow appropriate capsulolig | 1 to 5 - length 19.3 to 26.3mm, width 9.5 to 13.6mm | 2021-07-01 | DELETE
MatOrtho Australia Pty Ltd | 06 - Specialist Orthopaedic | MJ024 | TMPR Metacarpal | CoCr Proximal Component | 9.5mm to 17mm (4 sizes) | 2021-07-01 | DELETE
MatOrtho Australia Pty Ltd | 06 - Specialist Orthopaedic | MJ025 | TMPR Phalanx and MC Plug | UHMWPE Distal Component | 9.5mm to 17mm - Small and Standard | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR046 | WMT Orthopaedic Implants Finger/Thumb | Silastic finger joint with/without Ti grommets 470 series | 00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR042 | WMT Orthopaedic Implants Hand | The Swanson Trapezium Implant is a flexible, one-piece intramedullary-stemmed implant developed to restore function to thumbs disabled by degenerative arthritis or post-traumatic arthritis. | 1, 2, 3, 4, 5 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR351 | Latitude Elbow Prosthesis | Latitude Humeral Stem component, CoCr | Small, Medium, Large for both left and right | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR353 | Latitude Elbow Prosthesis | Latitude Ulnar Stem CoCr + UMHWPE | Small , Medium, Large Left and Right specific for both long and short stem option | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR022 | Evolve Modular Radial Head | Cobalt chromium alloy, standard and plus stems | Stem 4.5 - 9.5mm Standard, +2 & +4mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR023 | WMT Orthopaedic Implants Radial/Ulna Head | Radial head implant HP silastic | 1, 1.5, 2, 2.5, 3 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR024 | WMT Orthopaedic Implants Radial/Ulna Head | Radial head titanium | 1, 1.5, 2, 2.5, 3 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR025 | Evolve Modular Radial Head | Cobalt chromium alloy head | Head 18-28mm Std, +2 and +4mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE173 | Univers Fracture Prostheses | Shaft | 8-13mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR331 | Aequalis Primary Shoulder Prostheses | Aequalis Primary stem, Ti Ta | 6.5-15mm - 1mm increm wide, 66-167mm long | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE256 | Eclipse Humeral Head Prosthesis | Eclipse Humeral Head Prosthesis Trunnion | 41 - 53mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE258 | Eclipse Humeral Head Prosthesis | Eclipse Humeral Head Prosthesis Cage Screw | Small - X-Large | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE174 | Univers Fracture Prostheses | Metal head | 43/15 - 51/22 | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE257 | Eclipse Humeral Head Prosthesis | Eclipse Humeral Head Prosthesis Head | 39/16 - 55/23 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR363 | Ascend Shoulder, Humeral Component | Anatomic humeral heads, low and high offset, CoCr | Low offset: 9 diameters from 38mm to 54mm, 8 thicknesses from 15mm to 21mm, offset 1.5mm High offset: 9 diameters from 38mm to 54mm, 8 thicknesses from 15mm to 21mm, offset 3.5mm to 4mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE172 | Univers Glenoid Shoulder Prostheses | Cemented glenoid | Small, Medium, Large, Extra-Large | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR336 | Aequalis Pegged Glenoid USA | Pegged Glenoid Polyethylene (UHMWPE) | Small, Medium, Large, Extra Large | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR428 | Aequalis Primary Shoulder Prostheses - Keeled Glenoid | UHMWPE Keeled Glenoid Component | Small (31.5mm), meduim (34mm), large (36mm) , extra large (38.5mm) | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR029 | Micronail intramedullary radial fixation | Titanium, Distal radial nail | 1, 2, 3, 4 and XL | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR067 | Displacement Plate - DPS | Unique steep plate design allows for controlled fixation of displacement calcaneal osteotomies. 3 step variations allows for accurate corrections. 3.5mm Titanium locking plate | 6, 8 & 10mm step, 4 hole | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR276 | Elix (plate) | PEEK HTO plate | 4 Hole, right and left plate. | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR050 | Charlotte MTP Fusion System | MTP plate, stainless steel | Left & Right extended,9 holes | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR049 | Charlotte MTP Fusion System | MTP plate, stainless steel | Left & Right small & standard, 6 holes | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR057 | Lapidus Plate | Titanium locking plate with unique stepped displacement in 1mm increments permits accurate plantarisation and lateralisation in midfoot fusions. | 3.5mm: neutral, 1-6mm step | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR066 | Arthrodesis Flat Plate - AFP | Flat plate intended for use in isolated tarsal fusions, titanium locking plate, 2mm thickness | 12, 14 & 16mm length - 4 hole | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR409 | 'Nexfix MTP Fusion System | A bendable stainless steel bone plate and screw system with unique low profile locking screw option. Indicated for use in primary and revision MTP fusion | 6 hole | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR064 | MPJ Fusion Plate | Titanium locking plate with built-in 1- degree valgus angle for anatomic fixation of 1st MTP joint | Small, Medium & Revision, Left & Right, 0, 5 & 10 degree | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR410 | 'Nexfix MTP Fusion System | A bendable stainless steel bone plate and screw system with unique low profile locking screw option. Indicated for use in primary and revision MTP fusion | 9 hole | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR289 | BioTech Xpode 4 | PEEK curved and round plate | 14mm-22mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR379 | MaxLock Extreme System - Small Plates > 6 holes | Small variable angle locking plates, Titanium, > 6 holes | > 6 holes | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE215 | Titanium Metatarsal Opening Wedge Osteotomy Plate | Titanium Metatarsal Opening Wedge Osteotomy Plate with 4 non locking holes and square wedge | 2mm - 8mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR277 | Fyxis plate | Foot plate | 40-55mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR235 | Ortholoc Fracture System - Plates | Straight, T, L Plates | 3, 4, and 6 hole | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR278 | Biotech Easy Lock Osteosystem | Titanium and PEEK | 2-10 holes straight | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR268 | Locking Plate | Titanium locking plates anatomically contoured for forefoot and midfoot osteotomies. | 2.7mm & 3.5mm, neutral, 1mm, 2mm, 3mm, 4mm, 5mm, 6mm, 7mm, 7-9 holes | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR270 | Locking Plate | Titanium locking plates anatomically contoured for forefoot and midfoot osteotomies. | 2.7mm & 3.5mm, neutral, 1mm, 2mm, 3mm, 4mm, 5mm, 6mm, 7mm, 7-9 holes | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR370 | MaxLock Extreme System - DRLock Extreme Distal Radius Plate | Distal radius variable angle locking plate, Titanium | Short, Short Narrow, Standard, Standard Narrow, Right and Left | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR417 | WAVE Calcaneal Fracture System PLATE | The WAVE Calcaneal Fracture System is a low profile, anatomical plate and screw system designed for the minimally invasive fixation of calcaneal fractures. The plate and associated locking and non-locking screws facilitate the reconstruction of the height and width of the calcaneus, and the remodelling of the lateral calcaneal wall. The WAVE calcaneal Fracture System Plate has 7 screw holes (6 are threaded) and the plates are 2 - 3mm thick and are available in 3 sizes. The WAVE Calcaneal Fracture System Plate also has two bending zones for a customised anatomical fit | Plates: Large Plates (Left or Right): Length = 71mm Width = 10-11mm Medium Plates (Left or Right): Length = 67mm Width = 10-11mm Small Plates: (Left or Right): Length = 63mm Width = 10-11mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR052 | Charlotte MTP Fusion System | MTP plate, stainless steel, SLIM LINE | Left & right | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR065 | Rearfoot Plate - RPS | Unique extended plate geometry for plating complex rearfoot reconstructions, uses 3.5mm locked screws for optimal bone purchase. | 6 hole - 37mm, 8 hole - 50mm, 14 hole - 66mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR280 | Fyxis plate screw | Foot Plate Screw | 9-55 mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR033 | Cannulated Screw | Multi use compression screw, cannulated, stainless steel or titanium | 6.5mm& 7.0mm dia, 40-110mm lengths in 5mm increments | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR288 | TriMed Compression Screws | Compression Screws | 4.5-7.5mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE367 | Cancellous Bone Screws | Cancellous Bone Screws | 25-50mm x 6.5mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR036 | Charlotte Carolina Jones Fracture System | Low profile, solid-core, surgical grade stainless steel screw, partially threatded with thread length varying anthropometrically relative to overall screw length, utilising specialised instruments for IM placement in the 5th metatarsal | 4.5mm, 4.5mm, 6.5mm, 40mm-70mm overall screw lengths | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR068 | Cannulated Screw | Titanium cannulated screw intended for use in conjunction with a plate for fixation of midfoot fusion | 3.5mm diameter x 34, 36 & 38mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR283 | EOS Footset-Antares | Footscrew | 12-34mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR415 | WAVE Calcaneal Fracture System - Cannulated Lag Screw | The WAVE Calcaneal Fracture System is a low profile, anatomical plate and screws system designed for the fixation of calcaneal fractures. The plate and associated locking and non-locking screws facilitate the reconstruction of the height and width of the calcaneus, and possible remodelling of the lateral calcaneal wall. The WAVE Calcaneal Fracture System is provided non-sterile. The Cannulated Lag Screw is used with the WAVE Calcaneal Fracture Plate or with the washer for optional off plate use. | Screws: Diameter: 4mm; Length = 26mm - 90mm (for lag screws) in 2mm increments up to 50mm and 5mm increments up to 90mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR301 | Omnitech Evolution | Headless Compression Screw - Cannulated, Titanium, Self-tapping, Self-drilling | 2.9, 3.0, 3.5mm diameter 10-45mm length in 2mm increments | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE272 | Bio-Compression Screw System | Fixation Device | 16mm, 18mm, 20mm, 22mm, 24mm, 26mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR072 | Ortholoc Fracture System Screws | Titanium, variable angle locking screws | 2.7, 3.5 & 4.0mm diameter, 8-100mm length | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR242 | Stainless Steel Screw | Stainless steel plate screw, locking | 2.7 & 3.2 dia. 8-50mm length in 2mm increments | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR391 | Nexfix MTP Fusion System | Unique low profile stainless steel locking screw for use with NexFix MTP Fusion plates, indicated for use in osteoporotic bone | 3.2mm x 12mm, 14mm, 16mm, 18mm, 20mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR414 | WAVE Calcaneal Fracture System - Fully Threaded Screw | The WAVE Calcaneal Fracture System is a low profile, anatomical plate and screws system designed for the fixation of calcaneal fractures. The plate and associated locking and non- locking screws facilitate the reconstrution of the height and width of the calcaneus, and possible remodelling of the lateral calcaneal wall. The WAVE calcaneal Fracture System is provided non-sterile. The Fully Threaded Screw is used with the WAVE Calcaneal Plate | Screws Diameter = 4.0mm; Length = 26-50mm in 2mm increments & 55-90mm in 5mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR035 | Charlotte Foot & Ankle System | Snap-off screws, titanium alloy | 2.0 dia 11, 12, 14mm. 2.7 dia 13, 15, 17mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR230 | Twist-off Screw | Unique feature of two thread diameters to suit variable bone quality, specifically designed for Weil-osteotomy, titanium, self drilling and self tapping, twist-off connector. | 2.5mm diameter x 11-15mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR303 | Omnitech Evolution | Headless Compression Screw Cannulated, Titanium, Self-Tapping, Self-Drilling | 2.1, 2.5mm diameter 10-32mm length, in 2mm increments | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR032 | Micronail Intramedullary Radial Fixation | 2.5mm titanium buttress screw | 16 - 28mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR257 | Evolve EPS System 2.7 Locking | Stainless Steel Variable Angle Locking Screws | 2.7mm Diameter, 10-50mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR031 | Micronail intramedullary radial fixation | 2.7mm Titanium Screw | 10mm - 20mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR393 | Nexfix MTP Fusion System | Unique low profile stainless steel locking screw for use with NexFix MTP Fusion plates, indicated for use in normal bone | 2.7mm x 12mm, 14mm, 16mm, 18mm, 20mm, 24mm, 28mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR300 | Omnitech Evolution | Headless Compression Screw - Cannulated, Titanium, Sefl-tapping, Self-drilling | 1.7mm diameter 6-15mm length in 2mm increments | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR030 | Evolve Locking Cancellous Bone Screws | The Evolve stainless steel locking screw | 2.0mm x 14 - 28mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR073 | Ortholoc Fracture System | Titanium, variable angle locking screws | 2.0mm diameter, 8 - 100mm length | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR258 | Evolve EPS System 2.0 Locking | Stainless Steel Variable Angle Locking Screws | 2.0mm Diameter, 10-50mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR060 | Ring washer | Screw Washers | 2.7/3.7/4.0/4.5 | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR297 | SALVATION 3Di Plating System - Washers | Washer | One size only | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR371 | MaxLock Extreme System - DRLock Extreme Locking Peg | Locking Peg, Titanium | Ø2.0mm, Length 10-30mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE273 | Trim-IT Spin Pin | Trim-IT Pin Fixation | 1.5 - 2.0mm x 100mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE649 | Cerclage System | Pre-tied Cerclage System | One Size Only | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE292 | QuickFix Staple System | Compression Staple for Fusion | 8mm 10mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR037 | Charlotte Foot & Ankle System | Compression Staple, Stainless Steel | 13, 15, 20, 25mm interaxis, leg lengths 11, 13, 15, 17, 20 & 25mm, 10 Sizes in Total | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR038 | Charlotte Foot & Ankle System | Quick Staple, Stainless Steel | One Size Only | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR286 | EOS Footset - Varisation staple | Foot staple | 8-10mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE126 | Chondral Dart | Polylactide Compositition | Length 18mm | 2021-07-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM390 | Suture Anchor No Suture | Suture Anchor No Suture | All sizes | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR212 | G Force Anchorlok Soft Tissue Anchors | Titanium suture anchor | 1.9mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE304 | BioComposite SutureTak | Suture Anchor | 2.4-3mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE435 | BioComposite PushLock | BioComposite Pushlock Knotless Suture Anchor | 2.4 - 3.5 mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE475 | Biocomposite Swivelock Anchor | Knotless Suture Anchor | 3.5mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE706 | FiberStitch | Meniscal suture anchor | One size only | 2021-07-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM385 | Suture Anchors with Suture | Suture Anchors with Suture | 2.4 - 3.9mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR210 | G Force Anchorlok Soft Tissue Anchors | Peek suture anchor | 3.5mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR214 | G Force Anchorlok Soft Tissue Anchors | Titanium Suture Anchor | 2.5 & 3.5mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR421 | Insite FT Suture Anchor | Titanium suture anchor, fully threaded, preloaded with sutures | 2.5mm - 3.5mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE302 | BioComposite Corkscrew Suture Anchor | Suture Anchor | >4mm-6.5mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE306 | BioComposite SwiveLock | The SwiveLock is a 4.75 or 5.5mm twist-in knotless anchor. This anchor functions very similar to the PushLock but with a twist-in design. This anchor is available with a b-TCP and PLLA anchor body and PEEK eyelet. | 4.75mm - 5.5mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE436 | BioComposite PushLock | Knotless Suture Anchor | 4.5mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR419 | Insite FT Biocomposite Suture Anchor | Absorbable suture anchor preloaded with or without needles. | 4.5mm, 5.5mm, 6.5mm | 2021-07-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM387 | Suture Anchors with Suture | Suture Anchors with Suture | 4.0mm or larger | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR211 | G Force Ancholok Soft Tissue Anchors | Peek suture anchor | 5.0mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR213 | G Force Anchorlok Soft Tissue Anchors | Titanium suture anchor | 5.0mm | 2021-07-01 | DELETE
Orthotech Pty Ltd | 06 - Specialist Orthopaedic | OH577 | Pullup - Adjustable Juxtacortical Fixation Device | An adjustable non absorbable braded loop and titanium button. Preloaded with traction and pulling thread. It is designed to be used as juxtacortical fixation for ACL repair. | Ø4.5mm for tissue graft Ø5mm to 10mm for tissue graft Ø4.5mm for Bone Tendon Bone graft Ø5mm to 10mm for Bone Tendon Bone graft | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE068 | Interference Screws | ARTHREX Non-sheathed | 7 x 28mm - 12 x 28mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE166 | Bio-Tenodesis Screw | Soft Tissue Fixation | 3mm-9mm | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE297 | BioComposite Interference Screw | Soft Tissue Fixation Device | 6mm - 35mm | 2021-07-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM384 | Interference Screws | Interference Screws | All sizes | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE127 | Bio-Transfix | Composition Poly (L-lactide) | Diameter 5mm, length 50mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR205 | Sidekick Rearfoot Fixator | Pre-assembled external fixator for specific indications of triple arthrodesis, subtalar arthrodesis and ankle arthrodesis | n/a | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR206 | Sidekick Coretrak Articulating Fixator | Sterile kit, includes tube fixator, articulating fixator, half pin and pin covers, for external fixation of the foot of hand, Radiolucent | Standard, long, articulating | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR117 | Bone Plug | PMMA Cement | 8, 10, 12, 14, 16mm | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR324 | Augment Bone Graft - rhPDGF-BB component | rhPDGF solution (0.3mg/ml) | 3cc (0.90mg) | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR017 | Osteoset Bone Void Filler | Calcium Sulphate | 3mm Syringe 1.25cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR019 | Osteoset MIIG X3 | Injectable Calcium Sulphate Bone Void Filler, Includes Syringe | 5cc | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE476 | Quickset | Injectable Macroporous Calcium Phospahte | 5cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR008 | ProDense / Osteoset XR | Composite Bone Void Filler - Pellets, Injector | 3.0mm, 1.25cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR009 | ProDense / Osteoset XR | Composite Bone Void Filler - Pellets, Injector | 4.8mm, 5cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR014 | OSTEOSET - BVT KIT (STANDARD CURE, FAST CURE) | Mini Bead Kit | 5cc Standard/Fast Cure | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR016 | Osteoset Bone Void Filler | Calcium Sulphate | 3mm & 4.8mm Pellets 5cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR018 | Osteoset Bone Void Filler | Calcium Sulphate | 4.8mm Syringe 5cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR287 | Crossbone | Bone substitute | Wedges:6-15mm height Blocks: height 3 -10mm, Width 3-10mm, length10-20mm Granules: Granule size 0.5 - 3.5mm, Volume 0.4 -5cc | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE477 | Quickset | Injectable Macropourous Calcium Phosphate | 8cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR006 | ProDense / Osteroset XR | Composite Bone Void Filler - Pellets | 10cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR012 | Osteoset | Calcium Sulphate | 4.8mm pellets 10cc | 2021-07-01 | DELETE
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE478 | Quickset | Injectable Macroporous Calcium Phosphate | 16cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR004 | ProDense/Osteoset XR | Composite Injectable Bone Void Filler | 20cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR020 | Osteoset MIIG X3 | Injectable Calcium Sulphate Bone Void Filler, Includes Syringe | 15cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR007 | ProDense / Osteoset XR | Composite Bone Void Filler - Pellets | 20cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR015 | Osteoset Pellets - Bone Graft Substitute | Calcium Sulphate | 4.8mm Pellets 20cc | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR011 | Osteoset BVF Kit | Kit contains calcium sulfate, diluent, mould, spatula and mixing bowl | 25cc only | 2021-07-01 | DELETE
Wright Medical Australia | 06 - Specialist Orthopaedic | WR071 | BioFoam Bone Wedge | Titanium metal scaffold for angular correction in ankle and foot | Depth 14 - 44mm Width 10 - 44mm Thickness 4.5 - 12mm | 2021-07-01 | DELETE
The Trustee for Bright Smiles Laboratories Trust | 07 - Plastic and Reconstructive | VT002 | DSD Custom Surgical Guide | A fully customised single-use aid, intended to be used in dental and craniomaxillofacial surgical procedures. | Patient specific | 2021-07-01 | DELETE
The Trustee for Bright Smiles Laboratories Trust | 07 - Plastic and Reconstructive | VT001 | Anatomics Biomodel | A patient-specific, 3D printed biomodel intended to assist the surgeon during pre- and intraoperative procedural planning. | The device is custom made so the size will vary. | 2021-07-01 | DELETE
The Trustee for Bright Smiles Laboratories Trust | 07 - Plastic and Reconstructive | VT003 | DSD Training Biomodel | A fully cutomised, 3D printed biomodel intended to assist the surgeon during pre- and intraoperative procedural planning. | The device is custom made so the size will vary. | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT192 | Intica 7 VR-T | Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-1, IS-1 connector | W x H x D (mm) 65 x 55 x 11, Volume: 33cc, Mass: 82g | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT197 | Intica 7 VR-T DX | Single Chamber ICD, ventricular capture control, physiological rate adaption, additional atrial detection (DX),automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-1, IS-1 connector | 65mm x 55mm x 11mm, 33cm3, 82grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT167 | Iperia 7 VR-T | Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-4, IS-1 connector | 65mm x 52mm x 11mm, 31cm3, 80grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT206 | Ilivia 7 VR-T | Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI Conditional and AutoDetect, DF-4, IS-1 connector | 65mm x 54mm x 11mm, 31cm3, 81grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT208 | Intica 7 DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-1, IS-1 connector | 65mm x 55mm x 11mm, 33cm3, 82grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT168 | Iperia 7 DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-4, IS-1 connector | 65mm x 56mm x 11mm, 32cm3, 82grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT195 | Ilivia 7 DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-4, IS-1 connector | 65mm x 56mm x 11mm, 32cm3, 82grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT198 | Intica 7 HF-T QP | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, LV Multipolar pacing, Home Monitoring, MRI conditional and AutoDetect, DF-1,IS-1, IS-4 quadripolar connectors | 65mm x 60.5mm x 11mm, 36cm3, 86grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT202 | Intica 7 HF-T | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-1, IS-1 connector | 65mm x 58.5mm x 11mm, 34cm3, 83grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT196 | Ilivia 7 HF-T QP | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, LV Multipole pacing, Home Monitoring, MRI conditional and AutoDetect, DF-4,IS-1, IS-4 quadripolar connector, | 65mm x 58.5mm x 11mm, 36cm3, 87grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT207 | Ilivia 7 HF-T | Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, DF-4, IS-1 connector | 65mm x56mm x 11 mm, 33cm3, 82grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT180 | Eluna 8 SR-T | Single Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector | 53 x 39 x 6.5 mm, 11cm3 , 24grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT181 | Eluna 8 DR-T | Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector | 53 x 44.5 x 6.5 mm, 12cm3, 25grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT188 | Eluna 8 HF-T | Triple Chamber CRT-Pacemaker, capture management all chambers, physiological rate adaption, atrial overdrive pacing, event triggered IEMG transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector | 53 x 49 x 6.5 mm, 14cm3, 25grams | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT176 | Protego T & TD | T - Quadripolar Single Coil ICD lead with passive fixation, fractal/steroid coating, Silglide and DF4 connector TD - Quadripolar Dual Coil ICD lead with passive fixation, fractal/steroid coating, Silglide and DF4 connector | T - Length: 65cm, Electrode spacing 15mm, 7.8F TD - Length: 65cm, 75cm; Electrode spacing 16mm & 65cm, 18mm @ 65cm & 75cm, 7.8 F | 2021-07-01 | DELETE
Biotronik Australia Pty Ltd | 08 - Cardiac | BT174 | Sentus OTW BP L | Bipolar, steroid eluting coronary sinus pacing lead with fractal coating | Lengths: 77cm, 87 cm, 97cm 4.8F | 2021-07-01 | DELETE
Abbott Australasia Pty Ltd | 10 - Vascular | AY022 | Cobalt Chromium Balloon Expandable Peripheral Stent | Cobalt Chromium | Diameter 4-10mm, Length 12-58mm | 2021-07-01 | DELETE
Abbott Australasia Pty Ltd | 10 - Vascular | AY015 | Xact/ Xact Flex Carotid Stent | Nitinol Self-Expanding stent on rapid exchange delivery system | Diameter 7-10mm Length 20 + 30mm Straight; Diameter 8-6, 9-7, 10-8mm Length 20 + 30mm Tapered | 2021-07-01 | DELETE
Abbott Australasia Pty Ltd | 10 - Vascular | AY017 | Starclose | 6 Fr Exchange Sheath, Dilator, Guidewire, implantable nitinol clip pre-mounted on a Clip Applier | 6 Fr | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WA008 | Central Venous Long Term Catheter | Cook TPN REDO Catheter Set (Single Lumen) | 3-9.5 Fr, length: 65-90 cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC202 | Cook Central Venous Catheterisation Kits | Turbo-Flo Peripherally Inserted Central Venous Catheter Set, Single Lumen Polyurethane with Peel Away Sheath Introducer and Wire Guide | 4Fr - 60cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WA009 | Central Venous Long Term Catheter | Cook TPN REDO Catheter Set | 5-12 Fr, Length: 65-90cm | 2021-07-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC333 | Turbo-Flo HD Catheter | Haemodialysis catheter, double lumen. | 12 French with a length of 15, 20, or 25 cm | 2021-07-01 | DELETE
Corin Australia Pty Ltd | 11 - Hip | CR147 | METS Smooth Integral Shaft & Stem | Titanium, uncoated, shaft and stem with round or oval collar | L=15,30mm D=27,,30mm (round) D=30x38, 36x44 (oval) | 2021-07-01 | DELETE
Zimmer Biomet Pty Ltd | 11 - Hip | BI056 | Exceed M2A Femoral Head | Head, Chrome Cobalt, Metal on metal | 28mm, -6mm to +12mm neck | 2021-07-01 | DELETE
Corin Australia Pty Ltd | 11 - Hip | CR020 | Metalok Femoral Head | Metal on metal, CoCr | Head 28mm (short/med/long neck) | 2021-07-01 | DELETE
DJO Australasia Pty Ltd | 11 - Hip | DD051 | FMP Femoral Head | CoCr Femoral Head | 22-32mm | 2021-07-01 | DELETE
DJO Australasia Pty Ltd | 11 - Hip | DD052 | FMP Femoral Head | CoCr Femoral Head | 34-38mm | 2021-07-01 | DELETE
The Trustee for Adler Ortho Unit Trust | 12 - Knee | TZ001 | Genus Knee System - Genus PE Tibial Insert | Genus PE Insert | 1-7 in thickness; 10mm, 12mm, 14mm, 17mm, 20mm, 24mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP012 | ANAX 5.5 Spinal System - Monoaxial Screws - Cannulated | Monoaxial pedicle screws, cannulated, non-reduction and reduction. | Diameter 5 - 8mm Length 30 - 95mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER202 | Mesa Monoaxial Screw | Monoaxial screw, rotating head | Diameter: 4.5mm - 8.5mm, Length: 25mm - 55mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP013 | ANAX 5.5 Spinal System - Monoaxial Screws - Non-Cannulated | Monoaxial pedicle screws, non-cannulated, non-reduction and reduction. | Diameter 4 - 8mm Length 30 - 95mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP014 | ANAX 5.5 Spinal System - Polyaxial Screws - Cannulated | Polyaxial pedicle screws, cannulated, non-reduction and reduction. | Diameter 5 - 8mm Length 30 - 95cm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER025 | Denali cannulated polyaxial screw | Cannulated polyaxial pedicle screw | Diameter: 5.5mm, 6.5mm and 7.5mm Length: 35 to 55mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER214 | Everest Spinal System -Cannulated Screw | Polyaxial Screw, Cannulated | (4.5 -10.5)mm diam x (20-110)mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER215 | Everest Spinal System-Fenestrated Screw | Polyaxial Screw, Fenestrated | (4.5 -9.5)mm diam x (20-110)mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER017 | Mesa Spinal System / Polyaxial Pedicle Screw | Polyaxial Pedicle Screw, Titanium | (3.5 - 12.5)mm diam, lengths (10-110)mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER212 | Mesa Polyaxial Cannulated Screw | Cannulated Pedicle Screw, polyaxial | Diameter: 5.5-6.5mm Length: 30-45mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF076 | Firebird Modular Screws | Modular pedicle screws - shank | Diameter - 4mm -11.5mm Length - 25mm - 110mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP015 | ANAX 5.5 Spinal System - Polyaxial Screws - Non-Cannulated | Polyaxial pedicle screws, non-cannulated, non-reduction and reduction. | Diameter 4 - 8mm Length 30 - 95mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER014 | Denali Spinal System / Polyaxial Pedicle Screw | Polyaxial Pedicle Screw | Diameter: 3.5 - 8.5mm, Length: 10 - 100mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER049 | Everest Spinal System -Pedicle Screw | Polyaxial Pedicle Screw, Ti | Diameter: 4.5mm-10.5mm, Length: 25mm - 110mm (open or closed) | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER476 | Yukon OCT System | Polyaxial Posterior Cervical Screws | 3.5-5.0 diameter, length 10-50mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER473 | KEYS Polyaxial Screw | Polyaxial screw | 6.0 -7.0mm diameter, length 25-50mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER016 | Pyrenees Cervical Plate System - Screw | Self-drilling, self-tapping and bone reduction screws | (3.5 - 4.7)mm diam x (10-20)mm length | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER023 | Cayman Thoracolumbar Plate System / Bone Screw | Self tapping screw, Ti | Length: 20mm to 60mm Diameter: 5mm and 7mm, titanium | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER035 | Caspian OC screw | The Caspian OC screw is used to fixate the Caspian OC plate to the occiput | 4.5mm diameter. 6-16mm length in 1mm increments 5.25mm diameter. 6-16mm length in 1mm increments | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER047 | Chesapeake Spinal System - Fixation Screw | Locking screw for the Chesapeake Spinal System | Diameter: 3.5mm, 3.85mm. 5.5mm Lengths: 12mm to 35mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER474 | KEYS Supplemental Screw | Dual lead thread bone screw | 5.5 - 6.0mm diameter, length 20-40mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER490 | Cayman United Bone Screw | Bone Screw | Length 20-60mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP016 | ASPIRON ACP Screws | Variable and semi-fixed screws, self-drilling and self-tapping. | Diameter: 3.5 – 4.35mm Length: 10 – 20mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER491 | Yukon OCT Spinal System | Occipital Screw | (4.5-5.75)mm dia x (6-16)mm length | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER495 | Ozark Cervical Plate System Screw | Screw, fixed or variable angle | (4-4.5)mm diameter x (10-26)mm length | 2021-07-01 | DELETE
Medacta Australia Pty Ltd | 13 - Spinal | MU176 | Mecta-C Stand Alone Screws | Anterior cervical bone screws | Diameter: 3.8 mm and 4.2 mm Length: from 12 mm to 20 mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF002 | Azure Anterior Cervical Plate System | Bone Screws | 4.0 & 4.5mm diameter 12, 14, 16, 18mm length | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF013 | Unity Lumbar Plate | Unity Bone Screw | 6-7mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF014 | Pillar SA | Bone Screws | 5.0 - 5.5mm X 20-35mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF055 | Lonestar Cervical Stand Alone System Bone Screw | Titanium Bone screw allowing intradiscal fixation to the vertebral body. | 3.6mm x 10/12/14/16/18mm Self drilling & self tapping 4.0mm x 10/12/14/16/18mm Rescue self drilling & Rescue self tapping | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF079 | Cetra Bone Scews | Self tapping and self drilling bone screws | Diameter: 4mm-4.5mm Length:10mm-20mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP011 | ANAX 5.5 Spinal System - Set Screws | Set screws for locking pedicle screws and connectors. | SF1319, SF1320 | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER213 | K2M Spinal Systems Set Screws | Set Screw | Diameter: 5-9mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF016 | Spinal Fixation System | Set Screw Spinal System | One size only | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF020 | Unity Lumbar Plate | Unity Cover Plate | 17-28mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF056 | Lonestar Cervical Stand Alone System Cover Plate | The Cover Plate of the Lonestar Cervical Stand Alone System is designed to lock to the front of the cage to prevent screw back out. | 6-9mm 10-14mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF022 | Firebird Phoenix screw heads | Modular screw heads; various sizes including reduction heads | Body Top Loading, NXG Body Top Loading, Top loaded Body-Slotted, Body Closed, Body Reduction - All one size only Body Offset - 8mm, 11mm, 14mm Short, standard and tall (open and closed) | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER174 | Nile Alternative Fixation System - Tether, Connector, Set Screws | Woven Braid, polyester; Clamp, Titanium; Set Screw, Titanium | (3-4)mm width, 60cm strap length, (50-110)mm leader, Size 20 | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP017 | ANAX 5.5 Spinal System - Axial Connector | In-line axial connector. | Small or large, 2 - 4 holes. | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER011 | K2M Spinal Systems | Axial connectors, in-line, parallel, open and closed face | 3.5 – 6.5mm rods | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF082 | Orthofix In-Line Connector | Axial In-Line Connector with Rod | One size only | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP018 | ANAX 5.5 Spinal System - Domino Connector | Offset connector, open and closed. | 2 and 4 holes. | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER010 | K2M Spinal Systems | Offset connectors, Open or Closed | Length: 10mm - 100mm, Degree connector angle: -15 - +15 | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF080 | Orthofix Offset Connectors | Side/Top Loading, Side/Side Loading, Side/Front Loading, Front/Front Loading, Small Side/Front Loading | Standard, 16mm and 18mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF081 | Orthofix Bypass Connector | Offset Connector with Integrated Rod | 16mm - 34mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP020 | ANAX 5.5 Spinal System - Lateral Connector | Fixed lateral connector, open and closed. | 16.5 - 35mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER200 | K2M Spinal Systems – Fixed Cross Connector | Fixed Cross Connector | 14-60mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER555 | Yukon Head to Head Connectors | Head to Head transverse connector | 21-55mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP019 | ANAX 5.5 Spinal System - T-Link Collet | Adjustable transverse connector. | 33 - 90mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER019 | K2M Spinal Systems | Transverse Connector | 3.5 – 5.5mm rod /rail diameter 14 - 93mm width | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF025 | Spinal Fixation System | Multi Axial Cross Connector Assembly – Titanium/Lateral Offset | 5.5mm-80mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER211 | Mesa Hooks | Thoracic and Lumbar hooks | Various blade and throat sizes | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER013 | K2M Spinal Systems | Lumbar Thoracic or Cervical Hooks; open or closed | Various blade and throat sizes | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP023 | ASPIRON Anterior Cervical Plate >55mm | Anterior cervical plate >55mm | 57 - 111mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER031 | Pyrenees Cervical Plate System | Cervical Plate | 57mm to 110mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER052 | Blue Ridge Hybrid Cervical Plate System - Plate | Low profile, anterior cervical plate. Locking, titanium. | 56-92mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER240 | Pyrenees Cervical Plate System-MonoPlate, Long | Pyrenees Cervical Plate System-MonoPlate, Long | Length 56-78 mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER494 | Ozark Plate Level 1-5 , >55mm | Plate Level 1-5 , >55mm | 56-110 mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF004 | Azure Anterior Cervical Plate System | Anterior Cervical Plate > 55mm | 56-120mm length | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF031 | Blackstone Medical ACP - 3 and 4 Level | Titanium Alloy Anterior Cervical Plate - 3 and 4 Level | 56mm - 122mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF078 | Cetra Anterior Cervical Plate > 55mm | Low profile anterior cervical plate | 56mm-94mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP024 | ASPIRON Anterior Cervical Plate ≤55mm | Anterior cervical plate ≤55mm | 19 - 54mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER030 | Pyrenees Cervical Plate System | Cervical Plate | 18mm to 54mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER241 | Pyrenees Cervical Plate System-Monoplate, Short | Pyrenees MonoPlate, Short | 18-55mm length | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER289 | Pyrenees Segmental Plate | Single level fusion plate with shelf. | 5-10mm shelf | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER493 | Ozark Plate Level 1-5, ≤55 mm | Plate level 1 -5, ≤55 mm | 16-55 mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF003 | Azure Anterior Cervical Plate | Anterior Cervical Plate <55mm | 18-54mm length | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF029 | Blackstone Medical ACP - Level 1 & 2 | Titanium Alloy ACP L1-L2 | 20mm - 54mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF077 | Cetra Anterior Cervical Plate | Low profile anterior cervical plate | 16mm-54mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER024 | Cayman Thoracolumbar Plate System / Plate | Thoracolumbar Plate, Titanium | 21mm to 109mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER489 | Cayman United Plate | Thoracolumbar Plate | 16-24 | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF032 | Unity Lumbar Plate | Unity Plate | 17-28mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER034 | K2M Spinal Systems- Occipital Plate | Occipital Plate for posterior occipital/cervical/thoracic fixation | 24-50mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER201 | K2M Spinal Systems-Transitional Rod | Transitional Rod | 3.5-(4.5 /5.5)mm x (300-600)mm length or 5.5/5.5mm x 495 rod/rail | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER243 | MESA Rail | CoCr and Ti shaped beam rail rods | Diameter: 4.5-5.5mm Length: 375-500mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP025 | ANAX 5.5 Spinal System - Rods | Rod for spinal internal fixation system - Straight and curved, titanium and cobalt-chromium, sanded and non-sanded finish, anodizing and non-anodizing. | Diameter 5.5mm Length 35 - 600mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER018 | Mesa/Denali/Everest Rod | Straight and Contoured, CoCr, Ti Rods | Length: 25mm - 600 mm; Diameter: 3.5mm - 6.5 mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER027 | Caspian OCT Spinal System - Rod | cervico-thoracic posterior rigid fixation system - Rod | Diameter: 3.5mm Length: 1.80mm - 240mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF073 | Firebird Rods | Firebird Rods - straight and pre-lordosed, titanium and CoCr | 35mm-600mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF083 | Orthofix Z Rod | Pre-bent Z Rod | Standard, 16mm, 18mm Offset 150mm X150mm, 150mm X 300mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER033 | ARI Anterior Staple System - Washer | The ARI Anterior Staple System - washer | One size only | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF072 | Blackstone Washers | Titanium | 2mm, 3mm, 4mm, 5mm, 6mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER032 | ARI Anterior Staple System - Staple | A non-cervical anterolateral thoracolumbar screw stabilization as an adjunct to fusion. | Single Hole Design and Dual Hole Design: 13mm, Left & Right; 16mm, Left & Right; 18mm, Left & Right. | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER475 | KEYS Anterior Staple | Staple | 13-18mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER137 | Chesapeake Cervical | Cage with intergral fixation | Height: 5mm - 15mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER472 | Chesapeake Cervical PEEK | Cervical fusion cage with integrated fixation | Heights 5-12mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF054 | Lonestar Cervical Stand Alone System Cage | The Lonestar Cervical Stand Alone device is a stand-alone cervical cage system consisting of cages, screws and a anti-backout cover plate. The Lonestar is manufactured from PEEK and Titanium with Titanium Bone Screws. | 15mm W x 13mm L. Parallel & & degree lordotic. 6-14mm H in 1mm increments 15mm W x 15mm L. Parallel & & degree lordotic. 6-14mm H in 1mm increments 17mm W x 13mm L. Parallel & & degree lordotic. 6-14mm H in 1mm increments 17mm W x 15mm L. Parallel & & degree lordotic. 6-14mm H in 1mm increments | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER046 | Chesapeake Spinal System | Thoracolumbar Cage Peek/Ti | Footprint: 24mm - 30mm x 30mm - 40mm Height: 11mm - 21mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF074 | PILLAR SA PTC | ALIF cage constructed of PEEK Titanium composite (PTC) with cover plate | Width - 33mm to 43mm Depth/Length - 28mm Height - 12mm to 20mm Cover Plate - 33mm to 43mm Lordosis - 7 to 12 degrees | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF075 | PILLAR SA | ALIF Cage constructed of PEEK with titanium cover plate | Width - 33mm to 43mm Length/Depth - 28mm to 32mm Height - 12mm to 20mm Lordosis - 7 degrees to 12 degrees Coverplate - 33mm-43mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP021 | Velofix PEEK Cervical cage | Interbody fusion cage. | Width: 14 and 16mm Depth: 12 and 14mm Height: 5 - 10mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER142 | Aleutian Cervical Interbody System | Cage, Convex, or Lordotic. PEEK | Height: 5 -15mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER455 | Cascadia Cervical Interbody System | Cascadia Interbody spacer, Porous Ti | 5-13mm heights | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF001 | Construx Mini PTC | Anterior cervical cage | 12x12mm, 15x12mm, 15x15mm, 5-14mm height, parallel or 5 degree lordotic | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF045 | Blackstone Construx Mini PEEK VBR System | The Construx Mini is an anterior Cervical Interbody PEEK Cage | 12mm x 12mm 5 degrees lordotic. 5mm-12mm in 1mm increments. 12mm x 12mm, Parallel. 5mm - 12mm in 1mm increments. 15mm x 12mm, 5 degrees lordotic. 5mm - 12mm in 1mm increments. 15mm x 12mm, Parallel. 5mm-12mm in 1mm increments | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER020 | Aleutian PLIF | Posterior lumbar spacer, PEEK | (22-28)mm long x (8.5-10)mm wide x (4-17)mm high x (0-18) degree lordosis | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF058 | FORZA PTC | PEEK/Titanium spacer with porous titanium endplates | 9mm X 23mm, Height 7mm-14mm | 2021-07-01 | DELETE
ACRA REGULATORY SERVICES PTY LTD | 13 - Spinal | BP022 | Velofix PEEK Lumbar Cage | The Velofix PEEK Lumbar Cage is intended to facilitate spinal interbody arthrodesis. It is implanted via the posterior approach, and allows restoration of spinal disc height and natural curvature. Nerve root decompression is also achieved by opening the neural foramen. The cages are available in several sizes with implant selection based on each individual clinical case. The device is manufactured from PEEK (ASTM F2026) and includes three radiopaque markers made of tantalum. It is indicated for use with autogenous bone graft in patients with degenerative disc disease (DDD) at one or two levels for L2 to S1, and is intended to be used with supplemental fixation. | Design: Convex, bullet design Length: 22, 26, 30mm Height: 7 - 16mm Angle: 0, 4, 8° | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER021 | Aleutian Anterior | Anterior/lateral lumbar interbody spacer | (30-60)mm wide x (18-28)mm long x (8-21)mm height | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER022 | Aleutian TLIF | Transforaminal lumbar interbody spacer | (8.5-12)mm wide x (22-36)mm long x (4-17)mm height x (6-18) degree lordotic angle | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER045 | Aleutian Lateral | Lateral Interbody Spacer | (16-22)mm width x (25-60)mm length x (6-20)mm height, (0-15) degreee lordotic angle | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER242 | Cascadia Interbody Spacer | Cascadia interbody spacer, porous Ti | 8.5 -14mm wide | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER282 | Cascadia Lateral | Interbody spacer, Porous Ti | 8-20mm high | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER506 | Cascadia AL Interbody System | Porous Titanium ALIF cage | Height: 9-21mm | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF046 | Forza PLIF | PEEK PLIF cages in various sizes | 9x23/27mm 11x23/27mm 0 and 8 degree 6-16mm height in 1mm increments | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF047 | FORZA TLIF | PEEK TLIF cages in various sizes | Width - 9mm to 11mm Length - 27mm to 33mm Height - 6mm to 16mm 0 - 8 degree | 2021-07-01 | DELETE
Orthofix Australia Pty Limited | 13 - Spinal | OF057 | FORZA PTC | PEEK/Titanium spacer with porous titanium endplates | 9mm X 27mm, Height 7mm-14mm 11mm X 27mm, Height 7mm-14mm 11mm X 31mm, Height 7mm-14mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER210 | Capri Vertebral Body Replacement System-Cage | Cage, Internal or External Component | 23 - 122mm height, multiple footprints | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER471 | CAPRI Small Expandable Corpectomy Cage System | Vertebral Body Replacement | (13-16) x (16-20) mm – height 18-74mm | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER175 | Santorini Stackable Corpectomy Cage-Small | Corpectomy Cage, Peek | (12x17)mm footprint x (2-62)mm height | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER176 | Santorini Stackable Corpectomy Cage-Medium/Large | Corpectomy Cage, Peek | (16x20) or (21x25)mm footprint x (2-98)mm height | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER138 | Santorini Solid Corpectomy Cage System | Cage, fixed height, Peek | (12x14) or (16x20) mm footprint x (18-62) mm height | 2021-07-01 | DELETE
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER409 | Capri Small Solid Corpectomy Cage System | Non Stackable vertebral body replacement | (12 x14)mm or (13x16)mm footprint | 2021-07-01 | DELETE