## Prostheses List Other New Items
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
08 - Cardiac | 08.14 - Implantable Cardiac Event Recorders | 08.14.01 - Implantable Cardiac Event Recorders |  | i | MI438 | 2886 | Medtronic Australasia Pty Ltd | Reveal LINQ II™ | Insertable Cardiac Monitor | 4.4 mm x 7.9mm 45 mm, 1.4cc | 355313 |  | July 2021 | New Listing
08 - Cardiac | 08.16 - Remote Monitoring System | 08.16.01 - Remote Monitoring System |  |  | RF036 | 1450 | MICROPORT CRM PTY LIMITED | Smart Spot | Remote Monitoring System | One size only | 355435 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS380 | 3500 | Boston Scientific Australia Pty Ltd | Blazer™ Open Irrigated Ablation Catheter | Open Irrigated Ablation bidirectional catheter with Total Tip Cooling™ Design technology | 110cm, shaft size 7.5F | 186659 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | Boston Scientific | BS385 | 3500 | Boston Scientific Australia Pty Ltd | IntellaTip MiFi™ Open Irrigated Ablation Catheter | Intella MiFi™ Mini- electrode Technology; Open-Irrigated | 110cm, shaft size 7.5F | 231654 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, nav | MN310 | 2750 | Johnson & Johnson Medical Pty Ltd | CARTO System Therapeutic Catheters, THERMOCOOL | Navigation, irrigated | Various | 149553 157811 178843 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, nav, cf | MN304 | 3700 | Johnson & Johnson Medical Pty Ltd | CARTO System Therapeutic Catheters, QDOT MICRO | Navigation, contact-force, irrigated, very high-power short-duration | One size only | 345779 345780 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.01 - Irrigated Cardiac Ablation Catheter | JJM, non-nav | MN301 | 2000 | Johnson & Johnson Medical Pty Ltd | THERMOCOOL | Non-nav, irrigated | Various | 149552 155131 178844 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott | SJ454 | 2549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Livewire Electrophysiology Catheter | Duodecapolar 2-2-2 epi/endo VT mapping catheter | 115cm | 141868 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 10 pole | SJ457 | 829 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical electrophysiology mapping catheters - 10 pole | Steerable mapping catheter Livewire, Inquiry | 10 pole | 136206 141868 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 20 pole | SJ456 | 1549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical electrophysiology mapping catheters - 20 pole | Steerable mapping catheter - Livewire, Inquiry | 20 pole | 141868 136206 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Abbott - 4/5 pole | SJ458 | 629 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Abbott Medical Electrophysiology mapping catheter - 4/5 pole | Steerable mapping catheter Livewire, Inquiry | 4 pole, 5 pole | 136206 141868 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - 20 pole | BT250 | 1265 | Biotronik Australia Pty Ltd | ViaCath 20- Pole | Steerable Diagnostic Catheter | 6F , 90cm, 2,8,2mm electrode spacing's, 2mm tip , Curve - Extra Large | 281001 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - 4 & 10 pole | BT248 | 885 | Biotronik Australia Pty Ltd | ViaCath 4 & 10 Pole | Steerable Diagnostic Catheter | 6F , 110cm , 2mm Electrode tip , Electrode spacing's - various, Curve- standard, large, Extra large | 281000 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | Biotronik - MultiCath | BT251 | 675 | Biotronik Australia Pty Ltd | MultiCath 4 ,5 & 10 Pole | Steerable Diagnostic Catheter | 4,5, 6F ; 80,100,110cm length : Various Types ; Various Electrode Spacing's ; Curve - Standard or Soft Tipped. | 280999 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, defl | MN303 | 400 | Johnson & Johnson Medical Pty Ltd | WEBSTER | Non-nav, deflectable diagnostic, less than 10-pole | Various | 145984 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, deflect, 10-pole | MN302 | 750 | Johnson & Johnson Medical Pty Ltd | WEBSTER | Non-nav, deflectable, 10-pole CS diagnostic | Various | 145984 162172 219252 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, fix | MN300 | 225 | Johnson & Johnson Medical Pty Ltd | WEBSTER | Non-nav, fixed HIS diagnostic | One size only | 145984 219254 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, fix | MN307 | 225 | Johnson & Johnson Medical Pty Ltd | WEBSTER | Non-nav, fixed diagnostic | Various | 145985 146266 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.03 - Mapping Catheter | JJM, nav, defl, 10-pole | MN311 | 799 | Johnson & Johnson Medical Pty Ltd | CARTO System Diagnostic Catheters, DECANAV | Navigation, deflectable, 10-pole diagnostic | Various | 217338 |  | July 2021 | New Listing
08 - Cardiac | 08.18 - Cardiac Ablation | 08.18.01 - Radio frequency (RF) Ablation | 08.18.01.05 - Intracardiac Electrophysiology Catheter |  | SJ455 | 2549 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | ViewFlex™ Xtra ICE mapping Catheter | Intracardiac Echocardiography (ICE) Catheter | 9 F catheter size, 10 F introducer, 90cm insertable length | 214203 |  | July 2021 | New Listing