## Prostheses List Changes
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
AO034 | 01 - Ophthalmic | TECNIS® 1-Piece Pre-Loaded IOL | 1-piece IOL Posterior Chamber Intraocular lens, incorporates a proprietary wavefront-designed aspheric optic with a squared posterior optic edge designed to provide a 360 degree barrier. The edge of the optic has a frosted design to reduce potential edge glare effects. Supplied pre-loaded in either a screw style disposable injector or in a pre-loaded cartridge. | +5.0 to +34.0 diopter powers in 0.5 diopter increments. Overall diameter 13mm, Optic size 6mm | AMO Australia Pty Ltd |  | Group Benefit Change, Changed
BB250 | 11 - Hip | Biolox Delta Ceramic Hip Prosthesis Head | Biolox Delta Ceramic Head | 28 & 32mm diameter | B Braun Australia Pty Ltd |  | Group Benefit Change, Changed Product Name,
BB302 | 11 - Hip | Biolox Delta Ceramic Hip Prosthesis Head | Biolox Delta Ceramic Head | 36 & 40mm diameter | B Braun Australia Pty Ltd |  | Group Benefit Change, Changed Product Name,
BB341 | 04 - Neurosurgical | Miethke adjustable gravitational unit with proGAV and distal catheter | proSA and M.blue are adjustable gravitational units. proGAV is an adjustable differential pressure unit. They are combined to treat pediatric and adult hydrocephalus. The valves are made from titanium and are MR safe up to 3 tesla. The distal catheters are made of silicone. | Adjustable gravitational unit: diameter 18mm Adjustable differential pressure unit (proGAV): diameter 18mm Distal catheter: length 1200mm, inside diameter 1.2mm, outside diameter 2.5mm Distal catheter (connection between both valves): inside diameter 1.2mm, outside diameter 2.5mm FV783T: proSA adjustable between 0-40 cmH2O, proGAV adjustable between 0-20 cmH2O | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BB342 | 04 - Neurosurgical | Miethke adjustable gravitational unit with proGAV | proSA and M.blue are adjustable gravitational units. proGAV is an adjustable differential pressure unit. They are combined to treat pediatric and adult hydrocephalus. The valves are made from titanium and are MR safe up to 3 tesla. They are connected by a distal catheter, which is made of silicone. | Adjustable gravitational unit: diameter 18mm Adjustable differential pressure unit (proGAV): diameter 18mm Distal catheter: inside diameter 1.2mm, outside diameter 2.5mm FV782T: gravitational unit adjustable between 0-40 cmH2O proGAV adjustable between 0-20 cmH2O | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BS299 | 03 - General Miscellaneous | Resolution 360/Mantis Clip Device | Radiopaque, single-use clip pre-loaded on a flexible, rotatable delivery system | 7Fr, 11mm jaw opening | Boston Scientific Australia Pty Ltd |  | Changed Product Name
DE665 | 13 - Spinal | Mariner Pedicle Screw Modular Head | Polyaxial, Extended, Deformity and Trauma Heads | One size each | Device Technologies Australia Pty Ltd |  | Group Benefit Change, Changed
DE666 | 13 - Spinal | Mariner Set Screw | Set Screw | 1 size | Device Technologies Australia Pty Ltd |  | Group Benefit Change, Changed
DE667 | 13 - Spinal | Mariner Rod | Pre-contoured and straight rods | 5.5 & 6.0mm diameter 20mm - 600mm Length | Device Technologies Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
DE757 | 13 - Spinal | KONG-TL | KONG-TL VBR Endplates with Screw | 26-52mm Lengths 20-29mm Widths 0,4, 8 & 12 Degree Angles | Device Technologies Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
DU029 | 13 - Spinal | Tryptik cervical screws | Tryptik cervical screws | Diameter: 4.0 and 4.5 mm; Length: 12 to 18 mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Name, Product Description, Product Sizes
DU036 | 13 - Spinal | Tryptik Anterior Cervical Cage | Tryptik Anterior Cervical Cages are manufactured from PEEK and are anatomically shaped to fit between vertebral bodies. | Heights 5-12mm. Lordotic and Convex | SPINEART AUSTRALIA PTY. LTD. |  | Group Benefit Change, Changed Product Description, Product Sizes,
DZ043 | 06 - Specialist Orthopaedic | Mini Fragment - Screws | Locking Screws | 2.4mm, 2.5mm | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Group Benefit Change, Changed Product Sizes,
ER231 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Monoaxial | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Monoaxial | dia (4-7 mm) x length (25-55 mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER232 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Locking Screw | Spineway Mont Blanc Pedicle Screw System-Locking Screw | Height 3.7 mm | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER233 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Rod | Spineway Mont Blanc Pedicle Screw System-Rod | dia (4.0-5.5 mm) x length (40-500 mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER234 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Hook | Spineway Mont Blanc Pedicle Screw System-Hook | dia (14-22 mm)x length (10.2-27.15 mm)x (height (14.4 to 29.7mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER235 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Connector (in line) | Spineway Mont Blanc Pedicle Screw System-Connector (in line; domino or axial) | 15mm x(15-16 mm); dia (7.5-8.5mm) x length (30-80 mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER236 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Connector (transverse rod to rod, | Spineway Mont Blanc Pedicle Screw System-Connector (transverse rod to rod, | 15-20mm; 20-25mm; 20-30mm;25-30mm; 30-40 mm; 40-50mm; 40-55 mm; 55-70 mm; 70-85 mm; | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed Product Name, Product Description, , Sub Group
ER237 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Connector lateral (offset), with locking screw | Spineway Mont Blanc Pedicle Screw System-Connector lateral (offset), with locking screw | dia 5.5 mm x length (30-80) mm | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Description
ER238 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Rod (tapered) | Spineway Mont Blanc Pedicle Screw System-Rod (tapered) | dia 5.5 mm x length (50-550 mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER244 | 13 - Spinal | Spineway Twin Peaks TLIF Fusion Cage | Twin Peaks TLIF Fusion Cage | height (7-14 mm) x length (25-35 mm) x lordosis (4-9 degrees) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
ER246 | 13 - Spinal | Spineway Twin Peaks PLIF Fusion Cage-Paired | Twin Peaks PLIF Fusion Cage-Paired, (standard or bullet shaped) | height (7-14 mm) x length (20-25 mm) x lordosis (0-8 degrees) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER277 | 13 - Spinal | Spineway Kili Lumbar Fusion Cage System-Cage | Spineway Kili lumbar fusion cage | Height (7-15mm) x Width (26-36mm) x Depth (21-29mm) x Angle (2-12 degrees) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed Product Description,
ER293 | 13 - Spinal | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Polyaxial | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Polyaxial | dia (4-8 mm) x length (25-110 mm) | Emergo Asia Pacific Pty Ltd |  | Group Benefit Change, Changed
ER613 | 04 - Neurosurgical | Alpha Omega Cannula | Alpha Omega Cannula, standard or tapered used for microelectrodes recording (MER) and for lead insertion; stylet, sterile | Length: 130-216.5 mm Inner diameter: 0.6-1.6 mm Outer diameter: 1.07-1.81 mm | Emergo Asia Pacific Pty Ltd |  | Changed Product Sizes
FV001 | 07 - Plastic and Reconstructive | Astra Tech Implant System/ DS EV Cover Screws & healing cap | Cover Screw and healing cap | Diameter range 3.0 - 5.4 | DENTSPLY SIRONA PTY LIMITED |  | Group Benefit Change, Changed Product Name, Product Description,
FV002 | 07 - Plastic and Reconstructive | Astra Tech Implant System Fixtures Tx/EV, Prime Taper EV | Titanium fixture with microthreaded cervical neck | Diameter 3.0 - 5.4mm, Length 6-17mm | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Name, Product Sizes
FV003 | 07 - Plastic and Reconstructive | Astra Tech Implant System/ DS EV Healing Abutments | Healing Abutments | Healing Abutment Diameter: Range 3.5 - 7.5 mm, Height Range from 2.0 - 10mm | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Name, Product Sizes
FV004 | 07 - Plastic and Reconstructive | Astra Tech Implant System / DS EV Abutments | Temporary Abutment | Diameter range: 3.3 - 7.0 mm | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Name
FV007 | 07 - Plastic and Reconstructive | Ankylos / DS EV Permanent Abutments | Permanent Abutments | Diameter range: 3.3mm - 5.7mm, height range: 7.5mm - 11.1mm | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Name
HC006 | 13 - Spinal | Squale | Cervical Cage | 4-10mm | Health Care Surgical Pty Ltd |  | Group Benefit Change, Changed
HU176 | 06 - Specialist Orthopaedic | Arthrex Clavicle Plating System | Locking clavicle plate and screw system for fixation of clavicle fractures. | 7-10 holes | ARTHREX AUSTRALIA PTY LTD |  | Group Benefit Change, Changed
HU186 | 06 - Specialist Orthopaedic | Titanium Plate with Wedge | Titanium Plate with Wedge. Left and right side specific. | 6-10mm | ARTHREX AUSTRALIA PTY LTD |  | Group Benefit Change, Changed Product Name, Product Description, Product Sizes,
HU210 | 06 - Specialist Orthopaedic | Low Profile Screw | Low Profile Screw | 4.5mm - 5.5mm | ARTHREX AUSTRALIA PTY LTD |  | Group Benefit Change, Changed Product Sizes,
HU237 | 06 - Specialist Orthopaedic | Suture Button | Multiple hole button for fixation of bone to bone or soft tissue to bone, and are intended as fixation posts, a distribution bridge, or for distributing suture tension over areas of ligament or tendon repair. A button implant system is supplied with suture. | 2.6mm - 7.5mm | ARTHREX AUSTRALIA PTY LTD |  | Changed Product Description
HW337 | 06 - Specialist Orthopaedic | Stryker Plating System | Screws Ti or StST | 4.5-6.5mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
HW452 | 06 - Specialist Orthopaedic | Fixos Screws | Bone Fixation Srews, Cannulated, Double Threaded | 3.0mm-7.0mm diamter | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
HW475 | 06 - Specialist Orthopaedic | HOFFMAN LRF | FOOT RING PLATE/ARCH | DIAMETER - 100-210MM | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
HW497 | 07 - Plastic and Reconstructive | Stryker Leibinger Plating System | Fracture or reconstruction plates | 0.5 - 0.99mm thick, &lt;4 holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
HW504 | 07 - Plastic and Reconstructive | Stryker Leibinger Plating System | Craniofacial Locking Fixation Plates | 0.5 - 0.99mm thick, 8 -32 holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
HW551 | 06 - Specialist Orthopaedic | VariAx Elbow Plating System | Periarticular anatomic humerus | ≤ 6 holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
HW584 | 06 - Specialist Orthopaedic | ProCinch | ProCinch Adjustable Loop Fixation Device | Length (cm): 35.6, 47.8 Width (cm): 9.7, 19.1 Height (cm): 2.5 | Stryker Australia Pty Ltd |  | Changed Product Sizes
HW980 | 06 - Specialist Orthopaedic | INBONE II Total Ankle System: Tibial Stem Extender | Modular Tibial Segments | 12mm, 14mm, 16mm, 18mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Description,
HW981 | 06 - Specialist Orthopaedic | SALVATION Limb Salvage System Intramedullary Fusion Bolts | Intramedullary Fusion Bolts | 5 - 7mm x 50 - 170mm | Stryker Australia Pty Ltd |  | Changed Benefit, Group, Sub Group, Suffix
HW982 | 06 - Specialist Orthopaedic | SALVATION Limb Salvage System Intramedullary Fusion Beams | Intramedullary Fusion Beams | 5 - 7mm x 50 - 170mm | Stryker Australia Pty Ltd |  | Changed Benefit, Suffix
IQ014 | 01 - Ophthalmic | PreciSAL P302AC PreciSAL PS302AC | Preloaded Acrylic, single piece, foldable intraocular lens with anterior and posterior optic-haptic square edge, 360 degree optic square edge design, precision power calculation, aberration technology and UV light filter. | Available in dioptric powers from 0.0 to +30.0. 1D steps: 0.0 to +10.0; 0.5D steps: +10.5 to + 17.5 and +28.5 to +30.0; 0.25D steps: +18.0 to +28.0 | IQ Medical |  | Group Benefit Change, Changed Product Name,
IQ016 | 01 - Ophthalmic | PreciSAL P302A PreciSAL PS302A | Preloaded Acrylic, single piece, foldable intraocular lens with anterior and posterior optic-haptic square edge, 360 degree optic square edge design, precision power calculation, aberration technology and blue light filter. | Available in dioptric powers from 0.0 to +30.0. 1D steps: 0.0 to +10.0; 0.5D steps: +10.5 to +17.5 and +28.5 to +30.0; 0.25D steps: +18.0 to +28.0 | IQ Medical |  | Group Benefit Change, Changed Product Name,
LB088 | 13 - Spinal | CREO Stabilization System Locking Cap | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.75 and 5.5 | Globus Medical Australia | The Prostheses List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS) | Changed Condition
LB089 | 13 - Spinal | CREO Stabilization System Preassembled Monoaxial Screw | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.75 and 5.5 4.0mm diameter to 8.5mm diameter 20mm to 90mm length | Globus Medical Australia | The Prostheses List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS) | Changed Condition
LB181 | 13 - Spinal | REFLECT Staple | Three prong threaded staple | 5.0 mm - 7.5 mm | Globus Medical Australia | The Prostheses List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS) | Changed Condition
LH543 | 13 - Spinal | Posterior Spine Truss System Interbody Fusion Device | TLIF Cage | (9-12)mm x (22-40)mm | Lifehealthcare Pty Ltd |  | Group Benefit Change, Changed
LI048 | 11 - Hip | Amplitude Orthopaedic Bone Screw | Titanium cancellous bone screw | Diam 6.5mm, lengths 15 - 55 mm | Amplitude Australia |  | Group Benefit Change, Changed Product Name, Product Description, Product Sizes,
MA534 | 06 - Specialist Orthopaedic | Affinis Inverse Metaglene, DP | Metaglene, uncemented. Ti plasma plus CaP coating | One size only | Mathys Orthopaedics Pty Ltd |  | Changed Product Name, Product Sizes
MU004 | 11 - Hip | Quadra Hip Cemented Femoral Stem | High nitrogen stainless steel alloy, highly polished, double taper | Std 0 to 8. Lat 0 to 8 Std short neck 0 to 7. Lat short neck 1 to 7. | Medacta Australia Pty Ltd |  | Changed Product Sizes
PB001 | 13 - Spinal | Anterior Cervical PEEK Cage | Interbody fusion cage | Height: 5 -10 mm in 1 mm increments Foot Print 13 x 16 mm / 13 x 19 mm / 12.5 x 15 mm / 11 mm x 14 mm | Australian Pacific Medical Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SB024 | 07 - Plastic and Reconstructive | Straumann Zygomatic Implant, ZAGA Round and ZAGA Flat | Titanium zygomatic implant, round or flat | 4.3mm diameter, 30mm - 60mm length | Straumann Pty Ltd |  | Changed Product Sizes
SF039 | 11 - Hip | Logical™ Acetabular Liner | HCLA (highly Cross-Linked and Annealed) Acetabular Insert | 28mm, 32mm, 36mm, 40mm diameter; Neutral, 10 and 20 degree; Size range 44mm to 72mm, including laterialised liners | Signature Orthopaedics |  | Group Benefit Change, Changed Product Sizes,
SJ157 | 08 - Cardiac | Durata 7120, 7121, 7122 | Active fixation bipolar, dual-coil/single coil Steroid-eluting Endocardial Defibrillation Leads | 60, 65, 75cm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SK075 | 06 - Specialist Orthopaedic | Stryker Plating System Basic Fragment Set | 4.5mm Reconstruction Plate | 3-9 Holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK092 | 11 - Hip | Stryker Hydroxyapatite coated cup with ceramic liner | Shell with Biolox forte ceramic liner | 52-54mm OD | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SK094 | 06 - Specialist Orthopaedic | Stryker Plating System Small Fragment Set | Calcaneal Plate | 70-80mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK112 | 13 - Spinal | XIA/Oasys Spine System | Buttress thread locking nut | 3.5mm - 6mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK183 | 07 - Plastic and Reconstructive | Leibinger Intraoral Distractor (Multiguide II) | Manufactured from stainless steel, allows gradual, independent, and simultaneous distraction of the mandible in 3 planes. | Frame 20mm - 35mm, 2.0mm diameter, 50 - 90 mm length Auto - Pilot Pins | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK202 | 06 - Specialist Orthopaedic | Stryker Trauma Locking Nail System | SCN | Diameter 8mm - 15mm, Length 170mm - 480mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SK213 | 06 - Specialist Orthopaedic | Hoffmann II Micro | K-wire, Steinmann Pins | Diameter: 1.2-2.0mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Name, Product Description, Product Sizes,
SK244 | 06 - Specialist Orthopaedic | Stryker Intramedullary Nailing System | Gamma Long | 120, 125, 130 Deg; Diameter 9-15mm; Length 240-480mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SK246 | 06 - Specialist Orthopaedic | Gamma LN | Standard - Titanium | 120, 125, 130 Deg; Diameter 9-13mm; Length 170mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SK247 | 06 - Specialist Orthopaedic | Gamma LN | Set Screw - Titanium | 8x17.5mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK248 | 06 - Specialist Orthopaedic | Gamma LN | Proximal/Extension Plug - Titanium | 0mm, 5mm, 10mm, 15mm | Stryker Australia Pty Ltd |  | Changed Product Sizes
SK315 | 11 - Hip | Exeter Hip System | Exeter Distal Centraliser -PMMA | One Size Only | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK323 | 12 - Knee | Triathlon Knee System Patella Component | Patella Component, Cemented, Asymmetric & Symmetric, (X3) UHMWPE | Symmetric: 27mm x 8mm, 29mm x 8mm, 31mm x 9mm, 33mm x 9mm, 36mm x 10mm, 39mm x 11mm; Assymetric: 29mm x 9mm, 32mm x 10mm, 35mm x 10mm, 38mm x 11mm, 40mm x 11mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK355 | 07 - Plastic and Reconstructive | Universal Neuro Titanium Low Profile Plate | Titanium Low Profile plates used for the fixation of cranial bone flaps | Small, large, 20mm burr hole, 16 hole without bar | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK405 | 11 - Hip | LFIT Femoral Heads | Femoral head with low friction ion treatment | 36mm-44mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SK419 | 12 - Knee | Triathlon Knee System Patella Component | Patella Component, Cemented, Asymmetric & Symmetric , (X3) UHMWPE | Asymmetric - Width: M/L 33-44mm & S/I 29-40mm Thickness: 9mm - 11mm Symmetric - Width: 27-39mm Thickness: 8mm - 11mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Description, Product Sizes,
SK428 | 11 - Hip | Trident Tritanium Acetabular Shells | Acetabular Shell, tritanium | 44mm - 72mm | Stryker Australia Pty Ltd |  | Changed Product Sizes
SK452 | 06 - Specialist Orthopaedic | Stryker Plating System | Non-Locking Bone Screws (Small) | 2.7mm - 4.5mm Diameter 8mm - 150mm Length | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Description, Product Sizes,
SK482 | 11 - Hip | Stryker Neck Taper Adaptor | Adaptor Sleeve for Stryker stems | Offset -2.5mm to +4mm | Stryker Australia Pty Ltd |  | Changed Product Sizes
SK528 | 06 - Specialist Orthopaedic | 'Stryker Cannulated Screw System | Asnis III Cannulated screws | 4.0mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK530 | 06 - Specialist Orthopaedic | Stryker Plating System. | T-Plate, pre-shaped | 5-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK532 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Compression Anatomical Shape | 2-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK533 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Compression Anatomical Shape | 7-15 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK534 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Compression Anatomical Shape | 16-22 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK535 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 4-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK536 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 8-14 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK537 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 16-22 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK538 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Compression Anatomical Shape | 2-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK539 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking Compression Anatomical Shape | 7-14 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK542 | 06 - Specialist Orthopaedic | Stryker Plating System | Locking One Third Tubular Plates | 3.0mm, 2-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK544 | 06 - Specialist Orthopaedic | Stryker Plating System Basic Fragment Set | 4.5mm Reconstruction Plate | 7-15 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK545 | 06 - Specialist Orthopaedic | Stryker Plating System Basic Fragment Set | 4.5mm Reconstruction Plate | 16-22 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK546 | 06 - Specialist Orthopaedic | Stryker Plating System | T-Plates, pre-shaped | 2-6 holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK547 | 06 - Specialist Orthopaedic | Stryker Plating System | T-Plates, pre-shaped | 7-13 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK548 | 06 - Specialist Orthopaedic | Stryker Plating System Small Fragment Set | 3.5mm Reconstruction Plate | 4-6 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK549 | 06 - Specialist Orthopaedic | Stryker Plating System Small Fragment Set | 3.5mm Reconstruction Plate | 7-14 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK557 | 06 - Specialist Orthopaedic | Stryker Plating System | Femur Anatomical Locking Plates | 12-14 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK558 | 06 - Specialist Orthopaedic | Stryker Plating System | Femur Anatomical Locking Plates | 16-24 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK562 | 06 - Specialist Orthopaedic | Stryker Plating System | Tibial Anatomical Locking Plates | 16-31 hole | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK563 | 06 - Specialist Orthopaedic | Stryker Plating System | SPS Locking Plate System | Locking screws 3-4mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK565 | 06 - Specialist Orthopaedic | Stryker Plating System | Washers | 7-13mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK569 | 06 - Specialist Orthopaedic | Stryker Plating System | Stryker locked plating system | 7-15 Holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK577 | 06 - Specialist Orthopaedic | Stryker Plating System | Matta Pelvic Plates | 2-6 Holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK578 | 06 - Specialist Orthopaedic | Stryker Plating System | Matta Pelvic Plates | 7-15 Holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK580 | 06 - Specialist Orthopaedic | Stryker Locked Plate system | Periarticular variable angle locking plate - fibula | 1-6 Holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK585 | 12 - Knee | Restoris MCK Knee - Femeral Component | Femeral Component | LM/RL sizes 1 to 8 RM/LL sizes 1 to 8 | Stryker Australia Pty Ltd |  | Changed Product Sizes
SK591 | 06 - Specialist Orthopaedic | Diamond Plate/Carpal Button | Carpal Fusion Plate | Large, Small | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SK632 | 06 - Specialist Orthopaedic | VariAx Volar plates | Volar Plate Polyaxial Locking | Radius 7-15 holes | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SN848 | 12 - Knee | Journey Knee System Tibial Baseplate | Tibial baseplate, cemented, Titanium, for fixed insert | Sizes 1-8, Left and Right | Smith & Nephew Pty Ltd |  | Group Benefit Change, Changed
SR026 | 11 - Hip | Stryker CoCr Femoral Head | Cobal Chrome with LFIT Treatment | 22.2-32mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SR050 | 13 - Spinal | AVS TL Peek Spacer System | Transforaminal Lumbar Interbody Fusion cage, PEEK | 7-18mm x 25--30mm. 0-4 degree | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SR066 | 13 - Spinal | AVS AL PEEK Spacer System | Anterior Lumbar Interbody Fusion Cage | 22mm deep x 28mm wide x 10mm - 50mm height and 28mm deep x 33mm wide x 10mm-50mm height. Both base sizes come in 4 degree and 8 degree angulations | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SR094 | 06 - Specialist Orthopaedic | Stryker Cannulated Screw System | Asnis Micro Cannulated screw | 2.71mm-3.0mm, Diameters, 8mm-40mm lengths | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SR095 | 06 - Specialist Orthopaedic | Stryker Cannulated Screw System | Asnis Micro Cannulated Screw | 2.01mm-2.7mm, Diameters, 8mm-40mm lengths | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
SR096 | 06 - Specialist Orthopaedic | HOFFMANN LRF - TELESCOPIC STRUT | TELESCOPIC STRUT | LENGTHS - 100-277MM | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
ST043 | 06 - Specialist Orthopaedic | Stryker Intramedullary Nailing System | Locking Screw - Titanium | 20-120mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
ST545 | 11 - Hip | Osteonics hip prostheses | Cancellous bone screw, Titanium | 6.5mm & 5.5mm dia | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed
ST548 | 11 - Hip | Trident acetabular component system | Titanium, arc deposited, with HA | 40-82mm OD | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
ST608 | 12 - Knee | Scorpio Knee System Tibial Insert | Minimally stabilised tibial insert, UHMWPE (N2VAC) | Size: 3-11 Thickness: 8-24mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
ST609 | 12 - Knee | Scorpio Knee System Patella Component | Patella component, Metal backed, CoCr, uncemented, beaded, moulded polyethylene (N2VAC) | Length - S/I 32-38mm M/L 35-44mm Thickness - 10mm | Stryker Australia Pty Ltd |  | Group Benefit Change, Changed Product Sizes,
SY068 | 06 - Specialist Orthopaedic | AO/ASIF Screws | Cortex, Conical, Cancellous, Compression Screws | 2.71mm-4.49mm | Johnson & Johnson Medical Pty Ltd |  | Group Benefit Change, Changed
SY419 | 06 - Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Nuts, Washers & Spacers, Bolts | Various | Johnson & Johnson Medical Pty Ltd |  | Group Benefit Change, Changed
SY420 | 06 - Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Wire Post MRI Safe | Short, Tall, Long and 1 to 5 holes | Johnson & Johnson Medical Pty Ltd |  | Group Benefit Change, Changed
SY422 | 06 - Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Partial Circular Ring, Arch Plate | 80-240mm | Johnson & Johnson Medical Pty Ltd |  | Group Benefit Change, Changed
ZA110 | 06 - Specialist Orthopaedic | Comprehensive Reverse Humeral Cup | Humeral Cup | Standard or Retentive | Zimmer Biomet Pty Ltd |  | Group Benefit Change, Changed Suffix
ZI980 | 06 - Specialist Orthopaedic | Nextra hammertoe Correction Prosthesis | Interdigital Fusion Implant | 3.5mm MPI / 3.2mm PI 4.5mm MPI / 3.2mm PI 5.5mm MPI / 3.2mm PI 4.5mm MPI / 4.5mm PI 5.5mm MPI / 4.5mm PI | Zimmer Biomet Pty Ltd |  | Changed Product Sizes