## Prostheses List Deletions
Sponsor | Product Category | Billing Code | Product Name | Description | Size
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE519 | Oculentis LENTIS LU-313T | Patient Specific: Foldable one-piece monofocal toric acrylic IOL | Optic Size: 6.0mm, overall length 11.00mm. Sph +/-10.0D to +35.0D (in 0.01D increments) Cyl +6.99D to +12.0D cyl (in 0.01D increments)
SURGIVISION PTY LTD | 01 - Ophthalmic | VU011 | Medicontur BiFlex 677TBY Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: +5.0 - +9.0 D ±0.25 D increment: 1.0 D +10.0 - +25.0 D ±0.25 D increment: 0.5 D +25.5 - +30.0 D ±0.5 D increment: 0.5 D Cylinders available: +10.0 D - +24.0 D ±0.5 D increment: 1.0 D
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE521 | Oculentis Lentis Mplus Toric LU-313MFT | Patient specific one-piece multifocal toric acrylic plate haptic IOL | Overall Length 11.0mm and Optic Size 6.0mm + 0.0D to +36.0D inclusive in 0.01D increments. Cyl +6.99D to +12.00D inclusive in 0.01D increments
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE513 | Oculentis LENTIS LU313MFTY | Patient specific one-piece multifocal toric plate haptic acrylic IOL. Violet Light Filter | Overall Length 11.00mm and Optic Size 6.0mm +-0.0D to +36.0D inclusive in 0.01D increments. Cyl +7.00D to +12.0D inclusive in 0.01D increments.
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS051 | AJL-Blue | Trypan Blue Ophthalmic Staining Dye | 1 ml syringe
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS055 | AJL Capsular Tension Ring - preloaded | PMMA Implant preloaded on disposable injector | 9mm, 10mm,11mm, 12mm (closed diameter) 10mm, 11mm, 12mm, 13mm, 14mm (open diameter)
AMO Australia Pty Ltd | 01 - Ophthalmic | AO021 | Stabileyes Capsular Tension Ring | Polymethylmethacrylate (PMMA) Implant | 12mm ring, and 13mm ring
Insight Surgical Pty Ltd | 01 - Ophthalmic | IS054 | AJL Capsular Tension Ring | PMMA Implant | 9mm, 10mm,11mm, 12mm (closed diameter) 10mm, 11mm, 12mm, 13mm, 14mm (open diameter)
Cochlear Limited | 02 - Ear, Nose & Throat | CO048 | Cochlear™ Nucleus® CP810 Sound Processor - INITIAL | The ear level sound processor of the Nucleus 5 cochlear implant system with multiple wearing options and a remote control. | One size
Cochlear Limited | 02 - Ear, Nose & Throat | CO049 | Cochlear™ Nucleus® CP810 Sound Processor - REPLACEMENT | The ear level sound processor of the Nucleus 5 cochlear implant system with multiple wearing options and a remote control. | One size
Medtronic Australasia Pty Ltd | 02 - Ear, Nose & Throat | MI193 | Sophono Alpha Bone Conduction Hearing System, Sound Processor | Alpha Sound Processor | -
Intermed | 02 - Ear, Nose & Throat | IR002 | NeoZoline Otological Ventilation Tubes | Armstrong, Collar Button, Shepard, Reuter, Donaldson, Paparella, Shah | 1.10mm, 1.14mm, 1.27mm, 1.40mm, 0.76mm
Endotherapeutics Pty Ltd | 02 - Ear, Nose & Throat | ET031 | Serenocem Cement | Reaction bonded polymer composite formed by the neutralisation gelletation of a basic inorganic ionomer | One size only - box of 2
Emergo Asia Pacific Pty Ltd | 03 - General Miscellaneous | ER216 | Lap-Band Adjustable Gastric Banding (LAGB) System | - | AP-small and AP-large
Emergo Asia Pacific Pty Ltd | 03 - General Miscellaneous | ER217 | Lap-Band Access Port | For use with the Lap-Band Adjustable Gastric Banding System | Standard, low profile
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG018 | HAGA Access Port | Access Port contains Titanium and Silicone | Standard
CK Surgitech Pty Ltd | 03 - General Miscellaneous | AK003 | Biliary Stents
MERIT MEDICAL AUSTRALIA PTY LTD | 03 - General Miscellaneous | OW009 | ReSolve Biliary Catheter | Radiopaque catheter for percutaneous biliary drainage | 8.5-14 French
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | MI485 | Signia™ Small Diameter Reload | Staple reload | 30-45mm
Getz Healthcare Pty Ltd | 03 - General Miscellaneous | ME206 | Endoscopic Universal Handle | The Endoscopic Universal Handle is a single patient delivery system, supplied sterile and used with the Linear Cutter Stapler reloading unit ranges which can be applied in abdominal, gynaecological, paediatric and thoracic surgical procedures for resection, transection and creation of anastomosis. | 30mm, 45mm, and 60mm staple lengths. 2.5mm, 3.5mm, and 4.8mm staple sizes.
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | MI218 | Roticulator Stapler | Roticulator Stapler | 30mm, 55mm
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS033 | Power Stapler and Staples (Powered LDS*) | LDS Instrument & Cartridges (Disposable Loading Unit) | One size only
Lifehealthcare Pty Ltd | 03 - General Miscellaneous | LH528 | LiquiBand Fix8 | Hernia Mesh Fixation System, preloaded into applicator | 33 tacks
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS143 | Parietex Composite 1510FX | Dual sided polyester meshes with a resorbable adhesion -prevention hydrophilic film | 15x10cm square
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS242 | Parietex Composite | Dual sided polyester meshes with a resorbable adhesion-prevention hydrophilic film | 8 cm, 9 cm, 12 cm, 15 cm
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS245 | Parietex Composite | Dual sided polyester meshes with a resorbable adhesion-prevention hydrophilic film | 20 cm
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS244 | Parietex Composite | Dual sided polyester meshes with a resorbable adhesion-prevention hydrophilic film | 25 cm, 30 cm
Medtronic Australasia Pty Ltd | 03 - General Miscellaneous | AS147 | Parietex Composite 3728FX | Dual sided polyester meshes with a resorbable adhesion-prevention hydrophilic film | 37x28cm oval
Johnson & Johnson Medical Pty Ltd | 04 - Neurosurgical | JJ863 | Codman Hakim Precision Fixed Pressure Valve | Fixed Pressure Valve with Bactiseal ventricular and peritoneal catheters and reservoir: Opening pressures: 10-130mmH2O | Standard and Micro
Johnson & Johnson Medical Pty Ltd | 04 - Neurosurgical | JJ156 | Hakim Precision Valve System | Precision valve standard with reservoir | Very low to very high including micro
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ377 | Infinity Lead | Lead with 4 electrodes | 30-90cm
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC305 | Low Profile Impedance Extension Kit for DBS Model 7482 | Silicone Rubber | 25, 40, 51, 66, 95cm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ362 | Axium Neurostimulator System - Implantable Neurostimulator | Spinal modulation implantable neurostimulator. | 1 size; 31cc (1 presentation)
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER606 | Surpass-C Surgical Lead | Surgical lead, 8 electrode | 50cm, 70cm, 90cm
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC690 | Neurostimulation System - Octad Leads | Octad Standard Lead Kit without Percutaneous Extension Model 3777, | 45, 60 & 75cm
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC711 | Neurostimulation System - Octad Leads | Octad Compact Lead Kit without Percutaneous Extension Model 3778 | 45, 60 & 75cm
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC740 | SCS Sub Compact Lead | Octad Sub Compact Lead Kit without Percutaneous Extension Model 3776 | 45, 60 and 75cm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ188 | Lamitrode C Series Leads | Lamitrode C Series, 8 Channel, Model # 3245 | Length = 60cm, 90cm, 110cmm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ178 | A127 Lead Extension | A127 Lead Extension | 15cm, 40cm, 60cm, 90cm
Johnson & Johnson Medical Pty Ltd | 04 - Neurosurgical | JJ650 | Cordis Enterprise Vascular Reconstruction Device and Delivery System | Closed Cell Design Nitinol Neurovascular | 4.5 mm in diameter and 4 different lengths: 14mm, 22mm, 28mm and 37mm
WILLIAM A COOK AUSTRALIA PTY LTD | 04 - Neurosurgical | WC061 | Detachable Coil System | Microembolisation Coils - Platinum | 011/018 2-20mm diameter, 2 - 50cm length
Johnson & Johnson Medical Pty Ltd | 04 - Neurosurgical | MN167 | Ascent Balloon Catheter System | Coaxial dual lumen balloon catheter | 4-6mm diameter
WILLIAM A COOK AUSTRALIA PTY LTD | 05 - Urogenital | WC281 | Universa Soft Ureteral Stent Set | Universa Soft Ureteral Stent Set, with or without the TFE WireGuide, fixed length | 5, 6, 7 and 8FR in fixed lengths (18 - 30CM)
Boston Scientific Australia Pty Ltd | 05 - Urogenital | BS185 | Xenform Soft Tissue Repair Matrix 2x7cm | Graft derived from fetal dermal bovine tissues | 2x7cm
Boston Scientific Australia Pty Ltd | 05 - Urogenital | BS186 | Xenform Soft Tissue Repair Matrix 4x7cm | Graft derived from fetal dermal bovine tissues | 4x7cm
Boston Scientific Australia Pty Ltd | 05 - Urogenital | BS187 | Xenform Soft Tissue Repair Matrix 6x10cm | Graft derived from fetal dermal bovine tissues | 6x10cm
Boston Scientific Australia Pty Ltd | 05 - Urogenital | BS188 | Xenform Soft Tissue Repair Matrix 8x12cm | Graft derived from fetal dermal bovine tissues | 8x12cm
Boston Scientific Australia Pty Ltd | 05 - Urogenital | AM054 | AMS Spectra Concealable Penile Prosthesis | AMS Spectra Concealable Penile Prosthesis | 9.5 mm x 12cm AMS Spectra 9.5 mm x 16cm AMS Spectra 9.5 mm x 20cm AMS Spectra 12 mm x 12cm AMS Spectra 12 mm x 16cm AMS Spectra 12 mm x 20cm AMS Spectra 14 mm x 12cm AMS Spectra 14 mm x 16cm AMS Spectra 14 mm x 20cm AMS Spectra 9.5mm Spectra Rear
Boston Scientific Australia Pty Ltd | 05 - Urogenital | AM041 | AMS Ambicor | AMS Ambicor Inflatable Penile Prostheses | AMS Ambicor Inflatable Penile Prostheses 12.5mm in 14, 16 & 18cm length, 14mm in 16, 18 & 20cm length, 15.5mm in 18, 20 & 22cm length
Coloplast Pty Ltd | 05 - Urogenital | CT001 | Excel Inflatable Penile Prosthesis (Resist Coated) | Two-piece inflatable penile prosthesis (Resist Coated) | Cylinder lengths 10,12,14,16,18,20,22cm & six rear-tip extenders (two each 1, 2 & 3cm)
Coloplast Pty Ltd | 05 - Urogenital | CT004 | Soft Solid Testicular Prosthesis | Gel filled Testicular Prosthesis | Small, Medium, Large & Extra Large
Medtronic Australasia Pty Ltd | 05 - Urogenital | MC777 | Interstim Extension Lead | Quadripolar Extension Kit | 10, 25, 51cm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY408 | Mobility Ankle | Mobile Bearing | 1-6 from 3-11mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI975 | Vario Subtalar Screw System | Titanium screw system for the subtalar arthroereisis | 10-16mm diameter
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY419 | Mobile Ankle | Uncemented Porocoat Talar component | Size 1-6
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY418 | Mobile Ankle | Uncemented Porocoat Tibial component | Size 1-6
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM265 | Reflexion 1st MPJ Implant System | Reflexion metatarsal stems, 3 part 1st MPJ reconstruction system, 2 part composition - titanium/cobalt chrome, 1 part composition - titanium/UHMWPE, | Small, medium, large
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM267 | Reflexion 1st MPJ Implant System | ReflexionPhalangeal Bases, 3 part 1st MPJ reconstruction system, 2 part composition - titanium/cobalt chrome, 1 part composition - titanium/UHMWPE, | Small, medium, large
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM266 | Reflexion 1st MPJ Implant System | Reflexion metatarsal heads, 3 part 1st MPJ reconstruction system, 2 part composition - titanium/cobalt chrome, 1 part composition - titanium/UHMWPE, | Standard, long, extra-long
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM264 | Hemi-Great Toe Implant | Great Toe implant, Cobalt Chromium | XS, S, M, L
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH060 | Discovery Elbow System | Humeral Component, Hydroxy Apatite + porous coated or cemented | (3-6)mm diam x (75-150)mm length
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH059 | Explor Radial Head | Stem | (5-10)mm x (22-32)mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH058 | Explor Radial Head | Head | (10-20)mm x (20-24)mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH061 | Discovery Elbow System | Ulnar Component; Hydroxy apatite + porous coated or cemented | (3-5)mm dia x (75-115)mm length
DJO Australasia Pty Ltd | 06 - Specialist Orthopaedic | DD065 | Altivate Reverse Humeral Stem | Altivate Reverse Humeral Stem | 108, 175, and 220mm Length
DJO Australasia Pty Ltd | 06 - Specialist Orthopaedic | DD029 | Foundation Shoulder System | Humeral Stem, Ti | 6mm to 16mm
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE168 | Univers 3D Shoulder Prostheses | Stem | 6-12mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ966 | Global Shoulder System | Humeral Stem | 6-16mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY431 | Epoca Custom Offset Shoulder Prosthesis | Epoca ZF Cementless Stem | 6 - 14mm, Length: 115 - 135mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI580 | Anatomical shoulder | Anatomical Inverse/Reverse Humeral Cup | Zero degree Retro; Zero degree Retro +6; +10 degree Retro; –10 degree Retro; +20 degree Retro; -20 degree Retro;9mm 0 degree Retro; 9mm 0 degree Retro +6.
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY571 | Epoca Custom Offset Shoulder Prosthesis | Epoca Stem - Cemented | 6-14mm, Length: 115-215mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY572 | Epoca Custom Offset Shoulder Prosthesis | Epoca Stem - Uncemented | 6-14mm, Length: 115-215mm
DJO Australasia Pty Ltd | 06 - Specialist Orthopaedic | DD030 | Foundation Shoulder System | Humeral Head, CrCo | 38mm to 54mm
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE171 | Univers 3D Shoulder Prostheses | Metal Head | 40/14 - 54/23
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY432 | Epoca Custom Offset Shoulder Prosthesis | Epoca Head | 40 - 54mm, Height: 15 - 20.25mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY438 | Epoca Resurfacing Head | Humeral head surface replacement, HA coating | Diameter 40 - 54mm
DJO Australasia Pty Ltd | 06 - Specialist Orthopaedic | DD031 | Foundation Shoulder System | Pegged & Keeled Glenoid, compression moulded UHMWPE | 38mm to 54mm
EXACTECH AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | EX060 | Equinoxe Glenoid, keeled | UHMWPE component used to replace the Glenoid during total shoulder arthroplasty. This component is to be used with the Equinoxe total shoulder replacement | small, medium, large
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY434 | Epoca Custom Offset Shoulder Prosthesis | Epoca Glenoid | 40mm - 54mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY436 | Epoca Custom Offset Shoulder Prosthesis | Epoca Reco Glenoid | 42 - 52mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI319 | Bigliani Flatow Total Shoulder System - Glenoids | Trabecular Metal Backed Glenoid (uncemented) | Diameter 40 - 52mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY433 | Epoca Custom Offset Shoulder Prosthesis | Modular press-fit component for independent adjustments of the head or shaft; both medial and posterior offset | One size only
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH357 | VersaNail IM Nailing Platform | Humeral Nails, Universal and Proximal, Titanium, Locking, cannulated | 7-10 mm x 150-300mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZA065 | Nancy Nail System | Pediatric Flexible Nail | 2-4mm x 130-450mm
B Braun Australia Pty Ltd | 06 - Specialist Orthopaedic | BB311 | Position HTO Implant System - HTO Plate | Titanium Osteotomy Plate, internal fixation plate used in proximal tibial repositioning osteotomy. | One size
B Braun Australia Pty Ltd | 06 - Specialist Orthopaedic | BB312 | Position HTO Implant System - Spacer Block with Fixation Screw | Osteotomy Spacer Block, solid titanium. Consists of block and fixation screw. | 5mm - 16mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH198 | Periarticular Plating System | Fibula Composite Plate - Titanium | 9 Hole
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI805 | ZPS-Zimmer Plate and Screw System | 4.5mm Dual Compression Plate | 7-15 holes
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE763 | MaxForce MTP | Plate for Arthrodesis | 6 Holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI774 | Zimmer Universal Locking System | 3.5mm One-Third Tubular Locking Plate | 5-6 holes
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE760 | MaxForce MTP | Plate for Arthrodesis | 7-8 Holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI775 | Zimmer Universal Locking System | 3.5mm One-Third Tubular Locking Plate | 7-10 holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH355 | ALPS Fibula Plating System | Composite Locking Plate | 6 holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH356 | ALPS Fibula Plating System | Composite Locking Plate | 7 to 14 holes
Medtronic Australasia Pty Ltd | 06 - Specialist Orthopaedic | MI292 | VariLoc Locking Compression Plate System | Wrist Plates | ≤ 6 holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH352 | DVR EPAK | Sterile Distal Radius Fracture Procedure Pack | Wide, Long, Extra Long, Extra Extra Long
Medtronic Australasia Pty Ltd | 06 - Specialist Orthopaedic | MI293 | VariLoc Locking Compression Plate System | VariLoc Wrist plates | ≥ 7 to ≤ 15 holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI842 | Zimmer Periarticular Locking Plates | 2.7mm Periarticular Locking Plates - Ulna | 2 - 6 Holes Left and Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI844 | Zimmer Periarticular Locking Plates | 5.5mm Periarticular Locking Plates - Femur | 2 - 6 holes Left & Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI846 | Zimmer Periarticular Locking Plates | 5.5mm Periarticular Locking Plates - Femur | 18 - 20 holes Left & Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI762 | Zimmer Periarticular Plates | 3.5mm Periarticular Plates - Fibula | 2 - 6 holes Left & Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI763 | Zimmer Periarticular Plates | 3.5mm Periarticular Plates - Fibula | 7 - 15 holes Left & Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI398 | High Tibia Osteotomy | High Tibia Osteotomy - Ti alloy | L shaped steel alloy plate; Standard & Long
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI766 | Zimmer Periarticular Plates | 3.5 & 4.5mm Periarticular Plates - Tibia | 7 - 15 holes Left & Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI767 | Zimmer Periarticular Plates | 3.5 & 4.5mm Periarticular Plates - Tibia | 16 - 20 holes
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI825 | Periarticular Plates | Periarticular Tibial Plateau Plates - Stainless Steel | Over 16 holes Left and Right
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH194 | Periarticular Plating System | Plate Calcaneal - Titanium | Small - Large
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY632 | AO/ASIF Screws | Cannulated Screws | ≥4.50mm
B Braun Australia Pty Ltd | 06 - Specialist Orthopaedic | BB303 | Position HTO Implant System - Locking Screws | Titanium cancellous and cortical screw, locking head for solid plate fixation. | 30mm-78mm x 4.5mm & 6.0mm diameter.
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH347 | Comprehensive Segmental Revision System (SRS) | Comprehensive SRS Locking Screw | One size
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH348 | Comprehensive Segmental Revision System (SRS) | Comprehensive SRS Non-Locking Screw | One size
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI262 | EBI XFIX Dynafix System | Bone Screw, Cortical, tapered, Cancellous, Stainless Steel | 2.4mm to 6.00mm diameter
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI400 | Cortical Screws | Screws- Cortical - Ti alloy | 4.5/30 to 60mm
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE370 | Cannulated Low Profile Screws, Small | Cannulated Low Profile Screws, Small | 3-4mm
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM268 | ExtremiFix Screws | Headless Cannulated Compression Screw | Diameter 3.0mm, 4.0mm. Length 10mm to 52mm; Diameter 2.71mm - 4.49mm.
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI178 | Zimmer Herbert Bone Screw | Double Threaded Compression Bone Screw | Scaphoid - 12 - 30mm length
Medtronic Australasia Pty Ltd | 06 - Specialist Orthopaedic | MI295 | VariLoc Locking Compression Plate System | Locking Screws | 2.4mm - 2.7mm
Medtronic Australasia Pty Ltd | 06 - Specialist Orthopaedic | MI294 | VariLoc Locking Compression Plate System | Cortex Screw | 2.4mm - 2.7mm
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE163 | Bio-Post & Washers | PLLA composition | Implant 35mm - 50mm, Washers 16mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ824 | Bristow-Latarjet Instability Shoulder Set - Top Hat Screw | Cannulated titanium top hat screw | One size only
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH264 | Small Bone Fixation System - Small Bone Flexible Nail | Intramedullary Nail | 1.6mm and 1.1mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY527 | Expedium Spinal System - Cobalt Chrome Double Wire | CoCr wire double with/without button | 1.0mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DP809 | Small / Large Fragment Set S/S | K-wire standard | 0.2-3.5mm
Smith & Nephew Pty Ltd | 06 - Specialist Orthopaedic | SN440 | Ilizarov | Wires | 300-370 length x 1-1.8mm diameter
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI161 | Zimmer Internal Fixation Systems: Cable System | Cable-Ready Stainless Steel | 1.3 mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI170 | Zimmer Internal Fixation Systems: Cable System | Cable-Ready Pin - Stainless Steel | 35, 40, 45, 65mm long
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ924 | Songer Cable System | Flanged crimp/flat bar or 2 hole bar | One size only
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH192 | Barouk System Staples | Memory Staple - Titanium Alloy | 12-20mm Long
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH327 | Barouk System Staples | TIFLEX Staple / Pin - Titanium | 1.6 - 2.5 Dia 7-24mm width 13/15-36/50mm Length
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI182 | Zimmer Internal Fixation Systems: Soft Tissue Re-attachment Device | Statak/Mini-Statak - Suture, Stainless Steel | 2, 5 mm - 5, 0mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI974 | Soft Tissue Anchor | All-Suture, UHMWPE | 1.4-2.2mm, Single & Double Loaded
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ076 | Mitek Ethibond Knotless Suture Anchor | Titanium anchor | 2.7 x 10.8 mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ930 | RapidLoc Anchor System | Suture top Hat | Straight 12 degree and 27 degree
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ931 | Spiralok Anchor System | Suture Anchor | 5-6.5mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH368 | SnapShot Fixation System | SnapShot Fixation System | 8.5mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ922 | Kuroska Fixation Screw System | Interference screw | 7 to 9mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY292 | Facet Interference Screw | Cannulated Screw | 7.5mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI976 | iFIX Interference Screw | Interference screw | 7-12mm in diameter
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ815 | RIGIDFIX BIOCRYL Cross Pin | Cross pin composed of Biocryl (bioabsorbable TCP/PLA) | 2.7mm & 3.3mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI777 | EBI XFIX DynaFix System | Mini fixator/lengthener with comp/dist | Small, Medium, Long, 100mm, 150mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY728 | Orthopaedic External Fixator Systems | External fixator clamps, connecting clamp | 2.0 - 4.9mm
Smith & Nephew Pty Ltd | 06 - Specialist Orthopaedic | SN956 | Smith & Nephew External Fixation (Llizarov, Taylor Spatial Frame, Jet-X, Compass) | Circular Frame Strut Device, Compression Distraction Device | standard
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | MN241 | MAXFRAME Distraction Osteogenesis External Fixation System | ASSURE-STRUT™ Quick Adjust locking system ID Band | One Size
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | MN242 | MAXFRAME Distraction Osteogenesis External Fixation System | ASSURE-STRUT™ Quick Adjust locking system ID Plug | One Size
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI963 | XtraFix External Fixation System | Rod & Pin-Rod couplings | Small
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI832 | EBI XFIX Vision System | Rods, Bars, stainless steel/aluminium/ or carbon fibre (radiolucent) | Dia 9.5mm, 150-400mm length
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI820 | EBI XFIX DynaFix System | Screw, HA coated, cortical, cancellous | Dia 2-6mm
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI852 | EBI XFIX Dynafix System | Rail Clamp (Rotational Serrated T-clamp, Swivel, Translational, Uniplaner, Adjustable) | Ex Small, Small, Adult, 4-6mm
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM199 | MiniFlo Extension Posts | Extension posts for finger mini fixator system | T extension, Straight extension
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | JJ609 | Vertebroplasty System | Vertobroplasty System | 11cc
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DP445 | CMW | Antibiotic Bone cement with vacuum mixing system | 40 to 100g
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI188 | Zimmer Bone Cement Systems | Poly Medullary Plug - PMMA | 8 - 23 mm
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY281 | Norian® | Injectable Bone Cement | 5cc
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI487 | Mimix Calcium Phosphate Bone Void Filler | Calcium Phosphate | 5 grams
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE312 | ENGlpore | Granules (size 1,0-2, 5 mm) 5 cc Granules (size 2, 5-4, 0 mm) 5 cc | Granules (size 1,0-2, 5 mm) 5 cc Granules (size 2, 5-4, 0 mm) 5 cc
Emergo Asia Pacific Pty Ltd | 06 - Specialist Orthopaedic | ER153 | Kainos | Granules | 1 x 2cm3
Emergo Asia Pacific Pty Ltd | 06 - Specialist Orthopaedic | ER155 | Kainos | Granules | 1x5cm3
Lifehealthcare Pty Ltd | 06 - Specialist Orthopaedic | LH559 | KGBone | Synthetic bone substitute, custom-fit for KAGE cervical interbody cage | 4mm-10mm
Lifehealthcare Pty Ltd | 06 - Specialist Orthopaedic | LH561 | Kasios TCP | TCP Bone graft substitute Granules | 5cc
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZA085 | Accufill Porous Bone Substitute Material | Calcium phosphate bone graft substitute | 3cc, 5cc
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY282 | Norian® | Injectable Bone Cement | 10cc
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI488 | Mimix Calcium Phosphate Bone Void Filler | Calcium Phosphate | 10 grams
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE311 | SINTlife | Nanostructured Paste/putty in syringe - 10 cc | 10 cc
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY353 | Conduit TCP | Bone matrix implant | 10cc
Lifehealthcare Pty Ltd | 06 - Specialist Orthopaedic | LH565 | JectOS 10cc | Injectable synthetic bone graft substitute | 10cc
Lifehealthcare Pty Ltd | 06 - Specialist Orthopaedic | LH568 | Kasios TCP | TCP Bone graft substitute Granules | 10cc
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BI489 | Mimix Calcium Phosphate Bone Void Filler | Calcium Phosphate | 20 grams
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE309 | ENGlpore | Granules (size 1,0-2,5 mm) 15 cc Granules (size 2,5-4,0 mm) 15 cc | Granules (size 1,0-2,5 mm) 15 cc Granules (size 2,5-4,0 mm) 15 cc
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DY354 | Conduit TCP | Bone matrix implant | 15cc
Lifehealthcare Pty Ltd | 06 - Specialist Orthopaedic | LH563 | Jectos 20cc | Injectible synthetic bone graft substitute | 20cc
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | SY001 | Chronos | Bone Graft Substitute | 10-20cc
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | BH359 | OsseoTi Porous Metal Foot & Ankle Reconstructive Wedges | Porous Titanium Reconstructive Wedges | 15mm x 15mm x 4mm to 24mm x 20mm x 11mm
Device Technologies Australia Pty Ltd | 06 - Specialist Orthopaedic | DE577 | BioSync Anatomic Reconstruction Wedge | Titanium metal scaffold for angular correction in ankle and foot | Cotton Wedges 16mm-20mm Depth x 4.5mm-7.5mm Thickness Evans Wedges 18mm-22mm Width & Depth x 6.5mm-12mm Thickness
Johnson & Johnson Medical Pty Ltd | 06 - Specialist Orthopaedic | DP223 | Thackray Mesh | Stainless Steel Ortron 90 mesh | 200x200mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI401 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Cover, Solid or Holed, PGA/PLA | 0.25mm x 50x50mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI417 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Cover, Solid or Holed, PGA/PLA | (0.5 or 0.8mm) x 25 x 25mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI418 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Panel, Lactosorb. 1.5mm System. PGA/PLA | 25 x 50mm (5 x 10 hole)
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU014 | Aus Systems Titanium Miniplates (Bone Plates) | Low profile burr hole cover | 10mm, 14mm, 18mm, 22mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI349 | W Lorenz Osteosynthesis System | Plate, Compression Straight, 2mm System. Titanium | 4 hole
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH007 | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 4-7 holes
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU007 | Aus Systems Titanium Miniplates (Bone Plates) | Plate Titanium | 0.7mm profile 4-7 holes
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI351 | W Lorenz Osteosynthesis System | L-Plate, 2mm System, Left or Right. Titanium | 2 x 2 hole, long
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH016 | Materialise Standard+ Solutions - Plates | Titanium plate, Complex shape | 0.5-0.99mm thick, 8-32 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH010 | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 8-32 holes
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU060 | Aus systems titanium Miniplates (Bone plates) | titanium miniplates | 8,19 hole
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH011 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, &lt;4 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH013 | Materialise Standard+ Solutions - Plates | Titanium plate, S-shape | 1.0-1.99mm thick, 4-7 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH012 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 4-7 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH014 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 4-7 holes
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU061 | Aus Systems Titanium Miniplates (bone Plates) | Titanium Miniplates | 1.0-1.99mm thick, 4-7 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH008 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 8-15 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH015 | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 8-15 holes
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU019 | Aus Systems Titanium Miniplates (Bone Plates) | Plate Titanium | 1mm & 1.2mm profile 16 & 19 hole
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH017 | Materialise Standard+ Solutions - Plates | Titanium plate | 2.0-2.99mm thick, 4-7 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH018 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 8-15 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH019 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 16-32 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH020 | Materialise Standard+ Solutions - Plates | Titanium plate, Locking, Complex Shape | 2.0-2.99mm thick, >32 holes
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH021 | Materialise Standard+ Solutions - Screws | Titanium Screw, Locking | Diameter 1.25-3.24mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | ZA068 | Lactosorb Resorbable Craniomaxillofacial Fixation System | Bone Screws | 1.5-2.5mm diameter
Aus Systems Pty Ltd | 07 - Plastic and Reconstructive | AU059 | Aus systems titanium bone screws | titanium bone screws | 1.5mm diameter - 2.3mm diameter, 3mm length to 15mm length
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH009 | Materialise Standard+ Solutions - Screws | Titanium Screw | Diameter 1.25-3.24mm
Zimmer Biomet Pty Ltd | 07 - Plastic and Reconstructive | BI714 | RapidFlap Cranial Clamp | Clamp, Burr Hole or Craniotomy Line, Titanium | 12, 16, 20mm
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH001 | Materialise PorousiTi - Cranium | Patient specific Titanium 3D printed implant for cranial reconstruction | Personalized so the size is variable
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH002 | Materialise PorousiTi - Mandible | Patient specific Titanium 3D printed implant for mandible | Personalized so the size is variable
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH003 | Materialise Titanium 3D Printed Plates | Patient specific Titanium 3D printed plates for maxillofacial applications | Personalized so the size is variable
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH004 | Materialise PorousiTi - Maxilla | Patient specific Titanium 3D printed implant for maxilla | Personalized so the size is variable
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH005 | Materialise Titanium 3D Printed Plates - Zygoma | Patient specific Titanium 3D printed plates for zygoma reconstruction | Personalized so the size is variable
MATERIALISE AUSTRALIA PTY LTD | 07 - Plastic and Reconstructive | WH006 | Materialise PorousiTi - Orbital | Patient specific Titanium 3D printed implant for orbital reconstruction | Personalized so the size is variable
Johnson & Johnson Medical Pty Ltd | 07 - Plastic and Reconstructive | SY750 | Orthodontic Bone Anchor System | Anchor Screw, Self Drilling, Self Tapping | 1.5mm - 1.8mm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ334 | Assurity PM1240 | Single Chamber Rate-Responsive Pacemaker with RF Telemetry | 10.4cc, 20g
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ335 | Endurity PM1160 | Single Chamber Rate Responsive Pacemaker | 10.5cc, 19g
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ339 | Assurity PM2240 | Dual Chamber Rate Responsive Pacemaker with RF Telemetry | 10.4cc, 20g
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ338 | Allure Quadra RF PM3242 | CRT Quadripolar, Rate Responsive Pacemaker with RF Telemetry | 15cc, 27g
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ158 | Durata 7170, 7171 | Passive fixation, true bipolar, dual coil, steroid eluting, endocardial defibrillation leads with Optium insulation overlay | 60, 65 and 70cm
Boston Scientific Australia Pty Ltd | 08 - Cardiac | BS351 | ENDOTAK RELIANCE G Active | Active Dual Coil with GORE ePTFE covered coils | 59-90cm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ132 | Myodex 1084T | Steroid-Eluting Bipolar Sutureless Myocardial Pacing Lead with Titanium Nitride Electrodes | 35cm and 54cm
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC229 | Medtronic Capsure SP Novus Model 5594 Lead | Bipolar, steroid, passive fixation pacing lead | 30-100cm
Advanced Biomedical Pty Ltd | 09 - Cardiothoracic | AB077 | CardiaMed Prosthetic Heart Valve | Intra-supra-annular position Aortic and Mitral bileaflet mechanical heart valve made from solid pyrolitic carbon. Models: ADM.XX-1In and MDM.XX-1In | 19 – 29mm (Aortic) 25 – 33mm (Mitral)
Advanced Biomedical Pty Ltd | 09 - Cardiothoracic | AB078 | CardiaMed Prosthetic Heart Valve | Supra-annular position Aortic and Mitral bileaflet mechanical heart valve made from solid pyrolitic carbon. Models: ADM.XX-1Su and MDM.XX-1Su | 17 - 23mm (Aortic) 25 - 33mm (Mitral)
Livanova Australia Pty Limited | 09 - Cardiothoracic | SA170 | Perceval S Sutureless Aortic Heart Valve | Sutureless Aortic Pericardial Heart Valve | S (19-21mm), M (21-23mm), L(23-25mm), XL (25-27mm)
Livanova Australia Pty Limited | 09 - Cardiothoracic | SA150 | Memo 3D Mitral Semirigid Annuloplasty Ring | Memo 3D Semirigid Mitral Annuloplasty Ring with 3D flexibility and coated with Carbofilm with or without Rechord system | 24mm, 26mm, 28mm, 30mm, 32mm, 34mm, 36mm, 38mm
Livanova Australia Pty Limited | 09 - Cardiothoracic | SA189 | Memo 4D Mitral/tricuspid annuloplasty ring | Memo 4D Mitral/tricuspid annuloplasty ring device is intended for correction of mitral insufficiencies or steno-insufficiencies. The use of the Memo 4D device is indicated for correction of congenital or acquired mitral insufficiencies with dilatation and deformation of the mitral annulus. | Sizes 24,26,28,30, 32,34, 36, 38, 40, 42 mm
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 09 - Cardiothoracic | SJ383 | HeartMate II Left Ventricular Assist System - Implant Kit - Unsealed Grafts | Implant Kit with Unsealed Grafts | One size only
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 09 - Cardiothoracic | SJ386 | HeartMate II Left Ventricular Assist System - Implant Kit - Sealed Grafts | Implant Kit with Sealed Grafts | One size only
Device Technologies Australia Pty Ltd | 10 - Vascular | DE615 | E-xl Aortic Stent | The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and dissections, and for the treatment of vena cava syndrome. | Total Length: 70, 130mm Flare Length: 20, 30, 35mm Diameter: 28, 32 Flare Diameter: 32, 36 Design: single- or double-flared
Boston Scientific Australia Pty Ltd | 10 - Vascular | BS167 | Placehit Wallstent | Biomedical cobalt-based alloy, self expanding stent | Stent diameters up to 19mm and lengths up to 100mm
Culpan Medical Pty | 10 - Vascular | CB020 | CASPER Carotid Artery Stent System | Self-expanding nickel titanium (nitinol) stent implant | Outer Diameter 5-10mm Overall Length 25 - 47mm Layer Length 25 - 47mm
Device Technologies Australia Pty Ltd | 10 - Vascular | DE614 | E-xl Aortic Stent | The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and dissections, and for the treatment of vena cava syndrome. | Total Length: 70, 100mm Flare Length: 20, 30mm Diameter: 14, 16, 18, 20, 24 Flare Diameter: 18, 20, 22, 24, 28 Design: single- or double-flared
Endotherapeutics Pty Ltd | 10 - Vascular | ET037 | SX-Ella Endovascular Stent | Uncovered, self-expanding nitinol stent | Dia 6-16mm, length 22-77mm
Device Technologies Australia Pty Ltd | 10 - Vascular | DE613 | E-xl Aortic Stent | The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and dissections, and for the treatment of vena cava syndrome. | Total Length: 70, 130mm Flare Length: 20, 35mm Diameter: 36 Flare Diameter: 40 Design: single- or double-flared
Lifehealthcare Pty Ltd | 10 - Vascular | LH006 | Thoratec, Vectra Vascular Graft - Synthetic | Vectra, Biocompatible Polyurethane Vascular Access Graft | Length 20cm
Terumo Australia | 10 - Vascular | TU049 | SEALPTFE Graft | Standard Wall, Straight, Sealed, PTFE | 5 to 10mm x 10 to 20cm
Lifehealthcare Pty Ltd | 10 - Vascular | LH004 | Thoratec, Vectra Vascular Graft - Synthetic | Vectra, Biocompatible Polyurethane Vascular Access Graft | Length 40cm
Lifehealthcare Pty Ltd | 10 - Vascular | LH005 | Thoratec, Vectra Vascular Graft - Synthetic | Vectra, Biocompatible Polyurethane Vascular Access graft | Length 50cm
B Braun Australia Pty Ltd | 10 - Vascular | BB106 | Temporary Vena Cava System | Phynox/ combination of various metals inc. Nickel,Copper, Molubden,Steel | One size, expands to Max length 38mm/Max diameter 30mm
Medtronic Australasia Pty Ltd | 10 - Vascular | MC954 | Mo.Ma Proximal Cerebral Protection Device | Mo.Ma Proximal Cerebral Protection Device. Protects the brain from embolisation, blocking antigrade blood flow from the common Carotid Artery and retrograde blood flow from the External Carotid Artery. | Minimum sheath size = 8F or 9F, Minimum diameter of inner working channel = 0.069"/1.76mm (8F sheath) or 0.083"/2.12mm (9F sheath); 0.035" guide wire compatible
Medtronic Australasia Pty Ltd | 10 - Vascular | MI035 | Mo.Ma Ultra Proximal Cerebral Protection Device | Cerebral embolic protection device: blocks antegrade blood flow from the common carotid artery and retrograde blood flow from the external carotid artery. Embolic protection is established before the lesion is crossed. | Minimum sheath size = 8F (5F inner working channel) or 9F (6F inner working channel)
Johnson & Johnson Medical Pty Ltd | 10 - Vascular | JJ224 | TruFill Pushable coil | Platinum pushable coil of 1. Straight, 2. C, 3. Flat spiral and 4. Complex shapes. Embolic coil and delivery tube. | Size .014" outer diameter. Size 2 - 10mm and length 2 - 100mm
DJO Australasia Pty Ltd | 11 - Hip | DD026 | R120 Cemented Femoral Stem | CoCr, unpolished, tapered, collared, separate neck | Size 1 to 6
DJO Australasia Pty Ltd | 11 - Hip | DD006 | Foundation Hip System 450, 460 | Foundation Non-porous, cemented Stem | 8, 9, 10.5, 12, 13.5, 15, and 16.5
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP180 | Charnley Standard Femoral Stem | Stainless steel, (Ortron 90) fixed & attachable femoral heads | Sizes less than 200mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP203 | Elite Plus Femoral Stem | Stainless steel, Ortron 90, cemented femoral stem, unpolished | CDH, Size 1-7 and all offsets
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP175 | Charnley Hip Long Femoral Stem | Stainless steel Ortron 90 stem | 10"- 15" (250-375mm)
DJO Australasia Pty Ltd | 11 - Hip | DD027 | R120 Uncemented Femoral Stem | Femoral Stem porous/HA coated, Modular, CrCo, standard lengths | Size 1 to 6
DJO Australasia Pty Ltd | 11 - Hip | DD007 | Foundation Hip System, 440, 470, 480 | Foundation Porous, Press Fit, fracture Stem with or without collar | 8, 9, 10.5, 12, 13.5, 15, 16.5, 18.0
DJO Australasia Pty Ltd | 11 - Hip | DD048 | CLP Hip System - Femoral Component, Ti, Grit Blast, non HA, standard and lateral offset | Non modular femoral hip stem, designed for uncemented use, and to be used with CoCro or Ceramic heads in total hip arthroplasty, or Bipolar heads in hemi-arthroplasty | 14 x standard offset components and 12 lateral offset components
DJO Australasia Pty Ltd | 11 - Hip | DD001 | Linear Hip Stem | Linear Hip Stem Standard or Lateral Offset (reduced neck) | Sizes 5, 6, 7, 8, 9, 10, 11, 12, 13, 14, 15, 17 and 19 (standard and lateral offsets)
DJO Australasia Pty Ltd | 11 - Hip | DD047 | Revelation Hip System - Femoral Component, Ti, Grit Blast, non HA, standard & lateral offset | Non modular femoral hip stem, designed for uncemented use, left & right specific with 130 degree neck angle & 12 degrees of built-in anteversion. Proximal circumferential "3D" beading, a highly polished neck & highly polished distal stem | 16 stems: 8 sizes Left & 8 sizes Right - 8.0, 9.0, 10.5, 12.0, 13.5, 15.0 & 16.5
Zimmer Biomet Pty Ltd | 11 - Hip | ZI555 | M / L Taper Hip Stem with Kinectiv Technology | Titanium, plasma spray with HA | size 5, 6 , 7.5, 9, 10, 11, 12.5, 13.5, 15, 16.25, 17.5, 20, 22.5
Medacta Australia Pty Ltd | 11 - Hip | MU142 | MiniMax Femoral Stem | Titanium, Ti Plasma coated with HA | 0-9, left & right
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DY517 | Solution Implantable Hip System | Revision Standard & MMA 8 straight or bowed porous coated collarless, coxa vara or high offset uncemented stem | 8 inch (200mm) size 10.5 - 22.5
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX018 | Exactech M Series Total Hip System | Femoral Cone with calcar | 21-31mm
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | FA016 | Exactech M series modular Hip System | Modular Titanium Revision Hip - Metaphyseal Segment | 21 - 31mm, XSmall - Large
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX017 | Exactech M series modular Hip System | Modular femoral stem, titanium, polished, non HA | 11 - 21mm x 135-165mm
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | FA017 | Exactech Total Hip System | Modular stem Titanium polished, non HA | Diameter: 11mm-21mm, Length: 200mm - 300mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP121 | Solution Calcar Replacement Femoral Stem | CoCr calcar replacement stem, uncemented, beaded (Porocoat) | Size 7-10 inch (175 - 250mm)
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP167 | Thompson Hip | Stainless steel (Ortron 90), Thompson unipolar monoblock femoral component | head size 40-54
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP168 | Austin Moore Hip Prosthesis | Stainless steel (Ortron 90), AMP unipolar monoblock femoral component | Head size 38-60mm
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX024 | Exactech M Series body | Titanium, complex neck segment | 32 - 49mm, -5 - +30mm
DJO Australasia Pty Ltd | 11 - Hip | DD028 | R120 Femoral Neck | CoCr, varying offsets & versions | 32-38mm length, varying degrees
DJO Australasia Pty Ltd | 11 - Hip | DD039 | R120 Metal Femoral Head | R120 Metal Femoral Head <32mm | 28mm, 32mm
DJO Australasia Pty Ltd | 11 - Hip | DD041 | R120 Ceramic Femoral Head | R120 Ceramic, Biolox Femoral Head <32mm | 28mm - 3.5mm to +3.5mm 32mm - 4.0mm to +4.0mm
Medacta Australia Pty Ltd | 11 - Hip | MU018 | Medacta Unipolar Head | Stainless steel, solid head | Size 40-56mm with variable offsets
Zimmer Biomet Pty Ltd | 11 - Hip | BI875 | Endo II Head | Modular Head - CoCr | 41 mm through 61mm
DJO Australasia Pty Ltd | 11 - Hip | DD038 | R120 Metal Femoral Head | R120 Metal Femoral Head >32mm | 36mm
DJO Australasia Pty Ltd | 11 - Hip | DD049 | Foundation Unipolar System - CoCr Unipolar Femoral Heads | CoCr unipolar femoral heads, 40mm to 64mm. Unipolar Femoral Heads | 40mm to 64mm in 2mm increments
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX003 | L-Series Unipolar Head | L-Series unipolar is a modular endoprosthesis consisting of a truncated spherical head and interchangeable neck sleeves. The device is fully machined from cobalt chrome conforming to ASTMF 1537-94 | unipolar head: 42mm, 43mm, 44mm, 45mm, 46mm, 47mm, 48mm, 49mm, 50mm, 51mm, 52mm, 53mm, 54mm, 55mm taper sleeve: 12/14-3.5mm, 12/14 +0mm, 12/14 +3.5mm, 12/14 +7mm, 12/14 +10mm
DJO Australasia Pty Ltd | 11 - Hip | DD040 | R120 Ceramic Femoral Head | R120 Ceramic, Biolox Femoral Head > 32mm | 36mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DY552 | Delta modular head | Delta ceramic modular head | 36-58mm
B Braun Australia Pty Ltd | 11 - Hip | BB249 | Bipolar Head | Bipolar shell plus liner | 38 - 60mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP171 | Hastings Bipolar Prosthesis | Bipolar femoral head, CoCr with fixed UHMWPE insert | Size 36 - 56
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX008 | L-Series Bipolar Head | The L-Series Bipolar Head is a modular two piece device consisting of a spherical cobalt chrome shell and interchangeable polyethylene liner inserts | 28mm 40mm OD, 28mm 41mm OD, 28mm 42mm OD, 28mm 43mm OD, 28mm 44mm OD, 28mm 45mm OD, 28mm 46mm OD, 28mm 47mm OD, 28mm 48mm OD, 28mm 49mm OD, 28mm 50mm OD, 28mm 51mm OD, 28mm 52mm OD, 28mm 53mm OD, 28mm 54mm OD, 28mm 55mm OD, 28mm 57mm OD, 28mm 59 mm OD, 28mm 61mm OD, 22mm 40mm OD, 33mm 41mm OD, 22mm 42mm OD, 22mm 43mm OD, 22mm 44mm OD, 22mm 45mm OD, 22mm 46mm OD, 22mm 47mm OD, 22mm 48mm OD, 22mm 49mm OD, 22mm 50mm OD, 22mm 51mm OD, 22mm 52mm OD, 22mm 53mm OD, 22mm 54mm OD, 22mm 55mm OD, 22mm 56mm OD
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX052 | All Polyethylene cemented acetabular component | The All Polyethylene cemented acetabular components are indicated for use in skeletally mature individuals undergoing primary surgery for total hip replacement due to osteoarthritis, rheumatoid arthritis, osteonecrosis, ankylosing spondylitis, congential hip dysplasia, post-traumatic degenerative problems of the hip, and for treatment of proximal femoral fractures where prosthetic replacement is determined by the surgeon as the preferred treatment. | 22mm ID: 44mm OD, 46mm OD, 48mm OD, 50mm OD, 52mm OD, 54mm OD 28mmID: 48mmOD, 50mmOD, 52mmOD, 54mm OD, 56mm OD, 58mm OD, 60mm OD 32mm ID: 52mm OD, 54mmOD, 56mm OD, 58mm OD, 60mm OD
Zimmer Biomet Pty Ltd | 11 - Hip | BI111 | Mallory Head Hip System | Acetabular shell, Titanium Alloy, plasma, non HA | 40-80mm
Amplitude Australia | 11 - Hip | LI060 | Horizon Acetabular Shell | Anodised titanium, HA encoated with screw holes for ceramic inserts | 42 - 70 mm
Zimmer Biomet Pty Ltd | 11 - Hip | BH039 | Avantage Reload Dual Mobility Cementless Acetabular Cup | Revision Acetabular Cup polished inner surface, with flanges, Porous HA Coating, Stainless Steel | 44mm - 64mm
Zimmer Biomet Pty Ltd | 11 - Hip | BI770 | Exceed Acetabular System | Acetabular shell, solid, plasma, HA | Shell sizes 40-70mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP222 | DePuy Custom Made Acetabular Liners | UHMWPE custom liner for obsolete DePuy shells | Made to order
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DY036 | Duraloc Marathon Acetabular UHMWPE Cross Linked Liner | UHMWPE, highly cross linked, | Sizes 36-76mm
Amplitude Australia | 11 - Hip | LI044 | Horizon Ceramic Liner | Ceramic insert, Biolox Forte | 9 sizes for 28, 32 and 36mm heads
DJO Australasia Pty Ltd | 11 - Hip | DD043 | FMP Acetabular System - Acetabular cup insert, metal on metal | Modular metal on metal liner, available in 28mm ID, 34mm ID, 38mm ID, to fit FMP Acetabular Cup system | 28mm ID, 34mm ID, 38mm ID, to fit FMP Acetabular Cups from 48 mm to 70mm OD
DJO Australasia Pty Ltd | 11 - Hip | DD046 | FMP Acetabular System - Constrainer Liner | 28mm constrained liner and titanium locking ring is used with the FMP acetabular system to treat recurrent dislocation. | 28mm ID, from MP5 to MP12 (40mm through to 70mmOD)
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP969 | SROM Acetabular Constrained UHMWPE Liner | UHMWPE Constrained liner includes locking ring | 0Deg, 10 Deg, 28mm, 32mm,
B Braun Australia Pty Ltd | 11 - Hip | BB318 | Plasmacup Delta | 36mm combination plasmacup HA coated shell & Biolox Delta liner | 32mm x 44mm - 46mm diameter 36mm x 48mm - 54mm diameter
B Braun Australia Pty Ltd | 11 - Hip | BB247 | Reconstruction Shell | Isotan | 52-64mm, left and right
Zimmer Biomet Pty Ltd | 11 - Hip | BI983 | Max-Ti Modular Protrusio Cage | Acetabular Support Component, Porous Ti Alloy | 52, 56, 60, 64, 68 and 72mm Left and 52, 56, 60, 64, 68 and 72 mm Right
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP173 | PLAD Acetabular Rim Augment | Metal & polyethylene curved plate for screw attachment to UHMWPE cemented cups. Includes 4 screws. | 22- 28mm
DJO Australasia Pty Ltd | 11 - Hip | DD025 | FMP Acetabular Screws | Titanium, cancellous screws | 25mm to 50mm
Amplitude Australia | 11 - Hip | LI093 | C2 Cancellous Screws | titanium, Cancellous Screws | 15mm - 50mm
Johnson & Johnson Medical Pty Ltd | 11 - Hip | JJ753 | Hardinge Cement Restrictor | UHMWPE cement restrictor | One size only
Zimmer Biomet Pty Ltd | 11 - Hip | BI876 | Endo II Head | Modular Head Taper Insert - CoCr | -6mm to +6mm
Amplitude Australia | 11 - Hip | LI105 | U2 Taper Sleeve | Taper Sleeve, Unipolar | -4, 0, +4, +8
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DP976 | SROM Acetabular Insert Locking Pin | Titanium pin provided seperately from insert | 3.5mm - 5.0mm
DJO Australasia Pty Ltd | 11 - Hip | DD045 | FMP Acetabular System - Constrained Liner Locking Ring | 28mm constrained liner locking ring, manufactured from titanium, is used with the FMP constrained acetabular liners. | one size, to fit all 28mm ID constrained liners
Zimmer Biomet Pty Ltd | 11 - Hip | BI098 | Kent Hip System | Transverse Screws, Titanium | 5mm x (25-60mm)
Johnson & Johnson Medical Pty Ltd | 11 - Hip | DY020 | SROM Trochanteric Washer Screw | Titanium, attaches washer to calcar replacement stem | 42mm, 52mm, 62mm
DJO Australasia Pty Ltd | 11 - Hip | DD042 | Foundation Unipolar System - CoCr Unipolar Sleeves | Unipolar sleeves are used in conjunction with Unipolar CoCr Femoral Heads to provide -3.5mm, +0mm, +3.5mm, +7.0mm & +10mm neck length options when used in conjunction with a femoral hip component in hemi-arthroplasty operations. | -3.5mm,+0mm (neutral), +3.5mm, +7mm & +10mm
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX010 | L-Series Taper Sleeve for Unipolar Head | The L-series unipolar is a modular endoprosthesis consisting of a truncated spherical head and interchangeable neck sleeves. The device is fully machined from cobalt chrome conforming to ASTM F1537-94. | taper sleeve: 12/14 -3.5mm, 12/14 +0mm, 12/14 +3.5mm, 12/14 +7mm, 12/14 +10mm
Emergo Asia Pacific Pty Ltd | 12 - Knee | ER465 | Europ standard cemented condyle | Knee cemented condyle | 1 to 6, right and left
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU013 | Europ standard cemented condyle | Knee cemented condyle | 1 to 6, right and left
Zimmer Biomet Pty Ltd | 12 - Knee | ZA018 | Vanguard XP Femoral | Vanguard XP Femoral component | 52.5-80
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX033 | Optetrak Total Knee System Femoral Component | Femoral Component, cemented, CoCr, posterior stabilised | Size 0 - 6
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX034 | Optetrak Hi Flex Femoral Component | Femoral Component, Cemented, CoCr, High Flex (Hi Flex), posterior stabilised | Size 0 - 5, Left and Right
Zimmer Biomet Pty Ltd | 12 - Knee | ZI113 | NexGen Knee Femoral Component | Femoral Component, cemented with PMMA, CoCr | A - H (L&R)
Zimmer Biomet Pty Ltd | 12 - Knee | ZI117 | NexGen Femoral Component | Femoral Component, posterior stabilised, PMMA coating, cemented, CoCr | A - H (L&R)
Emergo Asia Pacific Pty Ltd | 12 - Knee | ER467 | Europ Standard Uncemented Condyle | Knee Uncemented Condyle | 1 to 6, right and left
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU015 | Europ Standard Uncemented Condyle | Knee Uncemented Condyle | 1 to 6, right and left
Zimmer Biomet Pty Ltd | 12 - Knee | BI887 | ROCC Femoral Component | Femoral Component, uncemented, Titanium plasma sprayed surface (Porous plasma spray PPS) with HA | 1-8
Corin Australia Pty Ltd | 12 - Knee | CR058 | Uniglide Uni Knee System Uni Femoral Component | Uni femoral component, CoCr, uncemented, Titanium plasma spray, with calcium phosphate (HA) ingrowth surface with TiNi articular surface coating | 1-4
Emergo Asia Pacific Pty Ltd | 12 - Knee | ER468 | Europ Standard & Postero Cemented Monobloc Plate | Knee Cemented Monobloc plate | 1 to 6
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU016 | Europ Standard & Postero Cemented Monobloc Plate | Knee Cemented Monobloc plate | 1 to 6
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX032 | Optetrak Total Knee System, Tibial Baseplate | Tibial Baseplate, titanium, fixed insert, cemented | Size 0-6
B Braun Australia Pty Ltd | 12 - Knee | BB253 | Columbus Total Knee System (TKS) Tibial Baseplate | Tibial Baseplate, Cemented, CoCr for mobile insert, polished insert surface | T1- T5
Zimmer Biomet Pty Ltd | 12 - Knee | BI196 | Vanguard Rotating Platform Tibial Baseplate | Tibial Baseplate Chrome Cobalt | 63-87mm
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX040 | Optetrak RBK (Rotating Bearing Knee) Tibial Baseplate | Tibial Baseplate, titanium with polished insert surface, cemented, for a mobile insert | 1-5
Zimmer Biomet Pty Ltd | 12 - Knee | BI977 | Regenerex Tibial Tray | Tibial Baseplate, modular. Regenerex porous coat, Ti Alloy | 59, 63, 67, 71, 75, 79, 83 mm
Zimmer Biomet Pty Ltd | 12 - Knee | BI900 | Vanguard Tibial Baseplate | Tibial Baseplate, uncemented, Titanium plasma sprayed surface (Porous plasma spray PPS) with HA for mobile insert | 59-91mm
Zimmer Biomet Pty Ltd | 12 - Knee | BI202 | Repicci resurfacing Tibial Bearing | Uni tibial Component, all poly Cemented, UHMWPE | 20-42mm
Corin Australia Pty Ltd | 12 - Knee | CR061 | Uniglide Uni Knee System Uni Tibial Component | Uni tibial component, CoCr, with TiNi insert surface coating for mobile insert | Sizes 1 - 8 inclusive
Corin Australia Pty Ltd | 12 - Knee | CR057 | Uniglide Uni Knee System Uni Tibial Component | Uni tibial component, CoCr, uncemented, Titanium plasma spray, with calcium phosphate (HA) ingrowth surface with TiNi insert surface coating for mobile insert | 1-8
B Braun Australia Pty Ltd | 12 - Knee | BB255 | Columbus Total Knee System (TKS) Tibial Insert | Tibial Insert, UHMWPE, Mobile | T1- T5
Emergo Asia Pacific Pty Ltd | 12 - Knee | ER466 | Europ standard Polyethylene (UHMW) insert | Knee insert | SMALL (thickness: 7,9,11,13,15mm) MEDIUM (thickness: 7,9,11,13,15mm) LARGE (thickness: 7,9,11,13,15mm)
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU014 | Europ standard Polyethylene (UHMW) insert | Knee insert | SMALL (thickness: 7,9,11,13,15mm) MEDIUM (thickness: 7,9,11,13,15mm) LARGE (thickness: 7,9,11,13,15mm)
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX039 | Optetrak Total Knee System, Tibial Insert | Tibial Insert, UHMWPE, Fixed (Cruciate retained) | Size 0-6, 1 Delta 9 - 18mm
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX041 | Optetrak Total Knee System, Tibial Insert | Tibial Insert, UHMWPE, Fixed (Posterior Stabilised) | Size 0-6
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX042 | Optetrak Total Knee System, Tibial Insert | Tibial Insert, UHMWPE, Fixed (Hi Flex) | Size 0-6
EXACTECH AUSTRALIA PTY LTD | 12 - Knee | EX043 | Optetrak RBK (Rotating Bearing Knee) Total Knee System Tibial Insert | Tibial Insert, UHMWPE, mobile, posterior stabilised | Size 1-5, 9mm-15mm
Emergo Asia Pacific Pty Ltd | 12 - Knee | ER464 | Europ Knee Prostheses-Cemented Patella | Europ Knee Prostheses, Cemented Patella compatible with all Europ System knees | Diameters 25,29,32,35,38 mm
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU011 | Europ standard & Postero cemented Patella | Europ Standard & Postero Cemented Patella | Diameters 25,29,32,35mm
Smith & Nephew Pty Ltd | 12 - Knee | SN323 | Smith & Nephew Patella Component | Patella Component, cemented, UHMWPE, can be used for multiple systems (Genesis II, Journey, Legion) | 23-41mm
Euros Orthopaedics Australia Pty Ltd | 12 - Knee | EU012 | Europ knee cancellous screw | Knee cancellous screws | diameter: 6.5mm lengths 25,30,35,40,45,50mm
Zimmer Biomet Pty Ltd | 12 - Knee | BI978 | Regenerex Tibial Tray | Stem, PressFit, Ti Alloy | 40, 80mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH070 | Synergy/Polaris Spinal System | Open/Closed Screws | 4.0 to 8.0mm dia.
Lifehealthcare Pty Ltd | 13 - Spinal | LH450 | DSS Pedicle Screw | The DSS Pedicle Screw is a mono-axial pedicle screw designed for implantation in the posterior thoracolumbar spine for skeletally mature patients | 5.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length 6.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length 7.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length 8.0mm diameter x 30, 35, 40, 45, 50, 55, 60mm length
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI993 | Vitality Spine System - Monoaxial Pedicle Screws | Monoaxial pedicle Screws Titanium | Diameter = 4.0mm-7.5mm Length= 20mm-55mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI681 | Pathfinder | Minimally invasive pedicle fixation system | Cannulated Polyaxial Screws 4.5mm, 5.5mm, 6.5, 7.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH116 | Polaris Spine System | Polaris, Polyaxial screw, Titanium | 4.0-8.5mm dia
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | JJ937 | Summit Spinal system | Polyaxial Screws | 3.5 to 4mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI905 | Virage Pedicle Polyaxial Screws | Pedicle polyaxial screws | 3.5mm-5.0mm x 10-45mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI994 | Vitality Spine System - Polyaxial Pedicle Screws | Polyaxial Pedicle Screws Titanium | Diameter = 4.0mm-10.5mm Length= 20mm-120mm
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER325 | Ulrich Anterior Cervical Plating System-Screws | Ulrich Mambo Anterior Cervical Plating System-Screws, self drilling | dia (3.5-4.0 mm) x length (13-19 mm)
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI920 | TriCor Sacroiliac Joint Fusion System, Locking Implant | Locking Implant | 7mm diameter, 30-70mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH108 | Anterior Cervical Plate System | Titanium Cancellous Bone Screw | 4 - 20mm
Device Technologies Australia Pty Ltd | 13 - Spinal | DE629 | Zuma-C Bone Screw | Variable angle bone screw | 4.0-4.5mm x 10-18mm
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY333 | Summit Cervical Rod System | Occipital Bone Screw | 4.5 - 5.25 Dia x 6 -16mm length
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY338 | Summit Cervical Rod System | Cortical, Cancellous and Rescue Screws | 3.5-4.5mm x 12-48mm
LMT Surgical Pty Ltd | 13 - Spinal | LM465 | Cervical Screw | Cervical Screw | 14-18mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI487 | Trinica Screw | Titanium Screws, fixed and variable angle. | 4.2mm x 12/14/16/18mm; 4.6mm x 12/14/16/18mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI517 | Trinica Anterior Lumbar/Sacral Screw | Screw, Titanium, Fixed or Variable Axis | 22 to 34mm lengths
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI904 | Virage Occipital Screws | Occipital Screws | 4.5mm x 6-16mm, 5.25mm x 6-16mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI950 | Timberline Lateral Fusion System | Bone Screws | 30-60mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH076 | Synergy Spinal System | Point/Double Hex Set Screw | 4.75 - 6.35mm
Device Technologies Australia Pty Ltd | 13 - Spinal | DE538 | Jazz Claw Posterior Fixation System (Set Screw) | Set Screw | one size
Device Technologies Australia Pty Ltd | 13 - Spinal | DE630 | Zuma-C Locking Cover | Screw Locking Cover | 6-12mm
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER326 | Ulrich Anterior Cervical Plating System-set and locking screw | Ulrich Mambo Anterior Cervical Plating System-settling and clamping screws | N/A
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | JJ913 | Summit Spinal System | Screws and nuts | One size
Kynesis Pty Ltd | 13 - Spinal | UL002 | Precision Set Screw | Precision System Set Screw | 5.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI699 | Universal Clamp | Locking Screw | .
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI906 | Virage Closure Top | Closure Top and dome nut | One Size
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI953 | Polaris Spine System | Set Screws | standard
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI995 | Vitality Spine System - Set Screw | SET SCREW | One size only
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI682 | Pathfinder | Minimally invasive pedicle fixation system | Open Implant Closure Top 5.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI952 | Timberline Lateral Fusion System | Cover Plate | 2 and 4 hole
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY337 | Summit Cervical Rod System | Open Cable Connector | One size only
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI911 | Virage Cable Connector | Cable Connector | One Size
Device Technologies Australia Pty Ltd | 13 - Spinal | DE532 | Jazz Sublaminar Band | Sublaminar Band for use with Jazz Claw Connector | 1 size
Device Technologies Australia Pty Ltd | 13 - Spinal | DE573 | Jazz Posterior Fixation System | System of Polyester Braid, connector and locking screw | 4mm braid, 3.5-6mm connector
Device Technologies Australia Pty Ltd | 13 - Spinal | DE574 | Jazz Posterior Fixation System - Multipurpose Connector | Polyester braid, connector and set screw | 5.5mm diameter
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI708 | Universal Clamp | Construct consisting of a band, a clamp and a set screw | 4.5mm, 4.75mm, 5.5mm, 6.0mm,
Zimmer Biomet Pty Ltd | 13 - Spinal | BH144 | Polaris Domino | Parallel and axial, rod to rod connectors, titanium alloy | (3.5 - 6.35mm) x (3.5 - 6.35mm)
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY575 | Summit Sl System | Connectors - wedding bands and axial | Various
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI910 | Virage Closed Rod Connector | Closed Rod Connector | 3.5 to 5.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI954 | Polaris Spine System | Axial Connectors | 60-120mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI996 | Vitality Spine system - Rod Connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH075 | Synergy/Polaris Spinal System | Lateral Connectors | 25-75mm
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY342 | Summit Cervical Rod System | Connectors Left or Right or Neutral | One size only
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY574 | Summit Sl System | Connectors | Various
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI907 | Virage Lateral Offset Connector | Offset Connector | 10mm and 25mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI997 | Vitality Spine System - Iliac Lateral Connector | Open and Closed Iliac Lateral Connector | 20mm - 50mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI998 | Vitality Spine System - Tandem rod connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH074 | Synergy/Polaris Spinal System | Fixed Transverse Connectors | 10 - 31.5mm
Device Technologies Australia Pty Ltd | 13 - Spinal | DE553 | Jazz Claw Posterior Fixation System - Connector | Connector with dual locking screws for Jazz Claw Connector | One size
Device Technologies Australia Pty Ltd | 13 - Spinal | DE586 | Jazz Frame T-Bar | Fixed transverse rod-to-rod connector | 25mm, 30mm, 35mm
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY336 | Summit Cervical Rod System | Cross Connector | One size only
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA001 | Vitality Spine System - Fixed Cross Connector | Fixed length cross connector, titanium | 21mm X 5.5mm - 31mm X 5.5mm & 21mm Wide X 6.0mm - 31mm Wide X 6.0mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI908 | Virage Rod to Rod Transverse Connector | Rod to Rod Transverse Connector | XS, S, M, L, XL
Zimmer Biomet Pty Ltd | 13 - Spinal | BH073 | Synergy/Polaris Spinal System | Adjustable Transverse Connector | XXS-Medium
Lifehealthcare Pty Ltd | 13 - Spinal | LH517 | DSS HPS Cross Connector | Complete system of clamps, set screws and connector bar, Titanium | 40 - 66mm gap
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI909 | Virage Head to Head Transverse Connector | Transverse Connector Adjustable | XS, S, M, L, XL
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI999 | Vitality Spine System - Multi-Span Cross Connector | Adjustable length cross connector, titanium | 33-36mm Wide X 5.5mm - 70-90mm Wide X 6.0mm
Device Technologies Australia Pty Ltd | 13 - Spinal | DE539 | Jazz Claw Posterior Fixation System (Hook) | Left and Right Hook | Standard and large hook
Device Technologies Australia Pty Ltd | 13 - Spinal | DE570 | Jazz Claw Posterior Fixation System (Hook) | Left and Right Hook | Standard and large hook
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY344 | Summit Cervical Rod System | Transverse Connector Hook | One size only
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA084 | Vitality Spine System- Hook | Hook | 4.0mm, 5.0mm, 6.0mm, 7.5mm, 9.0mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI912 | Virage Hooks | Virage Hooks | 6mm and 8mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI955 | Polaris Spine System | Hooks | S,M,L
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER324 | Ulrich Anterior Cervical Plating System-Plate (>55 mm) | Ulrich Mambo Anterior Cervical Plating System-Plate (>55 mm) | 8-10 holes, length 56-92 mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA015 | MaxAn Anterior Cervical Plating System | Titanium plate for anterior cervical spine | >55mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI897 | Trinica/InVizia Anterior Cervical Plates | Titanium Plate for anterior cervical spine. | >55mm
Emergo Asia Pacific Pty Ltd | 13 - Spinal | ER323 | Ulrich Anterior Cervical Plating System-Plate | Ulrich Mambo modular anterior cervical plating system | 2-6 holes; length to 55 mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA014 | MaxAn Anterior Cervical Plating System | Titanium plate for anterior cervical spine | ≤55mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI896 | Trinica/InVizia Anterior Cervical Plates | Titanium plate for anterior cervical spine | ≤55mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI518 | Trinica Anterior Lumbar Plate | Lumbar Plate, Titanium | 35-51mm lengths
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI519 | Trinica Anterior Lumbar Plate | Sacral Plate, Titanium | 33-51mm lengths
LMT Surgical Pty Ltd | 13 - Spinal | LM464 | PLAK RSF | Titanium Cervical Plate | 17mm & 19mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI951 | Timberline Lateral Fusion System | Lateral Plate | 6-16mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI913 | Virage Occiptial Plates | Modular adjustable occipital plates | small, medium, large
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY334 | Summit Cervical Rod System | Transition Rod | 3.0/4.0/3.0mm
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY335 | Summit Cervical Rod System | Dual Diameter Rod | 3.0/4.75-5.5mm x 150-600mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI916 | Virage Rods | Virage Dual Diameter Rods | 3.5/5.5mm x 450mm
Zimmer Biomet Pty Ltd | 13 - Spinal | BH066 | Synergy/Polaris Spinal System | Rods | 4.75-6.35 diameter
Zimmer Biomet Pty Ltd | 13 - Spinal | BH067 | Synergy/Polaris Spinal System | Rods | 30 - 60cm
Device Technologies Australia Pty Ltd | 13 - Spinal | DE527 | Jazz Posterior Fixation System Rod | Straight, contoured and transition rods, titanium and cobalt chrome | 4mm - 6mm diameter, 70mm - 600mm length
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | DY343 | Summit Cervical Rod System | Rod | 3mm x 70-200mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA002 | Vitality Spine System - Rods | Straight and contoured rods titanium and CoCR | 5.5 x 25mm - 5.5 x 510mm & 6 x 25mm - 6 x 510mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI639 | BacFix (Thoracolumbar System) | Spinal rod, rigid/flex - Titanium alloy | 5.5 - 6mm x 50 - 125mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI914 | Virage Rods | Virage Rods | 3.5mm x 25-400mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI915 | Virage Occipital Rod | Occipital Hinged Rod | One size
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI919 | TriCor Sacroiliac Joint Fusion System - Washer | Washer | 13mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA050 | ROI-A Anchoring Plates | A pair of titanium anchoring plates to serve as integral fixation within the ROI-A ALIF Cage | Large - Plate length 27mm Medium - Plate length 24mm Small - Plate length 20mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA051 | ROI-C Anchoring Plates | A pair of titanium plates to serve as integral fixation within the ROI-C Cervical Cage | Short Long
Device Technologies Australia Pty Ltd | 13 - Spinal | DE639 | Zuma-C Implant | Integrated low-profile titanium anterior fixation plate with PEEK Optima Interbody spacer | 13x12x16mm - 17x13x12mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA052 | ROI-C Cervical Cage | A cervical cage for anterior approaches to cervical spine | Footprints 12x14, 12x15.5, 14x14, 14x15.5; 14x17mm; Heights 4.5mm to 10mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA053 | ROI-A ALIF Cage | The ROI-A implant is an ALIF interbody/fusion cage manufactured from PEEK-Optima. If the surgeon so chooses, additional stability can be added to the construct by inserting optional self-guided, locking anchoring plates into the cage and the adjacent vertebral bodies. | Footprints 23x26mm, 30x33mm, 33x36m, 27x36mm, 30x39mm. Lordosis angles 2, 6, 10, 14 degrees. Heights 9-19mm. 1 cage per pack.
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI330 | Trabecular Metal Spinal Devices | Composition - Trabecular Metal | Various heights, sizes and diameters
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI536 | Trabecular Metal Spinal Devices | Composition Trabecular Metal | Various heights, diameters and sizes
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI988 | Vista-S | Anterior Cervical Interbody | 4-12mm height
Zimmer Biomet Pty Ltd | 13 - Spinal | BH170 | Zyston Straight Interbody Spacer | Posterior Lumbar Interbody Spacer, PEEK | (7mm x 20mm) to (18mm x 30mm), Convex, Lordotic
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI868 | TM (Trabecular Metal) Ardis Interbody System | Fenestrated and non-fenestrated intervertebral body fusion device | Length 22mm x Width - 9mm x Height – 7-16mm (1mm increments, excludes 15mm) Total 9 sizes. The implant comes in both Fenestrated and un-fenestrated types, therefore there are 16 options in total.
Zimmer Biomet Pty Ltd | 13 - Spinal | BH143 | Zyston Curved Interbody Spacer | Transformaminal Lumbar Interbody Spacer, PEEK | (7 to 18)mm height to (27x32)mm length, Parallel, Lordotic
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI537 | Trabecular Metal Spinal Device | Composition Trabecular Metal | Various heights, sizes and diameters
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI869 | TM (Trabecular metal) Ardis Interbody System | Fenestrated and non-fenestrated intervertebral body fusion device - for single insertion | Length 26mm x Width 9 & 11mm x Height - 7-16mm (1mm increments, excludes 15mm) Total 18 sizes Length 30mm x Width x 9 & 11mm x Height - 7-16mm (1mm increments, excludes 15mm) Total 18 sizes Length – 34mm x Width – 11mm x Height - 7-16mm (1mm increments, excludes 15mm) Total 9 sizes There are 45 sizes as above. The implant comes in both Fenestrated and un-fenestrated types, therefore there are 90 options in total.
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI949 | Timberline Lateral Fusion System | Interbody Fusion Implant | 25-60mm length
Zimmer Biomet Pty Ltd | 13 - Spinal | ZA057 | Mobi-C Cervical Disc Prosthesis | A cervical intervertebral disc replacement consisting of superior and inferior spinal plates and a mobile bearing insert. | Depth (13-19mm) x width (15-19mm) x height (4.5-7mm)
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | SY329 | Spine Solutions Prodisc | Artificial mechanical disc, inferior plate component | 0 Degree, 3 Degree, 8 Degree,Medium, Large
SPINEART AUSTRALIA PTY. LTD. | 13 - Spinal | DU063 | GIZA vertebral Body Replacement System | A Titanium expandable Vertebral Body Replacement System with integral variable angled endplates | 14mm diameter, 18mm -54mm length, 2 deg to 10deg angulation.
Johnson & Johnson Medical Pty Ltd | 13 - Spinal | JJ782 | X-MESH - Expandable Cage System | Telescoping, vertebral body replacement device | Footprint/diameter 10-40mm, variable height range
Nuvasive Australia and NZ Pty Ltd | 13 - Spinal | NV015 | Titanium Mesh | Oval/Flat/Long/Round | 10mm - 16mm Diameter, 6mm - 14mm Length
Nuvasive Australia and NZ Pty Ltd | 13 - Spinal | NV016 | Titanium Mesh | Oval/Flat/Long/Round | 10mm - 16mm Diameter, 15mm - 90mm Length
Lifehealthcare Pty Ltd | 13 - Spinal | LH483 | Coflex-F | Interspinous fusion device | 8, 10, 12, 14, 16mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI986 | Alpine XC Adjustable Fusion System | Adjustable Fusion System | 6-18mm
Zimmer Biomet Pty Ltd | 13 - Spinal | ZI918 | TriCor Sacroiliac Joint Fusion System, Anchor Implant | Anchor Implant | 12.5mm diameter, 30-70mm