## Prostheses List
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, vblf | CZ047 | 292 | Carl Zeiss Pty Ltd | CT LUCIA 621PY | One ZEISS UV light-absorbing Heparin Surface Hydrophobic Acrylic Posterior Chamber Intra-ocular Lens. This lens is intended to correct aphakia. It is made from an optically clear hydrophobic acrylic with yellow dye additive (Acrylmex Yellow) [Optically clear blue-light blocking] | Dioptre Range: 00.0 to +34.0 with increments of 0.5 Optic Size: 6.0mm Overall Length: 13.0mm | 389793 |  | July 2022 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, vblf | KG036 | 256 | Kevin Grundy (IBD) Pty Ltd | Simedice Intraocular Lens | Foldable Acrylic Single-piece Lens with Blue Light Protection and Aspheric Correction | Spherical power: +10.0 to +30.0 D, in 0.5 increments | 385552 |  | July 2022 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, t1, vblf | DE789 | 934 | Device Technologies Australia Pty Ltd | Acunex Variomax Toric AN6VMT | Foldable one-piece acrylic Multifocal C loop IOL with aspheric surface and violet blue light filter. | Overall Length 12.5mm and Optic Size 6.0mm, SE: +10.0D to +30.0D (0.5D steps), cyl: T0 +0.75D T1 +1.5D T2 +2.25D T3 +3.0D, ADD +3.0D. | 328681 |  | July 2022 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.01 - Viscoelastic |  |  | DE787 | 58 | Device Technologies Australia Pty Ltd | CAPSULGel | Isotonic, clear, viscoelastic and sterile HPMC solution for intraocular application | 2.0ml prefilled, single-use, glass syringe. | 383098 |  | July 2022 | New Listing
01 - Ophthalmic | 01.09 - RETINAL DETACHMENT PROSTHESES | 01.09.04 - Intraocular Gases |  |  | DE795 | 67 | Device Technologies Australia Pty Ltd | Micromed Microgas | Single dose high molecular weight gases for replacement of vitreous humor during retinal surgery | 50cc aluminium canister with dispenser | 382032 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.01 - Adjustable Gastric Band with Port |  |  | GQ009 | 2830 | BIG GREEN SURGICAL COMPANY PTY LIMITED | MiniMizer gastric band. | Adjustable Silicone band which is placed around the upper part of the stomach to reduce the volume and speed of intake of food. | Regular, large and extra large | 379010 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.02 - Gastric Band without Port |  |  | GQ008 | 2102 | BIG GREEN SURGICAL COMPANY PTY LIMITED | Minimizer Ring | Adjustable Gastric Ring | One size ranging from 6.5cm to a 8.0cm diameter | 379010 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Endoscopic | AK012 | 125 | CK Surgitech Pty Ltd | Lockado Clip and SureClip | An endotherapy device used in combination with a compatible flexible endoscope for the application of haemostatic clips to the mucosal lining of the gastrointestinal (GI) tract for endoscopic marking, haemostasis, tissue approximation, closure of luminal perforations, and/or for treating mucosal/submucosal defects during an endoscopic procedure. | 8mm, 11mm, 16mm | 261692 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Endoscopic | WA011 | 125 | WILLIAM A COOK AUSTRALIA PTY LTD | Instinct Plus Endoscopic Clipping Device | The Instinct Plus Endoscopic Clipping Device consists of a single-use clip pre-loaded on a flexible delivery system. The device is designed to be compatible with forward viewing and side viewing endoscopes. The handle of the device allows the clip to be opened, closed, rotated, and deployed at the target site. | Opening span up to 16mm. Catheter 7Fr, length 230cm | 96698 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Endoscopic, OTS | ER650 | 2283 | Emergo Asia Pacific Pty Ltd | Apollo Endosurgery X-Tack™ Endoscopic HeliX Tacking System | The X-Tack™ System is intended for approximation of soft tissue in minimally invasive gastroenterology procedures (e.g. closure and healing of ESD/EMR sites, and closing of fistula, perforation or leaks).using tensioned helical tacks. The X-Tack system comprises respective delivery systems for tacking and cinching; tethered stainless steel HeliX tacks; and a PEEK cinch system. 1. The delivery system is composed of biocompatible plastic and drives the HeliX tacks into the tissue. This is replaced with the PEEK cinching system when the defect is ready for compression. 2. The stainless steel HeliX tacks are placed around the defect with the tether providing compression when tensioned and so enabling closure. Compression is maintained using a PEEK cinch which terminates the closing construct. 3. The PEEK cinching system is a delivery system that deploys a PEEK plug/collar to the tethering system to ensure the tissue in the defect area remains compressed. | 160 and 235 cm | 376194 |  | July 2022 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.08 - Adhesive Tackers | Synthetic, Endoscopic | WL001 | 467 | The Trustee for CMJH FAMILY TRUST | LiquiBand Fix8 | Hernia Mesh Fixation System, preloaded into applicator | 33 tacks | 233374 314884 |  | July 2022 | Transferred from LH528
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.03 - Leads | 04.04.03.01 - Permanent Lead | Current steering | MI488 | 4120 | Medtronic Australasia Pty Ltd | SenSight™ Directional Lead Kit | Deep brain stimulation lead with 8 proximal and distal contact electrodes. Distal orientation marker determines positioning of the electrodes under certain imaging modalities. | 33cm and 42cm | 387432 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.03 - Leads | 04.04.03.02 - Lead Extension |  | MI491 | 1895 | Medtronic Australasia Pty Ltd | SenSight™ Extension Kit | 8 contacts on the distal and proximal ends. Directional lead is connected into the distal end of the extension. | 40 cm, 60 cm and 95 cm | 387436 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.05 - Accessories | 04.04.05.01 - Burr Hole Cover |  | MI492 | 497 | Medtronic Australasia Pty Ltd | SenSight™ Burr Hole Device Kit | Intended to cover a burr hole on the skull and anchor a directional lead. | various | 387430 387431 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.05 - Accessories | 04.04.05.02 - Connectors and cables |  | MI490 | 181 | Medtronic Australasia Pty Ltd | SenSight™ Lead Test Cable Kit | Connects the External Neurostimulator (ENS) with the directional lead. | one size only | 359713 360032 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.05 - Accessories | 04.04.05.03 - Intraoperative accessories |  | MI489 | 158 | Medtronic Australasia Pty Ltd | SenSight™ Lead Cap Kit | Protects and isolates the directional lead contacts after the implant but prior to extension connection. | one size only | 387435 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.05 - Accessories | 04.04.05.03 - Intraoperative accessories |  | MI493 | 158 | Medtronic Australasia Pty Ltd | SenSight™ Tunneler Kit | Creates a subcutaneous path for tunnelling the lead to the intended location and retains the lead position. | one size only | 372651 387433 |  | July 2022 | New Listing
04 - Neurosurgical | 04.04 - DEEP BRAIN STIMULATION (DBS) | 04.04.05 - Accessories | 04.04.05.03 - Intraoperative accessories |  | MI494 | 158 | Medtronic Australasia Pty Ltd | SenSight™ Connector Plug | Fits into an unused socket of a dual channel neurostimulator, or the distal end of an unused DBS extension. | one size only | 387434 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.01 - Pulse Generators | 04.05.01.01 - Primary Cell Pulse Generator (non-rechargeable) | Adaptive Stimulation | MI495 | 19088 | Medtronic Australasia Pty Ltd | Vanta™ Recharge-Free Neurostimulator | 16 electrode recharge-free INS for pain management with AdaptiveStim and Surescan MRI technology | One size only | 386887 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.01 - Patient Programmer |  | MI496 | 1354 | Medtronic Australasia Pty Ltd | Vanta Neurostimulator System Patient Programmer (Handset +App) | The patient programmer consists of a handset that hosts the MyStim PC Therapy Application (App) | One size only | 386871 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.02 - Patient Programmer Antenna |  | MI497 | 161 | Medtronic Australasia Pty Ltd | Patient Communicator | The communicator allows the MyStim PC Therapy Application on the Patient Handset (Programmer) connect to the implantable neurostimulator | One size only | 386870 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.05 - External Neurostimulator |  | ER649 | 1083 | Emergo Asia Pacific Pty Ltd | Nevro® Senza® Bluetooth® Trial Stimulator | Sterile, single-use trial stimulator device | One size only | 388432 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.03 - Leads | 04.05.03.01 - Permanent Lead | 4 electrodes | SJ474 | 3041 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Slim Tip DRG lead kit | Implant Lead kit | 50-90cm | 333463 333462 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.01 - Revision Kits |  | SJ475 | 492 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Large Needle and Sheath Kit | Lead Accessories Kit | 1 size | 329428 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ469 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Tunneling Tool | Tunneling Tool | 30cm | 329360 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ470 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Torque Wrench | A tool to set or release the IPG setscrew that connects an implanted lead to the IPG header. | One Size | 353637 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ471 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Hex Key | Hex Key | One Size | 329360 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ472 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Straight Stylet | Straight Stylet | 50-90 cm | 353082 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ473 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG guidewire | Guide Wire for Percutaneous Leads | one size | 352921 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ476 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Anchor | Lead Anchor | One size only | 329428 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | SJ477 | 152 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Straight Needle | Straight needle | 4.5 inch | 329428 |  | July 2022 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.04 - Lead Delivery System |  | SJ468 | 658 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | DRG Delivery Sheath | Small and Big Curve | 22cm | 329240 329301 |  | July 2022 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | BS402 | 822 | Boston Scientific Australia Pty Ltd | Advantage | Transvaginal Mid-Urethral Sling System with Blue Prolene Polypropylene Mesh | One size only | 373424 |  | July 2022 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | BS403 | 822 | Boston Scientific Australia Pty Ltd | Obtryx II | Transobturator Mid-Urethral Sling System with Blue Prolene Polypropylene Mesh | One size only | 373426 |  | July 2022 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.03 - Sling | 05.01.03.02 - Female |  | BS404 | 822 | Boston Scientific Australia Pty Ltd | Advantage Fit | Transvaginal Mid-Urethral Sling System with Blue Prolene Polypropylene Mesh | One size only | 373425 |  | July 2022 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.01 - Fixed length | 05.02.01.02 - Other synthetic | SP | WJ002 | 212 | OZ-ROCA | Roca Endo-Sil | Silicone Ureteral Stent & Simple / Connectable Pusher & Without / With GuideWire | 6Fr / 7Fr / 8Fr ( 24cm-30cm ) | 381055 |  | July 2022 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.01 - Fixed length | 05.02.01.02 - Other synthetic | Therm | BA309 | 196 | Bard Australia Pty Ltd | InLay Optima® Ureteral Stent | The ureteral stent is intended to relieve obstruction in a variety of benign, malignant and post-traumatic conditions in the ureter in order to pass fluids to or from the ureter. | 4.7Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 6Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 7Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm 8Fr, with length 14cm, 20cm, 22cm, 24cm, 26cm, 28cm and 30cm | 235658 |  | July 2022 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.01 - Fixed length | 05.02.01.02 - Other synthetic | Therm | WJ003 | 196 | OZ-ROCA | Roca JJ | Soft / Firm Ureteral Stent & Simple / Connectable Pusher & Without / With GuideWire | 4.8Fr / 6Fr / 7Fr / 8Fr ( 24cm - 30cm ) | 381055 |  | July 2022 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.02 - Multi-length | 05.02.02.02 - Other synthetic | Therm | WJ001 | 188 | OZ-ROCA | Roca Multi-Length | Soft / Firm Ureteral Stent & Simple / Connectable Pusher & Without / With GuideWire | 4.8Fr / 6Fr / 7Fr ( 22cm-32cm ) | 381055 |  | July 2022 | New Listing
05 - Urogenital | 05.03 - Voiding Dysfunction Prostheses | 05.03.04 - Temporary Implant |  |  | OL096 | 2205 | Olympus Australia | iTind Device | Temporary Nitinol Urethral Stent for the treatment of BPH | One size | 318768 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.14 - Humeral cup |  | MA552 | 774 | Mathys Orthopaedics Pty Ltd | Affinis Inverse inlay ceramys | Ceramic Humeral Cup | Size 36, 39, 42. Height 0mm, 3mm, 6mm. | 238291 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.05 - Shoulder - Glenoid | 06.02.05.01 - Glenoid component, All poly |  | JV014 | 1895 | Stryker Australia Pty Ltd | Tornier PerFORM + | Anatomic Keeled Glenoid | Size Small - Medium - Large - Extra Large | 293660 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.05 - Shoulder - Glenoid | 06.02.05.05 - Reverse glenoid component, Base plate, uncemented |  | JV012 | 1991 | Stryker Australia Pty Ltd | Perform Reversed Glenoid Baseplate | Reverse glenoid baseplate | 25mm, 29mm | 386956 386957 386959 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.05 - Shoulder - Glenoid | 06.02.05.06 - Glenosphere |  | JV010 | 2139 | Stryker Australia Pty Ltd | Perform Reverse Glenosphere | Glenosphere - standard, eccentric, or lateralised | 33mm, 36mm, 39mm, 42mm | 386955 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.04 - Tibial/Fibular |  | PB078 | 1111 | Australian Pacific Medical Pty Ltd | Mini Nailing System | Mini Nailing System | Diameter 3mm - 4mm, Length 130mm - 230mm | 229660 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.13 - Arthrodesis | Interphalangeal | MO451 | 548 | Medical & Optical Instruments Australia Pty Ltd | ToeGrip | toe interphalangeal joint arthrodesis implant | Extra-small, small, medium, large, extra large | 369250 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.02 - Reconstruction screw |  | PB079 | 222 | Australian Pacific Medical Pty Ltd | Mini Nailing System Reconstruction Screw | Mini Nailing System Reconstruction Screw | 10mm - 40mm | 223188 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.01 - Standard (screw size ≥4.5mm)(including blade) ≤ 6 holes |  | SL243 | 446 | Smith & Nephew Pty Ltd | Smith & Nephew Plate and Screw System- EVOS | Large Fragment Plate – Non Locking | ≤ 6 holes | 368492 108428 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes |  | SL244 | 646 | Smith & Nephew Pty Ltd | Smith & Nephew Plate and Screw System- EVOS | Large Fragment Plate – Non Locking | 7-15 holes | 108428 368492 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | LK | GW068 | 360 | EQUINOX MEDICAL PTY LTD | Equinox Trauma Systems | Clavicle Midshaft Locking Compression Plate | 6 holes left, 6 holes right | 324402 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | LK | GW069 | 360 | EQUINOX MEDICAL PTY LTD | Equinox Trauma Systems | Clavicle Midhsaft Locking Plates | 6 holes left, 6 holes right | 324402 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | LK | HU317 | 360 | ARTHREX AUSTRALIA PTY LTD | H-Plates | Plate for Arthrodesis | Small, Medium, Large | 351000 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | VAL | JV002 | 689 | Stryker Australia Pty Ltd | VariAx Wrist Plating System – Distal Radius | VAL Fixation Plates for Distal Radius Fractures | ≤ 6 holes | 340042 357433 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes |  | HU320 | 172 | ARTHREX AUSTRALIA PTY LTD | Wedged Profile Plate | Wedged Profile Plate | 2 holes | 350871 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | LK | HU321 | 388 | ARTHREX AUSTRALIA PTY LTD | Locking Distal Fibular Plate | Plate for Fracture Fixation | 7-15 Holes | 351000 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | JV003 | 710 | Stryker Australia Pty Ltd | VariAx Wrist Plating System – Distal Radius | VAL Fixation Plates for Distal Radius Fractures | ≥ 7 to ≤ 15 holes | 340044 357433 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | Com, LK | JV006 | 1129 | Stryker Australia Pty Ltd | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≤ 6 holes | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | LK | JV005 | 718 | Stryker Australia Pty Ltd | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≤ 6 holes | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | Com, LK | JV007 | 752 | Stryker Australia Pty Ltd | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≥ 7 to ≤ 15 holes | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | LK | JV004 | 498 | Stryker Australia Pty Ltd | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≥ 7 to ≤ 15 holes | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm)(including blade) ≥ 16 holes | LK | JV009 | 893 | Stryker Australia Pty Ltd | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≥ 16 holes | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.16 - Periarticular anatomic - Clavicle plate ≤ 6 holes | LK | GW067 | 1261 | EQUINOX MEDICAL PTY LTD | WEGO Trauma Systems - Titanium Alloy | Clavicle Plating System - Titanium Alloy | ≤ 6 holes | 324402 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.38 - Periarticular anatomic - Tibia ≤ 6 holes | VAL | SL230 | 1588 | Smith & Nephew Pty Ltd | Smith & Nephew Plate and Screw System - EVOS | Large and Periprosthetic Tibia Plate – Variable Angle Locking | ≤ 6 holes | 368492 108428 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.39 - Periarticular anatomic - Tibia ≥ 7 to ≤ 15 holes | VAL | SL231 | 1490 | Smith & Nephew Pty Ltd | Smith & Nephew Plate and Screw System - EVOS | Large and Periprosthetic Tibia Plate – Variable Angle Locking | ≥ 7 to ≤ 15 holes | 368492 108428 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.40 - Periarticular anatomic - Tibia ≥ 16 holes | VAL | SL232 | 1648 | Smith & Nephew Pty Ltd | Smith & Nephew Plate and Screw System - EVOS | Large and Periprosthetic Tibia Plate – Variable Angle Locking | ≥ 16 holes | 108428 368492 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | LK | JV011 | 124 | Stryker Australia Pty Ltd | Perform Reverse Central Locking Screw | Titanium Locking Screw | 6.5mm, 9.5mm | 386960 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | JV013 | 59 | Stryker Australia Pty Ltd | Perform Reverse Peripheral Fixation Screw | Locking Fixation Screw | 5.0mm | 314266 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | DZ092 | 121 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Foot & Ankle VA Locking Screw | 3.5 Variable Angle Locking Screw | 3.5mm diameter, 12-50mm length | 284755 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | DZ095 | 121 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Small Fragment Screws | Locking Screws | 3.5mm diameter, 10mm-90mm length | 276915 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | DZ094 | 63 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Foot & Ankle Cortex Screw | 3.5 Cortex Screw | 3.5mm diameter, 12-50mm length | 284755 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | DZ091 | 120 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Foot & Ankle VA Locking Screw | 2.7 Variable Angle Locking Screw | 2.7mm diameter, 10-50mm length | 284755 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | JV008 | 120 | Stryker Australia Pty Ltd | SternalPlate Closure System - Screws | Titanium Sternal Fixation System | 2.3mm 2.7mm | 386783 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | DZ093 | 69 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Foot & Ankle Cortex Screw | 2.7 Cortex Screw | 2.7mm diameter, 10-30mm length | 284755 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | DZ096 | 69 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Mini Fragment Screws | Cortex/Cancellous Screws | 2.4mm diameter, 6mm-60mm length | 276915 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.10 - Screw Accessories - Caps |  | SL241 | 102 | Smith & Nephew Pty Ltd | EVOS | Screw Accessories, Hole Filler | 3.5mm and 4.5mm | 230143 368491 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) | AB | MN340 | 501 | Johnson & Johnson Medical Pty Ltd | GRYPHON BR Instability Anchor | Suture Anchor | 3.0 x 10.7mm | 388083 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU318 | 442 | ARTHREX AUSTRALIA PTY LTD | FiberTak | Self-Bunching Soft Anchor | 2.6 | 353482 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | HU319 | 442 | ARTHREX AUSTRALIA PTY LTD | ACL Repair TightRope | Knotless tensionable system pre-loaded with FiberTape for ACL Repair. The kit includes the button/ anchor with the construct. | One size only | 383904 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | LV151 | 442 | ConMed Linvatec Australia Pty Ltd | Argo Knotless PEEK NSP Anchor | The CONMED Argo KnotlessTM Anchors are manufactured from PolyEtherEtherKetone (PEEK). Non-self-punching products include tips manufactured from PEEK. The anchors are provided sterile, preloaded on a single-use driver and pre-threaded with one Hi-Fi® Ribbon. It may be used in either arthroscopic or open surgical procedures. After the suture is anchored to the bone, it may be used to reattach soft tissue, such as ligaments, tendons, or joint capsules to the bone. The suture anchor system thereby stabilizes the damaged soft tissue, in conjunction with appropriate postoperative immobilization throughout the healing period. | 4.75mm, 5.5mm PEEK NSP suture anchors | 376571 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | LV152 | 442 | ConMed Linvatec Australia Pty Ltd | Argo Knotless PEEK SP Anchor | The CONMED Argo KnotlessTM Anchors are manufactured from PolyEtherEtherKetone (PEEK). Self-punching products include tips manufactured from Titanium. The anchors are provided sterile, preloaded on a single-use driver and pre-threaded with one Hi-Fi® Ribbon. It may be used in either arthroscopic or open surgical procedures. After the suture is anchored to the bone, it may be used to reattach soft tissue, such as ligaments, tendons, or joint capsules to the bone. The suture anchor system thereby stabilizes the damaged soft tissue, in conjunction with appropriate postoperative immobilization throughout the healing period. | 4.75mm, 5.5mm PEEK suture anchors with Ti self-punching tip | 376571 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | SL242 | 442 | Smith & Nephew Pty Ltd | FAST-FIX FLEX Meniscal Repair System | Soft Tissue Anchor Fixation – PEEK (FLEX Curved or Reverse Curved with or without Bend Tool and Slotted Cannula) | 5mm | 120338 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU322 | 374 | ARTHREX AUSTRALIA PTY LTD | TightRope II ABS (Attachable Button System) | Adjustable FiberLoop for Attachable Button System constructs combined with a button | Round Button- Diameter: 11mm to 20mm Standard Button: Length: 12mm, Width: 8mm; Oblong Button- Length: 13mm, Width: 3.4mm; Button Shapes: standard, round, oblong; UHMWPE loop without button | 353493 383904 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU323 | 374 | ARTHREX AUSTRALIA PTY LTD | BTB TightRope II | Suture construct with button for soft tissue to bone fixation for ACL/PCL repair and reconstruction | One size only | 383904 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU324 | 374 | ARTHREX AUSTRALIA PTY LTD | TightRope II RT Implant | Suture construct with button for soft tissue to bone fixation for ACL/PCL repair and reconstruction. | One Size Only | 383904 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.06 - Frame Component - Full Circular Ring |  | SL238 | 685 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Full Circular Ring | 105 - 230 mm | 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.07 - Frame Component - Partial Circular Ring |  | SL239 | 996 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Partial Circular Ring | 105 - 230 mm | 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.08 - Frame Component - Circular Coupling Device |  | SL240 | 282 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Circular Coupling Device | Standard | 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.09 - Frame Component - Circular Frame Strut Device |  | SL235 | 882 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Struts | XX Short – Long | 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.10 - Frame Component - Foot Plate |  | SL236 | 2370 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Foot Plate | 155 - 180 mm | 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.11 - Frame Component - Circular Frame, Nuts & Spacers |  | SL237 | 40 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Bolts, Washers | Standard | 218416 384817 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.14 - Frame Component - Pins |  | SL233 | 135 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Frame Component - Pins | 150-200mm length | 99767 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.15 - Frame Component - Pin Clamp Assembly |  | SL234 | 963 | Smith & Nephew Pty Ltd | SMART TSF (Taylor Spatial Frame) | Pin Clamp Assembly – Conversion Clamp | Standard | 218416 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.14 - Bone Cement | 06.03.14.03 - Cement with Complex Delivery System |  | ER648 | 437 | Emergo Asia Pacific Pty Ltd | SIGNUS INTROX HighV Cement | The INTROX® HighV cement is a radiopaque bone cement. | Powder 20 g; Liquid 8.6 g | 354819 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc | AUG | MN341 | 1026 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass Bone Graft - BG Putty and BG Putty GPS | 1-4cc | 387410 387411 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc | AUG | MN344 | 1026 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass (BG) Bone Graft Morsels | 2cc | 387006 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | ER651 | 722 | Emergo Asia Pacific Pty Ltd | SIGNUS KAINOS | Bioactive Bone Graft Substitute Granules | 2 or 5 cc | 122272 |  | July 2022 | Compressed from ER153,ER155
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc | AUG | MN342 | 2185 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass Bone Graft - BG Putty and BG Putty GPS | 6cc | 387410 387411 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc | AUG | MN345 | 2185 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass (BG) Bone Graft Morsels | 6cc | 387006 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc | AUG | MN343 | 4370 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass Bone Graft - BG Putty and BG Putty GPS | 11cc | 387410 387411 |  | July 2022 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc | AUG | MN346 | 4370 | Johnson & Johnson Medical Pty Ltd | FIBERGRAFT | Bioactive Glass (BG) Bone Graft Morsels | 11cc | 387006 |  | July 2022 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.04 - Non-mesh | 07.01.04.01 - Resorbable |  | FV011 | 279 | DENTSPLY SIRONA PTY LIMITED | Ossix Plus | Ossix Plus is a resorbable collagen membrane intended for use during the process of guided bone regeneration (GBR) and guided tissue regeneration (GTR) as a biodegradable barrier. | 15 x 25mm, 25 x 30mm, 30 x 40mm | 380301 |  | July 2022 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.04 - Non-mesh | 07.01.04.01 - Resorbable |  | FV012 | 279 | DENTSPLY SIRONA PTY LIMITED | OSSIX Volumax | A resorbable collagen membrane intended for use during the process of guided bone regeneration (GBR) and guided tissue regeneration (GTR) as a biodegradable barrier. | 10 x 12.5mm 15 x 25mm 25 x 30mm 10 x 40mm | 380302 |  | July 2022 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes | Compression | ZZ081 | 166 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 4-7 holes | 377044 |  | July 2022 | Transferred from WH007
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes | Complex | ZZ082 | 273 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Complex shape | 0.5-0.99mm thick, 8-32 holes | 377044 |  | July 2022 | Transferred from WH016
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes | Compression | ZZ083 | 195 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 0.5-0.99mm thick, 8-32 holes | 377044 |  | July 2022 | Transferred from WH010
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.09 - 1.0-1.99mm thick, <4 holes |  | ZZ084 | 107 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, &lt;4 holes | 377044 |  | July 2022 | Transferred from WH011
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Complex | ZZ085 | 341 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, S-shape | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2022 | Transferred from WH013
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Compression | ZZ086 | 147 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2022 | Transferred from WH012
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.10 - 1.0-1.99mm thick, 4-7 holes | Locking | ZZ087 | 403 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 4-7 holes | 377044 |  | July 2022 | Transferred from WH014
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.11 - 1.0-1.99mm thick, 8-15 holes | Locking | ZZ088 | 629 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 1.0-1.99mm thick, 8-15 holes | 377044 |  | July 2022 | Transferred from WH008
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.11 - 1.0-1.99mm thick, 8-15 holes |  | ZZ089 | 371 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 1.0-1.99mm thick, 8-15 holes | 377044 |  | July 2022 | Transferred from WH015
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.14 - 2.0-2.99mm thick, 4-7 holes |  | ZZ090 | 604 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate | 2.0-2.99mm thick, 4-7 holes | 377044 |  | July 2022 | Transferred from WH017
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.15 - 2.0-2.99mm thick, 8-15 holes | Locking | ZZ091 | 926 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 8-15 holes | 377044 |  | July 2022 | Transferred from WH018
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.16 - 2.0-2.99mm thick, 16-32 holes | Locking | ZZ092 | 1073 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Locking | 2.0-2.99mm thick, 16-32 holes | 377044 |  | July 2022 | Transferred from WH019
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.17 - 2.0-2.99mm thick, >32 holes | Complex | ZZ093 | 1414 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium plate, Locking, Complex Shape | 2.0-2.99mm thick, >32 holes | 377044 |  | July 2022 | Transferred from WH020
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm | Locking | ZZ094 | 88 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Screws | Titanium Screw, Locking | Diameter 1.25-3.24mm | 377044 |  | July 2022 | Transferred from WH021
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | ZZ095 | 42 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Screws | Titanium Screw | Diameter 1.25-3.24mm | 377044 |  | July 2022 | Transferred from WH009
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled | ZZ096 | 9682 | AA-Med Pty Ltd | Materialise PorousiTi - Cranium | Patient specific Titanium 3D printed implant for cranial reconstruction | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH001
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.01 - Mandible, Full | Biomodelled | ZZ097 | 6682 | AA-Med Pty Ltd | Materialise PorousiTi - Mandible | Patient specific Titanium 3D printed implant for mandible | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH002
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.05 - Plate | Biomodelled | ZZ098 | 3510 | AA-Med Pty Ltd | Materialise Titanium 3D Printed Plates | Patient specific Titanium 3D printed plates for maxillofacial applications | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH003
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.08 - Maxilla | Biomodelled | ZZ099 | 6337 | AA-Med Pty Ltd | Materialise PorousiTi - Maxilla | Patient specific Titanium 3D printed implant for maxilla | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH004
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.06 - Nose and Zygoma | 07.02.06.07 - Zygoma Plate | Biomodelled | ZZ100 | 4095 | AA-Med Pty Ltd | Materialise Titanium 3D Printed Plates - Zygoma | Patient specific Titanium 3D printed plates for zygoma reconstruction | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH005
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.02 - Orbital Floor | Biomodelled | ZZ101 | 4095 | AA-Med Pty Ltd | Materialise PorousiTi - Orbital | Patient specific Titanium 3D printed implant for orbital reconstruction | Personalized so the size is variable | 377044 |  | July 2022 | Transferred from WH006
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.05 - Graft Material 0.5ml-<1.0ml |  | FV013 | 293 | DENTSPLY SIRONA PTY LIMITED | OSSIX Bone | OSSIX Bone is an osteoconductive bone grafting material aimed to fill, augment, or reconstruct periodontal and bony defects of the maxillo-facial complex. | 5 x 10 x 10mm (0.5 cc) | 380303 |  | July 2022 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.06 - Graft Material ≥1.0ml |  | GI031 | 293 | Geistlich Pharma Australia Pty Ltd | Geistlich Fibro-Gide | Geistlich Fibro-Gide is a sterile, resorbable, volume-stable, cross-linked porcine collagen matrix for maxillofacial soft-tissue regeneration and augmentation. | 15 x 20 x 6 mm; 20 x 40 x 6 mm | 376196 |  | July 2022 | New Listing
08 - Cardiac | 08.04 - Single Chamber Pacemakers | 08.04.03 - SSIR with small/compact size, multi-programmability & longevity, & four or more advanced features |  |  | RF043 | 3948 | MICROPORT CRM PTY LIMITED | Alizea™ SR | Single Chamber MRI Conditional Pacemaker | Volume - 10.5cc Weight -23.3g | 383899 |  | July 2022 | New Listing
08 - Cardiac | 08.05 - Dual Chamber Pacemakers | 08.05.04 - DDDR with continuous threshold monitoring in atrium + ventricle with ability to adapt pacing outputs accordingly, & with four or more advanced features |  |  | RF042 | 7619 | MICROPORT CRM PTY LIMITED | Alizea™ DR | Dual chamber MRI conditional pacemaker | Volume - 10.95cc Weight - 24.2g | 383903 |  | July 2022 | New Listing
09 - Cardiothoracic | 09.02 - Tissue Valves | 09.02.04 - Rapid deployment aortic valve with dedicated single use tools |  | b (bovine) | JS001 | 8978 | CORCYM AUSTRALIA PTY LTD | Perceval S Sutureless Aortic Heart Valve | Sutureless Aortic Pericardial Heart Valve | S (19-21mm), M (21-23mm), L(23-25mm), XL (25-27mm) | 232485 |  | July 2022 | Transferred from SA170
09 - Cardiothoracic | 09.03 - Valve Conduits | 09.03.02 - Tissue Valve, stented anatomical |  | valve and conduit | EL068 | 7642 | Edwards Lifesciences Pty Ltd | KONECT RESILIA Aortic Valved Conduit | KONECT RESILIA Aortic Valved Conduit is developed specifically for bio-Bentall procedures. Edwards Lifesciences’ integrity preservation technology transforms bovine pericardial tissue into RESILIA tissue, effectively eliminating free aldehydes, while protecting and preserving the tissue. RESILIA tissue is the first to deliver the combination of Improved anti-calcification properties, Improved sustained hemodynamic performance and Stored dry and ready to use. | KONECT Valve 11060A 21 mm – 29 mm Model Accessories TRAY1190 Accessory tray 1190 Individual sizers 19 mm* – 29 mm 1190SET Sizer set 19 mm* – 29 mm | 387297 |  | July 2022 | New Listing
09 - Cardiothoracic | 09.04 - Atrio-Ventricular Rings and Bands | 09.04.05 - Atrio-Ventricular Ring or Band, Modified |  |  | JS002 | 2280 | CORCYM AUSTRALIA PTY LTD | Memo 4D Mitral/tricuspid annuloplasty ring | Memo 4D Mitral/tricuspid annuloplasty ring device is intended for correction of mitral insufficiencies or steno-insufficiencies. The use of the Memo 4D device is indicated for correction of congenital or acquired mitral insufficiencies with dilatation and deformation of the mitral annulus. | Sizes 24,26,28,30, 32,34, 36, 38, 40, 42 mm | 332851 |  | July 2022 | Transferred from SA189
09 - Cardiothoracic | 09.04 - Atrio-Ventricular Rings and Bands | 09.04.05 - Atrio-Ventricular Ring or Band, Modified |  |  | JS003 | 2280 | CORCYM AUSTRALIA PTY LTD | Memo 3D Mitral Semirigid Annuloplasty Ring | Memo 3D Semirigid Mitral Annuloplasty Ring with 3D flexibility and coated with Carbofilm with or without Rechord system | 24mm, 26mm, 28mm, 30mm, 32mm, 34mm, 36mm, 38mm | 176450 |  | July 2022 | Transferred from SA150
10 - Vascular | 10.08 - Occlusion Devices | 10.08.04 - Complex Occlusion Devices, including detachable balloon, sphere or umbrella |  |  | PN024 | 1487 | Penumbra Neuro Australia Pty Ltd | Penumbra POD Occlusion Device | The Peripheral Occlusion Device (POD) is compromised of a specifically designed platinum enbolisation coil with varied diameter and is attache to a composite pusher with a radiopaque positioning marker. The distal Anchor segment has a larger diameter to secure the coil in a straight or fast flowing vessel. The proximal segment has a softer and smaller diameter to ensure occlusion and stasis of the vessel. The device is transferred into the microcatheter and advanced under fluoroscopic guidance. The device may be fully deployed prior to detachment. the detachment handle is attached and advanced over the proximal ned of the delivery pusher and the the device is detached by using the retraction button on the handle for accurate placement | 20cm Length - 3mm diameter 30cm Length - 3.25 - 4mm diameter 30cm Length - 4-5mm diameter 50cm Length - 5-6mm diameter 60cm Length - 6-8mm diameter 60cm Length - 8-10mm diameter 60cm Length - 10-12mm diameter 60cm Length - 12-14mm diameter | 235149 |  | July 2022 | New Listing
10 - Vascular | 10.08 - Occlusion Devices | 10.08.04 - Complex Occlusion Devices, including detachable balloon, sphere or umbrella |  |  | PN025 | 1487 | Penumbra Neuro Australia Pty Ltd | Penumbra POD Packing Coil | Platinum coil designed in a WAVE shape to behave like a liquid to compliment the Plug effect of the POD and pack densely, reducing reliance on thrombus formation. This packing coil does not have the traditional 3D shape formation of other coils so only has a measurement of length | 5cm length 15cm length 30cm length 45cm length 60cm length | 235149 |  | July 2022 | New Listing
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.04 - Infuser Ports, Single Chamber |  | pi (power injection) | JF001 | 510 | ARIA HEALTHCARE PTY LTD | HealthPORT Power Venous Access Port | HealthPORT Power Venous Polysufone/Titanium Implantable Venous Access Systems, for mid and long term intermittent or continuous central venous infusion. Come with Silicon or Polyurethane catheter in multiple French sizes. Kits include Port chamber, Catheter, Connector, Huber needle 22G, Luer connector, Peel-away dilator-introducer, Introducer needle 18G, J-Guidewire 0.89mm, Stainless Steel Tunneler For Power Injection | 5-8 Fr | 385351 |  | July 2022 | New Listing
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.04 - Infuser Ports, Single Chamber |  |  | JF002 | 400 | ARIA HEALTHCARE PTY LTD | HealthPORT Venous Access Port | HEALTHPORT Venous Polysufone/Titanium Implantable Venous Access Systems, for mid and long term intermittent or continuous central venous infusion. Come with Silicon or Polyurethane catheter in multiple French sizes. Kits include Port chamber, Catheter, Connector, Huber needle 22G, Luer connector, Peel-away dilator-introducer, Introducer needle 18G, J-Guidewire 0.89mm, Stainless Steel Tunneler | 5-8 Fr | 385351 |  | July 2022 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.01 - Cemented | 11.01.01.04 - Polished and Unpolished, Modular | Stem | TZ035 | 2648 | The Trustee for Adler Ortho Unit Trust | Pantheon Cemented Stem | Ti6Al4V Mirror polished | Diameter 10-16mm Length 115 | 389894 |  | July 2022 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.07 - Uncemented, Modular | 11.01.07.05 - Unpolished and Polished | Body, Tumour | TZ034 | 4322 | The Trustee for Adler Ortho Unit Trust | Pantheon Proximal Body | Titanium alloy proximal body for Pantheon limb salvage system | Offset in Short, Medium, Long. Lengths 50 and 90 in Smooth or Flat | 389891 389892 389893 389894 389895 |  | July 2022 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.07 - Uncemented, Modular | 11.01.07.05 - Unpolished and Polished | Stem | TZ036 | 2954 | The Trustee for Adler Ortho Unit Trust | Pantheon Cementless Stem | Titanium Fluted | Diameters 11-24mm, Lengths 115-145mm | 389895 |  | July 2022 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.08 - Uncemented, Modular, HA Coated | 11.01.08.01 - Grit Blast | Stem | TZ033 | 2654 | The Trustee for Adler Ortho Unit Trust | Pantheon Cementless Stem HA | Ti6Al4V stem with HA Coating | Diameters 11-24mm, Length 115-145mm | 389893 |  | July 2022 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.01 - Cups, Cemented | 11.03.01.04 - Metal Shell |  | MN349 | 1511 | Johnson & Johnson Medical Pty Ltd | BI-MENTUM Dual Mobility System | Cemented metal acetabular dual mobility cup designed to be used with a polyethylene liner | 43-63 mm diameter in 2mm increments | 363211 |  | July 2022 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.03 - Shells, Uncemented, HA | 11.03.03.04 - Plasma |  | MN347 | 2137 | Johnson & Johnson Medical Pty Ltd | BI-MENTUM Dual Mobility System | Press-Fit cementless metal acetabular dual mobility cup, designed to be used with a polyethylene liner. | 43mm to 69mm diameter in 2mm increments | 363113 |  | July 2022 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.03 - Shells, Uncemented, HA | 11.03.03.04 - Plasma |  | MN351 | 2137 | Johnson & Johnson Medical Pty Ltd | BI-MENTUM Dual Mobility System | Plus and Revision cementless metal acetabular dual mobility cups designed to be used with a polyethylene liner. | 41mm - 69mm diameter in 2mm increments | 363132 363151 |  | July 2022 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.02 - Modified polyethylene |  | MN348 | 931 | Johnson & Johnson Medical Pty Ltd | BI-MENTUM Dual Mobility System | Polyethylene liner | 22.2mm heads: 41 - 69mm diameter in 2mm increments, 28mm heads: 47 - 69mm diameter in 2mm increments | 363212 |  | July 2022 | New Listing
11 - Hip | 11.04 - ACCESSORIES | 11.04.18 - Screw |  |  | MN350 | 166 | Johnson & Johnson Medical Pty Ltd | BI-MENTUM Dual Mobility System | Cortical Bone Screws | 5mm diameter, 20 to 70mm length in 5mm increments | 329786 |  | July 2022 | New Listing
12 - Knee | 12.08 - PATELLAR COMPONENT | 12.08.01 - Cemented, All Polyethylene |  |  | SL245 | 431 | Smith & Nephew Pty Ltd | Journey Patella | Patella, cemented, UHMWPE | 23-41mm | 278111 206505 |  | July 2022 | Expanded from SN323
12 - Knee | 12.08 - PATELLAR COMPONENT | 12.08.01 - Cemented, All Polyethylene |  |  | SL246 | 431 | Smith & Nephew Pty Ltd | Genesis II Patella | Patella, cemented, UHMWPE, can be used for multiple systems (Genesis II, Journey, Legion) | 23-41mm | 220595 242034 |  | July 2022 | Expanded from SN323
12 - Knee | 12.11 - KNEE ACCESSORIES | 12.11.03 - Bolts |  |  | BB404 | 239 | B Braun Australia Pty Ltd | Aesculap Knee System Insert Bolt | Tibial insert locking bolt | 10mm - 24mm | 277357 277359 |  | July 2022 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.01 - Pedicle, Monoaxial |  |  | NW013 | 789 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Monoaxial Pedicle Screws | Monoaxial pedicle Screws Titanium | Diameter = 4.0mm-7.5mm Length= 20mm-55mm | 287242 |  | July 2022 | Transferred from ZI993
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | DE788 | 566 | Device Technologies Australia Pty Ltd | Mariner Screw | Polyaxial and Extended Tab Uni-Planar Screws | 4.5mm. 5.5mm, 6.5mm & 7.5mm Diameters, 20mm to 110mm Lengths | 275794 |  | July 2022 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | NW014 | 1111 | Biomet 3i Australia Pty Ltd | Virage Pedicle Polyaxial Screws | Pedicle polyaxial screws | 3.5mm-5.0mm x 10-45mm | 111775 |  | July 2022 | Transferred from ZI905
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | NW015 | 1111 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Polyaxial Pedicle Screws | Polyaxial Pedicle Screws Titanium | Diameter = 4.0mm-10.5mm Length= 20mm-120mm | 287242 |  | July 2022 | Transferred from ZI994
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | DE793 | 186 | Device Technologies Australia Pty Ltd | Admiral Cervical Plate | Admiral Cervical Plate Screws | 4.0 & 4.3mm Diameter, 10-18mm Lengths | 275780 |  | July 2022 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | MI498 | 186 | Medtronic Australasia Pty Ltd | ZEVO Anterior Cervical Plate System | self-drilling/self-tapping screw | Diameter: 4.5mm; Length 13mm - 15mm | 169514 |  | July 2022 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | NW016 | 186 | Biomet 3i Australia Pty Ltd | Virage Occipital Screws | Occipital Screws | 4.5mm x 6-16mm, 5.25mm x 6-16mm | 111775 |  | July 2022 | Transferred from ZI904
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | NW042 | 186 | Biomet 3i Australia Pty Ltd | Anterior Cervical Plate System | Titanium Cancellous Bone Screw | 4 - 20mm | 287242 |  | July 2022 | Transferred from BH108
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | NW043 | 186 | Biomet 3i Australia Pty Ltd | Timberline Lateral Fusion System | Bone Screws | 30-60mm | 287242 |  | July 2022 | Transferred from ZI950
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | BW026 | 148 | STABLE ORTHOPAEDICS PTY LTD | Libra Set Screw | Set Screw - as part of Libra Pedicle Screw System | One size only | 355051 |  | July 2022 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | IY039 | 148 | EVOLUTION SURGICAL PTY LTD | Jazz Claw Posterior Fixation System (Set Screw) | Set Screw | one size | 200830 |  | July 2022 | Transferred from DE538
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | JV001 | 148 | Stryker Australia Pty Ltd | Everest | Breakoff Set Screw | One size only | 154442 |  | July 2022 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | NW017 | 148 | Biomet 3i Australia Pty Ltd | Virage Closure Top | Closure Top and dome nut | One Size | 111775 |  | July 2022 | Transferred from ZI906
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | NW018 | 148 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Set Screw | SET SCREW | One size only | 287242 |  | July 2022 | Transferred from ZI995
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | NW044 | 391 | Biomet 3i Australia Pty Ltd | Timberline Lateral Fusion System | Cover Plate | 2 and 4 hole | 287242 |  | July 2022 | Transferred from ZI952
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.05 - Block/Screw head |  |  | NW019 | 686 | Biomet 3i Australia Pty Ltd | Virage Cable Connector | Cable Connector | One Size | 111775 |  | July 2022 | Transferred from ZI911
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.08 - Sublaminar Cable |  |  | IY040 | 759 | EVOLUTION SURGICAL PTY LTD | Jazz Sublaminar Band | Sublaminar Band for use with Jazz Claw Connector | 1 size | 200830 |  | July 2022 | Transferred from DE532
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.08 - Sublaminar Cable |  |  | IY041 | 759 | EVOLUTION SURGICAL PTY LTD | Jazz Posterior Fixation System | System of Polyester Braid, connector and locking screw | 4mm braid, 3.5-6mm connector | 200830 |  | July 2022 | Transferred from DE573
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.08 - Sublaminar Cable |  |  | IY042 | 759 | EVOLUTION SURGICAL PTY LTD | Jazz Posterior Fixation System - Multipurpose Connector | Polyester braid, connector and set screw | 5.5mm diameter | 200830 |  | July 2022 | Transferred from DE574
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | NW020 | 668 | Biomet 3i Australia Pty Ltd | Virage Closed Rod Connector | Closed Rod Connector | 3.5 to 5.5mm | 111775 |  | July 2022 | Transferred from ZI910
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | NW021 | 668 | Biomet 3i Australia Pty Ltd | Vitality Spine system - Rod Connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 287242 |  | July 2022 | Transferred from ZI996
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | DE794 | 705 | Device Technologies Australia Pty Ltd | Mariner Connectors | Mariner Offset Connectors | 5.5mm 15mm-200mm Lengths | 275794 |  | July 2022 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | NW022 | 705 | Biomet 3i Australia Pty Ltd | Virage Lateral Offset Connector | Offset Connector | 10mm and 25mm | 111775 |  | July 2022 | Transferred from ZI907
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | NW023 | 705 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Iliac Lateral Connector | Open and Closed Iliac Lateral Connector | 20mm - 50mm | 287242 |  | July 2022 | Transferred from ZI997
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | NW024 | 705 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Tandem rod connectors | Tandem rod connectors | 5.5/6.0mm & 3.5mm | 287242 |  | July 2022 | Transferred from ZI998
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | IY043 | 389 | EVOLUTION SURGICAL PTY LTD | Jazz Claw Posterior Fixation System - Connector | Connector with dual locking screws for Jazz Claw Connector | One size | 200830 |  | July 2022 | Transferred from DE553
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | IY044 | 389 | EVOLUTION SURGICAL PTY LTD | Jazz Frame T-Bar | Fixed transverse rod-to-rod connector | 25mm, 30mm, 35mm | 200830 |  | July 2022 | Transferred from DE586
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | NW025 | 389 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Fixed Cross Connector | Fixed length cross connector, titanium | 21mm X 5.5mm - 31mm X 5.5mm & 21mm Wide X 6.0mm - 31mm Wide X 6.0mm | 287242 |  | July 2022 | Transferred from ZA001
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | NW026 | 389 | Biomet 3i Australia Pty Ltd | Virage Rod to Rod Transverse Connector | Rod to Rod Transverse Connector | XS, S, M, L, XL | 111775 |  | July 2022 | Transferred from ZI908
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | NW027 | 1175 | Biomet 3i Australia Pty Ltd | Virage Head to Head Transverse Connector | Transverse Connector Adjustable | XS, S, M, L, XL | 111775 |  | July 2022 | Transferred from ZI909
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | NW028 | 1175 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Multi-Span Cross Connector | Adjustable length cross connector, titanium | 33-36mm Wide X 5.5mm - 70-90mm Wide X 6.0mm | 287242 |  | July 2022 | Transferred from ZI999
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | DE790 | 756 | Device Technologies Australia Pty Ltd | Mariner Hooks | Lamina, Pedicle, Angled & Offset Hooks | 5.5-10.5 Heights 4.5-9.0 Widths | 275794 |  | July 2022 | New Listing
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | IY045 | 756 | EVOLUTION SURGICAL PTY LTD | Jazz Claw Posterior Fixation System (Hook) | Left and Right Hook | Standard and large hook | 200830 |  | July 2022 | Transferred from DE539
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | IY046 | 756 | EVOLUTION SURGICAL PTY LTD | Jazz Claw Posterior Fixation System (Hook) | Left and Right Hook | Standard and large hook | 200830 |  | July 2022 | Transferred from DE570
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | NW029 | 756 | Biomet 3i Australia Pty Ltd | Virage Hooks | Virage Hooks | 6mm and 8mm | 111775 |  | July 2022 | Transferred from ZI912
13 - Spinal | 13.05 - Plate | 13.05.01 - Integral Fixation | 13.05.01.01 - Cervical | >55mm | NW030 | 1475 | Biomet 3i Australia Pty Ltd | MaxAn Anterior Cervical Plating System | Titanium plate for anterior cervical spine | >55mm | 287243 |  | July 2022 | Transferred from ZA015
13 - Spinal | 13.05 - Plate | 13.05.01 - Integral Fixation | 13.05.01.01 - Cervical |  | NW031 | 1297 | Biomet 3i Australia Pty Ltd | MaxAn Anterior Cervical Plating System | Titanium plate for anterior cervical spine | ≤55mm | 287243 |  | July 2022 | Transferred from ZA014
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | DE792 | 1238 | Device Technologies Australia Pty Ltd | Admiral Cervical Plate | Admiral Cervical Plate >55mm | 57mm-100mm Lengths | 275780 |  | July 2022 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | DE791 | 1180 | Device Technologies Australia Pty Ltd | Admiral Cervical Plate | Admiral Cervical Plate <55mm | 7mm-54mm Length | 275780 |  | July 2022 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | DE798 | 2039 | Device Technologies Australia Pty Ltd | Meridian ALIF Plate | Titanium ALIF Plate | 2 & 4 Hole, Size 10mm-20mm | 298002 |  | July 2022 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | LM526 | 2039 | LMT Surgical Pty Ltd | Buttress Plates | Buttress Plates used to stabilise the allograft or autograft at on level (L1-S1). | Plates 20, 24, 28 mm Screws 5.5 & 6.5 mm diameter, 20 - 30mm long | 375812 |  | July 2022 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | NW045 | 2039 | Biomet 3i Australia Pty Ltd | Timberline Lateral Fusion System | Lateral Plate | 6-16mm | 287242 |  | July 2022 | Transferred from ZI951
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.03 - Occipital |  | NW032 | 1897 | Biomet 3i Australia Pty Ltd | Virage Occiptial Plates | Modular adjustable occipital plates | small, medium, large | 111775 |  | July 2022 | Transferred from ZI913
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Dual Diameter | NW033 | 467 | Biomet 3i Australia Pty Ltd | Virage Rods | Virage Dual Diameter Rods | 3.5/5.5mm x 450mm | 111775 |  | July 2022 | Transferred from ZI916
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | IY047 | 373 | EVOLUTION SURGICAL PTY LTD | Jazz Posterior Fixation System Rod | Straight, contoured and transition rods, titanium and cobalt chrome | 4mm - 6mm diameter, 70mm - 600mm length | 200830 |  | July 2022 | Transferred from DE527
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | NW034 | 373 | Biomet 3i Australia Pty Ltd | Vitality Spine System - Rods | Straight and contoured rods titanium and CoCR | 5.5 x 25mm - 5.5 x 510mm & 6 x 25mm - 6 x 510mm | 287242 |  | July 2022 | Transferred from ZA002
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | NW035 | 373 | Biomet 3i Australia Pty Ltd | Virage Rods | Virage Rods | 3.5mm x 25-400mm | 111775 |  | July 2022 | Transferred from ZI914
13 - Spinal | 13.06 - Rod | 13.06.03 - Dual Unit | 13.06.03.02 - Occipital |  | NW036 | 1711 | Biomet 3i Australia Pty Ltd | Virage Occipital Rod | Occipital Hinged Rod | One size | 111775 |  | July 2022 | Transferred from ZI915
13 - Spinal | 13.08 - Washer/Staple | 13.08.02 - Staple |  |  | NW037 | 380 | Biomet 3i Australia Pty Ltd | ROI-A Anchoring Plates | A pair of titanium anchoring plates to serve as integral fixation within the ROI-A ALIF Cage | Large - Plate length 27mm Medium - Plate length 24mm Small - Plate length 20mm | 188175 |  | July 2022 | Transferred from ZA050
13 - Spinal | 13.08 - Washer/Staple | 13.08.02 - Staple |  |  | NW038 | 380 | Biomet 3i Australia Pty Ltd | ROI-C Anchoring Plates | A pair of titanium plates to serve as integral fixation within the ROI-C Cervical Cage | Short Long | 188175 |  | July 2022 | Transferred from ZA051
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | DU066 | 4162 | SPINEART AUSTRALIA PTY. LTD. | Tryptik MC cage/plate/screw | Integrated titanium anterior fixation plate with screws and PEEK cage | Cage: Height: 5mm, 6mm, 7mm. Depth: 12mm, 14mm. Screws: Dia.: 4 and 4.5 mm. Length: 12 to 18 mm. | 166194 |  | July 2022 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | NW039 | 4162 | Biomet 3i Australia Pty Ltd | ROI-C Cervical Cage | A cervical cage for anterior approaches to cervical spine | Footprints 12x14, 12x15.5, 14x14, 14x15.5; 14x17mm; Heights 4.5mm to 10mm | 188176 |  | July 2022 | Transferred from ZA052
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | NW040 | 5949 | Biomet 3i Australia Pty Ltd | ROI-A ALIF Cage | The ROI-A implant is an ALIF interbody/fusion cage manufactured from PEEK-Optima. If the surgeon so chooses, additional stability can be added to the construct by inserting optional self-guided, locking anchoring plates into the cage and the adjacent vertebral bodies. | Footprints 23x26mm, 30x33mm, 33x36m, 27x36mm, 30x39mm. Lordosis angles 2, 6, 10, 14 degrees. Heights 9-19mm. 1 cage per pack. | 188176 |  | July 2022 | Transferred from ZA053
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | KH095 | 2209 | KH NXGEN (AUS) Pty Limited | Reach Cervical Interbody Cage | Reach Cervical Interbody Cage | Cage Height : 4 mm - 10 mm Bone Screw Diameter : 3.5 mm & 4.0 mm Bone Screw Length : 8 mm - 18 mm | 384821 |  | July 2022 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | NW046 | 2490 | Biomet 3i Australia Pty Ltd | Zyston Straight Interbody Spacer | Posterior Lumbar Interbody Spacer, PEEK | (7mm x 20mm) to (18mm x 30mm), Convex, Lordotic | 287188 |  | July 2022 | Transferred from BH170
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | DE796 | 3313 | Device Technologies Australia Pty Ltd | Meridian No Profile Cage with Locking Plate | No Profile ALIF cage with titanium faceplate - two or three hole | 31x24, 35x27, 39x30 10-20mm Heights 10, 15, 20 & 25 Degree Lordosis | 298002 |  | July 2022 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | DE797 | 3313 | Device Technologies Australia Pty Ltd | Meridian TruProfile ALIF Cage | Nanometalene ALIF cage for use with Meridian plate | 31x24, 35x27, 39x30 10-20mm Heights 10, 15, 20 & 25 Degree Lordosis | 298002 |  | July 2022 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | NW047 | 3313 | Biomet 3i Australia Pty Ltd | Zyston Curved Interbody Spacer | Transformaminal Lumbar Interbody Spacer, PEEK | (7 to 18)mm height to (27x32)mm length, Parallel, Lordotic | 287188 |  | July 2022 | Transferred from BH143
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | NW048 | 3313 | Biomet 3i Australia Pty Ltd | Timberline Lateral Fusion System | Interbody Fusion Implant | 25-60mm length | 287189 |  | July 2022 | Transferred from ZI949
13 - Spinal | 13.11 - Disc Replacement | 13.11.01 - System | 13.11.01.01 - Cervical |  | NW041 | 6021 | Biomet 3i Australia Pty Ltd | Mobi-C Cervical Disc Prosthesis | A cervical intervertebral disc replacement consisting of superior and inferior spinal plates and a mobile bearing insert. | Depth (13-19mm) x width (15-19mm) x height (4.5-7mm) | 297897 |  | July 2022 | Transferred from ZA057