## Prescribed List
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
13 - Spinal | 13.14 - Sacroiliac Joint Fixation | 13.14.01 - Sacroiliac Joint Fixation Device |  | no suffix | ER678 | 1853 | Emergo Asia Pacific Pty Ltd | Orthofix Firebird SI Fusion System | Firebird SI Fusion System, cannulated, fenestrated, Ti, sterile | Diameter: 9-12 mm, Length 25-70 mm | 405333 405334 |  | July 2023 | New Listing
10 - Vascular | 10.03 - Grafts | 10.03.01 - Tube | 10.03.01.02 - 11-20cm length | Biologically Engineered | ER679 | 1213 | Emergo Asia Pacific Pty Ltd | LeMaitre Omniflow II Vascular Prosthesis-20 cm | Omniflow II Vascular Prosthesis 20 cm, bioengineered, straight | diameter:5-8 mm length: 20 cm | 399614 |  | July 2023 | New Listing
10 - Vascular | 10.03 - Grafts | 10.03.01 - Tube | 10.03.01.03 - 21-49cm length | Biologically engineered | ER680 | 2047 | Emergo Asia Pacific Pty Ltd | LeMaitre Omniflow II Vascular Prosthesis-30-40cm | Omniflow II Vascular Prosthesis, biologically engineered, 30-40 cm, straight or curved | diameter: 5-8 mm Length: 30-40 cm | 399614 399615 |  | July 2023 | New Listing
10 - Vascular | 10.03 - Grafts | 10.03.01 - Tube | 10.03.01.04 - ≥50cm length | Biologically engineered | ER681 | 2736 | Emergo Asia Pacific Pty Ltd | LeMaitre Omniflow II Vascular Prosthesis-≥50cm | Omniflow II Vascular Prosthesis-≥50cm. biologically engineered, straight | diameter:5-8 mm length: 50-65 cm | 399614 |  | July 2023 | New Listing
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.01 - Adjustable Gastric Band with Port |  |  | ER682 | 2791 | Emergo Asia Pacific Pty Ltd | ReShape Lap-Band AP with RapidPort EZ | Lap-Band AP with RapidPort EZ-small or large, inclusive of accessories, i.e.: needle for band priming; needle for access port flushing (5”); moulded end plug- Lap-Band; connector tubing; access port needle (3.5”). | small/large | 375520 |  | July 2023 | New Listing
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.03 - Replacement Injection Ports |  |  | ER683 | 525 | Emergo Asia Pacific Pty Ltd | RapidPort EZ Access Port Kit (replacement port) | Access Port Kit for LAP-BAND RapidPort EZ system, inclusive of accessories, i.e: needle-Band priming; needle- access port flushing (5”); molded end plug- Lap-Band; connector, tubing; tubin-silicone, 6% BaSO4; access port needle (3.5”). | one size | 375519 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | Com, VAL | ER684 | 897 | Emergo Asia Pacific Pty Ltd | Paragon 28 Gorilla LisFranc Plating System | Gorilla LisFranc/TMT Plates, dual ray, anatomically contoured, variable angle locking, left or right, small/medium | small/medium, 8 Hole with 2 Compression Slots. thickness 1.4 mm | 289248 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | FA037 | 57 | EXACTECH AUSTRALIA PTY LTD | Equinoxe HRP Taper Locking Screw | A range of sizes of locking screws to secure the proximal body to the distal stem after all taper segments have been individually impacted and engaged. | 0mm - 162.5mm | 396477 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.03 - Humeral component - uncemented |  | FA038 | 3325 | EXACTECH AUSTRALIA PTY LTD | Equinoxe Preserve Humeral Stem | Press fit humeral stem | 6 - 14mm | 409490 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | GK001 | 4162 | 3DMORPHIC PTY LTD | 3D fusion ACDF | Stand-alone anterior cervical discectomy and fusion (ACDF) fixation system: cage, screws and locking cap. The 3DMorphic ACDF integral screw fixation device (cage) is intended to immobilize, stabilize and maintain the height between instrumented segments and support loading in the cervical spine until fusion occurs. The 3DMorphic ACDF device has a trapezoidal, ring shaped footprint with a central graft window that can receive bone graft. The superior and inferior surfaces of the device are made to fit the patient’s vertebral endplate anatomy and feature serrated teeth to resist expulsion from the interbody space. The anterior surface of the device features screw holes and a threaded locking cap hole as the device is designed for use with integral fixation screws and a locking cap. The device is offered in a variety of footprints, heights, lordotic and scoliotic angles according to the patient’s anatomy and surgeon’s specifications. | Footprints: 10mm to 23mm L x 08mm to 30mm W. Minimum anterior height is 6mm. L = Anterior-posterior depth (DD in the catalogue), W = width (WW in the catalogue), height and angle vary according to surgeon request as the devices are custom-made. Please refer to attached catalogue for full size range. | 406173 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | GK002 | 5949 | 3DMORPHIC PTY LTD | 3D fusion lumbar cage | Stand-alone anterior lumbar interbody fusion (ALIF) fixation system: cage, screws and locking caps. 3DMorphic ALIF integral screw fixation device (cage) is intended to immobilize, stabilize and maintain the space between instrumented segments and support loading in the lumbar spine until fusion occurs. The 3DMorphic ALIF device has a trapezoidal, ring shaped footprint, and features a central graft window that can receive bone graft. The superior and inferior surfaces of the device are adapted to match the patient’s vertebral endplate anatomy and feature serrated teeth to resist expulsion from the interbody space. The anterior surface of the device features screw holes and threaded locking cap holes as the device is designed for use with integral fixation screws and locking caps. The cage is offered in a variety of footprints, heights, lordotic and scoliotic angles according to the patient’s anatomy and surgeon’s specifications. | Footprints: 20mm to 36mm L x 19mm to 58mm W. Minimum anterior height is 10mm. L = Anterior-posterior depth (DD in the catalogue), W = width (WW in the catalogue), height, angle and number of screws vary according to surgeon request and patient anatomy as the devices are custom-made. Please see attached catalogue for full list of sizes. | 406173 |  | July 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | GK003 | 403 | 3DMORPHIC PTY LTD | 3D Fusion Lumbar Bone Screw | Stand-alone anterior lumbar interbody fusion (ALIF) fixation system: cage, screws and locking caps. The 3D Fusion lumbar bone screw is intended to be used as part of the integral screw fixation system and immobilize and stabilize the 3D fusion lumbar cage to facilitate spinal fusion between two adjacent vertebral bodies. The 3D fusion lumbar bone screws are self-drilling, self-tapping, dual thread bone screws designed to fit with threaded features of the 3D Fusion lumbar Cage to secure and stabilise the fusion cage in place with patient’s endplate anatomy. | Length – 20mm, 25mm, 30mm, 35mm, 40mm, 45mm Diameter – 5.5mm, 6mm | 406173 |  | July 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | GK004 | 403 | 3DMORPHIC PTY LTD | 3D fusion cervical screw | The 3D Fusion cervical screw is part of the integral fixation mechanism for the 3D Fusion cervical System (also consisting of the 3D Fusion ACDF Cage and Locking Cap). These components are part of separate applications. The 3D Fusion ACDF Bone Screws intend to immobilize and stabilize the 3D Fusion ACDF Cage and facilitate spinal fusion between two adjacent lumbar vertebral bodies. The 3D Fusion ACDF Bone Screws are self-drilling, dual thread bone screws designed to fit with integral fixation features of the 3D Fusion cervical system. The threaded locking cap system establishes an intrinsic link between the cage and the fixation screws, creating a rigid locked system, without distortion of the screw head | Length = 12mm – 20mm Diameter = 4.0mm & 4.5mm | 406173 |  | July 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | HQ004 | 351 | BioMeDent Pty Limited | Rex PiezoImplant (Piezoimplant, Retention Screw, Fixture Mount/Temp & cover screw) | The PiezoImplant System is intended for use in Dental Implant applications for oral rehabilitation of edentoulous and partially dentate Patients in the Maxilla and Mandible.The Rex PiezoImplant was designed to manage reduced Crestal Width. Its rectangular section mimics the anatomy of the reduced Crestal bone. This level of bone preservation is not possible with traditional, screw-form implants because their circular section poses a geometrical discrepancy with the anatomy. | 1.8mm x 5.0mm (rectangle)in lengths of 9,11,13 & 15mm 2.9mm x 5.0mm (rectangle)in lengths of 9,11,13 & 15mm | 389951 |  | July 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.01 - Permanent |  | HQ005 | 171 | BioMeDent Pty Limited | Rex PiezoImplants Permanent Abutments (No Screw included) | The PiezoImplant System permanent restorations may consist of single crowns or bridges as well as complete or partial dentures. The prosthetic components are connected to the implants by corresponding abutments. The PiezoImplant System is intended for delayed loading. | 1.8mm & 2.9mm | 389981 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU331 | 374 | ARTHREX AUSTRALIA PTY LTD | Knotless Mini Tightrope Implant System, 2.7mm, Titanium | Button fixation for ligament repair | One size only | 350631 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU332 | 442 | ARTHREX AUSTRALIA PTY LTD | SutureLoc Implant | Meniscal suture anchor | 2.6mm | 384730 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) |  | HU333 | 181 | ARTHREX AUSTRALIA PTY LTD | FastThread PEEK Interference Screw | PEEK Interference Screw | Diameters: 6 - 12mm Length: 20 - 30mm | 350870 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU334 | 374 | ARTHREX AUSTRALIA PTY LTD | Knotless BicepsButton | Button suture construct | 2.6 mm x 12 mm | 385940 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU335 | 374 | ARTHREX AUSTRALIA PTY LTD | Knotless Distal Clavicle Plate Button Assembly | Knotless TightRope pre-loaded on Clavicle Button for use with DogBone. Titanium button with nonabsorbable UHMWPE suture material. | One size only | 350871 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU336 | 442 | ARTHREX AUSTRALIA PTY LTD | Knotless FiberTak® Biceps | Non-Absorbable Soft Anchor | 2.6mm | 353482 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU337 | 374 | ARTHREX AUSTRALIA PTY LTD | Low-Profile AC Implant | Knotless AC Implant (Button with Non-Absorbable Suture) | One Size Only | 353493 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU338 | 442 | ARTHREX AUSTRALIA PTY LTD | Double Loaded Knotless Knee FiberTak | Self-Punching non-bioabsorbable soft anchor | 2.6mm | 384730 |  | July 2023 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.08 - External Prostheses, Bone Attachment | 07.02.08.01 - Endosseous Implant | Concave | IC008 | 1055 | Southern Implants Australia Pty Ltd | Southern Implant IE Osseointegrated Implant | Titanium implant for the treatment of patients with craniofacial defects | Width 3.75mm - 4.0mm Length 3.0mm - 6.0mm | 225923 |  | July 2023 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.02 - Non Viscous |  |  | IQ027 | 36 | IQ Medical | Vioron | Trypan blue dye for ophthalmic applications | 0.5ml syringe | 150061 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ056 | 3313 | DAVID LE CHEMINANT | IdentiTi NanoTec Interbody System | Spacer, LIF. Ti HA | (16-26)mm x (40-65)mm x (4-16)mm height x (0-20) degrees lordosis | 397837 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | JQ057 | 5949 | DAVID LE CHEMINANT | IdentiTi ALIF Standalone Interbody System | Integrated Fixation Cage Including 2 Lateral Fixation Screws and 1 (Centre Screw or Cannulated Fixation Bolt), Ti Alloy | Cage: 34 - 38)mm x (24 - 28)mm footprint x (4- 13)mm height , (10-30) degree lordosis Screw: (5 - 8.5)mm diameter x (25 - 35) mm length Bolt: (8.5 - 9) mm diameter x (25 -35)mm length | 397510 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | JQ058 | 4162 | DAVID LE CHEMINANT | IdentiTi Cervical SA Spacer | Integral Fixation Spacer including two Fixation Screws. Ti Alloy | Cage: (5 - 10)mm x (14 - 18)mm footprint x (12 - 16)mm height, (7- 15) degrees lordosis Screws: (3.5 - 4)mm diameter x (12-18)mm length self tapping or self drillling, single or dual lead | 397510 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | JQ059 | 2189 | DAVID LE CHEMINANT | IdentiTi NanoTec Interbody System | Spacer, Cervical. Ti ,Ha | (14-22)mm x (12- 19)mm x (4- 14)mm height x (0-15)degree lordosis | 397837 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ060 | 3313 | DAVID LE CHEMINANT | Transcend NanoTec Interbody System | Spacer, Posterior Oblique. PEEK Ti Alloy HA | 10mm width x (25-35) length x (7-15)mm height x (0-15)degree lordosis | 398574 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | JQ061 | 2346 | DAVID LE CHEMINANT | Transcend NanoTec Interbody System | Spacer, Posterior Straight, PEEK Ti Alloy HA | 9mm width x (22-25)mm length x (7-13)mm height x (0-15) degree lordosis | 398574 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | LK | JV020 | 106 | Stryker Australia Pty Ltd | VariAx Plating System - Screws | Titanium Locking Screws | 2.0mm | 352530 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | JV021 | 111 | Stryker Australia Pty Ltd | VariAx Plating System - Screws | Titanium Locking Screws | 3.5mm | 352530 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | JV022 | 54 | Stryker Australia Pty Ltd | VariAx Plating System - Screws | Titanium Non-Locking Screws | 3.5mm | 352530 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | JV023 | 442 | Stryker Australia Pty Ltd | AlphaVent | Suture Anchor | 4.75mm, 5.50mm, 6.50mm | 229717 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | VAL | JV024 | 642 | Stryker Australia Pty Ltd | VariAx 2 MIS Calcaneal Plating System | Variable Angle Locking Calcaneal Plating System | Small (5-6 Holes) | 340042 357433 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | Com, VAL | JV025 | 897 | Stryker Australia Pty Ltd | VariAx 2 MIS Calcaneal Plating System | Variable Angle Locking Calcaneal Plating System | Small - Large (7-9 Holes) | 340042 |  | July 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | KH096 | 1124 | KH NXGEN (AUS) Pty Limited | RS8 Long Cannulated Polyaxial Reduction Screw | Cannulated Polyaxial Reduction Screw | Diameter : 5.0 - 7.5 mm Length : 25 - 120 mm | 380418 |  | July 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | KH097 | 355 | KH NXGEN (AUS) Pty Limited | RS8 Long Rod | RS8 Long Rod | Straight & Curved Diameter : 5.5 mm & 6.0 mm Length : 30 - 500 mm | 380418 |  | July 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | KH098 | 144 | KH NXGEN (AUS) Pty Limited | RS8 Long Set Screw | RS8 Long Set Screw | Diameter : 9.5 mm / 10 mm Length : 4.5 mm / 5.0 mm / 9.3 mm | 380418 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | LM535 | 54 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Fully Threaded Syndesmosis Screws | 4.0 x 40-60mm | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN | LM536 | 180 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Cannulated Screws | 4.0 x 20-50mm | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.39 - Periarticular anatomic - Tibia ≥ 7 to ≤ 15 holes | VAL | LM537 | 1490 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Tibia Plates | 9 to 15 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.40 - Periarticular anatomic - Tibia ≥ 16 holes | VAL | LM538 | 1637 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Tibia Plates | 17 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | VAL | LM539 | 642 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Simple Plates Straight, Y and L shaped plates | 2 - 6 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | LM540 | 641 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Simple Plates, Straight, L and T plates | 7 to 12 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.01 - Standard (screw size ≥4.5mm)(including blade) ≤ 6 holes | VAL | LM541 | 892 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Fibula Plates | 5 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | LM542 | 1244 | LMT Surgical Pty Ltd | Omni Stable AF Plating System | Fibula Plates | 9 - 13 holes | 306780 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | LM543 | 374 | LMT Surgical Pty Ltd | TriMed RipCord® Syndesmosis Button Kit | The system consists of UHMWPE suture, a far button and a near button made from 316L medical grade implant quality stainless steel, and accompanying instrumentation | 1 size | 409845 |  | July 2023 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.02 - Non Viscous |  |  | LN015 | 36 | Lumos Medical Pty Ltd | DyeBlue | Dyeblue is a sterile intraocular solution containing Trypan Blue without preservatives. Dyeblue is indicated for anterior capsule colouring during ophthalmic surgeries. | 1 mL vial, 1.1 mL syringe | 399953 |  | July 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | MI508 | 2346 | Medtronic Australasia Pty Ltd | Fuse Spinal System - Cage | PLIF or TILF Vertebral Body Spacer | length (24.5mm), height (7-14mm), width (7-9.5mm) and lordosis (0-8ᵒ) | 126313 |  | July 2023 | New Listing
09 - Cardiothoracic | 09.04 - Atrio-Ventricular Rings and Bands | 09.04.04 - Atrio-Ventricular Ring or Band, Standard |  |  | MI509 | 2090 | Medtronic Australasia Pty Ltd | SimuPlus™ Annuloplasty Ring | Flexible mitral annuloplasty ring including accessories (tray, sizers and annuloplasty handles) | Ring size (mm): 26, 28, 30, 32, 34, 36, 38, 40, 42 | 394452 |  | July 2023 | New Listing
09 - Cardiothoracic | 09.04 - Atrio-Ventricular Rings and Bands | 09.04.04 - Atrio-Ventricular Ring or Band, Standard |  |  | MI510 | 2090 | Medtronic Australasia Pty Ltd | SimuPlus™ Annuloplasty Band | Flexible mitral/tricuspid annuloplasty band including accessories (tray, sizers and annuloplasty handles) | Ring size (mm): 26, 28, 30, 32, 34, 36, 38, 40, 42 | 394453 |  | July 2023 | New Listing
09 - Cardiothoracic | 09.04 - Atrio-Ventricular Rings and Bands | 09.04.05 - Atrio-Ventricular Ring or Band, Modified |  |  | MI511 | 2280 | Medtronic Australasia Pty Ltd | SimuForm™ Annuloplasty Ring | Semi-rigid mitral annuloplasty ring including accessories (tray, sizers and annuloplasty handles) | Ring size (mm): 24, 26, 28, 30, 32, 34, 36, 38, 40 | 394454 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.05 - Modular humeral component - metaphyseal, uncemented |  | MN361 | 2451 | Johnson & Johnson Medical Pty Ltd | Global Unite Reverse Fracture Epiphysis | Coated epiphysis, includes superior-lateral suture collar with suture holes. | Size 1. Centered, Left, and Right configurations | 311439 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.06 - Screw Washers |  | MN362 | 59 | Johnson & Johnson Medical Pty Ltd | Bristow-Latarjet Instability Shoulder Set - Top Hat Screw Washer | Cannulated titanium top hat screw washer | One size | 215753 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.06 - Staples | 06.03.06.01 - Staples |  | MN363 | 127 | Johnson & Johnson Medical Pty Ltd | Nitinol Implant System | Bone staples | Bridge size: 18-30 | 387415 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.06 - Button |  | MU189 | 374 | Medacta Australia Pty Ltd | FairFix Adjustable Button Extender | Button Extender | Various sizes | 365812 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | MU190 | 57 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Polyaxial Locking Screws | Glenoid Polyaxial Locking Screws | from 14 to 50 mm in 4mm steps | 400831 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | MU191 | 57 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Polyaxial Non-Locking Screws | Polyaxial Non-Locking Screws | from 14 to 50 mm in 4mm steps | 400831 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.09 - Modular Humeral component - diaphyseal, uncemented, short (≤220mm) |  | MU192 | 2660 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Diaphysis | Uncemented Humeral Diaphysis Ti + HA coated | from 6 to 16 STD and Short | 400830 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.05 - Modular humeral component - metaphyseal, uncemented |  | MU193 | 2451 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Reverse Metaphysis | Humeral Reverse Metaphysis | +0mm, +9mm 0°, +/-20°, L and R | 400832 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.14 - Humeral cup |  | MU194 | 774 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Reverse Liner | Humeral Reverse HC Liner | Diameter 32, 36, 39 and 42 mm | 400833 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.05 - Shoulder - Glenoid | 06.02.05.05 - Reverse glenoid component, Base plate, uncemented |  | MU195 | 1991 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Baseplate | Glenoid Baseplate | Diameter 22, 24.5 and 27 mm | 400834 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.05 - Shoulder - Glenoid | 06.02.05.06 - Glenosphere |  | MU196 | 2139 | Medacta Australia Pty Ltd | MSS - Medacta Shoulder System Glenosphere | Glenosphere | Diameter 32, 36, 39 and 42 mm Standard +4mm and lateralized +9mm | 400835 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | NY004 | 374 | NeoSurgical Pty Ltd | Sekure-Lock | Fixation anchor with suture | One size only | 402457 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.01 - Femoral, Proximal short (<220mm) |  | OX049 | 914 | MERIL AUSTRALIA PTY LTD | CLAVO™ Proximal Femoral Rotational-Stability Nail, Extra-Small/Small, 130° | Femoral Nail | 9-12 mm D <220mm length | 378490 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | LK | OX050 | 313 | MERIL AUSTRALIA PTY LTD | ARMAR 3.5 MM Meril Locking Plate system - Lateral Distal Fibula Plate | Plate for Fracture Fixation | 4-10 Holes 80-158 mm Length Left and Right | 286842 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.01 - Intramedullary nail lag screw |  | OX051 | 199 | MERIL AUSTRALIA PTY LTD | CLAVO™ Anti-Rotation Screw for PFRN | Anti-rotation screw | Length 75-120mm | 378490 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | OX052 | 57 | MERIL AUSTRALIA PTY LTD | CLAVO™ 4.9mm Locking Bolt, Self Tapping, (TAN), L26mm – L100mm | Locking Bolts, Titanium Alloy | Diameter - 4.9 mm, Length: 26 - 100 mm | 378490 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.04 - End caps and extension caps |  | OX053 | 96 | MERIL AUSTRALIA PTY LTD | CLAVO™ Nail Cap for PFRN, Extension 0, 5, 10, 15 mm | Extension Nail Cap For Proximal Femoral Rotational Nail. | 0 - 15 mm | 378490 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | OX054 | 54 | MERIL AUSTRALIA PTY LTD | MBOSS-3.5 mm Meril Cancellous Screw system - Cancellous Screw, Self Tapping | Cancellous Screw | Length- 30- 90 | 286843 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.02 - Femoral, Proximal long (≥220mm) |  | OX055 | 1214 | MERIL AUSTRALIA PTY LTD | CLAVO™ Proximal Femoral Rotational-Stability Nail, Standard/ Long, Left/ Right, 130°. | Femoral Nail | 9-12mm D ≥ 220mm length | 378490 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.05 - Surgical Accessories | 06.03.05.12 - Chest Wall Reconstruction Plates |  | PF031 | 1170 | Perios Pty Ltd | Embrace Rib Fixation Plate | Rib plate for fixation of thoracic cage fractures, osteotomies, and reconstructions | 35mm to 65mm | 353890 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.06 - Button |  | SF185 | 374 | Signature Orthopaedics | SignaFlip Extender Button | Titanium Extender button | 10-20mm | 193153 |  | July 2023 | New Listing
08 - Cardiac | 08.17 - Catheter Delivery | 08.17.01 - Transcatheter Aortic Valve Implantation |  |  | SJ482 | 22932 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Navitor™ Transcatheter Aortic Valve | Self-expanding transcatheter aortic tissue valve, nitinol stent, bovine valve with delivery system | 23-29 | 396571 399973 410058 | The listed item [billing code] covers the Navitor System, containing Transcatheter Aortic Valve (cat. numbers NVTR-23, NVTR-25, NVTR-27, NVTR-29), FlexNav™ Delivery System (cat. numbers FNAV-DS-SM, FNAV-DS-LG) and Loading System (NVTR-LS-SM and NVTR-LS-LG), and the benefit is payable for the listed item if the Navitor System is used for the surgical procedure described in item 38495 in Group T8 of the Regulations. | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.03 - Frame Component - Monoplanar, Clamp |  | SL247 | 1133 | Smith & Nephew Pty Ltd | MAVERICK External Fixation | Clamps | Up to 75mm | 401572 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.13 - Frame Component - Rods | Standard | SL248 | 144 | Smith & Nephew Pty Ltd | MAVERICK External Fixation | Bars/ Rods | 100 – 600 mm | 401572 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.14 - Frame Component - Pins |  | SL249 | 134 | Smith & Nephew Pty Ltd | MAVERICK and JET-X External Fixation | Pins | 30 – 275 mm | 112731 401572 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.16 - Frame Component - Pin Clamp Assembly Post |  | SL250 | 92 | Smith & Nephew Pty Ltd | MAVERICK External Fixation | Straight, 30°, and 90° Posts | Straight, 30°, and 90° | 401572 |  | July 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.02 - Shells, Uncemented | 11.03.02.05 - Porous Metal |  | WN009 | 2812 | PERMEDICA AUSTRALIA PTY LTD | Jump System Traser Cup | Uncemented Acetabular Cup | 44mm to 70mm | 381044 |  | July 2023 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.01 - Conventional Femoral Heads, ≤32mm | 11.02.01.05 - Ceramic Mix |  | WQ001 | 1703 | SYMBIOS ORTHOPAEDICS PTY LTD | Biolox Delta Femoral Head | Biolox Delta Ceramic Femoral Head | 28mm, 32mm | 391991 |  | July 2023 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.02 - Conventional Femoral Heads, >32mm | 11.02.02.05 - Ceramic Mix |  | WQ002 | 1793 | SYMBIOS ORTHOPAEDICS PTY LTD | Biolox Delta Femoral Head | Biolox Delta Ceramic Femoral Head | 36mm, 40mm | 391991 |  | July 2023 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.01 - Conventional Femoral Heads, ≤32mm | 11.02.01.02 - Cobalt Chrome |  | WQ003 | 621 | SYMBIOS ORTHOPAEDICS PTY LTD | Cobalt Chrome Femoral Head | CoCr Femoral Head | 22.2mm, 28mm, 32mm | 392730 |  | July 2023 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.02 - Conventional Femoral Heads, >32mm | 11.02.02.02 - Cobalt Chrome |  | WQ004 | 673 | SYMBIOS ORTHOPAEDICS PTY LTD | Cobalt Chrome Femoral Head | CoCr Femoral Head | 36mm | 392730 |  | July 2023 | New Listing
12 - Knee | 12.01 - FEMORAL COMPONENT: TOTAL KNEE ARTHROPLASTY | 12.01.01 - Cemented, Alloy | 12.01.01.02 - Posterior Stabilised |  | WQ005 | 2855 | SYMBIOS ORTHOPAEDICS PTY LTD | Origin PS Femur Cemented | Patient-Matched posterior stabilised cemented femoral component | Patient Specific - Left and Right Knee | 382626 |  | July 2023 | New Listing
12 - Knee | 12.03 - TIBIAL TRAY COMPONENT - TOTAL KNEE ARTHROPLASTY | 12.03.02 - Cemented, Alloy |  |  | WQ006 | 1837 | SYMBIOS ORTHOPAEDICS PTY LTD | Origin PS Fixed Tibia Monobloc Cemented | Patient-Matched cemented tibial component | Patient Specific - Left and Right Knee | 382629 |  | July 2023 | New Listing
12 - Knee | 12.05 - TIBIAL INSERT: TOTAL KNEE ARTHROPLASTY | 12.05.02 - Posterior Stabilised |  |  | WQ007 | 1020 | SYMBIOS ORTHOPAEDICS PTY LTD | Origin PS Fixed Tibial Insert | Patient-Matched posterior stabilised tibial fixed insert UHMWPE | Patient Specific - Left and Right Knee, 6 and 8mm thickness. | 382627 |  | July 2023 | New Listing
12 - Knee | 12.08 - PATELLAR COMPONENT | 12.08.01 - Cemented, All Polyethylene |  |  | WQ008 | 385 | SYMBIOS ORTHOPAEDICS PTY LTD | Origin Patella Cemented | Cemented patella component with medialised dome UHMWPE | XS to XL | 382628 |  | July 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | WQ009 | 3493 | SYMBIOS ORTHOPAEDICS PTY LTD | Individual Hip TiHA | Uncemented Collarless Femoral Stem | Patient-Specific Collarless Hip | 404155 |  | July 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | ZA120 | 457 | Zimmer Biomet Pty Ltd | Neo Advance Biocomposite Interference Screws | Biocomposite Interference Screws | Ø7.0 x (25,30) mm Ø8.0 x (23,25,28,30) mm Ø9.0 x (23,25,28,30) mm Ø10.0 x (23,25,28,30) mm | 409050 |  | July 2023 | New Listing