## Prostheses List Changes
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
EJ006 | 01 - Ophthalmic | EVO Visian ICL VTICMO | Posterior chamber Intraocular lens Phakic, Model V4c (VTICMO) | Length(mm)12.1 to 13.7. Dioptre -0.25 to -18.0D , 0 to 6D astigmatism | ELLEX MEDICAL PTY LTD |  | Changed Product Sizes, Benefit, Group, Sub Group, Suffix
EJ007 | 01 - Ophthalmic | EVO Visian ICL VICMO | Posterior chamber Intraocular lens Phakic, Model V4c (VICMO) | Length (mm) 12.1 to 13.7. Dioptre -0.25 to -18.0D | ELLEX MEDICAL PTY LTD |  | Changed Product Sizes, Benefit, Group, Sub Group
AL044 | 01 - Ophthalmic | Clareon AutonoMe | The Clareon Aspheric Hydrophobic Acrylic Lens is an ultraviolet and blue light filtering foldable single-piece posterior chamber intraocular lens, provided in the AutonoMe Pre-loaded Delivery System. | +6.0 to +30.0D | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Sizes
AO044 | 01 - Ophthalmic | TECNIS Synergy IOL | 1-piece continuous multifocal IOL | +5.0 to 34.0 diopter powers in 0.5 diopter increments. Overall diameter 13mm, optic size 6mm | AMO Australia Pty Ltd |  | Changed Product Name, Benefit, Suffix
AL037 | 01 - Ophthalmic | Ex-Press Glaucoma Filtration Device | Miniature glaucoma shunt | 50 microns; 200 microns | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Sizes
ET072 | 02 - Ear, Nose & Throat | Eclipse Piston | Stapes: Nitinol, Fluroplastic | Diameter 0.4mm: 3.75mm - 6.00mm; Diameter 0.5mm: 3.75mm - 6.00mm; Diameter 0.6mm: 3.75mm - 6.00mm | Endotherapeutics Pty Ltd |  | Changed Product Sizes
KG014 | 02 - Ear, Nose & Throat | ALTO Prosthesis | Adjustable Length Titanium Ossicular Chain Reconstruction Prosthesis | Head Size: 1.5mm x 2.5mm / 2mm x 2.5mm / 2mm x 3.3mm / 2.5mm x 3.5mm / 4mm x 3.25mm. Length: 0.75mm - 8.6mm. Distal Diameter: 0.4mm - 1.45mm. | Kevin Grundy (IBD) Pty Ltd |  | Changed Product Sizes
MC269 | 02 - Ear, Nose & Throat | Medtronic Vent Tubes | Activent Antimicrobial Ventilation Tube | 1.02 - 1.27mm x 0.9 - 2.4mm | Medtronic Australasia Pty Ltd |  | Changed Benefit, Suffix
MI077 | 02 - Ear, Nose & Throat | Medtronic Ventilation Tube | Medium to long term, antimicrobial vent tube | 1.02 - 1.52mm x 1.3-12.0mm | Medtronic Australasia Pty Ltd |  | Changed Benefit, Suffix
SQ069 | 03 - General Miscellaneous | ON-Q Pain Relief System | Tunneller, Sheath, Needle | 15.2-30.5cm 11-17GA | Surgical Specialties |  | Changed Product Sizes
KI004 | 03 - General Miscellaneous | MIC-KEY Low Profile Balloon Gastrostomy Feeding Tubes/Kits, ENFit | Sterile Low Profile Enteral Feeding Tube with Accessories | 14FR to 24 Fr ; 0.8cm to 5.0cm | Avanos Medical Australia Pty Ltd |  | Changed Product Name, Product Description
KI014 | 03 - General Miscellaneous | MIC* Jejunostomy Feeding Tube | Sterile Jejunal Enteral Feeding Tube with Suture Wings (2 eaches per case) | 14fg / 9fg | Avanos Medical Australia Pty Ltd |  | Changed Benefit, Suffix
PY038 | 03 - General Miscellaneous | Niti-S Biliary Uncovered Stents | Niti-S Biliary Uncovered Stents. | Diameter: 6mm to 10mm Length: 40mm to 120mm | Pyramed Pty Limited |  | Changed Product Sizes
PY049 | 03 - General Miscellaneous | Niti-S Biliary Covered and Partially Covered Stents | Niti-S Biliary Covered and Partially Covered Stents | Diameter: 4mm to 16mm Length: 10mm to 120mm | Pyramed Pty Limited |  | Changed Product Sizes
ET045 | 03 - General Miscellaneous | Boubella Esophageal Stent | Self expandable stainless steel wire stent with anti-reflux valve | Length 90 - 210mm | Endotherapeutics Pty Ltd |  | Changed Product Sizes
ET077 | 03 - General Miscellaneous | ELLA BD Stent | The ELLA BD Stent is a self-expanding biodegradable stent made of polydiaxanone designed to slowly degrade when in contact with living tissue. Full degradation of stent occurs within 11-12 weeks of implantation. It is designed for dilation and treatment of benign oesophageal lesions. | Stent body diameters = 18mm - 25mm; Stent flares diameters = 23mm - 31mm; Stent nominal length = 60/80/100/135mm. | Endotherapeutics Pty Ltd |  | Changed Product Sizes
BA266 | 03 - General Miscellaneous | Progel Platinum Surgical Sealant Extender Spray Tip | Extender Spray tip to be used in conjunction with Progel Platinum Surgical Sealant | 16cm, 29cm | Bard Australia Pty Ltd |  | Changed Benefit, Suffix
BB294 | 03 - General Miscellaneous | Aesculap Ligating Clips | Aesculap Ligating Clips- Ligation Clips Titanium; | PL561T- Large; 6 clips/cartridge | B Braun Australia Pty Ltd |  | Changed Benefit
BB297 | 03 - General Miscellaneous | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL565T - Small; 6 clips/cartridge | B Braun Australia Pty Ltd |  | Changed Benefit
BB299 | 03 - General Miscellaneous | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL567T - medium; 6 clips/cartridge | B Braun Australia Pty Ltd |  | Changed Benefit
BB300 | 03 - General Miscellaneous | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL568T - medium/large; 6 clips/cartridge | B Braun Australia Pty Ltd |  | Changed Benefit
JJ033 | 03 - General Miscellaneous | Ligaclip* Ligating Clips - titanium | Titanium clips contained in a plastic cartridge | 3-5mm; 6 clips per cartridge | Johnson & Johnson Medical Pty Ltd |  | Changed Benefit
JJ034 | 03 - General Miscellaneous | Ligaclip* Ligating Clips - titanium | Titanium clips contained in a plastic cartridge | 9-12 mm; 6 clips per cartage | Johnson & Johnson Medical Pty Ltd |  | Changed Benefit
EM030 | 03 - General Miscellaneous | Reach Endo III Linear Cutter Stapler | Endoscopic Linear Cutter Stapler, Articulating or Roticulating, Reloadable, Single Use | 45m, 60mm | EMT Healthcare Pty Ltd |  | Changed Benefit, Suffix
DE683 | 03 - General Miscellaneous | SureForm | Disposable stapling device | 45mm (staple line length) 60mm (staple line length) | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
MI287 | 03 - General Miscellaneous | Tri-Staple 2.0 Reinforced reloads | Tri-Staple 2.0 Reinforced reload preloaded with polyglycolic acid staple line reinforcement mesh and with intelligent chip that communicates with Signia stapler. | 45mm, 60mm | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description
EM027 | 03 - General Miscellaneous | Reach Circular Stapler | Intraluminal Circular Stapler | 25mm, 28mm, 31mm, 34mm | EMT Healthcare Pty Ltd |  | Changed Benefit, Suffix
MI281 | 03 - General Miscellaneous | EEA Circular Stapler with Tri Staple Technology | Circular staplers with 3 row staples, slope faced cartridge with a different staple size in each staple row. | 21mm to 33mm | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description
AS095 | 03 - General Miscellaneous | STATTACK | STATTACK Titanium Helical Tacker | One size only | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description
BB184 | 03 - General Miscellaneous | OPTILENE MESH | Polypropylene Mesh | 15x15cm | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB182 | 03 - General Miscellaneous | OPTILENE MESH | Polypropylene Mesh | 20x30cm | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB185 | 03 - General Miscellaneous | OPTILENE MESH | Polypropylene Mesh | 30x30cm | B Braun Australia Pty Ltd |  | Changed Product Sizes
AS182 | 03 - General Miscellaneous | Permacol Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 3 x 3cm, 5 x 5cm, 2 x 20cm, 5 x 10cm, 4 x 18cm, 10 x 10cm, 10 x 15cm, 6 x 3cm, 10 x 15cm | Medtronic Australasia Pty Ltd |  | Changed Product Name
AS183 | 03 - General Miscellaneous | Permacol Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 15 x 20cm | Medtronic Australasia Pty Ltd |  | Changed Product Name
AS184 | 03 - General Miscellaneous | Permacol Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 18 x 28cm and 20 x 30cm | Medtronic Australasia Pty Ltd |  | Changed Product Name
AS187 | 03 - General Miscellaneous | Permacol Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 20 x 40cm | Medtronic Australasia Pty Ltd |  | Changed Product Name
AS188 | 03 - General Miscellaneous | Permacol Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 20 x 50cm | Medtronic Australasia Pty Ltd |  | Changed Product Name
BS243 | 04 - Neurosurgical | Vercise Remote Control, Vercise Remote Control 2, Vercise Remote Control 3 | Remote patient control for DBS, remote patient control kit for DBS | One size only | Boston Scientific Australia Pty Ltd |  | Changed Product Name, Product Description
AS198 | 04 - Neurosurgical | ev3 Occlusion Balloon Catheters | Single lumen balloon catheter to temporarily occlude the central lumen allowing inflation of the balloon during neurosurgical and vascular procedures. | 3-7mm diameter; 7-30mm length | Medtronic Australasia Pty Ltd |  | Changed Benefit, Sub Group
HW558 | 04 - Neurosurgical | TransForm Occlusion Balloon Catheters | The TransForm Occlusion Balloon Catheter consists of a single lumen catheter shaft with a balloon attached at the distal end. The balloon is available in a compliant version and a super compliant version. Radiopaque markers are located at the proximal and distal ends of the balloon to facilitate fluoroscopic visualization. The balloon catheter is recommended for use with a Stryker Neurovascular 0.014 in (0.36 mm) guidewire to seal the distal segment of the catheter lumen allowing inflation of the balloon. The guidewire can be moved distally or proximally once beyond the distal tip (seal portion) of the catheter and still maintain a positive seal for inflating the balloon. The distal outer segment of the catheter shaft is coated with a hydrophilic material that reduces friction during manipulation in the vessel. A luer fitting hub at the proximal end of the catheter is used for the attachment of accessories. | Effective Length: 150 cm Balloon Outer Diameter: 3 mm - 7 mm Balloon Nominal Length: 5 mm - 30 mm Maximum Catheter Shaft Outer Diameter: 2.8 F | Stryker Australia Pty Ltd |  | Changed Product Sizes, Benefit, Sub Group
MC186 | 05 - Urogenital | Sacral Nerve Stimulation Accessories | Foramen Needle. (box of 6) Sterile individual units. Stainless steel. | 8.9 to 12.7 cm | Medtronic Australasia Pty Ltd |  | Group Benefit Change, Changed Product Description, Product Sizes,
MO417 | 06 - Specialist Orthopaedic | Motec Wrist Joint Prosthesis | Radius Threaded Implant | Radius threaded Implant, lengths 32-70mm | Medical & Optical Instruments Australia Pty Ltd |  | Changed Product Sizes
BH051 | 06 - Specialist Orthopaedic | Comprehensive Shoulder - Reverse Glenosphere | Reverse glenosphere | 36mm to 41mm (standard, +3, +6) | Zimmer Biomet Pty Ltd |  | Changed Product Sizes
ZI721 | 06 - Specialist Orthopaedic | Zimmer Natural Nail System | Retrograde Femoral Nail - Titanium | 10mm to 13mm x 16, 20, 24, 28, 30, 32, 34, 36, 38, 40, 42, 44cm Universal. | Zimmer Biomet Pty Ltd |  | Changed Product Sizes
SQ112 | 06 - Specialist Orthopaedic | Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System | Cable Plates Titanium | 8 Hole 240mm 10 Hole 290mm | Surgical Specialties |  | Changed Product Sizes
LM379 | 06 - Specialist Orthopaedic | Ankle Fusion Plate | Ankle Fusion Plate | Suitable for patient anatomy | LMT Surgical Pty Ltd |  | Changed Benefit, Suffix
SN801 | 06 - Specialist Orthopaedic | Peri-Loc | 3.5mm Recon Plates | > 7 to < 15 holes | Smith & Nephew Pty Ltd |  | Changed Product Sizes, Benefit, Sub Group, Suffix
SL131 | 06 - Specialist Orthopaedic | Smith & Nephew Plate and Screw System - EVOS | Small Fragment plate | ≥ 16 holes | Smith & Nephew Pty Ltd |  | Changed Benefit, Suffix
DZ025 | 06 - Specialist Orthopaedic | Austofix PHP - Proximal Humeral Plating System | Anatomic Periarticular Humeral Variable Angle Locking Plate, Titanium | 7-15 Hole | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Product Name, Product Sizes
OH470 | 06 - Specialist Orthopaedic | IXOS Radius Plating System | Titanium Radial Plates | 23-27mm x 43-71mm - >7 to &lt;15 Holes | Orthotech Pty Ltd |  | Changed Product Sizes
ER504 | 06 - Specialist Orthopaedic | Paragon 28 Gorilla Plating System-Screws, standard ( ≥ 4.5mm), locking | Paragon 28 Gorilla Plating System-Screws, standard ( ≥ 4.5mm), locking, recon/Tuffneck | dia (4.5-5.2 mm) x length (14-60 mm) | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Description
ER530 | 06 - Specialist Orthopaedic | Paragon 28 Monster Screw System-Screws, standard ( ≥ 4.5mm), locking | Paragon 28 Monster Screw System-Joust Beaming Screws, standard, locking, headless, Titanium | dia (5.0-7.2mm) x Length (50-185mm) | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Description
ER510 | 06 - Specialist Orthopaedic | Paragon 28 Gorilla Plating System-Screws, standard ( ≥ 4.5mm) | Paragon 28 Gorilla Plating System-Screws, standard ( ≥ 4.5mm) | dia (4.5-5.2 mm) x length (14-60 mm) | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Description
DZ014 | 06 - Specialist Orthopaedic | Austofix Proximal Humeral Plating System - Austofix PHP Locking Screw | Locking Screw Titanium | 3.5mm, 16-100mm | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Product Sizes
MO177 | 06 - Specialist Orthopaedic | Acumed Wires and Pins | Wire Kirschner Stainless Steel | 0.70mm to 2.4mm diameter, 4 to 9.25in (10 to 24cm) length | Medical & Optical Instruments Australia Pty Ltd |  | Changed Product Name, Product Sizes
DE649 | 06 - Specialist Orthopaedic | Cerclage System | Pre-tied Cerclage System | One Size Only | Device Technologies Australia Pty Ltd |  | Changed Condition - Changed Benefit, Category, Sub Category, Group, Sub Group
LV119 | 06 - Specialist Orthopaedic | Y-Knot Suture Anchor | Y-Knot All Suture Anchor | 1.3mm to 2.1mm | ConMed Linvatec Australia Pty Ltd |  | Changed Product Sizes
SM176 | 06 - Specialist Orthopaedic | Bioabsorbable HA Screw | Absorbable HA Interference Screw | Various | Smith & Nephew Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
DE510 | 06 - Specialist Orthopaedic | Tenodesis Screw | Non Absorbable Tenodesis Screw | 2.5mm-9mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
LB184 | 06 - Specialist Orthopaedic | SIGNIFY Bioactive | Osteostimulative and osteoconductive bioactive bone void filler | 2cc and 5cc | Globus Medical Australia |  | Changed Benefit, Suffix
OK005 | 06 - Specialist Orthopaedic | NanoBone - Putty | QD and SBX Putty | 0.25ml, 0.5ml, 1.0ml, 2.5ml, 5ml | MY BIOLOGICS PTY LTD |  | Changed Product Sizes
SV014 | 06 - Specialist Orthopaedic | Tripore HA Granules 0- 5cc | Biphasic Calcium Phosphate | 2cc , 5cc | Signature Spine and Joint Pty Ltd |  | Changed Product Name, Product Sizes
LB183 | 06 - Specialist Orthopaedic | SIGNIFY Bioactive | Osteostimulative and osteoconductive bioactive bone void filler | 10cc | Globus Medical Australia |  | Changed Benefit, Suffix
WR003 | 06 - Specialist Orthopaedic | ProDense / Osteoset XR | Composite Injectable Bone Void Filler | 10cc | Wright Medical Australia |  | Changed Benefit, Suffix - Changed Benefit, Category, Sub Category, Group, Sub Group, Suffix
SV015 | 06 - Specialist Orthopaedic | Tripore HA Granules >5-10cc | Biphasic Calcium Phosphate | 8cc, 10cc | Signature Spine and Joint Pty Ltd |  | Changed Product Name, Product Sizes
WR004 | 06 - Specialist Orthopaedic | ProDense/Osteoset XR | Composite Injectable Bone Void Filler | 20cc | Wright Medical Australia |  | Changed Benefit, Suffix - Changed Benefit, Category, Sub Category, Group, Sub Group, Suffix
SV016 | 06 - Specialist Orthopaedic | Tripore HA Granules >10- 20cc | Biphasic Calcium Phosphate | 12cc, 15cc, 20cc | Signature Spine and Joint Pty Ltd |  | Changed Product Name, Product Sizes
LH664 | 06 - Specialist Orthopaedic | MUTARS Humerus diaphyseal implant | MUTARS Humerus diaphyseal implant | 8-9 mm diameter, 80mm resection length | Lifehealthcare Pty Ltd |  | Changed Product Sizes
BI457 | 07 - Plastic and Reconstructive | Lorenz 2 - 2.4mm Locking Reconstruction System | Screw, Locking Reconstruction Modular. Titanium | 2 - 2.4 x (6-18)mm | Zimmer Biomet Pty Ltd |  | Changed Product Name, Product Sizes
BS180 | 08 - Cardiac | Endotak Reliance 4-SITE | Passive fixation dual coil defibrillation leads with 4-SITE connector | 50-70cm | Boston Scientific Australia Pty Ltd |  | Changed Product Name, Product Description
BS182 | 08 - Cardiac | Endotak Reliance 4-SITE | Active fixation dual coil defibrillation leads with 4-SITE connector. | 50-70cm | Boston Scientific Australia Pty Ltd |  | Changed Product Name, Product Description
MC009 | 08 - Cardiac | Medtronic Epicardial Pacing Leads IS-1 Model 5071 | Silicone | 25 - 53 cm | Medtronic Australasia Pty Ltd |  | Changed Product Sizes
MC052 | 08 - Cardiac | Medtronic Capsure VDD2 Model 5038 AV Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 52cm, 58cm, 65cm | Medtronic Australasia Pty Ltd |  | Changed Product Sizes
BA268 | 10 - Vascular | PowerGlide Pro | Single lumen, power injectable percutaneous catheter | 18 - 22 Gauge | Bard Australia Pty Ltd |  | Changed Product Name, Product Sizes
KA013 | 10 - Vascular | Permcath Dual Lumen Catheter | Chronic haemodialysis, long term vascular access for haemodialysis and aphaeresis. Constructed of radiopaque silicone rubber. | Paediatric 28, 36, 40cm | Medtronic Australasia Pty Ltd |  | Changed Product Sizes
KA001 | 10 - Vascular | Tenckhoff Peritoneal Catheters | Tenckhoff Peritoneal Dialysis Catheters - includes a variety of catheter lengths and cuff placements | 41cm to 47cm length | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
KA002 | 10 - Vascular | Paediatric Peritoneal Catheter | Paediatric Peritoneal Dialysis Catheters - includes catheter options: Tenckhoff, Curl Cath, Swan Neck | 31cm to 42cm length | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
KA006 | 10 - Vascular | Curl Cath Peritoneal Catheter | Curl Cath Peritoneal Dialysis Catheters - includes a variety of catheter lengths and cuff placements | 57cm to 62cm length | Medtronic Australasia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
LH627 | 11 - Hip | Mutars RS revision system - cementless stem HA | RS Cementless stem HA | 12 - 22mm dia stems, 150 - 190mm length | Lifehealthcare Pty Ltd |  | Changed Product Sizes
LH628 | 11 - Hip | Mutars RS revision system - cementless stem HA long | RS Cementless stem HA long | 12 - 20mm dia stems, 200 to 250mm length | Lifehealthcare Pty Ltd |  | Changed Product Sizes
GG011 | 11 - Hip | SMR Femoral Stem | SMR Distal Component less than 200mm | SMR Distal Components: 14 x 100mm, 15 x 100mm, 16 x 100mm, 17 x 100mm, 18 x 100mm, 19 x 100mm, 20 x 100mm, 21 x 100mm, 22 x 100mm, 24 x 100mm, 14 x 160mm, 16 x 160mm, 17 x 160mm, 18 x 160mm, 19 x 160mm, 20 x 160mm, 22 x 160mm, 24 x 160mm | GRUPPO BIOIMPIANTI PTY LTD |  | Changed Product Description, Product Sizes
GG012 | 11 - Hip | SMR Femoral Stem | SMR Distal Component 200mm and greater. | SMR distal component 14 x 240mm, SMR distal component 15 x 240mm, SMR distal component 16 x 240mm, SMR distal component 17 x 240mm, SMR distal component 18 x 240mm, SMR distal component 19 x 240mm, SMR distal component 20 x 240mm, SMR distal component 21 x 240mm, SMR distal component 22 x 240mm, SMR distal component 24 x 240mm SMR distal component 14 x 200mm, SMR distal component 15 x 200mm, SMR distal component 16 x 200mm, SMR distal component 17 x200mm, SMR distal component 18 x 200mm, SMR distal component 19 x 200mm, SMR distal component 20 x 200mm, SMR distal component 21 x 200mm, SMR distal component 22 x 200mm, SMR distal component 24 x 200mm. | GRUPPO BIOIMPIANTI PTY LTD |  | Changed Product Description, Product Sizes
LO022 | 11 - Hip | Link Prosthesis Femoral Head | Prosthesis Head "B" CoCrMo | Short/medium-short/medium/Long/X-long 22mm - 32mm: Length -3.5 to +10.5 | Link Orthopaedics Australia |  | Changed Product Sizes
ZA012 | 11 - Hip | G7 OsseoTi Acetabular Shell | Acetabular shell, porous Ti alloy | 42-80mm | Zimmer Biomet Pty Ltd |  | Changed Product Description
GO196 | 12 - Knee | Apex Knee - Cemented Femoral Component | CR Cemented Femoral Component, Non-Porous, Size 1 to 6 | Size 1-6, 2+, 3+, 4+, 5+ in Left & Right | Global Orthopaedic Technology |  | Changed Product Sizes
GO287 | 12 - Knee | Apex PS Cemented Femoral Component | The femoral component of a total knee system that incorporates a proportionally sized box. | Sizes 1-6, plus Sizes 1+ to 5+ Left and Right | Global Orthopaedic Technology |  | Changed Product Sizes
GO195 | 12 - Knee | Apex Knee, Femoral Component Porous Coated | Femoral Component Porous Coated Size 1 to 6 left & Right. | Sizes 1-6, 2+, 3+, 4+, 5+ in Left & Right | Global Orthopaedic Technology |  | Changed Product Sizes
BV054 | 12 - Knee | Evolution Medial Pivot Knee System | Revision Tibial Base Implant | Sizes 3 - 8 Left, Right Standard, Plus | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Sizes
LH631 | 12 - Knee | MUTARS Stems | MUTARS Stems | 120 -240 mm length, 11 - 23 mm diameter | Lifehealthcare Pty Ltd |  | Changed Product Sizes
SY708 | 13 - Spinal | Spinal Fixation System | Matrix Preassembled Monoaxial Pedicle Screw, Cannulated | 5.00mm - 9.00mm Diameter; 20mm - 65mm Length | Johnson & Johnson Medical Pty Ltd |  | Changed Product Sizes
ER221 | 13 - Spinal | SIGNUS Diplomat Pedicle Screw System-Polyaxial Screw-Shank | SIGNUS Diplomat Pedicle Screw System-Polyaxial Screw-Shank | dia (4.5-9.5 mm) x length (30-100 mm) | Emergo Asia Pacific Pty Ltd |  | Changed Product Sizes
NV024 | 13 - Spinal | VuePoint screw (multi axial) | Screw (mulit-axial) | 3.5 - 5.5mm diameter, 10-40mm length | Nuvasive Australia and NZ Pty Ltd |  | Changed Product Sizes
ER531 | 13 - Spinal | E.SPINE System | TANIT SI Screw, non-sterile or sterile | Diameter: 7mm Length: 40mm - 120mm | Emergo Asia Pacific Pty Ltd |  | Changed Product Description
ER174 | 13 - Spinal | Nile Alternative Fixation System - Tether, Connector, Set Screws | Woven Braid, polyester; Clamp, Titanium; Set Screw, Titanium | (3-4)mm width, 60cm strap length, (50-110)mm leader, Size 20 | Emergo Asia Pacific Pty Ltd |  | Changed Product Sizes
ER532 | 13 - Spinal | E.SPINE System | TANIT SI Connector, sterile or non-sterile | one size | Emergo Asia Pacific Pty Ltd |  | Changed Product Description
SF104 | 13 - Spinal | Alias Cage | Titanium or PEEK Fusion Cage with Plasma coating | 5-9mm, 4, 8 and 12 degree, Flat and countoured options | Signature Orthopaedics |  | Changed Product Description
DE592 | 13 - Spinal | Cambria Cervical Interbody Cage | Cambria NanoMetalene Cervical Interbody Cage | 13x12mm, 15x13mm &17x13mm footprints 5-12mm height | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE658 | 13 - Spinal | Shoreline ACS TruProfile Cage | Cervical ACDF Cage | Footprints: 16 x 14mm, 18 x 15mm and 20 x 15mm Lordosis: 7, 10 and 15 degrees Heights: 5,6,7,8,9,10,11 and 12mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
OH611 | 13 - Spinal | HumanTech - Anterior Cervical Interbody Fusion Cages | Tristan - Anterior Cervical Interbody Fusion Cage | L 12-19mm W: 14-16mm H: 4-10mm A:0-10 | Orthotech Pty Ltd |  | Changed Product Sizes
DE590 | 13 - Spinal | Ventura PLIF | NanoMetalene Posterior Lumbar Interbody | 9&11mm width 20&24mm length 8-16mm height | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
OH613 | 13 - Spinal | HumanTech - Adonis Spinal Fusion Cage System - PLIF | Adonis Spinal Fusion Cage System - PLIF | L 24-32mm W: 9mm H: 7-15mm | Orthotech Pty Ltd |  | Changed Product Sizes
BP006 | 13 - Spinal | TiPEEK Interbody system Lumbar DLIF | Sterile DLIF Implants Commercially Pure Titanium and Polyetheretherketone (PEEK-Optima ) | Width 18-22mm: Length 40-60mm: Height 8-17mm: Lordosis Angle 0 - 8 degrees | ACRA REGULATORY SERVICES PTY LTD |  | Changed Product Name, Product Description, Product Sizes
BP010 | 13 - Spinal | TiPEEK Interbody system Lumbar ALIF | Sterile ALIF Implants Commercially Pure Titanium and Polyetheretherketone (PEEK-Optima ) | Width 24-28mm: Length 28-38mm: Height 8-17mm: Lordosis Angle 6-8 degrees, | ACRA REGULATORY SERVICES PTY LTD |  | Changed Product Name, Product Description, Product Sizes
DE589 | 13 - Spinal | Hollywood TLIF | NanoMetalene Transforaminal Lumbar Interbody | 11 x 27mm and 11 x 30mm width and length 7 - 14mm Height 8 degrees lordodis | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE591 | 13 - Spinal | Ventura TLIF | Ventura Nanometalene TLIF | 9 &11mm width 28 & 32mm length 8-18mm height | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
EV023 | 13 - Spinal | Shinto PLIF Cage | Interbody Fusion Cages are used to restore disc height and support loading during intervertebral body fusion. | Angle 8 - 22 degrees Length 21 - 26mm Height 5 - 13mm | Evolution Surgical |  | Changed Product Sizes
NV152 | 13 - Spinal | Modulus TLIF-A | Titanium lumbar interbody fusion device | Width: 9-14mm Length: 30-40mm Height: 7-14mm | Nuvasive Australia and NZ Pty Ltd |  | Changed Product Sizes
NV153 | 13 - Spinal | Modulus TLIF-O | Titanium lumbar interbody fusion device | Width: 10-14mm Length: 25-35mm Height: 7-14mm | Nuvasive Australia and NZ Pty Ltd |  | Changed Product Sizes
OH612 | 13 - Spinal | HumanTech - Adonis Spinal Fusion Cage System - TLIF/UNILIF | Spinal Fusion Cage - TLIF/UNILIF | L 30-35mm W: 11-12mm H: 7-15mm A: 0-5 | Orthotech Pty Ltd |  | Changed Product Sizes
OH614 | 13 - Spinal | HumanTech - Adonis Spinal Fusion Cage System - ALIF | Adonis Spinal Fusion Cage System - PLIF | L: 22mm W: 32 H1: 9-17mm H2: 6.3 - 12.3 A: 7-12 | Orthotech Pty Ltd |  | Changed Product Sizes
OH576 | 13 - Spinal | SAMSON - Expandable Vertebral Body Replacement - Center Piece | Center Piece | Height 20mm - 120mm Diam 20mm | Orthotech Pty Ltd |  | Changed Product Sizes
OH575 | 13 - Spinal | SAMSON - Expandable Vertebral Body Replacement - End Plates | End Plates | L: 20mm W: 25-55mm A: 0-8 | Orthotech Pty Ltd |  | Changed Product Sizes