## Prostheses List
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | SO083 | 282 | Spectrum Surgical | Aspira-aXA Preloaded | Preloaded posterior chamber IOL, foldable, UV absorber, Aspheric, aberration technology, 360 LEC barrier, HD optic | 0 to +30.0 D | 227764 |  | March 2020 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t2, pl | KG027 | 793 | Kevin Grundy (IBD) Pty Ltd | RayOne Toric Aspheric preloaded - Premium/Made to Order | Single piece preloaded aspheric toric acrylic IOL, UV absorbing, 360 square edge, anti-vaulting haptics | -9.5 to +34.5 D SE (subject to sphere power) +7 to +11 cylinder Further pre-selected SE/cylinder combinations are available above and below the stated SE range. | 220612 |  | March 2020 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.03 - Pseudo-phakic, piggy-back | 01.02.03.02 - Multi-focal | at, t1 | IS049 | 973 | Insight Surgical Pty Ltd | 1stQ addon progressive toric lens | One piece, foldable intraocular lens (IOL), biocompatible hydrophilic acrylic (25% water content), as additional IOL in combination with a Basis IOL. Fixation is in the sulcus. | -3.0D to +3.0D spherical equivalent in 0.5D steps and +1.0D to +4.5D cylindrical in 0.5D steps and +3.0D add | 280510 |  | March 2020 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.03 - Pseudo-phakic, piggy-back | 01.02.03.02 - Multi-focal |  | DV272 | 634 | Designs for Vision Pty Ltd | XtraFocus 93L | A hydrophobic pinhole sulcus implant with small aperture diaphragm designed to provide an extended depth of focus | 14mm OD, 1.3mm pinhole | 288314 |  | March 2020 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.01 - Viscoelastic |  |  | IS050 | 65 | Insight Surgical Pty Ltd | Albomed Visco HPMC 2.0% | A superior viscoelastic solution based on hydroxylpropyl methylcellulose for intraocular use where it serves as a volume substitute for aqueous humor during intraocular surgery. | Supplied in a 2 ml syringe | 297213 |  | March 2020 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.04 - Implantable Bone Conduction Hearing System | 02.01.04.02 - Osseointegration | Implanted Transducer, Magnetic Coupler | US027 | 2222 | Med-El Implant Systems Australasia Pty Ltd | BCI 602 Implant | Active transcutaneous bone conduction implant consisting of attachment magnet, receiver coil, Bone Conduction-Floating Mass Transducer (BC-FMT) with electronics, bendable transition to FMT, implanted under intact skin | one size - 28.3 (w) x 64.3 (l) x 8.6 (h) mm | 329050 |  | March 2020 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.04 - Implantable Bone Conduction Hearing System | 02.01.04.02 - Osseointegration | Lifts | US026 | 196 | Med-El Implant Systems Australasia Pty Ltd | BCI 602 Lifts (1mm) | BCI 602 Lifts (1mm) can be implanted together with the Bonebridge BCI 602, attached to the fixation wings of the BCI 602, serving as a spacer to increase distance between the fixation wings and the skull bone. | 1mm | 329049 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.02 - Infusion Pumps, Balloon Based | 03.02.02.01 - Fixed Flow Rate | Set | BU024 | 224 | CAB MEDICAL PTY LTD | Tuoren Infusion Pump | Non electronic, elastomeric balloon driven, ambulatory infusion pump, which can be supplied in a variety of volumes and flow rates to meet different clinical applications. Its primary purpose is for continuous delivery of fluids/medications. | 60ml - 300ml | 323586 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.02 - Infusion Pumps, Balloon Based | 03.02.02.02 - Variable Flow Rate | Bolus | BU025 | 387 | CAB MEDICAL PTY LTD | Tuoren Infusion Pump | Non electronic, elastomeric balloon driven, ambulatory infusion pump, which can be supplied in a variety of volumes and flow rates to meet different clinical applications. Its primary purpose is for continuous delivery of fluids/medications. | 60ml - 300ml | 323586 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.04 - Other Pharmacology |  | FK017 | 4468 | Fresenius Kabi Australia Pty Ltd | Agilia SP PCA Infusion System | Agilia SP PCA is a programmable electronic medical system dedicated to administering a pre-determined volume of a syringe at a programmed rate. This syringe pump ensures a fluid delivery, by pushing the syringe plunger and advancing the liquid to the patient through an extension set. The Agilia SP PCA syringe pump can also be used for general infusions on adults, pediatrics, and neonatal patients for the intermittent or continuous delivery of parenteral fluids (such as solutions, colloids, parenteral nutrition), medications (such as diluted drugs, chemotherapy, anesthesia drugs), blood and blood derivatives, and medications through clinically accepted routes of administration. It is intended for use by trained healthcare professionals in clinical healthcare facilities. In PCA therapy, it is also intended for use by the patient in order to self administer doses of analgesic agent, after receiving appropriate training and instructions from the clinical staff. Agilia SP PCA is a transportable and reusable device that can be used every day. | The size of a syringe can be 5, 10, 20, 30 or 50/60 mL. | 267873 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.04 - Infusion Pumps, Spring Powered | 03.02.04.01 - Fixed Flow Rate | Set | LE002 | 235 | LTR MEDICAL PTY LTD | Springfusor Infusion System - Component # 1 Springfusor Pump/s | #1 Spring Powered Fixed Rate Ambulatory Infusion Pump | Pumps are available as 10ml, 30ml, 50ml | 159494 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.03 - ENTERAL TUBES | 03.03.03 - Jejunostomy Tubes |  | Port | KI016 | 451 | Avanos Medical Australia Pty Ltd | MIC* & MIC-KEY* Gastric-Jejunal Feeding Tubes, ENFit | MIC* Standard Gastric-Jejunal Feeding Tube: Medical Grade Silicone Construction, Inflatable Internal Retention Balloon, Gastric Decompression/Drainage Port, Multiple Gastric & Jejunal Exit Ports, Tungsten Weighted Jejunal Portion, SECUR-LOK* External Retention Ring. MIC-KEY* Low-Profile Gastric-Jejunal Feeding Tube: Low-profile Design, Medical Grade Silicone Construction, Inflatable Internal Retention Balloon, Gastric Decompression/Drainage Port, Multiple Gastric & Jejunal Exit Ports, Tungsten Weighted Jejunal Portion, SECUR-LOK* Connection Mechanism for Extension Sets | MIC*: 16 - 22 French, 15cm - 45cm Jejunal Length MIC-KEY*: 14 - 22 French, 15cm - 45cm Jejunal Length, 1cm - 7cm Stoma Length | 248294 |  | March 2020 | Compressed from KI006,KI015
03 - General Miscellaneous | 03.03 - ENTERAL TUBES | 03.03.03 - Jejunostomy Tubes |  | Port | KI017 | 451 | Avanos Medical Australia Pty Ltd | MIC* & MIC-KEY* Balloon Jejunal Feeding Tubes | MIC* Standard Balloon Jejunal Feeding Tube and MIC-KEY* Low-Profile Balloon Feeding Tube are designed for the delivery of enteral nutrition and medication into the distal duodenum or proximal jejunum. They have a medical grade silicone construction with a single access port labeled 'Jejunal'. Wide range of sizes available. | MIC*: 12 - 24 French, 2-3ml Balloon (12Fr) 7-10ml Balloon volume (14-24Fr) MIC-KEY*: 14 & 18 French, 0.8cm - 4.5cm stoma length, 5ml balloon (max fill volume 10ml) | 248294 |  | March 2020 | Compressed from KI009,KI008
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.01 - Adjustable Gastric Band with Port |  |  | GQ003 | 2978 | BIG GREEN SURGICAL COMPANY PTY LIMITED | MiniMizer gastric band. | Adjustable Silicone band which is placed around the upper part of the stomach to reduce the volume and speed of intake of food. | The gastric band comes in two sizes: Regular and Large | 203396 |  | March 2020 | Transferred from RS002
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.02 - Gastric Band without Port |  |  | GQ001 | 2212 | BIG GREEN SURGICAL COMPANY PTY LIMITED | Minimizer Ring | Adjustable Gastric Ring | One size ranging from 6.5cm to a 8.0cm diameter | 203396 |  | March 2020 | Transferred from RS001
03 - General Miscellaneous | 03.04 - GASTRIC BANDS | 03.04.03 - Replacement Injection Ports |  |  | GQ002 | 560 | BIG GREEN SURGICAL COMPANY PTY LIMITED | MiniMizer gastric band (injection port) | Adjustable Silicone band which is placed around the upper part of the stomach to reduce the volume and speed of intake of food. The injection port is used to inflate or deflate the gastric band therefore adjusting the diameter of the band. | Small or medium sized port. | 205914 |  | March 2020 | Transferred from RS003
03 - General Miscellaneous | 03.06 - LUMINAL STENTS | 03.06.04 - Pancreatic Stents | 03.06.04.01 - Self-expanding metal, Covered | Electrocautery | DE709 | 4345 | Device Technologies Australia Pty Ltd | Hot Spaxus | Hot Spaxus is a self-expanding nitinol stent that maintains an anastomotic conduit between two adjacent organs. It has an Electrocautery Enhanced Delivery System. | Length 20mm, Lumen Diameter 8 - 16mm | 226438 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.07 - PULMONARY/PERITONEAL DEVICES | 03.07.01 - Drainage Catheters | 03.07.01.06 - Anal Fistula |  | ET088 | 114 | Endotherapeutics Pty Ltd | Comfort Drain | The Comfort Drain is a silicone anorectal fistula drainage catheter, that is designed to provide a knotless closure of the drain. | Inner Diameter: 0.3mm, Outer Diameter: 1.5mm, Length: 180mm. | 220607 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.05 - Polypropylene/Polyester Mesh | 03.08.05.01 - ≤200cm² |  | BB398 | 72 | B Braun Australia Pty Ltd | Premilene Mesh | Polypropylene | 3x10cm, 5x10cm, 7.5x15cm, 10x15cm, 5x30cm, 7.5x7.5cm, 4.5x9.5cm 6x12.5cm, 4.5x10cm, 6x14cm | 191743 |  | March 2020 | Compressed from BB088,BB089,BB090,BB091,BB093,BB094,BB095,BB096,BB097,BB098,BB099,BB100,BB092
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.05 - Polypropylene/Polyester Mesh | 03.08.05.01 - ≤200cm² |  | BB399 | 72 | B Braun Australia Pty Ltd | OPTILENE MESH | Polypropylene Mesh | 4.5x10cm, 5x10cm, 6x12.5cm, 6x14cm, 7.5x15cm, 7.5x7.5cm, 10x15cm | 191743 |  | March 2020 | Compressed from BB181,BB183,BB186,BB187,BB188,BB189,BB190,BB191
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.05 - Polypropylene/Polyester Mesh | 03.08.05.04 - >600-<2500cm² |  | BB397 | 248 | B Braun Australia Pty Ltd | Premilene Mesh | Polypropylene | 30x30cm, 26x36cm | 191743 |  | March 2020 | Compressed from BB102,BB103
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.07 - Complete Biomaterial Mesh | 03.08.07.02 - 201-400cm² | Contoured | BA286 | 1399 | Bard Australia Pty Ltd | Phasix ST | Fully resorbable, synthetically derived biologic hernia mesh with added barrier to assist adhesion prevention | 13 cm x 25 cm 15 cm x 20 cm | 318512 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.07 - Complete Biomaterial Mesh | 03.08.07.02 - 201-400cm² | Contoured | BA288 | 1399 | Bard Australia Pty Ltd | Phasix Mesh | Synthetic Bioresorbable Mesh | 15.2 cm x 20.3 cm rectangle 10 cm x 25 cm rectangle 15 cm x 25 cm rectangle | 318473 |  | March 2020 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.07 - Complete Biomaterial Mesh | 03.08.07.04 - 601-800cm² | Coated | BA287 | 4061 | Bard Australia Pty Ltd | Phasix Mesh | Synthesised biologic, resorbable Hernia mesh | 25.4 cm x 30.5 cm rectangle | 318473 |  | March 2020 | New Listing
04 - Neurosurgical | 04.08 - NEURO INTERVENTION | 04.08.01 - Stent |  |  | PN022 | 6769 | Penumbra Neuro Australia Pty Ltd | ACCLINO Flex Plus Stent | Acclino Flex Plus Stent is a self-expanding lasercut Nitinol stent for aneurysm neck bridging in case of stent assisted coiling procedures. It is intended for use with embolisation materials for the treatment of intracranial aneurysms. It provides an increased range and is suitable for vessel diameters from 1.5 to 6.0 mm. For an easy handling all sizes from 3.0 - 5.5 mm are deliverable through microcatheters with 0.0165 - 0.017 ID. This allows a sequential stent and coil placement without the changing of the microcatheter. The 6.5 mm diameter devices are deliverable through microcatheters with 0.021 ID. | Diameter: 3.0 - 6.5mm Length: 15 - 35 mm | 281032 |  | March 2020 | New Listing
05 - Urogenital | 05.07 - Sacral Neuromodulation | 05.07.04 - Accessories | 05.07.04.02 - Foramen Needle |  | MI318 | 21 | Medtronic Australasia Pty Ltd | Sacral Nerve Stimulation Accessories | Foramen Needle. (box of 2) Sterile individual units. Stainless steel. | 12.7 cm | 121280 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.05 - Humeral |  | DZ075 | 878 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Cannulated Humeral Nail | Humeral Nail | Diameter: 7mm to 9mm Length: 170mm to 280mm | 111818 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.14 - Calcaneal |  | PB064 | 1200 | Australian Pacific Medical Pty Ltd | C Nail | Intramedullary Nail | 60mm - 100mm | 229660 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.04 - End caps and extension caps |  | PB065 | 96 | Australian Pacific Medical Pty Ltd | End Cap | Nail End Cap | One size | 229660 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.01 - Standard (screw size ≥4.5mm)(including blade) ≤ 6 holes | Com, LK | DE708 | 1178 | Device Technologies Australia Pty Ltd | Ankle Fusion Plate | Plate for Arthrodesis | One Universal Size | 284416 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | ZA073 | 849 | Zimmer Biomet Pty Ltd | ALPS Clavicle Plating System | clavicle variable angle locking plates | 7-15 holes | 275084 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.10 - Dynamic - Hip ≤ 6 holes |  | SL158 | 312 | Smith & Nephew Pty Ltd | Compression Hip Screw System | Compression Hip Screw Plates | ≤ 6 holes | 108428 |  | March 2020 | Compressed from SN471,SN473,SN476,SN926
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.11 - Dynamic - Hip ≥ 7 to ≤ 15 holes |  | SL157 | 660 | Smith & Nephew Pty Ltd | Compression Hip Screw System | Compression Hip Screw Plates | ≥ 7 to ≤ 15 holes | 108428 |  | March 2020 | Compressed from SN470,SN475,SN927
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.19 - Periarticular anatomic - Humerus ≤ 6 holes | VAL | DZ073 | 1643 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Proximal Humeral Plating System - Austofix Proximal Humeral Plate | Anatomic Periarticular Humeral Variable Angle Locking Plate, Titanium | 3-5 holes | 276915 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.37 - Periarticular anatomic - Fibula ≥ 16 holes | VAL | MO449 | 1643 | Medical & Optical Instruments Australia Pty Ltd | Acumed Ankle 3 Plating System | Periarticular variable angle locking plate fibula | 16-18 holes | 99824 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.39 - Periarticular anatomic - Tibia ≥ 7 to ≤ 15 holes | VAL | RV001 | 1495 | PERSONALISED SURGERY PTY LTD | PS HTO Plate | Medial Opening Wedge Anatomical Plate | Left and Right | 310582 |  | March 2020 | Transferred from SF166
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | CN | RV002 | 185 | PERSONALISED SURGERY PTY LTD | PS Dual Thread Screw | Canulated, Dual thread, Cortical Screw | 4.5mm, 24-52mm length | 184460 |  | March 2020 | Transferred from SF165
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | CN,DT | BP026 | 351 | ACRA REGULATORY SERVICES PTY LTD | Tyber Medical trauma headless screw | Headless trauma screw for compression and fixation of bone Sterile or Non sterile, Titanium or stainless steel | 4.5mm-9.0mm | 324189 324190 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | CN,DT,LK | PB062 | 412 | Australian Pacific Medical Pty Ltd | MCS | MCS System | > 4.5mm | 223188 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | CN,DT,LK | RV003 | 412 | PERSONALISED SURGERY PTY LTD | PS Dual Thread Screw | Dual Threaded, locking, canulated Screw | 4.5mm Diameter, 24 - 90mm Long | 184460 |  | March 2020 | Transferred from SF163
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | DT | RV004 | 229 | PERSONALISED SURGERY PTY LTD | PS Dual Thread Cortical Screw | Dual Thread Cortical screw | 4.5mm, 24-52mm length | 184460 |  | March 2020 | Transferred from SF164
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | LK | RV005 | 124 | PERSONALISED SURGERY PTY LTD | PS DT Locking Screw | Dual Thread Variable Angle Locking screw | 4.5mm Diameter, 24-90mm Length | 184460 |  | March 2020 | Transferred from SF161
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN | MO450 | 202 | Medical & Optical Instruments Australia Pty Ltd | Cannulated Screw New Information - Acumed Cannulated Screws | 4.0mm Cannulated Screw | 4.0mm | 99823 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN,DT,LK | PB063 | 429 | Australian Pacific Medical Pty Ltd | MCS | MCS System | 2.71mm - 4.49mm | 223188 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | DZ076 | 80 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Cannulated Humeral Nail | Nail Locking Screw | 3.5mm Width 20mm-30mm Length | 111818 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | DZ077 | 80 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Cannulated Humeral Nail | Nail Locking Screw | 4.0mm diameter 20mm to 50mm length | 111818 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | DZ078 | 80 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Cannulated Humeral Nail | Humeral Head Screw | 4.3mm diameter 25mm to 45mm length | 111818 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | DZ074 | 143 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix PHP - Proximal Humeral Plating System | Locking Screws | 2.7mm diameter, 16-70mm length | 276915 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.05 - Surgical Accessories | 06.03.05.02 - Pins |  | PB069 | 26 | Australian Pacific Medical Pty Ltd | BFix Bone Pins | Bone Pins | 0.6mm - 5.0mm | 322423 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.06 - Staples | 06.03.06.01 - Staples | COMP | LM386 | 396 | LMT Surgical Pty Ltd | Compression Staple | Compression Staple | Multiple Sizes | 328461 |  | March 2020 | Duplicated from PB061
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.06 - Staples | 06.03.06.01 - Staples |  | EO101 | 127 | Medartis | Medartis All-in-One Staples | Orthopaedic Stainless Steel Bone Staple | 8 - 10 mm | 322413 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | KH065 | 294 | KH NXGEN (AUS) Pty Limited | Rejoin Healfix Suture Anchor | Suture Anchor System | Less than 2.4mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | KH069 | 294 | KH NXGEN (AUS) Pty Limited | Rejoin Peek Anchor | Suture Anchor System | less than 2.4mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | KH070 | 294 | KH NXGEN (AUS) Pty Limited | Rejoin JoinFix All Suture Anchor | Suture Anchor System | less than 2.4mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | SL160 | 294 | Smith & Nephew Pty Ltd | Smith and Nephew All Suture Anchors | All Suture Repair | Less than or equal to 2.3mm | 109451 271876 |  | March 2020 | Compressed from SL025,SL063
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | SV078 | 294 | Signature Spine and Joint Pty Ltd | Parcus MiTi Titanium Screw In Suture Anchor -Small | Threaded, tapered fastener for use in attachment of soft tissue to bone. The device is made from a Titanium alloy, TI-6A1-4V. | 2.0mm | 177866 |  | March 2020 | Expanded from SV036
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | DE706 | 442 | Device Technologies Australia Pty Ltd | FiberStitch | Meniscal suture anchor | One size only | 126657 328289 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HW667 | 442 | Stryker Australia Pty Ltd | Omega All-PEEK Knotless Anchor | Knotless Suture Anchor | 3.9mm | 229717 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | KH062 | 442 | KH NXGEN (AUS) Pty Limited | Healfix Anchor System | Titanium Suture Anchor | 2.4mm - 3.9mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | KH063 | 442 | KH NXGEN (AUS) Pty Limited | Rejoin Peek Anchor System | Suture Anchor System | 2.4mm - 3.9mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | KH064 | 442 | KH NXGEN (AUS) Pty Limited | Rejoin JoinFix All-Suture Anchor | Suture Anchor System | 2.4mm - 3.9mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | KH066 | 442 | KH NXGEN (AUS) Pty Limited | Rejoin Rapidlink | Suture-Anchor Meniscus Repair Device | One Size | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | LM385 | 442 | LMT Surgical Pty Ltd | Suture Anchors with Suture | Suture Anchors with Suture | 2.4 - 3.9mm | 324214 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | MU170 | 442 | Medacta Australia Pty Ltd | Mectalock PEEK | Suture Anchor | 2.4 - 3.4 mm | 320484 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | PB066 | 442 | Australian Pacific Medical Pty Ltd | Full Thread Suture Anchor | Suture Anchor | 2.4mm - 3.9mm | 323905 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | PJ037 | 442 | PurePlay Orthopaedics | Draw tight, | Push in anchors suture based. Recommended for use in both large and small repairs. with two sutures | 3.2 mm | 177866 |  | March 2020 | Expanded from PJ029
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | PJ038 | 442 | PurePlay Orthopaedics | Draw tight | Draw tight suture based anchor with two suture tapes. Recommended for use in both large and small joint repairs. | 3.2 | 177866 |  | March 2020 | Expanded from PJ029
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | SV077 | 442 | Signature Spine and Joint Pty Ltd | Parcus MiTi Titanium Screw In Suture Anchor - Medium and XL | Threaded, tapered fastener for attachment of soft tissue to bone. The device is made from a Titanium Alloy, Ti-6A1-4V. | 2.5mm 3.5mm | 177866 |  | March 2020 | Expanded from SV036
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | DE707 | 442 | Device Technologies Australia Pty Ltd | TightRope Implant with FiberTag Suture | TightRope implant pre-loaded with FiberTag suture | One size only | 126657 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | HW666 | 442 | Stryker Australia Pty Ltd | Omega All-PEEK Knotless Anchor | Knotless Suture Anchor | 4.75mm to 7mm | 229717 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | KH071 | 442 | KH NXGEN (AUS) Pty Limited | Rejoin HealFix Suture Anchor | Suture Anchor System | Greater than 4mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | KH072 | 442 | KH NXGEN (AUS) Pty Limited | Rejoin Peek Suture Anchor | Suture Anchor System | Greater than 4.0mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | PB067 | 442 | Australian Pacific Medical Pty Ltd | Full Thread Suture Anchor | Suture Anchor | > 4mm | 323905 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | PJ041 | 442 | PurePlay Orthopaedics | V-Lox PEEK CF Suture Anchors | PEEK CF Fully Threaded Suture Anchor | 4.5m; 5.5mm; 6.5mm, | 177866 |  | March 2020 | Transferred from SV041
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | ZA072 | 442 | Zimmer Biomet Pty Ltd | Ventix Anchor | soft tissue anchor | 4.75mm and 5.5mm | 209509 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | KH067 | 374 | KH NXGEN (AUS) Pty Limited | Rejoin Button | Suture Button | Multiple | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | MU171 | 374 | Medacta Australia Pty Ltd | Pullup | Adjustable juxtacortical fixation device | 4.5 mm 5 -10 mm | 322721 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | MU172 | 374 | Medacta Australia Pty Ltd | Cortical Fixation System | ACL Femoral Cortical Fixation | Length 15mm to 40mm | 320480 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | PB068 | 374 | Australian Pacific Medical Pty Ltd | G Loop | Titanium or Stainless Steel fixation device with non-absorbable suture material | Adjustable Length | 323905 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | PJ039 | 374 | PurePlay Orthopaedics | AcTiFlip Cinch loop | Button fixation recommended for biceps repair both proximal and distal repairs. With one size two suture | 12mm | 178101 |  | March 2020 | Expanded from PJ033
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | PJ040 | 374 | PurePlay Orthopaedics | AcTiFlip Infinity loop | Button fixation, recommended for proximal and distal tendon and ligament repair. Comes with one suture and one needle | 12mm | 178101 |  | March 2020 | Expanded from PJ033
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.06 - Button |  | PJ042 | 374 | PurePlay Orthopaedics | PARCUS GFS Naked | Graft Fixation System for use in the fixation of ligament or tendon repairs. | Button widths: 1.4mm -4.4mm Button lengths: 5.9mm - 21mm | 178101 |  | March 2020 | Transferred from SV076
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | SL159 | 457 | Smith & Nephew Pty Ltd | Bioabsorbable Screw | Absorbable Interference Screw | Various | 121752 126191 322284 |  | March 2020 | Compressed from SN004,SN421
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) |  | KH068 | 181 | KH NXGEN (AUS) Pty Limited | Rejoin Interference Screw | Interference Screw | 6mm - 12mm | 320191 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) |  | LM384 | 181 | LMT Surgical Pty Ltd | Interference Screws | Interference Screws | All sizes | 324214 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) |  | MU169 | 181 | Medacta Australia Pty Ltd | Mectascrew PEEK | Interference Screw | 6-12 mm | 320872 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.14 - Bone Cement | 06.03.14.01 - Cement only |  | LC202 | 152 | Lima Orthopaedics Australia Pty Ltd | G21 Bone Cement | Bone Cement - std and low viscosity | 20-60g | 329063 |  | March 2020 | Duplicated from OH526
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.14 - Bone Cement | 06.03.14.03 - Cement with Complex Delivery System |  | LC201 | 437 | Lima Orthopaedics Australia Pty Ltd | G21 Bone Cement + Delivery System | Bone Cement – low & std viscosity | 20-60g | 329063 |  | March 2020 | Duplicated from OH525
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | QG001 | 722 | ORTHOCENTRIC PTY LTD | Nanogel | Injectable Synthetic Bone Substitute Paste In A Syringe | 0.5ml 1.0ml 2.5ml 5.0ml | 325849 |  | March 2020 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | ZA074 | 722 | Zimmer Biomet Pty Ltd | Bone Graft Substitute | Triosite block and wedges | 10-20mm | 143036 |  | March 2020 | Compressed from ZI194,ZI195,ZI196,ZI198
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.04 - Non-mesh | 07.01.04.01 - Resorbable |  | OK007 | 336 | MY BIOLOGICS PTY LTD | Neomem FLEXPLUS | Resorbable Collagen Membrane | 15 x 20mm, 20 x 30mm, 30 x 40mm | 317977 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes | Locking | ZZ063 | 190 | AA-Med Pty Ltd | Lyka Smith Jeil Le Forte Locking Plates 4-7 Holes | Titanium locking plates of various shapes for reconstruction | 4-7 holes Thickness - 0.5-0.99mm | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes |  | ZZ060 | 166 | AA-Med Pty Ltd | Lyka Smith Jeil Le Forte Plates 4-7 Holes | Titanium plates in a variety of shapes for reconstruction | Thickness - 0.5-0.8mm 4-7 Holes | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes | Locking | ZZ061 | 304 | AA-Med Pty Ltd | Lyka Smith Jeil Le Forte Locking Plates 8-32 holes | Titanium locking plates for craniofacial reconstruction | Thickness - 0.8mm Holes - 8-32 | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes |  | ZZ062 | 199 | AA-Med Pty Ltd | Lyka Smith Jeil Le Forte Plates 8-32 Holes | Titanium plates in a variety of shapes for reconstruction | Thickness 0.5 - 0.8mm 8-20 Holes | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.14 - 2.0-2.99mm thick, 4-7 holes |  | KT066 | 604 | KLS Martin Australia Pty Limited | Martin Level One Fixation | Plate, Titanium | 2.0-2.99m thick, 4-7 holes | 96619 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.15 - 2.0-2.99mm thick, 8-15 holes |  | KT067 | 459 | KLS Martin Australia Pty Limited | Martin Level One Fixation | Plate, Titanium | 2.0-2.99m thick, 8-15 holes | 96619 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.16 - 2.0-2.99mm thick, 16-32 holes | Complex, Locking | KT069 | 1287 | KLS Martin Australia Pty Limited | KLS Martin Plating System | Preshaped reconstruction plates, in left and right options, Complex, locking | 2.0mm to 2.5mm thickness with 26 holes | 96619 |  | March 2020 | Expanded from KT055
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.16 - 2.0-2.99mm thick, 16-32 holes | Locking | KT068 | 1073 | KLS Martin Australia Pty Limited | KLS Martin Plating System | Locking, Preshaped reconstruction plates, in left and right options | 2.0mm to 2.5mm thickness with 26 holes | 96619 |  | March 2020 | Expanded from KT055
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm | Locking | ZZ059 | 88 | AA-Med Pty Ltd | Lyka Smith Jeil Le Fort Locking Screws | Titanium Locking Screws | Diameter 2-2.4mm Length 4-20mm | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | ZZ058 | 42 | AA-Med Pty Ltd | Lyka Smith Jeil LeForte System Screws | Self tapping and self drilling screws | Diameter- 1.3 - 2.7mm Length 2-20mm | 310093 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | UI003 | 2584 | SPECIFICA PTY LTD | DGUIDE | A custom made patient-specific and single-use aid, intended to be used in dental and craniomaxillofacial surgical procedures. | Patient specific | 322576 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.09 - Anatomical Biomodel |  |  | UI004 | 1950 | SPECIFICA PTY LTD | OMF Model | A custom made patient-specific and single-use aid, intended to be used in dental and craniomaxillofacial surgical procedures | Patient specific | 322576 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.01 - Permanent |  | MV014 | 171 | More Group Pty Ltd | MIS Abutments | Abutments | Height: 1mm - 5mm, Crown height: 4 - 11mm, Platform: Narrow or Standard | 115006 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.01 - Permanent |  | MV017 | 171 | More Group Pty Ltd | MIS Abutments | Abutments | Height: 1mm - 5mm, Crown height: 4 - 11mm, Platform: Narrow, Standard or Wide | 115006 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.03 - Cover Screw/Cap |  | MV016 | 51 | More Group Pty Ltd | MIS Cover Screws and Healing Caps | Cover screws and healing caps (V3) | 1.5mm - 8mm height, 3.3mm - 5.8mm diameter | 115006 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.03 - Cover Screw/Cap |  | MV019 | 51 | More Group Pty Ltd | MIS Cover Screws and Healing Caps | Cover screws and healing caps (C1) | 1.5mm - 8mm height, 3.3mm - 6.3mm diameter | 115006 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | MV015 | 351 | More Group Pty Ltd | MIS Implants | Titanium implants (V3) | 3.30mm, 3.90mm, 4.30mm, 5mm Diameter. 8mm, 10mm, 11.50mm, 13mm, 16mm Length. | 104449 |  | March 2020 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | MV018 | 351 | More Group Pty Ltd | MIS Implants | Titanium implants (C1) | 3.30mm, 3.75mm, 4.2mm, 5mm Diameter. 8mm, 10mm, 11.5mm, 13mm, 16mm Length. | 104449 |  | March 2020 | New Listing
08 - Cardiac | 08.07 - ICD Leads | 08.07.06 - Transvenous/Steroid/Active |  |  | BT245 | 5994 | Biotronik Australia Pty Ltd | Plexa ProMRI DF4 S DX | Pentapolar MR conditional ICD lead with active fixation | Diameter 7.8F; Length/Dist Dipole to Tip 65/15 cm , 65/17 cm. | 329340 |  | March 2020 | New Listing
08 - Cardiac | 08.12 - Coronary Stents | 08.12.01 - Drug Eluting | 08.12.01.01 - General Purpose |  | BS366 | 2298 | Boston Scientific Australia Pty Ltd | Promus ELITE | Everolimus-Eluting Platinum Chromium Coronary Stent System | 8mm - 38mm in length, diameter of 2.25mm - 4.0mm | 327735 |  | March 2020 | New Listing
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.01 - Percutaneous Catheters, Single Lumen |  | pi (power injection) | MS074 | 133 | Medical Specialties Australasia Pty Ltd | Single Lumen Peripherally Inserted Central Catheter | Power injectable with Pressure Activated Safely Valve (PASV) technology | 3F x55cm, 4F x 55cm, 5F x 55cm | 179150 203831 175080 178780 |  | March 2020 | Transferred from ER134
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.02 - Percutaneous Catheters, Multiple Lumen |  | pi (power injection) | MS072 | 183 | Medical Specialties Australasia Pty Ltd | Dual Lumen Peripherally Inserted Central Catheter | Power injectable with Pressure Accivated Safety Valve (PASV) technology | 5F x55cm, 6F x 55cm | 203831 175080 178780 179150 |  | March 2020 | Transferred from ER135
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.02 - Percutaneous Catheters, Multiple Lumen |  | pi (power injection) | MS073 | 183 | Medical Specialties Australasia Pty Ltd | Triple Lumen Peripherally Inserted Central Catheter | Power injectable with Pressure Activated Safety Valve (PASV) technology | 6F x 55cm | 203830 179150 203831 175080 178780 |  | March 2020 | Transferred from ER136
10 - Vascular | 10.10 - Peritoneal Dialysis, Long Term Implantable Catheters | 10.10.01 - Peritoneal Dialysis, Long Term Implantable Catheters |  |  | MI319 | 158 | Medtronic Australasia Pty Ltd | Swan Neck Peritoneal Catheter | Swan Neck Peritoneal Dialysis Catheters - includes catheter options: Tenckhoff, Curl Cath and Presternal | 43cm to 113cm length | 179006 |  | March 2020 | Compressed from KA004,KA005
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.01 - Cemented | 11.01.01.03 - Polished |  | SL156 | 1762 | Smith & Nephew Pty Ltd | Polarstem Cemented | Cemented femoral stems | 0 to 8 | 297722 |  | March 2020 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.01 - Grit Blast |  | MN256 | 3609 | Johnson & Johnson Medical Pty Ltd | Corail Femoral Stem | Titanium, grit blast, full HA coating | Size 6 to 20 or in lengths 110 -190mm | 143073 268793 306751 |  | March 2020 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma | SCP | RL004 | 4196 | MAC Surgical | Permedica Exacta Femoral Stem HaX-Pore -Press-fit hip femur | The Permedica Exacta HaX-Pore Femoral stem is a press-fit stem with pure titanium and hydroxyapatite coating. It is a self-locking stem with longitudinal and transverse grooves on the anterior and posterior surface to provide axial and rotational stability. The stem is manufactured using Titanium Aluminium Niobium forged alloy (Ti6AI7Nb) ISO5832/11 with a surface finish of 300 micron pure Titanium and a 50 micron hydroxyapatite plasma sprayed coating. | Sized 1-12 Angle (in degrees) 127 degrees and 135 degrees | 220150 |  | March 2020 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.02 - Conventional Femoral Heads, >32mm | 11.02.02.02 - Cobalt Chrome |  | LH705 | 797 | Lifehealthcare Pty Ltd | IC-Head | IC-Head, CoCrMo | 36mm, S-XL | 291215 |  | March 2020 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.03 - Shells, Uncemented, HA | 11.03.03.04 - Plasma |  | RL007 | 2266 | MAC Surgical | Permedica JUMP System Acetabular Cup HaX-Pore - Acetabular Shell | This acetabular component is for un-cemented applications and is coated with a titanium plasma spray and hydroxyapatite coating. Anchorage of the device to the bone is by press-fit insertion which can be augmented with cancellous bone screws and the screw holes can be sealed with special plugs. The acetabular shell is a hemispherical shape with polar deflection and is used in combination with an articular liner, a femoral ball head and a femoral stem. | 44mm - 70mm in 2mm increments | 234000 |  | March 2020 | New Listing
11 - Hip | 11.04 - ACCESSORIES | 11.04.03 - Bone Screw |  |  | RL006 | 116 | MAC Surgical | Orthopaedic bone screw, non-biodegradable | Acetabular shell cancellous bone screw | 8 x sized from 20mm - 60mm | 237105 |  | March 2020 | New Listing
11 - Hip | 11.04 - ACCESSORIES | 11.04.14 - Plug - Including Dome Plug |  |  | RL005 | 135 | MAC Surgical | Acetabulum prosthesis apical hole plug | This is a screw hole plug intended to close the screw holes of a two-piece acetabular prosthesis. It is screwed into place after implantation of the acetabular component at the discretion of the surgeon. | One size M10 screw hole plug | 237111 |  | March 2020 | New Listing
12 - Knee | 12.03 - TIBIAL TRAY COMPONENT - TOTAL KNEE ARTHROPLASTY | 12.03.02 - Cemented, Alloy |  |  | BB396 | 1875 | B Braun Australia Pty Ltd | Columbus Tibial Baseplate | Tibial baseplate CRA/PSA, cemented, for fixed insert | T0+ - T4+ and T0 - T5 | 298272 298186 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | UT016 | 1288 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Pedicle Screws | Cannulated and fenestrated screws | Diameter: 5.4mm - 9.4mm Length: 30mm - 110mm | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | DE704 | 616 | Device Technologies Australia Pty Ltd | Mariner Cannulated Pedicle Screw Shanks | Posterior Fixation System | 4.5-10.5mm Diameters. 20-110mm Lengths. | 275794 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Complex | MI320 | 241 | Medtronic Australasia Pty Ltd | Titan Spine Bone Screws-locking | Titan Spine Endoskeleton TCS Bone Screws-locking | dia (3.5-3.8mm) x length (13-20mm) | 285244 |  | March 2020 | Transferred from ER488
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | EV034 | 445 | Evolution Surgical | ACDF cage screw | ACDF cage screw | 12-17mm | 248233 |  | March 2020 | Duplicated from SF105
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | EV035 | 445 | Evolution Surgical | ALIF cage screw | ALIF cage screw | Diameter 5.5 and 6mm | 248233 |  | March 2020 | Duplicated from SF156
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | EY020 | 445 | E4 SURGICAL PTY LTD | Slimplicity HP Screws | Screws | 12mm - 18mm | 287906 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | MI321 | 186 | Medtronic Australasia Pty Ltd | Titan Spine Bone Screws | Titan Spine Bone Screws-Endoskeleton TCS/TAS, standard | dia (3.5-6.5mm) x length (13-35mm) | 285244 |  | March 2020 | Transferred from ER487
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | UT004 | 186 | SOUTHERN CROSS SURGICAL PTY LTD | SPICCA-SP2 Screws | Titanium screws | 13mm - 21mm | 320878 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | UT006 | 186 | SOUTHERN CROSS SURGICAL PTY LTD | SASCA-2 Screws | Titanium screws, including 3D printed screws. | 25mm - 40mm | 320878 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | UT009 | 186 | SOUTHERN CROSS SURGICAL PTY LTD | AXIS2 Screws | Cervical screws - self-tapping/self-drilling, fixed and variable angle | Diameter: 4.0mm, 4.5mm Length: 12mm - 18mm | 320878 |  | March 2020 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | UT020 | 186 | SOUTHERN CROSS SURGICAL PTY LTD | Unity+ Screws | Titanium bone screw | Diameter: 6mm; Length: 30mm - 50mm. | 320878 |  | March 2020 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | UT013 | 158 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Set Screw | Set screw | One size | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | UT015 | 705 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Rod Connector | Rod connectors: long and square | One size of each | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | UT011 | 705 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Offset Connectors | Offset connectors | Short, long | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | UT014 | 1250 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Cross Links | Cross links | 29mm - 63mm | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | UT010 | 759 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Hook | Pedicle, lamina and TP hooks | Small, medium, large, pedicle marker, angle left, angle right, large groove, small groove, offset left, offset right | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.01 - Integral Fixation | 13.05.01.01 - Cervical |  | EY019 | 1297 | E4 SURGICAL PTY LTD | Slimplicity HP Plates | Plates | 10mm - 105mm | 287906 |  | March 2020 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.01 - Integral Fixation | 13.05.01.02 - ThoracoLumbar / Lumbar / Lumbosacral |  | UT019 | 2039 | SOUTHERN CROSS SURGICAL PTY LTD | Unity+ Plates | Thoracolumbar plate | Depth: 22mm; Height: 24mm, 27.5mm, 30.5mm. | 320879 |  | March 2020 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | UT008 | 1575 | SOUTHERN CROSS SURGICAL PTY LTD | AXIS2 Anterior Cervical Plate | Anterior cervical plate | 57mm - 83mm | 320879 |  | March 2020 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | UT007 | 1204 | SOUTHERN CROSS SURGICAL PTY LTD | AXIS2 Anterior Cervical Plate | Anterior cervical plate | 19.5mm - 53mm | 320879 320878 |  | March 2020 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Shaped | UT017 | 555 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Pre-bent Rods | Pre-bent (soft rods, minimally invasive rods) | Diameter: 6mm Length: 35mm - 150 | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | DE705 | 410 | Device Technologies Australia Pty Ltd | Mariner MIS Rods | Mariner MIS Rods | 5.5mm - 6.0mm Diameter. 20-450mm Length. | 275794 |  | March 2020 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | UT012 | 410 | SOUTHERN CROSS SURGICAL PTY LTD | SOLFIX2 Rods | Rods (straight soft rods, straight hard rods) | Diameter: 6mm Length: 35mm - 500mm | 320880 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | EV033 | 4215 | Evolution Surgical | HRCc Cervical Locking Cage | Cervical Locking Cage | Size 4 to 9 Standard and Large | 322672 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | MI327 | 4215 | Medtronic Australasia Pty Ltd | Endoskeleton TCS | Titanium Stand Alone ADCF Cage, sterile or non-sterile also with Nanolock™ surface technology, sterile | 12-16mm Length, 14-18mm Width, 5-12mm Heights | 315580 285244 |  | March 2020 | Transferred from ER470
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | UT003 | 4215 | SOUTHERN CROSS SURGICAL PTY LTD | SPICCA-S2 Anterior Cervical Fusion Cage | Anterior cervical fusion cage; PEEK, Titanium coated PEEK, or 3D printed Titanium. | Footprints: 15mm x 14mm, 17.5mm x 15mm, 19.5mm x 17mm; Height: 4mm - 10mm; Lordosis: 7 or 12 degrees. | 320878 322720 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | MI326 | 6021 | Medtronic Australasia Pty Ltd | Endoskeleton TAS | Titanium lumbar cage with integrated fixation, sterile or non-sterile also with NanoLock™ surface technology, sterile . | 10-17mm Height, 32-40mm x 21-27mm Width, 7˚-24˚ Angles | 315580 285244 |  | March 2020 | Transferred from ER469
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | UT005 | 6021 | SOUTHERN CROSS SURGICAL PTY LTD | SASCA-2 ALIF Cage | Anterior lumber interbody fusion screw cage; PEEK, Titanium coated PEEK, or 3D printed Titanium. | Footprints: 37mm x 27mm, 41mm x 28mm; Height: 8mm - 18mm; Lordosis: 8, 15 or 20 degrees. | 320878 322720 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | EY014 | 2319 | E4 SURGICAL PTY LTD | Tsunami Capri ACDF Cage | ACDF Cage | Angle 0 and 5 degrees Height 4mm to 9mm Length 12 to 18mm | 323485 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | EY016 | 2319 | E4 SURGICAL PTY LTD | BMD Titanium ACIF Implant | ACIF Cage | Height 4mm height to 9mm | 323561 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | EY018 | 2319 | E4 SURGICAL PTY LTD | Precision ShurFit ACDF | Anterior Cervical Interbody Fusion System | 14 to 18mm wide 12 to 15mm deep 5 to 12mm height 5 and 10 Degree Lordotic Options | 317596 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | MI328 | 2319 | Medtronic Australasia Pty Ltd | Endoskeleton TC | Titanium coated anterior interbody fusion device for the lumbar spine, sterile or non-sterile, nanoLock (TM) surface technology | 12-16 x 14-18mm | 315580 285244 |  | March 2020 | Transferred from ER461
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | UT002 | 2319 | SOUTHERN CROSS SURGICAL PTY LTD | SPICCA Anterior Cervical Fusion Cage | Anterior cervical fusion cage; PEEK, Titanium coated PEEK, or 3D printed Titanium. | Footprints: 15mm x 14mm, 17.5mm x 15mm, 19.5mm x 17mm; Height: 4mm - 10mm; Lordosis: 7 or 12 degrees. | 322720 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | MI322 | 2780 | Medtronic Australasia Pty Ltd | Endoskeleton TO Interbody Fusion Device | Titanium lumbar posterior interbody fusion cage, sterile or non-sterile, also with NanoLock™ surface technology, sterile | (22-31mm) x (8-16mm); 0-4 degrees | 285244 |  | March 2020 | Transferred from ER497
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | EY015 | 3335 | E4 SURGICAL PTY LTD | Tsunami Panarea b-OK Lumbar Cage | Lumbar Interbody Cage | 7mm to 14mm height | 323486 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | EY017 | 3335 | E4 SURGICAL PTY LTD | BMD Titanium TLIF Cage | Lumbar Interbody Cage | Height 7mm to 17mm | 323520 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | MI323 | 3335 | Medtronic Australasia Pty Ltd | Endoskeleton TL | Titanium Lateral Interbody fusion cage, sterile or non-sterile also with NanoLock™ surface technology, sterile | Length: 40-60mm, Width 18-26mm, Height 8-16mm | 285244 |  | March 2020 | Transferred from ER462
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | MI324 | 3335 | Medtronic Australasia Pty Ltd | Endoskeleton TA | Titanium anterior interbody fusion device for the lumbar spine, sterile or non-sterile, also with Nano Lock™ surface technology, sterile | 32-40 x 21-27mm Width 32-40mm, Length 21-27mm, Height 10-17mm, 20,25,30,35,40,45,50,55,60,65mm, 0˚ & 7˚angles | 285244 |  | March 2020 | Transferred from ER463
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | MI325 | 3335 | Medtronic Australasia Pty Ltd | Endoskeleton TT Interbody Fusion Device | Titanium posterior interbody fusion cage, parallel or lordotic, sterile or non-sterile, also with NanoLock™ surface technology, sterile | Height 7-14mm; 30-35mm x11mm, 0˚ or 4˚ angles | 285244 |  | March 2020 | Transferred from ER498
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | UT001 | 3335 | SOUTHERN CROSS SURGICAL PTY LTD | CALIBER Lordotic Cage | Lumbar fusion cage; PEEK, Titanium coated PEEK, 3D printed Titanium. | Width: 9mm; Length: 24mm - 36mm; Height 6mm - 12mm; Lordosis: 6, 12, 18 degrees | 322720 |  | March 2020 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | UT018 | 3335 | SOUTHERN CROSS SURGICAL PTY LTD | Unity+ Lateral Standalone Cage | Thoracolumbar fusion cage: PEEK, Titanium coated PEEK, or 3D printed Titanium. | Width: 22mm, Height: 8mm, 9mm, 11mm, 13mm, 15mm, Width: 40mm, 45mm, 50mm, 55mm, 60mm, Lordosis: 8 or 15 degrees. | 322720 |  | March 2020 | New Listing
13 - Spinal | 13.11 - Disc Replacement | 13.11.01 - System | 13.11.01.01 - Cervical |  | DU039 | 6021 | SPINEART AUSTRALIA PTY. LTD. | BAGUERA C | Cervical Disc Prosthesis | Height: 5-7mm Footprint: 13-16mm X 16-18mm | 166149 |  | March 2020 | New Listing