## Prostheses List Changes
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
AL047 | 01 - Ophthalmic | AcrySof IQ Vivity Toric Extended Vision Intraocular Lens | Vivity Toric Models DAT215, DAT315, DAT415, DAT515 and DAT615 are an extended vision, non-diffractive, UV-absorbing, single-piece, foldable, hydrophobic, posterior chamber intraocular lens | +10.0 to +30.0 diopters; Cylinder:1.00 to 3.75 diopters | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Description, Product Sizes
AL043 | 01 - Ophthalmic | AcrySof IQ PanOptix Toric Trifocal IOL | Trifocal posterior chamber, toric, UV absorbing, foldable, acrylic, aspheric, single piece lens with apodised diffractive trifocal optic and blue light protection. The apodised diffractive trifocal optic (anterior) provides two diffractive focal points (+3.25D near focus and 2.17D intermediate focus). | +6.0 to +30.0D in 0.5 Diopter increments and +31.0 to +34.0D in 1.0 Diopter increments. Cylinder: +1.0; +1.50; +2.25; +3.00 and +3.75 D | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Name, Product Description
AL046 | 01 - Ophthalmic | AcrySof IQ Vivity Toric Extended Vision Intraocular Lens | Vivity Toric Models DFT215, DFT315, DFT415, DFT515 and DFT615 are a toric, extended vision, non-diffractive, UV-absorbing and blue light filtering, single-piece, foldable, hydrophobic, posterior chamber intraocular lens. | +10.0 to +30.0 diopters; Cylinder: 1.0 to 3.75 diopters | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Description, Product Sizes
AL040 | 01 - Ophthalmic | AcrySof IQ PanOptix Trifocal IOL | Trifocal posterior chamber, UV absorbing, foldable, acrylic, aspheric, single piece lens with apodised diffractive trifocal optic and blue light protection. The apodised diffractive trifocal optic (anterior) provides two diffractive focal points (+3.25D near focus and 2.17D intermediate focus). | +6.0 to +30.0D in 0.5 Diopter increments and +31.0 to +34.0D in 1.0 Diopter increments | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Name, Product Description
BB335 | 04 - Neurosurgical | Miethke proGAV with distal catheter | Adjustable valve with a gravitational unit and a distal catheter | Adjustable valve: diameter 18mm, opening pressure 0-20 cmH2O, height 4.5mm Gravitational unit: length 14.9mm, height 4.6mm, opening pressure 0-35 cm H2O Distal catheter: length 1200mm, inside diameter 1.2mm, outside diameter 2.5mm | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB338 | 04 - Neurosurgical | Miethke proGAV with pre-attached reservoir | Shunt system containing an adjustable valve with a gravitational unit and a reservoir. | Adjustable valve: diameter 18mm, opening pressure 0-20 cmH20, height 4.5mm. Gravitational unit: length 14.9mm, height 4.6mm, opening pressure 0-35 cmH2O Reservoir: diameter 14/20mm. | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB339 | 04 - Neurosurgical | Miethke adjustable gratitational unit with differential pressure unit (miniNAV) and distal catheter | proSA and M.blue adjustable gravitational units for the treatment of hydracephalus. The valve can be combined with any differential pressure valve. miniNAV is a very small differential pressure unit, which is often used. The valves are made from titanium and are MR safe up to 3 tesla. The distal catheter is made of silicone. | Adjustable gravitational unit: height 4.5mm, diameter 18mm, opening pressure 0-40 cmH2O. Differential pressure unit (miniNAV): length 14.7mm, diameter 2.8mm. Distal catheter: length 1200mm, inside diameter 1.2mm, outside diameter 2.5mm. | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BB332 | 04 - Neurosurgical | Miethke proGAV | Adjustable valve with intergrated gravitational unit. Titanium, MR safe up to 3 tesla. | Adjustable valve: Diameter 18mm, Opening pressure 0-20 cmH2O, Height 4.5mm. Gravitational unit: Length 14.9mm, Height 4.6mm. | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB340 | 04 - Neurosurgical | Miethke adjustable gratitational unit with differential pressure unit (miniNAV) | proSA and M.blue are adjustable gravitational units for the treatment of hydrocephalus. They can be combined with any differential pressure valve. miniNAV is a very small differential pressure unit, which is often used. The valves are made from titanium and are MR safe up to 3 tesla. | Adjustable gravitational unit: height 4.5mm, diameter 18mm, opening pressure 0-40 cmH2O. Differential pressure unit (miniNAV): length 14.7mm, diameter 2.8mm. | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BB341 | 04 - Neurosurgical | Miethke proSA with proGAV and distal catheter | proSA is an adjustable gravitational unit. proGAV is an adjustable differential pressure unit. They are combined to treat pediatric and adult hydrocephalus. The valves are made from titanium and are MR safe up to 3 tesla. The distal catheters are made of silicone. | Adjustable gravitational unit (proSA): diameter 18mm Adjustable differential pressure unit (proGAV): diameter 18mm Distal catheter: length 1200mm, inside diameter 1.2mm, outside diameter 2.5mm Distal catheter (connection between both valves): inside diameter 1.2mm, outside diameter 2.5mm FV783T: proSA adjustable between 0-40 cmH2O, proGAV adjustablebetween 0-20 cmH2O | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB343 | 04 - Neurosurgical | Miethke shunt system with reservoir and distal catheter | Shunt system containing an adjustable gravitational unit and an adjustable differential pressure unit with distal catheters and a ventircular catheter, combined with a deflector, a pediatric prechamber or a reservoir. There are two types of reservoirs: Control reservoir and pediatric Burrhole reservoir. The shunt system is used for the treatment of pediatric and adult hydrocephalus. The valves, the prechamber, the deflector and the reservoirs are made from titanium. The catheters are made from silicone. The shunt system is MR safe up to 3 tesla. | Adjustable gravitational unit: height 4.5mm, diameter 18mm Adjustable differential pressure unit: diameter 18mm Distal catheter: length 1200mm, inside diameter 1.2mm, outside diameter 2.5mm Distal catheter for connections: inside diameter 1.2mm, outside diameter 2.5mm, adjustable between 0-40 cmH2O, 0-20 cmH2O. | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BB342 | 04 - Neurosurgical | Miethke proSA with proGAV | proSA is an adjustable gravitational unit. proGAV is an adjustable differential pressure unit. They are combined to treat pediatric and adult hydrocephalus. The valves are made from titanium and are MR safe up to 3 tesla. They are connected by a distal catheter, which is made of silicone. | Adjustable gravatational unit (proSA): diameter 18mm Adjustable differential pressure unit (proGAV): diameter 18mm Distal catheter: inside diameter 1.2mm, outside diameter 2.5mm FV782T: proSA adjustable between 0-40 cmH2O proGAV adjustable between 0-20 cmH2O | B Braun Australia Pty Ltd |  | Changed Product Sizes
BB322 | 04 - Neurosurgical | Aesculap-Miethke gravitational shunt (with catheter) | Single valve, (anti-siphon) gravitational shunt, titanium construction (MRI safe to 3 tesla), with incorporated distal catheter, supplied sterile | 23mm long , 4.6mm diameter, 5cmH2O - 40cmH2O, Catheter - di=1.2mm, do=2.5cm, 1200mm long | B Braun Australia Pty Ltd |  | Changed Product Name
BB323 | 04 - Neurosurgical | Aesculap-Miethke SHUNTASSISTANT | Anti-siphon gravitational unit to treat standing pressure over drainage in conjunction with existing shunts in children and adults, titanium construction (MRI safe to 3 tesla). | 19.5mm long and 23.7mm long , 4.0mm diameter and 4.6mm diameter, 10cmH2O and 15-35cmH2O. Straight and u-shaped. | B Braun Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
SJ378 | 04 - Neurosurgical | Infinity directional lead | Lead with 8 electrode segmented contacts. Steerable and directional current. | 30-40cm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Sizes
SJ354 | 04 - Neurosurgical | Axium Neurostimulator System - 22cm Delivery Sheath Kit - small curve and big curve | 22cm delivery sheath kit - small curve and big curve. | 2 sizes (2 presentations) 1 x Big Curve -MN23950AU 1 x Small Curve - MN23850AU | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Sizes
CB012 | 04 - Neurosurgical | LVIS Intraluminal Support Device | Self-expanding intracranial vascular stent | Diameters: 2.5, 3.0, 3.5, 4.0, 4.5, 5.5mm Lengths: 8-67mm | Culpan Medical Pty |  | Changed Product Sizes
HW467 | 04 - Neurosurgical | Target Detachable Coils | Detachable Platinum coils | Coil Diameter: 1mm to 24mm Coil Length: 1cm to 50cm | Stryker Australia Pty Ltd |  | Changed Product Sizes
WC126 | 05 - Urogenital | Firlit-Kluge Urethral Stent | Firlit-Kluge urethral stent | Multiple French Sizes, Length 30cm | WILLIAM A COOK AUSTRALIA PTY LTD |  | Changed Product Name, Product Description
AM037 | 05 - Urogenital | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Pump & Cylinders Preconnected | 700 Series with InhibiZone | 12-24cm | Boston Scientific Australia Pty Ltd |  | Changed Product Sizes
DE550 | 06 - Specialist Orthopaedic | RetroFusion | Implant for PIP Arthrodesis for Hammertoe and Clawtoe Deformity | 20mm Length 24mm Length | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
ZA069 | 06 - Specialist Orthopaedic | Affixus Humeral Nail System | Cancellous Screws Titanium - Partially Threaded & Fixed Angle | 4x34mm - 4x80mm (in 2mm increments) | Zimmer Biomet Pty Ltd |  | Changed Product Sizes
HW564 | 06 - Specialist Orthopaedic | Leibinger Titanium Implant System | Profyle hand and small fragment plate system | size ≤2.7mm ≥ 7 to ≤ 15 holes | Stryker Australia Pty Ltd |  | Changed Product Sizes
DE551 | 06 - Specialist Orthopaedic | Low Profile Screw | Low Profile Screw | 4.5mm - 5.5mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DZ068 | 06 - Specialist Orthopaedic | Austofix Cannulated Compression Screws | Headless Cannulated Compression Screws | 3.0mm width, 10-30mm length; 3.8mm width, 26-62mm length | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Product Description, Product Sizes
SQ132 | 06 - Specialist Orthopaedic | Bone Screws | Cortical, Locking, Self-tapping, Standard, T15, trans-physeal | 3.5-4.0mm 10-70mm | Surgical Specialties |  | Changed Product Description, Product Sizes
LM340 | 06 - Specialist Orthopaedic | Bone Screws | Plate Fixation Bone Screws | 2.71 to 4.49mm diameter All lengths | LMT Surgical Pty Ltd |  | Changed Product Sizes
PJ032 | 06 - Specialist Orthopaedic | Draw Tight Suture Anchors | Suture Anchor | 1.8 mm | PurePlay Orthopaedics |  | Changed Product Sizes
PJ039 | 06 - Specialist Orthopaedic | AcTiFlip Cinch loop | Button fixation recommended for biceps repair both proximal and distal repairs. With one size two suture | 12mm 10mm | PurePlay Orthopaedics |  | Changed Product Sizes
PJ040 | 06 - Specialist Orthopaedic | AcTiFlip Infinity loop | Button fixation, recommended for proximal and distal tendon and ligament repair. Comes with one suture and one needle | 12mm 10mm | PurePlay Orthopaedics |  | Changed Product Sizes
DE297 | 06 - Specialist Orthopaedic | BioComposite Interference Screw | Soft Tissue Fixation Device | 6mm - 35mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
SY419 | 06 - Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Nuts, Washers & Spacers, Bolts | Various | Johnson & Johnson Medical Pty Ltd |  | Changed Product Description, Product Sizes
GI003 | 06 - Specialist Orthopaedic | Bio-Oss Bone Natural Bone Mineral | Derived from bovine bone | Granule size 1 - 2mm, 1.0gm (3cc) Granule size 0.25 - 1mm, 2.0gm (4cc) | Geistlich Pharma Australia Pty Ltd |  | Changed Product Sizes
DE577 | 06 - Specialist Orthopaedic | BioSync Anatomic Reconstruction Wedge | Titanium metal scaffold for angular correction in ankle and foot | Cotton Wedges 16mm-20mm Depth x 4.5mm-7.5mm Thickness Evans Wedges 18mm-22mm Width & Depth x 6.5mm-12mm Thickness | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE649 | 06 - Specialist Orthopaedic | Cerclage System | Pre-tied Cerclage System | One Size Only | Device Technologies Australia Pty Ltd | The prosthesis is only to be used in a surgical procedure described in item 47450 or 47528 or 47565 in Group T8 of the Regulations. | Change Condition
BB304 | 07 - Plastic and Reconstructive | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates | Plate Neuro, 2 hole, 11 - 16mm straight | B Braun Australia Pty Ltd |  | Changed Product Name, Product Sizes
FV003 | 07 - Plastic and Reconstructive | Astra Tech Implant System Healing Abutments | Healing Abutments | Healing Abutment Diameter: Range 3.0 - 5.4 mm, Height Range from 2.0 - 6.5 | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Sizes
FV004 | 07 - Plastic and Reconstructive | Astra Tech Implant System Abutments | Temporary Abutment | Diameter range: 3.3 - 7.0 mm | DENTSPLY SIRONA PTY LIMITED |  | Changed Product Sizes
SJ129 | 08 - Cardiac | Tendril ST 1882TC | Endocardial Bi-polar Steroid-Eluting Active Fixation Pacing Leads | 46-65cm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
MC012 | 09 - Cardiothoracic | Medtronic Hancock Valved Conduit Model 150 | Porcine bioprosthesis, dacron | 12, 14, 16, 18, 20, 22, 25, 30mm. | Medtronic Australasia Pty Ltd |  | Changed Product Name
TU048 | 09 - Cardiothoracic | Gelweave Graft | Straight Polyester Woven | 6-38mm x 15-20cm | Terumo Australia |  | Changed Category, Sub Category, Group, Sub Group
TU047 | 09 - Cardiothoracic | Gelweave Graft | Straight Polyester Woven | 6-38mm x 25-40cm | Terumo Australia |  | Changed Category, Sub Category, Group, Sub Group
TU023 | 09 - Cardiothoracic | Gelweave Graft | Straight, Polyester, Woven | 6-38mm x 50-60cm | Terumo Australia |  | Changed Category, Sub Category, Group, Sub Group
SJ401 | 09 - Cardiothoracic | HeartMate 3 Implant Kit | Left ventricular assist device | one size only | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SJ396 | 09 - Cardiothoracic | HeartMate 3 System Controller | System Controller | One size only | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SJ385 | 09 - Cardiothoracic | HeartMate Left Ventricular Assist System - Battery Set | Rechargeable HeartMate specific batteries | One size only, set of 4 | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name, Product Description
SJ375 | 09 - Cardiothoracic | HeartMate Left Ventricular Assist System - Battery Clip Set | Battery clip set | one size only | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SJ399 | 09 - Cardiothoracic | Heart Mate 3 Holster Vest | Holster Vest | Small, medium and large | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SJ397 | 09 - Cardiothoracic | Heart Mate 3 Shower Bag | Shower Bag | One size only; set of 2 | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Name
SJ266 | 10 - Vascular | AMPLATZER Vascular Plug - II | The AMPLATZER Vascular Plug II is a self-expandable, multi-lobed cylindraical device made from a nitinol wire mesh. | 3mm-22mm Diameter, 6mm-18mm Plug Length | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Sizes
SJ269 | 10 - Vascular | AMPLATZER Vascular Plug 4 | The AMPLATZER Vascular Plug 4 (AVP4) is a self-expanding, Nitinol mesh occlusion device. The Device has a radiopaque marker band at each end and a micro screw attachment at one end for attaching to the delivery wire. The AVP4 fits through a 0.038 guidewire compatible diagnostic catheter allowing the use of the same catheter throughout the procedure rather than having to exchange the diagnostic catheter for a second delivery catheter to place a plug. | 4mm 4 diameter 10.0 length 5mm 5 diameter 10.5 length 6mm 6 diameter 11.0 length 7mm 7 diameter 12.5 length 8mm 8 diameter 13.5 length | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Changed Product Sizes
TG024 | 11 - Hip | JRI Furlong Total Hip System | Uncemented Femoral Stem, titanium, plasma sprayed, with HA | 12 /14 Taper, and 5mm offset, short and standard spigot | Future Medical Pty Ltd |  | Changed Product Description
CR086 | 11 - Hip | TriFit System | Titanium stem proximally coated with plasma spray and HA | Sizes 1- 11 | Corin Australia Pty Ltd |  | Changed Product Name
GG010 | 11 - Hip | SMR Modular Femoral Stem Proximal Body | Titanium, grit blast, non HA, | 40 to 70mm, Standard and Filling | GRUPPO BIOIMPIANTI PTY LTD |  | Changed Product Sizes
GG011 | 11 - Hip | SMR Femoral Stem | SMR Distal Component less than 200mm | SMR Distal Components: 14 x 100mm, 15 x 100mm, 16 x 100mm, 17 x 100mm, 18 x 100mm, 19 x 100mm, 20 x 100mm, 21 x 100mm, 22 x 100mm, 24 x 100mm, 14 x 160mm, 15 x 160mm, 16 x 160mm, 17 x 160mm, 18 x 160mm, 19 x 160mm, 20 x 160mm, 21 x 160mm, 22 x 160mm, 24 x 160mm | GRUPPO BIOIMPIANTI PTY LTD |  | Changed Product Sizes
DY402 | 11 - Hip | DePuy Synthes Conventional Metal Femoral Heads | Metal Femoral Head - Articul/eze, M-Spec, Ultamet, Modular M-Spec, Unipolar | 36mm to 60mm | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
MU118 | 11 - Hip | Mectacer Biolox Option Ceramic Heads (>32) | Biolox Option Ceramic Femoral Heads | 36mm, 40mm, 44mm, 48mm | Medacta Australia Pty Ltd |  | Changed Product Sizes
TZ003 | 11 - Hip | Adler Ceramic Head | Delta Alumina Ceramic Head | Short, Medium, Long; 36mm to 48mm | The Trustee for Adler Ortho Unit Trust |  | Changed Product Name, Product Description, Product Sizes
MU140 | 11 - Hip | Mpact Acetabular Shells | Cementless titanium acetabular shell, variable holes | 42 to 66 | Medacta Australia Pty Ltd |  | Changed Product Sizes
MU141 | 11 - Hip | Mpact Revision Acetabular Shells | Cementless titanium acetabular shell, variable holes | 42 to 76 | Medacta Australia Pty Ltd |  | Changed Product Sizes
SM029 | 11 - Hip | EP Fit & MPF Highly cross linked UHMWPE Insert | Modified UHMWPE | 40-68mm Dia, all head sizes | Smith & Nephew Pty Ltd |  | Changed Product Sizes
DP014 | 11 - Hip | Pinnacle Constrained Inserts | UHMWPE, constrained liner with titanium alloy locking ring | Inner diameter 28-44mm, 36-76mm outer diameter | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name
LI045 | 11 - Hip | Saturne acetabular liner | Polyethylene liner for double mobility cup | 42/22- 66/22 (13 sizes) 48/28- 66/28 (10 sizes) | Amplitude Australia |  | Changed Product Sizes
MU165 | 11 - Hip | Mpact Acetabular System | 3D Metal Augments | 50-80 mm. Thickness 10 ÷ 30 mm. | Medacta Australia Pty Ltd |  | Changed Product Sizes
LC023 | 11 - Hip | DELTA Coupling / Spacer / Liner | DELTA Coupling / Spacer / Adaptor / Liner | Size Small to Extra Large Angle (In degrees) 0 to 20 Offset +5 | Lima Orthopaedics Australia Pty Ltd |  | Changed Product Description, Product Sizes
BV054 | 12 - Knee | Evolution Medial Pivot Knee System | Revision Tibial Base Implant | Sizes 1 - 8 Left, Right Standard, Plus | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Sizes
ZI962 | 12 - Knee | Persona Knee System | CR and UC tibial insert | 10-18 mm | Zimmer Biomet Pty Ltd |  | Changed Product Description, Product Sizes
LI072 | 12 - Knee | Score Knee System Patella Component | All poly patella UHMWPE, cemented Resurfacing and Inset | 7 Diameters | Amplitude Australia |  | Changed Product Name, Product Description, Product Sizes
BH136 | 12 - Knee | Orthopaedic Salvage System | Femoral/Tibial Interlocking devices:locking pin, femoral and tibial bushings, tibial bearing. Axle, reinforced Yoke, locking screws CoCr, Ti | One size only except srew - small or large, Tibial bearing 12-22mm | Zimmer Biomet Pty Ltd |  | Changed Benefit, Group
LI066 | 12 - Knee | Amplitude Femoral and Tibial Stems | Femoral and Tibial Stems, Titanium, cemented | 7 diameters (10-22), 4 lengths (75-200mm) | Amplitude Australia |  | Changed Product Name
DU017 | 13 - Spinal | Romeo 2 Posterior Thoraco-lumbar Fixation System - Monoxial Screw | Monomial pedicle screw | Diameter: 4mm, 5mm, 6mm, 7mm, 8mm Length: 25m, 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 70mm, 80mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
DU026 | 13 - Spinal | Romeo 2 MIS Posterior Thoraco-lumbar Fixation System - Cannulated Polyaxial Screw | Cannulated polyaxial pedicle screw, perforated cannulated polyaxial pedicle screw | Cannulated Screw - Diameter: 5mm, 6mm, 7mm Length: 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm Perforated Cannulated Screw - Diameter: 5mm, 6mm, 7mm, 8mm Length: 35mm, 40mm, 45mm, 50mm, 55mm, 60mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
MU147 | 13 - Spinal | M.U.S.T. Fenestrated Polyaxial Cannulated Pedicle Screw | Fenestrated Polyaxial Cannulated Pedicle Screw | Diameter 4.5-10mm, Length 25-100mm | Medacta Australia Pty Ltd |  | Changed Product Sizes
DU018 | 13 - Spinal | Romeo 2 Posterior Thoraco-lumbar Fixation System - Polyaxial Screw, Reduction Screw, 25D Screw | Polyaxial screw, polyaxial reduction screw | Diameter: 4mm, 5mm, 6mm, 7mm, 8mm Length: 25mm, 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 70mm, 80mm, 90mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
SY382 | 13 - Spinal | Occipito-Cervical Fusion System | Occipital Clamp Titanium Alloy | 1 or 2 holes | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name
DU004 | 13 - Spinal | Perla Posterior Cervico-Thoracic Fixation System - Axial Connector, Lateral Connector | Axial connectors, lateral connectors | Axial - Diameter: 3.5/3.5mm Lateral - small, large | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
MU135 | 13 - Spinal | M.U.S.T Lateral Connectors | Lateral Connectors | 20 - 150 mm | Medacta Australia Pty Ltd |  | Changed Product Sizes
UT019 | 13 - Spinal | Unity+ Plates | Thoracolumbar plate | Depth: 22mm; Length: 8mm, 9mm, 11mm, 13mm, 15mm, 24mm, 27,5mm, 30.5mm. | SOUTHERN CROSS SURGICAL PTY LTD |  | Changed Product Sizes
SY380 | 13 - Spinal | Occipito-Cervical Fusion System | Occipital Plate Medial / Lateral, Pure titanium | 50mm / 60mm width, 3 or 4 holes | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name
SQ156 | 13 - Spinal | Response Spine System - S Rod | Pre-Contoured S-Rods, Shaped, CoCr, Ti | 5.5 & 6.0mm diameter 350 - 500mm Small, Med, Large | Surgical Specialties |  | Changed Product Description
UT017 | 13 - Spinal | SOLFIX2 Pre-bent Rods | Pre-bent (soft rods, minimally invasive rods) | Diameter: 5.5mm, 6mm, Length: 35mm - 500mm | SOUTHERN CROSS SURGICAL PTY LTD |  | Changed Product Sizes
DU007 | 13 - Spinal | Perla Posterior Cervico-Thoracic Fixation System - Rod | Straight rods, pre-bent rods - Titanium or cobalt chromium | Diameter: 3.5mm Length: 20mm, 25mm, 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 65mm, 70mm, 75mm, 80mm, 85mm, 90mm, 100mm, 110mm, 120mm, 240mm, 350mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
DU021 | 13 - Spinal | Romeo 2/Romeo 2 MIS Posterior Thoraco-lumbar Fixation System - Rod, Percutaneous Rod | Rod, percutaneous rod | Rod - Diameter 5.4mm Length: pre-bent: 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 70mm, 80mm, 90mm; straight: 100mm, 120mm, 140mm, 160mm, 180mm, 200mm, 220mm, 240mm, 350mm, 500mm, 550mm Percutaneous Rod - Diameter: 5.4mm Length: pre-bent - 30mm, 35mm, 40mm, 45mm, 50mm, 55mm, 60mm, 65mm, 70mm, 75mm, 80mm, 85mm, 90mm; straight - 100mm, 110mm, 120mm, 130mm, 140mm, 150mm, 160mm, 170mm, 180mm, 190mm, 200mm, 210mm, 220mm, 230mm, 240mm, 250mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Sizes
MU108 | 13 - Spinal | M.U.S.T. Rods | Straight, Pre-Bent and Pre-Contoured Rods | 5.5; length 35 - 600mm | Medacta Australia Pty Ltd |  | Changed Product Description, Product Sizes
UT012 | 13 - Spinal | SOLFIX2 Rods | Rods (straight soft rods, straight hard rods) | Diameter: 5.5mm, 6mm, Length: 35mm - 500mm | SOUTHERN CROSS SURGICAL PTY LTD |  | Changed Product Sizes
ER538 | 13 - Spinal | Signus BIG ST – Lumbar Cage and fixation screws system | ALIF Lumbar Cage and fixation screws | 10 – 20mm : 8 deg 12 deg 16deg & 20deg | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Description, Benefit, Group, Sub Group
ER537 | 13 - Spinal | Signus JASPIS | Cervical porous titanium fusion cage | width (14-18mm) x length (12-14 mm) x height (4-10 mm); lordosis (0-8°) | Emergo Asia Pacific Pty Ltd |  | Changed Product Name, Product Sizes
ZI708 | 13 - Spinal | Universal Clamp | Construct consisting of a band, a clamp and a set screw | 4.5mm, 4.75mm, 5.5mm, 6.0mm, | Zimmer Biomet Pty Ltd |  | Changed Benefit, Group