## Prostheses List
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | WP001 | 252 | The Trustee for The Ophthalmopro Unit Trust | ZOE | Preloaded Injector system, Posterior convex IOL, aspherical optic to correct far and intermediate vision, foldable, one piece, High purity hydrophobic acrylic, UV filter, 360 square edge | +5D to +36D in 0.5D increments | 397250 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | WP003 | 252 | The Trustee for The Ophthalmopro Unit Trust | Primus-HD Clear | Preloaded Injector system, Posterior convex IOL, aspheric, foldable, one piece, High purity hydrophobic acrylic, UV filter, 360 square edge | -10.0D to +36D in 0.5D increments | 397250 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, t1 | VU027 | 535 | SURGIVISION PTY LTD | Medicontur BiFlex 677CTA Preloaded Hydrophilic Acrylic Foldable Toric Lens without Blue light Filter | Preloaded Posterior chamber IOL, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm, Overall diameter: 13.0 mm. Sph eq powers available: +8.0 to +35.0, Cylinders 1.0 to 6.0D. | 221834 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, t1, vblf | VU028 | 586 | SURGIVISION PTY LTD | Medicontur BiFlex 677CTAY Preloaded Hydrophilic Acrylic Foldable Toric Lens with Blue light Filter | Preloaded Posterior chamber IOL with blue light filter, 360° Special Square Edge, Aspheric – Coma optimized – Toric | Optic diameter: 6.0 mm, Overall diameter: 13.0 mm. Sph eq powers available: +8.0 to +35.0, Cylinders 1.0 to 6.0D. | 221834 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, vblf | WP007 | 292 | The Trustee for The Ophthalmopro Unit Trust | Primus-HD Yellow | Preloaded Injector system, Posterior convex IOL, aspheric, foldable, one piece, High purity hydrophobic acrylic, blue light filter, 360 square edge | Powers from -10.0D to +36.0D in 0.5D increments | 397250 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t1, vblf | WP002 | 528 | The Trustee for The Ophthalmopro Unit Trust | Primus-HD Toric Yellow | Preloaded Injector system, Biconvex optical with toric and high order coefficient aspheric surface IOL, foldable, one piece, hydrophobic acrylic, blue light filter, 360 square edge | IOL Cylinder powers are : +1.00D, +1.50D, +2.25D, +3.00D, +4.00D and +4.50D Cylinder powers at corneal plane are : +0.72D, +1.07D, +1.59D, +2.11D, +2.8D, and +3.15D | 397250 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl, t1 | KG038 | 918 | Kevin Grundy (IBD) Pty Ltd | RayOne EMV Toric | Single piece preloaded monofocal toric aspheric acrylic IOL, enhanced monovision (EMV) UV absorbing, 360 degree square edge, anti vaulting haptics | 6mm optic, Power Range: SE: +10.0 D to +25.0 D (0.5 D increments), Cylinder: +0.75 D, +1.5 D, +2.25 D, +3.0 D, +3.75 D, +4.5 D | 220612 |  | March 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl, t1, vlbf | VU026 | 950 | SURGIVISION PTY LTD | Medicontur BiFlex Preloaded 677CMTY | BiFlex Single-Piece Preloaded Aspheric Hydrophilic Progressive Diffractive Toric IOL with Blue light filter and 360' Special Square Edge for implantation into capsular bag | Optic diameter: 6.0 mm ±0.10 mm, Overall diameter: 13.0 mm ±0.20 mm Powers available: Sph eq: +8.0 to +35.0D in 0.5D increments., Cylinder: 1.0 to 6.0D. | 221834 |  | March 2023 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.02 - Non Viscous |  |  | WP005 | 39 | The Trustee for The Ophthalmopro Unit Trust | AJL Blue | Trypan Blue STaining Dye | 1 ml syringe | 392390 |  | March 2023 | New Listing
01 - Ophthalmic | 01.04 - CAPSULAR TENSION RINGS | 01.04.01 - Simple |  | pl | WP004 | 185 | The Trustee for The Ophthalmopro Unit Trust | AJL Capsular Tension Ring | Preloaded PMAA Capsular Tension Ring | 9mm, 10mm,11mm, 12mm (closed diameter) 10mm, 11mm, 12mm, 13mm, 14mm (open diameter) | 392517 |  | March 2023 | New Listing
01 - Ophthalmic | 01.09 - RETINAL DETACHMENT PROSTHESES | 01.09.06 - Intraocular Silicone Oils |  |  | WP006 | 176 | The Trustee for The Ophthalmopro Unit Trust | AJL SIOBAL Silicon Oil | High-purity silicone oil used as tamponade agent for retinal detachment. 1000/2000/5000 cSt | 10ml prefilled syringe | 392371 |  | March 2023 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.02 - Speech Processors | 02.01.02.01 - Initial | Electroacoustic, AutoScan, 2.4GHz Wireless | CO090 | 12796 | Cochlear Limited | Cochlear™ Nucleus® 8 (CP1110) Sound Processor - Hybrid™ Mode (initial) | The Nucleus 8 (CP1110) - Hybrid Mode is a behind-the-ear (BTE) sound processor that is designed to function in a similar manner to the Nucleus 7 (CP1000) Sound Processor but with improved features such as smaller size, new directional noise reduction algorithm (SmartSound® iQ 2 with SCAN 2), Bluetooth® LE Audio Ready technology and automate function. The sound processor consists of the processing unit, Slimline™ coil, magnet and battery module. The Nucleus 8 in hybrid mode facilitates acoustic stimulation in the cochlea. | There is one size of the sound processor unit with 3 battery options and 7 different magnet strengths. | 394470 394471 394472 |  | March 2023 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.02 - Speech Processors | 02.01.02.02 - Replacement | Electroacoustic, AutoScan, 2.4GHz Wireless | CO091 | 9078 | Cochlear Limited | Cochlear™ Nucleus® 8 (CP1110) Sound Processor - Hybrid™ Mode (replacement) | The Nucleus 8 (CP1110) - Hybrid Mode is a behind-the-ear (BTE) sound processor that is designed to function in a similar manner to the Nucleus 7 (CP1000) Sound Processor but with improved features such as smaller size, new directional noise reduction algorithm (SmartSound® iQ 2 with SCAN 2), Bluetooth® LE Audio Ready technology and automate function. The sound processor consists of the processing unit, Slimline™ coil, magnet and battery module. The Nucleus 8 in hybrid mode facilitates acoustic stimulation in the cochlea. | There is one size of the sound processor unit with 3 battery options and 7 different magnet strengths. | 394470 394471 394472 |  | March 2023 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.05 - Ossicle/Middle Ear Prosthesis | 02.01.05.03 - Partial Ossicle Replacement (one or two) |  | US033 | 275 | Med-El Implant Systems Australasia Pty Ltd | Passive Middle Ear Implant (partial tympanoplasty prosthesis and stapesplasty prosthesis) | The MED-EL passive middle ear implant – tympanoplasty and stapesplasty ossicular replacement prostheses are made of titanium with a bendable shaft (and headplate of the tympanoplasty prosthesis). MRI conditional up to 7.0 Tesla | mXACT, mCLIP, mCLIP ARC, mXACT PRO - FL 0.75-3.50mm; mAXIS(Ø 0.4/0.5/0.6 x FL 3.50-5.50mm), mLOOP (Ø 0.4/0.6 x FL 3.50-10.00mm), mZAM (Ø 0.4/0.5/0.6 x FL 3.50-5.50mm), mFIX (Ø 0.4/0.6 x FL 3.50-5.50mm), | 393386 393392 |  | March 2023 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.05 - Ossicle/Middle Ear Prosthesis | 02.01.05.04 - Total Ossicle Replacement (three) |  | US034 | 347 | Med-El Implant Systems Australasia Pty Ltd | Passive Middle Ear Implant (total tympanoplasty prosthesis) | The MED-EL passive middle ear implant – tympanoplasty ossicular replacement prosthesis is made of titanium with a bendable shaft and headplate. MRI conditional up to 7.0 Tesla | mXACT (Offcenter and Center) and mXACT PRO - FL 3.00-7.00mm | 393387 393391 |  | March 2023 | New Listing
03 - General Miscellaneous | 03.06 - LUMINAL STENTS | 03.06.01 - Biliary Stents | 03.06.01.02 - Reinforced Wall, Uncovered/Bare Metal |  | AK013 | 2008 | CK Surgitech Pty Ltd | Biliary Nitinol Stents | Biliary Nitinol Stents, self expandable | 6mm - 10mm wide 40mm - 120mm long | 365092 |  | March 2023 | New Listing
03 - General Miscellaneous | 03.06 - LUMINAL STENTS | 03.06.01 - Biliary Stents |  | Biodegradable | ET101 | 1500 | Endotherapeutics Pty Ltd | ARCHIMEDES Biodegradable Pancreaticobiliary Stent | A polymeric stent with a fluted, cross-sectional profile and containing two channels which spiral in a double helix down the length of the stent. The Archimedes BPS is designed to fit the natural curvature of the common bile duct and pancreatic duct. The ends of the Archimedes are tapered to allow insertion through the papilla. The Archimedes comes in three degradation profiles of slow, medium, and fast. The minimal strength retention time of the Archimedes BPS is 11 weeks, 20 days, and 12 days respectively. | Stent Diameters: 2.0mm, 2.6mm, 3.4mm. Stent Length: 40mm, 60mm, 80mm, 100mm, 125mm, 150mm, 175mm, 200mm, 225mm. | 335504 335505 335506 |  | March 2023 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.04 - Recharger |  | MI502 | 1215 | Medtronic Australasia Pty Ltd | Medtronic Patient Wireless Recharger System | Recharging system for rechargeable implantable neurostimulators (model RS7200) that comprises a Wireless Recharger and Charging Dock | One size only | 387302 |  | March 2023 | New Listing
04 - Neurosurgical | 04.08 - NEURO INTERVENTION | 04.08.02 - Coils |  |  | JZ001 | 1199 | HYDRIX SERVICES PTY LTD | Wallaby Avenir Coil System | Platinum alloy coils attached to an implant delivery pusher which delivers the coil to the treatment site. The pusher has a platinum iridium marker band to visualise coil position within a standard microcatheter which also has a radiopaque marker. | • 18-System Complex Framing Coils Diameter: 6mm – 25mm Length: 16cm – 60cm • 10-System Complex Framing Coils Diameter: 2mm – 10mm Length: 2cm – 34cm • 10-System Helical Filling Coils Diameter: 3mm – 10mm Length: 4cm – 30cm • 10-System Complex Finishing Coils Diameter: 1mm – 5mm Length: 2cm – 10cm • 10-System Helical Finishing Coils Diameter: 1mm – 6mm Length: 1cm – 10cm | 389092 |  | March 2023 | New Listing
04 - Neurosurgical | 04.09 - Intracranial Pressure (ICP) Monitoring | 04.09.01 - Transducer |  | Catheter | IJ026 | 1173 | INNOVATIVE MEDCARE TECHNOLOGY PTY LTD | NEUROVENT-P catheter | RAUMEDIC NEUROVENT-P catheter for the continuous measurement of ICP (intracranial pressure) within the parenchyma. | 5F | 282695 |  | March 2023 | Duplicated from AT086
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.01 - Pump | A | BS409 | 5076 | Boston Scientific Australia Pty Ltd | AMS 800 Urinary Control System Pump | Pump with InhibiZone Antibiotic Surface Treatment | One size only | 352830 165326 |  | March 2023 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.02 - Occlusive cuff | A | BS408 | 2708 | Boston Scientific Australia Pty Ltd | AMS 800 Urinary Control System with InhibiZone - cuff | Occlusive Cuff with InhibiZone Antibiotic Surface Treatment | 13 Cuff sizes from 3.5 to 11.0 cm | 165326 352830 |  | March 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.01 - Cylinder | A | BS411 | 3638 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses with Inhibizone Cylinders | 700 Series with InhibiZone | 12, 14, 15, 16, 18, 21, 24cm | 352831 125444 |  | March 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.02 - Reservoir | A | BS414 | 1881 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses InhibiZone Reservoir | 700 Series InhibiZone | 50, 65, 100ml | 125444 352831 |  | March 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.03 - Pump | A | BS412 | 4432 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Pump | 700 Series with InhibiZone | One Size | 352831 125444 |  | March 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.06 - Pump and cylinder | A | BS413 | 8070 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Pump & Cylinders Preconnected | 700 Series with InhibiZone | 12-24cm | 125444 352831 |  | March 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.06 - Pump and cylinder |  | BS410 | 7419 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses Pump & Cylinders Preconnected | 700 Series (Non InhibiZone) | 12, 14, 15, 16, 18, 21, 24cm | 390412 106606 |  | March 2023 | New Listing
05 - Urogenital | 05.07 - Sacral Neuromodulation | 05.07.05 - Rechargeable Pulse Generator |  |  | MI500 | 9606 | Medtronic Australasia Pty Ltd | InterStim Micro MRI rechargeable neurostimulator | Rechargeable neurostimulator | One size | 392260 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.05 - Modular humeral component - metaphyseal, uncemented |  | FA035 | 2451 | EXACTECH AUSTRALIA PTY LTD | Equinoxe HRP Proximal Body | Anatomically shaped proximal bodies are designed to help restore the locations of the rotator cuff muscle insertions and increase deltoid wrapping to improve joint stability. | Extra-small, small, medium, large and extra-large | 396474 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.08 - Modular Humeral component - diaphyseal, cemented, short (≤220mm) |  | FA033 | 3755 | EXACTECH AUSTRALIA PTY LTD | Equinoxe HRP Distal Stem Modular | Distal stem, cemented, modular | 6mm - 13mm | 396476 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.18 - Special purpose/tumour prosthesis - tumour section |  | FA034 | 11180 | EXACTECH AUSTRALIA PTY LTD | Equinoxe HRP Middle Segment | HRP middle segment is used to reconstruct the humerus due to the varying levels of humeral resections | 25mm - 75mm | 396473 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.06 - Shoulder - Accessories | 06.02.06.08 - Spacer |  | UK030 | 1309 | The Trustee for Giorgios and Katarina Loizou Family Trust | Spacer-S | A device temporarily placed into the shoulder joint space to prevent bone on bone contact and contraction of soft tissue during the treatment of an infected joint. The device locally releases gentamicin to help the treatment of the infection. The Spacer-S comes in 2 sizes | 41 mm Head- 99 mm Stem 46 mm Head - 125 mm Stem | 387272 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.03 - Set screw/Locking bolt |  | LH732 | 140 | Lifehealthcare Pty Ltd | Precice Intramedullary Limb Lengthening System | Precice Fully Threaded Locking Screw | 4-5mm (Diameter) x 20-100mm (Length) | 244568 244569 290819 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.01 - Standard (screw size ≥4.5mm)(including blade) ≤ 6 holes | Com,VAL | ER670 | 1473 | Emergo Asia Pacific Pty Ltd | Paragon 28 Gorilla Plating System-Plate, tibial (≤ 6 holes), anterior, TT | Silverback anterior mini-open plate, TT, contoured or flat, left or right, Ti, complex, variable angle locking | 65-109 mm | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | ER671 | 1244 | Emergo Asia Pacific Pty Ltd | Paragon Silverback Straddle Plate-anterior TT | Silverback Anterior Straddle Plate, TT, Contoured or flat, standard or long, left or right | various sizes | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | ER674 | 1244 | Emergo Asia Pacific Pty Ltd | Paragon Silverback Straddle Plate-posterior TTC | Silverback Straddle Plate-posterior TTC, flat or contoured, left or right, Ti | Various lengths | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | ER676 | 1244 | Emergo Asia Pacific Pty Ltd | Gorilla Silverback Spanning Plates-Anterior/Lateral | Silverback Spanning Plates-Anterior/Lateral, flat, standard or long, left or right | 69-109 mm | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.02 - Standard (screw size ≥4.5mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | ER677 | 1244 | Emergo Asia Pacific Pty Ltd | Gorilla Silverback Spanning Plates-Posterior | Silverback Spanning Plates-posterior, flat, standard or long, left or right | various lengths | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.03 - Standard (screw size ≥4.5mm)(including blade) ≥ 16 holes | VAL | ER672 | 1238 | Emergo Asia Pacific Pty Ltd | Paragon Silverback Straddle Plate-lateral TC | Silverback Straddle Plate-lateral TC, long, left or right | one size | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.03 - Standard (screw size ≥4.5mm)(including blade) ≥ 16 holes | VAL | ER673 | 1238 | Emergo Asia Pacific Pty Ltd | Paragon Silverback Straddle Plate-lateral TTC | Paragon Silverback Straddle Plate-lateral TTC, long, left or right. | one size | 289248 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | Com, LK | ZZ103 | 709 | AA-Med Pty Ltd | Merete TTF Anterior Ankle Plate | Anterior Ankle Plates | ≤ 6 holes Left and right | 203737 |  | March 2023 | Transferred from EF001
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | LK | DZ100 | 388 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Small Fragment L&C Plates | Locking Compression Plates | 3.5mm | 276915 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | LK | DZ102 | 388 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Distal Fibula L&C Plates | Distal Fibula Anatomical Locking Plates | 7 to 15 holes, left and right | 284755 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.16 - Periarticular anatomic - Clavicle plate ≤ 6 holes | LK | DZ105 | 1261 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Clavicle L&C Plates | Clavicle Hook Locking Plates | ≤ 6 holes | 276915 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.17 - Periarticular anatomic - Clavicle plate ≥ 7 to ≤ 15 holes | LK | DZ101 | 1466 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Clavicle L&C Plates | Hook Clavicle Locking Plates | 7-15 Holes | 276915 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.21 - Periarticular anatomic - Humerus ≥ 16 holes | VAL | ZA116 | 1643 | Zimmer Biomet Pty Ltd | ALPS Elbow System | Humeral Titanium Plates | ≥ 16 holes | 209306 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.27 - Periarticular anatomic - Ulna ≥ 16 holes | VAL | ZA118 | 1433 | Zimmer Biomet Pty Ltd | ALPS Elbow System | Ulna Titanium Plates | ≥16 holes | 209306 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.39 - Periarticular anatomic - Tibia ≥ 7 to ≤ 15 holes | LK | DZ103 | 1182 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Proximal Tibia L&C Plates | Posterior, Lateral, Medial Proximal Tibial Plates | 7 to 15 holes | 284755 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.40 - Periarticular anatomic - Tibia ≥ 16 holes | LK | DZ104 | 1349 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Proximal Tibia L&C Plates | Lateral, Medial Proximal Tibial Plates | ≥16 Holes | 284755 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | CN,DT | ZZ105 | 351 | AA-Med Pty Ltd | Merete - Cannulated HCS (headless Compression Screws) 6.5mm | Bone screws, Titanium, Cannulated Compression | Diameter + 6.5mm, length 40-120mm (in 5mm increments) | 212520 |  | March 2023 | Transferred from EF004
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | ZZ104 | 121 | AA-Med Pty Ltd | Merete - MetaFix LS - Locking Screws | Bone screws, Titanium, Locking | 2.71mm - 4.49mm diameter, lengths 12 - 48mm | 212520 |  | March 2023 | Transferred from EF006
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | DZ099 | 63 | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD | Austofix Small Fragment System | Cortex/Cancellous Screws | 3.5mm width, 12-50mm length 4.0mm width, 12-60mm length | 284755 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.10 - Screw Accessories - Caps |  | MA554 | 102 | Mathys Orthopaedics Pty Ltd | Affinis Inverse cap | Titanium screw locking cap | one size | 241996 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | ZA119 | 442 | Zimmer Biomet Pty Ltd | JuggerLoc Bone-to-Bone | Ankle Syndesmosis Fixation Device | 2.9mm | 404670 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | BW027 | 442 | STABLE ORTHOPAEDICS PTY LTD | Knotless Bioabsorbable Ligament Anchor | Knotless Bioabsorbable Ligament Anchor | Diameter (mm) 4.75 - 5.5 | 393986 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | BW028 | 442 | STABLE ORTHOPAEDICS PTY LTD | BIO-VIM Bioabsorbable Ligament Anchor | Bioabsorbable Ligament Anchor | Diameter (mm) 4.5 - 5.5 | 393985 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | PJ055 | 442 | PurePlay Orthopaedics | X-twist Knotless Suture Anchor | Knotless open architecture and fast inserting suture anchor system with multiple sliding suture or tissue sparing tape configurations and is available in PEEK Optima in 4.75mm, 5.5mm and 6.25mm diameters. The Anika X-Twist system is designed to be used in both single row and double row rotator cuff repairs as well as other knotless or knotted soft tissue repairs. | 4.75mm. 5.5mm, 6.25mm | 393388 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU329 | 374 | ARTHREX AUSTRALIA PTY LTD | Knotless AC Open Repair Implant | Titanium or stainless steel fixation device, with nonabsorbable suture material | 2.6mm – 3.2mm, adjustable length suture | 385940 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | LV154 | 374 | ConMed Linvatec Australia Pty Ltd | Xiros Secure-Loop with Button | The SECURE-LOOP fixation device consists of a sterile and non-absorbable polyester continuous loop captured on a titanium alloy button. The button sits on the exit to a bone tunnel on the cortex, suspending the continuous loop inside the tunnel to provide secure, strong fixation for ligament reconstruction. The SECURE-LOOP fixation device is supplied with sutures that are used to pull the graft assembly into place andthen flip the button, allowing ligament reconstruction to be performedarthroscopically. The SECURE-LOOP has been designed to be implantable using generic ACL guidewire systems and a standard technique. Thesuture meets applicable specifications established by the United States Pharmacopeia (USP) for nonabsorbable surgical sutures. The fixation device is made of titanium alloy which meets ISO 5832-3. | 10 mm 15 mm 20 mm 25 mm 30 mm 35 mm 40 mm 45 mm 50 mm 55 mm 60 mm | 395354 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | ZA117 | 374 | Zimmer Biomet Pty Ltd | OrthoButton AL | Consists of a metal plate, suture loop and non-absorbable sutures and a braided ultra-high molecular weight polyethylene | Self-adjusting loop covering 15 to 60mm ACL loop repair diameters | 397951 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | HU330 | 457 | ARTHREX AUSTRALIA PTY LTD | FastThread | BioComposite Interference Screw | Length: 20mm-30mm Diameter: 6mm- 12mm | 398151 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc | AUG | BX351 | 1026 | Baxter Healthcare Pty Ltd | INDUCTIGRAFT | Silicate Substituted Calcium Phosphate Bone Graft Substitute, 82.5% Porosity | 0-5ML | 402036 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc | AUG | IY073 | 1026 | EVOLUTION SURGICAL PTY LTD | BioSphere Putty | Bone Graft Substitue - Bioactive Glass Putty | 1cc, 2.5cc, 5cc | 297474 |  | March 2023 | Transferred from DR002
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc | AUG | BX350 | 2185 | Baxter Healthcare Pty Ltd | INDUCTIGRAFT | Silicate Substituted Calcium Phosphate Bone Graft Substitute, 82.5% Porosity | 10ML | 402036 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc | AUG | IY074 | 2185 | EVOLUTION SURGICAL PTY LTD | BioSphere Putty | Bone Graft Substrate - Bioactive Glass | 6cc-10cc | 297474 |  | March 2023 | Transferred from DR003
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc | AUG | BX349 | 4370 | Baxter Healthcare Pty Ltd | INDUCTIGRAFT | Silicate Substituted Calcium Phosphate Bone Graft Substitute, 82.5% Porosity | 20ML | 402036 |  | March 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.17 - Tumour / Limb Deficiency | 06.03.17.24 - Humeral Collar Round Smooth |  | FA036 | 2200 | EXACTECH AUSTRALIA PTY LTD | Equinoxe HRP Distal Stem Collar | Distal stem collar is used with the distal stems to provide external fixation and rotational stability within the intramedullary canal. | 17.5 - 33.5 | 396475 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.12 - 1.0-1.99mm thick, 16-32 holes | Locking | ZZ102 | 798 | AA-Med Pty Ltd | Materialise Standard+ Solutions - Plates | Titanium Plate, Locking | 1.0mm-1.99mm thick, 16-32 holes | 377044 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.05 - Plate | Biomodelled | KT095 | 3510 | KLS Martin Australia Pty Limited | IPS Implants® – Patient-Specific Implants | IPS patient specific maxilla complex locking reconstruction plate | Custom made - patient specific | 96619 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.01 - Permanent |  | HD031 | 171 | Henry Schein-Halas Pty Ltd | CAMLOG Conelog Progressive Line - Multi Unit Abutment | Titanium abutments used for multiple-unit restorations. Includes straight, 17 and 30 degree abutments. Comes with a cover cap | Collar height: 1.0 - 5.0mm. Angles: Straight,17 and 30 degrees | 343993 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.02 - Temporary |  | HD032 | 68 | Henry Schein-Halas Pty Ltd | CAMLOG Conelog Progressive Line - Healing Abutment | Temporary healing abutment for Camlog Conelog implant. Sterile. | Shape: Cylindrical, Wide body, Bottle neck Height: 2-6mm | 378911 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.02 - Temporary |  | IC006 | 68 | Southern Implants Australia Pty Ltd | Southern Implants Healing Abutments | Titanium healing abutment that sculpts and prepares soft tissue | Emergence profiles: Narrow - Wide Diameter 3.0 - 8.0mm Height 1.0 - 12mm | 197727 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.01 - Abutment | 07.03.01.03 - Cover Screw/Cap |  | IC007 | 48 | Southern Implants Australia Pty Ltd | Southern Implants Cover Screw | Titanium covering cap/screw | Platforms from 3 - 9mm Length <1mm | 197727 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | HD030 | 351 | Henry Schein-Halas Pty Ltd | Camlog Conelog Progressive Line Implant | Bone-level CONELOG PROGRESSIVE conically tapered implant designed for high primary stability in all bone types. Other features include sand-blasted and acid etched surface and proven deep conical connection with integrated platform switching. | Diameters: 3.3, 3.8, 4.3, 5.0. Length: 7, 9, 11, 13, 16mm | 378610 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures |  | HD033 | 351 | Henry Schein-Halas Pty Ltd | BioHorizons PTG Implant | BioHorizons Tapered PTG implants support full-arch treatment in severely resorbed maxillae and provide an alternative to grafting, potentially expediting treatment. Tapered PTG Implant is narrow, dual tapered shape which is designed for precise placement. This approach maximizes AP spread for full arch restorations, while maintaining high implant stability. Cover screw included. | Body diameter: 4.2mm. Apex diameter: 2.2mm. Platform diameter: 3.5mm. Body length: 15-18mm. | 126233 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.05 - Graft Material 0.5ml-<1.0ml |  | GI032 | 293 | Geistlich Pharma Australia Pty Ltd | Bio-Oss | Natural bone mineral derived from bovine bone | 0.25 to 1mm; 0.25g (0.5125cc) | 229987 |  | March 2023 | New Listing
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.01 - <50cm² |  | DE802 | 877 | Device Technologies Australia Pty Ltd | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation. | Width (mm) 37-52 (mm) Length (mm) 52-74 (mm) Thickness 1(mm) | 370020 |  | March 2023 | Transferred from FC018
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.03 - 150-400cm² |  | DE803 | 1697 | Device Technologies Australia Pty Ltd | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation. | Width (mm) 148 (mm) Length (mm) 105 (mm) Thickness 1 -2(mm) | 370020 |  | March 2023 | Transferred from FC017
07 - Plastic and Reconstructive | 07.05 - SOFT TISSUE & TISSUE EXPANDERS | 07.05.03 - Skin, Artificial | 07.05.03.04 - >400cm² |  | DE804 | 3296 | Device Technologies Australia Pty Ltd | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation | Width (mm) 210 (mm) Length (mm) 297 (mm) Thickness 1-2 (mm) | 370020 |  | March 2023 | Transferred from FC019
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d | RF052 | 29250 | MICROPORT CRM PTY LIMITED | ULYS™ VR 2210 | Single chamber implantable cardioverter defibrillator | Weight - 85g Volume - 33cc | 400117 |  | March 2023 | New Listing
08 - Cardiac | 08.01 - Single Chamber ICDs | 08.01.02 - Features of 8.1.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a, d, e | RF049 | 29750 | MICROPORT CRM PTY LIMITED | Ulys™ VR 2240 | MRI Conditional Single Chamber Cardioverter Defibrillator | Weight - 84g Volume - 31.2 cc | 400118 |  | March 2023 | New Listing
08 - Cardiac | 08.02 - Dual Chamber ICDs | 08.02.02 - Features of 8.2.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d | RF045 | 31389 | MICROPORT CRM PTY LIMITED | Ulys™ DR 2510 | Dual chamber implantable cardioverter defibrilator | Weight: 86g Volume: 33cc | 400134 |  | March 2023 | New Listing
08 - Cardiac | 08.02 - Dual Chamber ICDs | 08.02.02 - Features of 8.2.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | RF051 | 31888 | MICROPORT CRM PTY LIMITED | Ulys™ DR 2540 | MRI compatible dual chamber cardioverter defibrillator with DF-4 connector. | Weight - 86g Volume - 33cc | 400135 |  | March 2023 | New Listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d | RF050 | 34632 | MICROPORT CRM PTY LIMITED | Gali™SonR CRT-D 2811 | Implantable cardioverter defibrillator with cardiac resynchronisation therapy and SonR optimisation | Weight - 86g Volume - 33cc | 400141 |  | March 2023 | New Listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | RF046 | 35132 | MICROPORT CRM PTY LIMITED | Gali™ 4LV SonR CRT-D 2844 | Implantable cardioverter defibrillator with cardiac resynchronisation therapy and DF4 connector | Weight- 91g Volume - 33.7cc | 400140 |  | March 2023 | New Listing
08 - Cardiac | 08.03 - ICDs with CRT | 08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto capture threshold test, lead impedance test, wireless remote analysis |  | a,d,e | RF048 | 35132 | MICROPORT CRM PTY LIMITED | Gali™ SonR CRT-D 2841 | Implantable cardioverter defibrillator with cardiac resynchronisation therapy and DF4 connector | Weight - 87g Volume - 33cc | 400139 |  | March 2023 | New Listing
08 - Cardiac | 08.08 - Pacemaker Leads | 08.08.11 - Transvenous, Multi-Polar, Passive, Steroid, Left Ventricular |  |  | RF047 | 4156 | MICROPORT CRM PTY LIMITED | NAVIGO™ 4LV | MRI IS4 Quadripolar left ventricular pacing lead | 78cm, 88cm | 396631 |  | March 2023 | New Listing
08 - Cardiac | 08.11 - Pacemaker/Lead Accessories | 08.11.01 - Pacemaker/Lead Accessories |  |  | SJ480 | 54 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Pacing Lead Suture Sleeve | Suture sleeve used to provide secure fixation and protection of pacing/ICD leads | One size only, 6F | 393221 |  | March 2023 | New Listing
08 - Cardiac | 08.13 - Special Purpose Percutaneous Cardiovascular Devices | 08.13.01 - Cardiac Defect Occluders |  | o | SJ479 | 7436 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | Amplatzer Talisman PFO Occluder | Nitinol wire mesh | 18-35mm | 398663 |  | March 2023 | New Listing
09 - Cardiothoracic | 09.01 - Mechanical Valves | 09.01.01 - Bi-Leaflet, rotatable |  |  | JS004 | 5275 | CORCYM AUSTRALIA PTY LTD | Carbomedics Standard Mitral M700 - Prosthesis, internal, valve, cardiac, artificial | Prosthesis, internal, valve, cardiac, artificial | 16.2 18.8 21.8 23.8 25.8 27.8 29.8 31.8 | 147290 |  | March 2023 | New Listing
10 - Vascular | 10.02 - Stent Grafts | 10.02.03 - Tube (Aorto-uni-iliac) |  |  | JY006 | 9206 | CRYOLIFE MEDICAL (AUSTRALIA) COMPANY PTY LTD | E-tegra Aorto-Uni-Iliac | E-tegra Stent Graft System - AUI | Length (covered): 105mm Diameter (proximal): 23-36mm Diameter (distal): 13mm | 388371 |  | March 2023 | New Listing
10 - Vascular | 10.02 - Stent Grafts | 10.02.04 - Bifurcated | 10.02.04.02 - Body and 1 limb |  | JY007 | 8082 | CRYOLIFE MEDICAL (AUSTRALIA) COMPANY PTY LTD | E-tegra Main Body | E-tegra Stent Graft system - Bifurcated Graft Main Body | Diameters 23-36mm (proximal) Length: 100-160mm (covered) Length: 85, 100mm (trunk), Diameter : 13,16,19mm (distal) | 388374 |  | March 2023 | New Listing
10 - Vascular | 10.02 - Stent Grafts | 10.02.07 - Accessory Component (Aortic) | 10.02.07.02 - Abdominal |  | JY005 | 2306 | CRYOLIFE MEDICAL (AUSTRALIA) COMPANY PTY LTD | E-tegra Aortic Extension | E-tegra Stent Graft System - Aortic Extension | Length: 50mm Diameter (proximal): 23-38mm Diameter (distal): 23-38mm | 388372 |  | March 2023 | New Listing
10 - Vascular | 10.02 - Stent Grafts | 10.02.08 - Accessory Component (Other including iliac limb and extension) |  |  | JY003 | 2986 | CRYOLIFE MEDICAL (AUSTRALIA) COMPANY PTY LTD | E-tegra Contralateral Leg | E-tegra Stent Graft System - Contralateral Leg | Diameter (Proximal): 15mm Diameter (Distal): 10-25mm Length (Useable): 50-105mm Length (Total): 80-135mm | 388370 |  | March 2023 | New Listing
10 - Vascular | 10.02 - Stent Grafts | 10.02.08 - Accessory Component (Other including iliac limb and extension) |  |  | JY004 | 2986 | CRYOLIFE MEDICAL (AUSTRALIA) COMPANY PTY LTD | E-tegra Iliac Extension | E-tegra Stent Graft System - Iliac Extension | Diameter (distal): 10-27mm Diameter (proximal): 13-27 Length (usable): 50mm Length (total): 80mm | 388373 |  | March 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma | SCP | WN001 | 3727 | PERMEDICA AUSTRALIA PTY LTD | Permedica Exacta Femoral Stem HaX-Pore -Press-fit hip femur | The Permedica Exacta HaX-Pore Femoral stem is a press-fit stem with pure titanium and hydroxyapatite coating. It is a self-locking stem with longitudinal and transverse grooves on the anterior and posterior surface to provide axial and rotational stability. The stem is manufactured using Titanium Aluminium Niobium forged alloy (Ti6AI7Nb) ISO5832/11 with a surface finish of 300 micron pure Titanium and a 50 micron hydroxyapatite plasma sprayed coating. | Sized 1-12 Angle (in degrees) 127 degrees and 135 degrees | 220150 |  | March 2023 | Transferred from RL004
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | MU188 | 3727 | Medacta Australia Pty Ltd | Masterloc Stems - Ti + HA | Cementless Femoral Stem - Ti + HA Coated | 1 to 12 - Std 1 to 14 - Lat. 4 to 14 - Lat Plus | 286795 |  | March 2023 | New Listing
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.01 - Conventional Femoral Heads, ≤32mm | 11.02.01.05 - Ceramic Mix |  | WN004 | 1703 | PERMEDICA AUSTRALIA PTY LTD | Mac Surgical BIOLOX Delta ceramic heads 28mm and 32mm | BIOLOX Delta ceramic heads | T28mm and 32mm is available with a diameter of 28 and 32mm. The 28mm diameter is availble in 3 different head-neck lengths ( Short, medium long). The 32mm diameter lengths (short, medium long, X-long) | 230837 |  | March 2023 | Transferred from RL002
11 - Hip | 11.02 - FEMORAL HEADS | 11.02.02 - Conventional Femoral Heads, >32mm | 11.02.02.05 - Ceramic Mix |  | WN005 | 1829 | PERMEDICA AUSTRALIA PTY LTD | Mac Surgical BIOLOX Delta Ceramic Heads 36mm and 40mm | BIOLOX Delta Ceramic Heads 36mm and 40mm | 36mm and 40mm - both diameters are available in 4 different nead-neck-lengths (short, Medium, Long, X-Long) | 230837 |  | March 2023 | Transferred from RL001
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.03 - Shells, Uncemented, HA | 11.03.03.04 - Plasma |  | WN002 | 2137 | PERMEDICA AUSTRALIA PTY LTD | Permedica JUMP System Acetabular Cup HaX-Pore - Acetabular Shell | This acetabular component is for un-cemented applications and is coated with a titanium plasma spray and hydroxyapatite coating. Anchorage of the device to the bone is by press-fit insertion which can be augmented with cancellous bone screws and the screw holes can be sealed with special plugs. The acetabular shell is a hemispherical shape with polar deflection and is used in combination with an articular liner, a femoral ball head and a femoral stem. | 44mm - 70mm in 2mm increments | 234000 |  | March 2023 | Transferred from RL007
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.02 - Modified polyethylene |  | WN003 | 931 | PERMEDICA AUSTRALIA PTY LTD | Vital-XE Acetabular Liner | Crosslinked UHWMPE with Vitamin E | 28mm, 32mm, 36mm, 40mm, Angles 0, 10, 20 degrees. | 382990 |  | March 2023 | Transferred from RL008
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.06 - Ceramic Mix |  | WN006 | 1937 | PERMEDICA AUSTRALIA PTY LTD | MAC Surgical Delta Ceramic Liner | Biolox delta ceramic liner | Available in 10 different sizes (4 diameters for the articulating surface) | 230838 |  | March 2023 | Transferred from RL003
11 - Hip | 11.04 - ACCESSORIES | 11.04.03 - Bone Screw |  |  | WN007 | 112 | PERMEDICA AUSTRALIA PTY LTD | Orthopaedic bone screw, non-biodegradable | Acetabular shell cancellous bone screw | 8 x sized from 20mm - 60mm | 237105 |  | March 2023 | Transferred from RL006
11 - Hip | 11.04 - ACCESSORIES | 11.04.14 - Plug - Including Dome Plug |  |  | LI122 | 135 | Amplitude Australia | Amplitude C2 Acetabular Cup Base Hole Cover | Titanium Base Hole Cover | One size only | 368571 |  | March 2023 | New Listing
11 - Hip | 11.04 - ACCESSORIES | 11.04.14 - Plug - Including Dome Plug |  |  | WN008 | 135 | PERMEDICA AUSTRALIA PTY LTD | Acetabulum prosthesis apical hole plug | This is a screw hole plug intended to close the screw holes of a two-piece acetabular prosthesis. It is screwed into place after implantation of the acetabular component at the discretion of the surgeon. | One size M10 screw hole plug | 237111 |  | March 2023 | Transferred from RL005
11 - Hip | 11.04 - ACCESSORIES | 11.04.20 - Spacer- Unique |  |  | UK031 | 1309 | The Trustee for Giorgios and Katarina Loizou Family Trust | Spacer-G Flat Stem | Temporary implantable device for the treatment of infected total hip replacement, Composition - stainless steel core surrounded by PMMA impregnated with Gentamicin. | 46 mm head - 96mm flat stem 54 mm head - 94 mm flat stem 60 mm head - 96mm flat stem 46 mm head - 211mm flat stem 54 mm head - 209mm flat stem 60 mm head - 211mm flat stem | 387273 |  | March 2023 | New Listing
12 - Knee | 12.08 - PATELLAR COMPONENT | 12.08.03 - Uncemented, Polyethylene, Metal Backed | 12.08.03.02 - Moulded |  | JV019 | 431 | Stryker Australia Pty Ltd | Triathlon Tritanium Metal Backed Patella | Patella component, Metal backed, Tritanium, uncemented, Moulded UHMWPE (N2VAC) | 29mm - 40mm | 284592 |  | March 2023 | New Listing
12 - Knee | 12.11 - KNEE ACCESSORIES | 12.11.08 - Pegs, lugs, etc |  |  | GO314 | 123 | Global Orthopaedic Technology | Apex Revision Knee - Tibial Insert Locking Peg/Bolt | Tibial Insert Locking Peg/Bolt | 10; 11; 12; 14; 16; 18; 20; 24 and 28mm | 276775 |  | March 2023 | Transferred from GO262
13 - Spinal | 13.01 - Bone Screws | 13.01.01 - Pedicle, Monoaxial |  | Cannulated | IY091 | 889 | EVOLUTION SURGICAL PTY LTD | Z-Medical Pedicle Screw System - Pedicle Screws, Monoaxial | Z-Medical Pedicle Screw System - Pedicle Screws, Monoaxial, Cannulated | Dia (5-8)mm x Length (35-55)mm | 343676 |  | March 2023 | Transferred from DR036
13 - Spinal | 13.01 - Bone Screws | 13.01.01 - Pedicle, Monoaxial |  |  | IY075 | 789 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Pedicle Screw, Monoaxial | Life Spine Pedicle Screw System - Pedicle Screw, Monoaxial, Standard/Reduction | dia (4.5-8.5)mm x length (30-125)mm | 321122 |  | March 2023 | Transferred from DR005
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | IY066 | 1178 | EVOLUTION SURGICAL PTY LTD | Ulrich Medical Pedicle Screw System - Pedicle Screws, polyaxial, cannulated | Ulrich Medical Pedicle Screw System - Pedicle Screws, polyaxial, cannulated | 4.5-10.0mm | 365230 |  | March 2023 | Transferred from DR048
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | IY076 | 1178 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Pedicle Screw, Polyaxial, Cannulated | Life Spine Pedicle Screw System (Nautilus, Avatar)-Pedicle Screw, Polyaxial, Cannulated, | dia (4.5-10 mm) x length (25-125 mm) | 321122 |  | March 2023 | Transferred from DR006
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | IY089 | 1178 | EVOLUTION SURGICAL PTY LTD | Z-Medical Pedicle Screw System - Pedicle Screws, Cannulated | Z-Medical Pedicle Screw - Cannulated (polyaxial and uniplanar) | Dia. (5-8)mm x Length (35-55)mm | 343676 |  | March 2023 | Transferred from DR034
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | JQ037 | 1178 | DAVID LE CHEMINANT | Invictus Polyaxial Pedicle Screw | Cannulated, complete polyaxial screw, Ti Alloy | ( 4.5 -10.5 )mm diameter x (20-130)mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | JQ038 | 566 | DAVID LE CHEMINANT | Invictus Shank | Polyaxial , solid or cannulated Ti Alloy | (4-12.5)mm dia x (20-130)mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | MI503 | 566 | Medtronic Australasia Pty Ltd | PASS Polyaxial Spinal System - Pedicle Screws | Polyaxial Pedicle Screws | 4.5 to 7.5mm diameter | 295277 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | IY083 | 1111 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Pedicle Screw, Polyaxial | Life Spine Pedicle Screw System (Nautilus) - Pedicle Screw, Polyaxial Standard or Reduction | dia (4.5-8.5mm) x length (25-125mm) | 321122 |  | March 2023 | Transferred from DR013
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | JQ041 | 1111 | DAVID LE CHEMINANT | Invictus Polyaxial Pedicle Screw | Polyaxial or Favoured Angle (Medial /Lateral or Cranial/Caudal) Pedicle Screw , Full or Partial Thread. Ti Alloy | (3.5 - 12.5)mm x (8-130)mm | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Cannulated | JQ052 | 180 | DAVID LE CHEMINANT | IdentiTi ALIF Standalone Interbody System | Fixation Bolt, Ti Alloy Cannulated | (8.5 - 9) mm diameter x (25 -35)mm length | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | PZ058 | 417 | Prism Surgical Designs Pty Ltd | Aurora Spinal System | Dual thread screw | 5.5-6.0mm diameter x 24-28mm length | 335884 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | IY056 | 186 | EVOLUTION SURGICAL PTY LTD | Tesera Screws | Tesera Fusion Cage Screws | Dia. (3.5 - 5.0mm) x (12-35mm) Length | 354092 |  | March 2023 | Transferred from DR039
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | IY064 | 186 | EVOLUTION SURGICAL PTY LTD | Bone Screw | Bone screw, Dual Thread | Diameter (4.0mm); Length (20-35mm) | 330365 |  | March 2023 | Transferred from DR041
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | IY065 | 186 | EVOLUTION SURGICAL PTY LTD | Bone Screws | Bone Screws | 3-4mm, 12-14mm | 330365 |  | March 2023 | Transferred from DR042
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | IY087 | 186 | EVOLUTION SURGICAL PTY LTD | Choice Spine Cervical Screw | Screw for cervical plate (Variable, Fixed & Rescue) | 4.0mm - 4.5mm x 10mm - 18mm | 330080 |  | March 2023 | Transferred from DR032
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ021 | 186 | DAVID LE CHEMINANT | Insignia Anterior Cervical Plating System | Screw, fixed/variable angle, Self-drilling/Self Tapping. single lead Ti Alloy | (4.0-4.5)mm diameter x (10-18)mm length | 398575 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ022 | 186 | DAVID LE CHEMINANT | Insignia Anterior Cervical Plating System | Screw, fixed/variable angle, Self-drilling/Self Tapping. Dual lead Ti Alloy | (4 - 4.5)mm diameter x (10- 18)mm length | 398575 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ023 | 186 | DAVID LE CHEMINANT | AMP Screw | Bone Screw; Ti Alloy | (5.5- 6.5)mm Diameter x (25 - 65)mm length | 398793 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ049 | 186 | DAVID LE CHEMINANT | Invictus Occipital Screw | Occipital Screw Ti Alloy | (4.5 - 5.0)mm diameter x (6-16)mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ051 | 186 | DAVID LE CHEMINANT | IdentiTi ALIF Standalone Interbody System | Fixation Screw, Ti alloy | (5 - 6)mm diameter x (25 - 35)mm length | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ053 | 186 | DAVID LE CHEMINANT | IdentiTi Cervical SA Bone Screw | Cervical SA Bone Screw, Self Drilling/ Self Tapping, Dual Lead. Ti Alloy | (3.5 - 4.0)mm diameter x (10-16)mm length | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | JQ055 | 186 | DAVID LE CHEMINANT | IdentiTi Cervical SA Bone Screw | Cervical SA Bone Screw, Self/Drilling / Self Tapping , Single Lead Ti Alloy | (3.5 - 4)mm diameter x (12-18)mm length | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | MI501 | 186 | Medtronic Australasia Pty Ltd | Centerpiece 2.0 – Bone Screw | Bone screws | Diameter (2.0mm-2.4mm); Length (3mm-9mm) | 169514 |  | March 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | IY068 | 148 | EVOLUTION SURGICAL PTY LTD | Ulrich Medical Pedicle Screw System - Locking Screw | Ulrich Medical Pedicle Screw System - Locking Screw | One Size | 365230 |  | March 2023 | Transferred from DR050
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | IY078 | 148 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Locking Cap | Life Spine Screw System (Nautilus, Avatar) - Locking Caps | One Size | 321122 |  | March 2023 | Transferred from DR008
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | IY090 | 148 | EVOLUTION SURGICAL PTY LTD | Z-Medicle Pedicle Screw System - Locking Screw | Z-Medicle Pedicle Screw System - Locking Screw | One Size | 343676 |  | March 2023 | Transferred from DR035
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | JQ024 | 148 | DAVID LE CHEMINANT | AMP Plate Centre Screw | Cage locking Screw , Ti Alloy | 10-20mm length | 398793 |  | March 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | JQ042 | 148 | DAVID LE CHEMINANT | Invictus Set Screw | Locking Set Screw Ti Alloy | 3.5mm - 6.5mm polyaxial screw set screws, open or closed | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | IY057 | 391 | EVOLUTION SURGICAL PTY LTD | Tesera Locking Plate | Locking Plate for Tesera Cage Systems | N/A | 354092 |  | March 2023 | Transferred from DR038
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | JQ039 | 391 | DAVID LE CHEMINANT | Invictus OCT Tulip | Occipital Plate Tulip, Ti Alloy | Single or Dual Tulip | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.04 - Cap/Cover Plate, Complex |  |  | JQ025 | 560 | DAVID LE CHEMINANT | AMP Plate | Antmigration Plate for ATEC Cages, Ti Alloy | Size 4 to 23 - (19.35 to 36.3)mm length, 1 or 2 screw hole. | 398793 |  | March 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.05 - Block/Screw head |  |  | JQ040 | 686 | DAVID LE CHEMINANT | Invictus Modular Tulip | Polyaxial. Ti Alloy | Std, std Reduction, Extended tab reduction | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | IY082 | 668 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Inline Connector | Life Spine Pedicle Screw System - Inline Connector, Axial or Parallel | Inline, Slimline, Domino or Wedding Band (3.5-5.5)mm | 321122 |  | March 2023 | Transferred from DR012
13 - Spinal | 13.03 - Connector | 13.03.01 - In-Line |  |  | JQ047 | 668 | DAVID LE CHEMINANT | Invictus Inline Connector | Open/Open , Open/Closed, Open/Side Loading, Domino, Satellite Tulip. Ti Alloy | (3.5 -3.5)mm, (3.5 - 5.5)mm rod diameter, (11-18) mm centre to centre, (30-60)mm connector length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | IY070 | 705 | EVOLUTION SURGICAL PTY LTD | Ulrich Medical Pedicle Screw System - Connectors | Ulrich Medical Pedicle Screw System - Connectors | 4.0mm-6.0mm | 365230 |  | March 2023 | Transferred from DR052
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | IY081 | 705 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Offset Connector | Life Spine Pedicle Screw System - Offset Connector (Open or Closed) | dia 5.5mm x length (20-40)mm | 321122 |  | March 2023 | Transferred from DR011
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | JQ045 | 705 | DAVID LE CHEMINANT | Invictus Offset Connector | Side Loading or Open or Closed or Offset .Ti Alloy, CoCr | 10-200mm | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.01 - Fixed |  | JQ046 | 389 | DAVID LE CHEMINANT | Invictus Cross Connector | (Head to Head) or (Rod To Rod) Fixation Style, Adjustable, Ti Alloy | (9-101)mm width +/- 3mm travel | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | IY069 | 1175 | EVOLUTION SURGICAL PTY LTD | Ulrich Medical Pedicle Screw System - Crosslinks | Ulrich Medical Pedicle Screw System - Crosslinks | XXS-XL | 365230 |  | March 2023 | Transferred from DR051
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | IY079 | 1175 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Transverse Connectors, Adjustable | Life Spine Pedicle Screw System - Transverse Connectors, Adjustable. Arched or Straight | Closed (25-90)mm x Open (32-100)mm | 321122 |  | March 2023 | Transferred from DR009
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | IY080 | 756 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Hooks | Life Spine Pedicle Screw System - Hooks (Pedicle, Laminar, Offset Left/Right) | Small, Medium & Large in Standard, Wide, Narrow & Reduced | 321122 |  | March 2023 | Transferred from DR010
13 - Spinal | 13.04 - Hook | 13.04.01 - Hook |  |  | JQ036 | 756 | DAVID LE CHEMINANT | Invictus TL Hooks | Lamina, Pedicle, Offset, Angled Ti Alloy | (5.5 - 6.0)mm rod diameter x 5.5 - 12.5 mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | IY085 | 1238 | EVOLUTION SURGICAL PTY LTD | Choice Spine Cervical Plate 55+ | Anterior Cervical Fusion Plate | Plate Lengths 57mm to 105mm (Three, Four and Five Level Plates) | 330080 |  | March 2023 | Transferred from DR028
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | JQ020 | 1238 | DAVID LE CHEMINANT | Insignia Anterior Cervical Plating System | Plate, 3 - 5 level, Ti Alloy | > 55mm length | 398575 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | IY086 | 1180 | EVOLUTION SURGICAL PTY LTD | Choice Spine Cervical Plate | Anterior Cervical Fusion Plate | Plate Lenths 10mm to 54mm (One, Two & Three Level Plates) | 330080 |  | March 2023 | Transferred from DR029
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | JQ019 | 1180 | DAVID LE CHEMINANT | Insignia Anterior Cervical Plating System | Plate, 1-3 level, Ti Alloy | 16 - 54mm length | 398575 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | LM533 | 1180 | LMT Surgical Pty Ltd | Oryx Cervical Plate System | Titanium Cervical Plate System | 57-85mm | 375676 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | LM534 | 1180 | LMT Surgical Pty Ltd | Oryx Cervical Plate System | Titanium Cervical Plate | 8-54mm | 375676 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.02 - ThoracoLumbar |  | PZ057 | 2039 | Prism Surgical Designs Pty Ltd | Aurora Spinal System | Thoracolumbar Plate | 17-27mm | 335884 |  | March 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.03 - Occipital |  | JQ048 | 1897 | DAVID LE CHEMINANT | Invictus Occiptal Plate | Occipital Plate ,Ti Alloy | 48 - 66 mm | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Dual Diameter | IY077 | 467 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Rod, Dual Diameter | Life Spine Pedicle Screw System (Nautilus, Avatar) - Rod, Dual Diameter | (3.5-5.5) Various Lengths | 321122 |  | March 2023 | Transferred from DR007
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Dual Diameter | JQ044 | 467 | DAVID LE CHEMINANT | Invictus Dual Diameter Rod | Straight, Dual Diameter , Ti Alloy or CoCr | (3.5 or 4.0 or 5.5 )mm to (5.5 or 6.0)mm diameters x (200 - 600) mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Shaped | JQ035 | 555 | DAVID LE CHEMINANT | Invictus Shaped Rod | OCT Prebent, S, Z and J rods | (5.5 - 6.0)mm diameter x (300-600)mm lemgth , CoCr Ti Alloy | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | IY067 | 373 | EVOLUTION SURGICAL PTY LTD | Ulrich Medical Pedicle Screw System - Rods | Ulrich Medical Pedicle Screw System - Rods | 5.5/6.0 - 35mm-500mm | 365230 |  | March 2023 | Transferred from DR049
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | IY084 | 373 | EVOLUTION SURGICAL PTY LTD | Life Spine Pedicle Screw System - Rods | Life Spine Pedicle Screw System (Naultilus, Avatar) - Rods, Straight, Curved and Deformity, open or percutaneous (Ti or CoCr). | dia. (5.5) x length (25-600) | 321122 |  | March 2023 | Transferred from DR014
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | IY088 | 373 | EVOLUTION SURGICAL PTY LTD | Z-Medical Pedicle Screw System - Rods | Z-Medical Pedicle Screw System - Rods 5.5mm, Straight & Curved (Open or Percutaneous) | dia (5.5)mm x length (20-500)mm | 343676 |  | March 2023 | Transferred from DR033
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | JQ043 | 373 | DAVID LE CHEMINANT | Invictus Rod | Rod, straight, curved Ti Alloy or CoCr | (3.5 - 6.0) mm diameter x (20-600)mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.03 - Dual Unit | 13.06.03.02 - Occipital |  | JQ034 | 1711 | DAVID LE CHEMINANT | Invictus Hinged Rod | Hinged Rod. Ti Alloy | Cranial: (3.5, 4.0) mm diameter x 90mm length Caudal, (3.5, 4.0)mm diameter x 210mm length | 398576 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | IY052 | 4162 | EVOLUTION SURGICAL PTY LTD | Mako ACDF Cage | ACDF Locking Cage | Small, Medium, Large, Extra-Large 6 and 9 degrees 5mm to 10mm | 393044 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | IY055 | 4162 | EVOLUTION SURGICAL PTY LTD | Tesera SC | Integrated Fusion Cage | Foot Print (16-19mm) Wide x (13.5 - 16mm) Deep x (5-12mm) Height, 2-12 Degrees Lordosis | 354092 |  | March 2023 | Transferred from DR040
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.01 - Cervical |  | IY063 | 4162 | EVOLUTION SURGICAL PTY LTD | Hygro-C Integrated ACDF | Integrated ACDF Cage with screws for Integral Fixation | 14mm-16mm x 16mm-19mm x 4mm-9mm | 330365 |  | March 2023 | Transferred from DR031
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | IY054 | 5949 | EVOLUTION SURGICAL PTY LTD | Tesera SA | Integrated Fusion Cage | Foot Print (30-42mm)x(26-32mm); Height 11-21mm, Lordosis 7-28 Degrees | 354092 |  | March 2023 | Transferred from DR037
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | IY062 | 5949 | EVOLUTION SURGICAL PTY LTD | Hygro-L Stand-alone ALIF | Integrated Titanium ALIF cage with Screws for Integral Fixation | Length (32-38mm) x width (24.5-29mm); heights (12-24mm); lordotic angle (9-27) degrees | 330365 |  | March 2023 | Transferred from DR027
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | FY004 | 2209 | 3-D MATRIX MEDICAL TECHNOLOGY PTY LTD | Novomax Fusion | Cervical Interbody Fusion Device, CaO-SiO2 based glass ceramic | (15 x 13)mm footprint x (5-10)mm height, 3 degree lordosis | 376357 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | JQ030 | 2209 | DAVID LE CHEMINANT | IdentiTi Cervical Porous Ti Interbody System | Spacer, Anterior Ti | (14-20)mm x (12-16)mm footprint x (5-12)mm height x (5-15) degree lordosis | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | JQ032 | 2209 | DAVID LE CHEMINANT | Transcend Nanotec Cervical | Spacer, PEEK Ti Alloy HA | (14-18)mm x (12-16)mm footprint x (5-10)mm height x 7-10) degrees lordosis | 398574 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.01 - Cervical |  | JQ054 | 2209 | DAVID LE CHEMINANT | IdentiTi Cervical SA Spacer | Spacer, Internal Screw Fixation. Ti Alloy | (5 - 10)mm x (14 - 18)mm footprint x (12 - 16)mm height, (7- 15) degrees lordosis | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | IY058 | 2490 | EVOLUTION SURGICAL PTY LTD | Hygro-L PLIF | Titanium lumbar interbody fusion cage PLIF (paired) | Length (22-26mm) x width (11.5mm); heights (7-14mm); lordotic angle (0-12) | 330365 |  | March 2023 | Transferred from DR024
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | IY071 | 2490 | EVOLUTION SURGICAL PTY LTD | Tesera P | Titanium PLIF Cage | Length (22-27mm) x Width (9mm) x Height (7-16mm); Lordotic angle (5-7) Degrees | 354092 |  | March 2023 | Transferred from DR045
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | JQ029 | 2490 | DAVID LE CHEMINANT | IdentiTi PS Porous Ti Interbody System | Spacer, Posterior Straight Ti | 9mm x (22-30)mm footprint x (7-14)mm height x (0-15) degree lordosis | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY059 | 3313 | EVOLUTION SURGICAL PTY LTD | Hygro-L PLIF/TLIF (single) | Titanium lumbar interbody fusion cage PLIF/TLIF (single) | length (30-36mm) x width (11.5-13.5mm) heights (7-14mm); lordosis (0-12) degrees | 330365 |  | March 2023 | Transferred from DR023
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY061 | 3313 | EVOLUTION SURGICAL PTY LTD | Kyocera Lateral Lumbar Interbody System | Lateral Lumbar Interbody Cage | 18-22mm W, 30-60mm L, 8-20mm H | 354092 |  | March 2023 | Transferred from DR047
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY072 | 3313 | EVOLUTION SURGICAL PTY LTD | Tesera T/ST | Titanium TLIF Cage | Length (28-34mm) x Width (10-11mm) x Height (7-16mm) Lordotic angle (0-7) Degrees | 354092 |  | March 2023 | Transferred from DR046
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ018 | 3313 | DAVID LE CHEMINANT | IdentiTi LIF Porous Ti Spacer | IdentiTi Porous Ti Spacer Lateral Ti Interbody, Ti | (4-14)mm x (25-60)mm footprint x (0-30)degree lordosis x (16-26)mm Height | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ026 | 3313 | DAVID LE CHEMINANT | IdentiTi ALIF Porous Ti Interbody System | Spacer, Anterior Lumbar .Ti | (34-42)mm x (24-30)mm footprint x (4-11)mm height x (10-20) degree lordosis | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ027 | 3313 | DAVID LE CHEMINANT | IdentiTi PC Porous Ti Interbody System | Spacer, Posterior Curved, Ti | (9-14)mm x (25-35)mm footprint x (6-15)mm height x (5-15)degree lordosis | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ028 | 3313 | DAVID LE CHEMINANT | IdentiTi PO Porous Ti Interbody System | Spacer, Posterior Oblique, Ti | 10mm x (25-35)mm footprint x (7-15)mm height x (5-15)degree lordosis | 397837 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ031 | 3313 | DAVID LE CHEMINANT | Transcend Lateral | Spacer, PEEK Ti Alloy | (16-26)mm x(25-60)mm Footprint x (4-10)mm height x(0-15)degrees lordosis | 398574 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ033 | 3313 | DAVID LE CHEMINANT | Transcend Nanotec Lateral | Spacer, Lateral, PEEK Ti Alloy HA | (18-22)mm x (45-60)mm footprint x (4-14)mm height x (0-10)degree lordosis | 398574 |  | March 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | JQ050 | 3313 | DAVID LE CHEMINANT | IdentiTi ALIF Standalone Interbody System | Cage, Screw Fixation, Ti Alloy | (34 - 38)mm x (24 - 28)mm footprint x (4- 13)mm height , (10-30) degree lordosis | 397510 |  | March 2023 | New Listing
13 - Spinal | 13.11 - Disc Replacement | 13.11.01 - System | 13.11.01.01 - Cervical |  | ER675 | 6021 | Emergo Asia Pacific Pty Ltd | SIGNUS ROTAIO | Cervical Disc Prosthesis | Footprint: width × depth (mm): 15×13; 17×13; 17×15, 19×15 Height: 5-6 mm | 216748 |  | March 2023 | New Listing
13 - Spinal | 13.11 - Disc Replacement | 13.11.01 - System | 13.11.01.01 - Cervical |  | IY053 | 6021 | EVOLUTION SURGICAL PTY LTD | Freedom Cervical Disc | Cervical disc replacement prosthesis. | Footprints: 13x16mm, 15x18mm, 17x20mm Heights: 5, 6mm | 280296 |  | March 2023 | Transferred from DR004
13 - Spinal | 13.11 - Disc Replacement | 13.11.01 - System | 13.11.01.02 - Lumbar |  | IY060 | 8847 | EVOLUTION SURGICAL PTY LTD | Freedom Lumbar Disc | Lumbar Disc Replacement Prosthesis | 26mmx36mm, 28mmx38mm, 30mmx40mm, 12-16mm, 4-12 degrees. | 279935 |  | March 2023 | Transferred from DR001