## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
BL051 | 01 - Ophthalmic | enVista Toric IOL | The enVista Toric IOL Model: MXET / ETE. iUV-absorbing, posterior chamber, hydrophobic acrylic toric IOL. Aspheric lens optic, square posterior edge, and modified C haptics. Can be folded for insertion into the eye. | +6.0 D to +34.0 D (0.5 D increments); Cylinder powers 0.90D, 1.25D, 1.50D, 2.00D, 2.50D, 2.75D, 3.00D, 3.50D, 4.25D, 5.00D & 5.75D | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Product name, Description, Size
IQ020 | 01 - Ophthalmic | PreciSAL EZ Toric 1-Piece Yellow Pre-loaded IOL (PT302A, PST302A) | Pre-loaded acrylic single piece, foldable intraocular lens with anterior and posterior optic-haptic square edge, 360 degree optic square edge design, precision power calculation, aberration technology, toric correction on anterior surface with cylinder marks to indicate flat meridian plus the cylinder axis to allow alignment for astigmatic correction, and UV and blue light filters. | Available in spherical dioptric powers from 0.0 to +34.0D. 1D steps: 0.0D to +10.0D and 30.0D to 34.0D; 0.5D steps: +10.5 to +29.5; Cylinder powers from 1.0D to 6.0D in 0.5D steps. | IQ MEDICAL PTY LTD |  | Change to Product name, Size
WP002 | 01 - Ophthalmic | Primus-HD Toric Yellow | Preloaded Injector system, Biconvex optical with toric and high order coefficient aspheric surface IOL, foldable, one piece, hydrophobic acrylic, blue light filter, 360 square edge | IOL Cylinder powers are : +1.00D, +1.50D, +2.25D, +3.00D, +4.00D and +4.50D Cylinder powers at corneal plane are : +0.72D, +1.07D, +1.59D, +2.11D, +2.8D, and +3.15D | The Trustee for The Ophthalmopro Unit Trust |  | Change to Suffix,Change to Group benefit
AL059 | 01 - Ophthalmic | Clareon Vivity Toric Extended Vision Hydrophobic IOL (Models CNWET2 - CNWET6) | Presbyopia correcting, ultraviolet and blue light filtering, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances, and also compensates for corneal astigmatism | +6.0 to +30.0 diopters (in 0.5 diopter increments); +31.0 to +34.0 diopters (in 1.0 diopter increments). Cylinder:1.00 to 3.75 diopters | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Size
AL060 | 01 - Ophthalmic | Clareon Vivity Extended Vision Hydrophobic IOL (Model CNWET0) | Presbyopia correcting, ultraviolet and blue light filtering, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances | +6.0 to +30.0 diopters (in 0.5 diopter increments); +31.0 to +34.0 diopters (in 1.0 diopter increments) | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Size
UK008 | 03 - General Miscellaneous | HANAROSTENT and CHOOSTENT | HANAROSTENT Colon/Rectum, Colon/Rectum TTS, Colon/Rectum Asymmetric, Colon/Rectum Lasso, Intestine, Intestine Asymmetric, TwynLay Colon/Rectum. Self-expanding nitinol colon/rectum stent. | Diameter: 16-24mm, Length: 40-180 mm | The Trustee for Giorgios and Katarina Loizou Family Trust |  | Change to Product name, ARTG
UK010 | 03 - General Miscellaneous | HANAROSTENT | HANAROSTENT Duodenum/Pylorus Kim’s Flare, Duodenum/Pylorus Lasso, Duodenum/Pylorus Lasso, TwynLay Duodenum/Pylorus. Self-expanding nitinol duodenum/pylorus stent | Diameter 18-24mm, Length 60-180mm | The Trustee for Giorgios and Katarina Loizou Family Trust |  | Change to ARTG
QQ676 | 03 - General Miscellaneous | Heliclip Endoscopic Hemoclip | Hemoclip for endoscopic marking and hemostasis. | 9mm, 12mm or 16mm Opening Span | C.R. KENNEDY & COMPANY PROPRIETARY LIMITED |  | Change to Part
IJ022 | 04 - Neurosurgical | Regenerative Dural Repair Patch (ReDuraTM) | Absorbable synthetic patch with biomimetic design. | Small | INNOVATIVE MEDCARE TECHNOLOGY PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
IJ023 | 04 - Neurosurgical | Regenerative Dural Repair Patch (ReDuraTM) | Absorbable synthetic patch with biomimetic design. | Medium | INNOVATIVE MEDCARE TECHNOLOGY PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
IJ024 | 04 - Neurosurgical | Regenerative Dural Repair Patch (ReDuraTM) | Absorbable synthetic patch with biomimetic design | Large | INNOVATIVE MEDCARE TECHNOLOGY PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
IJ025 | 04 - Neurosurgical | Regenerative Dural Repair Patch (ReDuraTM) | Absorbable synthetic patch with biomimetic design. | Extra Large | INNOVATIVE MEDCARE TECHNOLOGY PTY LTD | The Prescribed List reimbursement for the billing code is restricted to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | Change to Condition
IG153 | 04 - Neurosurgical | Hakim Programmable Valve System | Valve only & Valve System (catheters included) | 30mm H2O - 200mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG154 | 04 - Neurosurgical | Hakim Programmable Valve System | Micro valve system with 120cm distal catheter and 14cm ventricular catheter | 30mm H2O - 200mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG158 | 04 - Neurosurgical | Hakim Programmable Valve System | Burr hole and regular valve system with SiphonGuard, 120cm distal catheter and 14cm ventricular catheter | 30mm H2O - 200mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG166 | 04 - Neurosurgical | Codman Hakim Programmable Valves | Micro, regular and burr hole valves | 30mm H2O - 200mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG167 | 04 - Neurosurgical | Codman Hakim Programmable Valves with Siphonguard | 18 different pressure settings and SIPHONGUARD technology | 30mm H2O - 200mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Size
IG185 | 04 - Neurosurgical | Codman Certas Programmable Valve - with reservoir and catheter | Programmable valve with reservoir and catheters | 30-210mmH2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG186 | 04 - Neurosurgical | Codman Certas Programmable Valve - with Reservoir and Siphonguard | Programmable valve with Reservoir and Siphonguard | 30-210mmH2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG187 | 04 - Neurosurgical | Codman Certas Programmable Valve - with Reservoir, Siphonguard and catheter | Programmable valve with reservoir, siphonguard and catheters | 30-210mmH2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG188 | 04 - Neurosurgical | Codman Certas Programmable Valve - with reservoir | Programmable valve with reservoir | 30-210mmH2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG152 | 04 - Neurosurgical | Hakim Precision Valve System | Precision cylindrical, micro and regular valve system with 120cm distal silicone catheter and 14cm ventricular silicone catheter | 10mm H2O - 130mm H2O (very low to high) | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG159 | 04 - Neurosurgical | Codman Hakim Precision System - Valves | Fixed Pressure Valve - with/without Valve System Unitized – With SiphonGuard with connectors/adaptors, stylet, ventricular catheter, distal catheter | Very Low - High pressure | INTEGRA NEUROSCIENCES PTY LTD |  | Change to Product name, ARTG, Description, Size
IG160 | 04 - Neurosurgical | Codman Hakim Precision System - Valves | Fixed Pressure Valve - Valve System Unitized – Without Rickham Reservoir - Without SiphonGuard -with connectors/adaptors, stylet, ventricular catheter, distal catheter | Very Low - high pressure | INTEGRA NEUROSCIENCES PTY LTD |  | Change to Product name, ARTG, Description, Size
IG168 | 04 - Neurosurgical | Codman Hakim Precision System - Valve only | features 5 operating pressures | 10, 40, 70, 100, and 130mmH2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to Product name, ARTG
IG175 | 04 - Neurosurgical | Codman Hakim Precision Valves | Regular and burr hole Valves with Siphonguard | Pressure 10-130mm H2O | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG157 | 04 - Neurosurgical | HOLTER Intracranial Pressure Shunt | HOLTER Ventricular Catheter, packaged sterile, silicone rubber | 3 - 7cm and 15cm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG161 | 04 - Neurosurgical | Codman Medos Straight Ventricular Catheter | 14cm, packaged sterile, silicone rubber | 14cm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG162 | 04 - Neurosurgical | Codman Medos Peritoneal Catheter | Peritoneal catheter for use in the treatment of hydrocephalus as a component of a shunt system. | 120cm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG, Description, Size
IG174 | 04 - Neurosurgical | HOLTER Intracranial Pressure Shunt | HOLTER distal peritoneal catheter/Salmon, packaged sterile, silicone | 90cm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG156 | 04 - Neurosurgical | Siphonguard CSF Control Device | PET shell anti-siphon device for shunt | One size only | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
BB333 | 04 - Neurosurgical | Miethke Port / Reservoir | The ports / reservoirs are all made of titanium and are radiopaque. They have a low overall height for easy and safe positioning and fixation of the ventricular catheter. They allow CSF extraction and drug injection by inserting a syringe through the silicone dome. The solid titanium base prevents penetration with a syringe needle. There are 6 different types: Burrhole port, CSF port, Burrhole reservoir, Sprung reservoir, Flushing reservoir, Control reservoir. | Burrhole port:FV030T: Diameter 20mm, Height 5.65mm.FV040T: Diameter 14mm, Height 4.8mm (for pediatric application).CSF port:FV060T: Diameter 20mm, Height 5.65mm.Burrhole reservoir:FV028T: Diameter 20mm, Height 5.65mm.FV029T: Diameter 20mm, Height 5.65mm with adjustable connector.FV039T: Diameter 14mm, Height 4.8mm (for pediatric application).Sprung reservoir:FV043T: Diameter 20mm, Height 5.65mm.Flushing reservoir:FV033T: Diameter 20mm, Height 5.65mm.FV035T: Diameter 14mm, Height 4.8mm (for pediatric application).Control reservoir:FV047T: Diameter 20mm, Height 5.65mm. FV063T: Diameter 14mm, Height 4.8mm (Paediatric Sprung Reservoir) | B BRAUN AUSTRALIA PTY LTD |  | Change to Size
IG173 | 04 - Neurosurgical | Holter - Rickman - Salmon Rickman and Selker Ventriculostomy Reservoirs | Various ventriculostomy reservoirs | Standard/Large and Low Profile - Size 6-18mm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to Product name, ARTG, Size
SJ202 | 04 - Neurosurgical | Brio DBS Implantable Pulse Generator 6788 | Dual Channel 16 Contact rechargeable IPG | 29g, 17cc | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
ER613 | 04 - Neurosurgical | Alpha Omega Cannula | Alpha Omega Cannula, standard or tapered used for microelectrodes recording (MER) and for lead insertion; stylet, sterile | Length: 130-216.5 mm Inner diameter: 0.83-1.6 mm Outer diameter: 1.23-1.81 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Size
IG181 | 04 - Neurosurgical | MicroSensor Monitoring System | Ventricular catheter with transducer | Catheter length 38cm | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
IG189 | 04 - Neurosurgical | MicroSensor Monitoring System | Skull bolt with ICP transducer | 0.7mm sensor lead diameter | INTEGRA NEUROSCIENCES PTY LTD |  | Change to ARTG
JJ971 | 06 - Specialist Orthopaedic | DELTA Xtend | Monoblock Humeral Stem | 8-14mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
JJ973 | 06 - Specialist Orthopaedic | Delta Shoulder System | Epiphysis | Size 1 or 2; Offset Centred, Eccentric Left, Eccentric Right | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Description, Size
MN170 | 06 - Specialist Orthopaedic | Delta Xtend Reverse Shoulder System - Humeral Cup | High Mobility, Standard and Retentive polyethylene humeral cup | Diameter 38 – 42mm, +3 – +9 mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Product name, ARTG, Description, Size
BH344 | 06 - Specialist Orthopaedic | Comprehensive Segmental Revision System (SRS) | Comprehensive SRS Modular Augment | Small, Large | ZIMMER BIOMET PTY LTD |  | Change to Description
LM300 | 06 - Specialist Orthopaedic | Hammerfix | Implant for small joint Arthrodesis | Small, Medium, Large | LMT SURGICAL PTY LTD |  | Change to Product name, Size
SK532 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 5.0mm System | Locking Compression Plate, used with 5.0mm screws. | 2-6 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
SK533 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 5.0mm System | Locking Compression Plate, used with 5.0mm screws | 7-15 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
SK534 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 5.0mm System | Locking Compression Plate, used with 5.0mm screws | 16-22 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
BU023 | 06 - Specialist Orthopaedic | Airlock Plating System | MTP, MT wedge Lapidus, utility and Lisfranc T plate | MTP plates short and Wedge 0 to 5, Lapidus 0 to 3, Utility 0 to 6 holes and Lisfranc short to long. | CAB MEDICAL PTY LTD |  | Change to Description, Size
SK538 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Locking Compression Plate, used with 4.0mm screws. | 2-6 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
DZ005 | 06 - Specialist Orthopaedic | Austofix Clavicle Plates | Clavicle lateral extension plates | 7 - 15 holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
DZ006 | 06 - Specialist Orthopaedic | Austofix Clavicle Plates | Anterior, Anterior Lateral Extension, Reconstruction, and Anterior Reconstruction Locking Plates | 7-15 Holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Suffix, Description,Change to Group benefit
QQ291 | 06 - Specialist Orthopaedic | CASCELLA 3.5mm Superior Clavicle Plate | Superior Clavicle Plate | 7 and 9 holes | BONEBRIDGE PTY LTD |  | Change to Size
BU014 | 06 - Specialist Orthopaedic | Airlock Bone plate System | Lisfranc H and Utility plates | 8 hole Small, Medium, Large H plates and 7-hole Utility plate | CAB MEDICAL PTY LTD |  | Change to Suffix, Description, Size,Change to Group benefit
SK539 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Locking Compression Plate, used with 4.0mm screws. | 7-14 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
MO384 | 06 - Specialist Orthopaedic | Acumed -Locking Clavical Plating System | Locking Clavicle Plates Mid Shaft Anterior and Distal | = < 6 holes | Medical & Optical Instruments Australia Pty Ltd |  | Change to Product name, Size
MO385 | 06 - Specialist Orthopaedic | Acumed Locking Clavical Plating System | Locking Clavicle Plates Mid Shaft, Anterior and Distal | = > 7 to = < 15 holes | Medical & Optical Instruments Australia Pty Ltd |  | Change to Size
DZ002 | 06 - Specialist Orthopaedic | Austofix Small Fragment System | Humeral Plates – Dorsal, Distal, Distal Medial, Distal Lateral, Proximal | 7-15 Holes | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Description
SK555 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Proximal Humerus Locking Plate, used with 4.0mm screws. | 11-14 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
SK556 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Proximal Humerus Locking Plate, used with 4.0mm screws. | 16-28 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
QQ280 | 06 - Specialist Orthopaedic | SALGINA 2.5mm Distal Radius Plate | Volar and Dorsal Distal Radius Plate | Narrow, wide, long narrow, long wide, standard, distal narrow, and distal wide, Left and Right | BONEBRIDGE PTY LTD |  | Change to Product name, ARTG, Description, Size
QQ257 | 06 - Specialist Orthopaedic | LEPORELLO 3.5mm Olecranon Plate | 3.5mm Olecranon Plate | 7, 9 and 11 holes | BONEBRIDGE PTY LTD |  | Change to Size
SK557 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 5.0mm System | Femur Locking Plates, used with 5.0mm screws | 12-14 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
SK558 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 5.0mm System | Femur Locking Plates, used with 5.0mm screws | 16-28 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
QQ265 | 06 - Specialist Orthopaedic | POYA 3.5mm Medial and Posteromedial Tibia Plate | Medial and Posteromedial Tibia Plate | Left and Right, 3 to 10 holes, Length 80mm to 215mm | BONEBRIDGE PTY LTD |  | Change to Product name, Description, Size
SK561 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Proximal lateral tibia plates, Distal medial tibia plates, Distal anterolateral tibia plates and Proximal medial tibia plates | 7-15 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description
QQ263 | 06 - Specialist Orthopaedic | POYA 3.5mm Lateral and Posteromedial Proximal Tibia Plate | Lateral and Posteromedial Proximal Tibia Plate | 13 to 18 holes | BONEBRIDGE PTY LTD |  | Change to Product name, Description, Size
SK562 | 06 - Specialist Orthopaedic | AxSOS 3 Titanium 4.0mm System | Proximal lateral tibia plates, Distal medial tibia plates, Distal anterolateral tibia plates and Proximal medial tibia plates | 16-30 hole | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
JJ557 | 06 - Specialist Orthopaedic | DELTA Xtend | Non Locking Canulated Metaglene Screw | 4.5mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
LM134 | 06 - Specialist Orthopaedic | TriMed Compression Screws | Cannulated dual thread compression screws | 4.5-7.3mm x 26-112mm | LMT SURGICAL PTY LTD |  | Change to Suffix, Description, Size,Change to Group benefit
LM550 | 06 - Specialist Orthopaedic | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 4.5mm diameter, 14 to 34mm length | LMT SURGICAL PTY LTD |  | Change to Size
LM145 | 06 - Specialist Orthopaedic | TriMed Bone Screw | Locking Bone Screw | 3.2mm x 8-30mm | LMT SURGICAL PTY LTD |  | Change to Description, Size
LM553 | 06 - Specialist Orthopaedic | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 3.5mm diameter, 10 to 44mm length | LMT SURGICAL PTY LTD |  | Change to Size
ER547 | 06 - Specialist Orthopaedic | Osteomed ExtremiLock Screw, Mini (2.01 – 2.7 mm), variable angle locking, cannulated, dual thread | variable angle locking screw, cannulated, dual thread | dia 2.4 mm x lenght (12-40 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Suffix,Change to Group benefit
SK620 | 06 - Specialist Orthopaedic | AutoFIX | The AutoFIX system comprises of cannulated compression screws that provide internal fixation of bones. | 2.5mm Cannulated Compression Screw | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG, Description,Change to Group benefit
EO100 | 06 - Specialist Orthopaedic | APTUS K-wires | Olive K-wires | 1.6mm | MEDARTIS AUSTRALIA & NEW ZEALAND PTY LTD |  | Change to Suffix,Change to Group benefit
HU267 | 06 - Specialist Orthopaedic | Cerclage System | Pre-tied Cerclage System (FiberTape/TigerTape) | One Size Only | ARTHREX AUSTRALIA PTY LTD | The Prescribed List reimbursement for the billing code is restricted for use of the devices in surgical procedures described in Medicare Benefits Schedule (MBS) item 47450 or 47528 or 47565 in Group T8 of the Regulations. | Change to Condition
SL046 | 06 - Specialist Orthopaedic | HEALICOIL REGENESORB | HEALICOIL REGENESORB Suture Anchors pre-loaded with ULTRATAPE or ULTRABRAID or MINITAPE sutures | 4.75mm and 5.5mm | SMITH & NEPHEW PTY LIMITED |  | Change to ARTG, Description
SF096 | 06 - Specialist Orthopaedic | Bio-Composite Interference Screw | HA infused Polymer Interference Screws | 5-12mm | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Suffix,Change to Group benefit
SF151 | 06 - Specialist Orthopaedic | SignaLoc Screw | HA infused polymer Interference Screw | 5-12mm | SIGNATURE ORTHOPAEDICS PTY LTD |  | Change to Suffix,Change to Group benefit
SL103 | 06 - Specialist Orthopaedic | Bi-On™ Inteference Screw | HA infused Polymer Interference Screws | 5-12mm | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix,Change to Group benefit
MA545 | 06 - Specialist Orthopaedic | Ligamys DIS Suture with button | UHMWPE braid with Ti alloy button | One size | Enovis Surgical Australia Pty Limited | Prescribed List reimbursement for the billing code is restricted to the use of Artificial Ligaments for intra-articular cases where no non-synthetic graft sources (allografts and autografts) are available. | Change to Condition
DP107 | 06 - Specialist Orthopaedic | CMW Bone Cement | CMW Bone Cement Various without Antibiotic | 20, 40 grams | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
DP108 | 06 - Specialist Orthopaedic | CMW Antibiotic Bone Cement | CMW Bone Cement Various with Antibiotic | 20, 40 grams | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
JJ933 | 06 - Specialist Orthopaedic | SmartSet | Bone cement with antibiotic | 40g | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG
KN004 | 06 - Specialist Orthopaedic | Invictus Spinal Cement System | Radio Opaque Bone Cement with Mixing and Injection System. Poly Methylmethacrylate Styrene Copolymer | 25.8gm powder, 9.2 gms monomer | ALPHATEC AUSTRALIA PTY LTD | No Prescribed List benefit is payable for the billing code, if the device is used for kyphoplasty surgery, as there is no evidence presented and no MBS item available for this procedure. | Change to Condition
BF031 | 06 - Specialist Orthopaedic | MixMax Bone Cement | MIXMAX is a Procedure pack for mixing bone cement. It is possible to connect an external vacuum pump or to mix cement in a vacuum state using a vacuum tube. Contains a methyl methacrylate monomer liquid component and a poly-methymethacrylate powder component that mixed in the system provided. High radiopaque cement includes 60% of ZrO2. Optimized viscosity for Vetebroplasty, short mixing and preparing time allows to inject the cement immediately. | 20g | MATRIX MEDICAL INNOVATIONS PTY LTD | No Prescribed List benefit is payable for the billing code, if the device is used for kyphoplasty surgery, as there is no evidence presented and no MBS item available for this procedure. | Change to Condition
HW785 | 06 - Specialist Orthopaedic | AutoPlex Mixer and Delivery System with VertaPlex HV | High Viscosity PMMA Cement with Mixer and Delivery System - Intended to be used for pedicle screw augmentation and vertebroplasty only. | 20 gram | STRYKER AUSTRALIA PTY LTD | No Prescribed List benefit is payable for the billing code, if the device is used for kyphoplasty surgery, as there is no evidence presented and no MBS item available for this procedure. | Change to Condition
HK014 | 06 - Specialist Orthopaedic | Palacos R+G Pro or Palacos MV+G Pro | Single Mix PMMA with Gentamicin and Complex Delivery System | 40g, 55g, 60g, 75g, 80g | Heraeus Medical Australia Pty Ltd |  | Change to ARTG, Size
HW856 | 06 - Specialist Orthopaedic | Augment Bone Graft - rhPDGF-BB component | rhPDGF-BB solution (0.3mg/ml) | 1.5cc (0.45mg) | STRYKER AUSTRALIA PTY LTD | The Prescribed List reimbursement is restricted for the use of the device as an alternative to autograft in hindfoot and ankle fusion procedures that require supplemental graft material, including tibiotalar, tibiocalcaneal, talonavicular and calcaneocuboid fusions, or any other procedure if stated in the Intended Purpose in the Australian Register of Therapeutic Goods (ARTG) entry 191454. | Change to Condition
QQ014 | 07 - Plastic and Reconstructive | Anatomics Surgical Guide | Biomodelled surgical guides to support surgical decision making both pre and intra-operatively | The device is custom made so the size will vary | ANATOMICSRX PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
SY777 | 07 - Plastic and Reconstructive | ProPlan | Patient Specific Cranical Surgical Guides, Implants | Custom | JOHNSON & JOHNSON MEDICAL PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
RV016 | 07 - Plastic and Reconstructive | ReconPILOT Patient Specific Implant for Maxilla Midface and Mandible | Patient Specific Implant for Maxilla Midface and Mandible, Titanium | The device is custom made so the size will vary. | PERSONALISED SURGERY PTY LTD |  | Change to Product name, Description
QQ008 | 07 - Plastic and Reconstructive | Anatomics Patient Specifc Surgical Guide | Patient specific surgical guide created from patient CT scan data, used to assist surgeons to implant the device by assisting in clinical decision making both pre- and intraoperatively | The device is custom made so the size will vary. | ANATOMICSRX PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
QQ312 | 07 - Plastic and Reconstructive | AI Guide | Custom made patient specific guide for use with the ARDS Dental System (JN001) | size will vary as patent specific | DENTAL DEVICES PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HI001 | 07 - Plastic and Reconstructive | DDN Guide | Custom made patient specific guide for use with the Neoss Implant System (NJ001) | The device is custom made so the size will vary | DIGITAL DENTAL NETWORK PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HI006 | 07 - Plastic and Reconstructive | DDN Guide | Custom made patient specific guide for use with the STRAUMANN Implant System (SB024), (SB009), (SB015), (SB023), (SB008), (SB012), (SB018), (SB029), (SB030) and (SB035). | The device is custom made so the size will vary. | DIGITAL DENTAL NETWORK PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
SY778 | 07 - Plastic and Reconstructive | ProPlan | Pateint specific Maxillofacial Surgical Guides, Implants | Custom | JOHNSON & JOHNSON MEDICAL PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
SY829 | 07 - Plastic and Reconstructive | Custom made plates (including Megaplates) – Surgical Guides | Surgical Guides for patient specific plates for the mandible and maxilla | The model is custom made so size will vary | JOHNSON & JOHNSON MEDICAL PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
KT005 | 07 - Plastic and Reconstructive | UNIQOS Patient Specific Surgical guides | UNIQOS Patient Specific Surgical guides | Custom - Patient specific | KLS MARTIN AUSTRALIA PTY LIMITED | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to ARTG, Condition
OG001 | 07 - Plastic and Reconstructive | OMX Solutions patient Optimized Guide system | CT Based Patient Specific Surgical Guide | The device is patient specific so size will vary | MAXONIQ PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
MV007 | 07 - Plastic and Reconstructive | MGuide | Custom made patient specific guide for use with the MIS Implant System (MV004), (MV015), (MV018) | Custom-made, patient specific so size will vary | MORE GROUP PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
UI001 | 07 - Plastic and Reconstructive | OsGuide | A non-sterile, custom-made surgical guide manufactured by 3-D printing and CAD/CAM techniques | Custom-made. Patient specific | SPECIFICA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
UI003 | 07 - Plastic and Reconstructive | DGUIDE | Custom made patient specific guide for use with the JD Implant System (GZ001), (GZ002) | Patient specific | SPECIFICA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition, Description
HW650 | 07 - Plastic and Reconstructive | VSP Orthognathics Bundle (Surgical Guide and Implants) | VSP Orthognathic Bundle (Surgical Guide and Implants - Plates and Screws) | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HW653 | 07 - Plastic and Reconstructive | VSP Reconstruction Mandibular/Maxillary Case Bundle | VSP Reconstruction Mandibular/Maxillary Case Bundle (With Metal Inserts) Customized Bundle | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
QQ013 | 07 - Plastic and Reconstructive | Anatomics Patient Specific Surgical Guide | The Surgical Guide component of the system is created from the patient's CT scan data to assist the surgeon with pre- and intraoperative planning. | The device is custom made so the size will vary. | ANATOMICSRX PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
SY830 | 07 - Plastic and Reconstructive | Surgical Guide for OBL PorousiTi® PSI System – Orbital Floor | Patient specific surgical guide for orbital floor implant | The model is custom made so size will vary | JOHNSON & JOHNSON MEDICAL PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
QQ001 | 07 - Plastic and Reconstructive | Anatomics Biomodel | A patient-specific, 3D printed biomodel intended to assist the surgeon during pre- and intraoperative procedural planning. | The device is custom made so the size will vary. | ANATOMICSRX PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HI002 | 07 - Plastic and Reconstructive | DDN Biomodel | Custom made biomodel for use with the Neoss Implant System (NJ001) | The device is custom made so the size will vary. | DIGITAL DENTAL NETWORK PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HI005 | 07 - Plastic and Reconstructive | DDN Biomodel | Custom made biomodel for use with the STRAUMANN Implant System (SB024), (SB009), (SB015), (SB023), (SB008), (SB012), (SB018), (SB029), (SB030), (SB035) | The device is custom made so the size will vary. | DIGITAL DENTAL NETWORK PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
SY779 | 07 - Plastic and Reconstructive | ProPlan | Patient Specific Craniofacial Anatomical Biomodel | Custom | JOHNSON & JOHNSON MEDICAL PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
KT004 | 07 - Plastic and Reconstructive | UNIQOS Patient Specific Anatomical Biomodel | Patient specific antomical biomodel | Custom-Patient Specific | KLS MARTIN AUSTRALIA PTY LIMITED | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to ARTG, Condition
OG004 | 07 - Plastic and Reconstructive | The OMX Solutions Biomodel | CT Based Patient Specific Anatomical Biomodel | The device is patient specific so size will vary | MAXONIQ PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
UI002 | 07 - Plastic and Reconstructive | BIOMODEL | 3D CT Based Patient Specific biomodels generated from Patient’s CT scan to replicate patient particular anatomical contours | Custom - made. Patient specific | SPECIFICA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
UI004 | 07 - Plastic and Reconstructive | OMF Model | Custom made biomodel for use with the JD Implant System (GZ001), (GZ002) | Patient specific | SPECIFICA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition, Description
HW544 | 07 - Plastic and Reconstructive | Stryker Anatomical Biomodel for Mandible | Patient Specific Craniofacial Anatomical Biomodel | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HW546 | 07 - Plastic and Reconstructive | Stryker Anatomical Biomodel for PEEK | Patient Specific Craniofacial Anatomical Biomodel | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HW651 | 07 - Plastic and Reconstructive | VSP Orthognathics Bundle (Custom Biomodel and Implants) | VSP Orthognathics Bundle (Custom Biomodel and Implants - Plates and Screws) | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
HW652 | 07 - Plastic and Reconstructive | VSP Reconstruction Maxillofacial Case Bundle | VSP Reconstruction Maxillofacial Case Bundle (Includes Skull Model) | Custom | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
QQ311 | 07 - Plastic and Reconstructive | Stryker Patient-Matched TMJ – Anatomic Biomodel | The anatomical bone model (biomodel) is produced from a computer tomography (CT) scan of the patient’s mandible and maxilla and intended to be used by the surgeon as an anatomical reference in planning and performing the implantation of the prosthesis. | Patient Specific | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement is restricted to the use of the device in craniomaxillofacial surgery procedures involving insertion of an implantable medical device, where that implantable device is listed in either sub-category 07.01 - Craniomaxillofacial Reconstruction & Fixation, or 07.02 – Craniomaxillofacial Implants, or 07.04 – Distractor Systems of Schedule 1, or sub-category 07.03 - Dental Implants, but only if the implantable dental medical device is explicitly identified in the product name or description of the billing code for the surgical guide or biomodel and is used in hospital. Not limiting the above, for a claim for any implantation procedure (defined by the respective MBS items stated in the claim) for a patient, the Prescribed List reimbursement is limited to 3 or less PL benefits for any billing codes for surgical guides or biomodels, or no more than 6 benefits if both surgical guides and biomodels (maximum 3 for each) have been used in an implantation procedure for a patient. This restriction is not impacted by a number of devices implanted during a procedure. | Change to Condition
IC003 | 07 - Plastic and Reconstructive | Southern Implants Abutments | Final Abutments (multiple units) | 3.0 - 6mm Diameter 1.0 - 5.5mm Height | Southern Implants Australia Pty Ltd |  | Change to ARTG
IC002 | 07 - Plastic and Reconstructive | Southern Zygomatic and Oncology Implants | Zygomatic Titanium dental implants with 45 or 55 degree angulation | 4 to 6mm diameter, 27 to 52.5mm length | Southern Implants Australia Pty Ltd |  | Change to ARTG
IC001 | 07 - Plastic and Reconstructive | Southern Dental Implants | Titanium dental implants in External-Hex, Tri-Nex or Internal Octagon (IT) connection | 3.25 to 6.0mm diameter, 6.0 to 52.5mm length | Southern Implants Australia Pty Ltd |  | Change to ARTG
DE622 | 09 - Cardiothoracic | Park Bridge Stabiliser | Stablisation of Pectus Bar - optional use for multiple bar placement | 3 sizes: 6 hole - 60mm, 8 hole 80mm, 10 hole - 100mm | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to ARTG
DE623 | 09 - Cardiothoracic | Park Claw Fixator, Clip and Nut Stabiliser | Stabilisation of Pectus Bar | Park Claw Fixator - Small (20mm x 12mm), Medium (23mm x 15mm), Large (25mm x 18mm), Extra Large (30mm x 18mm).Fixator Clip - 15mm.Nut - 7mm. | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to ARTG, Size
MI414 | 10 - Vascular | Abre venous stent system | The Abre stent system consists of a stent and stent delivery system designed specifically for implantation in the peripheral venous system. The system consists of a flexible self expanding stent made of a nickel-titanium alloy (nitinol) provided in multiple lengths and diameters and an over-the wire stent delivery system. | Length: 40mm-120mm. Diameter: 10mm-20mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
MI415 | 10 - Vascular | Abre venous stent system | The Abre stent system consists of a stent and stent delivery system designed specifically for implantation in the peripheral venous system. The system consists of a flexible self expanding stent made of a nickel-titanium alloy (nitinol) provided in multiple lengths and diameters and an over-the wire stent delivery system. | Length: 150mm. Diameter: 10mm-20mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
BS327 | 10 - Vascular | Eluvia | Drug Eluting Vascular Stent System | Diameter 6-7mm, Length 40-120mm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG
BS328 | 10 - Vascular | Eluvia | Drug Eluting Vascular Stent System | Diameter 6-7mm, Stent Length 150mm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Size
ER680 | 10 - Vascular | LeMaitre Omniflow II Vascular Prosthesis-30-40cm | Omniflow II Vascular Prosthesis, biologically engineered, 30-40 cm, straight | diameter: 5-8 mm Length: 30-40 cm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description
DP943 | 11 - Hip | Corail Femoral Stem | Titanium, grit blast, full HA coating, | Size 8 to 18; Offset Standard, High; Angle (in degrees) 125-135 | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to ARTG, Size
BH036 | 11 - Hip | Biolox Delta Option Ceramic Femoral Heads | ceramic modular head, biolox delta | 36mm to 44mm | ZIMMER BIOMET PTY LTD |  | Change to ARTG, Size
MU098 | 11 - Hip | HX UHMWPE Constrained Liner | Double Mobility Liner, Highcross Liner for Dual Mobility Acetabular Shell. | From diameter 42 to diameter 64mm for head diameter 22.2mm. From diameter 48 to diameter 64mm for head diameter 28mm. | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
BH037 | 11 - Hip | Biolox Delta Option Taper | Taper Sleeve, Titanium | -6mm, -3mm, Std, +3mm and +6mm | ZIMMER BIOMET PTY LTD |  | Change to Product Group, ARTG,Change to Group benefit
FL012 | 12 - Knee | iTotal Cruciate-Retaining (CR) Total Knee Replacement System – Tibial Insert iPoly XE - medial + lateral | UHMWPE Vitmain E infused polyethylene (iPoly XE) minimally stabilised tibial insert - medial and lateral parts used together. | Shape - Medial and Lateral; Thickness (Medial) - 6mm-16mm, patient-specific; Size (Lateral) - A-K, patient-specific | BESPOKE MEDICAL INNOVATIONS PTY LTD |  | Change to Product name, Description
ZI936 | 12 - Knee | Persona Knee System | Stem Extension | 14mm x 30mm | ZIMMER BIOMET PTY LTD |  | Change to ARTG
ER330 | 13 - Spinal | Ulrich Pedicle Screw System-Pedicle Screw, monoaxial, cannulated | Ulrich Pedicle Screw System (cosmicMIA, uCentum)-Pedicle Screw, monoaxial, cannulated, with or without HA coating or fenestrations, sterile or non-sterile | dia (4.5-10 mm) x length (25-60 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description
LB089 | 13 - Spinal | CREO Stabilization System Preassembled Monoaxial Screw | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.75 and 5.5 4.0mm diameter to 8.5mm diameter 20mm to 90mm length | Globus Medical Australia Pty Limited | The Prescribed List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS). | Change to Condition
KH059 | 13 - Spinal | Monoaxial Screws | Monoaxial Screws | 20-55mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG
QQ220 | 13 - Spinal | CD HORIZON Spinal System - Uniaxial Screws and Sagittal Adjusting Screws | CD HORIZON SOLERA Uniaxial Screws and Sagittal Adjusting Screws | Diameter: 4.0mm - 8.5mm Length: 20mm - 55mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Suffix,Change to Group benefit
DE669 | 13 - Spinal | icotec Pedicle System Polyaxial Screw | Polyaxial Pedicle Screw | Size(s):4.5, 5.5, 6.5 and 7.5mm diameter 25-60mm length | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
ER332 | 13 - Spinal | Ulrich Pedicle Screw System-Pedicle Screw, polyaxial, cannulated | Ulrich Pedicle Screw System (uCentum)-Pedicle Screw, polyaxial, cannulated, with or without fenestrations, sterile or non-sterile | dia (4.5-10 mm) x length (25-60 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description
KH045 | 13 - Spinal | Polyaxial Screws | Polyaxial & Reduction Polyaxial Screws Favored angle Screws & Dual Head & Iliac (S2Ai) screws | 20-100mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG, Description, Size
KH046 | 13 - Spinal | Cannulated Polyaxial Screws | Cannulated | 20-110mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to Product name, ARTG, Size
BF025 | 13 - Spinal | Pedicle Screw | Polyaxial Screw | (5.5 - 7.5)mm x (35-55) mm | MATRIX MEDICAL INNOVATIONS PTY LTD | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
BF026 | 13 - Spinal | Pedicle Screw | Cannulated Screw, Carbon Fiber Reinforced Polymer | (6.5-7.5)mm x (35-55) mm length | MATRIX MEDICAL INNOVATIONS PTY LTD | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
MU106 | 13 - Spinal | M.U.S.T Polyaxial Pedicle Screws | Polyaxial Screws | 4.5-10mm; Length 25 -120mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
HW726 | 13 - Spinal | Mesa Spinal System / Polyaxial Pedicle Screw | Polyaxial Pedicle Screw, Titanium | 4.0-9.5mm, Length 20-110mm | STRYKER AUSTRALIA PTY LTD |  | Change to Size
DE678 | 13 - Spinal | icotec Anterior Cervical Plate System - Screw | Self-tapping bone screws | Diameter: 4mm and 4.25mm Length: 13mm and 15mm | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
DE671 | 13 - Spinal | icotec Pedicle System Set Screw | Set screw | one size only | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
BF027 | 13 - Spinal | Locking Element | Locking Element for Screws and Connectors | std or 45 degree | MATRIX MEDICAL INNOVATIONS PTY LTD | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
LB088 | 13 - Spinal | CREO Stabilization System Locking Cap | The CREO Stabilization System implants are non-cervical spinal fixation devices intended for posterior pedicle screw fixation, posterior hook fixation or anterolateral fixation. | 4.75 and 5.5 | Globus Medical Australia Pty Limited | The Prescribed List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS). | Change to Condition
KH049 | 13 - Spinal | Domino Rod Connector | Rod connector | S, M & L | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG
KH047 | 13 - Spinal | Connector | Lateral Connector / Dual Head Lateral Connector | 10-60mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG, Description
KH061 | 13 - Spinal | Crosslink | Crosslink Connector | 20-80mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG,Change to Group benefit
HW783 | 13 - Spinal | Yukon Head to Head Connectors | Head to Head Transverse Connector, with Nut and Set Screw | Small, Medium, Large and Extra Large | STRYKER AUSTRALIA PTY LTD |  | Change to Description
MU124 | 13 - Spinal | M.U.S.T LINK - Cross Connector | Cross Connector | Rod diameter 5.0, 5.5 mm & 6.0 and length 35-98 | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Size
DE679 | 13 - Spinal | icotec Anterior Cervical Plate | Cervical Plate | 18mm Width, 58mm - 94mm Length | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
DE680 | 13 - Spinal | icotec Anterior Cervical Plate | Cervical Plate | 18mm width, 21mm - 55mm length | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
HW776 | 13 - Spinal | Cayman United Plate | Thoracolumbar Plate | 16-24 | STRYKER AUSTRALIA PTY LTD | Prescribed List reimbursement of the billing code is restricted to the use of the device with posterior supplemental fixation with other implants | Change to Condition
DE670 | 13 - Spinal | icotec Pedicle System Rod | Pre-bent and straight rods | 5.5, 5.7, mm & 6.0mm diameter 30-500 mm Length | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
DE818 | 13 - Spinal | BlackArmor Carbon Fibre/PEEK Curved / Multicurved Rods | The BlackArmor material is a combination of continuous, high-strength carbon- fiber-reinforced PEEK and a procedure developed by icotec – Injection Moulding CFM (Composite Flow Moulding). The result is a non-metallic implant component with an interwoven 3D fibre architecture that provides unmatched strength and endurance. BlackArmor® is radiolucent in all diagnostic imaging modes (MRI, CT and X-ray) and will therefore not create imaging artifacts; a significant clinical benefit in the postoperative monitoring of anatomical structures and other forms of treatment. | Curved and Multicurved rods, Diameter: 6.0mm Radius: 120mm, 450mm Length: 40mm-300mm | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
KH044 | 13 - Spinal | Rod | Rod | 4.5 / 5.5 x 30-500mm Length | KH NXGEN (AUST) PTY LIMITED |  | Change to ARTG, Size
BF028 | 13 - Spinal | Rods, Curved | curved and S shaped rods, carbon fiber reinforced polymer | 6.0mm x (30-300)mm length | MATRIX MEDICAL INNOVATIONS PTY LTD | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
BF029 | 13 - Spinal | Rods | Straight | 6mm x (32-300)mm | MATRIX MEDICAL INNOVATIONS PTY LTD | Prescribed List reimbursement is only payable for the billing code when the device is used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | Change to Condition
MU108 | 13 - Spinal | M.U.S.T. Rods | Straight, Pre-Bent and Pre-Contoured Rods | Rod diameter 5.5 mm or 6.0 mm, length 25 mm-600 mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Size
LB181 | 13 - Spinal | REFLECT Staple | Three prong threaded staple | 5.0 mm - 7.5 mm | Globus Medical Australia Pty Limited | The Prescribed List (PL) billing code does not cover the use of the device for vertebral body tethering (VBT) for the management of adolescent idiopathic scoliosis (AIS). | Change to Condition
IY029 | 13 - Spinal | HRCc Cervical Locking Cage | Cervical Locking Cage - no screws required for fixation | Size 4 to 9 Standard and Large | EVOLUTION SURGICAL PTY LTD |  | Change to Description
LH762 | 13 - Spinal | IRIX - C Implants | Cervical integrated fusion system with screws | 16-18 x 13-14 x 5-12mm | LIFEHEALTHCARE PTY LIMITED |  | Change to ARTG, Description, Size
BF022 | 13 - Spinal | Redmond Cervical Cage with cap and screws | Stand-alone cervical interbody fusion cage with locking cap and screws | Cages Angles 5, 8 degrees, W 14 - 20 mm; L 12 - 18; H 5 - 10mm; Screws diam 4 - 4.5 mm; L 12 - 18 mm; Cap Diam. 8.6mm, L 6.5mm | MATRIX MEDICAL INNOVATIONS PTY LTD |  | Change to Product name, Description, Size
MI154 | 13 - Spinal | Divergence Anterior Cervical Fusion Standalone System | Divergence Standalone Interbody Cage and fixation screws | 5-10mm height | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Description
MI327 | 13 - Spinal | Endoskeleton TCS | Endoskeleton TCS Interbody device with fixation screws | 12-16mm Length, 14-18mm Width, 5-12mm Heights | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description
MI482 | 13 - Spinal | C-Curve Cage | C-Curve Cage with fixation screws | Width: 17 - 19mm; Length: 12 - 14mm; Height: 5 - 8mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, Description, Size
IY031 | 13 - Spinal | Evolution TM2 Cage | Thoraco Lumbar ALIF cage - no screws required for fixation | standard | EVOLUTION SURGICAL PTY LTD |  | Change to Description
LB171 | 13 - Spinal | ELSA Expandable Lateral Interbody Fusion Spacer | Expandable lateral interbody fusion spacer with integrated fixation and bone screws | Height (unexpanded): 7-11mmHeight (expanded): 14-20mmLength: 40-65mmWidth: 20mm | Globus Medical Australia Pty Limited |  | Change to Product name, ARTG, Description, Size
LB175 | 13 - Spinal | ELSA ATP | Anterior-to-Psoas Expandable Lumbar Spacer and bone screws | Width: 20mmLength - 40mm-65mmUnexpanded Height - 7-10mmExpanded Height - 14mm-17mm | Globus Medical Australia Pty Limited |  | Change to ARTG, Description, Size
MU121 | 13 - Spinal | MectaLIF Anterior Stand-Alone TiPEEK Cages. | TiPEEK Anterior Interbody cage with integral plate and screws | cages: 24x31, 27x35, 30x35, 30x40, 29x31, 32x35, 35x35, 35x40 mm. Height 10-18 in 2mm increments plates various designs screws with diameter: 5 & 5.5mm and length: 25, 30, 35 & 40mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to ARTG
MC987 | 13 - Spinal | Sovereign Spinal System - Interbody Spacer | Interbody Spacer with Coverplate and fixation screws | Small - 32mm x 23mm, Medium - 37mm x 27mm, Large - 42mm x 30mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Description
MI326 | 13 - Spinal | Endoskeleton TAS | Endoskeleton TAS Interbody device with fixation screws | 10-20mm Height, 32-40mm x 21-27mm Width, 7-24 Angles | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description, Size
NV170 | 13 - Spinal | Modulus ALIF | Integrated fixation lumbar fusion cage including bolts (screws) | Cage: 6-12mm X 34-42mm X 24-32mm Bolt: Diameter 5-6mm, Length 15-30mm | NUVASIVE (AUST/NZ) PTY LTD |  | Change to Description
HW678 | 13 - Spinal | Monterey AL, Cage with integral fixation including screws | ALIF cage with screws for integral fixation | Cage: 10-24mm, Screws: 17.5-30mm Length, 5-6mm Diameter | STRYKER AUSTRALIA PTY LTD |  | Change to Condition
IB001 | 13 - Spinal | STACC Cervical Cage | PEEK Stand alone interbody fusion cage | 5.5, 6.5, 7.5, 8.5 (Height) x 14mm (Width) | Implament |  | Change to Product Group,Change to Group benefit
OH521 | 13 - Spinal | CP-ESP Cervical disc prosthesis | Cervical disc prosthesis | AP 13mm-15mm x ML 15mm-20mm, Height 5, 6, 7mm | Orthotech Pty Ltd |  | Change to Product name, ARTG, Size
OH467 | 13 - Spinal | LP-ESP Intervertebral Disc Prosthesis | Lumbar disc prosthesis | Height 10-12mm, Inclination 7/9/11 degrees | Orthotech Pty Ltd |  | Change to Product name, ARTG, Size