## Prescribed List
March 2025 Prescribed List - Part D New Items
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.03 - Infusion Pumps, Battery Powered | 03.02.03.04 - Other Pharmacology |  | RE005 | 2805 | REM SYSTEMS PTY. LIMITED | Sapphire Infusion Pump - Single Patient Use | The Sapphire Infusion Pump is a single-channel, volumetric infusion pump. The Sapphire pump includes the following infusion modes for all indicated uses: Continuous, Intermittent, TPN, PCA, Multi-step, and Epidural. | 5.63 x 3.78 x 1.93 inches | 426907 |  | March 2025 | New listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.05 - Infusion Pump Accessories | 03.02.05.02 - Administration Cassette |  | RE004 | 26 | REM SYSTEMS PTY. LIMITED | Sapphire Infusion Cassette and Set | Administration sets with a cassette to be used with the Sapphire Infusion Pump. Options include vented/non-vented spike, male/female luer lock, pinch clamp, roller clamp, needle/needleless Y-site, Pressure Activated Valve (PAV), back check valve, NRFit. | 277 - 302.3cm | 426902 |  | March 2025 | New listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.05 - Infusion Pump Accessories | 03.02.05.04 - Administration Set |  | RE006 | 7 | REM SYSTEMS PTY. LIMITED | Sapphire Infusion Set | Administration sets to be used with the Sapphire Infusion Pump | 71cm | 426902 |  | March 2025 | New listing
03 - General Miscellaneous | 03.05 - HAEMOSTATIC DEVICES | 03.05.02 - Powder |  |  | XQ001 | 217 | BTC CARDIO PTY LTD | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 5gms | 205062 |  | March 2025 | Billing code transferred from AB083 Sponsor transferred from Advanced Biomedical Pty Ltd
03 - General Miscellaneous | 03.05 - HAEMOSTATIC DEVICES | 03.05.02 - Powder |  |  | XQ002 | 90 | BTC CARDIO PTY LTD | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 2gms | 205062 |  | March 2025 | Billing code transferred from AB084 Sponsor transferred from Advanced Biomedical Pty Ltd
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.02 - Internal Adhesives | 03.08.02.01 - Adhesive ≤2ml | Synthetic | XW001 | 128 | Ironbark Creek Investments Pty Ltd | derma+flex | Topical Skin Adhesive | 0.7ml | 479186 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.02 - Internal Adhesives | 03.08.02.01 - Adhesive ≤2ml | Synthetic | XW002 | 128 | Ironbark Creek Investments Pty Ltd | Exofin Fusion | Topical skin adhesive with self-adhering mesh | 22, 30, 60cm | 479185 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.02 - Internal Adhesives | 03.08.02.01 - Adhesive ≤2ml | Synthetic | XW003 | 128 | Ironbark Creek Investments Pty Ltd | Exofin Topical Skin Adhesive | Polymerising 2-octyl topical adhesive - tube and pen | 0.5ml, 1ml | 479187 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.02 - Internal Adhesives | 03.08.02.04 - Adhesive Accessory | Rigid Delivery System | JJ976 | 68 | JOHNSON & JOHNSON MEDICAL PTY LTD | SURGICEL Endoscopic Applicator | 2-in-1 endoscopic applicator for delivery of SURGICEL Powder. | 38 cm | 312494 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.01 - Clips | Polymeric Non-resorbable | XM001 | 40 | ADAQUAL PTY LTD | ClickaV Polymer Ligating clips | ClickaV ligating clips are implantable medical devices made of an advanced polymer to ensure a high level of biocompatibility along with the structural and dimensional stability over time necessary for long-lasting patient safety. They are designed to combine the speed of the metal clip with outstanding security comparable to 2 suture This combination leads to extreme time savings. | M 2mm to 7mm, ML 3mm to 10mm, L 5mm to 13mm, XL 7mm to 16mm and XXL 10mm to 22mm | 435831 446892 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Laparoscopic | WL002 | 180 | The Trustee for CMJH FAMILY TRUST | InnoClip | Disposable clip applier, multi-fire with titanium clips for continuous ligation. | Size: Dia 5.6-10mm, length 300-350mm | 461225 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) |  | ER688 | 210 | EMERGO ASIA-PACIFIC PTY. LIMITED | EziSurg easyEndo staple reloads for linear cutting stapler-straight | easyEndo staple reload cartridges for universal and Lite linear stapler-straight | 30, 45, 60 mm | 431192 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) |  | ER691 | 210 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ezisurg easyEndo powered endoscopic single use stapler- staple reload cartridges | Staple reload cartridges | Anastomosis length 45, 60 mm | 431192 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) | Endoscopic, Articulating/Roticulating | ER692 | 318 | EMERGO ASIA-PACIFIC PTY. LIMITED | EziSurg easyEndo staple reloads for linear cutting stapler-articulating | easyEndo staple reloads for linear cutting stapler-articulating | 30, 45, 60 mm | 431192 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) | Endoscopic, Articulating/Roticulating | ER694 | 318 | EMERGO ASIA-PACIFIC PTY. LIMITED | IntoCare Endoscopic reload | Staple reload | Staple line length- 30mm/45mm/60mm | 389093 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.02 - Staplers | Endoscopic, Articulating/Roticulating, Powered | ZZ106 | 447 | AA-Med Pty Ltd | AEON Powered Endostapler | Endoscopic Powered Stapler | 60mm, 160mm, 260mm | 453405 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.02 - Staplers | Endoscopic, Articulating/Roticulating, Powered | ER689 | 447 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ezisurg easyEndo E-lite single use powered endoscopic linear stapler | Ezisurg easyEndo E-lite powered endoscopic linear stapler, single use | Anastomosis length 45, 60 mm Shaft length 160-340mm (overall length 260-440mm) | 431191 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.02 - Staplers | Endoscopic, Articulating/Roticulating | ER690 | 357 | EMERGO ASIA-PACIFIC PTY. LIMITED | Ezisurg easyEndo endoscopic linear cutting staplers for single use | Ezisurg easyEndo endoscopic universal and lite disposable linear cutting staplers. | 70-440 mm | 355633 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.02 - Staplers | Endoscopic, Articulating/Roticulating, Powered | ER695 | 447 | EMERGO ASIA-PACIFIC PTY. LIMITED | IntoCare Endostapler, including handle | Endoscopic articulated stapler, inclusive of handle | 65-250 mm | 389093 389152 |  | March 2025 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.04 - Staples, Non-bone with Disposable Applier | Endoscopic, Circular | ER693 | 671 | EMERGO ASIA-PACIFIC PTY. LIMITED | IntoCare Circular Stapler including handle, powered | Endoscopic Circular Stapler inclusive of handle, powered | 21-33 mm | 390947 |  | March 2025 | New listing
10 - Vascular | 10.07 - Arterial Closure Devices | 10.07.01 - Arterial Closure Devices |  |  | XS001 | 290 | HAEMONETICS AUSTRALIA PTY LTD | VASCADE | Vascular closure system | 5F and 6/7 F | 427854 |  | March 2025 | New listing