## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
BL042 | 01 - Ophthalmic | LuxGood Preloaded | The LuxGood intraocular lens (IOL) is a single-piece ultraviolet (UV) absorbing, posterior chamber, hydrophobic acrylic IOL, blue light filtering and has aspheric optics. The lens is provided sterile and is designed to be folded prior to insertion into the eye. The preloaded intraocular LuxGood lens is supplied with a Delivery System to provide a touch-free method of delivery of the lens into the capsular bag. | Body Diameter: 6.0 mm +/- 0.1 mm, Overall Diameter: 11.00 mm +/- 0.2 mm. Power Range: +0.00 D to +34.00 D | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Description, Size
KG036 | 01 - Ophthalmic | Simedice Intraocular Lens | Foldable Acrylic Single-piece Lens with Blue Light Protection and Aspheric Correction | Spherical power: +10.0 to +30.0 D, in 0.5 increments | KEVIN GRUNDY (IBD) PTY. LIMITED |  | Change to ARTG
QQ566 | 01 - Ophthalmic | Asqelio Toric Soft Hydrophobic Intraocular Lens | One-piece foldable posterior chamber, UV absorbing IOL | Diopter power range: +10.0 D to +30.0 D in 0.5 D increments; Cylinder power: 0.5 D to 6.0 D in 0.5 D increments. Overall diameter 13mm, Optic diameter 6mm. | LUMOS MEDICAL PTY LTD |  | Change to Size
AL064 | 01 - Ophthalmic | Clareon Vivity Toric Extended Vision Hydrophobic Intraocular Lens with AutonoMe(Model CNAET2-CNAET6) | Toric, presbyopia correcting, UV-absorbing, blue light filtering, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System. | +6.0 to +30.0 diopters (in 0.5 diopter increments); Cylinder 1.00 to 3.75 diopters | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Size
AL066 | 01 - Ophthalmic | Clareon Vivity Extended Vision Hydrophobic Intraocular Lens with AutonoMe (Model CNAET0) | Presbyopia correcting, UV-absorbing, blue light filtering, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System. | +6.0 to +30.0 diopters (in 0.5 diopter increments). | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Size
AL067 | 01 - Ophthalmic | Clareon Vivity UV Absorbing IOL with AutonoMe Automated Pre-loaded Delivery System ( Model CCAET0) | Presbyopia correcting, UV-absorbing, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System | +6.0 to +30.0 diopters (in 0.5 diopter increments). | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Size
AL069 | 01 - Ophthalmic | Clareon Vivity Toric Extended Vision UV Absorbing IOL with AutonoMe (Model CCAET2-CCAET6) | Toric, presbyopia correcting, UV-absorbing, foldable, single-piece posterior chamber IOL, pre-loaded on the AutonoMe Automated Delivery System, which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances, and also corrects preexisting corneal astigmatism. | +6.0 to +30.0 diopters (in 0.5 diopter increments); Cylinder: 1.00 to 3.75 diopters | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to Description, Size
BL048 | 01 - Ophthalmic | LuxSmart Preloaded | The LuxSmart intraocular lens (IOL) is a single-piece ultraviolet (UV) absorbing, posterior chamber, hydrophobic acrylic IOL, blue light filtering and has aspheric optics. The lens is provided sterile and is designed to be folded prior to insertion into the eye. The preloaded intraocular LuxSmart lens is supplied with an Delivery System to provide a touch-free method of delivery of the lens into the capsular bag. | Body Diameter: 6.0 mm +/- 0.1 mm, Overall Diameter: 11.00 mm +/- 0.2 mm. Power Range: +0.00 D to +34.00 D. | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Description, Size
BL049 | 01 - Ophthalmic | LuxSmart Toric Preloaded | The LuxSmart Toric intraocular lens (IOL) is a single-piece ultraviolet (UV) absorbing, posterior chamber, hydrophobic acrylic IOL, with blue light filtering and has aspheric and toric optics. The lens is provided sterile and is designed to be folded prior to insertion into the eye. The preloaded intraocular LuxSmart lens is supplied with an Delivery System to provide a touch-free method of delivery of the lens into the capsular bag. | Body Diameter: 6.0 mm; Overall Diameter: 11 mm; Haptic Angle: 0deg ; Powers: +6.00 to +34.00 Diopters; Cylindrical Powers: +0.75 to +6.00 Diopters | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Description, Size
LL005 | 01 - Ophthalmic | enVista Envy Toric Trifocal IOL | The enVista Envy toric IOL Model: ETN, trifocal, UV-absorbing, posterior chamber, hydrophobic acrylic IOL. Aspheric lens optic, square posterior edge, modified C haptics. Can be folded for insertion into the eye. | +6.0 to +34.0D (0.5D increments), +1.6D intermediate add power, +3.1D near add power, Cylinder powers: 0.75D, 0.90D, 1.25D, 1.50D, 2.00D, 2.50D, 3.00D, 3.50D, 4.25D, 5.00D, 5.75D | BAUSCH & LOMB (AUSTRALIA) PTY LTD |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
AL006 | 01 - Ophthalmic | PROVISC VISCOELASTIC SOLUTION | PROVISC contains sodium hyaluronate | 0.85mL pack | ALCON LABORATORIES (AUSTRALIA) PTY LTD |  | Change to ARTG
DV009 | 01 - Ophthalmic | Morcher Capsular Tension Ring | PMMA Implant | 9 -12mm | Designs for Vision Pty Ltd |  | Change to ARTG, Size
DV029 | 01 - Ophthalmic | Morcher Eyejet Capsular Tension Ring | PMMA implant on disposable injector | 10-12mm | Designs for Vision Pty Ltd |  | Change to Product name, ARTG, Description, Size
DV010 | 01 - Ophthalmic | Morcher Complex CTR, Cionni Rings for Scleral Fixation, and Capsular Segments for Scleral Fixation | Complex PMMA Implant | 8.5-11mm | Designs for Vision Pty Ltd |  | Change to Product name, ARTG, Description, Size
OL094 | 02 - Ear, Nose & Throat | Ossicular Prosthesis - PORP | Drum-to-Stapes, Goldenberg Malleable, Modified, Off-Centered, Sheehy Modified, Off-Centered Cap, MicronTM and MirconTM Adjustable Prosthesis | Length 1.5 - 5.1mm | OLYMPUS AUSTRALIA PTY LTD |  | Change to Description, Size
UK025 | 03 - General Miscellaneous | HANAROSTENT Pancreatic Stent | Pancreatic Covered Stent | Diameter 10, 12, 14 and 16mm, Length 20-40mm | The Trustee for Giorgios and Katarina Loizou Family Trust |  | Change to ARTG, Size
BA222 | 03 - General Miscellaneous | Bard 3DMAX Mesh, Bard 3DMAX Light Mesh, and 3DMAX MID | The 3DMAX family is anatomically shaped polypropylene mesh indicated for the use in Inguinal Hernia repair. Adding 3DMAX MID to the existing billing code | Medium left, Medium Right, Large Left, Large Right; 3.1 - 10.8cm x 5.3 - 16.0cm | BARD AUSTRALIA PTY. LIMITED |  | Change to Product name, ARTG, Description, Size
BA223 | 03 - General Miscellaneous | Bard 3DMAX Mesh, Bard 3DMAX Light Mesh and 3DMAX MID Mesh | The 3DMAX family is anatomically shaped polypropylene mesh indicated for the use in Inguinal Hernia repair. Adding 3DMAX MID to the existing billing code | Extra Large Left, Extra Large Right; 12 - 12.4cm x 17 - 17.3cm | BARD AUSTRALIA PTY. LIMITED |  | Change to Product name, ARTG, Description, Size
MI122 | 04 - Neurosurgical | Ventricular, Opus (Opus Stylet), snap shunt, Innervision (Slit tip) hydrocephalus catheters | Ventricular catheters, range: non-metallic latex free, barium impregnated, includes stainless steel stylet; snap shunt; snap base; slit tip | 4.0 to 10 cm; 15 cm and 23.0 cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
ER612 | 04 - Neurosurgical | Alpha Omega Microelectrodes | Alpha Omega Neuroprobe family of microtargeting electrodes; shielded, Sonus shielded or unshielded, AlphaProbe, various configurations, sterile; supplied as a single unit or a pack of 3 or 10. | Length: 219-282 mm; Microtip length: 2.5-27 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Product name, Description, Size
ER614 | 04 - Neurosurgical | Alpha Omega Electrode cable | Alpha Omega Electrode cable, including Input Cable and LeadConfirm cable, sterile; supplied as a single unit or a pack of 3 or 10. | Length: 15-50 cm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Description, Size
ER613 | 04 - Neurosurgical | Alpha Omega Cannula | Alpha Omega Cannula, standard or tapered used for microelectrodes recording (MER) and for lead insertion; stylet, sterile, packed singly or a pack of 10. | Length: 130-216.5 mm Inner diameter: 0.83-1.6 mm Outer diameter: 1.23-1.81 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Description
SJ161 | 04 - Neurosurgical | Octrode Leads | Octrode Lead. 8 Electrode (thoracic or cervical placement). | 30cm, 60cm, 90cm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG
BS323 | 04 - Neurosurgical | Precision M8 Adaptor and S8 adaptor | The Boston Scientific Precision S8 Adapter is compatible with a range of Abbott leads and lead extensions and the Boston Scientific Precision M8 Adapter is compatible with a range of Medtronic leads and lead extensions | 15cm - 55cm | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name, ARTG, Description
AM042 | 05 - Urogenital | AMS700 Series Inflatable Penile Prosthesis Pump | 700 Series (Non InhibiZone) | One Size | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name, ARTG
SK075 | 06 - Specialist Orthopaedic | Stryker Plating System Basic Fragment Set | 4.5mm Reconstruction Plate | 3-9 Holes | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG,Change to Group benefit
SQ111 | 06 - Specialist Orthopaedic | Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System | Cable Plates Titanium | 6 Hole 185mm | Surgical Specialties Pty Limited |  | Change to Suffix,Change to Group benefit
HU148 | 06 - Specialist Orthopaedic | Ankle Fusion Plating System | Fusion Plate | 8-10 holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
SQ112 | 06 - Specialist Orthopaedic | Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System | Cable Plates Titanium | 8 Hole 240mm 10 Hole 290mm | Surgical Specialties Pty Limited |  | Change to Suffix,Change to Group benefit
HU314 | 06 - Specialist Orthopaedic | Locking Medial Hook Plate | Plate for fracture fixation | 6 Holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
LH824 | 06 - Specialist Orthopaedic | TriMed Hook Plate | Hook Plate | 4 to 6 holes | LMT SURGICAL PTY LTD |  | Change to Size Sponsor transferred from LIFEHEALTHCARE PTY LIMITED
OX023 | 06 - Specialist Orthopaedic | ARMAR Superior Anterior Clavicle Plates | Superior Anterior Clavicle anatomical plates | 6 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
SK546 | 06 - Specialist Orthopaedic | Stryker Plating System | T-Plates, pre-shaped | 6 holes | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG, Size,Change to Group benefit
HU130 | 06 - Specialist Orthopaedic | Posterolateral Anatomic Distal Fibula Plate | Plate for fracture fixation | ≥ 7 to ≤ 15 holes, for left and right specific | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
HU192 | 06 - Specialist Orthopaedic | Locking Lateral Hook Plate | Locking Lateral Hook Plate for Fracture Fixation of the Lateral Malleolus | 3-5 Holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix,Change to Group benefit
LH825 | 06 - Specialist Orthopaedic | TriMed Ankle Plates | Hook Plates | 8 to 12 holes | LMT SURGICAL PTY LTD |  | Change to Product name, Description, Size Sponsor transferred from LIFEHEALTHCARE PTY LIMITED
OX009 | 06 - Specialist Orthopaedic | ARMAR LPS Cloverleaf Plate | 3.5 mm cloverleaf reconstruction plate | 9-12 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
OX024 | 06 - Specialist Orthopaedic | ARMAR LPS Clavicle Hook Plates | 3.5mm anatomical clavicle hook plates | 7-10 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
OX025 | 06 - Specialist Orthopaedic | ARMAR Superior Anterior Clavicle Plate | 3.5mm anatomical clavicle plate | 7-14 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
SK547 | 06 - Specialist Orthopaedic | Stryker Plating System | T-Plates, pre-shaped | 7-13 holes | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG, Size,Change to Group benefit
ST051 | 06 - Specialist Orthopaedic | Stryker Plating System Small Fragment Set | Cloverleaf Plate | 8-15 Holes | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG,Change to Group benefit
HU124 | 06 - Specialist Orthopaedic | Dorsal Midfoot Fusion Plate | Plate for fusion | Small, Medium, Large | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix,Change to Group benefit
HU173 | 06 - Specialist Orthopaedic | X Plate | Plate for fusion | Small | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix,Change to Group benefit
SR086 | 06 - Specialist Orthopaedic | Stryker Locking Plate System | Plates including Locking, Standard and Compression | ≤ 6 holes | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix, ARTG,Change to Group benefit
SR087 | 06 - Specialist Orthopaedic | Stryker Locking Plate System | Plates including Locking, Standard and Compression | 7-15 hole | STRYKER AUSTRALIA PTY LTD |  | Change to ARTG
OX003 | 06 - Specialist Orthopaedic | ARMAR Distal Humerus Plates | TiCP anatomic humeral locking plates | 6 holes, left and right | MERIL AUSTRALIA PTY LTD |  | Change to Size
OX004 | 06 - Specialist Orthopaedic | ARMAR Distal Humerus Plates | TiCP distal humeral anatomical locking plates | 8-12 holes | MERIL AUSTRALIA PTY LTD |  | Change to Size
OX001 | 06 - Specialist Orthopaedic | ARMAR LPS Humerus Plates | TiCP humeral locking plates | 3-6 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix,Change to Group benefit
OX005 | 06 - Specialist Orthopaedic | ARMAR Distal Humerus Plates | TiCP distal humeral locking plates | 17-21 holes | MERIL AUSTRALIA PTY LTD |  | Change to Size
HU153 | 06 - Specialist Orthopaedic | Titanium Volar Radius Plating System | Fixation Plate for Distal Radius Fractures | 9-15 holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
HU178 | 06 - Specialist Orthopaedic | Titanium Volar Distal Radius Plating System | Fixation Plate for Distal Radius Fractures | 16 holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
OX020 | 06 - Specialist Orthopaedic | ARMAR 3.5 LPS Olecranon Plates | 3.5 mm anatomical olecranon locking plates | 16 - 20 holes | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
OX045 | 06 - Specialist Orthopaedic | ARMAR 4.5mm Meril Locking Plate System - Distal Femur Plate 5 Holes | TAN Distal Femur Locking Plates | 16-20 Holes, Left and Right Variants | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
HU136 | 06 - Specialist Orthopaedic | Anterolateral Distal Tibia Plate | Plate for Fracture Fixation | ≥ 16 holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
OX047 | 06 - Specialist Orthopaedic | ARMAR 4.5mm Meril Locking Plate System - Proximal Tibial Plates ≤ 6 holes | TAN Proximal Tibial Locking Plates | 16-20 holes, Left and Right | MERIL AUSTRALIA PTY LTD |  | Change to Suffix, Size,Change to Group benefit
HU202 | 06 - Specialist Orthopaedic | Calcaneal Fracture Plate | Calcaneal Fracture Plate for fixation of Calcaneal fractures | 7-15 holes | ARTHREX AUSTRALIA PTY LTD |  | Change to Size
EX047 | 06 - Specialist Orthopaedic | Equinoxe Glenosphere Locking Screw | Glenosphere screw | One size, 4.8mm | ADVITA ORTHO AUS PTY LTD |  | Change to Suffix, ARTG, Description, Size,Change to Group benefit
DZ048 | 06 - Specialist Orthopaedic | Austofix Locking Screws | Titanium Locking Screws | 5.0 mm, 6.5 mm, and 7.5 mm width; 10–100 mm length | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Change to Product name, Size
BP034 | 06 - Specialist Orthopaedic | Tyber Medical Trauma headless screw | Headless trauma screw for compression and fixation of bone Sterile or Non sterile, Titanium | 3.0mm-4.0mm | ACRA REGULATORY SERVICES PTY LTD |  | Change to Description
BP035 | 06 - Specialist Orthopaedic | Tyber Medical Trauma Headless screw | Headless trauma screw for compression and fixation of bone Sterile or Non sterile, Titanium | 2.0mm | ACRA REGULATORY SERVICES PTY LTD |  | Change to Description
KQ013 | 06 - Specialist Orthopaedic | Grappler All-Suture (Soft) Anchors System - 1.4 mm | The Grappler All Suture Anchor System is intended for the fixation of soft tissue to bone i.e. fixation of ligament and tendon graft tissue and tendon transfers in surgeries of the shoulder, elbow, knee, foot/ankle, and hand/wrist. Anchors are supplied either pre-loaded with suture, or two sutures, or suture and tape, or packed with suture/tape. | Small Suture anchor, 1.4 mm | ACTIS MEDICAL PTY LTD |  | Change to ARTG, Description
QQ109 | 06 - Specialist Orthopaedic | Rejoin HealFix Preloaded Suture & Anchor and HealFix Mini Preloaded Suture & Anchor’ | Anchor system with one or two sutures | 1.3 to 2.0mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Description, Size
QQ117 | 06 - Specialist Orthopaedic | RapidLink, RapidLink Plus and RapidLink Ultra | Meniscal Repair PEEK implants with #2-0 UHMWPE Wilsuture | Straight 0 degree, Curved 27 and 17 degree and reverse curved -5 degree | LIFEHEALTHCARE PTY LIMITED |  | Change to Product name, Description, Size,Change to Group benefit
MU178 | 06 - Specialist Orthopaedic | MectaLock and Snugfit All Suture Anchor Size 1 | MectaLock and Snugfit All Suture Anchor | diameter 1.6 and 1.8mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
QQ807 | 06 - Specialist Orthopaedic | Revolution Surgical Y-Fix All-Suture Anchor | All-Suture Anchor, loaded with sutures and/or suture tapes | 1.3mm-1.8mm | REVOLUTION SURGICAL PTY. LTD. |  | Change to Product name, Description
QQ575 | 06 - Specialist Orthopaedic | ICONIX Knotless | ICONIX Knotless Anchor and Suture | 1.4mm | STRYKER AUSTRALIA PTY LTD |  | Change to Description
KQ014 | 06 - Specialist Orthopaedic | Grappler All-Suture (Soft) Anchors System - 2.8 mm | The Grappler All Suture Anchor System is intended for the fixation of soft tissue to bone i.e. fixation of ligament and tendon graft tissue and tendon transfers in surgeries of the shoulder, elbow, knee, foot/ankle, and hand/wrist. Anchors are supplied either pre-loaded with suture, or two sutures, or suture and tape, or packed with suture/tape. | Medium Suture anchor, 2.8 mm | ACTIS MEDICAL PTY LTD |  | Change to ARTG, Description
KQ017 | 06 - Specialist Orthopaedic | Grappler Suture Anchor, Titanium 3.0 mm | The Grappler Titanium Suture Anchor System is intended for the fixation of soft tissue to bone i.e. fixation of ligament and tendon graft tissue and tendon transfers in surgeries of the shoulder, elbow, knee, foot/ankle, and hand/wrist. Anchors are supplied either pre-loaded with suture, or two sutures, or suture and tape, or packed with suture/tape. | 3.0 x 12 mm | ACTIS MEDICAL PTY LTD |  | Change to ARTG, Description
MU179 | 06 - Specialist Orthopaedic | MectaLock and Snugfit All-Suture Anchor Size 2 | MectaLock and Snugfit All-Suture Anchor | diameter 2.4 and 2.8 mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
QQ808 | 06 - Specialist Orthopaedic | Revolution Surgical Y-Fix All-Suture Anchor | All-Suture Anchor, loaded with sutures and/or suture tapes | 2.8mm | REVOLUTION SURGICAL PTY. LTD. |  | Change to Product name
KQ018 | 06 - Specialist Orthopaedic | Grappler Suture Anchor, Titanium 4.5 mm | The Grappler Titanium Suture Anchor System is intended for the fixation of soft tissue to bone i.e. fixation of ligament and tendon graft tissue and tendon transfers in surgeries of the shoulder, elbow, knee, foot/ankle, and hand/wrist. Anchors are supplied either pre-loaded with suture, or two sutures, or suture and tape, or packed with suture/tape. | 4.5 x 15 mm | ACTIS MEDICAL PTY LTD |  | Change to ARTG, Description
QQ810 | 06 - Specialist Orthopaedic | Revolution Surgical ExtraLock Suture Anchor | Knotless Suture Anchor (with sutures/suture tape) including ExtraLock Knotless Self-punching; ExtraLock Knotless Biceps Tenodesis; and ExtraLock Knotless Suture Anchor | 4.5mm - 9.0mm | REVOLUTION SURGICAL PTY. LTD. |  | Change to Description
SL235 | 06 - Specialist Orthopaedic | TSF / SMART TSF (Taylor Spatial Frame) | 3D Struts - SMART Standard Struts, SMART FX Struts, FAST FX Struts, and Acute Quick Connect Struts | XX Short – Long | SMITH & NEPHEW PTY LIMITED |  | Change to Product name, Suffix, ARTG, Description,Change to Group benefit
SN955 | 06 - Specialist Orthopaedic | Taylor Spatial Frame (TSF) | Circular Frame Strut Device | Medium and Long | SMITH & NEPHEW PTY LIMITED |  | Change to Product name, ARTG, Description, Size
ST884 | 06 - Specialist Orthopaedic | Apex Pins – External Fixation | Frame Component – Orthopaedic Pins | Thread diameter: 1.65-6mm, Shaft diameter: 2-5mm, Total length: 33-300mm, Shaft length: 10-90mm | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, ARTG, Description, Size
HK013 | 06 - Specialist Orthopaedic | Palacos Bone Cement with Gentamicin | Single mix PMMA with Gentamicin supplied in regular viscosity, medium viscosity and low viscosity. | 10, 20, 40, 60 gms | Heraeus Medical Australia Pty Ltd |  | Change to Product name, ARTG, Description, Size
QQ578 | 06 - Specialist Orthopaedic | adbone BCP | Bone Graft Substitute - Block, Wedge, Granules (0.1-0.5mm, 0.5 - 1mm, 1-2mm, 3-4mm) Crunch (4-7mm), Cylinder (8 x20mm) | 0-5gms | AUSTRALIAN ALLOGRAFTS PTY LTD |  | Change to Description
HW689 | 06 - Specialist Orthopaedic | Osteoset Bone Void Filler | Calcium Sulphate | 3mm & 4.8mm Pellets 2cc-5cc | STRYKER AUSTRALIA PTY LTD |  | Change to Size
HW686 | 06 - Specialist Orthopaedic | Osteoset Bone Void Filler | Calcium Sulphate | 3mm & 4.8mm pellets 10cc | STRYKER AUSTRALIA PTY LTD |  | Change to Product name, Size
VQ001 | 07 - Plastic and Reconstructive | Striate+ | Resorbable collagen barrier membrane | 15mm x 20mm, 20 x 30mm, 30mm x 40mm, 40mm x 50mm | ORTHOCELL LIMITED |  | Change to Product name, ARTG
HW510 | 07 - Plastic and Reconstructive | Delta Resorbable Fixation System | Resorbable Screws - Standard and Emergency | 1.7-2.6mm diameter, 3-10mm length - Packs of 1, 2, 4, 10 | STRYKER AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
GZ003 | 07 - Plastic and Reconstructive | JD Permanent Abutments | Titanium Abutments | 1.5mm to 9.0mm (height) | AUSTRALIAN CRANIOFACIAL IMPLANTS PTY LTD |  | Change to Size
SB025 | 07 - Plastic and Reconstructive | Straumann Zygomatic Screw-Retained Abutment | Titanium screw-retained abutments, straight and angled. | Screw retained abutment diameter 4.6mm, Diameter 4.0mm Ex-Hex, Gingival height 1.5mm - 4.5mm. | STRAUMANN PTY LTD |  | Change to Description, Size
GZ004 | 07 - Plastic and Reconstructive | JD Temporary Abutments | Titanium Abutments | 3.2mm to 7.5mm (diameter), 1.0mm to 9.0mm (height) | AUSTRALIAN CRANIOFACIAL IMPLANTS PTY LTD |  | Change to Size
SB024 | 07 - Plastic and Reconstructive | Straumann Zygomatic Implant, ZAGA Round and ZAGA Flat | Titanium zygomatic implant, round or flat | 4.3mm and 4.5mm diameter, 30mm - 60mm length | STRAUMANN PTY LTD |  | Change to Size
GZ002 | 07 - Plastic and Reconstructive | JDEvolution Plus, JDEvolution S, JDIcon Plus, JDIcon Ultra S, JDNasal, JDPterygo Dental Implants | Titanium Dental Implants | 2.75mm to 6.0mm (diameter), 6 to 30mm (height) | AUSTRALIAN CRANIOFACIAL IMPLANTS PTY LTD |  | Change to Product name, Size
JN001 | 07 - Plastic and Reconstructive | ARDS Implants | Titanium implants (SMART, CIT, Classic, PSI, Premium, One Piece) | (3 - 6)mm diameter x (6-60)mm length | DENTAL DEVICES PTY LTD |  | Change to Description, Size
SJ424 | 08 - Cardiac | Gallant HF CRT-D Model CDHFA500Q | Cardiac Resynchronisation Therapy Defibrillator | 34cc, 81g | ABBOTT MEDICAL AUSTRALIA PTY LTD. | The benefit includes a component for remote monitoring services provided via a remote monitoring system or a smart device application. A separate benefit cannot be claimed in respect of a remote monitoring system listed on Part C of the Schedule. | Change to ARTG
SJ365 | 08 - Cardiac | Endurity MRI PM1172 | MR Conditional Single Chamber Pacing System | 9.7cc, 19g | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
SJ366 | 08 - Cardiac | Endurity MRI PM2172 | Dual Chamber MR Conditional Rate Responsive Pacemaker | 10.4cc, 20g | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
SJ403 | 08 - Cardiac | Quadra Allure MP MRI | CRT Quadripolar, Rate Responsive Pacemaker with multipoint pacing | 26g, 15cc | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG, Size
MI195 | 08 - Cardiac | TYRX / TYRX III Absorbable Antibacterial Envelope | Antibacterial surgically implanted mesh envelope which stabilises cardiac implantable electronic device (CIED) placement and prevents infection. | 6.3 x 6.9cm, 7.4 x 8.5cm 6.3 x 6.9cm, 7.3 x 8.8cm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, ARTG, Description, Size
SJ261 | 08 - Cardiac | Amplatzer Septal and Amplatzer Multi-Fenestrated Septal - Cribriform Occluders | Self-expanding nitinol mesh, double-disc occlusion device for use in atrial septal defects | Waist diameter 4-40mm; Waist length 3-4, Disc diameter 18-40 | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Description, Size
SJ262 | 08 - Cardiac | Amplatzer Muscular and P.I. Muscular VSD Occluders | Self-expanding double disc devices made of nitinol wire for the occlusion of muscular ventricular septal defects (VSD) | 4 - 24mm | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to Product name, ARTG, Description
EL064 | 09 - Cardiothoracic | Edwards INSPIRIS RESILIA Aortic Valve, Model 11500A | A stented, trileaflet aortic valve, with leaflets comprised of RESILIA bovine pericardial tissue mounted on a flexible cobalt-chromium alloy frame | INSPIRIS RESILIA is available in tissue annulus/stent diameter sizes 19, 21, 23, 25, 27, and 29 mm. | EDWARDS LIFESCIENCES PTY LIMITED |  | Change to Description
GT260 | 10 - Vascular | Conformable GORE TAG Thoracic Endoprosthesis | Conformable GORE TAG | Diameters (mm): 28, 31, 34, 37, 40, 45Length (cm) 15; Tapered Stent Grafts: Diameters (mm): 45x37; 40x34; 37x31; 34x28; Lengths (cm): 15 | W L GORE & ASSOCIATES (AUSTRALIA) PTY LTD |  | Change to Size
MI061 | 10 - Vascular | Endurant II AAA Aortic Extension | Endurant II Endoluminal Stent Graft System - Aortic Extension | Proximal diameter: 23 to 36mm; distal diameter: 23 to 36mm; Covered length: 49mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
WC038 | 10 - Vascular | Coil - Embolisation Coils MWCE-TORNADO | Tornado Platinum | Diameters: .018 and .035, Coiled Embolus Diameters: 2mm to 10mm, Extended Embolus Lengths: 2-14.2cm | WILLIAM A. COOK AUSTRALIA PTY. LTD. |  | Change to Size
DP546 | 11 - Hip | C-Stem AMT Femoral Stem | Stainless steel Ortron 90, highly polished, triple taper | Size 1-8 standard Offset, Size 1-8 High Offset, Long Size 2-3, Standard Offset; Long Size 2-3 High Offset; CDH and 1A to 3A sizes | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix
SN268 | 11 - Hip | CPCS | Femoral Stem Polished Non Porous, Std and High Offset | XSM, 0-5 | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix, ARTG
HW041 | 11 - Hip | Exeter Hip System | Stainless Steel (Orthinox) | Stem Sizes 0-6, Offsets 30, 33, 35.5, 37.5, 44, 50 & 56mm | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
ZI009 | 11 - Hip | Zimmer CPT Hip Systems Femoral Stem | Co Cr (Zimaloy), polished and tapered | Sizes 1 - 5 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
ZI373 | 11 - Hip | MS-30 Hip prosthesis | Stainless steel, polished tapered | 6 to 16 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
DP550 | 11 - Hip | C-Stem AMT Femoral Stem | Stainless steel Ortron 90, highly polished, triple taper, long stem | Size 3 x 205; 240mm; Standard Offset | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix
ZI468 | 11 - Hip | CLS Cementless Hip | Titanium, grit blast, non HA | 5 - 20 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
BI074 | 11 - Hip | Biomet Taperloc Hip System | Titanium unpolished | 4mm- 25mm diameter | ZIMMER BIOMET PTY LTD |  | Change to Suffix, ARTG
DP943 | 11 - Hip | Corail Femoral Stem | Titanium, grit blast, full HA coating, | Size 8 to 18; Offset Standard, High; Angle (in degrees) 125-135 | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix
SN303 | 11 - Hip | Synergy | Femoral Stem HA Coated beaded Titanium Alloy, Std and High offset | 9 - 18 | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
WN001 | 11 - Hip | Permedica Exacta Femoral Stem HaX-Pore -Press-fit hip femur | The Permedica Exacta HaX-Pore Femoral stem is a press-fit stem with pure titanium and hydroxyapatite coating. It is a self-locking stem with longitudinal and transverse grooves on the anterior and posterior surface to provide axial and rotational stability. The stem is manufactured using Titanium Aluminium Niobium forged alloy (Ti6AI7Nb) ISO5832/11 with a surface finish of 300 micron pure Titanium and a 50 micron hydroxyapatite plasma sprayed coating. | Sized 1-12 Angle (in degrees) 127 degrees and 135 degrees | PERMEDICA AUSTRALIA PTY LTD |  | Change to Suffix
ST541 | 11 - Hip | SecurFit Plus Max | Titanium, plasma, HA | Stem sizes 7-14 | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
ST574 | 11 - Hip | SecurFit HA Max Hip Stem | Titanium, plasma coated, HA | Stem sizes 4-14 in 127 and 132 degree neck angles | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
BI075 | 11 - Hip | Biomet Taperloc Hip System | titanium, plasma, HA | 4mm - 25mm | ZIMMER BIOMET PTY LTD |  | Change to Suffix, ARTG
JJ749 | 11 - Hip | SROM Femoral Stem | Titanium, fluted, distal polished femoral stem & neck | Stem diameter: proximal 12 - 24mm, distal 6 - 19mm; Size Standard, Stem Length: 115 - 175mm; Neck Length: 30 - 42mm; Offset: 0 - 12mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix
ZI384 | 11 - Hip | Low Profile Cup - Cups cemented | UHMPE unmodified | 22/36 to 32/64 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
ZI353 | 11 - Hip | Allofit Cup | Titanium, macro texture, non HA | 46 - 68mm | ZIMMER BIOMET PTY LTD |  | Change to Suffix
DY521 | 11 - Hip | Pinnacle Acetabular Shell | Titanium, beaded (Porocoat), not HA, acetabular cups | 38 - 80mm | JOHNSON & JOHNSON MEDICAL PTY LTD |  | Change to Suffix
ST548 | 11 - Hip | Trident acetabular component system | Titanium, arc deposited, with HA | 40-82mm OD | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
SN286 | 11 - Hip | Reflection | Acetabular Cup HA Coated Titanium Alloy, beaded | 40-80mm | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
ZI035 | 11 - Hip | Trilogy Acetabular Cup | Titanium mesh (fibre metal) with HA for UHMPE insert | 36 - 80 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
SN291 | 11 - Hip | Reflection/ Reflection3 (R3) | Acetabular Liner XLPE modified UHMPE | 22 - 44mm inner diameter, 42 - 80mm outer diameter | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
ZA067 | 11 - Hip | Longevity XLPE Acetabular liner | XLPE Acetabular liner | 35-80mm | ZIMMER BIOMET PTY LTD |  | Change to Suffix
ZI357 | 11 - Hip | Alpha Durasul Insert | UHMPE modified | 22mm x 42 to 28mm x 68 | ZIMMER BIOMET PTY LTD |  | Change to Suffix
MU098 | 11 - Hip | HX UHMWPE Constrained Liner | Double Mobility Liner, Highcross Liner for Dual Mobility Acetabular Shell. | From diameter 40 to diameter 64mm for head diameter 22.2mm. From diameter 46 to diameter 64mm for head diameter 28mm. | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Size
QQ690 | 11 - Hip | EPORE Acetabular Augment System | Spongiosa and cancellous screw | 6.5 x 15mm - 80mm and 8 x 40-100mm | LIFEHEALTHCARE PTY LIMITED |  | Change to Description, Size
SN991 | 12 - Knee | Genesis II Knee System Femoral Component | Femoral Component, cemented, CoCr | 1-8 Left & Right | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
SK324 | 12 - Knee | Triathlon Knee System Femoral Component | Minimally stabilised, cemented, CoCr | Sizes 1 to 8 | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
BI898 | 12 - Knee | Vanguard Total Knee System | Femoral Component, CR, Cemented, anatomic, CoCr. | 55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 Left and Right | ZIMMER BIOMET PTY LTD |  | Change to Suffix
SN989 | 12 - Knee | Genesis II Knee System Femoral Component | Femoral component, cemented posterior stabilised, CoCr | 1-8 Left & Right | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
ZI590 | 12 - Knee | NexGen CR Flex Femoral Components - Precoat | Cobalt Chrome, High Flex, Precoat cemented, Cruciate retaining | Sizes A to G, Left to Right, GSF C to G Left to Right | ZIMMER BIOMET PTY LTD |  | Change to Suffix
SL047 | 12 - Knee | Genesis II Oxinium | Genesis II Femoral component, Oxinium, cemented | Left / Right 1-9 | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
SN987 | 12 - Knee | Genesis II Oxinium | Genesis II Femoral Component, cemented, posterior stabilised, Oxinium | Left / Right 1-9 | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
SN857 | 12 - Knee | Genesis II Knee System Tibial Baseplate | Tibial Baseplate, cemented, Titanium, grit blasted | 1 - 9 | SMITH & NEPHEW PTY LIMITED |  | Change to Suffix
SK327 | 12 - Knee | Triathlon Knee System Tibial Baseplate | Tibial baseplate, cemented, CoCr | Sizes 0 to 8 | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
HT060 | 12 - Knee | Pantheon Semi-Mobile Tray Cemented | Salvage tibial baseplate with and without TiNbN coating, polished insert interface for mobile bearing insert. Part of the Pantheon Limb Salvage System | Small, Medium, Large, TiNbN | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
SK328 | 12 - Knee | Triathlon Knee System Tibial Insert | Minimally stabilised, tibial insert, UHMWPE, (N2VAC) | Sizes 0 to 8 (9/11/13/16/19/22/25mm thickness) | STRYKER AUSTRALIA PTY LTD |  | Change to Suffix
ZI450 | 12 - Knee | Natural Knee Tibial Insert | Tibial Insert, UHMWPE, Highly crossed linked (Durasul PE), congruent and ultra congruent | 00 to 5, 9 to 22mm | ZIMMER BIOMET PTY LTD |  | Change to Suffix
ZI584 | 12 - Knee | NexGen Prolong Flex Articulating Surface | Highly Crosslinked - Ultra High Molecular Weight Polyethylene - Fixed Bearing - CR | Height 10-20mm | ZIMMER BIOMET PTY LTD |  | Change to Suffix
SN997 | 12 - Knee | JOURNEY II UK Unicompartmental Tibia Insert Component | Unicompartmental Tibial Inserts (Medial/Lateral), XLPE, Fixed | Size 1-10 or Size 0-7, Thickness 8-14mm | SMITH & NEPHEW PTY LIMITED |  | Change to Size
HT056 | 12 - Knee | Pantheon Distal Femur | Distal Femoral Component of Pantheon limb salvage system with or without a TiNbN coating | Left, Right, Small, Medium, Large, TiNbN | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
HT059 | 12 - Knee | Pantheon Salvage Proximal Tibia | Proximal Tibia Component CoCr Alloy with or without a TiNbN coating compatible with the Genus Pantheon Femur, Pantheon Distal Femur. | Small, Medium, TiNbN | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
HT047 | 12 - Knee | Genus Pantheon Augments | Distal Femoral, Posterior Femoral and Tibial Augments for use with Genus Pantheon system | RL/LM, LL/RM, 1-6, 5mm to 10mm | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to Product name, Description, Size
ZI145 | 12 - Knee | NexGen Femoral Augments | Femoral blocks, combined posterior distal block | C - G | ZIMMER BIOMET PTY LTD |  | Change to Product name, ARTG
HT057 | 12 - Knee | Pantheon Hinge | Hinge Mechanisms For Pantheon Semi Mobile Tray and Genus Pantheon Tray, Pantheon Proximal Tibia with or without a TiNbN coating | Small, Medium, Large. 70mm, 40mm, TiNbN | ADLER ORTHO AUSTRALIA PTY LTD |  | Change to ARTG, Description, Size
IY003 | 13 - Spinal | Katana Monoaxial/Uniplanar Screw | Monoaxial/Uniplanar Pedicle Screw | 4.5 - 7.5mm diameter 20 - 55mm length | EVOLUTION SURGICAL PTY LTD |  | Change to Product name
MU125 | 13 - Spinal | M.U.S.T Monoaxial and Uniplanar Pedicle Screws Cannulated | Monoaxial screws cannulated | 4.5 - 7 mm, Length 20- 90 mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Size
MU126 | 13 - Spinal | M.U.S.T Monoaxial and Uniplanar Pedicle Screws | Monoaxial Screws | 4 - 8mm; Length 20-90 mm. | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Size
NV112 | 13 - Spinal | RELINE-O, Reline and Reline Small Stature Monoaxial Screws | Fixed Screw | 4.0mm-12.5mm in diameter; 17.5-120mm in length | NUVASIVE (AUST/NZ) PTY LTD |  | Change to Product name, ARTG, Size
ER332 | 13 - Spinal | Ulrich Pedicle Screw System-Pedicle Screw, polyaxial, cannulated | Ulrich Pedicle Screw System (uCentum)-Pedicle Screws (reduction/prefixation/with extended Tabs for MIS)-polyaxial, cannulated, with or without fenestrations, non-sterile or sterile. | dia (4.5-11.5 mm) x length (25-60 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Description, Size
GW085 | 13 - Spinal | Virage Pedicle Polyaxial Screws | Polyaxial and Polyaxial Smooth Shank Pedicle screws | 3.5mm-5.0mm x 10-45mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
MU106 | 13 - Spinal | M.U.S.T Polyaxial Pedicle Screws Cannulated | Polyaxial Screws, Cannulated. Standard, LT, MC, MIS and Reduction Screws with full and partial threads. | 4.5-10mm; Length 20 -120mm | MEDACTA AUSTRALIA PTY. LTD. |  | Change to Product name, Suffix, Description, Size,Change to Group benefit
MI544 | 13 - Spinal | ModuLeX Spinal System - Screw Shank | Screw Shank | Diameter: 4.0mm to 12.5mm Length: 15mm to 110mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
NV133 | 13 - Spinal | Reline System (cannulated polyaxial screw) | Cannulated Polyaxial Screw (Polyaxial, Poly (open) Iliac, Traction Poly) | 4.5-12.5 mm diameter, 20-120mm length | NUVASIVE (AUST/NZ) PTY LTD |  | Change to ARTG, Description, Size
GW087 | 13 - Spinal | Virage Occipital Screws | Occipital Screws | 4.5mm x 6-16mm, 5.25mm x 6-16mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG
KH060 | 13 - Spinal | Adena-Zina&Illiac Break-off set screw, ZEUS Torsional Set Screw for use with rods and pedicle Screws | Adena-Zina Break-of set screw, Adena-Zina iliac Break-off set screw, and ZEUS Torsional Set Screw for use with rods and pedicle screws. | 5.5 mm | KH NXGEN (AUST) PTY LIMITED |  | Change to Product name, ARTG, Description, Size
MI522 | 13 - Spinal | ModuLeX Spinal System – Set Screw | Break-off, non-break-off and reduction-break-off (to be used with pedicle screws, Tulip Heads, or hooks) | One size only | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Product name, Description
MI545 | 13 - Spinal | ModuLeX Spinal System - Set Screw (with Tulip Head) | Break-off set screw packaged with Tulip Head (to be billed with billing code MI546 for Tulip Head) | One size only | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Description
GW090 | 13 - Spinal | Virage Cable Connector | Cable Connector | One Size | EQUINOX MEDICAL PTY LTD |  | Change to ARTG
MI546 | 13 - Spinal | ModuLeX Spinal System - Tulip Head (with Set Screw) | Tulip Head packaged with break-off set screw (to be billed with billing code MI545 for Set Screw) | 4.75/5.0 mm; 5.5/6.0 mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Description
ER338 | 13 - Spinal | Ulrich Pedicle Screw System-inline connector | Ulrich Pedicle Screw System (uCentum)-inline connectors, axial or parallel (UU, UC and OC), sterile, pre-assembled with grub screws/corresponding locking set screws. | connecting rods of various diameters in the range of 4.0-6.0 mm | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description, Size
GW091 | 13 - Spinal | Virage Closed Rod Connector | Closed Rod Connector (supplied pre-assembled with set screws) | 3.5 to 5.5mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
ER339 | 13 - Spinal | Ulrich Pedicle Screw System-Offset connector | Ulrich Pedicle Screw System (uCentum)-Offset connector, incl. set screws, non-sterile or sterile (packed with set screws) | for dia 6mm x length (15-100 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Size
GW093 | 13 - Spinal | Virage Lateral Offset Connector | Virage Lateral Offset Connectors and Occipital Eyelet supplied pre-assembled with set screws | 10mm and 25mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
GW097 | 13 - Spinal | Virage Rod to Rod Transverse Connector | Rod to Rod Transverse Connector (supplied pre-assembled with hex nuts) | XS, S, M, L, XL | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
QQ665 | 13 - Spinal | Katana Crosslinks | Fixed Crosslinks, Tri-Rod Connector - includes set screw (pre-assembled with grub screw) | 19mm-27mm, Small - Extra Large | EVOLUTION SURGICAL PTY LTD |  | Change to Description, Size
LB159 | 13 - Spinal | QUARTEX T-Connectors | Rod to Rod and Head to Head T-Connectors | 21mm to 57mm - 27mm to 63mm | Globus Medical Australia Pty Limited |  | Change to Group benefit
IY069 | 13 - Spinal | Ulrich Medical Momentum Pedicle Screw System - Crosslinks integrated with grub screws | Ulrich Medical Pedicle Screw System - Rod to rod drop on and rod to rod crosslinks for use with 5.5 and 6.0mm rods with integrated grub screws. | XXS-XL | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description
GW100 | 13 - Spinal | Virage Hooks | Virage Laminar and Offset Laminar Hooks | 6mm and 8mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
GW070 | 13 - Spinal | Virage Occiptial Plates | Virage Occipital Plates and an Occipital Strap | small, medium, large | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
ER334 | 13 - Spinal | Ulrich Pedicle Screw System-Rods | Ulrich Pedicle Screw System (uCentum)-Rods, straight, curved , open or percutaneous, sterile or non-sterile. Rods 200-500 mm in length can be used for scoliosis correction. | dia 5.5-6.0 mm x length (30-500 mm) | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to Description, Size
ER341 | 13 - Spinal | Ulrich Pedicle Screw System-Rod, dual diameter | Ulrich Pedicle Screw System (neon3/uCentum)-Rod, hybrid, non-sterile or sterile | dia 4.0mm/(5.5 mm-6.0) mm, length 200-400 mm; | EMERGO ASIA-PACIFIC PTY. LIMITED |  | Change to ARTG, Description, Size
GW071 | 13 - Spinal | Virage Rods | Virage OCT Transition Rods | 3.5/5.5mm x 450mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
GW073 | 13 - Spinal | Virage Rods | Virage OCT Straight, Curved and Pre-Contoured Rods | 3.5mm x 25-400mm | EQUINOX MEDICAL PTY LTD |  | Change to ARTG, Description
MC587 | 13 - Spinal | CD Horizon Spinal System - Percutaneous Rod | Longitude II 4.75 and 5.5; Solera Voyager 5.5; Solera Sextant 4.75 - Cobalt Chrome and Titanium; Straight and Pre-Bent | Length: 30 mm to 500 mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to Description
MI543 | 13 - Spinal | ModuLeX Spinal System - Rod | Rod | Diameter: 5mm to 6mm Length: 424mm to 500mm | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG
GW074 | 13 - Spinal | Virage Occipital Rod | Occipital Hinged Rod | One size | EQUINOX MEDICAL PTY LTD |  | Change to ARTG
QQ082 | 13 - Spinal | IdentiTi ALIF Standalone Interbody System | Integrated Fixation Cage Including 2 Lateral Fixation Screws and 1 (Centre Screw or Cannulated Fixation Bolt), Ti Alloy | Cage: (34 - 42)mm x (24 - 30)mm footprint x (4 - 13)mm height, (10 - 30) degree lordosis. Screw: (5 - 6)mm diameter x (25 - 35)mm length. Bolt: (8.5 - 9)mm diameter x (25 - 35)mm length | ALPHATEC AUSTRALIA PTY LTD |  | Change to Size
DE796 | 13 - Spinal | Meridian No Profile Cage with Faceplate, Locking Cover and Screws | No Profile ALIF cage with Titanium faceplate - two or three hole, locking cover and screws | Cage 31x24, 35x27, 39x30, 43x30; 10-20mm Heights; 10,15,20 & 25 Degree Lordosis; Screws: 5.5 & 6.0mm,20mm-35mm. Faceplate Locking cover: 2 & 3 holes, 10-20mm. Locking cover: one size | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to Product name, Description, Size
DE797 | 13 - Spinal | Meridian TruProfile ALIF Cage, Plate, Locking Cover, Screws | Anterior lumbar cage with plate, locking cover and screws | Cage: 31x24, 35x27, 39x30, 43 x 30 ;10-20mm Heights;10, 15, 20 & 25 Degree Lordosis Plate: 2 & 4 Hole, Size 10mm-20mm Locking Cover: 10mm-20mm Screws: 5.5 & 6.0mm, 20mm-35mm | DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. |  | Change to Size
QQ488 | 13 - Spinal | Transcend NanoTec Interbody System. Transcend-PS with Advanced NanoTec Treatment. | Spacer, Posterior Straight, PEEK Ti Alloy HA | 9mm width x (22-25)mm length x (7-14)mm height x (0-20) degree lordosis | ALPHATEC AUSTRALIA PTY LTD |  | Change to Product name, Size
IY072 | 13 - Spinal | Tesera-k PL | Titanium Posterior Lumbar Cages | Length (22-34mm) x Width (09-11mm) x Height (7-16mm) Lordotic angle (0-17) Degrees | EVOLUTION SURGICAL PTY LTD |  | Change to Product name, Description, Size
QQ565 | 13 - Spinal | DIVA 3D TLIF | Titanium TLIF Postero-Lateral and Rotating Lumbar Cages | Standard and Twist, Size 7 to 14mm, Angle 4 and 6 degrees | NEOSPINE AUSTRALIA PTY LTD |  | Change to Description