## Prostheses List Changes
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
DE517 | 01 - Ophthalmic | Oculentis LENTIS LS-313T0-T6 | Foldable one-piece monofocal toric acrylic IOL. | Optic Size 6.0mm, Overall Length 11.00mm. Available diopters: +10.0D to +30.0D (0.5D). Cyl: (T0 +0.75D) (T1 +1.5D) (T2 +2.25D) (T3 +3.0D) (T4 + 3.75D) (T5 + 4.5D) (T6 +5.25D) | Device Technologies Australia Pty Ltd |  | Changed Product Name, Product Sizes
SI008 | 03 - General Miscellaneous | Porth-A-Cath Power P.A.C Titanium Implantable Venous Access Device | Single Lumen Portal, Standard and Low Profile Titanium | 6 - 8.5 Fr | Smiths Medical Australasia Pty Ltd |  | Changed Product Description, Product Sizes
SI010 | 03 - General Miscellaneous | PORT-A-CATH Titanium Implantable Access System | Port - single lumen | 6 - 9 Fr | Smiths Medical Australasia Pty Ltd |  | Changed Product Name, Product Sizes
SI017 | 03 - General Miscellaneous | Power Port-A-Cath II Implantable Vascular Access Device | Injection/Infusion Ports, Sterile, Single Lumen, Power-injectable Port | 6 - 9 Fr | Smiths Medical Australasia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
SI023 | 03 - General Miscellaneous | PORT-A-CATH II Power Dual Lumen Titanium Implantable Vascular Access Device | Power Port - dual lumen | 7 - 10 Fr | Smiths Medical Australasia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
BX247 | 03 - General Miscellaneous | Intermate | Sterile infusor devices, elastomeric driven | SV 200 - 200ml/hr, nominal 100ml vol. max 105 mL. SV 100 - 100ml/hr, nominal 100ml vol. max 105 mL. LV 250, 250ml/hr, 275ml vol. SV 50 - 50ml/hr, nominal 100ml vol. max 105mL. LV 100 - 100ml/hr, 275ml vol. LV 50, 50ml/hr, 275ml vol | Baxter Healthcare Pty Ltd |  | Changed Benefit, Suffix
BX281 | 03 - General Miscellaneous | Baxter Folfusor | Sterile infusor devices, elastomeric driven. Folfusor SV 0.5mL/hr 120mL (Baxter Code 2C4700K), Folfusor SV 2.5mL/hr 120mL (Baxter Code 2C4711K), Folfusor SV 5mL/hr 120mL (Baxter Code 2C4705K). The Baxter Folfusor is a disposable infusion pump used in an ambulatory setting for the continuous infusion of intravenous medications. The codes listed above represent three separate flow rates specific to Chemotherapy protocols. | 120mL Maximum Volume | Baxter Healthcare Pty Ltd |  | Changed Product Description, Benefit, Suffix
BX287 | 03 - General Miscellaneous | Intermate XLV 250 | Sterile infusor devices, elastomeric driven. The Intermate XLV 250 is an ambulatory device utilising elastomeric technology to deliver continuous infusion of parenteral therapy to patients in an ambulatory setting. The device is specifically suitable for patients requiring intravenous immunoglobulin therapy. The nominal flow rate of the Intermate XLV 250 is 250mL/hr, however when used for the administration of IVIG the flow rate is reduced to approximately 120mL/hr. | Volume 500mL. Approximate infusion time for IVIG solutions is 4.2 hrs. | Baxter Healthcare Pty Ltd |  | Changed Product Description, Benefit, Suffix
BX327 | 03 - General Miscellaneous | Infusor | Sterile Infusor Devices, Elastomeric Driven | LV 10, 10ml/hr, 240ml vol LV 5, 5ml/hr, 240ml vol | Baxter Healthcare Pty Ltd |  | Changed Product Sizes, Benefit, Suffix
BX328 | 03 - General Miscellaneous | Infusor | Sterile Infusor Devices, Elastomeric Driven | LV 2, 2ml/hr, 275 ml vol; LV 1.5, 1.5ml/hr, 275 ml vol. | Baxter Healthcare Pty Ltd |  | Changed Product Sizes, Benefit, Suffix
MS066 | 03 - General Miscellaneous | Cellnovo Insulin Infusion System | Continuous Subcutaneous Insulin Infusion Pump | The Cellnovo Insulin Infusion System is only available in one size. | Medical Specialties Australasia Pty Ltd |  | Changed Part C
BS315 | 03 - General Miscellaneous | Embozene Tandem Microspheres | Embozene TANDEM Microspheres are spherical tightly calibrated, biocompatible, non-resorbable, hydrogel microspheres with an inorganic polyzene-F coating, colour coded to indicate microsphere size. Each 20mL syringe is filled with 2 ml of product suspended in a non-pyrogenic physiological slaine transport solution. Embozene TANDEM Microspheres may be loaded with Doxirubican-HCl and Irinotecan-HCl up to 50mg/ml which can elute local, controlled, sustained doses of drugs to targeted tumour sites after embolisation. | Tandem 2ml 40 ± 10 µm Tandem 2ml 75 ± 15 µm Tandem 2ml 100 ± 25 µm | Boston Scientific Australia Pty Ltd |  | Changed Product Sizes
BS316 | 03 - General Miscellaneous | Embozene Tandem Microspheres | Embozene TANDEM Microspheres are spherical tightly calibrated, biocompatible, non-resorbable, hydrogel microspheres with an inorganic polyzene-F coating, colour coded to indicate microsphere size. Each 20 mL syringe is prefilled with 3 mL of product suspended in a non-pyrogenic physiological saline transport solution. Embozene TANDEM microspheres may be loaded with Doxorubican-HCI and Irinotecan-HCI up to 50 mg/ml which can elute local, controlled, sustained doses of the drugs to targeted tumour sites after embolisation. | Tandem 3ml 40 ± 10 μm Tandem 3ml 75 ± 15 μm Tandem 3ml 100 ± 25 μm | Boston Scientific Australia Pty Ltd |  | Changed Product Description, Product Sizes
BX260 | 03 - General Miscellaneous | ADEPT Adhesion Reduction Solution | ADEPT Adhesion Reduction Solution is a single use, sterile fluid for intraperitoneal administration. ADEPT is intended to be used as an instillate for the reduction of adhesions following gynaecologicalpelvic laparoscopic surgery of the abdominalpelvic cavity in adults | 1500ml | Baxter Healthcare Pty Ltd |  | Changed Product Description
MI286 | 03 - General Miscellaneous | LiquiBand® Exceed™ | Topical Tissue Adhesive with Applicator | 0.8 mL, 0.36mL | Medtronic Australasia Pty Ltd |  | Changed Product Sizes
BX265 | 03 - General Miscellaneous | TISSEEL DUPLOTIP WITH SNAPLOCK 31.8 cm and 40cm | Duplotip for Two component Fibrin Sealant containing human derived fibrinogen and thrombin "Black Beauty" and bariatric surgery | A 31.8cm long dual lumen applicator or 40 cm long dual lumen applicator | Baxter Healthcare Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
JJ960 | 04 - Neurosurgical | Galaxy G3 | Stretch Resistant Coil | Length 1.5 to 30cm | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description
MN140 | 04 - Neurosurgical | Micrusframe | Stretch Resistant Coil | 2 to 18mm loop diameter | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description
MN165 | 04 - Neurosurgical | Delta Coiling Systems | Stretch Resistant Coiling | 1.5 to 24mm diameter | Johnson & Johnson Medical Pty Ltd |  | Changed Product Description
DD035 | 06 - Specialist Orthopaedic | Reverse Shoulder System | Humeral Socket Insert - UHMWPE | 32mm to 44mm | DJO Australasia Pty Ltd |  | Changed Product Sizes
DE172 | 06 - Specialist Orthopaedic | Univers Glenoid Shoulder Prostheses | Cemented glenoid | Small, Medium, Large, Extra-Large | Device Technologies Australia Pty Ltd |  | Changed Product Name, Product Sizes
DD058 | 06 - Specialist Orthopaedic | Reverse Shoulder – Glenosphere Head | Glenosphere | 32mm to 44mm, neutral or -4mm offset | DJO Australasia Pty Ltd |  | Changed Product Sizes
LO100 | 06 - Specialist Orthopaedic | LINK Knee Fusion Nail | Cobalt Chromium | 180mm, 220mm, 260mm | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
TN043 | 06 - Specialist Orthopaedic | Newclip Plating System | VAL Locking plates | 7 to 15 holes | Newclip Technics Australia Pty Ltd |  | Changed Product Name, Product Description
TN046 | 06 - Specialist Orthopaedic | VAL plates screw size ≤2.7mm | Variable angle locking complex plates | Mini : screw size ≤2.7mm <= 6 holes | Newclip Technics Australia Pty Ltd |  | Changed Product Sizes
SQ091 | 06 - Specialist Orthopaedic | Bone Screws | Cortical, Locking, Self-tapping, Standard, T20, Fully Threaded | 4.5 - 5.0mm Diameter 10-90mm Length | Surgical Specialties |  | Changed Product Description, Product Sizes
SQ143 | 06 - Specialist Orthopaedic | Bone Screws | Self-tapping, Cortical, Solid, Cancellous Thread, T20, Partially Threaded, Recon | 4.5-5.0mm Diameter 10-100mm Length | Surgical Specialties |  | Changed Product Description, Product Sizes
TN030 | 06 - Specialist Orthopaedic | Newclip Non Locking Bone Screw | Non Locking Bone Screw | ≥4.5mm diameter, Length 20 - 110mm | VICKI PARTRIDGE PTY LTD |  | Changed Product Sizes
PF002 | 06 - Specialist Orthopaedic | BePOD | Self-Compressive Screw | Lengths 10mm - 60mm | Perios Pty Ltd |  | Changed Product Sizes
PF008 | 06 - Specialist Orthopaedic | Arthrodesis Screws | Titanium Alloy Compression Screws | 10mm - 60mm | Perios Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
DZ045 | 06 - Specialist Orthopaedic | Valens Hand - Screws | Cannulated Screws | 3.0mm, 3.5mm, 4.0mm | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Benefit, Suffix
WR293 | 06 - Specialist Orthopaedic | SALVATION 3Di Plating System - OP Locking Screws | Osteopenic locking screws | Diameter: 4.0mm Length: 16mm to 60mm | Wright Medical Australia |  | Changed Product Sizes
DZ044 | 06 - Specialist Orthopaedic | Valens Hand - Screws | Cannulated Screws | 2.7mm | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Benefit, Suffix
TN018 | 06 - Specialist Orthopaedic | Newclip Compression Screws | Self-Compressive Cannulated Screws | 2.01mm - 2.7mm diameter, length 10 - 38mm | Newclip Technics Australia Pty Ltd |  | Changed Product Sizes
DE543 | 06 - Specialist Orthopaedic | Cortex Screw | Cortical Screw | 2.4mm x (08-34mm) | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
SN906 | 06 - Specialist Orthopaedic | RAPTOR Anchor | Absorbable suture anchor for repair and reattachment of the soft tissue | ≤2.3mm | Smith & Nephew Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
SM146 | 06 - Specialist Orthopaedic | RAPTOR Anchor | Suture anchor for repair and reattachment of the soft tissue | ≤2.3mm | Smith & Nephew Pty Ltd |  | Changed Product Name, Product Description, Product Sizes, Benefit, Sub Group
DE576 | 06 - Specialist Orthopaedic | FiberTak DR/ FiberTak RC/FiberTak Knotless | Suture Anchor | 2.6mm> | Device Technologies Australia Pty Ltd |  | Changed Product Name
HW639 | 06 - Specialist Orthopaedic | AIR+ Meniscus System | All Inside Meniscal Device System | 2.4mm | Stryker Australia Pty Ltd |  | Changed Product Name, Product Description
SN909 | 06 - Specialist Orthopaedic | RAPTOR Anchor | Suture anchor for repair and reattachment of the soft tissue | 2.4 – 3.9mm | Smith & Nephew Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
SN703 | 06 - Specialist Orthopaedic | Absorbable Suture Anchor | Preloaded PLLA Suture Anchor | 4.5 mm to 6.5 mm | Smith & Nephew Pty Ltd |  | Changed Product Sizes
SN429 | 06 - Specialist Orthopaedic | Smith & Nephew Tape fixation | Soft tissue repair tape | 1-5mm | Smith & Nephew Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
DR003 | 06 - Specialist Orthopaedic | BioSphere Putty | Bone Graft Substrate - Bioactive Glass | 6cc-10cc | MEDIVANCE PTY LTD |  | Changed Product Sizes
PF027 | 07 - Plastic and Reconstructive | Sternal Fixation Device | A patented complex sternal fixation system for thoracotomy | 20-70mm | Perios Pty Ltd |  | Changed Product Sizes
HW547 | 07 - Plastic and Reconstructive | Stryker Biomodelled Patient Specific Implant | Biomodelled Patient Specific Craniofacial Implant | Custom | Stryker Australia Pty Ltd |  | Changed Product Name, Product Description
BT236 | 08 - Cardiac | Rivacor 5 DR-T | Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional and AutoDetect, ComfortDesign, DF4, IS-1 connector | 66.5mm x 60mm x 10mm, 32cm3, 77grams | Biotronik Australia Pty Ltd |  | Changed Benefit, Sub Category, Group, Suffix
MI045 | 08 - Cardiac | Adaptor Kits | Lead adaptors | 10-50cm | Medtronic Australasia Pty Ltd |  | Changed Product Description, Product Sizes
MC831 | 08 - Cardiac | Medtronic Lead Extender Kits | Lead extenders | 10 - 50cm | Medtronic Australasia Pty Ltd |  | Changed Product Description, Product Sizes
BT190 | 08 - Cardiac | Biotronik BK & BS Sealing Caps & Blind Plugs | BK BS Lead Sealing Caps BS Device Blind Plugs | BK-IS: IS1/DF1 Caps BK-IS4/DF4:IS4/DF4 Caps BS-IS4: BS-IS4 Blind Plugs BS- IS1 Blind Plugs BS- DF1 Blind Plugs | Biotronik Australia Pty Ltd |  | Changed Product Description, Product Sizes
DE620 | 09 - Cardiothoracic | Park Modified Pectus Bar | Park Modified Pectus bar available in titanium alloy and stainless steel | 6" - 152mm, 7" - 178mm, 8" - 203mm, 9" - 228mm, 10" - 254mm, 11" - 279mm, 12" - 305mm, 13" - 330mm, 14" - 356mm, 15" = 381mm, 16" - 406mm, 17" - 432mm | Device Technologies Australia Pty Ltd |  | Changed Sub Group
DE621 | 09 - Cardiothoracic | Park Pectus Hinge Plate Stabiliser | Stabilisation of Pectus Bar - optional use in asymmetric or adult pectus excavatum to prevent bar displacement stripping of intercostal muscles | 65mm | Device Technologies Australia Pty Ltd |  | Changed Sub Group
PY031 | 10 - Vascular | Optimed Sinus Stents | Sinus-wave nitinol stent | Diameter: 3mm to 14mm Length: 20mm to 130mm | Pyramed Pty Limited |  | Changed Product Sizes
LO020 | 11 - Hip | Link MP Recontruction Hip Prosthesis | Titanium, Grit blast, femoral Body | 35-65mm / 126 & 135 CCD Offset Standard, XXL lateral | Link Orthopaedics Australia |  | Changed Product Description, Product Sizes
LO036 | 11 - Hip | LINK Vario bipolar Cup | Shell with unmodified polyethylene plus locking ring | Inner diameter: 28 - 32mm Outer diameter: 44 - 65mm | Link Orthopaedics Australia |  | Changed Product Sizes
LO018 | 11 - Hip | LINK IP Acetabular Cup | UHMWPE unmodified | 40 - 64mm | Link Orthopaedics Australia |  | Changed Product Sizes
LO019 | 11 - Hip | Lubinus Eccentric Acetabular Cup | UHMWPE constrained | 44 - 68mm | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
LO032 | 11 - Hip | Link acetabular cup system | Titanium, grit blast, HA | 40 - 68mm Small, medium, large | Link Orthopaedics Australia |  | Changed Product Sizes
LO033 | 11 - Hip | Link acetabular Insert | UHMWPE Insert, Cross-linked | 28mm - 36mm Small, medium, large | Link Orthopaedics Australia |  | Changed Product Name, Product Description, Product Sizes
LO151 | 11 - Hip | Link Acetabular Cup System | Ceramic Insert | 32mm -40mm Small, medium, large | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
LO013 | 11 - Hip | Link Acetabular Reconstruction Cup System | Acetabular reconstruction shell | 45 - 66 mm Small, Medium, Large | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
LO059 | 12 - Knee | LINK Endo-Model SLED Uni femoral componet | Uni Femoral Component, cemented, CoCr | Short, medium-short, medium & large | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
BB392 | 12 - Knee | Columbus Revision Tibial Insert | Columbus Revision Gliding Surface | 10mm - 32mm | B Braun Australia Pty Ltd |  | Changed Product Description
LO162 | 12 - Knee | Link Modular Knee ProsthesisSystem | Stem extender, segment | 30mm - 250mm | Link Orthopaedics Australia |  | Changed Product Name
LO180 | 12 - Knee | Endo-Model Rotational and Hinge Knee Prosthesis | Augments, spacers, segments | (5-15) mm height, (X-Small, Small, Medium or Large) footprint UHMWPE | Link Orthopaedics Australia |  | Changed Product Description
DE664 | 13 - Spinal | Mariner Pedicle Screw Shank | Posterior Fixation System | 4.5, 5.5, 6.5, 7.5, 8.5, 9.5 and 10.5mm Diameters 25-110mm Length | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
EY008 | 13 - Spinal | Reform Modular Polyaxial Screws | Module Polyaxial Screws | Diameter 4.5mm to 10.5mm Length 25mm to 120mm Cannulated and Non-Cannulated | E4 SURGICAL PTY LTD |  | Changed Product Sizes
DE627 | 13 - Spinal | Malibu Spinal System Polyaxial Reduction Screw | Malibu Spinal System Polyaxial or Uni Planar Reduction Screw | 4.5mm x 25mm - 40mm in 5mm increments 5.5mm x 25mm - 50mm in 5mm increments 6.5mm x 30mm - 55mm in 5mm increments 7.5mm x 35mm - 55mm in 5mm increments | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE669 | 13 - Spinal | icotec Pedicle System Polyaxial Screw | Polyaxial Pedicle Screw | Size(s):* 5.5, 6.5 and 7.5mm diameter 25-60mm length | Device Technologies Australia Pty Ltd | “To be reimbursed only when used in patients with spinal tumours.” | Changed Product Sizes, Condition
EY001 | 13 - Spinal | Reform Polyaxial Screw | Polyaxial Screw | Diameter 4.5mm to 10.5mm Length 25mm to 120mm Cannulated and Non-Cannulated | E4 SURGICAL PTY LTD |  | Changed Product Sizes
OH579 | 13 - Spinal | Venus Spinal Fixation Systems - Pedicle Screws - Poly Non Cannulated | Venus - Pedicle Screws - Polyaxial Non Cannulated | D 4.0-8.5mm L20-120mm | Orthotech Pty Ltd |  | Changed Product Sizes
EV024 | 13 - Spinal | NAJA ligament correction system | Braid and Connector | 5.5 and 6mm diameter, left side and right side. | Evolution Surgical |  | Changed Product Description, Product Sizes
SQ123 | 13 - Spinal | RESPONSE Spine System - BandLoc, BandLoc Duo | Clamp and Band Assembly | Single, Dual Band | Surgical Specialties |  | Changed Product Name, Product Sizes
OF080 | 13 - Spinal | Orthofix Offset Connectors | Side/Top Loading, Side/Side Loading, Side/Front Loading, Front/Front Loading, Small Side/Front Loading | Standard, 16mm and 18mm | Orthofix Australia Pty Limited |  | Changed Product Sizes
DE668 | 13 - Spinal | Mariner CrossBar | Adjustable Cross link | Small 33-41mm Medium 39-52mm Large 50-75mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
OH615 | 13 - Spinal | HumanTech - Hero Cervical Plate System - Plates | Cervical Plate | L: 21 - 53mm | Orthotech Pty Ltd |  | Changed Product Sizes
DE638 | 13 - Spinal | Malibu Spinal System Rods | Rod | 5.5mm x 30mm - 600mm 6.35mm x 100mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE667 | 13 - Spinal | Mariner Rod | Pre-contoured and straight rods | 5.5 & 6.0mm diameter 30mm - 450mm Length | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE670 | 13 - Spinal | icotec Pedicle System Rod | Pre-bent and straight rods | 5.5 mm to 6.0mm diameter 40-500 mm Length | Device Technologies Australia Pty Ltd | “To be reimbursed only when used in patients with spinal tumours.” | Changed Product Sizes, Condition
OF083 | 13 - Spinal | Orthofix Z Rod | Pre-bent Z Rod | Standard, 16mm, 18mm Offset 150mm X150mm, 150mm X 300mm | Orthofix Australia Pty Limited |  | Changed Product Sizes
LB097 | 13 - Spinal | FORTIFY R Corpectomy Spacer Core | Expandable corpectomy spacer | 14mm -20mm 15mm-120mm | Globus Medical Australia |  | Changed Product Sizes
LB096 | 13 - Spinal | FORTIFY Ti Corpectomy Spacer Endplate | Expandable corpectomy spacer endplate | 12 and 20mm x 12-50mm 0-12deg 16mm, 16mm Footprint 16mm, 18mm Footprint 20mm, 20mm Footprint | Globus Medical Australia |  | Changed Product Sizes