## Prostheses List Deletions
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
Bausch & Lomb (Australia) PTY LTD | 01 - Ophthalmic | BL035 | MICRO+ AY 123 | Preloaded, posterior chamber, UV absorbing, foldable, aspheric, acrylic, single piece lens with blue light protection. | An overall diameter of 10.75mm and optic diamter of 6.15mm. From 0 to +35 diopters with 0.5 diopter increments. | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO071 | Mediphacos Easyflex | Preloaded posterior chamber IOL, foldable, UV absorber, Aspheric, aberration technology, double square edge, Blue light filter | +5.0 to +30.0 D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO072 | Mediphacos Miniflex Toric | Toric posterior chamber IOL, foldable, UV absorber, Aspheric, aberration technology, double square edge, Blue light filter | Sphere +5.0 to +30.0 D, Cylinder < 7D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO073 | Mediphacos Miniflex/Mediflex | Posterior chamber IOL, foldable, UV absorber, Aspheric, aberration technology, double square edge, Blue light filter | +5.0 to +30.0 D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO078 | Human Optics Torica Add-On IOL | Toric Add-On IOL, for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection, safety profile technology and undulated haptics. | Sphere -4.0 to +1.5 in 0.5D steps, Cylinder <7D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO079 | Human Optics Torica Add-On IOL | Toric Add-On IOL, for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection, safety profile technology and undulated haptics. | Sphere -30D to +6D, Cylinder 7.0D to 30.0D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO062 | HumanOptics Secura Add-On IOL | Add-On IOL for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection and safety profile technology | -6.0 to +6.0 in 0.5D steps | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO056 | HumanOptics ToricaDiffractiva Add-On IOL | Toric Multifocal Add-On IOL for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection, safety profile technology and undulated haptics. | -2.0 to +0.5 in 0.5D steps, Cylinder < 7D, Near addition 3.5D | 2020-11-01 | DELETE
Spectrum Surgical | 01 - Ophthalmic | SO068 | HumanOptics Diffractiva Add-On IOL | Multifocal Add-On IOL for sulcus fixation in pseudophakic eyes, 3-piece, foldable, UV absorber, blue light filter, Iris protection and safety profile technology. | -6.0 to +6.0 in 0.5D steps, Near addition 3.5D | 2020-11-01 | DELETE
Alcon Laboratories (Aust.) Pty Ltd | 01 - Ophthalmic | AL042 | CyPass System | The CyPass System consists of the CyPass Micro-Stent, which is contained in a loading device (Loader), and the CyPass Applier. | 6.35mm length | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 02 - Ear, Nose & Throat | MG037 | Micromedics Ventilation Tubes | Silicone and fluroplastic ventilation tubes | Lumen size: 0.76mm, 1.0mm, 1.14mm, 1.27mm, 1.42mm | 2020-11-01 | DELETE
MD Solutions Australasia Pty Ltd | 03 - General Miscellaneous | MB025 | TraceIT Gel System | TraceIT System is intended to create a temporary space within soft tissue during radiation therapy. | 3mL | 2020-11-01 | DELETE
MD Solutions Australasia Pty Ltd | 03 - General Miscellaneous | MB017 | SpaceOAR System | The SpaceOAR System consists of components for preparation of a synthetic, absorbable hydrogel spacer and a delivery mechanism packaged in a single kit. The hydrogel spacer creates a temporary space between the prostate and rectum during radiation therapy. | 10CC | 2020-11-01 | DELETE
MD Solutions Australasia Pty Ltd | 03 - General Miscellaneous | MB024 | TraceIT Gel System | TraceIT System is intended to create a temporary space within soft tissue during radiation therapy. | 10mL | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE275 | DC Bead | Drug delivery embolisation system | 70-150, 100-300, 300-500, 500-700, 700-900 (microns) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE580 | DC Bead M1 | Drug delivery embolization system | 70-150um | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE647 | DC Bead LUMI | Drug delivery embolisation system | 70-150 microns (black) 100-300 microns (yellow) | 2020-11-01 | DELETE
Zimmer Biomet Pty Ltd | 03 - General Miscellaneous | BI280 | Septopal Chain Septopal Beads | PMMA, Stainless Steel | 30 bead chain | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE296 | Pull PEG System | Initial placement percutaneous endoscopic gastrostomy kit | 20Fr; 60cm | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE540 | Mini One Non Balloon Button | Low Profile Non Balloon Gastrostomy Tube | 14F, 18F, 20F & 24F; Length: 1.0 - 4.4cms | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE544 | Mini One Capsule Non Balloon Button | Low profile non balloon gastrostomy tube with capsule for insertion. | 14F, 18F, 20F & 24F; Length: 1.0 - 4.4cm | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC298 | Wills-Oglesby Percutaneous Gastronomy Set | Used for the percutaneous placement of a catheter for gastroenteric feeding | 12-14Fr, Length 30-35cm | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE545 | G-Jet Button | Low profile gastric-jejunal enteral feeding tube | 14-18 French; Jejunal Length: 15-45cm; Stoma Length: 1.0-6.0cm; Balloon Volume: 3-8ml | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 03 - General Miscellaneous | WC292 | Shetty Single Lumen Gastrojejunostomy Set | The Shetty Gastrojejunostomy set consists of an Ultrathane Gastrojunostomy Catheter, Peel- Away introducer, and Cope Gastrointestinal Suture Anchor Set. | 14 Fr, Length: 63cm | 2020-11-01 | DELETE
Olympus Australia | 03 - General Miscellaneous | OL011 | X-Suit NIR Biliary Metal Stent | The Medinol X-Suit® Biliary Metallic Stent consists of a self-expanding noncovered Nitinol stent integrated into a delivery system. | 8 or 10mm diameter - 40, 60, 80 or 100 mm length, 7.5F | 2020-11-01 | DELETE
MERIT MEDICAL AUSTRALIA PTY LTD | 03 - General Miscellaneous | OW006 | ALIMAXX-B® | Biliary Stent | 8-10mm, 40-80mm, 6.5F | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG038 | Glubran 2 | Synthetic cyanoacrylic surgical glue: N-Butyl (2) cyanoacrylate and methacryloxysulfolane co-monomer | 0.25 ml to 1 ml | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG047 | Glubran Tiss2 | Tissue adhesive | 0.25 ml, 0.35 ml, 0.50 ml | 2020-11-01 | DELETE
Surgical Specialties | 03 - General Miscellaneous | SQ124 | INDERMIL Flexifuze | Topical Tissue Adhesive with Applicator | 0.75g per ampoule | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG034 | Glubran 2 Applicators | Dispensing tip/Drop control device for applying Glubran 2. | 5-6 and 7-8 French | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG035 | Glubran 2 Catheter for Laparoscopy | Catheter for laparoscopic application of Glubran 2. | One size only | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG044 | Glubran 2 Spray Device | Spray device for nebulized application of Glubran 2 | Cannula length: 5cm, 40cm, 30cm, 33cm | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE530 | Vesolock Polymer Ligation Clips | Polymer ligation clips | Medium large (3-10mm) Large (5-13mm) Extra Large (7-16mm) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE445 | Vesocclude Ligating Clips | Titanium Ligating Clips | Small, Narrow (6 per cartridge), Small, wide (6 per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE446 | Vesocclude Ligating Clips | Titanium ligating Clips | Small, Narrow (24 per cartridge), Small, Wide (24 per Cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE447 | Vesocclude Ligating Clips | Titanium ligating Clips | Medium (6 per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE448 | Vesocclude Ligating Clips | Titanium Ligating Clips | Medium (24 clips per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE449 | Vesocclude Ligating Clips | Titanium Ligating Clips | Medium Large (6 per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE450 | Vesocclude Ligating Clips | Titanium Ligating Clips | Medium large (24 per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE451 | Vesocclude Ligating Clips | Titanium Ligating Clips | Large (6 per cartridge) | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 03 - General Miscellaneous | DE452 | Vesocclude Ligating Clips | Titanium Ligating Clips | Large (24 per cartridge) | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG030 | Haemostatic Ligating Clips | Titanium Ligating Clips | Small - Large (6 Clips per cartridge) | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG031 | Haemostatic Ligating Clips | Titanium Ligating Clips | Small, medium (24 clips per pouch) | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG045 | Everest Ligating Clip | Titanium clip | Small, Medium, Medium-Large, Large (6 per cartridge) | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG046 | Everest Ligating Clip | Titanium clip | Small, Medium (24 per cartridge) | 2020-11-01 | DELETE
Olympus Australia | 03 - General Miscellaneous | OL001 | Individual Ligating Clip | Rotatable Clip Fixing Device. Pack of 50 clips | MD-59 - 90 degree, standard; MD-850 - 135 degree, standard; HX-600-090 - standard, sterile; HX-600-135 - standard, sterile | 2020-11-01 | DELETE
Applied Medical Australia Pty Ltd | 03 - General Miscellaneous | MH014 | Direct Drive laparoscopic clip applier with TiGold titanium clips | Single-use, sterile 10mm laparscopic clip applier with 20 medium-large size titanium clips | 10mm shaft diameter with medium-large size clips. | 2020-11-01 | DELETE
Matrix Surgical Pty Ltd | 03 - General Miscellaneous | MG048 | Glutack | Catheter for controlled application of surgical adhesive. | 25, 40, 50 drops | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC641 | Strata Valve Unitised with Bioglide PSM range | CSF Flow Valve. Polypropylene and acetal plastic base. Silicone elastomer dome. | One size only | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC645 | Strata Valve Unitised NSC (non siphon control) PSM range | Adjustable CSF valve with five symmetric performance level steps. Includes a strata valve, pre-attached ventricular catheter, and a pre-attached peritoneal catheter. Right Angle Clip. Disposable Quick Release Ventricular Catheter Introducer. | 8-120cm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK029 | Sterile Hydrocephalic Shunts | Plastic/magnetic. Programmable valve. Programmer kit and shunts kit. | 3, 8 settings | 2020-11-01 | DELETE
Integra Neurosciences Pty Ltd | 04 - Neurosurgical | IG004 | Spetzler Lumbar-Peritoneal Shunt System | Shunt, CSF Reservoir, In-line valve | Catheter length 80 - 105cm, Reservoir small & large, Valve pressure range low - high | 2020-11-01 | DELETE
Integra Neurosciences Pty Ltd | 04 - Neurosurgical | IG009 | Heyer-Schulte Pudenz Ventricular Catheter | - | small, standard, right-angled | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC735 | Rivulet | Ventricular Catheter | 4cm - 23cm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK111 | Dual Channel Implantable Pulse generator | Dual Channel Implantable Pulse generator | Sizes as suitable for patient anatomy | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK107 | Single Channel Implantable Pulse Generator | Single Channel Implantable Pulse Generator | Suitable for patient anatomy | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK112 | Dual Channel Rechargeable Implantable Pulse Generator | Dual Channel Rechargeable Implantable Pulse Generator | Sized as suitable for patient anatomy | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK109 | Patient or Clinician Programmer | Patient or Clinician Programmer | N/A | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK110 | Patient programmer Recharger | Patient programmer Recharger | N/A | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK108 | Implantable Lead Kits | Implantable Lead Kits | Multiple sizes suitable for patient anatomy | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MI032 | Medtronic Extension for Deep Brain Stimulation | Extension for Deep Brain Stimulation | 40cm, 60cm, 95cm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK113 | Implantable Extension Kit | Implantable Extension Kit | Suitable for patient anatomy | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ173 | ANS Spinal Cord Stimulation System (SCS) GENESIS | Communication Magnet Model 1210 | One type only | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC828 | Medtronic Resume Surgical Leads | Surgical Leads - Resume II (3587A), Resume TL (3986A) | 25cm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ191 | Lamitrode C Series Leads | Lamitrode C Series, 16 Channel, Model # 3289 | Length = 60cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC688 | Neurostimulation System - Extensions | 1 x 8 Synergy Extension Kit Model 7472; 1 x 8 Extension Kit Model 37081 | 20, 40 & 60cm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ290 | Port Plug | Port Plug | One size only | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ306 | Guide Wire for Percutaneous Leads | A tool used to establish and/or access the appropriate pathway in the epidural space before implanting the lead. | One size | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 04 - Neurosurgical | MC741 | Indura Intrathecal Catheter | Sutureless pump connector, Silicone, Titanium and Nylon | One size only | 2020-11-01 | DELETE
National Surgical Pty Ltd | 04 - Neurosurgical | NK101 | Intracranial Pressure and Temperature Catheter | Intracranial Pressure and Temperature Catheter | Suitable for all patient anatomy | 2020-11-01 | DELETE
Applied Medical Australia Pty Ltd | 05 - Urogenital | MH012 | Silhouette System Ureteral Stent Set | Coil reinforced body. SL-6 hydrophilic coating. UroWire 0.035" 3-in-1 guidewire with kink resistant nitinol core. Design divided into 3 sections: silver section (front end) floppy SL - 6 hydrophilic coating; Blue section (mid) super stiff PTFE (not hydrophicaly coated); and Green section (back) flexible | Mulitple French Sizes & Lengths | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 05 - Urogenital | WC237 | Radiance Ureteric Stent Set | Synthetic Thermosensitive Ureteral Stent Set with Heparin Coating | Multiple French Sizes and Lengths | 2020-11-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI579 | Anatomical shoulder | Anatomical cemented Humeral Stem | 7 x 100mm; 9 x 110mm; 12 x 110mm; 7 x 200mm; 9 x 210mm; 14 x 210mm | 2020-11-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI582 | Anatomical Shoulder | Anatomical Press-fit Humeral Stem | 7 x 100mm, 9 x 110mm, 10.5 x 110mm, 12 x 110mm, 14 x 110mm | 2020-11-01 | DELETE
Zimmer Biomet Pty Ltd | 06 - Specialist Orthopaedic | ZI440 | Anatomical | Glenoid - PE | S, M, L | 2020-11-01 | DELETE
PERSONALISED SURGERY PTY LTD | 06 - Specialist Orthopaedic | RV001 | PS HTO Plate | Medial Opening Wedge Anatomical Plate | Left and Right | 2020-11-01 | DELETE
PERSONALISED SURGERY PTY LTD | 06 - Specialist Orthopaedic | RV002 | PS Dual Thread Screw | Canulated, Dual thread, Cortical Screw | 4.5mm, 24-52mm length | 2020-11-01 | DELETE
Surgical Specialties | 06 - Specialist Orthopaedic | SQ058 | CPS Bioabsorbable Fixation System | OTPS fixation system: PLGA/TMC copolymer | 4.5 x 90mm | 2020-11-01 | DELETE
PERSONALISED SURGERY PTY LTD | 06 - Specialist Orthopaedic | RV003 | PS Dual Thread Screw | Dual Threaded, locking, canulated Screw | 4.5mm Diameter, 24 - 90mm Long | 2020-11-01 | DELETE
PERSONALISED SURGERY PTY LTD | 06 - Specialist Orthopaedic | RV004 | PS Dual Thread Cortical Screw | Dual Thread Cortical screw | 4.5mm, 24-52mm length | 2020-11-01 | DELETE
Surgical Specialties | 06 - Specialist Orthopaedic | SQ104 | ACL Reconstruction System - ArmorLink | Fixation for ACL Reconstruction – Tibial Fixation | 6-10mm | 2020-11-01 | DELETE
Surgical Specialties | 06 - Specialist Orthopaedic | SQ105 | ACL Reconstruction System - ShieldLoc | Fixation for ACL Reconstruction – Femoral Fixation | 6-10mm | 2020-11-01 | DELETE
Surgical Specialties | 06 - Specialist Orthopaedic | SQ095 | Synicem bone cement | High and Low viscosity | 20g-10ml 40g-20ml 60g-30ml | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC896 | Macropore | Protective Sheets | 1 to 10 cm2 area; 1.0mm thick | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC894 | Marcropore | Protective Sheets | 11 to 25 cm2 area, 1.0mm thick | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC900 | Macropore | Protective Sheets | 51 to 100 cm2 area; 1.0mm thick | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC567 | Macropore | Clover Leaf Plates | 4 hole | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC566 | Macropore | C Plates | 8 hole | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC570 | Macropore | Tacks | 1.5 x 4mm - 2.0 x 6mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC580 | Macropore | Locks | 2 - 20mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 07 - Plastic and Reconstructive | MC548 | Macropore | Cranial Recon | 29 - 165mm | 2020-11-01 | DELETE
Spectrum Surgical | 07 - Plastic and Reconstructive | SO042 | Osmed Tissue Expanders | Self inflating, Hydrogel | 0.24ml-650ml | 2020-11-01 | DELETE
Spectrum Surgical | 07 - Plastic and Reconstructive | SO041 | Osmed Sphere / Hemisphere tissue expander | Self inflating, Hydrogel | 6mm, 8mm, 9mm, 10mm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ066 | Atlas + VR - C Model V-193C ICD | Single chamber implantable cardio-verter defibrillator | 38cc, 77g | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI111 | Evera XT VR DF4 | Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management. DF4 | 33cm³ 77g | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI113 | Evera S VR DF4 | Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF4 | 33cm³ 77g | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI204 | VISIA AF XT ICD DF4 | Single Chamber Implantable Cardioverter Defibrillator with AF detection and diagnosis, PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management. DF4 | 33cm³ 77g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ311 | Ellipse VR CD1277-36Q | Single chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring and DF4 connector | 67g, 30cc | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI115 | Evera XT DR IS1/DF4 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. DF4 | 34cm³ 78g | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI117 | Evera S DR IS1/DF4 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF4 | 34cm³ 78g | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI072 | VIVA S CRT-D DTBB2D4 | Implantable Cardioverter Defibrillator with Cardiac Resynchronisation therapy, SmartShock Tehnology, OptiVol 2.0 Fluid Status Monitoring and Complete Capture Management Specifications (DF4) | 35cc, 82G | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI110 | VIVA QUAD S CRT-D IS4/DF4 | ICD with CRT. PhysioCurve Design, CardioSync Optimisation, VectorExpress, V Automated Test, Optimised Battery Chemistry, Smart Shock Technology 2.0. Complete Capture management. IS4 DF4 | 35cm³ 81g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ200 | Accent SR RF PM1210 | Single Chamber Pacemaker with RF telemetry | 23g, 12.8cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ259 | Accent MRI SR RF PM1224 | Single Chamber Pacemaker with RF Telemetry and MRI testing capability | 23g, 13.1cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ340 | Assurity+ PM1260 | Single Chamber Rate-Responsive Pacemaker with RF Telemetry | 10.4cc. 20g | 2020-11-01 | DELETE
MICROPORT CRM PTY LIMITED | 08 - Cardiac | RF010 | REPLY 200™ SR | REPLY 200™ SR is a Single Chamber rate-responsive pacemaker. | Dimensions 37.4 x 41.5 x 6.1mm, Weight 19g, Volume 7.5cm3. Connector IS-1, Sensors Minute Ventilation (MV) and Accelerometer (G). | 2020-11-01 | DELETE
MICROPORT CRM PTY LIMITED | 08 - Cardiac | RF011 | Reply™ SR | Single chamber permenent pacemaker with rate response modulation | 37 x 41.5 x 6.1mm 19 Grams 7.5 cm3 | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ105 | Zephyr SR 5620 | Single Chamber Rate-Responsive Pacemaker | 8cc, 17g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ131 | Zephyr XL SR 5626 | Single-Chamber Rate-Responsive Pacemaker | 23.5g and 10.4cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ205 | Accent SR PM 1110 | Single Chamber Rate Responsive Pacemaker | 18g, 9.5cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ294 | Accent MRI SR PM1124 | Single Chamber Pacemaker with MRI testing capability | 23g, 13.1cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ367 | Endurity PM1162 | MR Conditional Single Chamber Pacing System | 19g , 9.7cc | 2020-11-01 | DELETE
MICROPORT CRM PTY LIMITED | 08 - Cardiac | RF015 | REPLY™ 200 DR | REPLY™ 200 DR is a DDDR-type dual chamber rate-responsive pacemaker. It is equipped with a physiological sensor (minute ventilation) and an accelerometer to allow adaption of pacing to suit the patients activity. | Dimensions 41.2 x 41.5 x 6.1mm, Weight 20g, Volume 8cm3. | 2020-11-01 | DELETE
MICROPORT CRM PTY LIMITED | 08 - Cardiac | RF017 | Reply™ DR | Dual Chamber permanent Pacemaker with Rate Response Modulation | 8cc, Weight: 20grams, Dimensions:41.2 x 41.5 x 6.1mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC934 | Advisa DR | Model A5DR01 Digital dual chamber pacemaker (OAE-DDDR) MVP mode with Complete Capture Management Diagnostic (ACM, RVCM) AT/AF Suite Diagnostics and Therapies, OptiVol Fluid Status Monitoring, and Therapy Guide Feature | 13cc, 22g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ196 | Accent DR RF PM2212 | Dual chamber Pacemaker with RF telemetry | 236, 12.8cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ258 | Accent MRI DR RF PM2224 | Dual Chamber Pacemaker with RF Telemetry and MRI testing capability | 24g, 13.1cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ341 | Assurity+ PM2260 | Dual Chamber Rate Responsive Pacemaker with RF Telemetry | 10.4cc, 20g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ103 | Zephyr XL DR 5826 and DR 5820 | Dual Chamber Rate-Responsive Pacemaker | 5826 - 23.5g, 11cc and 5820 - 18g, 8.5cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ193 | Accent DR PM 2112 | Dual Chamber Pacemaker | 19g, 10.5cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ295 | Accent MRI DR PM2124 | Dual Chamber Pacemaker with MRI testing capability | 24g, 13.1cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ336 | Endurity PM2160 | Dual Chamber Rate Responsive Pacemaker | 10.4cc, 19g | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ368 | Endurity PM2162 | Dual Chamber MR Conditional Rate Responsive Pacemaker | 20g,10.4cc | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI012 | Consulta CRT-P | Cardiac Resynchronisation Therapy Pacemaker, Model C3TR01 | One size only | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ207 | Anthem RF PM3212 | CRT Pacemaker with RF telemetry | 25g, 13.7cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ402 | Quadra Allure MRI | CRT Quadripolar, Rate Responsive Pacemaker | 27g, 15cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ194 | Anthem PM3112 CRT Pacemaker | Cardiac Resynchronisation Therapy Pacemaker | 21g, 11.5cc | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ345 | Optisure ICD Lead LDP 220/230 | Passive fixation ICD lead with DF-1 connector | 60cm-75cm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ343 | Optisure ICD Lead - LDA210/220/230 | Active fixation ICD lead with DF-1 connector | 60cm-75cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC254 | CapSure Sense pacemaker lead Models 4073 | Titanium Nitride | 30 - 85cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC225 | Attain Over the Wire Model 4193 | Titanium, polyurethane | 78-88cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC010 | Medtronic Capsure SP Novus Model 5092 | Bipolar, steroid, pasive fixation pacing lead | 45 -110cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC336 | Medtronic Capsure Z Novus Model 5054 Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 45-58cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC337 | Medtronic Capsure Z Novus Model 5554 Pacing Lead | Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets | 45-58cm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC008 | Medtronic Capsurefix Model 5568 Pacing Leads | Bipolar, steroid, active fixation pacing lead | 30 - 85cm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ073 | Tendril SDX 1688TC | Endocardial Steroid-Eluting Active Fixation Pacing Lead | 100cm, 25cm, 34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC730 | Attain StarFix LV Lead | Over the wire left Ventricular Lead | 78, 88, 103cm | 2020-11-01 | DELETE
Abbott Australasia Pty Ltd | 08 - Cardiac | AY023 | Xience Everolimus Eluting Stent System | Everolimus Eluting Stent System | 2.25mm to 4.0mm widths, 8mm to 28mm lengths | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MI037 | Resolute Integrity Zotarolimus-Eluting Coronary Stent System | Cobalt-alloy, ABT-578, BioLinx Polymer | Small Vessel - Diameter: 2.25mm-2.75mm; Length: 8.0mm-30.0mm Medium Vessel - Diameter: 3.0mm-4.0mm; Length: 9.0mm-38.0mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 08 - Cardiac | MC956 | Integrity Coronary Stent System | Cobalt Alloy Coronary Stent | Diameter: 2.25 - 4.5mm; Length: 8 - 30mm | 2020-11-01 | DELETE
Pyramed Pty Limited | 08 - Cardiac | PY046 | AndraStent | High radial force Cobalt Chromium bare metal stent. | Diameter: 6 to 32mm Length: 13 to 57mm | 2020-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 09 - Cardiothoracic | SJ398 | Wearable Accessories Kit | Protection bag, belt attachment, system controller neck strap | One size only of each item | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC234 | Formula 414 Rx Renal Stent System | Balloon Expandable Vasc/Biliary Stent | Rapid exchange 014/018, 80-135cm delivery system. Diameters 4-10mm, lengths 0.8 - 4cm | 2020-11-01 | DELETE
Boston Scientific Australia Pty Ltd | 10 - Vascular | BS035 | WALLSTENT Endoprosthesis | Biomedical superalloy, self expanding stent | Stent Diameters up to 30mm and lengths up to 100mm | 2020-11-01 | DELETE
Boston Scientific Australia Pty Ltd | 10 - Vascular | BS168 | Wallstent RP | Tracheobronchial, Iliac, Biomedical Superalloy Wire, Braided Mesh, Stainless Steel Stent with Unistep Delivery System | Diameter up to 10mm; lengths up to 100mm | 2020-11-01 | DELETE
Terumo Australia | 10 - Vascular | TU069 | Relay Thoracic Stent Graft | Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE impregnated Suture Dual Sheath Delivery System | Diameter 22 - 46mm, Length 103 - 179mm | 2020-11-01 | DELETE
Terumo Australia | 10 - Vascular | TU070 | Relay Thoracic Stent Graft | Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE impregnated Suture Dual Sheath Delivery System | Diamter 22 - 46mm, Length 180 - 271mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 10 - Vascular | MC153 | Talent AAA Aorto Uni lliac Stent Graft | Talent Endoluminal Stent Graft System - AUI Tapered System. | 22 - 36mm x 75 - 310mm | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC293 | Zenith Low Profile AAA Endovascular Graft - Bifurcated Main Body | Bifurcated main body graft | Diameter: 22-36mm, Length: 70-128mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 10 - Vascular | MC158 | Talent Aortic Extension Stent Graft | Talent Endoluminal Stent Graft - Aortic Extension | 22 - 36mm x 26 - 30mm | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC283 | Vena Cava Filter with NavAlign Delivery System | The filter consists of a non-magnetic filter (30mm diameter, 48mm long) preloaded on a femoral filter introducer and/or a jugular filter introducer, an 8.5 French coaxial introducer system (compatible with a .035 inch wire guide) for introduction and a hydrophilic coated dilator. | Filter measures 30mm in diameter and 48mm long | 2020-11-01 | DELETE
Device Technologies Australia Pty Ltd | 10 - Vascular | DE294 | Bead Block | Polyvinyl Alcohol hydrogel microspheres in pre-loaded syringe | 2ml- (100 - 300, 300 - 500, 500 - 700, 700 - 900, 900 - 1200 microns | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC113 | Cook Central Venous Catheterisation Kit | Single lumen peripherally inserted catheter set, includes catheter, needle, J-wire, MPIS wire and introducer | Fr 3, 4, 5 and Length 50 and 60cm | 2020-11-01 | DELETE
WILLIAM A COOK AUSTRALIA PTY LTD | 10 - Vascular | WC119 | Cook Central Venous Long Term Catheter Set | Cook TPN double lumen catheter set | Fr 7, length 65cm, Fr 9 length 90cm, Fr 12, 90, special | 2020-11-01 | DELETE
Teleflex Medical Australia | 10 - Vascular | TX037 | Arrow Cannon II Plus Chronic Haemodialysis Catheter Set | Dual Lumen, Retrograde Tunneled, Cuffed, Tip First, Chronic Haemodialysis Catheter Set | 15Fg x 24 - 55cm | 2020-11-01 | DELETE
Zimmer Biomet Pty Ltd | 12 - Knee | ZI401 | Allegretto Unicompartmental Knee Femoral Componen | Uni Femoral component, cemented, CoCr | Size 1 to 3, Size 1+ to 3+ | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK064 | Excella Uniplanar Pedicle Screw | Excella Pedicle Screw System Uniplanar Pedicle Screw | 4.0 to 6.5mm diameter 25 to 55 long | 2020-11-01 | DELETE
Lifehealthcare Pty Ltd | 13 - Spinal | LH591 | Pedicle Screw | Cannulated Screw, Carbon Fiber Reinforced Polymer | (6.5-7.5)mm x (35-55) mm length | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK059 | Excella Cannulated Pedicle Screw | Cannulated Pedicle Screw | 4.75 to 8.5mm diameter 25 to 60 mm length | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK116 | Amendia Savannah-T Pedicle Screw System-Polyaxial Pedicle Screw-Cannulated | Pedicle Screw System-Polyaxial Pedicle Screw-Cannulated, Low, Mid, High Top standard and Grip Quick Threads | dia (5.5-7.5 mm) x length (30-65 mm) | 2020-11-01 | DELETE
Lifehealthcare Pty Ltd | 13 - Spinal | LH590 | Pedicle Screw | Polyaxial Screw | (5.5 - 7.5)mm x (35-55) mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK006 | Fortex Pedicle Screw system - Pedicle Screw | Polyaxial pedicle screw | 4.75, 5.5, 6.5, 7.5, 8.25mm diameter. 30, 35, 40, 45, 50, 55mm lengths | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK016 | X90 Pedicle Screw | Capless, Polyaxial pedicle screw | Diameter 4.75 - 8.25mm Length 30 -55mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK034 | Certex Spinal Implant System Screw | Screws | Diameter 3.5mm - 4.5mm Length 10mm – 42mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK056 | Excella Polyaxial Pedicle Screw | Polyaxial Pedicle Screw | 5.5 to 7.5 mm diameter 35 to 60 mm length | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK021 | Fixcet Spinal Facet Screw | Spinal facet screw | 25mm - 45mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK017 | Fixcet Spinal Facet Screw | Spinal facet screw | 30mm - 45mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK046 | Silex Bone Screw | Dual-Thread Sacroiliac Locking Screw | 7mm x 30-70mm | 2020-11-01 | DELETE
MEDIVANCE PTY LTD | 13 - Spinal | DR026 | Hygro-L Stand-alone ALIF Bone Screw | Bone screw, Duel Thread | Diameter (4.0mm); Length (20-35mm) | 2020-11-01 | DELETE
MEDIVANCE PTY LTD | 13 - Spinal | DR030 | Hygro-C SA ACDF Scerws | SA ACDF Screws | 3-4mm, 12-14mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK007 | Spider Cervical Plating System - Spider Screw | Titanium, Self Tapping and Self Drilling | 4.0 - 4.25mm, lengths 12-16mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK031 | IRIX - C Screws | Bone screws | Diameter 3.5mm and 3.7mm; Length 12-21mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK042 | Cervical Screw | Cervical Screw | 14-18mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK044 | IRIX-A Screw | Bone Screw | Diameter 5.5 and 6.0mm, Length 25-40mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK103 | Occipital Screws | Occipital Screws | Multiple sizes to suit patient anatomy | 2020-11-01 | DELETE
Lifehealthcare Pty Ltd | 13 - Spinal | LH592 | Locking Element | Locking Element for Screws and Connectors | std or 45 degree | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK010 | Fortex Pedicle Screw Set Screw | Pedicle Screw Set | 3.1mm height | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK035 | Certex Spinal Implant System Cap | Cap | One Size Only | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK057 | Excella System Locking Cap | Excella Pedicle Screw System Locking Cap | one size | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK119 | Amendia Savannah T Pedicle Screw System-Set Screws | Pedicle Screw System-Set Screws | one size | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK039 | Certex Spinal Implant System Connector | Connector | 3.5mm x 22-26mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK062 | Excella System Offset Connecter | Excella Pedicle Screw System offset connector | 25 to 45 mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK105 | Offset Connectors | Offset Connectors | Multiple to suit patient anatomy | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK011 | Capless LI Pedicle screw system - X Link cross connector - Fixed | Titanium, lowprofile transverse crossconnector | low profile, multiple sizes, 25-35mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK060 | Excella System Connectors | Excella Cross Connectors - Fixed | 20 to 35 mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK012 | Capless LI Pedicle screw system - X Link cross connector - Variable | Titanium, lowprofile transverse dual articulation crossconnector | Low profile, Multiple sizes, 37-80mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK040 | Certex Spinal Implant System Connector Adjustable | Connector Adjustable | 3.5mm x 28-33mm to 42-58mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK061 | Excella System Connectors | Pedicle Screw System Rod Connectors - Transverse adjustable | Fits 5.5 or 6mm rods Various sizes from 39 to 81 mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK036 | Certex Spinal Implant System Hooks | Hook | 4.5-6mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK065 | Excella System Hook | Excella Pedicle Screw System Hook | 7 to 9mm x 6 to 9mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK014 | Spider Cervical Plating System - Spider Plate | Titanium, anterior cervical plate system | 56-77mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK050 | ASPIS Cervical Plate | The ASPIS anterior cervical plate system is intended for the surgical treatment of the cervical vertebrae. | >55mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK013 | Spider Cervical Plating System - Spider Plate | Titanium, Anterior Cervical Plate System - | 22-54mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK049 | ASPIS Cervical Plate | The ASPIS anterior cervical plate system is intended for the surgical treatment of the cervical vertebrae. | 22mm-55mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK041 | PLAK RSF | Titanium Cervical Plate | 17mm & 19mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK102 | Occipital Plate | Occipital Plate | Multiple sizes to suit patient anatomy | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK038 | Certex Spinal Implant System Transitional Rod | Transitional Rod | 3.5mm - 5.5mm x100mm - 500mm | 2020-11-01 | DELETE
Lifehealthcare Pty Ltd | 13 - Spinal | LH593 | Rods, Curved | curved and S shaped rods, carbon fiber reinforced polymer | 6.0mm x (30-300)mm length | 2020-11-01 | DELETE
Lifehealthcare Pty Ltd | 13 - Spinal | LH594 | Rods | Straight | 6mm x (32-300)mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK015 | Capless Li Pedicle screw system - rod | Titanium rod. Straight and pre- bent | Straight and pre- bent, multiple sizes, 40-300mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK037 | Certex Spinal Implant System Rod | Rod | 3.5mm x 30-500mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK058 | Excella Systems Rods | Pedicle Screw System Rods, Straight and curved | 5.5 & 6mm diameter 35 to 600mm length | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK118 | Amendia Savannah-T Pedicle Screw System-Rods | Pedicle Screw System-Rods, Straight and curved | dia 5.5 mm x length (30-500 mm) | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK104 | Pre-Bent rods | Pre-Bent rods | 3.5mm diameter rods | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK033 | Silex Sacroiliac Joint Fusion System | Washers for the Silex Sacroiliac Joint Fusion System | 11, 13 & 15mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK047 | Silex Washer | Silex Washer | 13mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 13 - Spinal | MC592 | CD Horizon System | SMA Staple | Length 4-10mm | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 13 - Spinal | MC593 | CD Horizon System | SMA Staple | Length 12-18mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK030 | IRIX - C Implants | Cervical intergrated fusion system | 18 x 14mm and 16 x 13mm; Heights 5 - 12mm; Shape - Lordotic and parallel | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK043 | IRIX-A Implant | Lumbar Integrated Fusion System. | 33mm x 26mm, 38mm x 28mm, 42mm x 30mm at 8 degrees and 12 degrees. | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK001 | Zoe Cervical Cage | The ZOE anterior cervical cage is an implant intended for the surgical treatment of the cervical vertebrae. It is designed for stabilisation and arthrodesis between the cervical verterbrae by the anterior approach, to optimize bone fusion from C3 to C7 levels. | Length: 12 - 14mm, Width: 14 - 16mm, Height: 4.5 - 10mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK008 | Calix Interbody Spacer | Cervical cage, PEEK | Heights 5-12mm. Lordotic and Convex | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK048 | C-Spine | Composition - Ti-Porous Trabecular Metal | D 12.5 & 14.5 mm x W 14 - 16 mm X 4-7mm Height | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK009 | Calix Peek Lumbar System | Peek lumbar interbody spacer for fusion of the lumbar spine using an anterior, posterior or transverse approach. | 36mm x 24mm x 8mm x 8 deg 36mm x 24mm x 10mm x 8 deg 36mm x 24mm x 12mm x 8 deg 36mm x 24mm x 14mm x 8 deg 36mm x 24mm x 16mm x 8 deg 36mm x 24mm x 18mm x 8 deg 36mm x 24mm x 20mm x 8 deg 36mm x 24mm x 8mm x 12 deg 36mm x 24mm x 10mm x 12 deg 36mm x 24mm x 12mm x 12 deg 36mm x 24mm x 14mm x 12 deg 36mm x 24mm x 16mm x 12 deg 36mm x 24mm x 18mm x 12 deg 36mm x 24mm x 20mm x 12 deg 28mm x 10mm x 6mm 28mm x 10mm x 7mm 28mm x 10mm x 8mm 28mm x 10mm x 9mm 28mm x 10mm x 10mm 28mm x 10mm x 11mm 28mm x 10mm x 12mm 28mm x 10mm x 13mm 28mm x 10mm x 14mm 28mm x 10mm x 15mm 28mm x 10mm x 16mm 22mm x 10mm x 6mm 22mm x 10mm x 7mm 22mm x 10mm x 8mm 22mm x 10mm x 9mm 22mm x 10mm x 10mm 22mm x 10mm x 11mm 22mm x 10mm x 12mm 22mm x 10mm x 13mm 22mm x 10mm x 14mm 22mm x 10mm x 15mm 22mm x 10mm x 16mm 26mm x 10mm x 6mm 26mm x 10mm x 8mm 26mm x 10mm x 10mm 26mm x 10mm x 12mm 26mm x 10mm x 14mm 26mm x 10mm x 6mm x 5o 26mm x 10mm x 8mm x 5o 26mm x 10mm x 10mm x 5o 26mm x 10mm x 12mm x 5o 26mm x 10mm x 14mm x 5o | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK123 | Amendia Zeus Fusion Cages-PLIF | Amendia Zeus Fusion Cages-PLIF (paired), PEEK | width (9-13 mm) x length (22-30 mm) x height (7-18 mm) x lordosis (0-8 degrees) | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK122 | Amendia Zeus Fusion Cages-TLIF | Zeus Fusion Cages-TLIF, PEEK (straight-versatile/curved/bullet nosed) | width (9-13 mm) x length (20-36 mm) x height (7-16 mm) | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK079 | Synergy Disc | The Synergy Disc is a three-component system consisting of an Inferior titanium endplate, a UHMWPE core and a Superior titanium endplate. | Small (A-P: 14 mm, Lateral: 15 mm), Medium (A-P: 16 mm, Lateral: 17 mm) and Large (A-P: 16 mm, Lateral: 17 mm). | 2020-11-01 | DELETE
Medtronic Australasia Pty Ltd | 13 - Spinal | MC585 | Maverick Artificial Disc | Cobalt Chrome | 8mm - 14mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK027 | Axle Interspinous fusion System | Interspinous fusion plate system | Plates: 28mm to 55mm Inserts: 8-18mm | 2020-11-01 | DELETE
National Surgical Pty Ltd | 13 - Spinal | NK045 | Silex Joint Fixation Device | Single-Thread Sacroiliac Anchor Implant or Dual-Thread Sacroiliac Anchor Implant | 12.5mm x 30-70mm | 2020-11-01 | DELETE