## Prostheses List Changes
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
AL050 | 01 - Ophthalmic | AcrySof IQ Vivity Extended Vision Intraocular Lens | Vivity Model DFT015 is an extended vision, non-diffractive, UV-absorbing and blue light filtering, single-piece, foldable, hydrophobic, posterior chamber intraocular lens | +10.0 to +30.0 diopters | Alcon Laboratories (Aust.) Pty Ltd |  | Changed Product Sizes
CO078 | 02 - Ear, Nose & Throat | Cochlear™ Nucleus® CI532 Cochlear Implant with Slim Modiolar Electrode | Model CI532, 5th generation cochlear implant with slim modiolar electrode array. Sheath, titanium casing, removable magnet, 22 half-banded platinum electrodes, moulded in a durable tapered silicone seal. Compatible with 1.5T static magnetic field. | One size | Cochlear Limited |  | Changed Product Description
CO083 | 02 - Ear, Nose & Throat | Cochlear™ Nucleus® Profile Plus Series (CI632) Cochlear Implant with Slim Modiolar Electrode | Profile Plus Series CI632, 6th generation cochlear implant with Slim Modiolar electrode array. Sheath, titanium casing, removable magnet, 22 half-banded platinum electrodes, moulded in a durable tapered silicone seal, compatible with 1.5T and 3T static magnetic field. | One size | Cochlear Limited |  | Changed Product Description
KI005 | 03 - General Miscellaneous | MIC-KEY Low Profile Balloon Feeding Accessories | MIC-KEY Extension Sets, ENFit, available in a variety of sizes and options including, bolus and y-port with straight or right-angle connectors. MIC-KEY Medication Set is also available, ENFit. | 30.5cm, 60.9cm, 5.1cm | Avanos Medical Australia Pty Ltd |  | Changed Product Name, Product Description
KI007 | 03 - General Miscellaneous | MIC* Gastrostomy Feeding Tube; MIC* Bolus Gastrostomy Feeding Tube, ENFit | Medical Grade Silicone Construction. Inflatable Silicone Internal Retention Balloon, SECUR-LOK* External Retention Ring, ENFit Feeding Port Connector, Tapered Distal Tip, Radiopaque Stripe along length of Tube | 12Fr - 2-3ml balloon, 14Fr - 3-5ml balloon, 16Fr - 3-5ml balloon, 18Fr - 7-10ml balloon, 20Fr - 7-10ml balloon, 22Fr - 7-10ml balloon, 24Fr - 7-10ml balloon, 26Fr - 7-10ml balloon, 28Fr - 7-10ml balloon, 30Fr - 7-10ml balloon | Avanos Medical Australia Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
ET069 | 03 - General Miscellaneous | SX - ELLA Stent Esophageal HV (HV Stent Plus) | The SX-ELLA Atent Esophageal HV (HV Stent Plus) is a self-expandable, fully covered nitinol stent, pre-loaded on a delivery system. The stent is designed to provide relief from malignant or benign strictures in the oesophagus, or treating anastomic leaks. HV Stent Plus includes an anti-migration collar & is also available with an anti-reflux valve | Stent Body Diameter = 18 - 20mm Stent Flare Diameter = 24 - 25mm Stent nominal length = 85/110/135/150mm | Endotherapeutics Pty Ltd |  | Changed Product Sizes
AS186 | 03 - General Miscellaneous | Endo GIA™ Reload with TriStaple™ Technology | Endo GIA™ Reload with TriStaple™ Technology provides three staggered rows of staples on either side of the cut line. | 45mm, 60mm | Medtronic Australasia Pty Ltd |  | Changed Product Description, Product Sizes
BX332 | 03 - General Miscellaneous | Veritas Collagen Matrix - Small | Bovine pericardium biologic mesh for the repair of soft tissue for size &lt; 200cm² | RM0816ANZ 8cm x 16cm; RM0818ANZ 8cm x 18cm; RM1016ANZ 10cm x 16cm; | Baxter Healthcare Pty Ltd |  | Changed Product Description, Product Sizes
BX333 | 03 - General Miscellaneous | Veritas Collagen Matrix- Large | Bovine pericardium biologic mesh repair of soft tissue > 200cm² | 12cm x 25cm | Baxter Healthcare Pty Ltd |  | Changed Product Description
BX344 | 04 - Neurosurgical | HEMOPATCH SEALING HAEMOSTAT | HEMOPATCH is an absorbable collagen pad intended for sealing and hemostasis. HEMOPATCH is indicated as a hemostatic device and surgical sealant for procedures in which control of bleeding or leakage of other body fluids or air by conventional surgical techniques is either ineffective or impractical. HEMOPATCH may be used to close dural defects following traumatic injury, excision, retraction or shrinkage of the dura mater. | Small: 2.7CM X 2.7 CM ( 5 pads per box) | Baxter Healthcare Pty Ltd | The prosthesis is only to be used in a surgical procedure described in item 39612, 39615, 39641, 39710 and 39712 in Group T8 of the Regulations. | Changed Condition
BX343 | 04 - Neurosurgical | HEMOPATCH SEALING HAEMOSTAT | HEMOPATCH is an absorbable collagen pad intended for sealing and hemostasis. HEMOPATCH is indicated as a hemostatic device and surgical sealant for procedures in which control of bleeding or leakage of other body fluids or air by conventional surgical techniques is either ineffective or impractical. HEMOPATCH may be used to close dural defects following traumatic injury, excision, retraction or shrinkage of the dura mater. | Medium 4.5cm X 4.5cm ( 3 pads per box) Large 4.5cm X 9cm (3 pads per box) | Baxter Healthcare Pty Ltd | The prosthesis is only to be used in a surgical procedure described in item 39612, 39615, 39641, 39710 and 39712 in Group T8 of the Regulations. | Changed Condition
HW488 | 04 - Neurosurgical | Excelsior SL-10 & Excelsior 1018 | Excelsior SL-10 & the Excelsior 1018 Microcatheter is indicated to assist in the delivery of diagnostic agents, such as contrast media, and therapeutic agents, such as occlusion coils, into the peripheral, coronary and neurovasculature. | Length: 150cm Outer Diameter: 2.4F - 2.6F Inner Diameter: 0.165" - 0.019" | Stryker Australia Pty Ltd |  | Changed Product Sizes
JJ070 | 05 - Urogenital | GYNECARE TVT™: Device Tension Free Vaginal Tape / EXACT™ Continence System | Female stress urinary incontinence surgical mesh | Tape - 133 mm (W) x 190 mm (H); EXACT™ - Flat:460 mm (W) x 546 mm (H) | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
JJ442 | 05 - Urogenital | GYNECARE TVT™ Obturator System | Female stress urinary incontinence surgical mesh | 461.86 mm X 548.96 mm | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
MN039 | 05 - Urogenital | GYNECARE TVT™ ABBREVO™ Continence System | Female stress urinary incontinence surgical mesh | 459.91 mm X 545.9 mm | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Product Description, Product Sizes
WR237 | 06 - Specialist Orthopaedic | Ortholoc Fracture System - Plates | Universal | ≤ 6 holes | Wright Medical Australia |  | Changed Product Sizes
GW034 | 06 - Specialist Orthopaedic | WEGO Trauma Systems | Small Fragment Plating System | ≤ 6 Holes | EQUINOX ORTHOPAEDICS PTY LTD |  | Changed Product Description
HU187 | 06 - Specialist Orthopaedic | Locking Third Tubular Plate | Plate for fracture of the Fibula | 7-12 Holes | ARTHREX AUSTRALIA PTY LTD |  | Changed Product Name
HU188 | 06 - Specialist Orthopaedic | Locking Reconstruction Plate | Reconstruction Plate for communited Fibula Shaft Fractures | 7-12 holes | ARTHREX AUSTRALIA PTY LTD |  | Changed Product Name
HW563 | 06 - Specialist Orthopaedic | Leibinger Titanium Implant System | Profyle hand and small fragment plate system | screw size ≤2.7mm ≤ 6 holes | Stryker Australia Pty Ltd |  | Changed Product Sizes
ST788 | 06 - Specialist Orthopaedic | Leibinger Titanium Implant System | Leibinger System, anatomical shap, Titanium | screw size ≤2.7mm ≤ 6 holes | Stryker Australia Pty Ltd |  | Changed Product Sizes
HU189 | 06 - Specialist Orthopaedic | Locking Distal Fibula Plate | Locking Distal Fibula Plate for Fracture Fixation | 8 -14 Holes ( Left and Right Specific) | ARTHREX AUSTRALIA PTY LTD |  | Changed Product Sizes
DZ068 | 06 - Specialist Orthopaedic | Austofix Cannulated Compression Screws | Headless Cannulated Compression Screws | 3.0mm width, 10-48mm length; 3.8mm width, 10-60mm length | AUSTRALIAN ORTHOPAEDIC FIXATIONS PTY LTD |  | Changed Product Sizes
SY652 | 06 - Specialist Orthopaedic | AO/ASIF Screws | Locking Head Screws | >2.7mm to &lt; 4.5mm | Johnson & Johnson Medical Pty Ltd |  | Changed Product Sizes
HU206 | 06 - Specialist Orthopaedic | Low Profile Cancellous Bone Screws | Low Profile Cancellous Bone Screws | 4mm | ARTHREX AUSTRALIA PTY LTD |  | Changed Benefit, Suffix
SQ190 | 06 - Specialist Orthopaedic | Wires | Wire, Bayonet, HA Coated, Pear Wire, Cone Shape, Drill Tip | Diameter 1.2-2.0mm, Length 200-400mm | Surgical Specialties |  | Changed Product Sizes
MU178 | 06 - Specialist Orthopaedic | All-Suture Anchor Size 1 | Suture Anchor | Ø 1.4 and 1.8 mm | Medacta Australia Pty Ltd |  | Changed Product Name, Product Sizes
MU179 | 06 - Specialist Orthopaedic | All-Suture Anchor Size 2 | Suture Anchor | Ø 2.4 and 2.8 mm | Medacta Australia Pty Ltd |  | Changed Product Name, Product Sizes
MU171 | 06 - Specialist Orthopaedic | Adjustable loop | Pullup and Mblock Adjustable fixation system | 4.5 mm 5 -10 mm | Medacta Australia Pty Ltd |  | Changed Product Name, Product Description
SF154 | 06 - Specialist Orthopaedic | Signaflip | Fixation for ACL/PCL repair | Fixed/Adjustable loop, 15-60mm length | Signature Orthopaedics |  | Changed Product Sizes
SY427 | 06 - Specialist Orthopaedic | MAXFRAME Distraction Osteogenesis External Fixation System | Foot Rings, Foot Plates Short/Long, Footplate Support Kit - single unit with Left/Right Supports | Rings/Plates 100mm-210mm, Supports One Size - Left & Right | Johnson & Johnson Medical Pty Ltd |  | Changed Product Description, Product Sizes
SY595 | 07 - Plastic and Reconstructive | Midface, CMF Distractor System | Distractor Footplate | Various | Johnson & Johnson Medical Pty Ltd |  | Changed Product Name, Benefit, Suffix
PN012 | 10 - Vascular | Penumbra Ruby Coil System | The Ruby Coil System is comprised of a platinum embolisation coil attached to a composite pusher with a radiopaque positioning marker. The coil is transferred onto the microcatheter and the coil should be advanced under fluoroscopic guidance. The detachment handle is attached and advanced over the proximal end of the delivery pusher and then the coil is detached by using the retraction button on the handle into the preferred site. | Diameter.mm. - Length .cm. 3 x 5 3 x 12 3 x 20 4 x 10 4 x 15 4 x 20 4 x 30 4 x 35 5 x 12 5 x 20 5 x 30 6 x 12 6 x 20 6 x 30 7 x 25 7 x40 8 x 25 8 x 40 9 x 30 10 x 35 12 x 40 12 x 60 14 x 40 14 x 60 16 x 60 18 x 57 20 x 60 24 x 57 28 x 60 32 x 60 36 x 60 40 x 60 2 x 1 2 x 2 2 x 4 3 x 5 3 x 15 4 x 6 4 x 15 6 x 20 6 x 30 8 x 35 8 x 60 10 x 35 12 x 40 16 x 50 20 x 60 | Penumbra Neuro Australia Pty Ltd |  | Changed Product Sizes
MU004 | 11 - Hip | Quadra Hip Cemented Femoral Stem | High nitrogen stainless steel alloy, highly polished, double taper | Std 0 to 8. Lat 1 to 8 Std short neck 0 to 7. Lat short neck 1 to 7. | Medacta Australia Pty Ltd |  | Changed Product Sizes
LO020 | 11 - Hip | Link MP Reconstruction Hip Prosthesis | Titanium, Grit blast, femoral Body | Length 35-65 mm Offset Standard, XXL lateral | Link Orthopaedics Australia |  | Changed Product Name, Product Sizes
TZ002 | 11 - Hip | Adler Ceramic Head | Ceramic Femoral Heads. Biolox Delta | Short, Medium, Long, Extra Long, 22 - 32mm Outer Diameter 12/14 Taper | The Trustee for Adler Ortho Unit Trust |  | Changed Product Name, Product Description, Product Sizes
BV027 | 11 - Hip | Femoral Head | Femoral Head CoCr, Superfinished | 33-36mm, XS-XXL (neck length), -3.5 to + 10.5 (neck offset) | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Description, Product Sizes
TZ003 | 11 - Hip | Adler Ceramic Head | Delta Alumina Ceramic Head | Short, Medium, Long, Extra Long; 36mm to 48mm | The Trustee for Adler Ortho Unit Trust |  | Changed Product Sizes
CR232 | 11 - Hip | Dual Mobility Cup (MobiliT), Shell Cemented | Acetabular Shell, Cemented stainless steel with groove, internal mirror polished | 42mm to 60mm | Corin Australia Pty Ltd |  | Changed Product Name
GO196 | 12 - Knee | Apex Knee - Cemented Femoral Component | CR Cemented Femoral Component, Non-Porous, Size 1 to 6 | Size 1-6, 1+, 2+, 3+, 4+, 5+, 6+ in Left & Right | Global Orthopaedic Technology |  | Changed Product Sizes
GO287 | 12 - Knee | Apex PS Cemented Femoral Component | The femoral component of a total knee system that incorporates a proportionally sized box. | Sizes 1-6, plus Sizes 1+ to 6+ Left and Right | Global Orthopaedic Technology |  | Changed Product Sizes
GO195 | 12 - Knee | Apex Knee, Femoral Component Porous Coated | Femoral Component Porous Coated Size 1 to 6 left & Right. | Sizes 1-6, 1+, 2+, 3+, 4+, 5+, 6+ in Left & Right | Global Orthopaedic Technology |  | Changed Product Sizes
LI068 | 12 - Knee | Score Knee System Tibial Baseplate | Tibial Baseplate, Cemented, CoCr, polished insert surface for mobile insert | 9 Sizes | Amplitude Australia |  | Changed Product Sizes
LI069 | 12 - Knee | Score Knee System Tibial Baseplate | Tibial baseplate, CoCr, uncemented, stippled surface, titanium plasma spray with HA | 9 Sizes | Amplitude Australia |  | Changed Product Sizes
GO191 | 12 - Knee | Apex Knee, Tibial Insert | Tibial Insert, Standard, Ultra & Congruent, UHMWPE & ECiMa, Size 1-6, 10mm to 20mm | Size 1, 10mm to 20mm, size 2, 10mm to 20mm, size 3, 10mm to 20mm, size 4, 10mm to 20mm, size 5, 10mm to 20mm, size 6, 10mm to 20mm. | Global Orthopaedic Technology |  | Changed Product Description, Product Sizes
GO189 | 12 - Knee | Apex Knee, All-Poly Patella | All-Poly Dome 3 Peg Patella, ECiMa or UHMWPE | 26mm x 10mm & 8mm, 29mm x 10mm & 8mm, 32mm x 10mm & 8mm, 35mm x 10mm & 8mm, 38mm x 10mm & 8mm, 41mm x 10mm | Global Orthopaedic Technology |  | Changed Product Description
LO156 | 12 - Knee | Link Modular Knee Prosthesis System | Femoral Component | Extra Small - Extra Large | Link Orthopaedics Australia |  | Changed Product Name
BV045 | 12 - Knee | Evolution Medial Pivot Knee System | Revision Tibial Base Augment | Sizes 1 - 8+ 5mm - 15mm Medial, Lateral Left, Right | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Sizes
BV049 | 12 - Knee | Evolution Medial Pivot Knee System | Revision System Screws | Pass Through, Stem Extension, Side Lock, CCK Pass Through 10-24mm | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Sizes
BV051 | 12 - Knee | Evolution Medial Pivot Knee System | Revision Tibial Base Modular Keel | Small, Medium, Large | MICROPORT ORTHOPEDICS PTY LIMITED |  | Changed Product Sizes
MN263 | 13 - Spinal | SYMPHONY OCT System | Polyaxial screws | 3.0-5.5mm diameter | Johnson & Johnson Medical Pty Ltd |  | Changed Product Sizes
DE770 | 13 - Spinal | NorthStar OCT | NorthStar OCT Occipital Screw | 4.0, 4.5mm Diameter 7-16mm Lengths | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DU005 | 13 - Spinal | Perla Posterior Cervico-Thoracic Fixation System - Cross Connector | Adjustable rod-to-rod cross connectors | RTR - Length: 21-23mm, 23-26mm, 26-32mm, 32-44mm, 44-45mm | SPINEART AUSTRALIA PTY. LTD. |  | Changed Product Description, Product Sizes
DE658 | 13 - Spinal | Shoreline ACS TruProfile Cage | Cervical ACDF Cage | Footprints: 14 x 13mm, 16 x 14mm, 18 x 15mm and 20 x 15mm Lordosis: 7, 10 and 15 degrees Heights: 5,6,7,8,9,10,11 and 12mm | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
DE773 | 13 - Spinal | KONG-TL | KONG-TL VBR Bodies | 19mm Diameter: 19-23mm, 20-24mm, 22-29mm, 23-30mm, 27-37mm & 33-49mm Heights | Device Technologies Australia Pty Ltd |  | Changed Product Sizes
End of worksheet