## Prostheses List Deletions
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
Designs for Vision Pty Ltd | 01 - Ophthalmic | DV269 | HOYA iSert® 250 | Preloaded injector system, Micro-Incision, Aspheric, UV filtering, Single Piece, Hydrophobic | +6.0D to +30.0D (in 0.5D steps) | 2023-11-01 | DELETE
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE284 | Single Dose Ophthalmic Gases | Single dose tamponading gas for retinal surgery | 30ml | 2023-11-01 | DELETE
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE204 | Arcaline (Perfluorodecaline) | Liquid perfluorocarbon aid for retinal surgery, operative device for retinal surgery, in particular retinal detachment (RD), RD with giant tear etc. | 3ml, 5ml, 7ml | 2023-11-01 | DELETE
Device Technologies Australia Pty Ltd | 01 - Ophthalmic | DE205 | Arcotane (Perfloro-N-Octane) | Liquid perfluoro-N-Octane aid for retinal surgery, pre-operative device for retinal surgery, in particular retinal detachment (RD), RD with giant tear, RD with proliferative vitreal retinopathy (PVR) etc. | 5ml, 7ml | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER535 | Senza Omnia IPG Kit | Implantable Pulse Generator Kit | One size only | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER009 | Nevro Spinal Cord Stimulation System (SCSS) - Patient Remote Kit | The patient remote control is a handheld, battery operated unit able to communicate via radiofrequency (RF) with the Implantable Pulse Generator and trial stimulator | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER536 | Senza Omnia Patient Remote | Handheld, battery operated unit able to communicate via radiofrequency with the Senza Omnia IPG, | One size only | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER008 | Nevro Spinal Cord Stimulation System (SCSS) - Charger Kit | The Charger is a battery powered rechargeable device intended to recharge the Implantable Pulse Generator (IPG) battery transcutaneously | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER540 | Senza Omnia Charger | Battery powered rechargeable device intended to recharge the Senza Omnia IPG battery transcutaneously | One size only | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER649 | Nevro® Senza® Bluetooth® Trial Stimulator | Sterile, single-use trial stimulator device | One size only | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER006 | Nevro Spinal Cord Stimulation System (SCSS) - Lead Kit | The percutaneous lead is intended to be single use and interfaces with the Implantable Pulse Generator, lead extender OR cable, and lead accessories. | Spacing: 1-9mm spacing, 1-9mm in 1mm increments; Length: 30-90cm in 5cm increments | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER388 | Surpass Surgical Lead | 16 Contact Lead with two bifurcating 8 contact tails with embedded differentiating colour pigment in tail | Length: 30 - 90 cm | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER607 | Surpass-C Surgical Lead | Surgical lead, 10, 12 and 14 electrode | 50cm, 70cm, 90cm | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER102 | Nevro Spinal Cord Stimulation System (SCSS) - Pocket Adaptor Kit - S8 | The Pocket Adaptor is intended to be used when replacing a previously implanted Pulse Generator with the Nevro Implantable Pulse Generator. The Pocket Adaptor interfaces the Nevro Implantable Pulse Generator to another manufacturer's previously implanted compatible lead or lead extension. | Length of 10cm to 60cm, in increments of 1cm. | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER130 | Nevro Spinal Cord Stimulation System (SCSS) - Pocket Adaptor Kit - M8 | The Pocket Adaptor is intended to be used when replacing a previously implanted Pulse Generator with the Nevro Implantable Pulse Generator. The Pocket Adaptor interfaces the Nevro Implantable Pulse Generator to another manufacturer's previously implanted compatible lead or lead extension | Length of 10cm to 60cm, in increments of 1cm | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER042 | Nevro Spinal Cord Stimulation System (SCSS) - IPG Port Plug Kit | The Implantable Pulse Generator (IPG) Port Plug is provided to seal the port of the IPG that is not is use. | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER036 | Nevro Spinal Cord Stimulation System (SCSS) - Coiled Lead Blank Kit | The Coiled Lead Blank made out of stainless steel is optionally used during surgery to clear a path for the introduction of the SCS Lead into the epidural space. The coiled lead blank is a tool used to help clear obstructions within the cannula of the insertion needle and may be used by the physician to verify access to the epidural space. | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER039 | Nevro Spinal Cord Stimulation System (SCSS) - Cable Kit | The cables are used during the Lead implant procedure and patient trial to make electrical and mechanical connections between the Trial Stimulator and the Lead or Lead extension. There is a separate adaptor cable that allows the use of the Medtronic lead with the Nevro Senza System | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER041 | Nevro Spinal Cord Stimulation System (SCSS) - Torque Wrench Kit | The Torque Wrench is used to tighten the set screws that lock the lead into the Implantable Pulse Generator or to lock the lead into a lead extension | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER043 | Nevro Spinal Cord Stimulation System (SCSS) - IPG Template Kit | The Implantable Pulse Generator (IPG) Template is an aid for the physician to assist in the proper sizing of the IPG pocket. | N/A | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER044 | Nevro Spinal Cord Stimulation System (SCSS) - Stylet Kit | The Stylets are used to push and "steer" the stimulation Lead into place. These are standard configurations offered across industry offering the implanter the flexibility to maneuver the leads through the epidural space to the desired implant location. | Offered in Straight, Curved or Tapered versions. Diameter: 0.35, 0.40 mm Length: 50,70,90 cm; Angle: 15-30 degrees | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER557 | Nevro Passing Elevator Tool | Passing elevator tool | One size only | 2023-11-01 | DELETE
Emergo Asia Pacific Pty Ltd | 04 - Neurosurgical | ER562 | Nevro Spinal Cord Stimulation System (SCSS) – Lead Anchor Kit | The Lead Anchors are used to anchor the lead to the fascia or supraspinous ligament. Lead Anchors are designed to slide freely over the lead length to the required fixation position and sutures are then tied around the anchor clamping the sleeve in place on the lead or a torque wrench is used to tighten the anchor to the lead. | One size only | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM481 | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 6 holes or less | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM479 | Variable Locking Hand Plates | Variable Locking Hand Plates | 6 holes or less | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM482 | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 7 to 15 holes | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM483 | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 16 holes or more | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM484 | Periarticular Hand Plates | Periarticular Hand Plates | Multiple sizes to suit patient anatomy | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM399 | Cannulated Screws | Cannulated Screws | 2.71mm – 4.49mm diameter | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM394 | Headless Compression Screw | Headless Compression Screw | 2.71mm – 4.49mm diameter | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM392 | Cannulated Screws | Cannulated Screws | 2.01 mm – 2.70 mm diameter | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM396 | Headless Compression Screw | Headless Compression Screw | 2.01 – 2.7 mm | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM398 | Cannulated Screws | Cannulated Screws | 2.0mm diameter and smaller | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM393 | Headless Compression Screws | Headless Compression Screws | 2.0mm or smaller diameter | 2023-11-01 | DELETE
LMT Surgical Pty Ltd | 06 - Specialist Orthopaedic | LM478 | Locking Screws | Locking Screws | ≤ 2.0mm | 2023-11-01 | DELETE
Smith & Nephew Pty Ltd | 06 - Specialist Orthopaedic | SL160 | Smith and Nephew All Suture Anchors | All Suture Repair | Less than or equal to 2.3mm | 2023-11-01 | DELETE
Smith & Nephew Pty Ltd | 06 - Specialist Orthopaedic | SL162 | Smith and Nephew PEEK Anchor System | Soft tissue anchor fixation | ≥4mm | 2023-11-01 | DELETE
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX002 | Novation Element HA | Novation Press-Fit Element Stems are intended for press-fix fixation and manufactured from Titanium 6A1-4V and have rectangular cross-sectional geometry with transverse proximal grooves and distal parallell grooves. | collarless: standard offset, 12/14, sizes 8-18 Extended offset 12/14, sizes 8-18, collarless: standard reduced offset, 12/14, sizes 8-12 Extended reduced offset 12/14, sizes 8-12 collared: standard offset 12/14, sizes 8-18 collared: standard reduced offset 12/14, sizes 8-12 | 2023-11-01 | DELETE
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | EX023 | Exactech Femoral Head | Ceramic/Femoral Head, Biolox Forte | -2 to -5mm, +0 to +10mm | 2023-11-01 | DELETE
EXACTECH AUSTRALIA PTY LTD | 11 - Hip | FA003 | BSC Acetabular Shell | Titanium, plasma spray, HA with 3 holes | 46-66mm | 2023-11-01 | DELETE