## Prostheses List
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, t1 | AO050 | 515 | AMO Australia Pty Ltd | TECNIS Eyhance Toric II Simplicity | 1-piece enhanced monofocal pre-loaded IOL | +05.0 D to +34.0 D in 0.5 D increments. overall diameter: 13mm, optic size 6mm. Cylinder power: 1.00 D, 1.50 D, 2.25 D, 3.00 D, 3.75 D, 4.5 D, 5.25 D, 6.00 D | 412991 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, t1 | WP008 | 515 | The Trustee for The Ophthalmopro Unit Trust | Primus-HD Toric Clear | Preloaded Injector system, Biconvex optical with toric and high order coefficient aspheric surface IOL, foldable, one piece, hydrophobic acrylic, UV filter, 360 square edge | IOL Cylinder powers are : +1.00D, +1.50D, +2.25D, +3.00D, +4.00D and +4.50D Cylinder powers at corneal plane are : +0.72D, +1.07D, +1.59D, +2.11D, +2.8D, and +3.15D | 397250 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t1, vblf | KG039 | 499 | Kevin Grundy (IBD) Pty Ltd | Simedice Toric IOL | Posterior chamber, UV absorbing, foldable, acrylic, toric, single piece lens with blue light protection and aspheric correction. | Sperical diopter: +10.0 to +30.0 D, in 0.5 increments Cylinder power: 0.75 to 5.75 | 385551 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t2, pl | AO051 | 793 | AMO Australia Pty Ltd | TECNIS Eyhance Toric II Simplicity | 1-piece enhanced monofocal pre-loaded IOL | +05.0 D to +34.0 D in 0.5 D increments. overall diameter: 13mm, optic size 6mm. Cylinder power: 7.00 D, 8.00 D | 412991 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl, t1, vlbf | AO049 | 950 | AMO Australia Pty Ltd | TECNIS Synergy Toric II Simplicity | Preloaded 1-piece continuous multifocal toric IOL | +5.0 Diopters to +34.0 Diopters in 0.5 Diopter increments. Overall diameter 13mm, optic size 6mm Cylinder powers 1.00 D, 1.50 D, 2.25 D, 3.00 D, 3.75 D. | 411930 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, pl, vblf | AO052 | 666 | AMO Australia Pty Ltd | TECNIS Synergy Simplicity | Preloaded 1-piece continuous multifocal IOL | 5.0 Diopters to +34.0 Diopters in 0.5 Diopter increments. Overall diameter 13mm, optic size 6mm | 411514 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, t1, vblf | AL059 | 934 | Alcon Laboratories (Aust.) Pty Ltd | Clareon Vivity Toric Extended Vision Hydrophobic IOL (Models CNWET3 - CNWET6) | Presbyopia correcting, ultraviolet and blue light filtering, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances, and also compensates for corneal astigmatism | +10.0 to +30.0 diopters; Cylinder:1.50 to 3.75 diopters | 92318 |  | November 2023 | New Listing
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Presbyopia correcting | at, vblf | AL060 | 651 | Alcon Laboratories (Aust.) Pty Ltd | Clareon Vivity Extended Vision Hydrophobic IOL (Model CNWET0) | Presbyopia correcting, ultraviolet and blue light filtering, foldable, single-piece posterior chamber IOL which provides an extended range of vision from distance to near while maintaining a low incidence of visual disturbances | +10.0 to +30.0 diopters | 92318 |  | November 2023 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.01 - Viscoelastic |  |  | LN016 | 55 | Lumos Medical Pty Ltd | AJL CELL | AJL CELL 2% is made up of 2% hydroxypropyl methylcellulose (HPMC) in a phosphate-buffered saline solution that is administered into the anterior chamber of the eye during intraocular surgery using a prepared sterile syringe and cannula suitable for the surgical technique. | 2mL | 413398 |  | November 2023 | New Listing
01 - Ophthalmic | 01.03 - INTRAOCULAR FLUIDS | 01.03.01 - Viscoelastic |  |  | VU029 | 55 | SURGIVISION PTY LTD | CrownGel | CrownGel is an isotonic, clear, viscoelastic and sterile solution for intraocular application. As an auxiliary device during surgery of the anterior segment of the eye, CrownGel maintains the depth of the anterior chamber and protects the surrounding intraocular tissue. CrownGel contains 2.0% hydroxypropyl methylcellulose and supports the intraocular manipulations due to its viscoelastic and moistening properties. | 2.0% x 2.0mL | 413441 |  | November 2023 | New Listing
01 - Ophthalmic | 01.05 - GLAUCOMA DRAINAGE | 01.05.03 - Ab Interno Glaucoma Drainage Device | 01.05.03.02 - external to Schlemm's canal |  | UK033 | 1264 | The Trustee for Giorgios and Katarina Loizou Family Trust | MINIject | The MINIject implant is a network of hollow spheres made of silicone which enhances suprachoroidal outflow of aqueous humor to reduce intraocular pressure in glaucoma patients. The MINIject delivery device has a polyimide sheath. | 5mm long | 400268 |  | November 2023 | New Listing
01 - Ophthalmic | 01.05 - GLAUCOMA DRAINAGE | 01.05.03 - Ab Interno Glaucoma Drainage Device | 01.05.03.02 - external to Schlemm's canal |  | UK034 | 1264 | The Trustee for Giorgios and Katarina Loizou Family Trust | MINIject S | The MINIject implant is a network of hollow spheres made of silicone which enhances suprachoroidal outflow of aqueous humor to reduce intraocular pressure in glaucoma patients. The MINIject S delivery device has a nitinol sheath. | 5mm long | 400268 |  | November 2023 | New Listing
01 - Ophthalmic | 01.09 - RETINAL DETACHMENT PROSTHESES | 01.09.04 - Intraocular Gases |  |  | IW007 | 67 | Beaver-Visitec International Australia Pty Ltd | Single Dose Ophthalmic Gases | Single dose tamponading gas for retinal surgery | 30ml | 99568 |  | November 2023 | Transferred from DE284
01 - Ophthalmic | 01.09 - RETINAL DETACHMENT PROSTHESES | 01.09.05 - Intraocular Heavy Liquids |  |  | IW008 | 217 | Beaver-Visitec International Australia Pty Ltd | Arcaline (Perfluorodecaline) | Liquid perfluorocarbon aid for retinal surgery, operative device for retinal surgery, in particular retinal detachment (RD), RD with giant tear etc. | 3ml, 5ml, 7ml | 140539 |  | November 2023 | Transferred from DE204
01 - Ophthalmic | 01.09 - RETINAL DETACHMENT PROSTHESES | 01.09.05 - Intraocular Heavy Liquids |  |  | IW009 | 217 | Beaver-Visitec International Australia Pty Ltd | Arcotane (Perfloro-N-Octane) | Liquid perfluoro-N-Octane aid for retinal surgery, pre-operative device for retinal surgery, in particular retinal detachment (RD), RD with giant tear, RD with proliferative vitreal retinopathy (PVR) etc. | 5ml, 7ml | 140539 |  | November 2023 | Transferred from DE205
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.02 - Speech Processors | 02.01.02.01 - Initial | AutoScan, 2.4GHz Wireless | BD031 | 11392 | Advanced Bionics Australia Pty Ltd | Naida CI M90 / Sky CI M90 Sound Processor | Naida CI M90 Sound Processor The Naída CI M90 and Sky CI M90 Sound Processors are behind-the-ear (BTE) sound processors for use with an Advanced Bionics cochlear implant. They feature direct connectivity to wireless accessories and Bluetooth® technology enabled devices. They offers multiple power options and wearing options for the user. The system is designed to provide useful hearing to individuals with severe-to-profound hearing loss. The coupling can be included to enable electro-acoustic stimulation. The Sky CI M90 Sound Processor is for paediatric application | 27.5 x 29.2 x 9.2 (sound processor only) | 411570 411571 |  | November 2023 | New Listing
02 - Ear, Nose & Throat | 02.01 - EAR | 02.01.02 - Speech Processors | 02.01.02.02 - Replacement | AutoScan, 2.4GHz Wireless | BD032 | 8114 | Advanced Bionics Australia Pty Ltd | Naida CI M90 / Sky CI M90 Sound Processor | Naida CI M90 Sound Processor The Naída CI M90 and Sky CI M90 Sound Processors are behind-the-ear (BTE) sound processors for use with an Advanced Bionics cochlear implant. They feature direct connectivity to wireless accessories and Bluetooth® technology enabled devices. They offers multiple power options and wearing options for the user. The system is designed to provide useful hearing to individuals with severe-to profound hearing loss. The Sky CI M90 Sound Processor is for paediatric application | 27.5 x 29.2 x 9.2 (processor only) Size H x W x D in Millimeters | 411570 411571 |  | November 2023 | New Listing
03 - General Miscellaneous | 03.06 - LUMINAL STENTS | 03.06.04 - Pancreatic Stents | 03.06.04.01 - Self-expanding metal, Covered | Electrocautery | UK032 | 4345 | The Trustee for Giorgios and Katarina Loizou Family Trust | HANAROSTENT® HOT Plumber™ with Z-EUS IT™ | A lumen apposing metallic stent is a prescription device that consists of a metallic stent, intended for placement to facilitate transmural endoscopic drainage of pancreatic pseudocysts, walled-off pancreatic necrosis and gallbladder. This stent is intended to be removed upon confirmation of cyst resolution. This device also includes an electrocautery delivery system that is able to be connected to electrosurgical generator so electrode punch tip allows easy access to the targeted tissue when the pure cut mode is activated through compatible electrosurgical unit. The stent is a flexible, fully silicone covered, self-expanding nitinol stent, which is preloaded within the electrocautery-enhanced delivery system. The electrocautery delivery system is designed to be used in the gastrointestinal tract in conjunction with commercially available echoendoscopes with a 3.7 mm diameter or larger working channel and is compatible with commercially-available 0.035-inch endoscopic guidewires. The monopolar electrosurgical energy is used to delivery system and the generator is not included in this device. | Diameter 10–16mm, Length 20-40mm | 407746 |  | November 2023 | New Listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.03 - Clips with Disposable Applier | Endoscopic | WV002 | 125 | STERIS AUSTRALIA PTY LTD | VIPER HemoClip | The Viper HemoClip Device consists of a pre-loaded, single use clip for the GI tract with one step deployment. | 9mm, 11mm, 13mm, 16mm | 408630 |  | November 2023 | New Listing
04 - Neurosurgical | 04.02 - DURA DEFECT REPAIR | 04.02.01 - Repair, Graft, Small (≤10cm²) |  | Biological | LH765 | 320 | Lifehealthcare Pty Ltd | Neodura Dural Repair Patch ≤10cm² | absorbable dural repair patch made of degradable PLLA & Gelatin | 10cm² or less | 419571 | The PL benefit is limited to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. | November 2023 | New Listing
04 - Neurosurgical | 04.03 - HYDROCEPHALUS DEVICES | 04.03.02 - Unitised shunt assembly, with proximal/distal catheter |  |  | MI525 | 407 | Medtronic Australasia Pty Ltd | CSF-Lumboperitoneal Shunt | T-Tube and K-Tube | Length: 87cm | 134740 |  | November 2023 | New Listing
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.01 - Pulse Generators | 04.05.01.02 - Rechargeable Pulse Generator | Unlimited Deep Discharge Battery, 10kHz Stimulation | WW021 | 23465 | Nevro Medical Pty Ltd | Senza Omnia IPG Kit | Implantable Pulse Generator Kit | One size only | 330704 |  | November 2023 | Transferred from ER535
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.03 - On/Off switching device |  | WW008 | 1264 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Patient Remote Kit | The patient remote control is a handheld, battery operated unit able to communicate via radiofrequency (RF) with the Implantable Pulse Generator and trial stimulator | N/A | 185994 |  | November 2023 | Transferred from ER009
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.03 - On/Off switching device |  | WW020 | 1264 | Nevro Medical Pty Ltd | Senza Omnia Patient Remote | Handheld, battery operated unit able to communicate via radiofrequency with the Senza Omnia IPG, | One size only | 330708 |  | November 2023 | Transferred from ER536
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.04 - Recharger |  | WW007 | 1215 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Charger Kit | The Charger is a battery powered rechargeable device intended to recharge the Implantable Pulse Generator (IPG) battery transcutaneously | N/A | 181182 |  | November 2023 | Transferred from ER008
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.04 - Recharger |  | WW019 | 1215 | Nevro Medical Pty Ltd | Senza Omnia Charger | Battery powered rechargeable device intended to recharge the Senza Omnia IPG battery transcutaneously | One size only | 328684 |  | November 2023 | Transferred from ER540
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.02 - External Components | 04.05.02.05 - External Neurostimulator |  | WW015 | 1083 | Nevro Medical Pty Ltd | Nevro® Senza® Bluetooth® Trial Stimulator | Sterile, single-use trial stimulator device | One size only | 388432 |  | November 2023 | Transferred from ER649
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.03 - Leads | 04.05.03.01 - Permanent Lead | 8 electrodes | WW006 | 3817 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Lead Kit | The percutaneous lead is intended to be single use and interfaces with the Implantable Pulse Generator, lead extender OR cable, and lead accessories. | Spacing: 1-9mm spacing, 1-9mm in 1mm increments; Length: 30-90cm in 5cm increments | 185992 |  | November 2023 | Transferred from ER006
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.03 - Leads | 04.05.03.01 - Permanent Lead | greater than 8 and less than 32 electrodes, Bifurcated proximal tail | WW016 | 8123 | Nevro Medical Pty Ltd | Surpass-C Surgical Lead | Surgical lead, 10, 12 and 14 electrode | 50cm, 70cm, 90cm | 368530 |  | November 2023 | Transferred from ER607
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.03 - Leads | 04.05.03.01 - Permanent Lead | greater than 8 and less than 32 electrodes, Bifurcated proximal tail | WW022 | 8123 | Nevro Medical Pty Ltd | Surpass Surgical Lead | 16 Contact Lead with two bifurcating 8 contact tails with embedded differentiating colour pigment in tail | Length: 30 - 90 cm | 284256 |  | November 2023 | Transferred from ER388
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.04 - Lead Extension |  |  | WW023 | 1362 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Pocket Adaptor Kit - M8 | The Pocket Adaptor is intended to be used when replacing a previously implanted Pulse Generator with the Nevro Implantable Pulse Generator. The Pocket Adaptor interfaces the Nevro Implantable Pulse Generator to another manufacturer's previously implanted compatible lead or lead extension | Length of 10cm to 60cm, in increments of 1cm | 204062 |  | November 2023 | Transferred from ER130
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.04 - Lead Extension |  |  | WW024 | 1362 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Pocket Adaptor Kit - S8 | The Pocket Adaptor is intended to be used when replacing a previously implanted Pulse Generator with the Nevro Implantable Pulse Generator. The Pocket Adaptor interfaces the Nevro Implantable Pulse Generator to another manufacturer's previously implanted compatible lead or lead extension. | Length of 10cm to 60cm, in increments of 1cm. | 199081 |  | November 2023 | Transferred from ER102
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.02 - Plug |  | WW012 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - IPG Port Plug Kit | The Implantable Pulse Generator (IPG) Port Plug is provided to seal the port of the IPG that is not is use. | N/A | 190837 |  | November 2023 | Transferred from ER042
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW009 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Coiled Lead Blank Kit | The Coiled Lead Blank made out of stainless steel is optionally used during surgery to clear a path for the introduction of the SCS Lead into the epidural space. The coiled lead blank is a tool used to help clear obstructions within the cannula of the insertion needle and may be used by the physician to verify access to the epidural space. | N/A | 181179 |  | November 2023 | Transferred from ER036
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW010 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Cable Kit | The cables are used during the Lead implant procedure and patient trial to make electrical and mechanical connections between the Trial Stimulator and the Lead or Lead extension. There is a separate adaptor cable that allows the use of the Medtronic lead with the Nevro Senza System | N/A | 181180 |  | November 2023 | Transferred from ER039
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW011 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Torque Wrench Kit | The Torque Wrench is used to tighten the set screws that lock the lead into the Implantable Pulse Generator or to lock the lead into a lead extension | N/A | 181181 |  | November 2023 | Transferred from ER041
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW013 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - IPG Template Kit | The Implantable Pulse Generator (IPG) Template is an aid for the physician to assist in the proper sizing of the IPG pocket. | N/A | 185414 |  | November 2023 | Transferred from ER043
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW014 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) - Stylet Kit | The Stylets are used to push and "steer" the stimulation Lead into place. These are standard configurations offered across industry offering the implanter the flexibility to maneuver the leads through the epidural space to the desired implant location. | Offered in Straight, Curved or Tapered versions. Diameter: 0.35, 0.40 mm Length: 50,70,90 cm; Angle: 15-30 degrees | 180653 |  | November 2023 | Transferred from ER044
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW017 | 152 | Nevro Medical Pty Ltd | Nevro Spinal Cord Stimulation System (SCSS) – Lead Anchor Kit | The Lead Anchors are used to anchor the lead to the fascia or supraspinous ligament. Lead Anchors are designed to slide freely over the lead length to the required fixation position and sutures are then tied around the anchor clamping the sleeve in place on the lead or a torque wrench is used to tighten the anchor to the lead. | One size only | 180541 |  | November 2023 | Transferred from ER562
04 - Neurosurgical | 04.05 - NEUROSTIMULATION THERAPIES FOR PAIN MANAGEMENT | 04.05.05 - Accessories | 04.05.05.03 - Intraoperative Accessories |  | WW018 | 152 | Nevro Medical Pty Ltd | Nevro Passing Elevator Tool | Passing elevator tool | One size only | 337490 |  | November 2023 | Transferred from ER557
04 - Neurosurgical | 04.08 - NEURO INTERVENTION | 04.08.02 - Coils |  |  | RQ086 | 1118 | RQSolutions Medical Devices Distribution Support | Numen Coil Embolization System | The Medical Device consists of an implant coil attached to a delivery wire (pusher) within an introducer sheath. It is intended to endovascularly obstruct or occlude blood flow in vascular abnormalities of the neurovascular and peripheral vessels | Coil Length (cm)- 1.0-70.0. Coil Secondary Diameter (mm)- 1.0-24.0 | 413431 |  | November 2023 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.01 - Pump |  | BS427 | 4700 | Boston Scientific Australia Pty Ltd | AMS 800 Artificial Urinary Sphincter Pump | Control Pump | One size | 390349 |  | November 2023 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.02 - Occlusive cuff |  | BS425 | 2483 | Boston Scientific Australia Pty Ltd | AMS 800 Artificial Urinary Sphincter Cuff | Occlusive Cuff | 13 Cuff sizes from 3.5 to 11.0 cm: Size: 3.5, 4, 4.5, 5, 5.5, 6, 6.5, 7, 7.5, 8, 9, 10, 11cm | 390349 |  | November 2023 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.03 - Regulating Balloon |  | BS426 | 1954 | Boston Scientific Australia Pty Ltd | AMS 800 Artificial urinary sphincter Pressure Regulating Balloon | Pressure Regulating Balloon | 51 - 60cm, 61 -70cm, 71 - 80cm | 390349 |  | November 2023 | New Listing
05 - Urogenital | 05.01 - Incontinence Prostheses | 05.01.01 - Inflatable | 05.01.01.05 - Accessory kit |  | BS428 | 655 | Boston Scientific Australia Pty Ltd | AMS 800 Artificial Urinary Sphincter Accessory Kit | Accessory Kit | One Size | 390349 |  | November 2023 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.01 - Fixed length | 05.02.01.02 - Other synthetic | Therm | WJ004 | 196 | CIME | Roca J-Fil & Mini J-Fil | Ureteral PigTail Suture Stent & Simple / Connectable Pusher & Without / With GuideWire | 4.8Fr / 7.0Fr ( 00cm - 16cm ) | 381055 |  | November 2023 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.01 - Fixed length | 05.02.01.02 - Other synthetic | Therm | WK001 | 196 | ZIRVE | PLASTI-MED HydroPhilic | HydroPhilic Ureteral Stent | 4Fr / 4.8Fr / 6Fr / 7Fr ( 12cm - 28cm ) | 389186 |  | November 2023 | New Listing
05 - Urogenital | 05.02 - Ureteric Stents | 05.02.02 - Multi-length | 05.02.02.01 - Polyurethane | P | WK002 | 241 | ZIRVE | PLASTI-MED Multi-Length | Multi-Length Ureteral Stent | 3Fr / 3.5Fr / 4Fr / 4.7Fr / 4.8Fr / 6Fr / 7Fr ( 8cm - 32cm ) | 389186 |  | November 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.01 - Cylinder |  | BS421 | 3344 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses Cylinders | 700 Series (Non InhibiZone) | 10, 12, 14, 15, 16, 18, 21, 24cm | 390412 |  | November 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.02 - Reservoir |  | BS422 | 1705 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses Reservoir non Inhibizone | 700 Series (Non InhibiZone) | 100ml | 390412 |  | November 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.04 - Deactivation set |  | BS420 | 128 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses with InhibiZone Deactivation Package | 700 Series with InhibiZone | One Size | 390412 |  | November 2023 | New Listing
05 - Urogenital | 05.05 - Penile Prostheses | 05.05.03 - Inflatable - Three component | 05.05.03.05 - Accessory kit |  | BS423 | 655 | Boston Scientific Australia Pty Ltd | AMS 700 Series Inflatable Penile Prostheses Accessory Kit | 700 Series (Non InhibiZone) | One Size | 390412 |  | November 2023 | New Listing
05 - Urogenital | 05.07 - Sacral Neuromodulation | 05.07.01 - Primary Cell Pulse Generator (non-rechargeable) | 05.07.01.01 - Extended Battery Life |  | MI519 | 9606 | Medtronic Australasia Pty Ltd | InterStim X System – Neurostimulator | Recharge-free implantable neurostimulator | One size only | 421914 |  | November 2023 | New Listing
05 - Urogenital | 05.07 - Sacral Neuromodulation | 05.07.02 - External Components | 05.07.02.01 - Programmer |  | MI520 | 1330 | Medtronic Australasia Pty Ltd | InterStim™ X System – Smart Programmer Kit | Smart programmer kit houses the patient communicator and handset. The therapy apps are loaded onto the patient handset. | One size | 402561 402562 419710 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.03 - Humeral component - uncemented |  | HU371 | 3325 | ARTHREX AUSTRALIA PTY LTD | Arthrex® UNIVERS™ II Monoblock Stem | Uncoated Monoblock Stem | 5mm | 308819 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.03 - Humeral component - uncemented |  | HU372 | 3325 | ARTHREX AUSTRALIA PTY LTD | Arthrex® UNIVERS™ II Humeral Stem | Uncoated Humeral Stem | 6-15mm | 308820 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.03 - Humeral component - uncemented |  | MN374 | 3325 | Johnson & Johnson Medical Pty Ltd | Global Shoulder System | Humeral Stem | 6-16mm | 234874 223854 234875 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.12 - Standard humeral head |  | HU370 | 1261 | ARTHREX AUSTRALIA PTY LTD | Arthrex® UNIVERS™ II Humeral Head | Humeral Head | 40/17 - 56/24 | 308821 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.02 - UPPER LIMB | 06.02.04 - Shoulder - Humeral | 06.02.04.14 - Humeral cup |  | DD080 | 774 | DJO Australasia Pty Ltd | Reverse Socket Insert e+ | Socket Inserts e+ Poly | Size - 32mm, 36mm, 40mm, 44mm, Standard and Small, Thickness - Standard and +4 | 400333 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.07 - Arthrodesis ankle |  | HU356 | 3581 | ARTHREX AUSTRALIA PTY LTD | DualCompression Hindfoot Nail | Hindfoot Nail for Arthrodesis | Diameters: 10.5mm, 11.5mm, 12.5mm Lengths: 180mm, 210mm, 240mm, 300mm | 409312 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.07 - Arthrodesis ankle |  | VK051 | 3581 | Akva Surgical Pty Ltd | Orthofix AHN | Hindfoot Fusion Nailing System, titanium. | 10, 11, 12mm diameter. 150 - 300mm length. | 377916 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.01 - Intramedullary Nails | 06.03.01.13 - Arthrodesis | Interphalangeal | LM545 | 548 | LMT Surgical Pty Ltd | Reduct Arthrodesis Screw System | The REDUCT® Arthrodesis Screw System is intended for fixation of osseous fragments or fractures, arthrodesis of small joints, and osteotomies, with the appropriately sized screw. | • 2.0mm non-cannulated screws: 20mm - 44mm in 2mm increments. • 2.5mm cannulated screws: 26mm - 40mm in 2mm increments. • 3.5mm cannulated screws: 32mm - 46mm in 2mm increments. | 279795 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.03 - Set screw/Locking bolt |  | ER686 | 140 | Emergo Asia Pacific Pty Ltd | Paragon 28 Phantom Hindfoot TTC Nail System-Internal Compression Screw | Compression screw | one size | 402229 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.03 - Set screw/Locking bolt |  | ER687 | 140 | Emergo Asia Pacific Pty Ltd | Paragon 28 Phantom Hindfoot TTC Nail System-Threaded Peg | Tibial, calcaneal or subtalar threaded peg/crossing screw | Diameter: 5.0mm; Length: 20mm – 70mm in 2mm increments. Diameter: 7.2mm; Length: 45mm – 120mm in 5mm increments. | 402229 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.03 - Set screw/Locking bolt |  | HU357 | 140 | ARTHREX AUSTRALIA PTY LTD | Dual Compression Hindfoot Nail - Low Profile Screws | Low Profile Cortical Screws | 5mm Diamater 20mm-32mm 35mm-60mm | 350672 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.03 - Set screw/Locking bolt |  | HU363 | 140 | ARTHREX AUSTRALIA PTY LTD | Dual Compression Hindfoot Nail - Headless Screws | Titanium Headless Cortical Screws | Diameter: 5mm Length: 50mm-120mm | 350672 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.04 - End caps and extension caps |  | ER685 | 96 | Emergo Asia Pacific Pty Ltd | Paragon 28 Phantom Hindfoot TTC Nail System-End Cap | Shouldered or compression end cap | short or long | 402215 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.02 - Intramedullary Nail Accessories | 06.03.02.04 - End caps and extension caps |  | HU367 | 96 | ARTHREX AUSTRALIA PTY LTD | Dual Compression Hindfoot Nail - End Cap | End Cap for DualCompression Hindfoot Nail | Standard, 2.5mm, 5mm, 10mm | 409311 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.04 - Small (screw size 2.71mm – 4.49mm)(including blade) ≤ 6 holes | VAL | HU340 | 642 | ARTHREX AUSTRALIA PTY LTD | Postero-Medial Distal Tibial Plate | Plate for fracture fixation | 4-6 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU341 | 641 | ARTHREX AUSTRALIA PTY LTD | Postero-Medial Distal Tibial Plate | Plate for Fracture Fixation | 8 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU342 | 641 | ARTHREX AUSTRALIA PTY LTD | Vertical Shear Distal Tibial Plate | Plate for Fracture Fixation | 9 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU343 | 641 | ARTHREX AUSTRALIA PTY LTD | Postero-Lateral Distal Tibial Plate | Plate for Fracture Fixation | 9-13 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU365 | 641 | ARTHREX AUSTRALIA PTY LTD | Patella SuturePlate II Arrow Plate | Titanium Plate for Patella Fracture Fixation | One size only | 355042 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | LM544 | 641 | LMT Surgical Pty Ltd | Ulnar Shortening Plates | Distal Ulnar Shortening Plates Proximal Ulnar Shortening Plates | The Distal Ulnar Shortening Plates are available in two lengths, left and right configurations. The Proximal Ulnar Shortening Plates are available in two lengths. | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.05 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | LM546 | 641 | LMT Surgical Pty Ltd | Midshaft Humerus Plates | Midshaft Humerus Plates | 136-244mm, narrow and broad versions. 7 to 13 holes | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.06 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 16 holes | VAL | HU364 | 935 | ARTHREX AUSTRALIA PTY LTD | Patella Suture Plate II Star Plate Pole Fracture | Titanium Plate for Fracture Fixation | Small, Medium, Large | 355042 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.06 - Small (screw size 2.71mm – 4.49mm)(including blade) ≥ 16 holes | VAL | HU366 | 935 | ARTHREX AUSTRALIA PTY LTD | Patella SuturePlate II Star Plate | Titanium Plate for Patellar Fracture Fixation | Small, Medium, Large | 355042 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | Com, VAL | KO006 | 1120 | FIELD ORTHOPAEDICS PTY LTD | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 6 holes or less | 337193 |  | November 2023 | Transferred from LM481
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | VAL | HU351 | 973 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Tine Plate | Plate for Fracture Fixation | 2.7mm, 6 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | VAL | HU359 | 973 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Straight Plates | Plates for Fracture Fixation | <6 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | VAL | KO014 | 973 | FIELD ORTHOPAEDICS PTY LTD | Variable Locking Hand Plates | Variable Locking Hand Plates | 6 holes or less | 337193 |  | November 2023 | Transferred from LM479
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.07 - Mini (screw size ≤2.7mm)(including blade) ≤ 6 holes | VAL | PB085 | 973 | Australian Pacific Medical Pty Ltd | Marathon Mini VAL System | Marathon Mini VAL System | 6 holes or less | 261562 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | Com, VAL | KO007 | 943 | FIELD ORTHOPAEDICS PTY LTD | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 7 to 15 holes | 337193 |  | November 2023 | Transferred from LM482
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU345 | 828 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Wide T-Plate | Plate for Fracture Fixation | 2.7mm; 11 and 15 holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU350 | 828 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - T-Plate | Plate for Fracture Fixation | >7-15 Holes | 350999 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU352 | 828 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Tine Plate | Plate for Fracture Fixation | 2.7mm, 10 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU360 | 828 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Triangular Plate | Plate for Fracture Fixation | >7-15 Holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | HU361 | 828 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Straight Plates | Plate for Fracture Fixation | 2.7mm; 8 holes, 8 holes reinforced, 10 holes, 10 holes reinforced | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.08 - Mini (screw size ≤2.7mm)(including blade) ≥ 7 to ≤ 15 holes | VAL | PB084 | 828 | Australian Pacific Medical Pty Ltd | Marathon Mini VAL System | Marathon Mini VAL System | 7 - 15 Holes | 261562 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm)(including blade) ≥ 16 holes | Com, VAL | KO008 | 1274 | FIELD ORTHOPAEDICS PTY LTD | Complex Variable Locking Hand Plates | Complex Variable Locking Hand Plates | 16 holes or more | 337193 |  | November 2023 | Transferred from LM483
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm)(including blade) ≥ 16 holes | VAL | HU346 | 1207 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Straight Plates | Plate for Fracture Fixation | 2.7mm; 20 holes and 20 holes reinforced | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm)(including blade) ≥ 16 holes | VAL | HU353 | 1207 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Wide T-Plate | Plate for Fracture Fixation | 2.7mm; 24 holes | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.09 - Mini (screw size ≤2.7mm)(including blade) ≥ 16 holes | VAL | HU354 | 1207 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - Straight Plates 2.4mm | Plates for Fracture Fixation | 2.4mm; 20 holes and 20 holes reinforced | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.16 - Periarticular anatomic - Clavicle plate ≤ 6 holes | VAL | PB082 | 1353 | Australian Pacific Medical Pty Ltd | VA Clavicle Plate | VA Clavicle Plating System | less than 6 holes | 261562 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.17 - Periarticular anatomic - Clavicle plate ≥ 7 to ≤ 15 holes | VAL | PB083 | 1480 | Australian Pacific Medical Pty Ltd | VA Clavicle Plate | VA Clavicle Plating System | 7 - 15 holes | 261562 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.19 - Periarticular anatomic - Humerus ≤ 6 holes | VAL | LM547 | 1492 | LMT Surgical Pty Ltd | Periarticular Distal Humerus Plates | Direct Medial Plates | 75mm Left and Right 6 holes | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.20 - Periarticular anatomic - Humerus ≥ 7 to ≤ 15 holes | VAL | LM548 | 1513 | LMT Surgical Pty Ltd | Skeletal Dynamics Distal Humerus Plates | Medial Direct, Lateral Direct, Lateral Capitellar, Lateral Helical, Supracondylar plates | Medial Direct - 105 to 165mm, Lateral Direct - 85 to 115mm Lateral Capitellar - 70 to 160mm Lateral Helical - 85 to 175mm Supracondylar - 142 to 250mm | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.23 - Periarticular anatomic - Radius ≥ 7 to ≤ 15 holes | VAL | HU358 | 1239 | ARTHREX AUSTRALIA PTY LTD | Titanium Volar Distal Radius Plating System | Plate for fracture fixation | 10 and 13 holes, Narrow, Standard and Wide, Left and Right | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.23 - Periarticular anatomic - Radius ≥ 7 to ≤ 15 holes | VAL | HU373 | 1239 | ARTHREX AUSTRALIA PTY LTD | 2.4mm Sterile Distal Radius Plate | 2.4 Volar Distal Radius Kit Convenience Packs include the Volar plate, screws, and other accessories for insertion | 2.4mm | 350871 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.23 - Periarticular anatomic - Radius ≥ 7 to ≤ 15 holes | VAL | KT099 | 1239 | KLS Martin Australia Pty Limited | Recos Radial Plating System | Titanium Volar Locking Radius Plates | 21mm - 24mm (Width) x 70mm (Length): 7-15 Holes | 236206 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.28 - Periarticular anatomic - Hand-phalangeal | VAL | KO013 | 2278 | FIELD ORTHOPAEDICS PTY LTD | Periarticular Hand Plates | Periarticular Hand Plates | Multiple sizes to suit patient anatomy | 337193 |  | November 2023 | Transferred from LM484
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.29 - Periarticular anatomic - Pelvis ≤ 6 holes |  | KT101 | 685 | KLS Martin Australia Pty Limited | Nexos Anatomic Pelvic Plates | Nexos Anatomic Pelvic Plates | 6 holes or less | 236206 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.30 - Periarticular anatomic - Pelvis ≥ 7 to ≤ 15 holes |  | KT102 | 727 | KLS Martin Australia Pty Limited | Nexos Anatomic Pelvic Plates | Nexos Anatomic Pelvic Plates | 7-15 Holes | 236206 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.03 - Plates | 06.03.03.31 - Periarticular anatomic - Pelvis ≥ 16 holes |  | KT100 | 760 | KLS Martin Australia Pty Limited | Nexos Anatomic Pelvic Plates | Nexos Anatomic Pelvic Plates | 16 holes or more | 236206 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) | LK | LM550 | 124 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 4.5mm diameter, 16 to 34mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | KT097 | 57 | KLS Martin Australia Pty Limited | Nexos Screw | 4.5mm Screws | 4.5mm | 276650 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | LM554 | 57 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Non-Locking | Bone Screw Non-Locking | 4.5mm diameter, 14 to 40mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.01 - Standard ( ≥4.5mm) |  | VK052 | 57 | Akva Surgical Pty Ltd | AHN Screw | Compression screw. | 20 - 120mm length. 5mm diameter. | 377916 377918 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN | KO004 | 180 | FIELD ORTHOPAEDICS PTY LTD | Cannulated Screws | Cannulated Screws | 2.71mm – 4.49mm diameter | 329613 |  | November 2023 | Transferred from LM399
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN | LM556 | 180 | LMT Surgical Pty Ltd | Trimed threaded Intramedullary Nails | Small Threaded IM Nails | Length 45-60mm, Core 3.0mm, Head 4.2mm (Drill bit 3.0) | 229704 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | CN,DT | KO009 | 362 | FIELD ORTHOPAEDICS PTY LTD | Headless Compression Screw | Headless Compression Screw | 2.71mm – 4.49mm diameter | 329613 |  | November 2023 | Transferred from LM394
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) | LK | LM553 | 111 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 3.5mm diameter, 16 to 44mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | KT098 | 54 | KLS Martin Australia Pty Limited | Nexos Screw | 3.5mm Screws | 3.5mm | 276650 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.02 - Small (2.71mm – 4.49mm) |  | LM549 | 54 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Non-Locking | Non-Locking Cortical Bone Screws | 3.5mm diameter, 14 to 44mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | Breakoff | HU344 | 295 | ARTHREX AUSTRALIA PTY LTD | Snap-Off Compression FT Pins 2.4mm | Snap-Off Compression pins for fusion and fracture fixation | 2.4mm Diameters | 350672 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | CN | KO005 | 167 | FIELD ORTHOPAEDICS PTY LTD | Cannulated Screws | Cannulated Screws | 2.01 mm – 2.70 mm diameter | 329613 |  | November 2023 | Transferred from LM392
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | CN | LM555 | 167 | LMT Surgical Pty Ltd | Trimed threaded Intramedullary Nails | Small Threaded IM Nails | Length 40-60mm, Core 2.1-2.7mm, Head 3.5-3.8mm (Drill bit 2.1-2.7) | 229704 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | CN,DT | KO010 | 348 | FIELD ORTHOPAEDICS PTY LTD | Headless Compression Screw | Headless Compression Screw | 2.01 – 2.7 mm | 329613 |  | November 2023 | Transferred from LM396
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | HU348 | 109 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - VAL Screws | Variable Angle Locking Screws for Plate Fixation of Fracture | 2.7mm x 6.0mm-15mm (1mm) Increments 2.7mm x 16mm-50mm (2mm) Increments 2.7mm x 55mm-80mm (5mm) Increments | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | HU355 | 109 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - 2.4mm VAL Screws | 2.4mm Variable Angle Locking Screws for Bone Fixation | 2.4mm | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | KT104 | 109 | KLS Martin Australia Pty Limited | L1® Rib Screws | Rib Osteosynthesis Screws | 2.3mm | 276650 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) | LK | LM551 | 109 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Locking | Bone Screw Locking | 2.7mm diameter, 10 to 70mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | HU347 | 64 | ARTHREX AUSTRALIA PTY LTD | Mini Fragment System - 2.7mm Cortical Screws | Cortical Screws for Plate Fixation of Fracture | 2.7mm x 6.0mm-15mm (1mm) Increments 2.7mm x 16mm-50mm (2mm) Increments 2.7mm x 55-80mm (5mm) Increments | 284416 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.03 - Mini (2.01 – 2.7 mm) |  | LM552 | 64 | LMT Surgical Pty Ltd | Skeletal Dynamics Bone Screw Non-Locking | Non-Locking Cortical Bone Screws | 2.7mm diameter, 10 to 70mm length | 278692 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | Breakoff | HU369 | 273 | ARTHREX AUSTRALIA PTY LTD | Snap-Off Compression FT Pins 1.9mm | Snap-Off Compression pins for fusion and fracture fixation | 1.9mm | 350672 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | CN | KO015 | 180 | FIELD ORTHOPAEDICS PTY LTD | Cannulated Screws | Cannulated Screws | 2.0mm diameter and smaller | 329613 |  | November 2023 | Transferred from LM398
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | CN | LM557 | 180 | LMT Surgical Pty Ltd | Trimed threaded Intramedullary Nails | Small Threaded IM Nails | Length 30-45mm, Core 1.8mm, Head 3.2mm (Drill bit 1.8) | 229704 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | CN,DT | KO011 | 346 | FIELD ORTHOPAEDICS PTY LTD | Headless Compression Screws | Headless Compression Screws | 2.0mm or smaller diameter | 329613 |  | November 2023 | Transferred from LM393
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.04 - Micro (≤ 2.0mm) | LK | KO012 | 106 | FIELD ORTHOPAEDICS PTY LTD | Locking Screws | Locking Screws | ≤ 2.0mm | 337193 |  | November 2023 | Transferred from LM478
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.04 - Screws | 06.03.04.10 - Screw Accessories - Caps |  | VK048 | 97 | Akva Surgical Pty Ltd | AHN Locking End Caps | AHN end cap. | 0mm, 5mm, 10mm. | 377915 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.05 - Surgical Accessories | 06.03.05.12 - Chest Wall Reconstruction Plates |  | KT103 | 1170 | KLS Martin Australia Pty Limited | L1® Rib Plates | Rib Osteosynthesis Plates | 10-32 hole | 236206 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | SL259 | 294 | Smith & Nephew Pty Ltd | Q-Fix All Suture Anchor | Soft suture anchor, with MINITAPE | 1.8mm | 109451 |  | November 2023 | Expanded from SL160
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | SL260 | 294 | Smith & Nephew Pty Ltd | SUTUREFIX | All Suture Anchor | 1.7mm and 1.9mm | 109451 |  | November 2023 | Expanded from SL160
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.02 - Suture, Small anchors (≤2.3mm) |  | SL261 | 294 | Smith & Nephew Pty Ltd | Q-Fix All Suture Anchor | Soft suture anchor | 1.8mm | 271876 |  | November 2023 | Expanded from SL160
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU362 | 442 | ARTHREX AUSTRALIA PTY LTD | FiberLock Suspensionplasty | The FiberLock Suspension Implant Kit contains the FiberTak Anchor and devices for insertion for CMC arthritis. | One size only | 353482 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | HU368 | 442 | ARTHREX AUSTRALIA PTY LTD | Knotless FiberTak Biceps Implant | soft tissue fixation anchor | 3mm | 353482 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | IT037 | 442 | Integrant Pty Ltd | AnchorIT | Soft tissue anchor for reattachment of soft tissue to bone. | 3.5 mm | 405362 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | JG014 | 442 | ADDITIVE SURGICAL PTY LTD | CanFIX Titanium Alloy Suture Anchor | Titanium Anchor with sutures, with or without needles | 2.8mm, 3.5mm | 411055 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.03 - Suture, Medium anchors (2.4 – 3.9mm) |  | MN372 | 442 | Johnson & Johnson Medical Pty Ltd | GRYPHON PEEK Instability Anchor | PEEK Anchor with PERMACORD suture | 3.0 mm | 133430 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) | AB | ZA121 | 501 | Zimmer Biomet Pty Ltd | ComposiTCP Double Loaded Suture Anchors | Threaded anchor system made of DUOSORB® 30 (β-TCP 30%/ PLDLLA 70%) a composite, absorbable material. | 4.5mm, 5.5mm, 6.5mm | 424490 424491 424492 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) | AB | ZA122 | 501 | Zimmer Biomet Pty Ltd | GENIE Biocomposite Suture Anchor | absorbable bone fixation anchor | 4.5 - 5.5 mm | 412790 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | JG015 | 442 | ADDITIVE SURGICAL PTY LTD | CanFIX Titanium Alloy Suture Anchor | Titanium Anchor with sutures, with or without needles. | 4.5mm, 5.0mm, 5.5mm and 6.5mm | 411055 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | SL257 | 442 | Smith & Nephew Pty Ltd | FOOTPRINT | FOOTPRINT PEEK Suture Anchor | 4.5mm to 6.5mm | 109451 |  | November 2023 | Expanded from SL162
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | SL258 | 442 | Smith & Nephew Pty Ltd | HEALICOIL | HEALICOIL PEEK Suture Anchor | 4.5mm and 5.5mm | 109451 120338 |  | November 2023 | Expanded from SL162
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.04 - Suture, Large anchors (≥4mm) |  | ZA123 | 442 | Zimmer Biomet Pty Ltd | GENIE Biocomposite/PEEK Suture Anchor | Biocomposite/PEEK suture anchor | 4.5 - 5.5 mm | 412791 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | HU339 | 374 | ARTHREX AUSTRALIA PTY LTD | Knotless Mini Tightrope Implant System, 1.1mm Titanium | 1.1mm Knotless Tightrope Implant System includes the Knotless Mini Tightrope Construct, 2 Buttons, Suture, Passing wires and pins, and Kite Handle. | one size only | 350631 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | JV026 | 374 | Stryker Australia Pty Ltd | ProCinch (Attachable Button System) | The Stryker ProCinch (Attachable Button System) is comprised of a braided ultra-high molecular weight polyethylene (UHMWPE) and polyester adjustable loop combined with titanium plate (button). The UHMWPE sutures are looped through the titanium plate to aide in assembly of the device and passing the plate through the intended void. | UHMWPE suture adjustable loop, Attachable Button: Concave Round Button- Diameter: 11mm to 20mm / Standard Flat Button: Length: 12mm to 14mm, Width: 8mm | 229717 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | MU205 | 374 | Medacta Australia Pty Ltd | Orthobutton CL | Braided polyethylene continuous loop combined with a titanium plate | 12 - 60 mm | 411650 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | SL251 | 374 | Smith & Nephew Pty Ltd | ULTRABUTTON TIB | Adjustable Fixation Device consists of a graft suspension loop and a titanium cortical button | Small, Medium, Large | 109451 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | SL252 | 374 | Smith & Nephew Pty Ltd | ULTRABUTTON BB | Adjustable Fixation Device consists of a graft suspension loop and a titanium cortical button | one size only | 109451 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.05 - Button/thread/tape or Button/thread/button |  | SL253 | 374 | Smith & Nephew Pty Ltd | ULTRABUTTON QUAD | Adjustable Fixation Device consists of a graft suspension loop and a titanium cortical button | one size only | 109451 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | HU349 | 457 | ARTHREX AUSTRALIA PTY LTD | BioComposite Tenodesis Screw 4mm x 10mm, with Disposable Driver | Interference Screw for Soft tissue fixation | Diameter: 4mm Length - 10mm | 398150 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | MN369 | 457 | Johnson & Johnson Medical Pty Ltd | MILAGRO® Small Bioabsorbable Interference Screw | Biocryl Rapide Interference screw system | Diameter 5-8 mm; Length 12-30 mm | 122579 217763 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | MN371 | 457 | Johnson & Johnson Medical Pty Ltd | MILAGRO® Advance BR interference screw | Biocryl Rapide Interference screw system | Diameter 7-12 mm; Length 23-35 mm | 218737 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.07 - Soft Tissue Fixation Devices | 06.03.07.07 - Interference Screw (± sleeve) | AB | MN373 | 457 | Johnson & Johnson Medical Pty Ltd | INTRAFIX™ Advance BR™ | Tibial Sheath and Screw System | 7-10mm X 23-30 mm; Small and Large | 421230 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.02 - Frame Complete - Monoplanar & Modular Frames |  | VK046 | 4570 | Akva Surgical Pty Ltd | LRS Knee Hinge | Knee spanning and limb salvage external fixator - fully assembled. | One size. | 123604 172152 197638 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.03 - Frame Component - Monoplanar, Clamp | Small | SL254 | 2090 | Smith & Nephew Pty Ltd | MAVERICK Mini | Clamps for 6mm rods | 6mm to 4mm | 401572 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.03 - Frame Component - Monoplanar, Clamp |  | VK045 | 1133 | Akva Surgical Pty Ltd | LRS Clamps | Monoplanar clamp - 3 dimensional. | Small. | 123604 172152 197638 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.04 - Frame Component - Monoplanar, Body | CDD | VK044 | 2410 | Akva Surgical Pty Ltd | LRS | Rails and Compression Distraction Unit. | 100mm to 400mm. | 123604 172152 197638 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.08 - Frame Component - Circular Coupling Device |  | VK049 | 253 | Akva Surgical Pty Ltd | TrueLok | Coupling devices. | Standard. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.09 - Frame Component - Circular Frame Strut Device |  | VK043 | 849 | Akva Surgical Pty Ltd | Linear Distractor | Linear Distractor. | 70mm to 200mm. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.11 - Frame Component - Circular Frame, Nuts & Spacers |  | VK042 | 38 | Akva Surgical Pty Ltd | TrueLok Ring Fixation System - Spacers, Washers, Nuts, Bolts | Nuts, Spacers, Washers and Bolts. | Length 12 - 30mm, 10mm Hex Heads, Thickness 2 - 4mm. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.12 - Frame Component - Coupling Device |  | VK050 | 641 | Akva Surgical Pty Ltd | TrueLok Wire, Pin Fixators | Wire, Pin Fixators. | 4mm to 8mm. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.13 - Frame Component - Rods | Small | SL255 | 137 | Smith & Nephew Pty Ltd | MAVERICK Mini | Bars/ Rods | 6mm x 75-300 mm and 6mm offset | 401572 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.13 - Frame Component - Rods | Standard | VK041 | 144 | Akva Surgical Pty Ltd | TrueLok/TL-HEX/EVO Threaded rods | Threaded rods. | 60mm - 400mm. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.14 - Frame Component - Pins |  | SL256 | 134 | Smith & Nephew Pty Ltd | MAVERICK Mini | Pins | 3-4mm x 80-120 mm x 15-30mm | 401572 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.17 - Articulating Hinge |  | VK040 | 428 | Akva Surgical Pty Ltd | TrueLok Ring Fixation System - Hinges | Universal and inline hinges. | Standard. | 177324 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.11 - External Fixateurs | 06.03.11.19 - Lower body kit |  | VK047 | 5397 | Akva Surgical Pty Ltd | Orthofix and CalcFix Plus Calcaneal External Fixator Sterile Kit | The Kits contain the Calcaneal Fixator, T-Wrench, Driver, Screws and Kirschner wire. | One size. | 257368 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.14 - Bone Cement | 06.03.14.03 - Cement with Complex Delivery System |  | BF031 | 437 | Matrix Medical Innovations | MixMax Bone Cement | MIXMAX is a Procedure pack for mixing bone cement. It is possible to connect an external vacuum pump or to mix cement in a vacuum state using a vacuum tube. Contains a methyl methacrylate monomer liquid component and a poly-methymethacrylate powder component that mixed in the system provided. High radiopaque cement includes 60% of ZrO2. Optimized viscosity for Vetebroplasty, short mixing and preparing time allows to inject the cement immediately. | 20g | 404236 | No PL benefit will be payable if the device is used for kyphoplasty surgery, as there is no evidence presented and no Medicare benefit payable for this procedure. | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.14 - Bone Cement | 06.03.14.03 - Cement with Complex Delivery System |  | KN004 | 437 | ALPHATEC AUSTRALIA PTY LTD | Invictus Spinal Cement System | Radio Opaque Bone Cement with Mixing and Injection System. Poly Methylmethacrylate Styrene Copolymer | 25.8gm powder, 9.2 gms monomer | 409679 | No PL benefit will be payable if the device is used for kyphoplasty surgery, as there is no evidence presented and no Medicare benefit payable for this procedure. | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | LH766 | 722 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | Injectable Bone Substitute – Putty | 0.5-5mL | 400447 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.01 - Ceramic, 0-5cc |  | LH768 | 722 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | 60/40 HA/TCP bone graft substitute | 2cc, 5cc Granules | 400446 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc |  | LH767 | 1140 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | Injectable Bone Substitute – Putty | 10mL | 400447 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.02 - Ceramic, >5cc - 10cc |  | LH769 | 1140 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | Injectable Bone Substitute – Granules / Syringe | 10cc Granules | 400446 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.03 - Ceramic, >10cc - 20cc |  | LH770 | 1425 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | Injectable Bone Substitute – Granules / Syringe | 16 & 20cc | 400446 |  | November 2023 | New Listing
06 - Specialist Orthopaedic | 06.03 - SKELETAL RECONSTRUCTION | 06.03.15 - Bone Graft Substitute | 06.03.15.04 - Ceramic, >20cc |  | LH771 | 1482 | Lifehealthcare Pty Ltd | Reosrba Synthetic bone | 60/40 HA/TCP bone graft substitute | 30cc Granules | 400446 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.01 - Mesh - Metal | 07.01.01.03 - 0.2-0.49mm thick, 1-10cm² |  | BB407 | 341 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial Fixation Mesh Plate | 28.8 - 48.8 mm x 14.5 - 25.2.2 mm Thickness 0.3mm to 0.4mm | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.01 - Mesh - Metal | 07.01.01.04 - 0.2-0.49mm thick, 11-50cm² |  | BB410 | 601 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial Fixation Mesh Plate | 40.2mm x 50.2mm Thickness 0.3mm | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.01 - Mesh - Metal | 07.01.01.09 - 0.5-0.8mm thick, 51-200cm² |  | BB408 | 1146 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. | 50 x 50mm and 100 x 100mm, 0.6mm Mesh | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.01 - Mesh - Metal | 07.01.01.10 - 0.5-0.8mm thick, >200cm² |  | BB416 | 2072 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable | 150x 150 mm, 200 x 200 mm, 0.6mm Mesh | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.04 - Non-mesh | 07.01.04.01 - Resorbable |  | SB034 | 251 | Straumann Pty Ltd | mucoderm® | mucoderm® is a collagen matrix of porcine derived dermis indicated for dental regeneration of soft tissue defects and regenerating soft tissues around teeth or dental implants to act as a scaffold and assist in the revascularisation of the tissue. | 15x20mm 20x30mm 30x40mm | 353073 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.01 - <0.5mm thick, <4 holes |  | BB411 | 63 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates. | Plate Neuro, 2 hole, 12.4 - 15.4mm | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.01 - <0.5mm thick, <4 holes |  | WT004 | 63 | MEDIGROUP TECHNOLOGIES PTY LTD | EvoFix Low Profile | Titanium craniofacial fixation plates | <0.5mm thickness, <4 holes | 314801 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.02 - <0.5mm thick, 4-7 holes | Burr | WT001 | 161 | MEDIGROUP TECHNOLOGIES PTY LTD | EvoFix Low Profile Burrhole Plate | Titanium craniofacial fixation plates | <0.5mm thick, 4-7 holes | 314801 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.02 - <0.5mm thick, 4-7 holes |  | BB412 | 137 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates. | Plate Neuro, 4 - 7 hole, Dimensions: 11.0 - 30.3mm x 3.4 - 24.3mm Diameters: 18.4 - 30.9mm | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.02 - <0.5mm thick, 4-7 holes |  | WT002 | 137 | MEDIGROUP TECHNOLOGIES PTY LTD | EvoFix Low Profile Various | Titanium craniofacial fixation plates | <0.5mm thick, 4-7 holes | 314801 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.03 - <0.5mm thick, 8-15 holes |  | BB414 | 212 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates. | Plate Neuro, 8 - 10 hole, 28mm - 43.9mm x 3.4mm - 14mm. | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.05 - Fracture or Reconstruction Plates | 07.01.05.04 - <0.5mm thick, 16-32 holes |  | BB413 | 307 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system, internal fracture, non biodegradable. | One size | 388668 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | BB415 | 42 | B Braun Australia Pty Ltd | Aesculap Neuro Plating System | Cranial fixation system | Screws Neuro, Emergency, self tapping, magazine of 100, 1.5mm x 4mm lengths and magazine of 6, 1.5mm x 3mm & 5mm, 1.8mm x 4mm & 6mm lengths | 388669 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.01 - CRANIOMAXILLOFACIAL RECONSTRUCTION & FIXATION | 07.01.06 - Screws | 07.01.06.02 - Diameter 1.25-3.24mm |  | WT003 | 42 | MEDIGROUP TECHNOLOGIES PTY LTD | EvoFix Micro Screws | Titanium screws for craniofacial fixation | 1. Diameter 1.5mm, Length 3.5mm to 6mm 2. Diameter 1.8mm, Length 4mm to 5mm | 314801 |  | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | HI006 | 1725 | DIGITAL DENTAL NETWORK PTY LTD | DDN Guide | Custom made patient specific guide for use with the STRAUMANN Implant System (SB024), (SB009), (SB015), (SB023), (SB008), (SB012), (SB018) | The device is custom made so the size will vary. | 336209 | Prescribed List reimbursement of the device is restricted to the use in craniomaxillofacial surgery procedures involving insertion of a medical device listed in Schedule 1, and for no more than 3 devices per procedure. | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.09 - Anatomical Biomodel |  |  | HI005 | 1768 | DIGITAL DENTAL NETWORK PTY LTD | DDN Biomodel | Custom made biomodel for use with the STRAUMANN Implant System (SB024), (SB009), (SB015), (SB023), (SB008), (SB012), (SB018) | The device is custom made so the size will vary. | 336209 | Prescribed List reimbursement of the device is restricted to the use in craniomaxillofacial surgery procedures involving insertion of a medical device listed in Schedule 1, and for no more than 3 devices per procedure. | November 2023 | New Listing
07 - Plastic and Reconstructive | 07.03 - DENTAL IMPLANTS | 07.03.03 - Endosseous Implant | 07.03.03.03 - Implants and Fixtures | Hydrophilic Coating | SB035 | 409 | Straumann Pty Ltd | Straumann SLActive BLC and TLC Implants | Straumann Titanium Dental Implants with SLActive hydrophilic surface | Diameter Ø 3.3mm - 6.5mm Length 6mm - 18mm | 119306 |  | November 2023 | New Listing
08 - Cardiac | 08.04 - Single Chamber Pacemakers | 08.04.04 - Leadless pacemaker |  |  | MI516 | 10083 | Medtronic Australasia Pty Ltd | Micra VR Transcatheter Pacemaker | Single chamber transcatheter leadless pacemaker with SureScan™ technology including a delivery catheter (MC1VR01). | 2.59cm length, 0.67cm outer diameter and 1.75 grams weight | 391832 |  | November 2023 | New Listing
08 - Cardiac | 08.07 - ICD Leads | 08.07.06 - Transvenous/Steroid/Active |  | e | BT259 | 4182 | Biotronik Australia Pty Ltd | Pamira ProMRI S | Tripolar MR conditional ICD lead with active fixation | Diameter 8.4F ; Length 61cm, 65cm , 75cm | 412610 |  | November 2023 | New Listing
08 - Cardiac | 08.07 - ICD Leads | 08.07.06 - Transvenous/Steroid/Active |  | e | BT261 | 4182 | Biotronik Australia Pty Ltd | Pamira ProMRI SD | Quadripolar MR conditional ICD lead with active fixation | Diameter 8.4F , Length/Dist prox. shock coil to tip 61/16cm, 65/16cm, 65/18cm, 75/18cm | 412611 |  | November 2023 | New Listing
08 - Cardiac | 08.07 - ICD Leads | 08.07.06 - Transvenous/Steroid/Active |  | e | BT262 | 4182 | Biotronik Australia Pty Ltd | Pamira ProMRI S DX | Pentapolar MR conditional ICD lead with active fixation | Diameter 8.4F; Length/Dist Dipole to Tip 65/15 cm , 65/17 cm. | 412612 |  | November 2023 | New Listing
08 - Cardiac | 08.07 - ICD Leads | 08.07.06 - Transvenous/Steroid/Active |  | e | RF053 | 4182 | MICROPORT CRM PTY LIMITED | InVicta™ | MRI DF4 Active Fixation Defibrillation Leads including delivery accessories (1 funnel, 1 PSA adaptor, 1 vein filter, 2 fixation tools, 2 x-soft straight stylets, 2 soft straight stylets, 2 firm straight stylets) | 58cm and 68cm | 422101 |  | November 2023 | New Listing
08 - Cardiac | 08.12 - Coronary Stents | 08.12.01 - Drug Eluting | 08.12.01.01 - General Purpose |  | MI517 | 1400 | Medtronic Australasia Pty Ltd | Onyx Frontier Zotarolimus-Eluting Coronary Stent System | Coronary stent system; drug-eluting. | Diameter: 2.00 to 5.00 mm | 408805 |  | November 2023 | New Listing
08 - Cardiac | 08.12 - Coronary Stents | 08.12.01 - Drug Eluting | 08.12.01.01 - General Purpose |  | RF054 | 1400 | MICROPORT CRM PTY LIMITED | Firehawk Liberty­™ | Rapamycin (Sirolimus) Eluting Coronary Stent System | Diameter: 2.25- 4.0mm Length: 8mm -38mm | 410930 |  | November 2023 | New Listing
08 - Cardiac | 08.12 - Coronary Stents | 08.12.02 - Bare Metal | 08.12.02.02 - Special Purpose for specific indications | l, m | SJ483 | 2146 | ABBOTT MEDICAL AUSTRALIA PTY LTD. | GRAFTMASTER RX Coronary Stent Graft | Stainless Steel/PTFE | 16-26 mm x 2.8 - 4.8 mm | 398152 |  | November 2023 | New Listing
10 - Vascular | 10.09 - Long Term Vascular Access Devices | 10.09.03 - Percutaneous Catheters, Multiple Lumen for Haemodialysis |  | A (Anti-infective Agent Coating) | BX352 | 128 | Baxter Healthcare Pty Ltd | GamCath Dolphin Protect HighFlow Haemodialysis Catheter Kit | GamCath HighFlow Dolphin Protect Catheters are single-use, sterile Polyurethane vascular access Catheters with Dolphin Protect (CareBioBac) Coating for adult patients used by health professionals. GamCath Dolphin Protect catheters are intended for the short-term (up to 30 days) modification of subclavian, jugular or femoral veins to obtain vascular access and for the short-term (up to 30 days) treatment by extracorporeal blood purification methods such as apheresis, autotransfusion, hemodialysis, hemofiltration, hemodiafiltration, plasmapheresis or extracorporeal carbon dioxide removal in combination with extracorporeal blood purification devices and their accessories. | 11.5F to 13F guage. Available in 150mm to 250mm Straight and curved configurations. | 401852 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.01 - Cemented | 11.01.01.03 - Polished |  | LI127 | 1762 | Amplitude Australia | E2 Femoral Stem | Cemented Femoral Stem | Size 0 - 4 Offset 35.5mm, 37.5mm, 44mm and 50mm | 383710 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.01 - Cemented | 11.01.01.03 - Polished |  | MU198 | 1762 | Medacta Australia Pty Ltd | AMIStem-C Femoral stems | Stainless Steel Cemented Femoral Stems | 00 to 8 std 0 to 8 lat | 233610 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | MU199 | 3493 | Medacta Australia Pty Ltd | AMIStem-P collarless | Titanium, Plasma spray, proximal HA coating - collarless version | Std 00 to 9 Lat 0 to 8 | 314187 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | MU201 | 3493 | Medacta Australia Pty Ltd | Quadra-P collarless | Titanium stem proximally coated with plasma spray and HA - collarless version | Std 00 to 10 Lat 0 to 10 | 314889 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | MU202 | 3493 | Medacta Australia Pty Ltd | Quadra-P collared | Titanium stem proximally coated with plasma spray and HA - collared version | Std 00 to 10 Lat 0 to 10 | 356197 |  | November 2023 | New Listing
11 - Hip | 11.01 - FEMORAL COMPONENTS - PRIMARY AND REVISION | 11.01.04 - Uncemented, HA Coated | 11.01.04.04 - Plasma |  | MU203 | 3493 | Medacta Australia Pty Ltd | AMIStem-P collared | Titanium, Plasma spray, proximal HA coating, collared version | Std 00 to 9 Lat 0 to 8 | 388451 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.02 - Shells, Uncemented | 11.03.02.05 - Porous Metal |  | LI123 | 2812 | Amplitude Australia | C2 Acetabular Cup | Uncemented Acetabular Cup with Titanium Porous Coating | 48mm to 68mm | 379310 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.02 - Shells, Uncemented | 11.03.02.05 - Porous Metal |  | LI125 | 2812 | Amplitude Australia | Austral Acetabular Shell | Titanium Cup with sintered titanium coating | 48 - 68mm | 386911 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.01 - Unmodified polyethylene |  | SF187 | 688 | Signature Orthopaedics | SignaSure Dual Mobility Poly | The SignaSure DM Poly is the mobile polyethylene UHMWPE liner used with SignaSure Cemented/Cementless Cups as well as the other cementless shells (i.e., Logical G-Series) when used in conjunction with the SignaSure Dual Mobility Metal Inserts. | Available in size range of 37 – 41 mm (outer diameter) for use with 22 mm Femoral Heads and 39 – 59 mm (outer diameter) for use with 28 mm Femoral Heads | 277875 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.02 - Modified polyethylene |  | LI124 | 930 | Amplitude Australia | C2 Cross-Linked PE Liner | Neutral and Hooded Cross-Linked PE Liner | ID 32mm and 36mm Sizes 48mm to 68mm (Neutral and Hooded) | 379311 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.02 - Modified polyethylene |  | LI126 | 930 | Amplitude Australia | Austral XL Polyethylene Liner | XL Polyethylene Liner | Neutral and Hooded 48mm to 68mm | 386912 |  | November 2023 | New Listing
11 - Hip | 11.03 - ACETABULAR COMPONENTS | 11.03.04 - Insert/Liner | 11.03.04.04 - Metal |  | SF186 | 1762 | Signature Orthopaedics | SignaSure Dual Mobility Insert | SignaSure Dual Mobility CoCr Metal Insert is used with Logical-G Series Shell and SignaSure Poly Cup to create a modular Dual Mobility Acetabular Assembly for use with Metal or Ceramic Femoral heads for use during for Total Hip Replacement. | A - 34 /for Logical Shell 44-46mm B - 38 /for Logical Shell 48-50mm C - 41 /for Logical Shell 52-54mm D - 45 /for Logical Shell 56-58mm E - 48 /for Logical Shell 60-70mm | 277875 |  | November 2023 | New Listing
12 - Knee | 12.01 - FEMORAL COMPONENT: TOTAL KNEE ARTHROPLASTY | 12.01.05 - Uncemented, Alloy, HA Coating | 12.01.05.01 - Minimally Stabilised |  | MU200 | 3575 | Medacta Australia Pty Ltd | GMK Sphere Femoral component | Cementless femoral component | 1 to 7 Left and Right | 400440 |  | November 2023 | New Listing
12 - Knee | 12.05 - TIBIAL INSERT: TOTAL KNEE ARTHROPLASTY | 12.05.01 - Minimally Stabilised |  |  | MU197 | 992 | Medacta Australia Pty Ltd | GMK Sphere CR Insert | Fixed polyethylene insert | 1 to 6. 10 to 14 mm. Left and Right | 211413 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | JQ062 | 1124 | DAVID LE CHEMINANT | Invictus Osseoscrew | Pedicle Screw, Cannulated, Std, Extended, Reduction Tab. Ti Alloy | (6,.5 - 7.5)mm dia x (40-55)mm length | 398576 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | JQ063 | 1124 | DAVID LE CHEMINANT | Invictus Favored Angle | Polyaxial Pedicle Screw, Cannulated , Open or Closed Tulip. Ti Alloy | (6.5- 10.5)mm dia x (60-110)mm length | 398576 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Cannulated | JQ064 | 1124 | DAVID LE CHEMINANT | Invictus SI Core | Polyaxial Pedicle Screw, Cannulated, Dual Lead, Radial Fenestration. open or closed tulip. Ti Alloy | ( 9.0-11.5)mm Dia x (60-100)mm length | 398576 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  | Shank | MI523 | 540 | Medtronic Australasia Pty Ltd | CD Horizon™ ModuLeX™ 5.5 Spinal System - Screw Shank | Screw Shank | Diameter: 4.5-7.5mm; Length 30-55mm | 422153 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.02 - Pedicle, Polyaxial |  |  | PZ064 | 1050 | Prism Surgical Designs Pty Ltd | Centaur Spinal System | Polyaxial Screw | Diameter 5mm -10mm Length 20mm -100mm | 407189 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  | Dual Thread | PZ061 | 403 | Prism Surgical Designs Pty Ltd | Aquila Spinal System | Bone Screw | 10mm-20mm | 398970 |  | November 2023 | New Listing
13 - Spinal | 13.01 - Bone Screws | 13.01.03 - Standard |  |  | MI515 | 186 | Medtronic Australasia Pty Ltd | Anteralign™ - Bone Screws | Titanium bone screw to be used with the Anteralign™ TL cage | Length: 20 mm - 50 mm; Width: 5 mm | 422154 |  | November 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | MI522 | 144 | Medtronic Australasia Pty Ltd | CD Horizon™ ModuLeX™ 5.5 Spinal System - Set Screw | Set Screw | One size only | 422155 |  | November 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.01 - Nut/Set Screw/Locking Screw |  |  | PZ062 | 144 | Prism Surgical Designs Pty Ltd | Centaur Spinal System | Setscrew | 9mm-11.5mm | 407189 |  | November 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.03 - Cap/Cover Plate |  |  | MI514 | 391 | Medtronic Australasia Pty Ltd | Anteralign™ - Mini Plate | Standard and offset miniplate with titanium bolt to be used with the Anteralign™ TL cage | Width: 12 mm; Length: 20 mm, 23 mm; Offset: 0 mm, 2.5 mm | 422151 |  | November 2023 | New Listing
13 - Spinal | 13.02 - Accessories for bone screws and connector components | 13.02.05 - Block/Screw head |  |  | MI521 | 686 | Medtronic Australasia Pty Ltd | CD Horizon™ ModuLeX™ 5.5 Spinal System - Tulip Head | Tulip Head | One size only | 422155 |  | November 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | DE817 | 705 | Device Technologies Australia Pty Ltd | NorthStar OCT Hinged Rod | NorthStar OCT Hinged Rod allows for optimal rod angulation in occipito-cervical fusions. | Ti Hinged Rod, 3.5mm and 4.0mm Left and Right. | 275794 |  | November 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.02 - Offset |  |  | MI518 | 705 | Medtronic Australasia Pty Ltd | ModuLeX 5.5. Spinal System - Connector | Connector | Diameter: 4.5-6mm | 422155 |  | November 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | MU204 | 1137 | Medacta Australia Pty Ltd | M.U.S.T. Mini Cross Connectors | Top Loading Cross Connectors | 21-68 mm | 404164 |  | November 2023 | New Listing
13 - Spinal | 13.03 - Connector | 13.03.03 - Transverse (Rod-to-Rod) | 13.03.03.02 - Adjustable |  | PZ063 | 1137 | Prism Surgical Designs Pty Ltd | Centaur Spinal System | Cross Connector - rod to rod - adjustable | 26mm-82mm | 407189 |  | November 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical | >55mm | PZ060 | 1069 | Prism Surgical Designs Pty Ltd | Aquila Spinal System | Anterior Cervical Plate | 56mm-97mm Length | 398970 |  | November 2023 | New Listing
13 - Spinal | 13.05 - Plate | 13.05.02 - No Integral Fixation | 13.05.02.01 - Cervical |  | PZ059 | 1180 | Prism Surgical Designs Pty Ltd | Aquila Spinal System | Anterior Cervical Plate | 12mm-55mm length | 398970 |  | November 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  | Shaped | DE818 | 555 | Device Technologies Australia Pty Ltd | BlackArmor Carbon Fibre/PEEK Curved / Multicurved Rods | The BlackArmor material is a combination of continuous, high-strength carbon- fiber-reinforced PEEK and a procedure developed by icotec – Injection Moulding CFM (Composite Flow Moulding). The result is a non-metallic implant component with an interwoven 3D fibre architecture that provides unmatched strength and endurance. BlackArmor® is radiolucent in all diagnostic imaging modes (MRI, CT and X-ray) and will therefore not create imaging artifacts; a significant clinical benefit in the postoperative monitoring of anatomical structures and other forms of treatment. | Curved and Multicurved rods, Diameter: 6.0mm Radius: 120mm, 450mm Length: 40mm-300mm | 283853 | Only to be reimbursed when used in patients with spinal tumours requiring regular magnetic resonance imaging (MRI) and/or computerised tomography (CT) imaging and or adjuvant radiotherapy and/or proton therapy. | November 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | MI524 | 355 | Medtronic Australasia Pty Ltd | CD Horizon™ ModuLeX™ 5.5 Spinal System - Rod | Rod | Diameter: 5.5mm; Length 25mm - 120mm | 422153 |  | November 2023 | New Listing
13 - Spinal | 13.06 - Rod | 13.06.01 - Standard |  |  | PZ065 | 355 | Prism Surgical Designs Pty Ltd | Centaur Spinal System | Rods | Diameter 5.5mm x 30mm - 480mm Length | 407189 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | GK007 | 5949 | 3DMORPHIC PTY LTD | 3D Fusion integral fixation ATP Cage | Titanium ATP fusion cage with integral fixation | Width: 18-24mm Length - 35mm-60mm Height - 3mm-30mm and angle 0-35 as per patient specific requirements for the designed cage. | 406173 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.01 - Interbody, Integral Fixation | 13.10.01.02 - ThoracoLumbar / Lumbar |  | MI513 | 5949 | Medtronic Australasia Pty Ltd | Anteralign™ - LS cage | Interbody cage and fixation screws | Height: 10 mm - 20 mm; Width: 32 mm - 42 mm; Length: 25 mm - 32 mm; Lordosis: 6° - 30° | 422152 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar | Paired | GK006 | 2346 | 3DMORPHIC PTY LTD | 3D Fusion PLIF Cage | Titanium PLIF cage | Length: 18-26mm Width: 8-12mm Height: 7–25mm angle 0-35 degrees as per patient specific requirements for the designed cage | 406173 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | GK005 | 3313 | 3DMORPHIC PTY LTD | 3D Fusion TLIF Cage | Titanium TLIF cage | Length: 25-60mm Width: 8-16mm Height: 3-30mm Angle 0-35 degrees as per patient specific requirements for the designed cage. | 406173 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | GK008 | 3313 | 3DMORPHIC PTY LTD | 3D Fusion Lumbar Plate | Titanium Lumbar Fusion Plate | Length: 18-24mm Width: 10-24mm thickness: 2-4mm | 406173 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | GK009 | 3313 | 3DMORPHIC PTY LTD | 3D Fusion LLIF Cage | Titanium Lateral Lumbar Interbody Fusion cage | Width: 18-24mm Length - 34mm-60mm Height - 3mm-30mm angle 0-35 degrees as per patient specific requirements for the designed cage. | 406173 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY111 | 3313 | EVOLUTION SURGICAL PTY LTD | Additive Surgical Lateral Expandable Cage - Giannutri | Lateral Titanium Expandable Cage | 46-52mm x 18-22mm, 0-14 Degrees Lordosis | 370517 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY112 | 3313 | EVOLUTION SURGICAL PTY LTD | Additive Surgical Posterior Expandable Cage - Ustica | TLIF Titanium Expandable Cage | 29-40mm x 9mm, 2-14 Degree Lordosis | 370517 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | IY113 | 3313 | EVOLUTION SURGICAL PTY LTD | Additive Surgical Posterior Expandable Cage - Procida | TLIF/PLIF Titanium Expandable Fusion Cage | 26-32mm, 0-20 degrees Lordosis | 370517 |  | November 2023 | New Listing
13 - Spinal | 13.10 - Fusion Cage | 13.10.02 - Interbody, No Integral Fixation | 13.10.02.02 - ThoracoLumbar / Lumbar |  | MI512 | 3313 | Medtronic Australasia Pty Ltd | Anteralign™ - TL cage | Interbody cage | Height: 8 mm - 16 mm; Width: 20 mm - 23 mm; Length: 40 mm - 60 mm; Lordosis: 6° - 24° | 422152 |  | November 2023 | New Listing