## Prescribed List
Sponsor | Product Category | Billing Code | Product Name | Description | Size | End Cycle | Delete Comment
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL030 | enVista | The enVista, Model MX60, is an ultra-violet-absorbing, posterior chamber, hydrophobic acrylic one-piece foldable intraocular lens (IOL) Has an aspheric lens optic, square posterior edge, modified C haptics and available in dioptric powers ranging from +0.0 to +34.0D. | Overall diameter 12.5mm, optic body diameter 6.0mm in dioptric powers ranging from +0.0 to +34D 0.0D to 10.0D in 1 Diopter increments 11.0D to 30.0D in 0.5 Diopter increments 31.0D to 34.0D in 1 Diopter increments | 2025-11-01 | DELETE
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL032 | enVista Toric | The enVista toric (Model MX60T) is a one-piece glistening-free hydrophobic foldable IOL. The enVista Toric, model MX60T IOL has a Toric aspheric lens optic, a square posterior edge and modified C haptics, an overall diameter of 12.5mm and an optic body of 6.0mm. It is available in multiple spherical and cylindrical powers. | Overall diameter is 12.5mm for the entire lens power range, with spherical equivalent powers from +6.0 to +30.0 Diopters in 0.5 Diopter steps and cylinder powers from +1D to 6D Diopters (at the IOL plane). | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU016 | Basis Z Preloaded Hydrophylic IOL | Hydrophylic preloaded IOL | 6mm Optic Diameter and 13mm Length | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU018 | Basis Z Hydrophilic Toric | Foldable hydrophilic toric intraocular lens | Available in spherical diopter powers from -10.0D to +35.0D in 0.5D steps from +10.0D to +30.0D and then 1.0D steps in the ranges of -10.0D to 9.0D and +31.0D to +35.0D. Cylinder Power range is 1.5-6.0D in 0.75D steps. | 2025-11-01 | DELETE
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL046 | FINEVISION HP TORIC (POD FT 49P) | The POD FT 49P (FINEVISION HP TORIC) posterior chamber intraocular lens is indicated for the replacement of the human lens to achieve the visual correction of aphakia and pre-existing corneal astigmatism in astigmatic adult patients in whom a cataractous lens has been removed by phacoemulsification who desire improved uncorrected vision, reduction of residual refractive cylinder, useful near and intermediate visual functions, and reduced spectacle dependence. The intraocular lens is intended to maintain rotational stability after placement in the capsular bag and is intended to be placed in the capsular bag. The GF-Glistening Free, material is an acrylic copolymer of medical quality which includes a UV absorbing filter. For the yellow intraocular lenses, a blue light-filtering chromophore is covalently bounded to the UV-absorbing material and the spectral transmittance through a central diopter IOL. They have biconvex optics with an aspheric anterior diffractive trifocal structure that partitions the light to give pseudo-accommodative vision and a posterior toric optic which compensates for corneal astigmatism. The add-power for near vision is + 3.5 diopters and for the intermediate vision + 1.75 diopters at IOL plane allowing the patient to benefit from near vision without a reading aid, and from increased spectacle independence for near and intermediate visions. | Optic diameter: 6.00mm; Total diameter: 11.40mm; From 6 to +35 Diopters, with 0.5 Diopter increments; Cylinders (IOL Plane) 1.00D, 1.50D, 2.25D, 3.00D, 3.75D, 4.50D, 5.25D, 6.00D. | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU019 | Basis Z Progressive IOL | Progressive Hydrophilic IOL | Optic Diameter: 6mm Length: 13mm | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU020 | Basis Z Hydrophilic Toric Progressive IOL | One piece foldable hydrophilic progressive toric intraoccular lens | Available in spherical diopter powers from +10D to 35D in 0.5 steps Cylindrical powers range from 1.0-6.0D | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU021 | AddOn SML | Add-on hydrophilic lens for macular degeneration | Central Optic Diameter - 1.5mm Optic Diameter - 6mm Length - 13mm | 2025-11-01 | DELETE
SURGIVISION PTY LTD | 01 - Ophthalmic | VU015 | Scharioth Macula Lens | Add-on hydrophilic lens for maculopathies such as macula degeneration | Central Optic Diameter - 1.5mm Optic Diameter - 6mm Length - 13mm | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 01 - Ophthalmic | DE787 | CAPSULGel | Isotonic, clear, viscoelastic and sterile HPMC solution for intraocular application | 2.0ml prefilled, single-use, glass syringe. | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 01 - Ophthalmic | DE775 | CAPSULBlue | Trypan blue solution for use in anterior segment ophthalmic surgery. | 0.15ml prefilled glass syringe | 2025-11-01 | DELETE
BAUSCH & LOMB (AUSTRALIA) PTY LTD | 01 - Ophthalmic | BL039 | Preloaded Capsular Tension Ring | Capsular tension ring preloaded (acrylic) | 11mm | 2025-11-01 | DELETE
Austmed Pty Limited | 01 - Ophthalmic | AP004 | Mira: Scleral Implants | Solid Silicone-Sleeve. Retinal Implant used in Scleral Buckling (Dimethylmethylvinyl Siloxane Copolymer) | Sleeves-Mira 70 Sleeve 1mm I.D., Mira 71 Sleeve 1mm I.D., Mira 72 McNutt Sleeve 1.57mm I.D., Mira 270 Sleeve 0.76mm I.D. | 2025-11-01 | DELETE
Austmed Pty Limited | 01 - Ophthalmic | AP006 | Mira: Scleral Implants | Solid Silicone-Band/Strip/Boat/Clip. Retinal Implant used in Scleral Buckling (Dimethylmethylvinyl Siloxane Copolymer) | Bands-Mira 40 Circling Band 2mm, Mira 240 Circling Band 2.5mm. Strips-Mira 41 Strip 3.5mm, Mira 42 Strip 4mm, Mira 20 Strip 4mm, Mira 219 Strip 4.5mm, Mira 31 Strip 4.5mm, Mira 32 Strip 5mm, Mira 225 Oval Strip 5mm, Mira 220 Strip 6mm. Boats-Mira 60 Boat 2mm, Mira 260 Boat 2.5mm. Clips-Mira 50 Double Tantalum Clip 2mm, Mira 250 Double Tantalum Clip 2.5mm, Mira 51 Singla Tantalum Clip 3.5mm, Mira 52 Joondeph Single Tantalum Clip 4mm | 2025-11-01 | DELETE
Austmed Pty Limited | 01 - Ophthalmic | AP002 | Mira: Scleral Implants | Silicone Sponge- Retinal Implant Used in Scleral Buckling (Silicone Elastomer Sponge) | Sponge- Mira 502 Cylinder 2mm, Mira 5025 Cylinder 2.5mm, Mira 503 Cylinder 3mm, Mira 504 Cylinder 4mm, Mira 505 Cylinder 5mm, Mira 505G Grooved cylinder 5mm, Mira 505T Packer tunnel cylinder 5mm, Mira 510 Half cylinder 5mm, Mira 515 Brucker two-thirds cylinder 5mm, Mira 501 Masciulli oval 2.5mm by 4mm, Mira 506 Vaiser oval 3mm by 5mm, Mira 506G Vaiser grooved oval 3mm by 5mm, Mira 507 oval 5.5mm by 7.5mm, Mira 507G Grooved oval 5.5mm by 7.5mm, Mira 507T Packer tunnel oval 5.5mm by 7.5mm, Mira 511 Half oval 7.5mm, Mira 517 Brucker two-thirds oval 7.5mm, Mira 509 Fuller flat oval 3.5mm by 7.5mm, Mira 509G Fuller grooved flat oval 3.5mm by 7.5mm, Mira 518 Frederick grooved flat oval 2.5mm by 12mm, Mira 508 Frederick flat oval 4mm by 12mm, Mira 508G Frederick grooved flat oval 4mm by 12mm, Mira 513 Snyder 3+ meridional 7mm by 4mm, Mira 514 Snyder 4+ meridional 8mm by 5mm, Mira 516G Tapered groove 6.4mm, Mira 519G Tapered groove 7.5mm by 3.2mm. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO064 | Cochlear ™ Nucleus® CP910 Sound Processor Hybrid™ Mode (Initial) | The Cochlear Nucleus CP910 Sound processor in "Hybrid Mode" facilitates electroacoustic stimulation of the cochlea | There is only one size of the processing unit and coil. There are two sizes for the battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO066 | Cochlear™ Nucleus® CP920 Sound Processor - Hybrid™ Mode (Initial) | The Cochlear Nucleus CP920 Sound Processor in "Hybrid Mode" facilitates electroacoustic stimulation of the cochlea | There is only one size of the processing unit and coil. There are two sizes for battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO069 | Cochlear ™ Nucleus® CP910 Sound Processor (Initial) | The Cochlear Nucleus CP910 Sound Processor is a behind-the-ear sound processor two built-in directional microphones | There is only one size of the processing unit and coil. There are two sizes for battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO071 | Cochlear ™ Nucleus® CP920 Sound Processor (Initial) | The Cochlear Nucleus CP920 Sound Processor is a behind-the-ear sound processor with two built-in directional micophones. | There is only one size of the processing unit and coil. There are two sizes for battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO080 | Kanso®, Cochlear™ Nucleus® CP950 Sound Processor (Initial) | An off-the-ear sound processor with two built-in directional microphones, wireless connectivity, and equivalent functionality to the Cochlear N6 behind-the-ear sound processor in a fully integrated single unit, enclosing radiofrequency (RF) coil, supplying power, and signals to internal implant. | One size (40.9 mm x 35.2 mm x 11.4 mm) | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO101 | Neuro 2 Sound Processor | The behind the ear Neuro 2 sound processor performs with the Neuro Zti cochlear implants. It consists of two microphones allowing for 3 automatic adaptive directionality modes, voice tracker and wind noise reduction features. Its benefits include: smaller and more cosmetically appealing design and rechargeable batteries. The processor is placed on the auricle of the either one of the patient's ears and an external antenna transmits the acoustic signal processed by the processor, by means of electromagnetic induction, to the internal component implanted beneath the skin and secured onto the mastoid. | One size | 2025-11-01 | DELETE
MED-EL IMPLANT SYSTEMS AUSTRALASIA PTY LTD | 02 - Ear, Nose & Throat | US014 | SONNET EAS Audio Processor (initial) | Audio processor worn behind the ear with dual omnidirectional microphone, water-resistance, datalogging, Automatic Sound Management, wireless connectivity to assistive listening devices, electric and electric acoustic stimulation modes | One size | 2025-11-01 | DELETE
MED-EL IMPLANT SYSTEMS AUSTRALASIA PTY LTD | 02 - Ear, Nose & Throat | US025 | SONNET 2 EAS Audio Processor | Audio processor with electric and electric acoustic stimulation modes, worn behind the ear with dual omnidirectional microphone, water-resistance, enhanced datalogging and signal processing, Adaptive Intelligence, Automatic Sound Management, wireless connectivity to assistive listening devices | one size with 3 battery options and various magnet strengths | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO065 | Cochlear™ Nucleus CP910 Sound Processor Hybrid™ Mode (Replacement) | The Cochlear Nucleus CP910 Sound Processor in "Hybrid Mode" facilitates electroacoustic stimulation to the cochlea | There is only one size of the processing unit and coil. There are two sizes for the battery holder. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO067 | Cochlear™ Nucleus® CP920 sound Processor - Hybrid™ Mode (Replacement) | The Cochlear Nucleus CP920 Sound Processor in "Hybrid Mode" facilatates electroacoustic stimulation of the cochlea. | There is only one size of the processing unit and coil. There are two sizes for battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO070 | Cochlear ™ Nucleus® CP910 Sound Processor (Replacement) | The Cochlear Nucleus CP910 Sound Processor is a behind-the-ear sound processor with two built-in directional microphones | CO049 | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO072 | Cochlear ™ Nucleus® CP920 Sound Processor (Replacement) | The Cochlear Nucleus CP920 Sound Processor is a behind-the-ear sound processor with two built-in directional microphones. It has no accessory port for cables. | There is only one size of the processing unit and coil. There are two sizes for battery holder and cover. | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO079 | Kanso®, Cochlear ™ Nucleus® CP950 Sound Processor (Replacement) | An off-the-ear sound processor with two built-in directional microphones, wireless connectivity, and equivalent functionality to the Cochlear N6 behind-the-ear sound processor in a fully integrated single unit, enclosing radiofrequency (RF) coil, supplying power, and signals to internal implant. | One size (40.9 mm x 35.2 mm x 11.4 mm) | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO075 | Cochlear Baha 5 Sound Processor | The Cochlear Baha 5 Sound Processor (26,mm x 19mm x12mm) is a wireless-enabled smartphone compatible fully programmable head-word digital sound processor for the Baha Implantable Bone Conduction Hearing System | One size (26mm x 19 mm x 12 mm) | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO076 | Cochlear Baha 5 SuperPower Sound Processor | The Cochlear Baha 5 SuperPower sound processor is a powerful (up to 65dB HL) wireless-enabled, smartphone compatible, fully programmable, digital sound processor for the Baha Implantable Bone Conduction Hearing System. It is intended to be fitted as a head worn split system - it comprises a behind-the-ear (BTE) Sound Processing Unit, an Actuator unit, and a Cable between the BTE and the Actuator unit. | One size | 2025-11-01 | DELETE
COCHLEAR LIMITED | 02 - Ear, Nose & Throat | CO077 | Cochlear Baha 5 Power Sound Processor | The Cochlear Baha 5 Power sound processor is a powerful (up to 55dB HL), wireless-enabled, smartphone compatible, fully programmable, digital sound processor for the Cochlear Baha 'Connect' and 'Attract' Implantable Bone Conduction Hearing Systems. | One size | 2025-11-01 | DELETE
BIG GREEN SURGICAL COMPANY PTY LIMITED | 03 - General Miscellaneous | GQ009 | MiniMizer gastric band. | Adjustable Silicone band which is placed around the upper part of the stomach to reduce the volume and speed of intake of food. | Regular, large and extra large | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 03 - General Miscellaneous | JJ831 | Ethicon Endo-Surgery curved adjustable gastric band with sutureless port and applier | Silicone | One size only | 2025-11-01 | DELETE
BIG GREEN SURGICAL COMPANY PTY LIMITED | 03 - General Miscellaneous | GQ008 | Minimizer Ring | Adjustable Gastric Ring | One size ranging from 6.5cm to a 8.0cm diameter | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 03 - General Miscellaneous | QQ387 | DermaClose | DERMACLOSE continuous external tissue expander | Multiple lengths to suit size of wound | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 04 - Neurosurgical | MI073 | Medtronic MicroTargeting Electrodes | Microelectrodes used for intra-operative recording of neuronal activity for DBS | Various | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 04 - Neurosurgical | MC764 | Microelectrode Cable | Cable used for intracranial recording of neural activity prior to DBS | One size | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 04 - Neurosurgical | MI119 | Electrode Insertion Tube set | Electrode Insertion Tube Set for DBS | One size only | 2025-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ138 | Lamitrode Lead - Tripole 16C | Tripole 16C | 60cm | 2025-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 04 - Neurosurgical | SJ168 | ANS Spinal Cord Stimulation System (SCS) | Lamitrode Plate Electrode | 60cm | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 04 - Neurosurgical | MI137 | Medtronic Vectris Neurostimulation Trial Lead | Octad Compact Trial lead Kit Model 977D2 and Subcompact Model 977D1 | 60cm | 2025-11-01 | DELETE
HYDRIX SERVICES PTY LTD | 04 - Neurosurgical | JZ001 | Wallaby Avenir Coil System | Platinum alloy coils attached to an implant delivery pusher which delivers the coil to the treatment site. The pusher has a platinum iridium marker band to visualise coil position within a standard microcatheter which also has a radiopaque marker. | Diameter: 1mm - 25mm Length: 1cm - 60cm | 2025-11-01 | DELETE
Specialist Medical Supplies | 05 - Urogenital | SC001 | BULKAMID Urethral Bulking System | Transparent polyacrylamide gel for female urinary incontinence. Kit comprises 2 syringe, 2 needles, 1 applicator | 2 x 1ml syringes, 2 x BULKAMID 23G needles, 1 x disposable sheath | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP004 | Axonics Patient Remote Control | Remote patient controller for Axonics Sacral Neurmodulation System | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP006 | Axonics Trial Stimulator | External neurostimulator with belt | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP005 | Axonics Charging System | Charger and dock with belt and adhesive carriers for Axonics Sacral Neuromodulation System | One size only | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 05 - Urogenital | MI451 | InterStim MRI rechargeable neurostimulator- Recharger | Recharger kit | One size | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP007 | Axonics Tined Lead | Tined lead for sacral neuromodulation | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP011 | Axonics PNE Lead | Trial Lead | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP001 | Axonics Tined Lead Extension | Percutaneous extension | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP002 | Axonics PNE Lead Implant Kit | Peripheral Nerve Evaluation Kit including lead, cables and implant tools | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP008 | Axonics Lead Implant Kit | Lead introducer kit including needles, sheath and tools | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP009 | Axonics Foramen Needles | 6 Foramen needles | Short and Long | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP010 | Axonics Stimulation Cable | Cable for trial and implant | One size only | 2025-11-01 | DELETE
AXONICS MODULATION TECHNOLOGIES AUSTRALIA PTY LTD | 05 - Urogenital | XP003 | Axonics Neurostimulator | Rechargeable neurostimulator for sacral nerve stimulation | One size only | 2025-11-01 | DELETE
LMT SURGICAL PTY LTD | 06 - Specialist Orthopaedic | LM053 | Osteotec Silicone Finger Implant | PIP Joint Replacement | 00-9 | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ119 | Verso Shoulder System - Humeral Shell | Verso Shoulder Humeral Shell | Standard & Stemmed | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | JJ616 | Global AP Shoulder | Ball Taper Adjustable Neck Assembly | N/A | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | MN332 | StepTech Anchor Peg Glenoid | Glenoid component | 40 to 56 mm | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ120 | Verso Shoulder System - Liner | Verso Shoulder Liner | 3-12mm Offsets | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ117 | Verso Shoulder System - Glenoid Baseplate | Verso Shoulder Glenoid Base Plate | Standard, Long (Revision) | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ118 | Verso Shoulder System - Glenoid Head | Verso Shoulder Glenoid Head | 36mm, 41mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK051 | Orthofix AHN | Hindfoot Fusion Nailing System, titanium. | 10, 11, 12mm diameter. 150 - 300mm length. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | QQ465 | Fitbone Intramedullary Limb Lengthening | Fitbone IM Lengthening Nail and Receiver. | Diameter 9mm - 13mm. Length 200 - 245mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK015 | ISKD Internal Limb Lengthening System | Titanium Alloy | Diameter 12.5 - 14.5mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH542 | Precice Intramedullary Limb Lengthening System , Nail | Precice Intramedullary Nail | (8.5-14)mm diameter x (130-375)mm length | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK038 | Fusion Beaming System | The Fusion Beaming System has been designed to address the specific demands of advanced deformity and trauma reconstructions of foot and ankle applications. The system was developed for the treatment of neuropathic deformities, such as Charcot, requiring fusion of the medial and/or lateral columns, with or without corrective osteotomies as well as for joint fusions within the mid and hindfoot. The Fusion Beaming System consists of two different diameter implant ranges, designed for optimal implant selection for wide ranging patient anatomies, and an instrumentation including the dedicated Sterilization Tray. The Fusion Beaming System is designed with an instrumentation and technique that have been developed to simplify the surgery. | 5.4mm diameter implants: Lengths - 50mm, 55mm, 60mm, 65mm, 70mm, 75mm, 80mm, 85mm, 90mm, 95mm, 100mm, 105mm, 110mm, 115mm, 120mm, 125mm, 130mm, 135mm, 140mm, 145mm, 150mm, 155mm, 160mm, 165mm, 170mm. 7.4mm diameter implants: Lengths - 50mm, 55mm, 60mm, 65mm, 70mm, 75mm, 80mm, 85mm, 90mm, 95mm, 100mm, 105mm, 110mm, 115mm, 120mm, 125mm, 130mm, 135mm, 140mm, 145mm, 150mm, 155mm, 160mm, 165mm, 170mm, 175mm, 180mm, 185mm, 190mm, 195mm, 200mm. | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH541 | Precice Intramedullary Limb Lengthening System | Precice Partially Threaded Locking Screw | Diameter (3.5 -5.0)mm diameter x (20- 80)mm length | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH732 | Precice Intramedullary Limb Lengthening System | Precice Fully Threaded Locking Screw | 4-5mm (Diameter) x 20-100mm (Length) | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 06 - Specialist Orthopaedic | LH540 | Precice Intramedullary Limb Lengthening System | Precice End Cap | 0-20mm length | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK027 | eight-Plate Plus | The guided growth plate system plus consists of different sizes of eight-Plate plus. The device is designed for the gradual correction of paediatric congenital as well as acquired deformities in both upper and lower extremities. | 12mm 16mm 20mm | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY622 | AO/ASIF Plates | Non Locking Specialty Plates | ≤ 6 Holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW716 | Displacement Plate - DPS | Unique steep plate design allows for controlled fixation of displacement calcaneal osteotomies. 3 step variations allows for accurate corrections. 3.5mm Titanium locking plate | 6, 8 & 10mm step, 4 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK535 | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 4-6 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI752 | ZPS-Zimmer Plate & Screw System | 3.5mm and 4.5mm pelvic plates | 6 holes or less | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY814 | AO/ASIF Plates | Non Locking Fragment Plate | 7 - 15 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK536 | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 8-14 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI948 | Ankle Fix - Plate ≥ 7 to ≤ 15 holes | Ankle Fusion plate | Standard and Large | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK537 | Stryker Plating System | Locking Reconstruction Plates | 5.0mm, 16-22 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI943 | Ankle Fix -Plate ≥ 16 holes | Ankle fusion plate | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK016 | Orthofix eight-Plate | Guided growth plate for correction of angular deformities over an open growth plate. Titanium, two screw holes, wire guided. | 12mm, 16mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK028 | Quad Plate Plus | The Guided Growth Plate System Plus consists of different sizes of quad- Plate plus, different cannulated and solid screw options. The device is designed for the gradual correction of paediatric congenital as well as acquired deformities in both the upper and lower extremities, provided that the physics are not fused. The plates feature a contoured waist and low profile for paediatric usage. There is a centre hole in the plates for a temporary guide pin to be implanted to aid application and removal of the plate. The plates are attached to the external surface of the bone over the growth plate by screws. These screws are not locked to the plate, but rather are allowed to swivel and diverge in their position as bone growth occurs. The implant acts like a flexible hinge, permitting growth at the growth plate to gradually straighten the limb. | 16mm plate 22mm plate | 2025-11-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU110 | Posterolateral Distal Fibula Plate | Plate for fracture fixation | 8 Holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW707 | Charlotte MTP Fusion System | MTP plate, stainless steel | Left & Right small & standard, 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW708 | Charlotte MTP Fusion System | MTP plate, stainless steel | Left & Right extended,9 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW711 | Lapidus Plate | Titanium locking plate with unique stepped displacement in 1mm increments permits accurate plantarisation and lateralisation in midfoot fusions. | 3.5mm: neutral, 1-6mm step | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW715 | Arthrodesis Flat Plate - AFP | Flat plate intended for use in isolated tarsal fusions, titanium locking plate, 2mm thickness | 12, 14 & 16mm length - 4 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW902 | MaxLock Extreme System - Small Plates ≤ 6 holes | Small variable angle locking plates, titanium, ≤ 6 holes | ≤ 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW936 | MaxLock Extreme System – Edgelock II STP Plate | Calcaneal displacement osteotomies locking plate, Titanium. | ≤ 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW978 | TOM Plate | Designed for base osteotomies and fusions of MT1 with correction achieved through one cut. It is a titanium locking plate, anatomically designed with a smaller radius to fit the contour of the first metatarsal and 5 step variation in 1mm increments for ac | - L & R: neutral, 1-5mm step, 4 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK540 | Stryker Plating System | Locking Reconstruction Plates | 4.0mm, 4-6 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK542 | Stryker Plating System | Locking One Third Tubular Plates | 3.0mm, 2-6 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST738 | Leibinger Titanium Implant System | Leibinger profyle hand & small fragment system, fixation, 3D plate, titanium | 1.7mm system, 2x2 holes | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI543 | Zimmer Universal Locking System | 3.5mm Locking T plate | 3 hole head 5 hole shaft 73mm length; 4 hole head 6 hole shaft 85mm length; 3 hole head 3 hole shaft left 51mm length; 3 hole head 4 hole shaft left 63mm length; 3 hole head 3 hole shaft right 51mm length; 3 hole head 4 hole shaft right 63mm length. | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI810 | Zimmer Universal Locking System | 3.5mm Dual Compression Locking Plates | 4 - 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK541 | Stryker Plating System | Locking Reconstruction Plates | 4.0mm, 7-14 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK543 | Stryker Plating System | Locking One Third Tubular Plates | 3.0mm, 7-14 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI801 | Zimmer Universal Locking System | 3.5mm One Third Tubular Locking Plate | 7-15 holes | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI811 | Zimmer Universal Locking System | 3.5mm Dual Compression Locking Plates | 7 - 14 holes | 2025-11-01 | DELETE
AUSTRALIAN PACIFIC MEDICAL PTY LTD | 06 - Specialist Orthopaedic | PB026 | Plates ≤ 6 holes | Plates ≤ 6 holes | ≤ 6 holes | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY747 | AO/ASIF Plates | Condylar plates | ≤ 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW792 | Charlotte LisfrancReconstruction System - Bridge Plate. | Stainless steel plate for stabilisation of the tarsometatarsal joint. | 4, 6, 5 & 9 hole. | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW899 | Mini MaxLock Extreme System - Mini Plates ≤ 6 holes | Mini variable angle locking plates, Titanium, ≤ 6 holes | ≤ 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | JV006 | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≤ 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK591 | Diamond Plate/Carpal Button | Carpal Fusion Plate | Large, Small | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST786 | Leibinger Titanium Implant System | Leibinger Forefoot Reconstruction System, straight plate, Titanium | 4 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | ST787 | Leibinger Titanium Implant System | Leibinger Forefoot Reconstruction System, straight plate, Titanium | 6 holes | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI946 | Normed fracture fixation plates | Titanium locking foot plates | 4/6 hole and 2.7mm screws | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY748 | AO/ASIF Plates | Condylar plates | ≥ 7 to ≤ 15 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW900 | Mini MaxLock Extreme System - Mini Plates > 6 holes | Mini Variable angle locking plates, Titanium, > 6 holes | > 6 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | JV007 | SternalPlate Closure System - Plates | Titanium Sternal Fixation System | ≥ 7 to ≤ 15 holes | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY819 | AO/ASIF Plates | Pre-contoured Locking plate | ≥16 holes | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY606 | AO/ASIF Plates | DHS Plates | 2-6 holes | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY607 | AO/ASIF Plates | DHS Plates | 7-15 holes | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | SY608 | AO/ASIF Plates | DHS Plates | ≥ 16 holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK553 | Stryker Compression Hip Screw System | Omega3 Supracondylar Plate | 6 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI770 | Versa Fx II Compression Hip Screw | Versa Fx II CHS Tube Plates | 2-6 holes left and right | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | SK554 | Stryker Compression Hip Screw System | Omega3 Supracondylar Plate | 8-14 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW973 | Evolve Radial Head Plate | Evolve Radial Plate System Stainless Steel | 32mm x 20-26mm in 2mm increments, 7 & 8 hole | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW802 | Evolve Ortholoc EPS System - Olecranon Plate | Stainless Steel, Polyaxial Locking Plate, Olecranon, Right & Left | Right & Left, 2.7 & 3.5mm, 9-16 holes | 2025-11-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU129 | Posterolateral Anatomic Distal Fibula Plate | Plate for fracture fixation | 4-6 Holes Left and Right Side Specific | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW898 | MaxLock Extreme System - Distal Fibula Plate | Distal Fibula variable angle locking plate, Titanium | Long, Medium, Short, Right and Left | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW897 | MaxLock Extreme System - Medial Distal Tibia Plate | Medial distal tibia variable angle locking plate, Titanium | Short, Medium, Long, Left and Right | 2025-11-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU139 | Anterolateral Distal Tibia Plate | Plate for Fracture Fixation | 16-18 Holes Left and Right Side Specific | 2025-11-01 | DELETE
ARTHREX AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HU140 | Medial Distal Tibia Plate | Plate for Fracture Fixation | 16 Holes | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW895 | MaxLock Extreme System - CalcLock Extreme Plate | Calcaneal variable angle locking plate, Titanium | Standard, Large, Extra Large, Right and Left | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW709 | Charlotte MTP Fusion System | MTP plate, stainless steel, SLIM LINE | Left & right | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW714 | Rearfoot Plate - RPS | Unique extended plate geometry for plating complex rearfoot reconstructions, uses 3.5mm locked screws for optimal bone purchase. | 6 hole - 37mm, 8 hole - 50mm, 14 hole - 66mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK034 | eight-Plate Plus Cannulated Screw | The guided growth plate system plus consists of different sizes of plates and cannulated screws. The device is designed for the gradual correction of paediatric congenital as well as acquired deformities in both upper and lower extremities. | 4.5mm x 16mm 4.5mm x 24mm 4.5mm x 32mm 4.5mm x 36mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK052 | AHN Screw | Compression screw. | 20 - 120mm length. 5mm diameter. | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ121 | Verso Shoulder System - Baseplate Fixation Screw | Verso Shoulder Base Plate Fixation Screw | 5mm diameter, 15mm-50mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BH283 | ALPS Plating System | Non-locking bone screws | 4.5 - 6.5mm diameter | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BH284 | ALPS Plating System | Locking screws | 4.5 to 6.5mm diameter | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BH331 | Small / Large Fragment Set | Bone Screw Titanium | 4.5 to 6.5mm diameter | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI149 | Periarticular Plates | Periarticular 6.5mm Cancellous Screws - Stainless Steel | 16mm Thread - 35-90mm Long, 32mm Thread - 45-90mm Long, Fully Threaded - 25-90mm Long | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI548 | Zimmer Universal Locking System | 2.7mm Universal Locking Screw | Length:8mm; 10mm; 12mm; 14mm; 16mm; 18mm; 20mm; 22mm; 24mm; 26mm; 28mm; 30mm; 32mm; 34mm; 36mm; 38mm; 40mm; 42mm; 44mm; 46mm; 48mm; 50mm; 55mm; 60mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BH185 | Small / Large Fragment Set | Bone Screw, Titanium | 3.5 - 4.0mm diameter | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI150 | Periarticular Plates | Periarticular 4.0mm Cancellous Screws - Stainless Steel | Part thread - 30-60 mm, Full thread 30-110 mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI152 | Periarticular Plates | 3.5mm screws | lengths up to 130mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI203 | Zimmer ECT Screws | 4.0mm Cancellous Screws | 10 - 60 mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI852 | Zimmer Periarticular Plating System | 4.5mm Periarticular Locking Screws | 12 - 110mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI853 | Zimmer Periarticular Plating System | 5.5mm Cannulated Periarticular Locking Screws | 30 - 150mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI940 | Screws - Standard | Standard Screws | 10 - 70mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI947 | Screws -Locking | Locking Screw | 10 - 70mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BI768 | Mandibular Fracture System | Screw, IMF 2./2.4 Mandibular Fracture, Titanium | 2.0 x(5 - 13)mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI201 | Zimmer Cortical Screws | Cortical Screws | 6 - 50mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI742 | Zimmer ECT Screws | 1.5mm Cortical Screws | 6 - 18mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK048 | AHN Locking End Caps | AHN end cap. | 0mm, 5mm, 10mm. | 2025-11-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 06 - Specialist Orthopaedic | AE052 | ASDM K-wire | Stainless steel - sterile | Dia 0.7 - 2.5mm, length 100 - 230mm | 2025-11-01 | DELETE
ALLEGRA ORTHOPAEDICS LIMITED | 06 - Specialist Orthopaedic | AE070 | ASDM Steinmann Pin | Steinmann Pin | 2.8-5.0mm diameter | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI293 | Zimmer Wires | Stainless Steel | Length 23cm, Thickness 2mm, 0-4mm, 8mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI323 | Zimmer Wires | Stainless Steel Rushpins | Diameter 2.4 - 6.4mm; Length 2.5 - 52.7cm | 2025-11-01 | DELETE
Surgical Specialties Pty Limited | 06 - Specialist Orthopaedic | SQ071 | Mini Staple | Varisation Staple Straight, Angled | 26° - 90° 8 x 10 mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW007 | Biotek ligament anchor, knotless | A device designed to be implanted into bone for the attachment of soft tissues either directly or via a suture attached to the device. It is typically used in shoulder and some lower-limb operations, and functions as an alternative to drilling a hole in bone for passing a suture. The device is made of a material that cannot be chemically degraded or absorbed via natural body processes | Diameter: 2.8mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ032 | Draw Tight Suture Anchors | Suture Anchor | 1.8 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ048 | Parcus MiTi Titanium Screw In Suture Anchor -Small | Threaded, tapered fastener for use in attachment of soft tissue to bone. The device is made from a Titanium alloy, TI-6A1-4V. | 2.0mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW009 | Biotek Ligament Anchor | Soft tissue ligament anchor loaded with UHMWPE fiber and needle | Diameter: 1.8mm - 2.00mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW014 | Biotek Ligament Anchor PEEK | Soft tissue ligament anchor loaded with UHMWPE fiber and needle | Diameter: 1.8mm - 2.00mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW019 | Biotek Soft Ligament Anchor | Soft tissue ligament anchor loaded with UHMWPE fiber and needle | Diameter 1.2mm - 2.00mm | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | JJ948 | Healix Anchor System | PEEK anchor with suture | 3.4 mm anchor diameter | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ025 | Parcus Series 3 Peek CF Suture Anchor | Knotless push in Anchor with 2 sutures and suture passer. | 3.5mm diameter | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ030 | Knotless PEEK CF Suture Anchors | Suture Anchor, PEEK CF | 2.8mm 3.5mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ037 | Draw tight, | Push in anchors suture based. Recommended for use in both large and small repairs. with two sutures | 3.2 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ038 | Draw tight | Draw tight suture based anchor with two suture tapes. Recommended for use in both large and small joint repairs. | 3.2 | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ047 | Parcus MiTi Titanium Screw In Suture Anchor - Medium and XL | Threaded, tapered fastener for attachment of soft tissue to bone. The device is made from a Titanium Alloy, Ti-6A1-4V. | 2.5mm 3.5mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ053 | Parcus Knotless PEEK push in suture anchor | Knotless PEEK push in suture anchors w/suture passer | 2.8mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ054 | Parcus AP knotless | AP knotless push in anchors | 2.8, mm Anchors | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW004 | Biotek ligament anchor titanium | A device designed to be implanted into bone for the attachment of soft tissues either directly or via a suture attached to the device. It is typically used in shoulder and some lower-limb operations, and functions as an alternative to drilling a hole in bone for passing a suture. The device is made of a material that cannot be chemically degraded or absorbed via natural body processes | Diameter: 2.8mm; 3.5mm; | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW005 | Biotek ligament anchor PEEK | A device designed to be implanted into bone for the attachment of soft tissues either directly or via a suture attached to the device. It is typically used in shoulder and some lower-limb operations, and functions as an alternative to drilling a hole in bone for passing a suture. The device is made of a material that cannot be chemically degraded or absorbed via natural body processes | Diameter: 2.8mm; 3.0mm; 3.5mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW020 | Biotek Soft Ligament Anchor | Soft tissue ligament anchor loaded with UHMWPE fiber and needle | Diameter: 2.9mm | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 06 - Specialist Orthopaedic | MN245 | HEALIX Anchor System | Biocryl Rapide anchor with Permatape suture | 4.5-6.5mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ031 | Knotless PEEK CF Suture Anchors | Suture Anchor, PEEK CF | 4.5mm 5.5mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ036 | V-Lox Titanium Suture Anchors | Titanium Fully Threaded Suture Anchor | 4.5mm; 5.0mm; 5.5mm; 6.5mm, double loaded and triple loaded suture anchors | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ041 | V-Lox PEEK CF Suture Anchors | PEEK CF Fully Threaded Suture Anchor | 4.5m; 5.5mm; 6.5mm, | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ044 | Parcus Twist Screw in PEEK suture Anchors | Screw in PEEK CF anchors recommended for small and large joints. Optimal cortical fixation, Non aborbable, radiolucent. PEEK body anchors assembled with 0, 1, 2, 3 sutures or suture tape. | 4.25, 4.75, 5.5, 6.25, 6.5 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ045 | SLik Knot-less CF | Knot-less screw in anchor recommended for use in large and small joint repairs | 5.5mm- 6.25mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ046 | SLik Fix | Screw in system recomended for teh use in both large and small joint repairs made from PEEK carbon fiber | 7mm, 8mm, 9mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ049 | Parcus AP large | AP knotless push in Anchors Large | 4.5, 5,5 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ050 | Parcus AP twist | Twist screw in AP anchor | 4.5-6.5 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ055 | X-twist Knotless Suture Anchor | Knotless open architecture and fast inserting suture anchor system with multiple sliding suture or tissue sparing tape configurations and is available in PEEK Optima in 4.75mm, 5.5mm and 6.25mm diameters. The Anika X-Twist system is designed to be used in both single row and double row rotator cuff repairs as well as other knotless or knotted soft tissue repairs. | 4.75mm. 5.5mm, 6.25mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ056 | X-Twist Biocomposite Screw-In Suture Anchor | Biocomposite knotless suture anchor system; includes one or two sutures. | Diameter 4.75mm. 5.5mm, 6.25mm, Length 23mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW006 | Biotek large ligament anchor titanium | A device designed to be implanted into bone for the attachment of soft tissues either directly or via a suture attached to the device. It is typically used in shoulder and some lower-limb operations, and functions as an alternative to drilling a hole in bone for passing a suture. The device is made of a material that cannot be chemically degraded or absorbed via natural body processes | Diameter: 5.0mm; 5.5mm; 6.5mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW008 | Biotek large suture anchor PEEK | A device designed to be implanted into bone for the attachment of soft tissues either directly or via a suture attached to the device. It is typically used in shoulder and some lower-limb operations, and functions as an alternative to drilling a hole in bone for passing a suture. The device is made of a material that cannot be chemically degraded or absorbed via natural body processes | Diameter: 5.5mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW010 | Biotek Ligament Anchor | Soft tissue ligament anchor loaded with UHMWPE fiber and needle | 4.50mm - 8.00mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW027 | Knotless Bioabsorbable Ligament Anchor | Knotless Bioabsorbable Ligament Anchor | Diameter (mm) 4.75 - 5.5 | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW028 | BIO-VIM Bioabsorbable Ligament Anchor | Bioabsorbable Ligament Anchor | Diameter (mm) 4.5 - 5.5 | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZA072 | Ventix Anchor | soft tissue anchor | 4.75mm and 5.5mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ035 | Parcus - GFS II Large and GFS Mini | Parcus - GFS Fixation for knee ligament reconstruction | Button Sizes: 3.9mm-4.4mm in width x 12mm-16.5mm in length. Loop sizes: 12mm, 15mm, 20mm, 25mm, 30mm, 35mm, 40mm, 45mm, 50mm, 55mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ039 | AcTiFlip Cinch loop | Button fixation recommended for biceps repair both proximal and distal repairs. With one size two suture | 12mm 10mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ040 | AcTiFlip Infinity loop | Button fixation, recommended for proximal and distal tendon and ligament repair. Comes with one suture and one needle | 12mm 10mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ043 | Parcus Sydn-EZ | The Parcus Synd-EZ is intended to be used as an adjunct in fracture repair involving metaphyseal and periarticular small bone fragments where screws are not indicated, and as adjuncts in external and intramedullary fixation systems involving plates and rods, with fracture braces and casting. | 3.9 mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ052 | Parcus Synd-Ez SS | The Parcus Synd-EZ is intended to be used as an adjunct in fracture repair involving metaphyseal and periarticular small bone fragments where screws are not indicated, and as adjuncts in external and intramedullary fixation systems involving plates and rods, with fracture braces and casting. Includes top hat, suture and button. | 3.2 mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW016 | Biotek Button System | Adjustable Fiber Loop for attachable Button System and tibial base plate for button system UHMWPE loop without button | Round Button- Dia: 6 mm to 20 mm Rectangular button- Length: 4 mm to 30 mm Width: 2 mm to 10 mm Button Shapes: Standard, round, oblong etc. UHMWPE loop without button | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZI973 | Aperfix Femoral Fixation System | Aperfix Femoral Fixation System | 9x24mm,10x24mm,9x29mm,10x29mm,11x29mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ042 | PARCUS GFS Naked | Graft Fixation System for use in the fixation of ligament or tendon repairs. | Button widths: 1.4mm -4.4mm Button lengths: 5.9mm - 21mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW011 | ONButton CL Fixation Button | Titanium fixation button and UHMWPE braid (Ultra High Molecular Weight Poly Ethylene braid) suture | Loop Size 12mm - 40mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | ZH002 | I.D.E.A.L. Button | Button and extender button | S, M, L (13-20mm) | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ024 | Parcus PEEK CF Interface Screw | PEEK CF Interface Screw | 7,8,9mm x 20-35mm 10,11,12mm x 25-35mm | 2025-11-01 | DELETE
PurePlay Orthopaedics | 06 - Specialist Orthopaedic | PJ051 | Parcus Interference Ti screws | Interference screws for soft tissue fixation (Titanium) | 7-12 mm (20-35mm in length | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW017 | Biotek SOFTFIX PK Interference screw | Interference screw for use in ligament/tendon reconstruction | Diameter: 4.0mm - 11.0mm Length: 10mm - 35mm | 2025-11-01 | DELETE
STABLE ORTHOPAEDICS PTY LTD | 06 - Specialist Orthopaedic | BW018 | Biotek SOFTFIX Interference screw | Interference screw for use in ligament/tendon reconstruction | Diameter 5.0mm - 11.0mm Length 15mm - 35mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 06 - Specialist Orthopaedic | BI241 | Gentle Threads Ligament Fixation Screws | Screw, Graft Interference, PGA/PLA | 7mm, 8mm, 9mm, 10mm | 2025-11-01 | DELETE
STRYKER AUSTRALIA PTY LTD | 06 - Specialist Orthopaedic | HW987 | Cartiva® Synthetic Cartilage Implant | Polymer Cartilage Implant | Diameter: 6mm, 8mm, 10mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK001 | Orthofix External Fixation System Ankle Fixator | Anodised aluminium and stainless steel | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK002 | Orthofix External Fixation System Pennig Wrist Fixator | Anodised aluminium and stainless steel | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK009 | Orthopaedic External Fixation System - Xcaliber External Fixator | Metadiaphyseal Fixator | One size | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK013 | Orthofix External Fixation Systems | MiniRail System | Short, Standard, Long and Articulated Horizontal and Vertical Axis | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK014 | Orthofix External Fixation Systems | Pennig Minifixator | Short, Standard, Long | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK046 | LRS Knee Hinge | Knee spanning and limb salvage external fixator - fully assembled. | One size. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK045 | LRS Clamps | Monoplanar clamp - 3 dimensional. | Small. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK044 | LRS | Rails and Compression Distraction Unit. | 100mm to 400mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK030 | Orthofix Circular Frame Full ring | The Orthofix circular frame is a surgeon designed, user friendly ring fixation system for trauma applications, limb lengthening and deformity correction. It is based on the science, methodology and principles of Prof Ilizarov. The circular frame is simple, offering preassembled functional components that are easy to connect and operate. The frame is stable with anti-rotational feature on connection elements that prevents any undesirable movement. Its unique wire and half pin fixation elements provide efficient bone segment stabilisation. A biomechanically superior metal-plastic interface is stable both during and between adjustments. The system is versatile, consisting of rings, half-rings, foot plates, 5/8 rings and arches. Full control of bone segments accomplished with Orthofix circular frame allows precise movement of segments without compromising stability. | 80mm - 300mm full rings | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK011 | Orthopaedic External Fixation System - Xcaliber External Fixator | Hybrid Fixator | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK029 | Orthofix Circular Frame Partial ring | The Orthofix circular frame is a surgeon designed, user-friendly ring fixation system for trauma applications, limb lengthening and deformity correction. It is based on the science, methodology and principles of Prof Ilizarov. The circular frame is simple offering pre-assembled functional components that are easy to connect and operate. The frame is stable with anti-rotational feature on connection elements that prevents any undesirable movement. It's unique wire and half pin fixation elements provide efficient bone segment stabilisation. A biomechanically superior metal-plastic interface is stable both during and between adjustments. The system is versatile, consisting of rings, half-rings, foot plates, 5/8 rings and arches. Full control of bone segments accomplished with orthodox circular frame allows precise movement of segments without compromising stability. | 100mm - 300mm partial rings | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK049 | TrueLok | Coupling devices. | Standard. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK032 | 3D Rapid Adjust Strut | The rapid adjust strut is made of two metal casings encapsulating a threaded rod. It has the ability to correct acutely or gradually. The rapid adjust strut ends have 45 degree locking angulation with 360 degree rotation. The rapid adjust struts have unique ball and claw universal lockable joint at both ends of the strut. Two rapid adjust struts are sufficient for fracture reduction and initial stabilisation, whereas three rapid adjust struts are necessary for walking and weight bearing. Loosening of the ball claw joints allows for verification of the amplitude of angular correction and horizontal translation, magnitude of rotational correction and stability of fixation in coronal, sagittal and horizontal planes. | Short 70 - 104mm range Medium 98 - 188mm range Long 163 - 300mm range | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK033 | 3D Telescopic Strut | Struts consist of two telescopic aluminium tubes, outer tube and an inner tube, which can be locked together at various lengths using the side locking bolt and clamp washer. The inner tube is attached to a spring-loaded, black knurled adjustment knob. The adjustment knob mates with the threaded rod in a manner such that the rod translates relative to the inner tube when the knob is rotated. This will provide gradual changes of overall strut length in 0.5mm increments. A reference arrow with plus sign located on the base of the adjustment knob indicates the direction of turning to perform strut elongation - distraction. Each strut has two special joints and one at the base of the outer tube and the other at the end of the threaded rod. Each joint has a mounting stud, which can be inserted into the mounting holes on the ring tabs and held in place by the locking screw. The rapid adjustment of the strut length is achieved by untightening the side locking bolt, sliding the inner tube relative to the outer tube to the desired length. The rapid adjustment is indicated by the inner tube scale in 1mm increments relative to the orange line mark on the outer tube. The gradual adjustment is achieved by pulling and rotating the adjustment knob resulting in a noticeable detect click every 0.5mm of adjustment. Gradual adjustment is indicated by the scale relative to the green line mark. | Struts are available in four sizes - ultrashort, short, medium and long providing adjustment range from 45mm to 318mm. Ultrashort strut 45 - 101mm range Short strut 92 - 122mm range Medium strut 114 - 184mm range Long strut 158 - 318mm range | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK043 | Linear Distractor | Linear Distractor. | 70mm to 200mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK031 | Orthofix Circular Frame Foot Plate | The Orthofix circular frame is a surgeon designed, user-friendly ring fixation system for trauma applications, limb lengthening and deformity correction. It is based on the science, methodology and principles of Prof Ilizarov. The circular frame is simple, offering preassembled functional components that are easy to connect and operate. The frame is stable with anti-rotational feature on connection elements that prevents any undesirable movement. Its unique wire and half pin fixation elements provide efficient bone segment stabilisation. A biomechanically superior metal-plastic interface is stable both during and between adjustments. The system is versatile, consisting of rings, half-rings, foot plates, 5/8 rings and arches. Full control of bone segments accomplished with Orthofix circular frame allows precise movement of segments without compromising stability. | 100mm - 220mm foot plates | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK042 | TrueLok Ring Fixation System - Spacers, Washers, Nuts, Bolts | Nuts, Spacers, Washers and Bolts. | Length 12 - 30mm, 10mm Hex Heads, Thickness 2 - 4mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK003 | Orthofix External Fixation System Elbow Fixator | Anodised aluminium and stainless steel | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK004 | Orthofix External Fixation System Hybrid Fixator | Anodised aluminium and stainless steel | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK005 | Orthofix External Fixation System Knee Fixator | Anodised aluminium and stainless steel | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK050 | TrueLok Wire, Pin Fixators | Wire, Pin Fixators. | 4mm to 8mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK041 | TrueLok/TL-HEX/EVO Threaded rods | Threaded rods. | 60mm - 400mm. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK007 | Screw | Frame Component - Pins | Shaft Dia 3.0 - 6.0mm Thread Dia 6.0 - 2.00mm Total Length 40 - 260mm Thread Length 15 - 100mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK008 | Osteotite screw | HA coated screw used for fixation of an external frame | Shaft Dia 3.0 - 6.0mm, Thread Dia 6.0 - 2.0mm, Total Length 40 - 260mm, Thread Length 15 - 90mm | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK040 | TrueLok Ring Fixation System - Hinges | Universal and inline hinges. | Standard. | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK006 | Orthopaedic External Fixation System - Radiolucent Wrist Fixator | Complete System Sterile | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK010 | Orthopaedic External Fixation System - Xcaliber External Fixator | Articulated Ankle Fixator | One size only | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK012 | Orthofix Limb Reconstruction System | Orthofix Limb Reconstruction System | Adult and paediatric - Short, Standard and Long | 2025-11-01 | DELETE
Akva Surgical Pty Ltd | 06 - Specialist Orthopaedic | VK047 | Orthofix and CalcFix Plus Calcaneal External Fixator Sterile Kit | The Kits contain the Calcaneal Fixator, T-Wrench, Driver, Screws and Kirschner wire. | One size. | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 06 - Specialist Orthopaedic | BF031 | MixMax Bone Cement | MIXMAX is a Procedure pack for mixing bone cement. It is possible to connect an external vacuum pump or to mix cement in a vacuum state using a vacuum tube. Contains a methyl methacrylate monomer liquid component and a poly-methymethacrylate powder component that mixed in the system provided. High radiopaque cement includes 60% of ZrO2. Optimized viscosity for Vetebroplasty, short mixing and preparing time allows to inject the cement immediately. | 20g | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ093 | MagnetOS Granules | Granule size 0.15-4mm | 0.5cc, 1cc, 2cc, 5cc | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ096 | MagnetOS Putty | Granule size 0.25-2mm | 0.5cc, 1cc, 2cc, 2.5cc, 5cc | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ094 | MagnetOS Granules | Granule size 0.15-4mm | 10cc | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ097 | MagnetOS Putty | Granule size 0.25-2mm | 10cc | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ095 | MagnetOS Granules | Granule size 0.25-4mm | 15cc, 20cc | 2025-11-01 | DELETE
CONNEXION SURGICAL PTY LTD | 06 - Specialist Orthopaedic | QQ098 | MagnetOS Putty | Granule size 1-2mm | 20cc | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BH024 | W Lorenz Osteosynthesis System | Pre-contoured Neuro Mesh, titanium | 163 x 115 x 0.3mm | 2025-11-01 | DELETE
SOUTHERN CROSS SURGICAL PTY LTD | 07 - Plastic and Reconstructive | QQ606 | Sterile SCS Interlink Plate - 2-hole | Sterile packed titanium 2-hole plate | 0.4mm x 15mm, 0.4mm x 17mm | 2025-11-01 | DELETE
SOUTHERN CROSS SURGICAL PTY LTD | 07 - Plastic and Reconstructive | QQ608 | Sterile SCS Interlink Plate - Burr Hole/Drainage Burr Hole | Sterile packed titanium burr hole plate, drainage burr hole plate | 0.4mm thick; Diameter: 12mm, 16mm, 18mm, 22mm | 2025-11-01 | DELETE
SOUTHERN CROSS SURGICAL PTY LTD | 07 - Plastic and Reconstructive | QQ607 | Sterile SCS Interlink Plate - 2-hole | Sterile packed titanium 2-hole plate | 0.6mm x 15mm, 0.6mm x 17mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI591 | W Lorenz Osteosynthesis System | Chin Plates, Paulus, 2mm System, Titanium | 4 - 12mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI605 | W Lorenz Osteosynthesis System | Plate, Matrix, 1.0 or 1.5mm System, Titanium | 6 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI620 | W Lorenz Osteosynthesis System | Plate, Straight, low profile, 2.0mm System, Titanium | 4 - 8 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI641 | W Lorenz Osteosynthesis System | Plate, Matrix. 1mm System, 1.5mm System. Titanium | 2 x 4 hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI719 | W Lorenz Osteosynthesis System | Neuro Sub-Temporal Plate, Titanium | medium | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI773 | W Lorenz Osteosynthesis System | Neuro sub-temporal plate, 1.5 system, titanium | Small | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | ZI970 | Mandibular Fracture System | Mandibular fracture plates | 8-15 holes | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI762 | Mandibular Fracture System | Plates, 2.4 Mandibular Fracture System, Titanium | 16 - 24 Hole | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | ZI938 | Lorenz Locking Reconstruction System | Locking plates | 2.0 and 2.4 mm, 16-32 holes | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BH020 | W Lorenz Osteosynthesis System | Bone Screw, Cross Drive or Centre Drive. Titanium | 1.5mm dia x (3.5 - 17)mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI360 | W Lorenz Osteosynthesis System | Bone Screw, Cross or Centre Drive, Std or Self Drilling; Titanium | 2.0mm x (4 - 7) mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI457 | Lorenz 2 - 2.4mm Locking Reconstruction System | Screw, Locking Reconstruction Modular. Titanium | 2 - 2.4 x (6-18)mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI733 | W.Lorenz Osteosynthesis System | Bone Screw, Self Drilling, Cross Drive, Titanium | 1.5 mm (dia) x 6.0, 7.0mm [lengths] | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BI748 | Mandibular Fracture System | Screw, High Torque (HT), 2.0/2.4 Mandibular Fracture System, Titanium | Dia 2.4 x 6.0mm, 8.0, 10.0, 12.0, 14.0, 16.0, 18.0mm Lengths | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 07 - Plastic and Reconstructive | BH363 | Lorenz Plating System | Orbital Floor Plate, Titanium | Small to Large | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 07 - Plastic and Reconstructive | DE802 | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation. | Width (mm) 37-52 (mm) Length (mm) 52-74 (mm) Thickness 1(mm) | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 07 - Plastic and Reconstructive | DE803 | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation. | Width (mm) 148 (mm) Length (mm) 105 (mm) Thickness 1 -2(mm) | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 07 - Plastic and Reconstructive | DE804 | MatriDerm Dermal Matrix | Dermal Matrix Scaffold for tissue regeneration and modulation of scar tissue formation | Width (mm) 210 (mm) Length (mm) 297 (mm) Thickness 1-2 (mm) | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | QQ339 | FlowCOUPLER | High Density polyethylene (ring); Stainless Steel (pins) with preattached probe | 2.0mm, 2.5mm, 3.0mm, 3.5mm, 4.0mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 07 - Plastic and Reconstructive | QQ370 | Synovis Coupler | High Density polyethylene (ring); Stainless Steel (pins) | Diameter 1-4mm | 2025-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ263 | Amplatzer PFO Occluder | Nitinol Wire Mesh | 25mm & 35mm | 2025-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 08 - Cardiac | SJ280 | Amplatzer Duct Occluder II Additional Sizes | Single use implantable transcatheter device for minimally invasive closure of Patent Ductus Arterious | 0.2cm-0.6cm | 2025-11-01 | DELETE
ABBOTT MEDICAL AUSTRALIA PTY LTD. | 09 - Cardiothoracic | SJ384 | HeartMate II Left Ventricular Assist System - System Controller | System controller | One size only | 2025-11-01 | DELETE
Culpan Medical Pty Ltd | 10 - Vascular | CB023 | PHIL | Precipitating Hydrophobic injectable liquid | 1ml PHIL liquid embolic, 1 sterile pre-filled syringe of DMSO and 1 Universal Adaptor | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | KA018 | Palindrome | Haemodialysis catheter | 14.5Fr, 15 Fr, 16Fr; 19, 23, 28, 33, 55cm Insertion Lengths, with 36, 40, 45, 50, 72cm Overall length, with side slots, symmetric tip | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | MI229 | Mahurkar Elite Triple Lumen Catheter Kit | Triple Lumen Catheter Straight/Curved/Pre-Curved Exten. | 12Fr, 12.5Fr; 13-30 cm | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | MI238 | Palindrome™ Precision Catheter | Haemodialysis catheter presented in a kit assembly including insertion stylets | 14.5 Fr; 19cm-55cm (implant length); 36-72cm overall length with side slots, symmetric tip | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | MI241 | Mahurkar Elite Subclavian Dual Lumen Catheter Kit | Acute haemodialysus, short term vascular access. Catheters constructed of radiopaque polyurethane. Tips are made of polyvinyl chloride and are more radiopaque than the rest of the catheter. | 10 Fr-12Fr, 13cm-30 cm, Straight/Curved/PreCurved Exten. | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | MI242 | Mahurkar Elite High Flow Dual Lumen Catheter Kit | Mahurkar Elite High Flow Dual Lumen Catheter Kit | 13.5 Fr, 13cm-30cm, Straight/Curved/PreCurved Exten. | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | KA001 | Tenckhoff Peritoneal Catheters | Tenckhoff Peritoneal Dialysis Catheters - includes a variety of catheter lengths and cuff placements | 41cm to 47cm length | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | KA002 | Paediatric Peritoneal Catheter | Paediatric Peritoneal Dialysis Catheters - includes catheter options: Tenckhoff, Curl Cath, Swan Neck | 31cm to 42cm length | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | KA006 | Curl Cath Peritoneal Catheter | Curl Cath Peritoneal Dialysis Catheters - includes a variety of catheter lengths and cuff placements | 57cm to 62cm length | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 10 - Vascular | MI319 | Swan Neck Peritoneal Catheter | Swan Neck Peritoneal Dialysis Catheters - includes catheter options: Tenckhoff, Curl Cath and Presternal | 43cm to 113cm length | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 11 - Hip | JJ813 | Summit Femoral Hip | Titanium, beaded proximally, distal grit blast | 0-12 | 2025-11-01 | DELETE
SMITH & NEPHEW PTY LIMITED | 11 - Hip | SN678 | Echelon with HA | Cobalt Chromium with Hyrdoxyapetite Coating, beaded | 11-20 | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT049 | Genus Pantheon Femur | Cemented Femoral Component for use with Pantheon Proximal Tibia, Pantheon Salvage Tibia | 1-6, Left, Right | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | DY373 | LCS Complete Knee System femoral component | Femoral component, uncemented, Porocoat, beaded Titanium with TiN surface treatment | Sizes MED - LG+ | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT051 | Genus Pantheon Mobile Tibial Tray | Tibial Tray for use with Pantheon Limb Salvage System | 1-6 | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | DY377 | MBT knee system tibial baseplate | Tibial baseplate, uncemented, Titanium, TiN, beaded (Porocoat) for rotating platform, (non keeled only) | Sizes 1 - 7 | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | JJ664 | PFC Sigma Knee System TC3 Tibial Insert | Tibial insert, totally constrained, UHMWPE, with post | Sizes 1.5-5. 10-30mm | 2025-11-01 | DELETE
ZIMMER BIOMET PTY LTD | 12 - Knee | ZI454 | Natural Knee Patella CSTi | All Poly, Cemented, Patella | 0-3 | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT055 | Pantheon Bridging Collar | Pantheon Salvage system porous endosteal collars | 26, 30 ,36mm diameter for Stems 10mm to 24mm | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT061 | Pantheon Shaft | Stem extension pieces for the Pantheon Limb Salvage System - Titanium alloy | 35mm - 140mm | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT054 | Pantheon Augments | Augments for use with Genus Pantheon Tibia, Pantheon Salvage Tibia | RL/LM, LL/RM, 1-6, 5mm-10mm | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT052 | Genus Pantheon Offset Adaptor | Connector for stems to alter stem offset morse taper but also including screw for additional fixation, titanium | 2mm, 4mm, 6mm | 2025-11-01 | DELETE
ADLER ORTHO AUSTRALIA PTY LTD | 12 - Knee | HT053 | Genus Pantheon Stem | Cemented and Cementless Stems for use with Genus Pantheon Femur & Tibia and Pantheon Salvage Tibia | Diameter 10 - 24mm, Lengths - 55 to 145mm | 2025-11-01 | DELETE
JOHNSON & JOHNSON MEDICAL PTY LTD | 12 - Knee | DP143 | PFC Sigma Knee System tibial stems | Tibial stems cemented and fluted uncemented, titanium | Sizes 30-150mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER658 | LnK AccelFix Spinal Fixation System-Monoaxial screw | AccelFix S/AccelFix DS/AccelFix SS Monoaxial screws, reduction or non-reduction, Ti, sterile. | Diameter: 4-8.5 mm Length: 34.5-176.5 mm | 2025-11-01 | DELETE
KINETIX LIFESCIENCES PTY LTD | 13 - Spinal | KB015 | AnyPlus II Mono Screw | Monaxial Pedicle Screw and Mono Reduction Screws | Diameter: 4.5-7.5mm Length: 35-55mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH519 | DSS Spinal System | Monoaxial Pedicle Screw - cannulated | 5-9mm Diam x 30-60mm length | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER659 | LnK AccelFix Spinal Fixation System-MIS Polyaxial screw | AccelFix MIS Polyaxial screw, open or closed, cannulated, sterile, Ti | Diameter: 5.5-9.5 mm Length: 30-150 mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER662 | LnK AccelFix Spinal Fixation System-polyaxial screw | AccelFix S/AccelFix DS/AccelFix SS polyaxial screws, sterile, single or double lead, standard or variable pitch, closed or open, Ti, sterile | Diameter: 4-8,5 mm Length: 34.2-176.5 mm | 2025-11-01 | DELETE
KINETIX LIFESCIENCES PTY LTD | 13 - Spinal | KB012 | AnyPlus II Poly Screw | Polyaxial pedicle screws and reduction screws | Diameter:4.5-7.5mm Length: 35-55mm | 2025-11-01 | DELETE
KINETIX LIFESCIENCES PTY LTD | 13 - Spinal | KB014 | AnyPlus Long Arm Screw | Polyaxial cannulated pedicle screws | Diameter: 5.0 - 7.5mm Length 25 -100mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH708 | Athena Polyaxial screw shank | Polyaxial screw shank intended for pedicle or cortical bone trajectory screw insertion. The shanks have a quad to dual lead thread for increased cortical bone purchase. The screw shanks are also fenestrated to enable screw augmentation with bone cement | 5mm -8.5mm diameter 30mm to 100mm screw lengths | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ385 | Certex Spinal Implant System Screw | Screws | Diameter 3.5mm - 4.5mm Length 10mm – 42mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ392 | Fortex Pedicle Screw system - Pedicle Screw | Polyaxial pedicle screw | 4.75, 5.5, 6.5, 7.5, 8.25mm diameter. 30, 35, 40, 45, 50, 55mm lengths | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ415 | Polyaxial Pedicle Screws | Polyaxial Pedicle Screws | Diameter 5.5 - 7.5mm Length 35 - 55mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ421 | X90 Pedicle Screw | Capless, Polyaxial pedicle screw | Diameter 4.75 - 8.25mm Length 30 -55mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF025 | Pedicle Screw | Polyaxial Screw | (5.5 - 7.5)mm x (35-55) mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF026 | Pedicle Screw | Cannulated Screw, Carbon Fiber Reinforced Polymer | (6.5-7.5)mm x (35-55) mm length | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE628 | Zuma bone screw | Bone screw | 5.5mm - 6.0mm x 20mm - 35mm | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE653 | Vu aPOD Prime Bone Screw | Locking Bone Screw | 6.0 and 6.5mm diameter 20, 25 and 30mm length | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH589 | Cervical Spine Truss System - Stand Alone Starloc Screw | Starloc Screw | (3.5-3.85)mm diam x (12-16mm Length | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ389 | Fixcet Spinal Facet Screw | Spinal facet screw | 30mm - 45mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ390 | Fixcet Spinal Facet Screw | Spinal facet screw | 25mm - 45mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ402 | Occipital Screws | Occipital Screws | Multiple sizes to suit patient anatomy | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ419 | Spider Cervical Plating System - Spider Screw | Titanium, Self Tapping and Self Drilling | 4.0 - 4.25mm, lengths 12-16mm | 2025-11-01 | DELETE
SPINEART AUSTRALIA PTY. LTD. | 13 - Spinal | DU038 | Scarlet AL-T Bone Screw | Bone Screw | Diameter 5.0-5.5mm Length 25-40mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER664 | LnK AccelFix Spinal Fixation System-set screws | LnK AccelFix Spinal Fixation System set screws, star or hex type, Ti, sterile | Diameter: 8.7-9.7 mm Height: 5.0-5.6 mm | 2025-11-01 | DELETE
KINETIX LIFESCIENCES PTY LTD | 13 - Spinal | KB013 | AnyPlus and AnyPlus II Set Screw | Set Screw | One size only | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH452 | DSS Breaking Nut | The DSS Breaking Nut is a set screw that locks the DSS pedicle screw for final tightening. It is an integral part of the DSS pedicle screw system, is used every time and can not be used on its own. | One size only | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH456 | DSS Fusion Coupler Set Screw | The DSS Fusion Coupler set screw locks the telescoping fusion couplers rigidly in place. This set screw can only be used for this purpose, is used every case and can not be used for any other purpose. | DIA700-04 for 20mm - 22mm fusion coupler DIA70022-04 for 22mm - 25mm / 25mm - 31mm / 31mm - 43mm fusion couplers | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH711 | Athena Nut | Buttress Locking Cap for poly axial tulip | Standard - one size only | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ375 | Break off set-screw | Break off set-screw | No size | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ381 | Certex Spinal Implant System Cap | Cap | One Size Only | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ391 | Fortex Pedicle Screw Set Screw | Pedicle Screw Set | 3.1mm height | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF027 | Locking Element | Locking Element for Screws and Connectors | std or 45 degree | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE632 | Zuma Spinal System Locking Cover | Locking Cover | 10mm - 20mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH710 | Athena Cup | Modular Polyaxial tulip heads, available in standard, reduction and MIS reduction | Standard, Reduction, MIS Reduction | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER660 | LnK AccelFix Spnal Fixation System-connector-in line | LnK AccelFix Spnal Fixation System-connector-axial straight or domino | Diameter 1&2, 5.2-6.5mm, Length 16-40mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH760 | Certex Spinal Implant System Connector | Connector | 3.5mm x 22-26mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER661 | LnK AccelFix Spinal Fixation System-connector, offset | AccelFix Spinal Fixation System offset connector, Ti, sterile, straight or angled, standard or hex, open or closed, with or without knurling | Diameter: 5.5-6.5 mm Length: 26-67 mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ403 | Offset Connectors | Offset Connectors | Multiple to suit patient anatomy | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER665 | LnK AccelFix Spinal Fixation System-Connector, lateral, fixed | AccelFix Spinal Fixation System-Connector, lateral, fixed, Ti, sterile | Diameter: 5.2-6.5 mm Length: 16-83 mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ378 | Capless LI Pedicle screw system - X Link cross connector - Fixed | Titanium, lowprofile transverse crossconnector | low profile, multiple sizes, 25-35mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER666 | LnK AccelFix Spinal Fixation System-connector, lateral, adjustable | AccelFix Spinal Fixation System-connector, lateral, adjustable | Diameter: 5.2-6.5 mm Lentgth: Adjustable from (28-35) mm to (52-83) mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ379 | Capless LI Pedicle screw system - X Link cross connector - Variable | Titanium, lowprofile transverse dual articulation crossconnector | Low profile, Multiple sizes, 37-80mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ382 | Certex Spinal Implant System Connector Adjustable | Connector Adjustable | 3.5mm x 28-33mm to 42-58mm | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER667 | LnK AccelFix Spinal Fixation System-hooks | AccelFix Spinal Fixation System hooks standard, pedicle, angled or offset, Ti, sterile | Diameter: 5.6-6.2 mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ383 | Certex Spinal Implant System Hooks | Hook | 4.5-6mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF009 | WinLoc Cervical Plate System - plate | Titanium anterior cervical plate | 1-Level: 25mm, 27mm, 30mm, 33mm, 36mm 2-Level: 39mm, 42mm, 45mm, 48mm, 51mm, 54mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF010 | WinLoc Cervical Plate System - plate | Titanium anterior cervical plate | 3-Level: 58mm, 62mm, 66mm, 70mm, 74mm, 78mm, 82mm 4-Level: 86mm, 90mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ401 | Occipital Plate | Occipital Plate | Multiple sizes to suit patient anatomy | 2025-11-01 | DELETE
EMERGO ASIA-PACIFIC PTY. LIMITED | 13 - Spinal | ER663 | LnK AccelFix Spinal Fixation System-Rods | AccelFix Spinal Fixation System Ti Rods, shaped ends, straight or curved, standard or MIS and single or double stopper features. sterile | Diameter: 5.0-6.5 mm Length: 40-612 mm | 2025-11-01 | DELETE
KINETIX LIFESCIENCES PTY LTD | 13 - Spinal | KB011 | AnyPlus and AnyPlus II Rods | Straight and Pre-bent Rods | Diameter: 5.5mm Length: 40-200mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH744 | Curved Rods | Curved Rods | 35 to 90 mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ380 | Capless Li Pedicle screw system - rod | Titanium rod. Straight and pre- bent | Straight and pre- bent, multiple sizes, 40-300mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ384 | Certex Spinal Implant System Rod | Rod | 3.5mm x 30-500mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ386 | Certex Spinal Implant System Transitional Rod | Transitional Rod | 3.5mm - 5.5mm x100mm - 500mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF028 | Rods, Curved | curved and S shaped rods, carbon fiber reinforced polymer | 6.0mm x (30-300)mm length | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF029 | Rods | Straight | 6mm x (32-300)mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH457 | DSS Fusion Coupler | The DSS Fusion Coupler is a telescoping coupler that rigidly joins the DSS pedicle screws. | 20mm - 22mm 22mm - 25mm 25mm - 31mm 31mm - 43mm | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ416 | Pre-Bent rods | Pre-Bent rods | 3.5mm diameter rods | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH451 | DSS Spacer | The DSS Spacer is an integral component of the DSS pedicle screw construct. It is used on the mono-axial DSS screw and is used each time a screw is placed. It can not be used on its own. | One size only | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH453 | DSS Washer | The DSS Washer is a washer that is an integral part of the DSS construct. The DSS construct can not be used without the washer nor can the washer be used as a separate implant. | One size only | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE561 | icotec ACDF Cage | Cervical Fusion Cage | Width: 13mm, 16mm and 18mm, Height: 5mm - 10mm, Depth: 13mm | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE592 | Cambria Cervical Interbody Cage | Cambria NanoMetalene Cervical Interbody Cage | 13x12mm, 15x13mm &17x13mm footprints 5-12mm height | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | QQ377 | Calix Interbody Spacer | Cervical cage, PEEK | Heights 5-12mm. Lordotic and Convex | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF012 | Vigor PEEK Cervical Disc Spacer | PEEK cervical spine disc spacer | Height: 5mm, 6mm, 7mm, 8mm, 9mm, 10mm Width: 12mm, 13mm, 14mm, 15mm, 16mm, 17mm Length: 12mm, 14mm, 16mm Angulation: 0°, 5° | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF018 | Combo Cervical Cage | Combination titanium PEEK cervical cage | Height: 5, 6, 7, 8, 9, 10mm Width: 12, 13, 14, 15, 16, 17mm Length: 12, 14mm | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE558 | icotec ETurn Cage | TLIF Cage | 32mm Length, 12 and 16mm width and 7-15mm height | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE589 | Hollywood TLIF | NanoMetalene Transforaminal Lumbar Interbody | 11 x 27mm and 11 x 30mm width and length 7 - 14mm Height 8 degrees lordodis | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE590 | Ventura PLIF | NanoMetalene Posterior Lumbar Interbody | 9&11mm width 20&24mm length 8-16mm height | 2025-11-01 | DELETE
DEVICE TECHNOLOGIES AUSTRALIA PTY. LTD. | 13 - Spinal | DE591 | Ventura TLIF | Ventura Nanometalene TLIF | 9 &11mm width 28 & 32mm length 8-18mm height | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH764 | Calix Peek Lumbar System | Peek lumbar interbody spacer for fusion of the lumbar spine using an anterior, posterior or transverse approach. | 36mm x 24mm x 8mm x 8 deg 36mm x 24mm x 10mm x 8 deg 36mm x 24mm x 12mm x 8 deg 36mm x 24mm x 14mm x 8 deg 36mm x 24mm x 16mm x 8 deg 36mm x 24mm x 18mm x 8 deg 36mm x 24mm x 20mm x 8 deg 36mm x 24mm x 8mm x 12 deg 36mm x 24mm x 10mm x 12 deg 36mm x 24mm x 12mm x 12 deg 36mm x 24mm x 14mm x 12 deg 36mm x 24mm x 16mm x 12 deg 36mm x 24mm x 18mm x 12 deg 36mm x 24mm x 20mm x 12 deg 28mm x 10mm x 6mm 28mm x 10mm x 7mm 28mm x 10mm x 8mm 28mm x 10mm x 9mm 28mm x 10mm x 10mm 28mm x 10mm x 11mm 28mm x 10mm x 12mm 28mm x 10mm x 13mm 28mm x 10mm x 14mm 28mm x 10mm x 15mm 28mm x 10mm x 16mm 22mm x 10mm x 6mm 22mm x 10mm x 7mm 22mm x 10mm x 8mm 22mm x 10mm x 9mm 22mm x 10mm x 10mm 22mm x 10mm x 11mm 22mm x 10mm x 12mm 22mm x 10mm x 13mm 22mm x 10mm x 14mm 22mm x 10mm x 15mm 22mm x 10mm x 16mm 26mm x 10mm x 6mm 26mm x 10mm x 8mm 26mm x 10mm x 10mm 26mm x 10mm x 12mm 26mm x 10mm x 14mm 26mm x 10mm x 6mm x 5o 26mm x 10mm x 8mm x 5o 26mm x 10mm x 10mm x 5o 26mm x 10mm x 12mm x 5o 26mm x 10mm x 14mm x 5o | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF019 | Latero Lumbar Cage | PEEK lumbar cage | Height: 10, 11, 12, 13, 14, 15, 16 or 18mm Width: 16, 18, 20 or 22mm Length: 30, 35, 40, 45, 50 or 55mm Angle: 9* | 2025-11-01 | DELETE
ZIMVIE AUSTRALIA PTY LTD | 13 - Spinal | NW048 | Timberline Lateral Fusion System | Interbody Fusion Implant | 25-60mm length | 2025-11-01 | DELETE
LIFEHEALTHCARE PTY LIMITED | 13 - Spinal | LH490 | M6C Artificial Cervical Disc | The M6 artificial cervical disc is an intervertebral disc prosthesis designed to maintain motion of a functional spinal unit when the native disc is diseased. | Footprints: 12.5mm x 15mm 15mm x 15mm 14mm x 17mm 16mm x 17mm Heights: 6mm & 7mm | 2025-11-01 | DELETE
MEDTRONIC AUSTRALASIA PTY LTD | 13 - Spinal | MI058 | Bryan Cervical Disc | Cervical intervertebral disc prosthesis consisting of a polyurethane nucleus designed to fit between two titanium alloy shells | 14mm-18mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF002 | A-Mesh Spinal Titanium Mesh Spacer | A-Mesh® Spinal Titanium Mesh is designed to restore biomechanical integrity throughout the thoracic and lumbar spine following vertebrectomy or corpectomy for patients with spine tumors or fractures. | Diameter: 10mm, Length: 20mm, 50mm 70mm Diameter: 12mm, Length: 20mm, 50mm, 70mm Diameter: 14mm, Length: 20mm, 50mm, 70mm Diameter: 16mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 20mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 25mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 30mm, Length: 20mm, 50mm, 70mm, 90mm Diameter: 35mm, Length: 20mm, 50mm, 70mm, 90mm | 2025-11-01 | DELETE
MATRIX MEDICAL INNOVATIONS PTY LTD | 13 - Spinal | BF020 | A-Mesh Spinal Titanium Mesh Plate and Set Screw | A-Mesh Spinal Titanium Mesh is designed to restore biomechanical integrity throughout the thoracic and lumbar spine following vertebrectomy or corpectomy for patients with spine tumors or fractures | Diameter 10m 12, 14, 16, 20, 15, 30 or 35mm | 2025-11-01 | DELETE