## Prescribed List
Billing Code | Product Category | Product Name | Description | Size | Sponsor | Condition | Change
MI452 | 03 - General Miscellaneous | MiniMed 780G Insulin Pump | MiniMed 780G Insulin Pump with SmartGuard advanced Hybrid Closed Loop technology capable of operating in Manual Mode or Auto Mode, with Bluetooth connectivity and continuous glucose monitoring capability. Provides 3 user selectable targets and can be set to automatically adjust delivery of basal insulin based on CGM. This includes automatically suspending insulin delivery or providing additional insulin delivery as required. | One size only. | MEDTRONIC AUSTRALASIA PTY LTD |  | Change to ARTG, Description
BS361 | 08 - Cardiac | IntellaNav™ MiFi™ Open-Irrigated Ablation Catheter | IntellaNav™ Open-Irrigated, MiFi™ Mini-electrode Technology, Nav-abled | 110cm, shaft size 7.5F | BOSTON SCIENTIFIC PTY LTD |  | Change to Group benefit
BS380 | 08 - Cardiac | Blazer™ Open Irrigated Ablation Catheter | Open Irrigated Ablation bidirectional catheter with Total Tip Cooling™ Design technology | 110cm, shaft size 7.5F | BOSTON SCIENTIFIC PTY LTD |  | Change to Group benefit
BS385 | 08 - Cardiac | IntellaTip MiFi™ Open Irrigated Ablation Catheter | Intella MiFi™ Mini- electrode Technology; Open-Irrigated | 110cm, shaft size 7.5F | BOSTON SCIENTIFIC PTY LTD |  | Change to Group benefit
BS405 | 08 - Cardiac | INTELLANAV STABLEPOINT | Open Irrigated Ablation bidirectional catheter with Total Tip Cooling Design technology; Contact Force Sensing | 110cm, shaft size 7.5F | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name, Description,Change to Group benefit
BS360 | 08 - Cardiac | Rhythmia Location Reference Patch Kit | Rhythmia Location Reference Patch Kit - Box of 1 | 50mm diameter | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name, Description,Change to Group benefit
BS359 | 08 - Cardiac | IntellaMap Orion High Resolution Mapping Catheter | High resolution 64-electrode steerable mapping catheter | 8.5F, 115cm | BOSTON SCIENTIFIC PTY LTD |  | Change to Product name,Change to Group benefit
SJ430 | 08 - Cardiac | Abbott Non Irrigated Ablation Catheters – 8mm | Non Irrigated Ablation catheter | 8mm tip | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
SJ431 | 08 - Cardiac | Abbott Non Irrigated Ablation Catheters – 4mm | Non Irrigated Ablation catheter | 4mm tip | ABBOTT MEDICAL AUSTRALIA PTY LTD. |  | Change to ARTG
BS415 | 08 - Cardiac | FARAPULSE Pulsed Field Ablation System | Pulsed Field Ablation (PFA) System - FARAWAVE PFA Catheter | Distal Diameter 31 - 35 mm | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG
BS419 | 08 - Cardiac | Agent Paclitaxel-Coated Balloon Catheter | Coronary angioplasty balloon catheter, drug-eluting | Length (mm) 12-30; Diameter (mm) 2.00-4.00 | BOSTON SCIENTIFIC PTY LTD |  | Change to ARTG, Size