## Prescribed List
Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
XR002 | 225 | CATHRX LTD | Khelix Fixed Electrophysiology Catheter | The Khelix Fixed Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. It consists of a catheter shaft containing an array of platinum-iridium electrodes for stimulation and recording. The device is available in a number of different electrode configurations and curve types. The Khelix Fixed Electrophysiology Catheter interfaces with standard electrophysiological recording equipment, such as ECG monitoring equipment, impedance based navigational equipment and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (supplied separately). Khelix Fixed Electrophysiology Catheter is intended to be used with the extension cable (supplied separately). | Diameter 6F, Length 115cm, various number of electrodes, and featuring active tip | 278920 |  | November 2025 | New listing
XR003 | 730 | CATHRX LTD | Khelix Steerable Electrophysiology Catheter 10 Pole | The Khelix Steerable Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. Each unit consists of a catheter shaft equipped with an array of platinum-iridium electrodes for both stimulation and recording. The catheters are available in various electrode configurations and curve types. The distal tip can be deflected in one direction by pushing the deflection knob. The tip is straightened by returning the knob to the original position. Khelix Steerable Electrophysiology Catheter interfaces with standard electrophysiological recording equipment, such as ECG monitoring equipment, impedance based navigational equipment and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (supplied separately). | Shaft diameter 6F, Length 115cm, various number of electrodes (4 - 10), connector 10 poles and featuring either active tip or passive tip | 278921 |  | November 2025 | New listing
XR004 | 1250 | CATHRX LTD | Khelix Steerable Electrophysiology Catheter 20 Pole | The Khelix Steerable Electrophysiology Catheters are designed to facilitate electrophysiological mapping of the heart. Each unit consists of a catheter shaft equipped with an array of platinum-iridium electrodes for both stimulation and recording. The catheters are available in various electrode configurations and curve types. They are compatible with standard electrophysiological recording equipment, including ECG monitoring systems, impedance-based navigation systems, and cardiac stimulation equipment, via the Khelix Diagnostic Extension Cable (sold separately). | Shaft diameter 6F, Length 115cm, various number of electrodes (10 - 20), connector 20 poles, and featuring either active tip or passive tip | 278921 |  | November 2025 | New listing
JJ984 | 6399 | JOHNSON & JOHNSON MEDICAL PTY LTD | Dual Energy THERMOCOOL SMARTTOUCH SF | PFA/RF dual energy, irrigated, contact-force sensing catheter and mapping catheter | Unidirectional, bidirectional; 3.5 mm tip | 357290 444051 490706 490707 |  | November 2025 | New listing