## Prostheses List
Billing Code | Product Category | Product Name | DESCRIPTION | Size | Sponsor | CHANGE
AB081 | General Miscellaneous | PerClot Standard & XL - 3 grams | PerClot Polysaccharide Hemostatic System | 3 grams | Advanced Biomedical Pty Ltd | Changed Benefit.
AL032 | Ophthalmic | AcrySof IQ Toric IOL | Posterior chamber, UV absorbing, foldable, acrylic, toric, single piece lens with blue light protection and aspheric correction | +6 to +30 D spherical, +31.0 to +34.0 (1.0 D increments); 1.00 to 6.00 D cylinder. | Alcon Laboratories (Aust.) Pty Ltd | Changed Size, Suffix.
AS182 | General Miscellaneous | Permacol™ Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 3 x 3cm, 5 x 5cm, 2 x 20cm, 5 x 10cm, 4 x 18cm, 10 x 10cm, 10 x 15cm, 6 x 3cm, 10 x 15cm | Covidien Pty Ltd | Changed Size.
AS183 | General Miscellaneous | Permacol™ Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 15 x 20cm | Covidien Pty Ltd | Changed Size.
AS184 | General Miscellaneous | Permacol™ Biological Implant | Flat sheet of acellular porcine three-dimensional, crosslinked, dermal collagen. | 18 x 28cm and 20 x 30cm | Covidien Pty Ltd | Changed Size.
AS191 | Vascular | Onyx System | DSMO Liquid Embolic Material | 500 Formulation | Covidien Pty Ltd | Changed Product Sub Group, Suffix.
AW004 | Plastic and Reconstructive | Natrelle® 510 TruForm™ Dual Gel Breast Prosthesis | Anatomical textured implant with dual gel for projection of nipple/areola complex, concave base and tapered edges for minimisation of edge/thoracic wall palpability. | LX sizes from 130-575 grams, MX sizes from 145-600 grams, FX sizes from 165-630 grams | Allergan Australia Pty Limited | Changed Product Name.
AW007 | Plastic and Reconstructive | Natrelle® 410 BioDIMENSIONAL™ | TruForm\u2122 2 Soft-Touch\u2122 Gel and TruForm\u2122 3 Cohesive Gel Textured Mammary Implants. Full, moderate or low height; Extra full,full, moderate or low projection | 125 - 775 grams | Allergan Australia Pty Limited | Changed Product Name, Description.
AX022 | Specialist Orthopaedic | Austofix Femoral and Tibial Nailing System | Universal Tibial Nail (UTN) 4.0/4.8, stainless steel or titanium | Diameter 8 – 11mm, Lengths 260mm – 420mm | Austofix | Changed Product Name, Description, Size.
AX023 | Specialist Orthopaedic | Austofix Femoral and Tibial Nailing System | 4.0/4.8 Screws, Locking, stainless steel or titanium | Diameter 4.0-4.8mm, Lengths 20-90mm | Austofix | Changed Product Name, Description, Size.
AX025 | Specialist Orthopaedic | Austofix Femoral and Tibial Nailing System | 6.2/6.5 Hip Screw, stainless steel or titanium | Diameter 6.2-6.5mm, Lengths 70-120mm | Austofix | Changed Product Name, Description, Size.
AX026 | Specialist Orthopaedic | Austofix Femoral and Tibial Nailing System | H2 Hip Nail 4.8/6.5, stainless steel or titanium | Dia 11mm, Lengths 170mm – 240mm | Austofix | Changed Product Name, Description, Size.
AX029 | Specialist Orthopaedic | Austofix Femoral and Tibial Nailing System | M8 End Cap, Intramedullary Nails, stainless steel or titanium | 1mm-20mm | Austofix | Changed Product Name, Description, Size.
AX040 | Specialist Orthopaedic | VRP Distal Radius Fixation System | Volar Distal Radius Plate | Standard, 3, 4, 7 and 12 hole, left and right Wide, narrow, long, short, universal | Austofix | Changed Product Name, Description, Size.
AX043 | Specialist Orthopaedic | VRP Distal Radius Fixation System | VRP Distal Radius Fixation System, Variable Angle, Threaded, non-threaded, partially threaded locking, non-locking screw, peg, titanium | Standard, 3, 4, 7 and 12 hole, left and right Wide, narrow, long, short, universal | Austofix | Changed Product Name, Description, Size.
BA044 | Urogenital | Ureteral Stent | Hydrophilic coated ureteral stent | Fr 4.7 – 8.0, Length 22-32cm | Bard Australia Pty Ltd | Changed Description, Size.
BB252 | Spinal | Aesculap Interbody Cage | Interbody Cage | All sizes | B Braun Australia Pty Ltd | Changed Product Name, Description.
BF016 | Spinal | Redmond Cage System - Locking screw, expandable | Expandable titanium screw | Diameter: 4.0mm; Length: 12, 14, 16, 18mm Diameter: 5.5mm; Length: 15, 20, 25, 30, 35mm | Matrix Medical Innovations | Changed Product Name, Size.
BH190 | Specialist Orthopaedic | Headless Compression Screws | Headless Compression Screws | 3mm-4mm | Zimmer Biomet Pty Ltd | Changed Product Name, Description, Size, Suffix.
BH193 | Specialist Orthopaedic | Twistoff Screw | TwistOff Screw Titanium | 8-15mm Long | Zimmer Biomet Pty Ltd | Changed Size.
BH241 | Specialist Orthopaedic | Headless Compression Screws | Headless Compression Screws | 2.0 - 2.5mm | Zimmer Biomet Pty Ltd | Changed Product Name, Description, Size, Suffix.
BH253 | Specialist Orthopaedic | Distal Radius Plating System | DVR titanium radius plates | 7 to 15 holes | Zimmer Biomet Pty Ltd | Changed Product Name.
BH291 | Specialist Orthopaedic | Distal Radius Plating System | Radial and Ulna Plates | ≤6 holes | Zimmer Biomet Pty Ltd | Changed Product Name, Description, Size.
BH360 | Specialist Orthopaedic | JuggerKnot/JuggerLoc Soft Anchor | Suture Anchor, Polyester, PE | 1.0mm, 1.4mm,1.45mm, 1.5mm, 2.1mm, 2.3mm | Zimmer Biomet Pty Ltd | Changed Product Name, Size.
BH361 | Specialist Orthopaedic | JuggerKnot/JuggerLoc Soft Anchor | Suture Anchor, Polyester, PE | 2.9mm | Zimmer Biomet Pty Ltd | Changed Product Name.
BI074 | Hip | Biomet Taperloc Hip System | Titanium unpolished | 4mm- 25mm diameter | Zimmer Biomet Pty Ltd | Changed Size.
BI075 | Hip | Biomet Taperloc Hip System | titanium, plasma, HA | 4mm - 25mm | Zimmer Biomet Pty Ltd | Changed Size.
BI111 | Hip | Mallory Head Hip System | Acetabular shell, Titanium Alloy, plasma, non HA | 40-80mm | Zimmer Biomet Pty Ltd | Changed Suffix, Benefit.
BI900 | Knee | Vanguard Tibial Baseplate | Tibial Baseplate, uncemented, Titanium plasma sprayed surface (Porous plasma spray PPS) with HA for mobile insert | 59-91mm | Zimmer Biomet Pty Ltd | Changed Product Name, Description, Size.
BI929 | Specialist Orthopaedic | RibFix/Sternalock | Screws Ti | 2.4-2.7mm x 7-20mm | Zimmer Biomet Pty Ltd | Changed Product Name, Size.
BI930 | Specialist Orthopaedic | Sternalock | \u2264 6 holes, various shapes | ≤ 6 holes | Zimmer Biomet Pty Ltd | Changed Description, Size, Suffix.
BS092 | Urogenital | Contour Ureteral Stent, Contour SureDrive Ureteral Stent | Ureteral stent with attached suture | Diameters up to 14Fr & lengths up to 40cm | Boston Scientific Australia Pty Ltd | Changed Product Name.
BS094 | Urogenital | Contour VL; Stretch VL Flexima; Contour VL SureDrive | Ureteral stent with attached suture | Diameters up to 14Fr & lengths up to 40cm | Boston Scientific Australia Pty Ltd | Changed Product Name.
BS120 | Neurosurgical | Clik Anchor Kit | 2 x Clik or Clik X Anchors | One Size Only | Boston Scientific Australia Pty Ltd | Changed Description, Benefit.
BT166 | Cardiac | Protego SD | Dual-shock coil ICD lead with active fixation helix and DF4 connector | Length: 61cm, 65cm, 75cm; 16mm, 18mm electrode spacing | Biotronik Australia Pty Ltd | Changed Size.
BZ002 | General Miscellaneous | A-Seed AgX100 I-125 Seeds Preloaded A-Strand | BXTAccelyon AgX100 I-125 Seeds pre-loaded. The billing code is to be applied only if more than 100 seeds are used per patient. Benefit is per seed. | One representation in a delivery magazine with a loading of up to 20 seeds One representation in a delivery magazine with a loading of up to 15 seeds One representation in a delivery magazine with a loading of up to 10 seeds | BXTAccelyon Australia Pty Limited | Changed Description.
DE390 | Ophthalmic | Oculentis LENTIS Tplus LU-313T | Patient Specific: Foldable one-piece monofocal toric acrylic IOL | Optic Size 6.0mm, overall length 11.0mm. Sph +/-10.0D to +35.0D (in 0.01D increments) Cyl +0.25 to +6.99D cyl (in 0.01D increments) | Device Technologies Australia Pty Ltd | Changed Size.
DE391 | Ophthalmic | Oculentis LENTIS Tplus LU-313T | Patient Specific: Foldable one-piece monofocal toric acrylic IOL | Optic Size: 6.0mm, overall length 11.00mm. Sph +/-10.0D to +35.0D (in 0.01D increments) Cyl +6.99D to +12.0D cyl (in 0.01D increments) | Device Technologies Australia Pty Ltd | Changed Size.
DE393 | Ophthalmic | Oculentis LENTIS T plus LU-313-TY | Patient Specific: Foldable one-piece monofocal toric acrylic IOL. Violet Light Filter. | Optic Size: 6.0mm, overall length 11.00mm. -10.0D to +35.0D (0.01D increments) Available diopters: Cyl +7.00D to +12.0D inclusive in 0.01D increments. | Device Technologies Australia Pty Ltd | Changed Size.
DE412 | Specialist Orthopaedic | Low Profile Locking Screws | Locking screws for Arthrex Fracture Plate Fixation | 2.01mm to 2.7mm | Device Technologies Australia Pty Ltd | Changed Size.
DY134 | Hip | Summit Femoral Stem | Titanium, beaded proximally with HA, duofix distal grit blast | Size 1-10 | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Changed Suffix, Benefit.
ER016 | Spinal | Pyrenees Cervical Plate System - Screw | Self-drilling, self-tapping and bone reduction screws | (3.5 - 4.7)mm diam x (10-20)mm length | Emergo Asia Pacific Pty Ltd | Changed Size.
ER017 | Spinal | Mesa Spinal System / Polyaxial Pedicle Screw | Polyaxial Pedicle Screw, Titanium | (3.5 - 12.5)mm diam, lengths (20-110)mm | Emergo Asia Pacific Pty Ltd | Changed Size.
ER197 | General Miscellaneous | Anastoclips | Vessel Closure System (VCS) (8 and 15 cm shaft) | Small, Medium, Large, Extra Large | Emergo Asia Pacific Pty Ltd | Changed Description, Product Sub Group.
ER223 | Spinal | SIGNUS Diplomat Pedicle Screw System - Screw Head (Tulip) | SIGNUS Diplomat Pedicle Screw System - Screw Head (Tulip) | dia 12.5 mm x height 14.9-150 mm | Emergo Asia Pacific Pty Ltd | Changed Size.
ER225 | Spinal | SIGNUS Diplomat Pedicle Screw System - Rod-Straight or Curved | SIGNUS Diplomat Pedicle Screw System - Rod-Straight or Curved | dia 5.5 mm x length (30-150 mm) | Emergo Asia Pacific Pty Ltd | Changed Size.
ER238 | Spinal | Spineway Mont Blanc Pedicle Screw System-Rod (tapered) | Spineway Mont Blanc Pedicle Screw System-Rod (tapered) | dia 5.5 mm x length (50-550 mm) | Emergo Asia Pacific Pty Ltd | Changed Product Name, Description, Size.
ER239 | Spinal | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Monoaxial (closed) | Spineway Mont Blanc Pedicle Screw System-Pedicle Screw, Monoaxial (closed) | dia (3.5-4.0 mm) x length (20-35 mm) | Emergo Asia Pacific Pty Ltd | Changed Product Name, Description, Size.
ER246 | Spinal | Spineway Twin Peaks PLIF Fusion Cage-Paired | Twin Peaks PLIF Fusion Cage-Paired, (standard or bullet shaped) | height (7-14 mm) x length (20-25 mm) x lordosis (0-8 degrees) | Emergo Asia Pacific Pty Ltd | Changed Product Name, Description, Size.
EV007 | Spinal | Katana Rod | The Katana Pedicle Screw System is intended to provide immobilization and stabilisation of spinal segments in skeletally mature patients, as an adjunct to fusion in the thoracic, lumbar and sacral spine. | Titanium or CrCo, 25 – 160mm length | Evolution Surgical | Changed Size.
HC017 | Spinal | KM Nut | Nut | Various sizes | Health Care Surgical Pty Ltd | Changed Size.
IG078 | Specialist Orthopaedic | Hintegra Total Ankle Prosthesis - Talar component with Pegs | Talar implant for primary surgery | Right and left, sizes 0 to 6 | Integra Neurosciences Pty Ltd | Changed Benefit.
JJ813 | Hip | Summit Femoral Hip | Titanium, beaded proximally, distal grit blast | 0-12 | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Changed Suffix, Benefit.
JJ912 | Specialist Orthopaedic | Intrafix Interference System | Non absorbable screw/sheath | 6 to 12mm diameter | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Changed Size.
LB004 | Spinal | TransContinental Spacer | PEEK Interbody cages | X-small, small, medium, large, x-large 0 deg, 6 deg and 10 degree 7 - 17mm Height | Globus Medical Australia | Changed Size.
LB065 | Spinal | COALITION Spacer | ACDF Spacer | 12mm x 14mm, 14mm x 16mm and 15mm x 18mm ,5mm - 12mm height | Globus Medical Australia | Changed Size.
LB098 | Spinal | FORTIFY R Corpectomy Spacer Endplate | Expandable corpectomy spacer endplate | 14-30mm X 14-25mm | Globus Medical Australia | Changed Size.
LB106 | Spinal | InterContinental Plate | Lateral Plate | 20mm x 8mm - 21mm. | Globus Medical Australia | Changed Size.
LC177 | Specialist Orthopaedic | SMR Reverse Liner (Cup) CoCrMo | Reverse Liner Standard & Excentric CoCrMo | Dia 40 - 44mm x Short to Long | Lima Orthopaedics Australia Pty Ltd | Changed Suffix, Benefit.
LM001 | Specialist Orthopaedic | TriMed Wrist Fixation System | Washer | One size | LMT Surgical Pty Ltd | Changed Size.
LM246 | Specialist Orthopaedic | Duafit | Interphalangeal implant | 11 - 20 mm implant length, zero, 10.0 or 17.0 degrees of plantarflexion | LMT Surgical Pty Ltd | Changed Size.
LO022 | Hip | Link Prosthesis Femoral Head | Prosthesis Head "B" CoCrMo | Short/medium-short/medium/Long/X-long 22mm - 32mm and 36mm Neck Length -3.5 to +10.5 | Link Orthopaedics Australia | Changed Size.
LO036 | Hip | LINK Vario bipolar Cup | Shell with unmodified polyethylene plus locking ring | Inner diameter: 28 - 32mm Outer diameter: 44 - 65mm | Link Orthopaedics Australia | Changed Description, Size.
MA502 | Hip | RM Pressfit Acetabular Cup | Acetabular component - Bonded Shell / Liner - polyethylene modified. Ti coated monoblock, bearing surface is Vit E stabilised highly cross linked polyethylene | 28, 32, 36mm (Articulation); 44 to 70mm (Cup size) | Mathys Orthopaedics Pty Ltd | Changed Benefit.
MB017 | General Miscellaneous | SpaceOAR System | The SpaceOAR System consists of components for preparation of a synthetic, absorbable hydrogel spacer and a delivery mechanism packaged in a single kit. The hydrogel spacer creates a temporary space between the prostate and rectum during radiation therapy. | 10CC | MD Solutions Australasia Pty Ltd | Changed Product Sub Group
MC537 | Spinal | Danek Unit Rod System | Scoliosis Rods | 5.5mm to 6.35mm | Medtronic Australasia Pty Ltd | Changed Size.
MI036 | Spinal | CD HORIZON Fenestrated Screw | Fenestrated multi-axial screw | Diameter:4.5 - 10.5mm, Length: 30 - 80mm | Medtronic Australasia Pty Ltd | Changed Size, Product Sub Group.
MI153 | Spinal | ZEVO Anterior Cervical Plate System | Dual thread, self-drilling/self-tapping screw | Diameter: 3.5mm - 4.5mm; Length 10mm - 24mm | Medtronic Australasia Pty Ltd | Changed Size.
MI185 | Vascular | MVP Microvascular Plug System | MVP Microvascular Plug can be delivered through a microcatheter to enable rapid occlusion. | Unconstrained device diameter (mm): 5.3, 6.5, 9.2, & 13.0 | Medtronic Australasia Pty Ltd | Changed Description, Size, Suffix, Benefit.
MU094 | Knee | GMK Revision tibial wedge | Cemented tibial baseplate augmentation | Size 0 to 6, each one available in 5 thicknesses: 5, 10, 15, 20 mm | Medacta Australia Pty Ltd | Changed Size, Product Sub Group.
NV011 | Spinal | CoRoent | PLIF cage - PEEK or Titanium | Width 8-12mm x Length 20-40mm x Height 6-14mm x Lordosis 0-15° | Nuvasive Australia and NZ Pty Ltd | Changed Description.
NV013 | Spinal | CoRoent | XLIF cage \u2013 PEEK or Titanium | Width 16mm-26mm x Length 25-60mm x Height 4-20mm x Lordosis 0-35 degrees | Nuvasive Australia and NZ Pty Ltd | Changed Description.
NV115 | Spinal | Reline (Polyaxial Screw) | Polyaxial Screw | 4.0-12.5mm diameter, 25-120mm length | Nuvasive Australia and NZ Pty Ltd | Changed Suffix, Benefit.
NV117 | Spinal | Reline (Reduction Screw) | Reduction Screw | 4.0-12.5mm in diameter; 25-120mm in length | Nuvasive Australia and NZ Pty Ltd | Changed Suffix, Benefit.
OF010 | Spinal | Firebird Cannulated Modular Screws | Modulated cannulated pedicle screws (screw only) in various lengths and diameters | 4.5. 5.5, 6.5, 7.5, 8.5, 9.5, 10.5mm diameters; 25mm-100mm in 5mm increments | Orthofix Australia Pty Limited | Changed Product Name, Description, Size, Product Sub Group.
OF016 | Spinal | Spinal Fixation System | Set Screw Spinal System | One size only | Orthofix Australia Pty Limited | Changed Product Name
OF023 | Spinal | Firebird modular pedicle screws | Modular pedicle screws (screw only) in various lengths and diameters, titanium | 4.5, 5.5, 6.5, 7.5, 8.5, 9.5, 10.5mm; 25-100mm lengths in 5mm increments | Orthofix Australia Pty Limited | Changed Description, Size, Product Group, Product Sub Group, Suffix, Benefit.
OF025 | Spinal | Spinal Fixation System | Multi Axial Cross Connector Assembly \u2013 Titanium/Lateral Offset | 30mm-75mm in 5mm increments | Orthofix Australia Pty Limited | Changed Description, Size.
OF034 | Spinal | Firebird Phoenix Rods | Titanium Rods, straight and lordotic with hex end. CoCr 450mm | 35-600mm | Orthofix Australia Pty Limited | Changed Size, Product Sub Group.
OH303 | Spinal | ADD / ADDplus | Addplus is an anterior distraction device and is also used for vertebral column replacement which can be used for the anterior cervical column and for the cervico-thoracic transition. The ADD/ADDplus effects the reconstruction, support and stabilization | 12mm, 14mm, 16mm Diameters. 10 - 65mm Heights. 0 - 18 degrees. | Orthotech Pty Ltd | Changed Description, Size, Product Sub Group, Suffix, Benefit.
OH409 | Spinal | Ulrich Spine System Cannulated Polyaxial screws | Polyaxial Screws | 3.5-10mm x 10-140mm | Orthotech Pty Ltd | Changed Description, Size, Product Sub Group.
OH412 | Spinal | Ulrich Spine System Cross Link | Cross Link | 35-107 (XXS-XL) | Orthotech Pty Ltd | Changed Size.
OH413 | Spinal | Ulrich Spine System Rods | Rods | 30-500mm | Orthotech Pty Ltd | Changed Size, Product Sub Group.
OH468 | Specialist Orthopaedic | IXOS Radius Plpating System | Locking Screw | 2.5-3mm x 8-30mm | Orthotech Pty Ltd | Changed Size.
OH469 | Specialist Orthopaedic | IXOS Radius Plating System | Std Screw | 2.5-3mm x 8-30mm | Orthotech Pty Ltd | Changed Size.
OH470 | Specialist Orthopaedic | IXOS Radius Plating System | Titanium Radial Plates | 23-27mm x 43-71mm - >7 to <15 Holes | Orthotech Pty Ltd | Changed Description, Size, Product Sub Group, Benefit.
OH471 | Specialist Orthopaedic | IXOS Radius Plating System | Titanium Radial Plates | 23mm - 32mm x 60mm - 95mm | Orthotech Pty Ltd | Changed Description, Size, Product Sub Group, Benefit.
OH499 | Spinal | PACH Plate | Titanium | 28-40 | Orthotech Pty Ltd | Changed Size.
OI029 | Ear, Nose & Throat | Ponto Plus Sound Processor | A wireless enabled - fully programmable head worn sound processor for bone conduction hearing systems with full smart phone capabilities | Ponto Plus: 34 x 21 x 11mm Ponto Plus Power: 34 x 21 x 14mm | Audmet Australia Pty Ltd trading as Oticon Medical | Changed Description, Suffix, Benefit.
OY001 | Specialist Orthopaedic | Intramedullary Femoral Stem Type B | Modular Stem w/proximal fixation/THR option | 14mm-22mm, 1mm increaments | Osseointegration Holdings Pty Ltd | Changed Product Name, Description, Size.
OY002 | Specialist Orthopaedic | Intramedullary Femoral Stem Type C | Modular anatomic stem w/screw options | Left & Right 17mm - 24mm | Osseointegration Holdings Pty Ltd | Changed Product Name, Description, Size.
OY003 | Specialist Orthopaedic | Intramedullary Femoral Stem Type A | Modular Intramedullary stem | 14mm - 21mm, 1mm increments | Osseointegration Holdings Pty Ltd | Changed Product Name, Description, Size.
PN016 | Vascular | Penumbra POD Occlusion Device | The Peripheral Occlusion Device (POD) is comprised of a platinum embolisation coil attached to a composite pusher with a radiopaque positioning marker. The coil is transferred onto the microcatheter and the coil should be advanced under fluoroscopic guidance. The detachment handle is attached and advanced over the proximal end of the delivery pusher and then the coil is detached by using the retraction button on the handle into the preferred site. | 30cm Length 3.25-4mm diameter, 30cm Length 4-5mm diameter, 50 cm Length 5-6mm diameter, 60 cm Length 6-8 mm diameter | Penumbra Neuro Australia Pty Ltd | Changed Product Group, Product Sub Group, Suffix, Benefit.
RQ076 | General Miscellaneous | Theragenics C20 IsoLoader Magazines in TPSII Individual - 20 seeds per magazine - sterile | The C20 IsoLoader cartridge is a shielded cartridge holding up to 20 I125 seeds, supplied in accordance with the surgeon's requirements. Benefit is per seed. | 1 representation in a delivery magazine with a loading of up to 20 seeds | RQSolutions Medical Devices Distribution Support | Changed Description.
SF060 | Specialist Orthopaedic | Osteoflo G | Biphasic Calcium Phosphate | 1cc,2cc, 5cc Granules | Signature Orthopaedics | Changed Size.
SF083 | Specialist Orthopaedic | Islay Universial Locking Plate | Titanium Plate with or without wedge with 4 and non locking holes. Left and right side specific. | Various length plates from 18-24mm with and without wedges (2-7mm), plates with valugus angle built in range. | Signature Orthopaedics | Changed Product Name.
SF116 | Specialist Orthopaedic | Speyside Superscrew - Standard | Cannulated Cortical / Cancellous Lag Screw Partial or Full Thread | Dia. 4.5 / 5.0 / 6.5 / 7.2 mm x 25-140mm Length | Signature Orthopaedics | Changed Product Name.
SF117 | Specialist Orthopaedic | Speyside TWIST-OFF SCREW | 11 mm TWIST-OFF SCREW2.5MM Cancellous thread 12 mm TWIST-OFF SCREW2.5MM Cancellous thread 13 mm TWIST-OFF SCREW2.5MM Cancellous thread 14 mm TWIST-OFF SCREW2.5MM Cancellous thread 15 mm TWIST-OFF SCREW2.5MM Cancellous thread 17 mm TWIST-OFF SCREW2.5MM Cancellous thread TWIST-OFF SCREWS10mm (1.5mm Shank) TWIST-OFF SCREWS11mm (1.5mm Shank) TWIST-OFF SCREWS12mm (1.5mm Shank) TWIST-OFF SCREWS13mm (1.5mm Shank) TWIST-OFF SCREWS14mm (1.5mm Shank) TWIST-OFF SCREWS15mm (1.5mm Shank) TWIST-OFF SCREWS16mm (1.5mm Shank) TWIST-OFF SCREWS17mm (1.5mm Shank) TWIST-OFF SCREWS18mm (1.5mm Shank) TWIST-OFF SCREWS10, 11, 12, 13, 14, 15, 16, 17, 18mm | 10-18mm (1.5mm shank) 10-18mm, 11-17mm (cancellous thread) | Signature Orthopaedics | Changed Product Name, Description.
SF118 | Specialist Orthopaedic | Islay MTP Plate | Islay MTP Plate | 2.7mm Univeral locking plate 18mm (2.7ULP), up to 24mm Open wedge locking plate 4mm (OW) up to 7mm Open wedge locking plate 0mm Open wedge osteotomy plate 4mm to 7.00mm | Signature Orthopaedics | Changed Product Name, Description, Suffix.
SF119 | Specialist Orthopaedic | Islay Arthrodesis Wedge Plate | Islay Arthrodesis Wedge Plate | Arthrodesis Wedge Plate 0mm-8mm(AWP), - 30mm (3.5mm universal locking plate 12mm - 30mm (3.5ULP)) | Signature Orthopaedics | Changed Product Name, Description.
SF120 | Specialist Orthopaedic | Islay Locking screw | FPS 3.5mm locking screw FPS GENII 3.5mm locking screw FPS 2.7mm locking screw FPS GENII 2.7mm locking screw | 10-50MM(FPS 3.5MM locking) 8-30MM (FPS 2.7MM locking) | Signature Orthopaedics | Changed Product Name.
SF121 | Specialist Orthopaedic | Islay Calaneal Locking Plate | Islay Calaneal Locking Plate 3.5 | Islay Calaneal Locking Plate 3.5, large Islay Calaneal Locking Plate 3.5, medium Islay Calaneal Locking Plate 3.5, small | Signature Orthopaedics | Changed Product Name, Description, Size.
SF122 | Specialist Orthopaedic | 2.5 mm Speyside B Screw | Speyside B Screw | 2.5mm length 10 up to 2.5mm length 26mm | Signature Orthopaedics | Changed Product Name, Description, Suffix.
SF123 | Specialist Orthopaedic | Islay Opening Wedge Locking plate | Islay Opening Wedge Locking plate | universal locking plate 12 MM - 30mm/ Opening Wedge Locking plate 0MM-7MM Opening Wedge osteotomy plate OMM-7MM | Signature Orthopaedics | Changed Product Name, Description.
SF124 | Specialist Orthopaedic | Islay non-LOCKING SCREW | 2.7mm non locking screw GENII 2.7mm non-locking screw 3.5mm non-locking screw GENII 3.5mm non-locking screw | 8-30mm (FPS 2.7mm non locking) 10-50mm (FPS 3.5mm non-locking) | Signature Orthopaedics | Changed Product Name, Description, Suffix, Benefit.
SF125 | Specialist Orthopaedic | Speyside STAPLE | STAPLE 90\u00B0 10MM, STAPLE 26\u00B0 10MM, STAPLE 90\u00B0 8MM, STAPLE 26\u00B0 8MM | STAPLE 90° 10MM WIDE, STAPLE 26° 10MM WIDE, STAPLE 90° 8MM WIDE, STAPLE 26° 8MM WIDE | Signature Orthopaedics | Changed Product Name, Description, Size.
SF126 | Specialist Orthopaedic | Islay Recon Plate | Islay Recon Plate | Recon Plate, 6 Hole (RRP) Recon Plate, 8 Hole (RRP) Recon Plate, 14 Hole (RRP) | Signature Orthopaedics | Changed Product Name, Description, Size.
SK243 | Specialist Orthopaedic | Gamma LN | Lag Screw - Titanium | 10.5mmx70mm - 10.5mmx130mm | Stryker Australia Pty Ltd | Changed Suffix, Benefit.
SK587 | Knee | Restoris MCK Knee - Tibial Onlay Insert | Tibial Onlay Insert | Tibial Onlay Insert come in sizes 1 to 8, each size with 8, 9, 10 and 12mm thickness options | Stryker Australia Pty Ltd | Changed Size, Product Sub Group.
SN318 | Knee | Genesis II | Lugs | Various sizes | Smith & Nephew Pty Ltd | Changed Product Name, Description, Size, Product Sub Group.
SN498 | Specialist Orthopaedic | Intramedullary Nailing System | Nail Cap | 0 - 30 mm | Smith & Nephew Pty Ltd | Changed Size.
SN520 | Specialist Orthopaedic | TriGen | Captured Screws Titanium | 4.0mm, 4.5 & 5.0mm diameters, 10-130mm lengths | Smith & Nephew Pty Ltd | Changed Size.
SN521 | Specialist Orthopaedic | TriGen | Femoral Nail | 8-18mm D ≥ 220mm length | Smith & Nephew Pty Ltd | Changed Product Name, Description, Size.
SQ099 | Spinal | RESPONSE Spine System – Offset Connector | Closed, Open Lateral | 20-80mm | Surgical Specialties | Changed Description, Size.
SQ100 | Spinal | RESPONSE Spine System – Polyaxial Screw | Pedicle Polyaxial Screw | 4-9mm diameter, 20mm-110mm | Surgical Specialties | Changed Size.
SQ103 | Spinal | RESPONSE Spine System – Uniaxial Screw | Pedicle Uniaxial Screw | 4-7mm diameter, 20mm-100mm | Surgical Specialties | Changed Size.
SQ111 | Specialist Orthopaedic | Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System | Cable Plates Titanium | 6 Hole 185mm | Surgical Specialties | Changed Suffix, Benefit.
SQ112 | Specialist Orthopaedic | Iso-Elastic SuperCable Trochanteric Grips and Cable-Plates System | Cable Plates Titanium | 8 Hole 240mm 10 Hole 290mm | Surgical Specialties | Changed Product Name, Size, Suffix, Benefit.
SX095 | Spinal | Arsenal Set Screw | Set screws for polyaxial screw, rod, bridge and connectors | Diameter x Length: 5.6mm x 4.6mm; 6.32mm x 9.6mm; 6.32mm x 10.2mm; 7.5mm x 10.2mm; 9.3mm x 4.05mm. | Scient'x Australia | Changed Size.
SY650 | Specialist Orthopaedic | AO/ASIF Cortex Screws | Locking head screws | 1.3-2.0mm | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Changed Size.
SY822 | Specialist Orthopaedic | AO/ASIF Plates | VA Locking Plates | 7-12 holes | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Changed Description.
TO067 | Specialist Orthopaedic | Aequalis Reversed Shoulder, Glenoid Sphere | Glenoid Sphere, standard, eccentric, wear compensation or lateralised | Diameter 33, 36, 39 and 42mm Centre, or Eccentricity +2mm, or Wear Compensations 10deg, or Lateralised +6mm / +8mm | Tornier Pty Ltd | Changed Description, Size.
WC039 | Vascular | Cook Embolization Coil | Hilal Platinum | Diameters: .018, Extended Lengths: .5cm to 6cm, Coil Diameters: Straight to 10mm | WILLIAM A. COOK AUSTRALIA PTY. LTD. | Changed Suffix.
WC177 | General Miscellaneous | Biodesign Tissue Graft | Surgical Mesh composed of Sub-Intestinal Submucosa (SIS) | Length - 10cm, Width - 7cm; Length - 7cm, Width - 4cm; Length - 3cm, Width - 2cm. | WILLIAM A. COOK AUSTRALIA PTY. LTD. | Changed Product Name, Size.
WR264 | Specialist Orthopaedic | MICA Compression Screw | Compression Screw for Minimally Invasive Surgery | Sizes: 3mm - 4.0mm diameter, 32mm, 34mm, 36mm, 38mm, 40mm, 44mm, 48mm, 52mm, 56mm, 60mm length | Wright Medical Australia | Changed Size.
ZI613 | Hip | ZMR Modular Revision Hip System - Stem | Titanium, grit blast, non HA | 115 to 185mm | Zimmer Biomet Pty Ltd | Changed Size.