## Prostheses List
Press TAB to move to input areas. press Up or DOWN arrow in column A to read through the document
Product Category | Assessment Body | Product Group | Product Sub-Group | Suffix | Billing Code | Min Benefit | Max Benefit | Sponsor | Product Name | Description | Size | ARTG | Last Updated | Note | Change1 | STARTCOMMENT | STARTCYCLE
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at | DE484 | 364 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-402 | Foldable three piece monofocal acrylic IOL | Optic Size 6.0mm, Overall Length 13.00mm. +-0.0D to +35.0D (1.0D) + 15.5D to +26.5D (0.5D). Minus range on demand. | 198807 | September 2016 |  | Expanded from DE401 | Expanded from DE401 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at | DE490 | 364 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-312 | Foldable one-piece monofocal acrylic C Loop IOL | Opric size 6.0mm. Overall Length 12.00mm. Central Thickness 1.02mm (+22.0D). Available Diopters: -10.0D to 35.0D (1.0D steps). +10.5D to 29.5D (0.5D steps). | 198807 | September 2016 |  | Expanded from DE399 | Expanded from DE399 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at | DE492 | 364 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-313 | Foldable one-piece monofocal acrylic plate haptic IOL | Optic Size 6.0mm, Overall length 11.0mm. Available Diopters: +-10.0D to 36.0D (1.0D steps) +10.5D to 29.5D (0.5D steps) | 198807 | September 2016 |  | Expanded from DE400 | Expanded from DE400 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | DE485 | 374 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-402 Pre-loaded | Pre-loaded foldable three piece monofocal acrylic IOL. | Optic Size 6.0mm, Overall Length 13.00mm. +-0.0D to +35.0D (1.0D) +15.5D to +26.5D (0.5D). Minus range on demand. | 198807 | September 2016 |  | Expanded from DE401 | Expanded from DE401 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | DE491 | 374 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-312 Pre-loaded | Pre-loaded foldable one-piece monofocal acrylic C Loop IOL | Optic size 6.0mm. Overall length 12.00mm. Central thickness 1.02mm (+22.0D). Available Diopters: -10.0D to 35.0D (1.0D steps). +10.5D to 29.5D ( 0.5D steps). | 198807 | September 2016 |  | Expanded from DE399 | Expanded from DE399 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl | DE493 | 374 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS L-313 Pre-loaded | Pre-loaded foldable one-piece monofocal acrylic plate haptic IOL | Optic Size 6.0mm, Overall Length 11.00mm. Available Diopters: +-10.0D to 35.0D (1.0D steps). +10.5D to 29.5 D (0.5D steps). | 198807 | September 2016 |  | Expanded from DE400 | Expanded from DE400 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, vblf | DE487 | 405 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LS-312Y Pre-loaded | Pre-loaded Foldable one-piece monofocal C Loop Acrylic IOL. Violet Light filter. | Optic Size 6.0mm. Overall Length 12.0mm. Available Diopters +-0.0D to 35.0D (1.0D steps) +15.5D to 26.5D (0.5D steps). | 198807 | September 2016 |  | Expanded from DE402 | Expanded from DE402 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, pl, vblf | DE499 | 405 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LS-313Y Pre-loaded | Pre-loaded foldable one-piece monofocal acrylic plate haptic IOL. Violet Light Filter. | Optic Size 6.0mm, Overall Length 11.00mm. Available Diopters: +-0.0D to 35.0D (1.0D steps). +15.5D to 26.5D (0.5 steps). | 198807 | September 2016 |  | Expanded from DE403 | Expanded from DE403 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t1, pl, vblf | DE489 | 800 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LU-313-TY Pre-loaded | Patient Specific: Pre-loaded foldable one-piece monofocal toric acrylic IOL. Violet Light Filter | Optic Size: 6.0mm, Overall Length 11.00mm. Sph -10.0D to +35.0D (in 0.01D incrments). Cyl +0.25D to +6.99D cyl (in 0.01D increments) | 198807 | September 2016 |  | Expanded from DE392 | Expanded from DE392 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, t1, vblf | DE488 | 780 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LU-313 TY | Patient Specific: Foldable one-piece monofocal toric acrylic IOL. Violet Light Filter | Optic size: 6.0mm, Overall Length 11.00mm. Sph +/_ 0.0D to +35.0D In 0.01D increments) Cyl +0.25D to +6.99D cyl (in 0.01D increments). | 198807 | September 2016 |  | Expanded from DE392 | Expanded from DE392 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, vblf | DE486 | 385 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LS-312Y | Foldable one-piece monofocal C Loop Acrylic IOL. Violet Light Filter. | Optic Size 6.0mm, Overall Length 12.0mm. Available Diopters: +-0.0D to 35.0D (1.0D steps) +15.5D to 26.5D (0.5D steps). | 198807 | September 2016 |  | Expanded from DE402 | Expanded from DE402 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.03 - Edge modification | at, vblf | DE498 | 385 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS LS-313Y | Foldable one-piece monofocal acrylic plate haptic IOL. Violet Light Filter. | Optic Size 6.0mm, Overall Length 11.00mm. Available Diopters: +-0.0D to 35.0D (1.0D steps). +15.5D to 26.5D (0.5 steps). | 198807 | September 2016 |  | Expanded from DE403 | Expanded from DE403 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Multifocal or bifocal | at | DE496 | 822 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS Mplus LS-313 MF | Foldable one-piece multifocal plate haptic acrylic IOL | Overall Length 11.0mm and Optic Size 6.0mm. Available diopters +-10.0D to +36.0D (0.05D steps) | 198807 | September 2016 |  | Expanded from DE396 | Expanded from DE396 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Multifocal or bifocal | at, pl | DE497 | 842 |  | Device Technologies Australia Pty Ltd | Oculents LENTIS Mplus LS-313MF Preloaded | Pre-loaded Foldable one-piece multifocal plate haptic acrylic IOL. | Overall Length 11.0mm and Optic Size 6.0mm. Available diopters +-10.0D to +36.0D (0.05D steps) | 198807 | September 2016 |  | Expanded from DE396 | Expanded from DE396 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Multifocal or bifocal | at, pl, t1 | DE495 | 1218 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS Mplus Toric LU-313MFT Pre-loaded | Patient specific one-piece multifocal-toric plate haptic acrylic IOL | Overall Length 11.0mm and Optic Size 6.0 + 0.0D to +36.0D inclusive in 0.01D increments. Cyl +0.25 to +6.99D inclusive in 0.01D increments | 198807 | September 2016 |  | Expanded from DE388 | Expanded from DE388 | 42614
01 - Ophthalmic | 01.02 - POSTERIOR CHAMBER INTRAOCULAR LENSES | 01.02.02 - Foldable | 01.02.02.04 - Multifocal or bifocal | at, t1 | DE494 | 1198 |  | Device Technologies Australia Pty Ltd | Oculentis LENTIS Mplus Toric LU-313MFT | Patient specific one-piece multifocal-toric plate haptic acrylic IOL | Overall Length 11.0mm and Optic Size 6.0 + 0.0D to +36.0D inclusive in 0.01D increments. Cyl +0.25 to +6.99D inclusive in 0.01D increments | 198807 | September 2016 |  | Expanded from DE388 | Expanded from DE388 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) |  | ME199 | 244 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate reloadable linear cutter stapler - reloads | These are the reloads for the Purple Surgical Ultimate reloadable linear cutter stapler (Prostheses List application ref. #YAKI-ES5W). The reloads are available in 60mm, 80mm, and 100mm staple line lengths for use in different applications. Two staple sizes (3.8mm and 4.8mm) are available to accommodate different tissue thicknesses. | 60mm, 80mm, and 100mm staple line lengths. 3.8mm and 4.8mm staple sizes. | 273498 | September 2016 |  | New Listing | New Listing | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) |  | ME204 | 244 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate reloadable linear stapler with indicator - reloads | These are the reloads for the Purple Surgical Ultimate reloadable linear stapler with indicator (Prostheses List application ref. #U5HR-3R6S). The reloads are available in 30mm, 45mm, 60mm, and 90mm staple line lengths for use in different applications. Two staple sizes (3.5mm and 4.8mm) are available to accommodate different tissue thicknesses. | 30mm, 45mm, 60mm, and 90mm staple line lengths. 3.5mm and 4.8mm staple sizes. | 272193 | September 2016 |  | Transferred from TD003 | Transferred from TD003 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) | Endoscopic, Articulating/Roticulating | ME201 | 375 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate endoscopic linear cutter stapler reloading units, straight | The Purple Surgical Ultimate endoscopic linear cutter stapler reloading units, straight, are for single patient use only, and are used in conjunction with the Purple Surgical Ultimate endoscopic linear cutter stapler universal handles. A single use reloading unit can be replaced up to 24 times on the same universal handle, during the same procedure. The endoscopic linear cutter stapler straight reloading unit is compatible with the endoscopic linear cutter stapler universal handles and are available in 30mm, 45mm, and 60mm staple length options, and in three staple sizes, 2.5mm, 3.5mm, and 4.8mm, to accommodate various tissue thicknesses. Each endoscopic linear cutter stapler reloading unit is single use. | 30mm, 45mm, and 60mm staple lengths. 2.5mm, 3.5mm, and 4.8mm staple sizes. | 272192 | September 2016 |  | Transferred from TD006 | Transferred from TD006 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) | Endoscopic, Articulating/Roticulating | ME205 | 375 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate endoscopic linear cutter stapler reloading units, articulating | The Purple Surgical Ultimate endoscopic linear cutter stapler reloading units, articulating, are for single patient use only, and are used in conjunction with the Purple Surgical Ultimate endoscopic linear cutter stapler universal handles. A single use reloading unit can be replaced up to 24 times on the same universal handle, during the same procedure. The endoscopic linear cutter stapler articulating reloading unit is compatible with the endoscopic linear cutter stapler universal handles and are available in 30mm, 45mm, and 60mm staple length options, and in three staple sizes, 2.5mm, 3.5mm, and 4.8mm, to accommodate various tissue thicknesses. Each endoscopic linear cutter stapler reloading unit is single use. | 30mm, 45mm, and 60mm staple lengths. 2.5mm, 3.5mm, and 4.8mm staple sizes. | 272192 | September 2016 |  | Transferred from TD002 | Transferred from TD002 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.04 - Staples, Non-bone with Disposable Applier |  | ME198 | 370 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate reloadable linear cutter stapler | The Purple Surgical Ultimate reloadable linear cutter stapler can be applied in abdominal, gynecological, and thoracic surgical procedures for resection, transection, and creation of anastomosis.The Purple Surgical Ultimate reloadable linear cutter staplers are single patient use devices and are supplied sterile. The Purple Surgical Ultimate reloadable linear cutter stapler places two double staggered rows of titanium staples and simultaneously cuts and divides the tissue between the two double rows. The Purple Surgical Ultimate reloadable linear cutter stapler is available in 60mm, 80mm, & 100mm staple length options, and in two staple sizes, 3.8mm and 4.8mm, to accommodate various tissue thicknesses. Each Purple Surgical Ultimate reloadable linear cutter stapler may be reloaded up to 7 times for a maximum total of 8 firings on one patient. | 60mm, 80mm, and 100mm staple line lengths. 3.8mm and 4.8mm staple sizes. | 273498 | September 2016 |  | New Listing | New Listing | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.04 - Staples, Non-bone with Disposable Applier |  | ME203 | 370 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate reloadable linear stapler with indicator | The Purple Surgical Ultimate linear stapler with indicator can be applied in abdominal, thoracic, and further surgical procedures for transection or resection of tissue. The Purple Surgical Ultimate linear stapler with indicator places a double staggered row of titanium staples and is available in 30mm, 45mm, 60mm, and 90mm staple line lengths for use in different applications. Two staple sizes (3.5mm and 4.8mm) are available to accommodate different tissue thicknesses. Each linear stapler with indicator can be reloaded up to 7 times for a total maximum 8 firings on one patient. | 30mm, 45mm, 60mm, and 90mm staple line lengths. 3.5mm and 4.8mm staple sizes . | 272193 | September 2016 |  | Transferred from TD005 | Transferred from TD005 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.04 - Staples, Non-bone with Disposable Applier | Circular | ME200 | 754 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate haemorrhoidal circular stapler | The Purple Surgical Ultimate haemorrhoidal circular stapler and accessories have application throughout the anal canal to perform the surgical treatment of haemorrhoidal disease. The Purple Surgical Ultimate haemorrhoidal circular stapler places a circular staggered double row of titanium staples in the tissue and resects excess tissue to create a circular anastomosis. Each Purple Surgical Ultimate haemorrhoidal circular stapler comes with 5 accessories: clear circular anal dilator, clear butterfly anal dilator, anal dilator obturator, purse-string suture anoscope, and a suture threader. There are 2 stapler diameters available; 32/33mm and 33/34mm. | 32/33mm and 33/34mm. | 270756 | September 2016 |  | Transferred from TD004 | Transferred from TD004 | 42614
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.04 - Staples, Non-bone with Disposable Applier | Circular | ME202 | 754 |  | Getz Healthcare Pty Ltd | Purple Surgical Ultimate circular stapler | The Purple Surgical Ultimate circular staplers can be applied throughout the alimentary tract to create end-to-end, end-to-side, and side-to-side anastomosis. The Purple Surgical Ultimate circular stapler places a staggered circular, double row of titanium staples in the tissue and resects the excess tissue, to create a circular anastomosis. The instrument can be activated when the handle is squeezed firmly as far as it can go. There are 5 diameters available, 24mm, 26mm, 29mm, 32mm, and 34mm with colour coded anvil heads. | 24mm, 26mm, 29mm, 32mm, and 34mm. | 270755 | September 2016 |  | Transferred from TD001 | Transferred from TD001 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled | SY834 | 9930 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | OBL PorousiTi® Patient Specific Implant - Cranium | Patient specific implant for the cranium constructed of PourousTi® | The implant is custom made so the size is variable | 276733 | September 2016 |  | Duplicated from ZZ001 | Duplicated from ZZ001 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.01 - Complex | Biomodelled Two Piece | SY826 | 10430 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | OBL PorousiTi® Cranial Patient Specific Implant – Two piece | Patient specific two piece implant for the cranium constructed of PourousTi® | The implant is custom made so the size is variable | 276733 | September 2016 |  | Duplicated from ZZ002 | Duplicated from ZZ002 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.02 - Cranium | 07.02.02.04 - Surgical Guide | Biomodelled | SY825 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Surgical Guide for OBL PSI System - Cranium | Patient specific surgical guide for cranial implant | The device is custom made so sizes will vary | 276733 | September 2016 |  | Duplicated from ZZ004 | Duplicated from ZZ004 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.01 - Mandible, Full | Biomodelled | SY824 | 8500 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | OBL PorousiTi Patient Specific Implant - Mandible | Patient specific implant for mandible constructed of PourousiTi | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ025 | Duplicated from ZZ025 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.05 - Plate | Biomodelled | SY832 | 4200 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | SynpliciTi System - Plates | Patient specific plates for the mandible, maxilla and TMJ | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ011 | Duplicated from ZZ011 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.05 - Plate | Biomodelled | SY836 | 4200 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Custom made plates (including Megaplates) | Patient specific plates for the mandible and maxilla | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ009 | Duplicated from ZZ009 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | SY827 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | SynpliciTi System – Surgical Guides | Patient specific surgical guides for the mandible, maxilla and TMJ | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ012 | Duplicated from ZZ012 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | SY829 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Custom made plates (including Megaplates) – Surgical Guides | Surgical Guides for patient specific plates for the mandible and maxilla | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ010 | Duplicated from ZZ010 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.07 - Surgical Guide | Biomodelled | SY835 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Surgical Guide for OBL PorousiTi® PSI System – Mandible & Maxilla | Patient specific surgical guide for mandible and maxilla | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ005 | Duplicated from ZZ005 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.05 - Mandible, Maxilla and Temperomandibular Joint (TMJ) | 07.02.05.08 - Maxilla | Biomodelled | SY828 | 6500 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | OBL PorousiTi Patient Specific Implant - Maxilla | Patient specific implant for maxilla constructed of PorousiTi | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ026 | Duplicated from ZZ026 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.06 - Nose and Zygoma | 07.02.06.06 - Surgical Guide | Biomodelled | SY823 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | SynpliciTi System – Surgical Guides | Surgical Guide for the zygoma | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ013 | Duplicated from ZZ013 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.06 - Nose and Zygoma | 07.02.06.07 - Zygoma Plate | Biomodelled | SY831 | 4200 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | SynpliciTi System - Plates | Patient specific plates for zygoma | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ027 | Duplicated from ZZ027 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.02 - Orbital Floor | Biomodelled | SY833 | 4200 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | OBL PorousiTi® Patient Specific Implant – Orbital Floor | Patient specific implant for the orbital floor constructed of PourousTi® | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ003 | Duplicated from ZZ003 | 42614
07 - Plastic and Reconstructive | 07.02 - CRANIOMAXILLOFACIAL IMPLANTS | 07.02.07 - Orbit | 07.02.07.05 - Surgical Guide | Biomodelled | SY830 | 2650 |  | Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes | Surgical Guide for OBL PorousiTi® PSI System – Orbital Floor | Patient specific surgical guide for orbital floor implant | The model is custom made so size will vary | 276733 | September 2016 |  | Duplicated from ZZ006 | Duplicated from ZZ006 | 42614
End of Worksheet