## Prescribed List
March 2026 Prescribed List - Part D New Items
Product Category | Sub Category | Product Group | Product Sub Group | Suffix | Billing Code | Benefit | Sponsor | Product Name | Description | Size | ARTG | Condition | Last Updated | Change
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.02 - Infusion Pumps, Balloon Based | 03.02.02.01 - Fixed Flow Rate |  | UX005 | 28 | PITTWATER HEALTHCARE GROUP PTY LTD | Neofuser Elastomeric infusion pump system. | Ambulatory, continuous flow rate, balloon powered, single use infusion pump. Set includes hanger and clip, medical grade silicone balloon inside a rigid, crush resistant and UV blocking housing, a DEHP free, kink resistant administration set with an in-line filling port with check valve and 15 micron filter, a combined in-line air and particle filter, a flow restrictor, a removable IV line clamp, a male lock patient connector (luer lock or Neuraxial standard available) and a hydrophobic priming cap with 0.2 micron bacteria filter. | 60, 100, 180, 275, 450 and 600mL pumps with flow rates ranging from 0.5, 1, 2, 2.5, 3, 4, 5, 6, 7, 8, 10, 13, 50, 100, 200 or 250mL/hr | 471245 |  | March 2026 | New listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.02 - Infusion Pumps, Balloon Based | 03.02.02.01 - Fixed Flow Rate |  | UX006 | 28 | PITTWATER HEALTHCARE GROUP PTY LTD | Neofuser Onco Elastomeric infusion pump system. | Ambulatory, continuous flow rate, balloon powered, single use infusion pump designed for 5FU and other oncology drugs. Set includes hanger and clip, filling port with anti-siphon valve and 15 micron filter, medical grade silicone balloon inside a rigid, crush resistant and UV blocking housing, a DEHP free, kink resistant administration set, wide channel flow regulator eliminating delays caused by precipitate, a removable IV line clamp, a male lock patient connector and a hydrophobic priming cap with 0.2 micron bacteria filter. Can also be used for pain medications, antibiotics and other infusions. | 60, 100, 180, 275, 450 and 600mL pumps with flow rates ranging from 0.5, 1, 2, 2.5, 3, 4, 5, 6, 7, 8, 10, 50, 100, 200 or 250mL/hr | 471245 |  | March 2026 | New listing
03 - General Miscellaneous | 03.02 - DRUG DELIVERY DEVICES | 03.02.02 - Infusion Pumps, Balloon Based | 03.02.02.01 - Fixed Flow Rate |  | RE007 | 28 | REM SYSTEMS PTY. LIMITED | Easyflow - a single-patient use device | A single-patient use Elastomeric Infusion System | Volume 60 - 500ml, flow rate 0.5 - 500ml/hr, infusion time 30 min - 25 days | 427103 |  | March 2026 | New listing
03 - General Miscellaneous | 03.03 - ENTERAL TUBES | 03.03.02 - Gastrostomy Tubes | 03.03.02.01 - Initial |  | FK019 | 185 | FRESENIUS KABI AUSTRALIA PTY LIMITED | Freka PEG Pro Set | Freka Percutaneous Endoscopic Gastrostomy (PEG) Pro set is intended for percutaneous intragastric long-term feeding and gastric decompression / drainage by gravity, consisting of PEG tube made from polyurethane + 60% barium sulphate, proximal cone and integrated fixation loop, radio-opaque strip, measuring marks over a length of 2-16 cm at 2 cm intervals, silicone inner retention plate, radio-opaque, rounded distal opening Accessories Pen blade scalpel, puncture cannula with air valve and safety trocar, reel of thread with double thread, introducer device, silicone external fixation plate, radio-opaque, tube clamp M90800346 (PEG PRO 12FR) Includes ENFit fixing screw and ENFit connector M90800347 (PEG PRO 14FR) Includes ENFit fixing screw and ENFit connector M90800349 (PEG PRO 16FR) Includes ENFit fixing screw and ENFit connector M90800348 (PEG PRO 20FR) Includes ENFit fixing screw, ENFit connector, and funnel connector ENFit connector: Connection of the PEG tube to: Enteral Giving Sets for pump-assisted enteral feeding Gravity Enteral Giving Sets connected to a nutrition/hydration container ENFit syringes Decompression / drainage bags The ENFit connector is an internationally standardized enteral feeding connector that increases patient safety by preventing misconnections with other medical systems. Fixing Screw: To fix the ENFit connector to the PEG tube Funnel Connector: Provided (in addition to the ENFit connector) for gastric decompression, gastric access for instruments or bolus/gravity tube feeding. Use of a wide-lumen gastric PEG (PEG FR 20) is particularly recommended for: use of the gastric port for instrument insertion for therapeutic/diagnostic purposes positioning of an intestinal tube for gastric decompression and intestinal feeding Drawings of the components are available on page 6 of the IFU: | Freka PEG Pro Set FR 12 35 cm length product code M90800346, Freka PEG Pro Set FR 14 35 cm length product code M90800347, Freka PEG Pro Set FR 16 35 cm length product code M90800349, Freka PEG Pro Set FR 20 35 cm length product code M90800348, | 126460 |  | March 2026 | New listing
03 - General Miscellaneous | 03.03 - ENTERAL TUBES | 03.03.03 - Jejunostomy Tubes |  | Port | FK020 | 451 | FRESENIUS KABI AUSTRALIA PTY LIMITED | Freka Intestinal Tube For Freka PEG | Freka intestinal tube for PEG is intended as intestinal extension for the gastric Freka PEG for long term- intestinal feeding and gastric decompression, for patients at risk of aspiration or motility disorders, intestinal tube is made of polyurethane with, integrated Teflon-coated guidewire, 118 cm long, radio-opaque strip, interval markings every 10 cm, four lateral outlet ports, plastic antenna end with distal opening and flexible tube extension which can be gripped. Accessories Freka Y-Connectors for simultaneous gastric and intestinal access consisting of 2 parts (either Freka Y-Connector ENFit - ENFit + Fixation Screw for Y-Connector) or (Freka Y-Connector ENFit - Funnel+ Fixation Screw for Y-Connector), Freka Y-Connector ENFit - ENFit, Freka Y-Connector ENFit - Funnel, Fixation Screw for Y-Connector , Freka Click Adaptor, ENFit consisting of click connector (to attach the gastric PEG), ENFit connector (to connect the giving set) | Freka Intestinal Tube FR 9 for PEG FR 15, ENFit 120cm length product code M90800351 , Freka Intestinal Tube FR 9 for PEG FR 16 ENFit 120cm length product code M90800373, Freka Intestinal Tube FR 12 for PEG FR 20 , ENFit 120cm length product code M90800350. | 126461 |  | March 2026 | New listing
03 - General Miscellaneous | 03.05 - HAEMOSTATIC DEVICES | 03.05.04 - Pliable Patches | 03.05.04.01 - Absorbable ≤50cm² | Antimicrobial, Low Antigenicity | YY002 | 19 | TRI DENTAL ANZ PTY LTD | BloodStop iX | BloodStop iX is a new generation haemostat made from water soluble, oxidised-etherified regenerated cellulose | 1.3x5cm, 5x5cm, 5x10cm | 240712 |  | March 2026 | Billing code transferred from BG002 Sponsor transferred from Balance Medical Pty Ltd
03 - General Miscellaneous | 03.05 - HAEMOSTATIC DEVICES | 03.05.04 - Pliable Patches | 03.05.04.03 - Absorbable >75cm² |  | YY001 | 33 | TRI DENTAL ANZ PTY LTD | BloodStop iX | BloodStop iX is a new generation haemostat made from water soluble, oxidised-etherified regenerated cellulose | 10x20cm, 5x35cm | 240712 |  | March 2026 | Billing code transferred from BG001 Sponsor transferred from Balance Medical Pty Ltd
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.08 - Suture with cinch | Endoscopic System | BS455 | 211 | BOSTON SCIENTIFIC PTY LTD | OverStitchTM Endoscopic Suturing System - 2.0 Suture | Endoscopic Polypropylene Suture with Cinch | 2-0 suture | 483506 485995 |  | March 2026 | Expanded from QQ107
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.03 - Ligating Devices | 03.08.03.08 - Suture with cinch | Endoscopic System | BS456 | 211 | BOSTON SCIENTIFIC PTY LTD | OverStitchTM Endoscopic Suturing System - 2.0 Suture | Endoscopic Polypropylene Suture with Cinch | 2-0 suture | 236906 357430 |  | March 2026 | Expanded from QQ107
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.01 - Staples, Non-bone (Reload) | Endoscopic, Articulating/Roticulating | YW001 | 318 | MULTIGATE MEDICAL PRODUCTS PTY LTD | Lunar U PRO Stepwise Staple Reloads / Lunar U FulGrip Staple Reloads | Powered stapler reloads Lunar U PRO Stepwise Staple is used with Lunar U PRO Intelligent Powered Stapler Lunar U FulGrip Staple Reloads is used with Lunar U Powered Stapler | 45mm-60mm | 427084 |  | March 2026 | New listing
03 - General Miscellaneous | 03.08 - CLOSURE DEVICES | 03.08.04 - Staples & Tackers | 03.08.04.02 - Staplers | Endoscopic, Articulating/Roticulating, Powered | YW002 | 447 | MULTIGATE MEDICAL PRODUCTS PTY LTD | Lunar U (PRO) and Lunar U Powered Stapler | Lunar U PRO Intelligent Powered Stapler is used with Lunar U PRO Stepwise Staple Lunar U Powered Stapler is used with Lunar U FulGrip Staple Reloads | 45-60mm | 402412 |  | March 2026 | New listing